## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_563-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_563-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_563-26_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_563-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_563-26_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_563-26_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_563-26_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_563-26_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_563-26_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_563-26_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_563-26_0_4_node_106 | 0.4 | n |  | TRUE
11 | bus_LV_563-26_0_4_node_107 | 0.4 | n |  | TRUE
12 | bus_LV_563-26_0_4_node_104 | 0.4 | n |  | TRUE
13 | bus_LV_563-26_0_4_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_563-26_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_563-26_0_4_node_108 | 0.4 | n |  | TRUE
16 | bus_LV_563-26_0_4_node_98 | 0.4 | n |  | TRUE
17 | bus_LV_563-26_0_4_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_563-26_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_563-26_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_563-26_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_563-26_0_4_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_563-26_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_563-26_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_563-26_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_563-26_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_563-26_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_563-26_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_563-26_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_563-26_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_563-26_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_563-26_0_4_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_563-26_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_563-26_0_4_node_81 | 0.4 | n |  | TRUE
34 | bus_LV_563-26_0_4_node_82 | 0.4 | n |  | TRUE
35 | bus_LV_563-26_0_4_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_563-26_0_4_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_563-26_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_563-26_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_563-26_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_563-26_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_563-26_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_563-26_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_563-26_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_563-26_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_563-26_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_563-26_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_563-26_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_563-26_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_563-26_0_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_563-26_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_563-26_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_563-26_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_563-26_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_563-26_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_563-26_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_563-26_0_4_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_563-26_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_563-26_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_563-26_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_563-26_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_563-26_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_563-26_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_563-26_0_4_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_563-26_0_4_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_563-26_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_563-26_0_4_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_563-26_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_563-26_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_563-26_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_563-26_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_563-26_0_4_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_563-26_0_4_node_77 | 0.4 | n |  | TRUE
73 | bus_LV_563-26_0_4_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_563-26_0_4_node_102 | 0.4 | n |  | TRUE
75 | bus_LV_563-26_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_563-26_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_563-26_0_4_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_563-26_0_4_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_563-26_0_4_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_563-26_0_4_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_563-26_0_4_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_563-26_0_4_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_563-26_0_4_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_563-26_0_4_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_563-26_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_563-26_0_4_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_563-26_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_563-26_0_4_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_563-26_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_563-26_0_4_node_69 | 0.4 | n |  | TRUE
91 | bus_LV_563-26_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_563-26_0_4_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_563-26_0_4_node_71 | 0.4 | n |  | TRUE
94 | bus_LV_563-26_0_4_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_563-26_0_4_node_73 | 0.4 | n |  | TRUE
96 | bus_LV_563-26_0_4_node_75 | 0.4 | n |  | TRUE
97 | bus_LV_563-26_0_4_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_563-26_0_4_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_563-26_0_4_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_563-26_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_563-26_0_4_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_563-26_0_4_node_105 | 0.4 | n |  | TRUE
103 | bus_LV_563-26_0_4_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_563-26_0_4_node_96 | 0.4 | n |  | TRUE
105 | bus_LV_563-26_0_4_node_97 | 0.4 | n |  | TRUE
106 | bus_LV_563-26_0_4_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_563-26_0_4_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_563-26_0_4_node_99 | 0.4 | n |  | TRUE
109 | bus_LV_563-26_0_4_node_109 | 0.4 | n |  | TRUE
110 | bus_MV_80_1_node_214 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_563-26_0_4_load_0 | 0 | 0.001244 | 0.00031177 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_563-26_0_4_load_4 | 4 | 0.0025104 | 0.00062918 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_563-26_0_4_load_7 | 7 | 0.0014681 | 0.00036795 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_563-26_0_4_load_8 | 8 | 0.0017027 | 0.00042673 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_563-26_0_4_load_9 | 9 | 0.0034666 | 0.00086881 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_563-26_0_4_load_106 | 10 | 0.0053709 | 0.0013461 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_563-26_0_4_load_107 | 11 | 0.0017411 | 0.00043636 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_563-26_0_4_load_104 | 12 | 0.0022658 | 0.00056786 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_563-26_0_4_load_10 | 14 | 0.0016816 | 0.00042144 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_563-26_0_4_load_108 | 15 | 0.0010714 | 0.00026851 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_563-26_0_4_load_47 | 17 | 0.0011194 | 0.00028054 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_563-26_0_4_load_11 | 18 | 0.0019103 | 0.00047876 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_563-26_0_4_load_12 | 19 | 0.0052187 | 0.0013079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_563-26_0_4_load_13 | 20 | 0.0018353 | 0.00045996 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_563-26_0_4_load_23 | 21 | 0.0017226 | 0.00043172 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_563-26_0_4_load_14 | 23 | 0.0026936 | 0.00067507 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_563-26_0_4_load_15 | 24 | 0.00223 | 0.00055889 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_563-26_0_4_load_16 | 25 | 0.0021943 | 0.00054995 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_563-26_0_4_load_18 | 27 | 0.0022413 | 0.00056173 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_563-26_0_4_load_19 | 28 | 0.0024171 | 0.00060579 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_563-26_0_4_load_24 | 29 | 0.0012703 | 0.00031836 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_563-26_0_4_load_20 | 30 | 0.0033399 | 0.00083705 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_563-26_0_4_load_81 | 33 | 0.0050667 | 0.0012698 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_563-26_0_4_load_86 | 35 | 0.006685 | 0.0016754 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_563-26_0_4_load_85 | 36 | 0.0017587 | 0.00044077 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_563-26_0_4_load_25 | 37 | 0.0012519 | 0.00031376 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_563-26_0_4_load_26 | 38 | 0.00083629 | 0.00020959 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_563-26_0_4_load_27 | 39 | 0.00066273 | 0.0001661 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_563-26_0_4_load_29 | 41 | 0.00060883 | 0.00015259 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_563-26_0_4_load_30 | 42 | 0.00086952 | 0.00021792 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_563-26_0_4_load_31 | 43 | 0.00053738 | 0.00013468 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_563-26_0_4_load_33 | 45 | 0.00095721 | 0.0002399 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_563-26_0_4_load_34 | 46 | 0.00091858 | 0.00023022 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_563-26_0_4_load_42 | 47 | 0.0031872 | 0.00079879 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_563-26_0_4_load_78 | 49 | 0.0045554 | 0.0011417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_563-26_0_4_load_35 | 50 | 0.00072236 | 0.00018104 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_563-26_0_4_load_36 | 51 | 0.00028033 | 7.0258e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_563-26_0_4_load_38 | 52 | 0.0017337 | 0.00043451 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_563-26_0_4_load_40 | 53 | 0.0010507 | 0.00026334 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_563-26_0_4_load_39 | 54 | 0.0019021 | 0.00047672 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_563-26_0_4_load_41 | 55 | 0.0031087 | 0.0007791 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_563-26_0_4_load_92 | 56 | 0.0043637 | 0.0010936 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_563-26_0_4_load_57 | 57 | 0.0014393 | 0.00036071 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_563-26_0_4_load_58 | 58 | 0.0014458 | 0.00036236 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_563-26_0_4_load_55 | 59 | 0.0033382 | 0.00083663 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_563-26_0_4_load_43 | 60 | 0.0011838 | 0.00029669 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_563-26_0_4_load_44 | 61 | 0.00072066 | 0.00018061 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_563-26_0_4_load_45 | 62 | 0.0015485 | 0.0003881 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_563-26_0_4_load_46 | 63 | 0.00031762 | 7.9602e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_563-26_0_4_load_111 | 64 | 0.0007103 | 0.00017802 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_563-26_0_4_load_49 | 65 | 0.0036045 | 0.00090336 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_563-26_0_4_load_50 | 66 | 0.0012336 | 0.00030916 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_563-26_0_4_load_51 | 67 | 0.002657 | 0.00066591 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_563-26_0_4_load_52 | 68 | 0.0017179 | 0.00043054 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_563-26_0_4_load_54 | 70 | 0.0050921 | 0.0012762 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_563-26_0_4_load_56 | 71 | 0.0041447 | 0.0010388 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_563-26_0_4_load_77 | 72 | 0.0014535 | 0.00036429 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_563-26_0_4_load_74 | 73 | 0.0014277 | 0.00035781 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_563-26_0_4_load_102 | 74 | 0.0021509 | 0.00053906 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_563-26_0_4_load_65 | 75 | 0.0064846 | 0.0016252 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_563-26_0_4_load_72 | 76 | 0.0050507 | 0.0012658 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_563-26_0_4_load_100 | 77 | 0.0027635 | 0.00069259 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_563-26_0_4_load_83 | 78 | 0.0014402 | 0.00036095 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_563-26_0_4_load_80 | 79 | 0.0022809 | 0.00057166 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_563-26_0_4_load_59 | 80 | 0.0050635 | 0.001269 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_563-26_0_4_load_60 | 81 | 0.0085292 | 0.0021376 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_563-26_0_4_load_62 | 83 | 0.00095505 | 0.00023936 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_563-26_0_4_load_63 | 84 | 0.0045427 | 0.0011385 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_563-26_0_4_load_64 | 85 | 0.0014553 | 0.00036472 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_563-26_0_4_load_66 | 86 | 0.0024139 | 0.00060499 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_563-26_0_4_load_67 | 87 | 0.0018371 | 0.00046041 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_563-26_0_4_load_68 | 88 | 0.0007052 | 0.00017674 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_563-26_0_4_load_90 | 89 | 0.0017307 | 0.00043376 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_563-26_0_4_load_70 | 92 | 0.0058175 | 0.001458 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_563-26_0_4_load_94 | 94 | 0.0022059 | 0.00055286 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_563-26_0_4_load_73 | 95 | 0.0021808 | 0.00054656 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_563-26_0_4_load_75 | 96 | 0.0018551 | 0.00046493 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_563-26_0_4_load_76 | 97 | 0.0030424 | 0.00076251 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_563-26_0_4_load_79 | 98 | 0.0014422 | 0.00036144 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_563-26_0_4_load_89 | 99 | 0.001185 | 0.000297 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_563-26_0_4_load_91 | 100 | 0.00069911 | 0.00017521 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_563-26_0_4_load_87 | 101 | 0.0042221 | 0.0010582 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_563-26_0_4_load_105 | 102 | 0.0044089 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_563-26_0_4_load_95 | 103 | 0.00094065 | 0.00023575 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_563-26_0_4_load_96 | 104 | 0.001246 | 0.00031228 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_563-26_0_4_load_97 | 105 | 0.0019573 | 0.00049056 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_563-26_0_4_load_103 | 106 | 0.00071655 | 0.00017959 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_563-26_0_4_load_101 | 107 | 0.0039936 | 0.0010009 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_563-26_0_4_load_99 | 108 | 0.0019865 | 0.00049787 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_563-26_0_4_load_109 | 109 | 0.0029918 | 0.00074982 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_563-26_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_563-26_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.038637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_563-26_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.005051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_563-26_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.010482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_563-26_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.010584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_563-26_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.014653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_563-26_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.0069726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_563-26_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0036676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_563-26_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.004924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_563-26_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.062978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_563-26_0_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.06287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_563-26_0_4_line_11 | NAYY 4x150 SE | 7 | 12 | 0.0098198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_563-26_0_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.053815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_563-26_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.030737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_563-26_0_4_line_14 | NAYY 4x150 SE | 11 | 15 | 0.002457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_563-26_0_4_line_15 | NAYY 4x150 SE | 12 | 16 | 0.00059012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_563-26_0_4_line_16 | NAYY 4x150 SE | 13 | 17 | 0.01361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_563-26_0_4_line_17 | NAYY 4x150 SE | 14 | 18 | 0.006924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_563-26_0_4_line_18 | NAYY 4x150 SE | 15 | 109 | 0.0094748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_563-26_0_4_line_19 | NAYY 4x150 SE | 16 | 106 | 0.0095885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_563-26_0_4_line_20 | NAYY 4x150 SE | 16 | 105 | 0.031062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_563-26_0_4_line_21 | NAYY 4x150 SE | 17 | 61 | 0.043552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_563-26_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0091637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_563-26_0_4_line_23 | NAYY 4x150 SE | 19 | 20 | 0.014432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_563-26_0_4_line_24 | NAYY 4x150 SE | 20 | 21 | 0.020543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_563-26_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.014366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_563-26_0_4_line_26 | NAYY 4x150 SE | 22 | 30 | 0.018193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_563-26_0_4_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0077638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_563-26_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.012266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_563-26_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.021362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_563-26_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.017483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_563-26_0_4_line_31 | NAYY 4x150 SE | 26 | 28 | 0.017027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_563-26_0_4_line_32 | NAYY 4x150 SE | 27 | 29 | 0.052317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_563-26_0_4_line_33 | NAYY 4x150 SE | 28 | 30 | 0.018506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_563-26_0_4_line_34 | NAYY 4x150 SE | 29 | 31 | 0.014349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_563-26_0_4_line_35 | NAYY 4x150 SE | 31 | 36 | 0.0029395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_563-26_0_4_line_36 | NAYY 4x150 SE | 32 | 33 | 0.031108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_563-26_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.034287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_563-26_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.032149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_563-26_0_4_line_39 | NAYY 4x150 SE | 35 | 101 | 0.044058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_563-26_0_4_line_40 | NAYY 4x150 SE | 36 | 102 | 0.020524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_563-26_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.075084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_563-26_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.077698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_563-26_0_4_line_43 | NAYY 4x150 SE | 38 | 40 | 0.053385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_563-26_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.016124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_563-26_0_4_line_45 | NAYY 4x150 SE | 40 | 42 | 0.032705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_563-26_0_4_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0054368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_563-26_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.043537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_563-26_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.064861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_563-26_0_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.014072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_563-26_0_4_line_50 | NAYY 4x150 SE | 45 | 47 | 0.034405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_563-26_0_4_line_51 | NAYY 4x150 SE | 46 | 48 | 0.029992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_563-26_0_4_line_52 | NAYY 4x150 SE | 47 | 49 | 0.01334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_563-26_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.056371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_563-26_0_4_line_54 | NAYY 4x150 SE | 49 | 59 | 0.017566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_563-26_0_4_line_55 | NAYY 4x150 SE | 50 | 51 | 0.0051226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_563-26_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.11254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_563-26_0_4_line_57 | NAYY 4x150 SE | 52 | 53 | 0.014137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_563-26_0_4_line_58 | NAYY 4x150 SE | 53 | 56 | 0.035417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_563-26_0_4_line_59 | NAYY 4x150 SE | 54 | 55 | 0.012398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_563-26_0_4_line_60 | NAYY 4x150 SE | 55 | 57 | 0.0011857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_563-26_0_4_line_61 | NAYY 4x150 SE | 57 | 58 | 0.0045299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_563-26_0_4_line_62 | NAYY 4x150 SE | 58 | 78 | 0.0066745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_563-26_0_4_line_63 | NAYY 4x150 SE | 59 | 69 | 0.001487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_563-26_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.018449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_563-26_0_4_line_65 | NAYY 4x150 SE | 60 | 62 | 0.20205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_563-26_0_4_line_66 | NAYY 4x150 SE | 62 | 63 | 0.07057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_563-26_0_4_line_67 | NAYY 4x150 SE | 62 | 64 | 0.20412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_563-26_0_4_line_68 | NAYY 4x150 SE | 65 | 66 | 0.034034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_563-26_0_4_line_69 | NAYY 4x150 SE | 65 | 67 | 0.0029359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_563-26_0_4_line_70 | NAYY 4x150 SE | 66 | 68 | 0.0074107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_563-26_0_4_line_71 | NAYY 4x150 SE | 67 | 69 | 0.008451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_563-26_0_4_line_72 | NAYY 4x150 SE | 68 | 70 | 0.032698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_563-26_0_4_line_73 | NAYY 4x150 SE | 69 | 71 | 0.013322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_563-26_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.021039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_563-26_0_4_line_75 | NAYY 4x150 SE | 70 | 73 | 0.024045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_563-26_0_4_line_76 | NAYY 4x150 SE | 71 | 74 | 0.0065555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_563-26_0_4_line_77 | NAYY 4x150 SE | 72 | 75 | 0.014152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_563-26_0_4_line_78 | NAYY 4x150 SE | 73 | 76 | 0.0046468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_563-26_0_4_line_79 | NAYY 4x150 SE | 74 | 77 | 0.0091603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_563-26_0_4_line_80 | NAYY 4x150 SE | 75 | 83 | 0.021437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_563-26_0_4_line_81 | NAYY 4x150 SE | 76 | 95 | 0.014413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_563-26_0_4_line_82 | NAYY 4x150 SE | 77 | 108 | 0.01248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_563-26_0_4_line_83 | NAYY 4x150 SE | 78 | 79 | 0.0016094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_563-26_0_4_line_84 | NAYY 4x150 SE | 79 | 98 | 0.0029184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_563-26_0_4_line_85 | NAYY 4x150 SE | 80 | 81 | 0.0031402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_563-26_0_4_line_86 | NAYY 4x150 SE | 80 | 82 | 0.019839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_563-26_0_4_line_87 | NAYY 4x150 SE | 81 | 83 | 0.0015378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_563-26_0_4_line_88 | NAYY 4x150 SE | 82 | 84 | 0.015864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_563-26_0_4_line_89 | NAYY 4x150 SE | 82 | 85 | 0.029797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_563-26_0_4_line_90 | NAYY 4x150 SE | 84 | 86 | 0.00124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_563-26_0_4_line_91 | NAYY 4x150 SE | 85 | 87 | 0.015448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_563-26_0_4_line_92 | NAYY 4x150 SE | 86 | 88 | 0.0030619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_563-26_0_4_line_93 | NAYY 4x150 SE | 87 | 89 | 0.0097081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_563-26_0_4_line_94 | NAYY 4x150 SE | 88 | 90 | 0.019568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_563-26_0_4_line_95 | NAYY 4x150 SE | 89 | 91 | 0.020878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_563-26_0_4_line_96 | NAYY 4x150 SE | 90 | 92 | 0.065261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_563-26_0_4_line_97 | NAYY 4x150 SE | 90 | 93 | 0.081205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_563-26_0_4_line_98 | NAYY 4x150 SE | 91 | 101 | 0.04314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_563-26_0_4_line_99 | NAYY 4x150 SE | 93 | 94 | 0.021646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_563-26_0_4_line_100 | NAYY 4x150 SE | 95 | 96 | 0.0039499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_563-26_0_4_line_101 | NAYY 4x150 SE | 96 | 97 | 0.0060817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_563-26_0_4_line_102 | NAYY 4x150 SE | 97 | 98 | 0.0058804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_563-26_0_4_line_103 | NAYY 4x150 SE | 99 | 100 | 0.022169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_563-26_0_4_line_104 | NAYY 4x150 SE | 100 | 103 | 0.016179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_563-26_0_4_line_105 | NAYY 4x150 SE | 103 | 104 | 0.0043823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_563-26_0_4_line_106 | NAYY 4x150 SE | 104 | 105 | 0.015154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_563-26_0_4_line_107 | NAYY 4x150 SE | 106 | 107 | 0.023928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_563-26_0_4_line_108 | NAYY 4x150 SE | 107 | 108 | 0.0062981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_563-26_0_4_trafo_54 | 0.25 MVA 20/0.4 kV | 110 | 70 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2616816.8883 | 1159046.201 | 2616802.1471 | 1159055.0199 | 2616787.5444 | 1159063.6836 | 2616785.4421 | 1159064.7753
1 | 2616751.1528 | 1159082.5808 | 2616785.4421 | 1159064.7753
2 | 2616816.8883 | 1159046.201 | 2616816.2967 | 1159041.1857
3 | 2616816.8883 | 1159046.201 | 2616821.3986 | 1159055.6633
4 | 2616742.2931 | 1159076.7533 | 2616751.1528 | 1159082.5808
5 | 2616816.2967 | 1159041.1857 | 2616829.2543 | 1159034.274
6 | 2616816.2967 | 1159041.1857 | 2616814.8768 | 1159034.3592
7 | 2616821.3986 | 1159055.6633 | 2616822.9768 | 1159058.974
8 | 2616742.2931 | 1159076.7533 | 2616738.8219 | 1159073.2608
9 | 2616858.4497 | 1158984.9865 | 2616850.9324 | 1159022.6953 | 2616829.2543 | 1159034.274
10 | 2616829.2543 | 1159034.274 | 2616846.9709 | 1159046.9519 | 2616852.9179 | 1159050.0367 | 2616858.4749 | 1159050.0522 | 2616869.1659 | 1159047.8365 | 2616876.9823 | 1159048.4698 | 2616881.7018 | 1159051.9625 | 2616884.527 | 1159055.0652
11 | 2616814.8768 | 1159034.3592 | 2616812.8771 | 1159024.7452
12 | 2616850.835 | 1159104.2244 | 2616838.8499 | 1159092.274 | 2616822.9768 | 1159058.974
13 | 2616717.1546 | 1159051.4603 | 2616738.8219 | 1159073.2608
14 | 2616886.1812 | 1159056.882 | 2616884.527 | 1159055.0652
15 | 2616812.7569 | 1159024.1674 | 2616812.8771 | 1159024.7452
16 | 2616850.835 | 1159104.2244 | 2616859.8557 | 1159096.2901 | 2616861.1238 | 1159095.3207
17 | 2616717.1546 | 1159051.4603 | 2616712.2736 | 1159046.5493
18 | 2616892.5602 | 1159063.8877 | 2616886.1812 | 1159056.882
19 | 2616812.7569 | 1159024.1674 | 2616810.8055 | 1159014.7796
20 | 2616812.7569 | 1159024.1674 | 2616804.2732 | 1159023.6769 | 2616796.2752 | 1159016.6845 | 2616791.359 | 1159005.8036
21 | 2616861.1238 | 1159095.3207 | 2616872.8523 | 1159086.3548 | 2616892.7188 | 1159083.9203 | 2616900.9248 | 1159087.0255
22 | 2616705.8138 | 1159040.0498 | 2616712.2736 | 1159046.5493
23 | 2616705.8138 | 1159040.0498 | 2616695.6405 | 1159029.8139
24 | 2616681.1589 | 1159015.2434 | 2616695.6405 | 1159029.8139
25 | 2616671.0317 | 1159005.0539 | 2616681.1589 | 1159015.2434
26 | 2616671.0317 | 1159005.0539 | 2616656.0681 | 1158994.7056
27 | 2616600.9822 | 1158987.8935 | 2616607.8757 | 1158984.3219
28 | 2616590.0909 | 1158993.5364 | 2616600.9822 | 1158987.8935
29 | 2616626.8432 | 1158974.4947 | 2616607.8757 | 1158984.3219
30 | 2616626.8432 | 1158974.4947 | 2616613.6996 | 1158962.9671
31 | 2616626.8432 | 1158974.4947 | 2616640.8474 | 1158984.1795
32 | 2616613.6996 | 1158962.9671 | 2616602.5578 | 1158953.1951 | 2616587.718 | 1158918.7595
33 | 2616640.8474 | 1158984.1795 | 2616656.0681 | 1158994.7056
34 | 2616582.0391 | 1158905.5817 | 2616587.718 | 1158918.7595
35 | 2616582.0391 | 1158905.5817 | 2616580.3057 | 1158903.2076
36 | 2616724.2247 | 1158991.85 | 2616709.3 | 1158964.5396
37 | 2616720.1899 | 1158932.0647 | 2616718.3418 | 1158937.9069 | 2616714.572 | 1158951.2253 | 2616709.3 | 1158964.5396
38 | 2616720.1899 | 1158932.0647 | 2616688.2094 | 1158928.7788
39 | 2616688.2094 | 1158928.7788 | 2616682.4963 | 1158928.1918 | 2616661.058 | 1158919.5728 | 2616648.6365 | 1158910.7966
40 | 2616568.2034 | 1158886.6318 | 2616580.3057 | 1158903.2076
41 | 2616926.9528 | 1158698.1219 | 2616963.279 | 1158632.4101
42 | 2616926.9528 | 1158698.1219 | 2616903.3219 | 1158740.8686 | 2616894.1399 | 1158768.2232
43 | 2616979.2999 | 1158582.9367 | 2616978.3637 | 1158605.1228 | 2616963.279 | 1158632.4101
44 | 2616889.0089 | 1158783.5093 | 2616894.1399 | 1158768.2232
45 | 2617011.2097 | 1158575.3672 | 2616979.2999 | 1158582.9367
46 | 2616889.0089 | 1158783.5093 | 2616887.2788 | 1158788.6634
47 | 2616864.5085 | 1158824.6238 | 2616881.215 | 1158806.7283 | 2616887.2788 | 1158788.6634
48 | 2616864.5085 | 1158824.6238 | 2616855.5036 | 1158837.7385 | 2616829.9619 | 1158879.4991
49 | 2616864.5085 | 1158824.6238 | 2616863.1548 | 1158815.3043 | 2616861.1025 | 1158811.126
50 | 2616819.6659 | 1158911.8882 | 2616819.6817 | 1158904.7052 | 2616829.9619 | 1158879.4991
51 | 2616851.0193 | 1158782.921 | 2616858.879 | 1158806.5992 | 2616861.1025 | 1158811.126
52 | 2616819.6659 | 1158911.8882 | 2616819.6364 | 1158925.2277
53 | 2616851.0193 | 1158782.921 | 2616838.48 | 1158727.9619
54 | 2616819.6364 | 1158925.2277 | 2616819.5977 | 1158942.7932
55 | 2616838.48 | 1158727.9619 | 2616837.3405 | 1158722.9677
56 | 2616837.3405 | 1158722.9677 | 2616835.1622 | 1158713.4201 | 2616803.5702 | 1158642.986 | 2616795.5361 | 1158618.7335
57 | 2616791.0904 | 1158605.3134 | 2616795.5361 | 1158618.7335
58 | 2616779.953 | 1158571.693 | 2616791.0904 | 1158605.3134
59 | 2616779.7614 | 1158836.45 | 2616769.3704 | 1158843.2125
60 | 2616769.3704 | 1158843.2125 | 2616769.3704 | 1158843.2125 | 2616768.9891 | 1158844.3352
61 | 2616768.9891 | 1158844.3352 | 2616767.5325 | 1158848.6245
62 | 2616765.3862 | 1158854.9445 | 2616767.5325 | 1158848.6245
63 | 2616819.5944 | 1158944.2802 | 2616819.5977 | 1158942.7932
64 | 2616918.1065 | 1159090.2544 | 2616914.0581 | 1159091.9951 | 2616900.9248 | 1159087.0255
65 | 2616918.1065 | 1159090.2544 | 2617084.5275 | 1158975.6802
66 | 2617084.5275 | 1158975.6802 | 2617093.2936 | 1158972.5517 | 2617103.8119 | 1158966.4674 | 2617110.6315 | 1158967.2649 | 2617117.5186 | 1158971.2864 | 2617121.8213 | 1158967.6301 | 2617125.3807 | 1158955.8566 | 2617135.8407 | 1158943.3245
67 | 2617084.5275 | 1158975.6802 | 2617123.1767 | 1159176.1041
68 | 2616808.5086 | 1158941.6791 | 2616785.5992 | 1158936.3038 | 2616777.1691 | 1158930.0405
69 | 2616808.5086 | 1158941.6791 | 2616811.3669 | 1158942.3497
70 | 2616777.1691 | 1158930.0405 | 2616771.2205 | 1158925.6209
71 | 2616819.5944 | 1158944.2802 | 2616811.3669 | 1158942.3497
72 | 2616744.974 | 1158906.1205 | 2616771.2205 | 1158925.6209
73 | 2616819.5944 | 1158944.2802 | 2616817.9866 | 1158957.5043
74 | 2616744.974 | 1158906.1205 | 2616729.2865 | 1158892.1008
75 | 2616744.974 | 1158906.1205 | 2616748.9118 | 1158901.3179 | 2616741.5081 | 1158889.9807 | 2616744.6899 | 1158887.0973
76 | 2616817.1954 | 1158964.0119 | 2616817.9866 | 1158957.5043
77 | 2616718.7347 | 1158882.6707 | 2616729.2865 | 1158892.1008
78 | 2616748.1332 | 1158883.9771 | 2616744.6899 | 1158887.0973
79 | 2616817.1954 | 1158964.0119 | 2616816.5977 | 1158968.9285 | 2616814.9683 | 1158972.8076
80 | 2616718.7347 | 1158882.6707 | 2616702.7504 | 1158868.3856
81 | 2616748.1332 | 1158883.9771 | 2616758.8135 | 1158874.2986
82 | 2616811.2994 | 1158984.5579 | 2616811.3507 | 1158981.4201 | 2616814.9683 | 1158972.8076
83 | 2616764.8687 | 1158856.4684 | 2616765.3862 | 1158854.9445
84 | 2616764.8687 | 1158856.4684 | 2616763.9302 | 1158859.2318
85 | 2616699.2624 | 1158865.2684 | 2616701.6038 | 1158867.3609
86 | 2616684.4697 | 1158852.0484 | 2616699.2624 | 1158865.2684
87 | 2616701.6038 | 1158867.3609 | 2616702.7504 | 1158868.3856
88 | 2616684.4697 | 1158852.0484 | 2616677.0872 | 1158838.0073
89 | 2616684.4697 | 1158852.0484 | 2616662.6963 | 1158853.6557 | 2616655.3548 | 1158856.744
90 | 2616677.0872 | 1158838.0073 | 2616676.5102 | 1158836.9098
91 | 2616655.3548 | 1158856.744 | 2616641.1149 | 1158862.734
92 | 2616676.5102 | 1158836.9098 | 2616675.0853 | 1158834.1997
93 | 2616632.1663 | 1158866.4983 | 2616641.1149 | 1158862.734
94 | 2616665.9789 | 1158816.8799 | 2616675.0853 | 1158834.1997
95 | 2616618.3181 | 1158880.4356 | 2616623.6816 | 1158870.0675 | 2616632.1663 | 1158866.4983
96 | 2616716.1275 | 1158779.8112 | 2616707.137 | 1158779.5195 | 2616691.8994 | 1158787.5258 | 2616665.9789 | 1158816.8799
97 | 2616657.63 | 1158736.8727 | 2616658.5229 | 1158793.8479 | 2616665.9789 | 1158816.8799
98 | 2616618.3181 | 1158880.4356 | 2616639.102 | 1158904.0601 | 2616648.6365 | 1158910.7966
99 | 2616657.63 | 1158736.8727 | 2616655.9181 | 1158715.2945
100 | 2616758.8135 | 1158874.2986 | 2616758.8135 | 1158874.2986 | 2616760.0836 | 1158870.5585
101 | 2616760.0836 | 1158870.5585 | 2616762.0393 | 1158864.7999
102 | 2616762.0393 | 1158864.7999 | 2616763.9302 | 1158859.2318
103 | 2616767.5254 | 1158953.0529 | 2616776.6534 | 1158973.2558
104 | 2616783.315 | 1158987.9999 | 2616776.6534 | 1158973.2558
105 | 2616783.315 | 1158987.9999 | 2616785.1194 | 1158991.9935
106 | 2616785.1194 | 1158991.9935 | 2616791.359 | 1159005.8036
107 | 2616810.8055 | 1159014.7796 | 2616811.1965 | 1158990.8551
108 | 2616811.2994 | 1158984.5579 | 2616811.1965 | 1158990.8551

## bus_geodata
| x | y | coords
0 | 2616785.4421 | 1159064.7753
1 | 2616816.8883 | 1159046.201
2 | 2616751.1528 | 1159082.5808
3 | 2616816.2967 | 1159041.1857
4 | 2616821.3987 | 1159055.6633
5 | 2616742.2931 | 1159076.7533
6 | 2616829.2543 | 1159034.274
7 | 2616814.8768 | 1159034.3592
8 | 2616822.9768 | 1159058.974
9 | 2616738.8219 | 1159073.2608
10 | 2616858.4497 | 1158984.9865
11 | 2616884.527 | 1159055.0652
12 | 2616812.8771 | 1159024.7452
13 | 2616850.835 | 1159104.2244
14 | 2616717.1546 | 1159051.4603
15 | 2616886.1812 | 1159056.882
16 | 2616812.7569 | 1159024.1674
17 | 2616861.1238 | 1159095.3207
18 | 2616712.2736 | 1159046.5493
19 | 2616705.8138 | 1159040.0498
20 | 2616695.6405 | 1159029.8139
21 | 2616681.1589 | 1159015.2434
22 | 2616671.0317 | 1159005.0539
23 | 2616600.9822 | 1158987.8935
24 | 2616607.8757 | 1158984.3219
25 | 2616590.0909 | 1158993.5364
26 | 2616626.8432 | 1158974.4947
27 | 2616613.6996 | 1158962.9671
28 | 2616640.8474 | 1158984.1795
29 | 2616587.718 | 1158918.7595
30 | 2616656.0681 | 1158994.7056
31 | 2616582.0391 | 1158905.5817
32 | 2616709.3 | 1158964.5396
33 | 2616724.2247 | 1158991.85
34 | 2616720.1899 | 1158932.0647
35 | 2616688.2094 | 1158928.7788
36 | 2616580.3057 | 1158903.2076
37 | 2616926.9528 | 1158698.1219
38 | 2616963.279 | 1158632.4101
39 | 2616894.1399 | 1158768.2232
40 | 2616979.2999 | 1158582.9367
41 | 2616889.0089 | 1158783.5093
42 | 2617011.2097 | 1158575.3672
43 | 2616887.2788 | 1158788.6634
44 | 2616864.5085 | 1158824.6238
45 | 2616829.9619 | 1158879.4991
46 | 2616861.1025 | 1158811.126
47 | 2616819.6659 | 1158911.8882
48 | 2616851.0193 | 1158782.921
49 | 2616819.6364 | 1158925.2277
50 | 2616838.48 | 1158727.9619
51 | 2616837.3405 | 1158722.9677
52 | 2616795.5361 | 1158618.7335
53 | 2616791.0904 | 1158605.3134
54 | 2616779.7614 | 1158836.45
55 | 2616769.3704 | 1158843.2125
56 | 2616779.953 | 1158571.693
57 | 2616768.9891 | 1158844.3352
58 | 2616767.5325 | 1158848.6245
59 | 2616819.5977 | 1158942.7932
60 | 2616918.1065 | 1159090.2544
61 | 2616900.9248 | 1159087.0255
62 | 2617084.5275 | 1158975.6802
63 | 2617135.8407 | 1158943.3245
64 | 2617123.1767 | 1159176.1041
65 | 2616808.5086 | 1158941.6791
66 | 2616777.1691 | 1158930.0405
67 | 2616811.3669 | 1158942.3497
68 | 2616771.2205 | 1158925.6209
69 | 2616819.5944 | 1158944.2802
70 | 2616744.974 | 1158906.1205
71 | 2616817.9866 | 1158957.5043
72 | 2616729.2865 | 1158892.1008
73 | 2616744.6899 | 1158887.0973
74 | 2616817.1954 | 1158964.0119
75 | 2616718.7347 | 1158882.6707
76 | 2616748.1332 | 1158883.9771
77 | 2616814.9683 | 1158972.8076
78 | 2616765.3862 | 1158854.9445
79 | 2616764.8687 | 1158856.4684
80 | 2616699.2624 | 1158865.2684
81 | 2616701.6038 | 1158867.3609
82 | 2616684.4697 | 1158852.0484
83 | 2616702.7504 | 1158868.3856
84 | 2616677.0872 | 1158838.0073
85 | 2616655.3548 | 1158856.744
86 | 2616676.5102 | 1158836.9098
87 | 2616641.1149 | 1158862.734
88 | 2616675.0853 | 1158834.1997
89 | 2616632.1663 | 1158866.4983
90 | 2616665.9789 | 1158816.8799
91 | 2616618.3181 | 1158880.4356
92 | 2616716.1275 | 1158779.8112
93 | 2616657.63 | 1158736.8727
94 | 2616655.9181 | 1158715.2945
95 | 2616758.8135 | 1158874.2986
96 | 2616760.0836 | 1158870.5585
97 | 2616762.0393 | 1158864.7999
98 | 2616763.9302 | 1158859.2318
99 | 2616767.5254 | 1158953.0529
100 | 2616776.6534 | 1158973.2558
101 | 2616648.6365 | 1158910.7966
102 | 2616568.2034 | 1158886.6318
103 | 2616783.315 | 1158987.9999
104 | 2616785.1194 | 1158991.9935
105 | 2616791.359 | 1159005.8036
106 | 2616810.8055 | 1159014.7796
107 | 2616811.1965 | 1158990.8551
108 | 2616811.2994 | 1158984.5579
109 | 2616892.5602 | 1159063.8877
110 | 2616684.4697 | 1158852.0484

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1