## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_563-37_1_2_node_142 | 0.4 | n |  | TRUE
1 | bus_LV_563-37_1_2_node_94 | 0.4 | n |  | TRUE
2 | bus_LV_563-37_1_2_node_141 | 0.4 | n |  | TRUE
3 | bus_LV_563-37_1_2_node_140 | 0.4 | n |  | TRUE
4 | bus_LV_563-37_1_2_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_563-37_1_2_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_563-37_1_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_563-37_1_2_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_563-37_1_2_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_563-37_1_2_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_563-37_1_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_563-37_1_2_node_22 | 0.4 | n |  | TRUE
12 | bus_LV_563-37_1_2_node_99 | 0.4 | n |  | TRUE
13 | bus_LV_563-37_1_2_node_103 | 0.4 | n |  | TRUE
14 | bus_LV_563-37_1_2_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_563-37_1_2_node_100 | 0.4 | n |  | TRUE
16 | bus_LV_563-37_1_2_node_104 | 0.4 | n |  | TRUE
17 | bus_LV_563-37_1_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_563-37_1_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_563-37_1_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_563-37_1_2_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_563-37_1_2_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_563-37_1_2_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_563-37_1_2_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_563-37_1_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_563-37_1_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_563-37_1_2_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_563-37_1_2_node_123 | 0.4 | n |  | TRUE
28 | bus_LV_563-37_1_2_node_124 | 0.4 | n |  | TRUE
29 | bus_LV_563-37_1_2_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_563-37_1_2_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_563-37_1_2_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_563-37_1_2_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_563-37_1_2_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_563-37_1_2_node_126 | 0.4 | n |  | TRUE
35 | bus_LV_563-37_1_2_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_563-37_1_2_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_563-37_1_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_563-37_1_2_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_563-37_1_2_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_563-37_1_2_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_563-37_1_2_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_563-37_1_2_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_563-37_1_2_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_563-37_1_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_563-37_1_2_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_563-37_1_2_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_563-37_1_2_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_563-37_1_2_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_563-37_1_2_node_122 | 0.4 | n |  | TRUE
50 | bus_LV_563-37_1_2_node_108 | 0.4 | n |  | TRUE
51 | bus_LV_563-37_1_2_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_563-37_1_2_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_563-37_1_2_node_117 | 0.4 | n |  | TRUE
54 | bus_LV_563-37_1_2_node_89 | 0.4 | n |  | TRUE
55 | bus_LV_563-37_1_2_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_563-37_1_2_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_563-37_1_2_node_136 | 0.4 | n |  | TRUE
58 | bus_LV_563-37_1_2_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_563-37_1_2_node_91 | 0.4 | n |  | TRUE
60 | bus_LV_563-37_1_2_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_563-37_1_2_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_563-37_1_2_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_563-37_1_2_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_563-37_1_2_node_139 | 0.4 | n |  | TRUE
65 | bus_LV_563-37_1_2_node_120 | 0.4 | n |  | TRUE
66 | bus_LV_563-37_1_2_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_563-37_1_2_node_134 | 0.4 | n |  | TRUE
68 | bus_LV_563-37_1_2_node_118 | 0.4 | n |  | TRUE
69 | bus_LV_563-37_1_2_node_119 | 0.4 | n |  | TRUE
70 | bus_LV_563-37_1_2_node_132 | 0.4 | n |  | TRUE
71 | bus_LV_563-37_1_2_node_112 | 0.4 | n |  | TRUE
72 | bus_LV_563-37_1_2_node_114 | 0.4 | n |  | TRUE
73 | bus_LV_563-37_1_2_node_115 | 0.4 | n |  | TRUE
74 | bus_LV_563-37_1_2_node_111 | 0.4 | n |  | TRUE
75 | bus_LV_563-37_1_2_node_105 | 0.4 | n |  | TRUE
76 | bus_LV_563-37_1_2_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_563-37_1_2_node_107 | 0.4 | n |  | TRUE
78 | bus_LV_563-37_1_2_node_109 | 0.4 | n |  | TRUE
79 | bus_LV_563-37_1_2_node_110 | 0.4 | n |  | TRUE
80 | bus_LV_563-37_1_2_node_113 | 0.4 | n |  | TRUE
81 | bus_LV_563-37_1_2_node_121 | 0.4 | n |  | TRUE
82 | bus_LV_563-37_1_2_node_135 | 0.4 | n |  | TRUE
83 | bus_LV_563-37_1_2_node_125 | 0.4 | n |  | TRUE
84 | bus_LV_563-37_1_2_node_131 | 0.4 | n |  | TRUE
85 | bus_LV_563-37_1_2_node_128 | 0.4 | n |  | TRUE
86 | bus_LV_563-37_1_2_node_138 | 0.4 | n |  | TRUE
87 | bus_LV_563-37_1_2_node_127 | 0.4 | n |  | TRUE
88 | bus_LV_563-37_1_2_node_129 | 0.4 | n |  | TRUE
89 | bus_LV_563-37_1_2_node_130 | 0.4 | n |  | TRUE
90 | bus_LV_563-37_1_2_node_137 | 0.4 | n |  | TRUE
91 | bus_MV_80_1_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_563-37_1_2_load_142 | 0 | 0.0004061 | 0.00010178 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_563-37_1_2_load_141 | 2 | 0.00044465 | 0.00011144 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_563-37_1_2_load_140 | 3 | 0.00031962 | 8.0103e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_563-37_1_2_load_15 | 4 | 0.0013006 | 0.00032596 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_563-37_1_2_load_16 | 5 | 0.0018855 | 0.00047255 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_563-37_1_2_load_17 | 6 | 0.0020355 | 0.00051014 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_563-37_1_2_load_19 | 8 | 0.0017705 | 0.00044372 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_563-37_1_2_load_20 | 9 | 0.0058521 | 0.0014667 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_563-37_1_2_load_21 | 10 | 0.0018297 | 0.00045856 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_563-37_1_2_load_22 | 11 | 0.0021946 | 0.00055002 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_563-37_1_2_load_99 | 12 | 0.00065747 | 0.00016478 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_563-37_1_2_load_103 | 13 | 0.001329 | 0.00033307 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_563-37_1_2_load_23 | 14 | 0.0011621 | 0.00029124 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_563-37_1_2_load_24 | 17 | 0.0020317 | 0.00050919 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_563-37_1_2_load_25 | 18 | 0.0017452 | 0.00043738 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_563-37_1_2_load_26 | 19 | 0.0014606 | 0.00036606 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_563-37_1_2_load_27 | 20 | 0.0019438 | 0.00048715 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_563-37_1_2_load_28 | 21 | 0.002289 | 0.00057367 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_563-37_1_2_load_32 | 22 | 0.00096336 | 0.00024144 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_563-37_1_2_load_30 | 23 | 0.0015695 | 0.00039335 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_563-37_1_2_load_29 | 24 | 0.0015781 | 0.0003955 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_563-37_1_2_load_31 | 25 | 0.0011534 | 0.00028908 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_563-37_1_2_load_33 | 26 | 0.001507 | 0.00037769 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_563-37_1_2_load_123 | 27 | 0.0015656 | 0.00039237 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_563-37_1_2_load_34 | 29 | 0.0012549 | 0.0003145 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_563-37_1_2_load_35 | 30 | 0.0021799 | 0.00054634 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_563-37_1_2_load_36 | 31 | 0.0016738 | 0.0004195 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_563-37_1_2_load_37 | 32 | 0.0014439 | 0.00036188 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_563-37_1_2_load_38 | 33 | 0.0010439 | 0.00026162 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_563-37_1_2_load_126 | 34 | 0.00059639 | 0.00014947 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_563-37_1_2_load_48 | 35 | 0.0010447 | 0.00026182 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_563-37_1_2_load_43 | 36 | 0.0010393 | 0.00026047 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_563-37_1_2_load_39 | 37 | 0.0022522 | 0.00056446 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_563-37_1_2_load_40 | 38 | 0.0041633 | 0.0010434 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_563-37_1_2_load_41 | 39 | 0.0020924 | 0.00052441 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_563-37_1_2_load_42 | 40 | 0.0010625 | 0.00026629 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_563-37_1_2_load_44 | 41 | 0.0016066 | 0.00040266 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_563-37_1_2_load_45 | 42 | 0.0016027 | 0.00040169 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_563-37_1_2_load_46 | 43 | 0.00137 | 0.00034335 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_563-37_1_2_load_47 | 44 | 0.00048967 | 0.00012272 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_563-37_1_2_load_101 | 45 | 0.0002166 | 5.4286e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_563-37_1_2_load_102 | 46 | 0.00032103 | 8.0456e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_563-37_1_2_load_84 | 47 | 0.00048169 | 0.00012072 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_563-37_1_2_load_85 | 48 | 0.00032369 | 8.1124e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_563-37_1_2_load_122 | 49 | 0.00081751 | 0.00020489 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_563-37_1_2_load_87 | 51 | 0.0020105 | 0.00050388 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_563-37_1_2_load_88 | 52 | 0.00088096 | 0.00022079 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_563-37_1_2_load_116 | 55 | 0.00046914 | 0.00011758 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_563-37_1_2_load_98 | 56 | 0.0018791 | 0.00047095 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_563-37_1_2_load_136 | 57 | 0.0010036 | 0.00025153 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_563-37_1_2_load_90 | 58 | 0.0039331 | 0.00098573 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_563-37_1_2_load_91 | 59 | 0.00047778 | 0.00011974 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_563-37_1_2_load_93 | 61 | 0.0018953 | 0.00047501 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_563-37_1_2_load_139 | 64 | 0.00040669 | 0.00010193 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_563-37_1_2_load_120 | 65 | 0.00027612 | 6.9203e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_563-37_1_2_load_97 | 66 | 0.0025466 | 0.00063824 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_563-37_1_2_load_134 | 67 | 0.000362 | 9.0726e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_563-37_1_2_load_118 | 68 | 0.000598 | 0.00014987 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_563-37_1_2_load_119 | 69 | 0.0002494 | 6.2506e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_563-37_1_2_load_132 | 70 | 0.0044938 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_563-37_1_2_load_114 | 72 | 0.00044762 | 0.00011218 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_563-37_1_2_load_115 | 73 | 0.00043054 | 0.0001079 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_563-37_1_2_load_111 | 74 | 0.00042995 | 0.00010776 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_563-37_1_2_load_105 | 75 | 0.005585 | 0.0013997 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_563-37_1_2_load_106 | 76 | 0.0005986 | 0.00015002 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_563-37_1_2_load_110 | 79 | 0.0004719 | 0.00011827 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_563-37_1_2_load_113 | 80 | 0.00032289 | 8.0924e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_563-37_1_2_load_121 | 81 | 0.00038625 | 9.6804e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_563-37_1_2_load_135 | 82 | 0.00081713 | 0.00020479 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_563-37_1_2_load_131 | 84 | 0.0013389 | 0.00033556 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_563-37_1_2_load_128 | 85 | 0.0028564 | 0.00071588 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_563-37_1_2_load_127 | 87 | 0.0015856 | 0.00039738 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_563-37_1_2_load_129 | 88 | 0.0016176 | 0.0004054 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_563-37_1_2_load_130 | 89 | 0.0063169 | 0.0015832 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_563-37_1_2_load_137 | 90 | 0.0017794 | 0.00044596 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_563-37_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_563-37_1_2_line_1 | NAYY 4x150 SE | 1 | 64 | 0.050492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_563-37_1_2_line_2 | NAYY 4x150 SE | 1 | 60 | 0.027884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_563-37_1_2_line_3 | NAYY 4x150 SE | 2 | 3 | 0.035391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_563-37_1_2_line_4 | NAYY 4x150 SE | 3 | 64 | 0.027834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_563-37_1_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.0040046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_563-37_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0081827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_563-37_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.022579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_563-37_1_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0019952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_563-37_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.021353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_563-37_1_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.012491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_563-37_1_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.010666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_563-37_1_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.029841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_563-37_1_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.040011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_563-37_1_2_line_14 | NAYY 4x150 SE | 11 | 14 | 0.017324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_563-37_1_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.029333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_563-37_1_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.022935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_563-37_1_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.0042535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_563-37_1_2_line_18 | NAYY 4x150 SE | 15 | 45 | 0.012274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_563-37_1_2_line_19 | NAYY 4x150 SE | 15 | 46 | 0.017517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_563-37_1_2_line_20 | NAYY 4x150 SE | 15 | 44 | 0.0097666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_563-37_1_2_line_21 | NAYY 4x150 SE | 16 | 70 | 0.003965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_563-37_1_2_line_22 | NAYY 4x150 SE | 17 | 18 | 0.0025653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_563-37_1_2_line_23 | NAYY 4x150 SE | 18 | 19 | 0.0025575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_563-37_1_2_line_24 | NAYY 4x150 SE | 19 | 20 | 0.0086223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_563-37_1_2_line_25 | NAYY 4x150 SE | 20 | 21 | 0.006065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_563-37_1_2_line_26 | NAYY 4x150 SE | 21 | 22 | 0.006546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_563-37_1_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.00026269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_563-37_1_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.0032535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_563-37_1_2_line_29 | NAYY 4x150 SE | 24 | 25 | 0.0030684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_563-37_1_2_line_30 | NAYY 4x150 SE | 25 | 26 | 0.0095905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_563-37_1_2_line_31 | NAYY 4x150 SE | 26 | 27 | 0.021256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_563-37_1_2_line_32 | NAYY 4x150 SE | 27 | 28 | 0.023418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_563-37_1_2_line_33 | NAYY 4x150 SE | 28 | 83 | 0.002296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_563-37_1_2_line_34 | NAYY 4x150 SE | 28 | 34 | 0.014338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_563-37_1_2_line_35 | NAYY 4x150 SE | 29 | 30 | 0.040176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_563-37_1_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.036414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_563-37_1_2_line_37 | NAYY 4x150 SE | 30 | 32 | 0.0086958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_563-37_1_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.0063432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_563-37_1_2_line_39 | NAYY 4x150 SE | 32 | 34 | 0.011897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_563-37_1_2_line_40 | NAYY 4x150 SE | 33 | 35 | 0.0064769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_563-37_1_2_line_41 | NAYY 4x150 SE | 35 | 36 | 0.0066344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_563-37_1_2_line_42 | NAYY 4x150 SE | 36 | 40 | 0.0052122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_563-37_1_2_line_43 | NAYY 4x150 SE | 37 | 38 | 0.012597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_563-37_1_2_line_44 | NAYY 4x150 SE | 38 | 39 | 0.01152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_563-37_1_2_line_45 | NAYY 4x150 SE | 39 | 40 | 0.0011158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_563-37_1_2_line_46 | NAYY 4x150 SE | 41 | 42 | 0.0096861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_563-37_1_2_line_47 | NAYY 4x150 SE | 41 | 43 | 0.088848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_563-37_1_2_line_48 | NAYY 4x150 SE | 43 | 44 | 0.012102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_563-37_1_2_line_49 | NAYY 4x150 SE | 45 | 68 | 0.021869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_563-37_1_2_line_50 | NAYY 4x150 SE | 46 | 65 | 0.13481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_563-37_1_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.010353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_563-37_1_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.11739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_563-37_1_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.039407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_563-37_1_2_line_54 | NAYY 4x150 SE | 50 | 53 | 0.10195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_563-37_1_2_line_55 | NAYY 4x150 SE | 50 | 76 | 0.043623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_563-37_1_2_line_56 | NAYY 4x150 SE | 51 | 52 | 0.025672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_563-37_1_2_line_57 | NAYY 4x150 SE | 52 | 54 | 0.003165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_563-37_1_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.06592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_563-37_1_2_line_59 | NAYY 4x150 SE | 53 | 55 | 0.029778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_563-37_1_2_line_60 | NAYY 4x150 SE | 55 | 56 | 0.073328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_563-37_1_2_line_61 | NAYY 4x150 SE | 56 | 57 | 0.0055248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_563-37_1_2_line_62 | NAYY 4x150 SE | 57 | 67 | 0.0037067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_563-37_1_2_line_63 | NAYY 4x150 SE | 58 | 59 | 0.010357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_563-37_1_2_line_64 | NAYY 4x150 SE | 58 | 60 | 0.090988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_563-37_1_2_line_65 | NAYY 4x150 SE | 59 | 61 | 0.034221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_563-37_1_2_line_66 | NAYY 4x150 SE | 60 | 62 | 0.051835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_563-37_1_2_line_67 | NAYY 4x150 SE | 61 | 63 | 0.039381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_563-37_1_2_line_68 | NAYY 4x150 SE | 62 | 65 | 0.032535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_563-37_1_2_line_69 | NAYY 4x150 SE | 63 | 66 | 0.009648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_563-37_1_2_line_70 | NAYY 4x150 SE | 67 | 82 | 0.017888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_563-37_1_2_line_71 | NAYY 4x150 SE | 68 | 69 | 0.02888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_563-37_1_2_line_72 | NAYY 4x150 SE | 69 | 72 | 0.014248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_563-37_1_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.011914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_563-37_1_2_line_74 | NAYY 4x150 SE | 71 | 73 | 0.02335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_563-37_1_2_line_75 | NAYY 4x150 SE | 71 | 74 | 0.087721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_563-37_1_2_line_76 | NAYY 4x150 SE | 73 | 81 | 0.078216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_563-37_1_2_line_77 | NAYY 4x150 SE | 74 | 78 | 0.0016786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_563-37_1_2_line_78 | NAYY 4x150 SE | 75 | 76 | 0.067125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_563-37_1_2_line_79 | NAYY 4x150 SE | 75 | 77 | 0.021653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_563-37_1_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.063894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_563-37_1_2_line_81 | NAYY 4x150 SE | 77 | 79 | 0.038321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_563-37_1_2_line_82 | NAYY 4x150 SE | 78 | 80 | 0.12808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_563-37_1_2_line_83 | NAYY 4x150 SE | 83 | 84 | 0.015834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_563-37_1_2_line_84 | NAYY 4x150 SE | 83 | 85 | 0.025207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_563-37_1_2_line_85 | NAYY 4x150 SE | 84 | 86 | 0.0077337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_563-37_1_2_line_86 | NAYY 4x150 SE | 85 | 87 | 0.020407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_563-37_1_2_line_87 | NAYY 4x150 SE | 86 | 90 | 0.034698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_563-37_1_2_line_88 | NAYY 4x150 SE | 87 | 88 | 0.0053279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_563-37_1_2_line_89 | NAYY 4x150 SE | 88 | 89 | 0.010292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_563-37_1_2_trafo_15 | 0.25 MVA 20/0.4 kV | 91 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2616133.8991 | 1160950.3055 | 2616136.6162 | 1160962.9302 | 2616144.5372 | 1160986.552
1 | 2616144.5372 | 1160986.552 | 2616104.7113 | 1161002.5313 | 2616097.2665 | 1161001.1048
2 | 2616169.7711 | 1160974.5358 | 2616144.5372 | 1160986.552
3 | 2616073.3824 | 1160992.9228 | 2616055.5345 | 1160996.6196 | 2616039.5401 | 1161002.8476
4 | 2616097.2665 | 1161001.1048 | 2616093.4151 | 1161000.3668 | 2616083.0884 | 1160990.9124 | 2616073.3824 | 1160992.9228
5 | 2616350.3015 | 1161205.8558 | 2616349.2498 | 1161201.9918
6 | 2616350.3015 | 1161205.8558 | 2616352.4506 | 1161213.7512
7 | 2616343.3197 | 1161180.2054 | 2616349.2498 | 1161201.9918
8 | 2616352.9746 | 1161215.6764 | 2616352.4506 | 1161213.7512
9 | 2616343.3197 | 1161180.2054 | 2616330.2831 | 1161163.2944
10 | 2616343.3197 | 1161180.2054 | 2616355.5845 | 1161182.5738
11 | 2616355.7758 | 1161225.9675 | 2616352.9746 | 1161215.6764
12 | 2616330.2831 | 1161163.2944 | 2616312.0641 | 1161139.6609
13 | 2616355.5845 | 1161182.5738 | 2616379.987 | 1161187.2861 | 2616394.4871 | 1161182.8711
14 | 2616355.7758 | 1161225.9675 | 2616360.3256 | 1161242.683
15 | 2616294.1552 | 1161116.4296 | 2616312.0641 | 1161139.6609
16 | 2616416.4277 | 1161176.1906 | 2616394.4871 | 1161182.8711
17 | 2616361.4427 | 1161246.7872 | 2616360.3256 | 1161242.683
18 | 2616294.1552 | 1161116.4296 | 2616305.1275 | 1161110.9287
19 | 2616294.1552 | 1161116.4296 | 2616284.8406 | 1161101.5945
20 | 2616294.1552 | 1161116.4296 | 2616285.5962 | 1161121.1339
21 | 2616416.4277 | 1161176.1906 | 2616418.7636 | 1161179.3986
22 | 2616362.1164 | 1161249.2624 | 2616361.4427 | 1161246.7872
23 | 2616362.1164 | 1161249.2624 | 2616362.7881 | 1161251.7302
24 | 2616362.7881 | 1161251.7302 | 2616365.0527 | 1161260.0499
25 | 2616365.0527 | 1161260.0499 | 2616366.6456 | 1161265.902
26 | 2616368.3648 | 1161272.2182 | 2616366.6456 | 1161265.902
27 | 2616368.4338 | 1161272.4716 | 2616368.3648 | 1161272.2182
28 | 2616369.2883 | 1161275.611 | 2616368.4338 | 1161272.4716
29 | 2616369.2883 | 1161275.611 | 2616370.0941 | 1161278.5717
30 | 2616370.0941 | 1161278.5717 | 2616372.613 | 1161287.8255
31 | 2616378.2199 | 1161308.3287 | 2616374.3031 | 1161294.0349 | 2616372.613 | 1161287.8255
32 | 2616384.4088 | 1161330.914 | 2616378.2199 | 1161308.3287
33 | 2616384.4088 | 1161330.914 | 2616385.0157 | 1161333.1278
34 | 2616384.4088 | 1161330.914 | 2616370.2071 | 1161332.885
35 | 2616309.6843 | 1161334.9352 | 2616346.621 | 1161336.1586 | 2616349.8094 | 1161335.716
36 | 2616309.6843 | 1161334.9352 | 2616284.488 | 1161334.1007 | 2616274.2609 | 1161329.5254
37 | 2616349.8094 | 1161335.716 | 2616358.4227 | 1161334.5206
38 | 2616268.4707 | 1161326.935 | 2616274.2609 | 1161329.5254
39 | 2616358.4227 | 1161334.5206 | 2616370.2071 | 1161332.885
40 | 2616262.5585 | 1161324.29 | 2616268.4707 | 1161326.935
41 | 2616256.5025 | 1161321.5807 | 2616262.5585 | 1161324.29
42 | 2616251.7448 | 1161319.4523 | 2616256.5025 | 1161321.5807
43 | 2616240.2108 | 1161314.2923 | 2616228.7117 | 1161309.1478
44 | 2616240.2108 | 1161314.2923 | 2616250.7262 | 1161318.9966
45 | 2616250.7262 | 1161318.9966 | 2616251.7448 | 1161319.4523
46 | 2616225.7472 | 1161197.5801 | 2616221.323 | 1161206.1968
47 | 2616225.7472 | 1161197.5801 | 2616256.8999 | 1161136.9061 | 2616274.9909 | 1161126.9628
48 | 2616274.9909 | 1161126.9628 | 2616285.5962 | 1161121.1339
49 | 2616324.6771 | 1161101.1276 | 2616305.1275 | 1161110.9287
50 | 2616284.8406 | 1161101.5945 | 2616273.8303 | 1161084.0587 | 2616255.0856 | 1161053.782 | 2616227.1523 | 1160980.4288
51 | 2616621.9915 | 1160864.5763 | 2616614.1967 | 1160857.7629
52 | 2616625.9489 | 1160981.9007 | 2616621.9915 | 1160864.5763
53 | 2616647.0294 | 1161014.7974 | 2616646.5689 | 1161012.2838 | 2616646.1598 | 1161010.5929 | 2616645.4976 | 1161009.0014 | 2616625.9489 | 1160981.9007
54 | 2616730.7787 | 1161042.6095 | 2616725.13 | 1161048.708 | 2616721.1701 | 1161050.8981 | 2616716.7026 | 1161051.0413 | 2616712.4378 | 1161049.9067 | 2616708.4066 | 1161047.4499 | 2616704.7433 | 1161044.9163 | 2616702.24 | 1161041.3187 | 2616699.1277 | 1161033.5284 | 2616696.4642 | 1161029.6747 | 2616693.1873 | 1161025.986 | 2616685.7147 | 1161021.074 | 2616676.7145 | 1161017.1806 | 2616667.2188 | 1161015.1533 | 2616655.7344 | 1161014.588 | 2616647.0294 | 1161014.7974
55 | 2616647.0294 | 1161014.7974 | 2616625.8569 | 1161015.2949 | 2616619.1111 | 1161016.3546 | 2616607.5508 | 1161021.0807 | 2616604.682 | 1161022.3252
56 | 2616735.8109 | 1160963.8054 | 2616755.3749 | 1160980.4274
57 | 2616757.7869 | 1160982.4767 | 2616755.3749 | 1160980.4274
58 | 2616730.7787 | 1161042.6095 | 2616757.7869 | 1160982.4767
59 | 2616730.7787 | 1161042.6095 | 2616752.026 | 1161063.4723
60 | 2616752.026 | 1161063.4723 | 2616820.9925 | 1161038.5597
61 | 2616825.3755 | 1161041.9232 | 2616820.9925 | 1161038.5597
62 | 2616825.3755 | 1161041.9232 | 2616828.3162 | 1161044.1798
63 | 2616170.2337 | 1161075.4963 | 2616167.9899 | 1161065.385
64 | 2616169.7711 | 1160974.5358 | 2616167.1018 | 1161061.3829 | 2616167.9899 | 1161065.385
65 | 2616170.2337 | 1161075.4963 | 2616172.8556 | 1161087.3112 | 2616167.1683 | 1161108.6861
66 | 2616215.574 | 1160950.0242 | 2616169.7711 | 1160974.5358
67 | 2616157.0424 | 1161146.7429 | 2616167.1683 | 1161108.6861
68 | 2616215.574 | 1160950.0242 | 2616227.1523 | 1160980.4288
69 | 2616157.0424 | 1161146.7429 | 2616164.12 | 1161153.3206
70 | 2616842.3863 | 1161055.219 | 2616839.4409 | 1161052.7167 | 2616828.3162 | 1161044.1798
71 | 2616324.6771 | 1161101.1276 | 2616350.4947 | 1161088.1841
72 | 2616363.2319 | 1161081.7983 | 2616350.4947 | 1161088.1841
73 | 2616373.8821 | 1161076.4588 | 2616363.2319 | 1161081.7983
74 | 2616373.8821 | 1161076.4588 | 2616374.3386 | 1161053.1134
75 | 2616373.8821 | 1161076.4588 | 2616406.2254 | 1161062.1173 | 2616458.4761 | 1161065.1786
76 | 2616374.3386 | 1161053.1134 | 2616374.674 | 1161035.963 | 2616361.2064 | 1160995.3397 | 2616361.5157 | 1160983.0344 | 2616363.0902 | 1160977.2903
77 | 2616460.1518 | 1161065.2767 | 2616458.4761 | 1161065.1786
78 | 2616544.1004 | 1161051.1992 | 2616575.8583 | 1161035.3896 | 2616592.1694 | 1161027.7528 | 2616604.682 | 1161022.3252
79 | 2616523.4328 | 1161057.6569 | 2616544.1004 | 1161051.1992
80 | 2616523.4328 | 1161057.6569 | 2616508.4259 | 1161061.9402 | 2616501.871 | 1161063.2674 | 2616494.2908 | 1161064.0582 | 2616460.1518 | 1161065.2767
81 | 2616523.4328 | 1161057.6569 | 2616509.0249 | 1161036.2402 | 2616506.2417 | 1161034.076 | 2616504.0384 | 1161032.836 | 2616501.7829 | 1161031.04 | 2616499.891 | 1161027.9667
82 | 2616404.9212 | 1160949.9802 | 2616408.6936 | 1160963.1525 | 2616447.0497 | 1161042.6298 | 2616452.9581 | 1161053.5958 | 2616460.1518 | 1161065.2767
83 | 2616385.0157 | 1161333.1278 | 2616389.6384 | 1161348.2721
84 | 2616385.0157 | 1161333.1278 | 2616390.6222 | 1161331.0754 | 2616401.0345 | 1161314.9002
85 | 2616391.8962 | 1161355.6688 | 2616389.6384 | 1161348.2721
86 | 2616411.1315 | 1161297.2389 | 2616408.6811 | 1161303.0216 | 2616401.0345 | 1161314.9002
87 | 2616391.8962 | 1161355.6688 | 2616386.7493 | 1161363.4143 | 2616386.8253 | 1161374.9313 | 2616386.9076 | 1161386.9597 | 2616387.0576 | 1161388.806
88 | 2616413.2101 | 1161292.3332 | 2616411.1315 | 1161297.2389
89 | 2616417.2255 | 1161282.857 | 2616413.2101 | 1161292.3332

## bus_geodata
| x | y | coords
0 | 2616133.8991 | 1160950.3055
1 | 2616144.5372 | 1160986.552
2 | 2616039.5401 | 1161002.8476
3 | 2616073.3824 | 1160992.9228
4 | 2616350.3015 | 1161205.8558
5 | 2616349.2498 | 1161201.9918
6 | 2616352.4506 | 1161213.7512
7 | 2616343.3197 | 1161180.2054
8 | 2616352.9746 | 1161215.6764
9 | 2616330.2831 | 1161163.2944
10 | 2616355.5845 | 1161182.5738
11 | 2616355.7758 | 1161225.9675
12 | 2616312.0641 | 1161139.6609
13 | 2616394.4871 | 1161182.8711
14 | 2616360.3256 | 1161242.683
15 | 2616294.1552 | 1161116.4296
16 | 2616416.4277 | 1161176.1906
17 | 2616361.4427 | 1161246.7872
18 | 2616362.1164 | 1161249.2624
19 | 2616362.7881 | 1161251.7302
20 | 2616365.0527 | 1161260.0499
21 | 2616366.6456 | 1161265.902
22 | 2616368.3648 | 1161272.2182
23 | 2616368.4338 | 1161272.4716
24 | 2616369.2883 | 1161275.611
25 | 2616370.0941 | 1161278.5717
26 | 2616372.613 | 1161287.8255
27 | 2616378.2199 | 1161308.3287
28 | 2616384.4088 | 1161330.914
29 | 2616309.6843 | 1161334.9352
30 | 2616349.8094 | 1161335.7161
31 | 2616274.2609 | 1161329.5254
32 | 2616358.4227 | 1161334.5206
33 | 2616268.4707 | 1161326.935
34 | 2616370.2071 | 1161332.885
35 | 2616262.5585 | 1161324.29
36 | 2616256.5025 | 1161321.5807
37 | 2616228.7117 | 1161309.1478
38 | 2616240.2108 | 1161314.2923
39 | 2616250.7262 | 1161318.9966
40 | 2616251.7448 | 1161319.4523
41 | 2616225.7472 | 1161197.5801
42 | 2616221.323 | 1161206.1968
43 | 2616274.9909 | 1161126.9628
44 | 2616285.5962 | 1161121.1339
45 | 2616305.1275 | 1161110.9287
46 | 2616284.8406 | 1161101.5945
47 | 2616614.1967 | 1160857.7629
48 | 2616621.9915 | 1160864.5763
49 | 2616625.9489 | 1160981.9007
50 | 2616647.0294 | 1161014.7974
51 | 2616735.8109 | 1160963.8054
52 | 2616755.3749 | 1160980.4274
53 | 2616730.7787 | 1161042.6095
54 | 2616757.7869 | 1160982.4767
55 | 2616752.026 | 1161063.4723
56 | 2616820.9925 | 1161038.5597
57 | 2616825.3755 | 1161041.9232
58 | 2616167.9899 | 1161065.385
59 | 2616170.2337 | 1161075.4963
60 | 2616169.7711 | 1160974.5358
61 | 2616167.1683 | 1161108.6861
62 | 2616215.574 | 1160950.0242
63 | 2616157.0424 | 1161146.7429
64 | 2616097.2665 | 1161001.1048
65 | 2616227.1523 | 1160980.4288
66 | 2616164.12 | 1161153.3206
67 | 2616828.3162 | 1161044.1798
68 | 2616324.6771 | 1161101.1276
69 | 2616350.4947 | 1161088.1841
70 | 2616418.7636 | 1161179.3986
71 | 2616373.8821 | 1161076.4588
72 | 2616363.2319 | 1161081.7983
73 | 2616374.3386 | 1161053.1134
74 | 2616458.4761 | 1161065.1786
75 | 2616544.1004 | 1161051.1992
76 | 2616604.682 | 1161022.3252
77 | 2616523.4328 | 1161057.6569
78 | 2616460.1518 | 1161065.2767
79 | 2616499.891 | 1161027.9667
80 | 2616404.9212 | 1160949.9802
81 | 2616363.0902 | 1160977.2903
82 | 2616842.3863 | 1161055.219
83 | 2616385.0157 | 1161333.1278
84 | 2616389.6384 | 1161348.2721
85 | 2616401.0345 | 1161314.9002
86 | 2616391.8962 | 1161355.6688
87 | 2616411.1315 | 1161297.2389
88 | 2616413.2101 | 1161292.3332
89 | 2616417.2255 | 1161282.857
90 | 2616387.0576 | 1161388.806
91 | 2616343.3197 | 1161180.2054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1