## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_563-38_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_563-38_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_563-38_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_563-38_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_563-38_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_563-38_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_563-38_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_563-38_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_563-38_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_563-38_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_563-38_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_563-38_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_563-38_0_3_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_563-38_0_3_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_563-38_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_563-38_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_563-38_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_563-38_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_563-38_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_563-38_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_563-38_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_563-38_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_563-38_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_563-38_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_563-38_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_563-38_0_3_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_563-38_0_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_563-38_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_563-38_0_3_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_563-38_0_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_563-38_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_563-38_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_563-38_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_563-38_0_3_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_563-38_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_563-38_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_563-38_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_563-38_0_3_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_563-38_0_3_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_563-38_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_563-38_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_563-38_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_563-38_0_3_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_563-38_0_3_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_563-38_0_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_563-38_0_3_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_563-38_0_3_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_563-38_0_3_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_563-38_0_3_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_563-38_0_3_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_563-38_0_3_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_563-38_0_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_563-38_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_563-38_0_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_563-38_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_563-38_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_563-38_0_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_563-38_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_563-38_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_563-38_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_563-38_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_563-38_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_563-38_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_563-38_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_563-38_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_563-38_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_563-38_0_3_node_98 | 0.4 | n |  | TRUE
67 | bus_LV_563-38_0_3_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_563-38_0_3_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_563-38_0_3_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_563-38_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_563-38_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_563-38_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_563-38_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_563-38_0_3_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_563-38_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_563-38_0_3_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_563-38_0_3_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_563-38_0_3_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_563-38_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_563-38_0_3_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_563-38_0_3_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_563-38_0_3_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_563-38_0_3_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_563-38_0_3_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_563-38_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_563-38_0_3_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_563-38_0_3_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_563-38_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_563-38_0_3_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_563-38_0_3_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_563-38_0_3_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_563-38_0_3_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_563-38_0_3_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_563-38_0_3_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_563-38_0_3_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_563-38_0_3_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_563-38_0_3_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_563-38_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_563-38_0_3_node_92 | 0.4 | n |  | TRUE
100 | bus_MV_80_1_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_563-38_0_3_load_0 | 0 | 0.0029834 | 0.00074771 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_563-38_0_3_load_1 | 1 | 0.0026688 | 0.00066886 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_563-38_0_3_load_5 | 4 | 0.0041379 | 0.0010371 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_563-38_0_3_load_8 | 6 | 0.0036686 | 0.00091944 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_563-38_0_3_load_20 | 7 | 0.0047687 | 0.0011951 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_563-38_0_3_load_17 | 9 | 0.0028418 | 0.00071223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_563-38_0_3_load_6 | 10 | 0.0019764 | 0.00049534 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_563-38_0_3_load_21 | 11 | 0.0025569 | 0.00064083 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_563-38_0_3_load_57 | 12 | 0.0038279 | 0.00095936 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_563-38_0_3_load_54 | 13 | 0.0018834 | 0.00047203 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_563-38_0_3_load_15 | 14 | 0.0038878 | 0.00097438 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_563-38_0_3_load_7 | 15 | 0.002902 | 0.00072731 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_563-38_0_3_load_9 | 16 | 0.0019697 | 0.00049365 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_563-38_0_3_load_10 | 17 | 0.0020679 | 0.00051826 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_563-38_0_3_load_11 | 18 | 0.0036733 | 0.00092062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_563-38_0_3_load_12 | 19 | 0.0034411 | 0.00086241 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_563-38_0_3_load_13 | 20 | 0.0030721 | 0.00076994 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_563-38_0_3_load_14 | 21 | 0.0043151 | 0.0010815 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_563-38_0_3_load_19 | 23 | 0.003446 | 0.00086364 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_563-38_0_3_load_53 | 25 | 0.0024838 | 0.0006225 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_563-38_0_3_load_50 | 26 | 0.0022524 | 0.00056452 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_563-38_0_3_load_96 | 28 | 0.0032981 | 0.00082659 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_563-38_0_3_load_51 | 29 | 0.0020386 | 0.00051092 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_563-38_0_3_load_30 | 30 | 0.0019396 | 0.0004861 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_563-38_0_3_load_31 | 31 | 0.0042233 | 0.0010585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_563-38_0_3_load_32 | 33 | 0.0017868 | 0.00044782 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_563-38_0_3_load_26 | 34 | 0.0042367 | 0.0010618 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_563-38_0_3_load_24 | 36 | 0.001816 | 0.00045514 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_563-38_0_3_load_62 | 37 | 0.0025221 | 0.0006321 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_563-38_0_3_load_55 | 38 | 0.0015585 | 0.0003906 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_563-38_0_3_load_25 | 39 | 0.0037909 | 0.00095008 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_563-38_0_3_load_27 | 40 | 0.0032321 | 0.00081003 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_563-38_0_3_load_68 | 42 | 0.0044881 | 0.0011248 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_563-38_0_3_load_70 | 43 | 0.0037491 | 0.0009396 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_563-38_0_3_load_67 | 44 | 0.0039749 | 0.00099622 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_563-38_0_3_load_69 | 45 | 0.0025273 | 0.00063341 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_563-38_0_3_load_100 | 47 | 0.0075854 | 0.0019011 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_563-38_0_3_load_34 | 48 | 0.0015388 | 0.00038565 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_563-38_0_3_load_35 | 49 | 0.0020311 | 0.00050905 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_563-38_0_3_load_73 | 50 | 0.0029268 | 0.00073352 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_563-38_0_3_load_37 | 51 | 0.0013684 | 0.00034296 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_563-38_0_3_load_74 | 52 | 0.0030991 | 0.0007767 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_563-38_0_3_load_36 | 53 | 0.0021674 | 0.0005432 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_563-38_0_3_load_41 | 56 | 0.0031838 | 0.00079794 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_563-38_0_3_load_43 | 57 | 0.0080618 | 0.0020205 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_563-38_0_3_load_40 | 58 | 0.001457 | 0.00036515 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_563-38_0_3_load_42 | 59 | 0.0025815 | 0.00064698 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_563-38_0_3_load_44 | 60 | 0.0012194 | 0.00030561 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_563-38_0_3_load_47 | 63 | 0.00089713 | 0.00022484 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_563-38_0_3_load_98 | 66 | 0.0014362 | 0.00035994 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_563-38_0_3_load_97 | 69 | 0.0036563 | 0.00091637 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_563-38_0_3_load_64 | 70 | 0.0014148 | 0.00035459 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_563-38_0_3_load_63 | 71 | 0.0020931 | 0.00052459 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_563-38_0_3_load_65 | 73 | 0.003149 | 0.00078922 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_563-38_0_3_load_60 | 75 | 0.0019054 | 0.00047754 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_563-38_0_3_load_58 | 76 | 0.0029632 | 0.00074264 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_563-38_0_3_load_59 | 77 | 0.0029889 | 0.00074909 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_563-38_0_3_load_61 | 78 | 0.0020345 | 0.00050989 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_563-38_0_3_load_66 | 79 | 0.0022879 | 0.0005734 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_563-38_0_3_load_93 | 80 | 0.0036245 | 0.00090839 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_563-38_0_3_load_88 | 81 | 0.00096695 | 0.00024234 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_563-38_0_3_load_94 | 82 | 0.002157 | 0.00054059 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_563-38_0_3_load_71 | 83 | 0.0043316 | 0.0010856 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_563-38_0_3_load_72 | 84 | 0.0030311 | 0.00075966 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_563-38_0_3_load_83 | 86 | 0.0031242 | 0.00078299 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_563-38_0_3_load_79 | 87 | 0.0030925 | 0.00077506 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_563-38_0_3_load_75 | 88 | 0.0052519 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_563-38_0_3_load_76 | 89 | 0.0020323 | 0.00050933 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_563-38_0_3_load_77 | 90 | 0.0029025 | 0.00072744 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_563-38_0_3_load_78 | 91 | 0.0010687 | 0.00026784 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_563-38_0_3_load_84 | 92 | 0.0023282 | 0.00058349 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_563-38_0_3_load_80 | 94 | 0.0012981 | 0.00032533 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_563-38_0_3_load_82 | 95 | 0.001561 | 0.00039121 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_563-38_0_3_load_89 | 97 | 0.0027349 | 0.00068543 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_563-38_0_3_load_91 | 98 | 0.0012235 | 0.00030663 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_563-38_0_3_load_92 | 99 | 0.0026238 | 0.0006576 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_563-38_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0079671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_563-38_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_563-38_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.006436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_563-38_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_563-38_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.011709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_563-38_0_3_line_5 | NAYY 4x150 SE | 3 | 9 | 0.021372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_563-38_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_563-38_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.01191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_563-38_0_3_line_8 | NAYY 4x150 SE | 6 | 10 | 0.027576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_563-38_0_3_line_9 | NAYY 4x150 SE | 7 | 11 | 0.0074999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_563-38_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.013118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_563-38_0_3_line_11 | NAYY 4x150 SE | 8 | 13 | 0.012688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_563-38_0_3_line_12 | NAYY 4x150 SE | 9 | 14 | 0.030348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_563-38_0_3_line_13 | NAYY 4x150 SE | 10 | 15 | 0.0064482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_563-38_0_3_line_14 | NAYY 4x150 SE | 11 | 32 | 0.020588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_563-38_0_3_line_15 | NAYY 4x150 SE | 12 | 37 | 0.0063446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_563-38_0_3_line_16 | NAYY 4x150 SE | 13 | 38 | 0.024066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_563-38_0_3_line_17 | NAYY 4x150 SE | 14 | 21 | 0.0016891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_563-38_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.013978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_563-38_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.0013641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_563-38_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0081136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_563-38_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.02658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_563-38_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0064014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_563-38_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.019048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_563-38_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0064322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_563-38_0_3_line_25 | NAYY 4x150 SE | 23 | 27 | 0.020511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_563-38_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.011661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_563-38_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.02162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_563-38_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.0076406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_563-38_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.0014322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_563-38_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.027343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_563-38_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.014564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_563-38_0_3_line_32 | NAYY 4x150 SE | 29 | 68 | 0.0079445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_563-38_0_3_line_33 | NAYY 4x150 SE | 30 | 44 | 0.015461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_563-38_0_3_line_34 | NAYY 4x150 SE | 31 | 46 | 0.024513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_563-38_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.024964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_563-38_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.029774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_563-38_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.012189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_563-38_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0037258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_563-38_0_3_line_39 | NAYY 4x150 SE | 35 | 48 | 0.010674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_563-38_0_3_line_40 | NAYY 4x150 SE | 35 | 49 | 0.0029618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_563-38_0_3_line_41 | NAYY 4x150 SE | 36 | 39 | 0.0060825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_563-38_0_3_line_42 | NAYY 4x150 SE | 37 | 75 | 0.014589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_563-38_0_3_line_43 | NAYY 4x150 SE | 38 | 72 | 0.01675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_563-38_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.017224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_563-38_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.015412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_563-38_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.020945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_563-38_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.0086981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_563-38_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.030048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_563-38_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.01956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_563-38_0_3_line_50 | NAYY 4x150 SE | 45 | 83 | 0.0046367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_563-38_0_3_line_51 | NAYY 4x150 SE | 46 | 47 | 0.0068295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_563-38_0_3_line_52 | NAYY 4x150 SE | 48 | 50 | 0.0055101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_563-38_0_3_line_53 | NAYY 4x150 SE | 49 | 51 | 0.020109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_563-38_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.0215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_563-38_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.0029744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_563-38_0_3_line_56 | NAYY 4x150 SE | 52 | 88 | 0.0069146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_563-38_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.052177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_563-38_0_3_line_58 | NAYY 4x150 SE | 54 | 55 | 0.095004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_563-38_0_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.044524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_563-38_0_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.007666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_563-38_0_3_line_61 | NAYY 4x150 SE | 56 | 58 | 0.011214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_563-38_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.0052641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_563-38_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.011144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_563-38_0_3_line_64 | NAYY 4x150 SE | 61 | 62 | 0.051367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_563-38_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.019385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_563-38_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.025337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_563-38_0_3_line_67 | NAYY 4x150 SE | 64 | 65 | 0.011097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_563-38_0_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.01282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_563-38_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.041383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_563-38_0_3_line_70 | NAYY 4x150 SE | 67 | 86 | 0.0078271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_563-38_0_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.007036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_563-38_0_3_line_72 | NAYY 4x150 SE | 68 | 70 | 0.010358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_563-38_0_3_line_73 | NAYY 4x150 SE | 70 | 71 | 0.027429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_563-38_0_3_line_74 | NAYY 4x150 SE | 71 | 72 | 0.019763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_563-38_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.017555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_563-38_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.0068785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_563-38_0_3_line_77 | NAYY 4x150 SE | 74 | 81 | 0.0093163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_563-38_0_3_line_78 | NAYY 4x150 SE | 75 | 76 | 0.0022592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_563-38_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0064523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_563-38_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.028394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_563-38_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0038382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_563-38_0_3_line_82 | NAYY 4x150 SE | 79 | 80 | 0.011965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_563-38_0_3_line_83 | NAYY 4x150 SE | 80 | 82 | 0.0081866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_563-38_0_3_line_84 | NAYY 4x150 SE | 81 | 97 | 0.01687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_563-38_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.002004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_563-38_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.020214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_563-38_0_3_line_87 | NAYY 4x150 SE | 85 | 87 | 0.017348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_563-38_0_3_line_88 | NAYY 4x150 SE | 87 | 94 | 0.019911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_563-38_0_3_line_89 | NAYY 4x150 SE | 88 | 89 | 0.016715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_563-38_0_3_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0085041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_563-38_0_3_line_91 | NAYY 4x150 SE | 90 | 91 | 0.011934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_563-38_0_3_line_92 | NAYY 4x150 SE | 91 | 92 | 0.0057599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_563-38_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.038868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_563-38_0_3_line_94 | NAYY 4x150 SE | 93 | 96 | 0.037438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_563-38_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0018392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_563-38_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.0007777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_563-38_0_3_line_97 | NAYY 4x150 SE | 97 | 98 | 0.016485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_563-38_0_3_line_98 | NAYY 4x150 SE | 98 | 99 | 0.026414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_563-38_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 100 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2615703.4854 | 1159910.2207 | 2615704.5588 | 1159902.3263
1 | 2615700.953 | 1159928.8456 | 2615703.4854 | 1159910.2207
2 | 2615700.953 | 1159928.8456 | 2615699.5879 | 1159935.1341
3 | 2615700.953 | 1159928.8456 | 2615713.661 | 1159934.1813 | 2615753.7293 | 1159970.2592
4 | 2615699.5879 | 1159935.1341 | 2615697.7874 | 1159946.7018
5 | 2615699.5879 | 1159935.1341 | 2615679.7064 | 1159927.2928
6 | 2615718.3724 | 1159867.1937 | 2615733.6846 | 1159873.1142 | 2615752.6123 | 1159876.7987
7 | 2615718.3724 | 1159867.1937 | 2615723.8836 | 1159856.6353
8 | 2615773.5451 | 1159894.7508 | 2615752.6123 | 1159876.7987 | 2615752.6123 | 1159876.7987
9 | 2615727.3541 | 1159849.9867 | 2615723.8836 | 1159856.6353
10 | 2615697.7874 | 1159946.7018 | 2615705.0568 | 1159957.6215
11 | 2615697.7874 | 1159946.7018 | 2615688.9013 | 1159955.7589
12 | 2615653.6682 | 1159912.9058 | 2615659.9225 | 1159919.49 | 2615679.7064 | 1159927.2928
13 | 2615773.5451 | 1159894.7508 | 2615778.4398 | 1159898.9485
14 | 2615736.881 | 1159831.7354 | 2615727.3541 | 1159849.9867
15 | 2615708.5727 | 1159962.9028 | 2615705.0568 | 1159957.6215
16 | 2615688.9013 | 1159955.7589 | 2615672.0469 | 1159972.9375
17 | 2615653.6682 | 1159912.9058 | 2615652.5049 | 1159911.6812
18 | 2615778.4398 | 1159898.9485 | 2615789.0506 | 1159908.0483
19 | 2615790.086 | 1159908.9363 | 2615789.0506 | 1159908.0483
20 | 2615790.086 | 1159908.9363 | 2615796.2449 | 1159914.2182
21 | 2615816.421 | 1159931.5213 | 2615796.2449 | 1159914.2182
22 | 2615816.421 | 1159931.5213 | 2615821.2802 | 1159935.6886
23 | 2615639.386 | 1159897.8705 | 2615652.5049 | 1159911.6812
24 | 2615639.386 | 1159897.8705 | 2615634.9759 | 1159893.1881
25 | 2615620.9134 | 1159878.2574 | 2615634.9759 | 1159893.1881
26 | 2615620.1313 | 1159922.8219 | 2615608.8448 | 1159925.7546
27 | 2615620.1313 | 1159922.8219 | 2615619.7386 | 1159944.4385
28 | 2615601.4498 | 1159927.676 | 2615608.8448 | 1159925.7546
29 | 2615619.7386 | 1159944.4385 | 2615619.7126 | 1159945.8704
30 | 2615620.9134 | 1159878.2574 | 2615640.8844 | 1159859.5818
31 | 2615620.9134 | 1159878.2574 | 2615610.9291 | 1159867.6537
32 | 2615619.5683 | 1159953.8136 | 2615619.7126 | 1159945.8704
33 | 2615652.1771 | 1159849.0216 | 2615640.8844 | 1159859.5818
34 | 2615594.1252 | 1159849.8074 | 2615610.9291 | 1159867.6537
35 | 2615736.881 | 1159831.7354 | 2615750.4739 | 1159810.7963
36 | 2615736.881 | 1159831.7354 | 2615729.1153 | 1159829.6474 | 2615714.5498 | 1159834.1451 | 2615708.5145 | 1159831.7638
37 | 2615757.1107 | 1159800.5726 | 2615750.4739 | 1159810.7963
38 | 2615708.5145 | 1159831.7638 | 2615705.0487 | 1159830.3963 | 2615705.0487 | 1159830.3963
39 | 2615757.1107 | 1159800.5726 | 2615749.4368 | 1159793.1529
40 | 2615757.1107 | 1159800.5726 | 2615760.0534 | 1159800.9081
41 | 2615705.0487 | 1159830.3963 | 2615700.2124 | 1159826.7076
42 | 2615716.7685 | 1159974.9547 | 2615716.2614 | 1159974.4525 | 2615708.5727 | 1159962.9028
43 | 2615665.7758 | 1159988.117 | 2615669.5562 | 1159975.4761 | 2615672.0469 | 1159972.9375
44 | 2615686.517 | 1159816.2622 | 2615700.2124 | 1159826.7076
45 | 2615674.2626 | 1159806.9158 | 2615686.517 | 1159816.2622
46 | 2615674.2626 | 1159806.9158 | 2615676.1544 | 1159819.149 | 2615671.577 | 1159826.39
47 | 2615674.2626 | 1159806.9158 | 2615668.0268 | 1159800.8518
48 | 2615652.1771 | 1159849.0216 | 2615664.6343 | 1159837.3726 | 2615671.577 | 1159826.39
49 | 2615654.0037 | 1159787.215 | 2615668.0268 | 1159800.8518
50 | 2615654.0037 | 1159787.215 | 2615650.6796 | 1159783.9824
51 | 2615594.1252 | 1159849.8074 | 2615589.6404 | 1159844.6568
52 | 2615745.4755 | 1159789.3229 | 2615749.4368 | 1159793.1529
53 | 2615780.0329 | 1159803.1854 | 2615760.0534 | 1159800.9081
54 | 2615745.4755 | 1159789.3229 | 2615730.0192 | 1159774.3785
55 | 2615782.9882 | 1159803.5223 | 2615780.0329 | 1159803.1854
56 | 2615725.0482 | 1159769.5721 | 2615730.0192 | 1159774.3785
57 | 2615834.2202 | 1159799.5294 | 2615806.5206 | 1159806.2046 | 2615782.9882 | 1159803.5223
58 | 2615834.2202 | 1159799.5294 | 2615879.628 | 1159872.696 | 2615884.7283 | 1159879.9797
59 | 2615884.7283 | 1159879.9797 | 2615849.4414 | 1159907.2561
60 | 2615845.0205 | 1159900.9858 | 2615849.4414 | 1159907.2561
61 | 2615849.4414 | 1159907.2561 | 2615855.5605 | 1159916.6531
62 | 2615858.4331 | 1159921.0643 | 2615855.5605 | 1159916.6531
63 | 2615446.3531 | 1159788.9641 | 2615444.2864 | 1159784.9457 | 2615441.2568 | 1159779.0538
64 | 2615492.1014 | 1159811.9371 | 2615488.0338 | 1159811.1819 | 2615484.5187 | 1159810.1835 | 2615481.5329 | 1159808.9419 | 2615477.14 | 1159806.5294 | 2615446.3531 | 1159788.9641
65 | 2615492.1014 | 1159811.9371 | 2615495.8491 | 1159811.9467 | 2615499.2531 | 1159811.4663 | 2615502.9428 | 1159810.1307 | 2615510.5194 | 1159806.803
66 | 2615533.7176 | 1159796.6142 | 2615510.5194 | 1159806.803
67 | 2615533.7176 | 1159796.6142 | 2615543.8915 | 1159792.1159
68 | 2615543.8915 | 1159792.1159 | 2615554.5583 | 1159786.7296 | 2615555.2874 | 1159786.2539
69 | 2615589.2157 | 1159762.5736 | 2615565.3519 | 1159779.6872 | 2615555.2874 | 1159786.2539
70 | 2615589.2157 | 1159762.5736 | 2615595.6621 | 1159758.1343
71 | 2615619.5683 | 1159953.8136 | 2615613.5581 | 1159957.4999
72 | 2615619.5683 | 1159953.8136 | 2615627.8846 | 1159959.9875
73 | 2615649.9078 | 1159976.337 | 2615627.8846 | 1159959.9875
74 | 2615665.7758 | 1159988.117 | 2615649.9078 | 1159976.337
75 | 2615665.7758 | 1159988.117 | 2615658.0978 | 1160003.9034
76 | 2615655.0893 | 1160010.0891 | 2615658.0978 | 1160003.9034
77 | 2615655.0893 | 1160010.0891 | 2615661.3484 | 1160016.9896
78 | 2615718.3736 | 1159976.5445 | 2615716.7685 | 1159974.9547
79 | 2615718.3736 | 1159976.5445 | 2615722.9579 | 1159981.0851
80 | 2615722.9579 | 1159981.0851 | 2615743.1314 | 1160001.066
81 | 2615743.1314 | 1160001.066 | 2615745.8584 | 1160003.767
82 | 2615745.8584 | 1160003.767 | 2615754.3591 | 1160012.1865
83 | 2615760.1756 | 1160017.9475 | 2615754.3591 | 1160012.1865
84 | 2615661.3484 | 1160016.9896 | 2615672.6826 | 1160029.4854
85 | 2615649.2429 | 1159782.5853 | 2615650.6796 | 1159783.9824
86 | 2615612.31 | 1159746.6698 | 2615595.6621 | 1159758.1343
87 | 2615612.31 | 1159746.6698 | 2615626.4798 | 1159736.6615
88 | 2615626.4798 | 1159736.6615 | 2615642.7428 | 1159725.1747
89 | 2615713.0314 | 1159757.9533 | 2615725.0482 | 1159769.5721
90 | 2615713.0314 | 1159757.9533 | 2615706.9177 | 1159752.0422
91 | 2615698.3383 | 1159743.7469 | 2615706.9177 | 1159752.0422
92 | 2615698.3383 | 1159743.7469 | 2615696.248 | 1159738.3797
93 | 2615677.4166 | 1159704.9956 | 2615683.9593 | 1159711.8048 | 2615686.0828 | 1159714.5339 | 2615688.0592 | 1159717.8296 | 2615689.8876 | 1159722.0475 | 2615696.248 | 1159738.3797
94 | 2615677.4166 | 1159704.9956 | 2615656.5786 | 1159716.6028 | 2615644.8803 | 1159723.6649
95 | 2615644.2451 | 1159724.1136 | 2615642.7428 | 1159725.1747
96 | 2615644.2451 | 1159724.1136 | 2615644.8803 | 1159723.6649
97 | 2615672.6826 | 1160029.4854 | 2615683.7578 | 1160041.6957
98 | 2615683.7578 | 1160041.6957 | 2615701.5039 | 1160061.2605

## bus_geodata
| x | y | coords
0 | 2615703.4854 | 1159910.2207
1 | 2615704.5588 | 1159902.3263
2 | 2615700.953 | 1159928.8456
3 | 2615699.5879 | 1159935.1341
4 | 2615753.7293 | 1159970.2592
5 | 2615718.3724 | 1159867.1937
6 | 2615752.6123 | 1159876.7987
7 | 2615723.8836 | 1159856.6353
8 | 2615697.7874 | 1159946.7018
9 | 2615679.7064 | 1159927.2928
10 | 2615773.5451 | 1159894.7508
11 | 2615727.3541 | 1159849.9867
12 | 2615705.0568 | 1159957.6215
13 | 2615688.9013 | 1159955.7589
14 | 2615653.6682 | 1159912.9058
15 | 2615778.4398 | 1159898.9485
16 | 2615789.0506 | 1159908.0483
17 | 2615790.086 | 1159908.9363
18 | 2615796.2449 | 1159914.2182
19 | 2615816.421 | 1159931.5213
20 | 2615821.2802 | 1159935.6886
21 | 2615652.5049 | 1159911.6812
22 | 2615639.386 | 1159897.8705
23 | 2615634.9759 | 1159893.1881
24 | 2615620.1313 | 1159922.8219
25 | 2615608.8448 | 1159925.7546
26 | 2615619.7386 | 1159944.4385
27 | 2615620.9134 | 1159878.2574
28 | 2615601.4498 | 1159927.676
29 | 2615619.7126 | 1159945.8704
30 | 2615640.8844 | 1159859.5818
31 | 2615610.9291 | 1159867.6537
32 | 2615736.881 | 1159831.7354
33 | 2615750.4739 | 1159810.7963
34 | 2615708.5145 | 1159831.7638
35 | 2615757.1107 | 1159800.5726
36 | 2615705.0487 | 1159830.3963
37 | 2615708.5727 | 1159962.9028
38 | 2615672.0469 | 1159972.9375
39 | 2615700.2124 | 1159826.7076
40 | 2615686.517 | 1159816.2622
41 | 2615674.2626 | 1159806.9158
42 | 2615671.577 | 1159826.39
43 | 2615668.0268 | 1159800.8518
44 | 2615652.1771 | 1159849.0216
45 | 2615654.0037 | 1159787.215
46 | 2615594.1252 | 1159849.8074
47 | 2615589.6404 | 1159844.6568
48 | 2615749.4368 | 1159793.1529
49 | 2615760.0534 | 1159800.9081
50 | 2615745.4755 | 1159789.3229
51 | 2615780.0329 | 1159803.1854
52 | 2615730.0192 | 1159774.3785
53 | 2615782.9882 | 1159803.5223
54 | 2615834.2202 | 1159799.5294
55 | 2615884.7283 | 1159879.9797
56 | 2615849.4414 | 1159907.2561
57 | 2615845.0205 | 1159900.9858
58 | 2615855.5605 | 1159916.6531
59 | 2615858.4331 | 1159921.0644
60 | 2615441.2568 | 1159779.0538
61 | 2615446.3531 | 1159788.9641
62 | 2615492.1014 | 1159811.9371
63 | 2615510.5194 | 1159806.803
64 | 2615533.7176 | 1159796.6142
65 | 2615543.8915 | 1159792.1159
66 | 2615555.2874 | 1159786.2539
67 | 2615589.2157 | 1159762.5736
68 | 2615619.5683 | 1159953.8136
69 | 2615613.5581 | 1159957.4999
70 | 2615627.8846 | 1159959.9875
71 | 2615649.9078 | 1159976.337
72 | 2615665.7758 | 1159988.117
73 | 2615658.0978 | 1160003.9034
74 | 2615655.0893 | 1160010.0891
75 | 2615716.7685 | 1159974.9547
76 | 2615718.3736 | 1159976.5445
77 | 2615722.9579 | 1159981.0851
78 | 2615743.1314 | 1160001.066
79 | 2615745.8584 | 1160003.767
80 | 2615754.3591 | 1160012.1865
81 | 2615661.3484 | 1160016.9896
82 | 2615760.1756 | 1160017.9475
83 | 2615650.6796 | 1159783.9824
84 | 2615649.2429 | 1159782.5853
85 | 2615612.31 | 1159746.6698
86 | 2615595.6621 | 1159758.1343
87 | 2615626.4798 | 1159736.6615
88 | 2615725.0482 | 1159769.5721
89 | 2615713.0314 | 1159757.9533
90 | 2615706.9177 | 1159752.0422
91 | 2615698.3383 | 1159743.7469
92 | 2615696.248 | 1159738.3797
93 | 2615677.4166 | 1159704.9956
94 | 2615642.7428 | 1159725.1747
95 | 2615644.2451 | 1159724.1136
96 | 2615644.8803 | 1159723.6649
97 | 2615672.6826 | 1160029.4854
98 | 2615683.7578 | 1160041.6957
99 | 2615701.5039 | 1160061.2605
100 | 2615700.953 | 1159928.8456

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1