## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_563-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_563-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_563-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_563-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_563-9_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_563-9_0_3_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_563-9_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_563-9_0_3_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_563-9_0_3_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_563-9_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_563-9_0_3_node_108 | 0.4 | n |  | TRUE
11 | bus_LV_563-9_0_3_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_563-9_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_563-9_0_3_node_56 | 0.4 | n |  | TRUE
14 | bus_LV_563-9_0_3_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_563-9_0_3_node_43 | 0.4 | n |  | TRUE
16 | bus_LV_563-9_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_563-9_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_563-9_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_563-9_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_563-9_0_3_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_563-9_0_3_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_563-9_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_563-9_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_563-9_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_563-9_0_3_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_563-9_0_3_node_99 | 0.4 | n |  | TRUE
27 | bus_LV_563-9_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_563-9_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_563-9_0_3_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_563-9_0_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_563-9_0_3_node_101 | 0.4 | n |  | TRUE
32 | bus_LV_563-9_0_3_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_563-9_0_3_node_98 | 0.4 | n |  | TRUE
34 | bus_LV_563-9_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_563-9_0_3_node_75 | 0.4 | n |  | TRUE
36 | bus_LV_563-9_0_3_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_563-9_0_3_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_563-9_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_563-9_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_563-9_0_3_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_563-9_0_3_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_563-9_0_3_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_563-9_0_3_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_563-9_0_3_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_563-9_0_3_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_563-9_0_3_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_563-9_0_3_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_563-9_0_3_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_563-9_0_3_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_563-9_0_3_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_563-9_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_563-9_0_3_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_563-9_0_3_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_563-9_0_3_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_563-9_0_3_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_563-9_0_3_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_563-9_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_563-9_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_563-9_0_3_node_35 | 0.4 | n |  | TRUE
60 | bus_LV_563-9_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_563-9_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_563-9_0_3_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_563-9_0_3_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_563-9_0_3_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_563-9_0_3_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_563-9_0_3_node_45 | 0.4 | n |  | TRUE
67 | bus_LV_563-9_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_563-9_0_3_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_563-9_0_3_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_563-9_0_3_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_563-9_0_3_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_563-9_0_3_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_563-9_0_3_node_61 | 0.4 | n |  | TRUE
74 | bus_LV_563-9_0_3_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_563-9_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_563-9_0_3_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_563-9_0_3_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_563-9_0_3_node_96 | 0.4 | n |  | TRUE
79 | bus_LV_563-9_0_3_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_563-9_0_3_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_563-9_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_563-9_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_563-9_0_3_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_563-9_0_3_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_563-9_0_3_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_563-9_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_563-9_0_3_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_563-9_0_3_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_563-9_0_3_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_563-9_0_3_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_563-9_0_3_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_563-9_0_3_node_104 | 0.4 | n |  | TRUE
93 | bus_LV_563-9_0_3_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_563-9_0_3_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_563-9_0_3_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_563-9_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_563-9_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_563-9_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_563-9_0_3_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_563-9_0_3_node_102 | 0.4 | n |  | TRUE
101 | bus_LV_563-9_0_3_node_105 | 0.4 | n |  | TRUE
102 | bus_LV_563-9_0_3_node_106 | 0.4 | n |  | TRUE
103 | bus_MV_80_1_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_563-9_0_3_load_0 | 0 | 0.001713 | 0.00042932 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_563-9_0_3_load_3 | 3 | 0.0029708 | 0.00074456 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_563-9_0_3_load_6 | 4 | 0.0024075 | 0.00060337 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_563-9_0_3_load_60 | 7 | 0.00063031 | 0.00015797 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_563-9_0_3_load_54 | 8 | 0.0019329 | 0.00048443 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_563-9_0_3_load_108 | 10 | 0.0032527 | 0.00081519 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_563-9_0_3_load_56 | 13 | 0.00094958 | 0.00023799 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_563-9_0_3_load_53 | 14 | 0.0005556 | 0.00013925 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_563-9_0_3_load_43 | 15 | 0.00102 | 0.00025563 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_563-9_0_3_load_27 | 16 | 0.0015564 | 0.00039007 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_563-9_0_3_load_18 | 17 | 0.010315 | 0.0025853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_563-9_0_3_load_20 | 18 | 0.016901 | 0.0042359 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_563-9_0_3_load_8 | 20 | 0.0032345 | 0.00081063 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_563-9_0_3_load_9 | 21 | 0.0029569 | 0.00074108 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_563-9_0_3_load_67 | 25 | 0.0014731 | 0.0003692 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_563-9_0_3_load_14 | 27 | 0.0037626 | 0.00094299 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_563-9_0_3_load_13 | 28 | 0.0012739 | 0.00031928 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_563-9_0_3_load_74 | 29 | 0.0023676 | 0.00059337 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_563-9_0_3_load_101 | 31 | 0.0014711 | 0.00036869 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_563-9_0_3_load_71 | 32 | 0.0023329 | 0.00058468 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_563-9_0_3_load_15 | 34 | 0.0045643 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_563-9_0_3_load_75 | 35 | 0.0021974 | 0.00055073 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_563-9_0_3_load_16 | 36 | 0.0015806 | 0.00039614 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_563-9_0_3_load_49 | 38 | 0.0038992 | 0.00097723 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_563-9_0_3_load_57 | 39 | 0.00059586 | 0.00014934 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_563-9_0_3_load_87 | 41 | 0.0039547 | 0.00099113 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_563-9_0_3_load_82 | 42 | 0.0017385 | 0.0004357 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_563-9_0_3_load_78 | 43 | 0.0017304 | 0.00043367 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_563-9_0_3_load_81 | 44 | 0.002767 | 0.00069348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_563-9_0_3_load_109 | 45 | 0.0056277 | 0.0014104 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_563-9_0_3_load_23 | 46 | 0.0030246 | 0.00075804 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_563-9_0_3_load_24 | 47 | 0.0025089 | 0.0006288 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_563-9_0_3_load_32 | 49 | 0.0042293 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_563-9_0_3_load_46 | 51 | 0.002005 | 0.0005025 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_563-9_0_3_load_93 | 52 | 0.001249 | 0.00031303 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_563-9_0_3_load_26 | 53 | 0.0016272 | 0.00040782 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_563-9_0_3_load_31 | 56 | 0.0012328 | 0.00030897 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_563-9_0_3_load_34 | 57 | 0.0012356 | 0.00030966 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_563-9_0_3_load_41 | 58 | 0.0018856 | 0.00047257 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_563-9_0_3_load_35 | 59 | 0.0012255 | 0.00030714 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_563-9_0_3_load_36 | 61 | 0.0027453 | 0.00068803 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_563-9_0_3_load_37 | 62 | 0.0020256 | 0.00050766 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_563-9_0_3_load_38 | 63 | 0.0031181 | 0.00078147 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_563-9_0_3_load_39 | 64 | 0.0015236 | 0.00038185 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_563-9_0_3_load_45 | 66 | 0.0042205 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_563-9_0_3_load_44 | 67 | 0.0015445 | 0.00038709 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_563-9_0_3_load_42 | 68 | 0.0013123 | 0.0003289 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_563-9_0_3_load_48 | 69 | 0.0044774 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_563-9_0_3_load_50 | 70 | 0.0070315 | 0.0017623 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_563-9_0_3_load_51 | 71 | 0.0023748 | 0.00059517 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_563-9_0_3_load_52 | 72 | 0.0038615 | 0.00096779 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_563-9_0_3_load_61 | 73 | 0.0063886 | 0.0016011 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_563-9_0_3_load_62 | 74 | 0.0031108 | 0.00077964 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_563-9_0_3_load_63 | 75 | 0.0015935 | 0.00039937 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_563-9_0_3_load_65 | 76 | 0.0015984 | 0.0004006 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_563-9_0_3_load_66 | 77 | 0.0029713 | 0.00074467 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_563-9_0_3_load_96 | 78 | 0.0050628 | 0.0012689 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_563-9_0_3_load_95 | 79 | 0.0020045 | 0.00050238 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_563-9_0_3_load_97 | 80 | 0.0026391 | 0.00066141 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_563-9_0_3_load_68 | 81 | 0.0063223 | 0.0015845 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_563-9_0_3_load_69 | 82 | 0.0011831 | 0.00029651 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_563-9_0_3_load_72 | 84 | 0.0022944 | 0.00057504 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_563-9_0_3_load_73 | 85 | 0.0010229 | 0.00025636 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_563-9_0_3_load_79 | 86 | 0.0033199 | 0.00083205 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_563-9_0_3_load_85 | 87 | 0.0010146 | 0.00025427 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_563-9_0_3_load_77 | 88 | 0.0024426 | 0.00061218 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_563-9_0_3_load_83 | 89 | 0.0032532 | 0.00081532 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_563-9_0_3_load_76 | 90 | 0.0058082 | 0.0014557 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_563-9_0_3_load_104 | 92 | 0.0044357 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_563-9_0_3_load_92 | 93 | 0.0020049 | 0.00050247 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_563-9_0_3_load_84 | 94 | 0.0041725 | 0.0010457 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_563-9_0_3_load_88 | 95 | 0.0013978 | 0.00035033 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_563-9_0_3_load_89 | 96 | 0.0014081 | 0.00035291 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_563-9_0_3_load_91 | 98 | 0.0029583 | 0.00074142 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_563-9_0_3_load_94 | 99 | 0.0020021 | 0.00050178 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_563-9_0_3_load_102 | 100 | 0.0026653 | 0.00066799 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_563-9_0_3_load_105 | 101 | 0.0028343 | 0.00071034 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_563-9_0_3_load_106 | 102 | 0.0024457 | 0.00061294 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_563-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.05892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_563-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_563-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.065527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_563-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_563-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.034969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_563-9_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.034752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_563-9_0_3_line_6 | NAYY 4x150 SE | 5 | 13 | 0.019034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_563-9_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.019717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_563-9_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.026675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_563-9_0_3_line_9 | NAYY 4x150 SE | 8 | 14 | 0.0038065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_563-9_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.021985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_563-9_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.055604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_563-9_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.14695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_563-9_0_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.023067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_563-9_0_3_line_14 | NAYY 4x150 SE | 11 | 16 | 0.014372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_563-9_0_3_line_15 | NAYY 4x150 SE | 12 | 18 | 0.031972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_563-9_0_3_line_16 | NAYY 4x150 SE | 12 | 19 | 0.14073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_563-9_0_3_line_17 | NAYY 4x150 SE | 12 | 17 | 0.010746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_563-9_0_3_line_18 | NAYY 4x150 SE | 13 | 73 | 0.04142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_563-9_0_3_line_19 | NAYY 4x150 SE | 14 | 72 | 0.023343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_563-9_0_3_line_20 | NAYY 4x150 SE | 15 | 58 | 0.047868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_563-9_0_3_line_21 | NAYY 4x150 SE | 16 | 53 | 0.0032412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_563-9_0_3_line_22 | NAYY 4x150 SE | 19 | 45 | 0.051951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_563-9_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.030435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_563-9_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0072456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_563-9_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.020595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_563-9_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.031912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_563-9_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.004539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_563-9_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.039466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_563-9_0_3_line_29 | NAYY 4x150 SE | 24 | 27 | 0.029843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_563-9_0_3_line_30 | NAYY 4x150 SE | 25 | 30 | 0.0066242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_563-9_0_3_line_31 | NAYY 4x150 SE | 26 | 31 | 0.0049586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_563-9_0_3_line_32 | NAYY 4x150 SE | 26 | 32 | 0.014163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_563-9_0_3_line_33 | NAYY 4x150 SE | 26 | 33 | 0.039762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_563-9_0_3_line_34 | NAYY 4x150 SE | 27 | 34 | 0.029427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_563-9_0_3_line_35 | NAYY 4x150 SE | 28 | 29 | 0.03153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_563-9_0_3_line_36 | NAYY 4x150 SE | 29 | 35 | 0.029022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_563-9_0_3_line_37 | NAYY 4x150 SE | 30 | 77 | 0.018862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_563-9_0_3_line_38 | NAYY 4x150 SE | 30 | 74 | 0.020111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_563-9_0_3_line_39 | NAYY 4x150 SE | 31 | 100 | 0.01783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_563-9_0_3_line_40 | NAYY 4x150 SE | 32 | 82 | 0.0083783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_563-9_0_3_line_41 | NAYY 4x150 SE | 33 | 80 | 0.0038231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_563-9_0_3_line_42 | NAYY 4x150 SE | 34 | 36 | 0.0071086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_563-9_0_3_line_43 | NAYY 4x150 SE | 35 | 90 | 0.021807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_563-9_0_3_line_44 | NAYY 4x150 SE | 36 | 37 | 0.054423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_563-9_0_3_line_45 | NAYY 4x150 SE | 37 | 38 | 0.031357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_563-9_0_3_line_46 | NAYY 4x150 SE | 37 | 39 | 0.080412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_563-9_0_3_line_47 | NAYY 4x150 SE | 38 | 60 | 0.016764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_563-9_0_3_line_48 | NAYY 4x150 SE | 40 | 41 | 0.055395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_563-9_0_3_line_49 | NAYY 4x150 SE | 40 | 42 | 0.013721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_563-9_0_3_line_50 | NAYY 4x150 SE | 40 | 43 | 0.012915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_563-9_0_3_line_51 | NAYY 4x150 SE | 42 | 44 | 0.012337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_563-9_0_3_line_52 | NAYY 4x150 SE | 43 | 88 | 0.034355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_563-9_0_3_line_53 | NAYY 4x150 SE | 45 | 46 | 0.074767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_563-9_0_3_line_54 | NAYY 4x150 SE | 47 | 48 | 0.020187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_563-9_0_3_line_55 | NAYY 4x150 SE | 48 | 49 | 0.086248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_563-9_0_3_line_56 | NAYY 4x150 SE | 48 | 50 | 0.016958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_563-9_0_3_line_57 | NAYY 4x150 SE | 49 | 51 | 0.00043021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_563-9_0_3_line_58 | NAYY 4x150 SE | 50 | 52 | 0.0087541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_563-9_0_3_line_59 | NAYY 4x150 SE | 51 | 60 | 0.033295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_563-9_0_3_line_60 | NAYY 4x150 SE | 52 | 55 | 0.010293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_563-9_0_3_line_61 | NAYY 4x150 SE | 53 | 54 | 0.0050452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_563-9_0_3_line_62 | NAYY 4x150 SE | 54 | 55 | 0.009883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_563-9_0_3_line_63 | NAYY 4x150 SE | 54 | 56 | 0.01629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_563-9_0_3_line_64 | NAYY 4x150 SE | 56 | 57 | 0.0095164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_563-9_0_3_line_65 | NAYY 4x150 SE | 57 | 59 | 0.0027594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_563-9_0_3_line_66 | NAYY 4x150 SE | 58 | 68 | 0.0067002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_563-9_0_3_line_67 | NAYY 4x150 SE | 59 | 61 | 0.0053805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_563-9_0_3_line_68 | NAYY 4x150 SE | 60 | 69 | 0.017574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_563-9_0_3_line_69 | NAYY 4x150 SE | 62 | 63 | 0.022522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_563-9_0_3_line_70 | NAYY 4x150 SE | 62 | 64 | 0.0053129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_563-9_0_3_line_71 | NAYY 4x150 SE | 63 | 65 | 0.0097128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_563-9_0_3_line_72 | NAYY 4x150 SE | 65 | 66 | 0.0096696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_563-9_0_3_line_73 | NAYY 4x150 SE | 66 | 67 | 0.017092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_563-9_0_3_line_74 | NAYY 4x150 SE | 67 | 68 | 0.0096093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_563-9_0_3_line_75 | NAYY 4x150 SE | 69 | 70 | 0.02002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_563-9_0_3_line_76 | NAYY 4x150 SE | 70 | 71 | 0.0070753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_563-9_0_3_line_77 | NAYY 4x150 SE | 71 | 72 | 0.036556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_563-9_0_3_line_78 | NAYY 4x150 SE | 74 | 75 | 0.011476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_563-9_0_3_line_79 | NAYY 4x150 SE | 75 | 76 | 0.016674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_563-9_0_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.010431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_563-9_0_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.0039406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_563-9_0_3_line_82 | NAYY 4x150 SE | 79 | 99 | 0.016613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_563-9_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0011427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_563-9_0_3_line_84 | NAYY 4x150 SE | 81 | 83 | 0.02443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_563-9_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.015811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_563-9_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.056932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_563-9_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.0020368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_563-9_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.0018273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_563-9_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.00059194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_563-9_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.0050897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_563-9_0_3_line_91 | NAYY 4x150 SE | 89 | 94 | 0.016659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_563-9_0_3_line_92 | NAYY 4x150 SE | 90 | 91 | 0.0010995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_563-9_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.020379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_563-9_0_3_line_94 | NAYY 4x150 SE | 91 | 93 | 0.014764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_563-9_0_3_line_95 | NAYY 4x150 SE | 92 | 101 | 0.0013086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_563-9_0_3_line_96 | NAYY 4x150 SE | 93 | 97 | 0.012804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_563-9_0_3_line_97 | NAYY 4x150 SE | 95 | 96 | 0.0081118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_563-9_0_3_line_98 | NAYY 4x150 SE | 96 | 97 | 0.012332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_563-9_0_3_line_99 | NAYY 4x150 SE | 97 | 98 | 0.012498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_563-9_0_3_line_100 | NAYY 4x150 SE | 98 | 99 | 0.006592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_563-9_0_3_line_101 | NAYY 4x150 SE | 101 | 102 | 0.028889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_563-9_0_3_trafo_46 | 0.25 MVA 20/0.4 kV | 103 | 51 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2616228.6183 | 1159920.3031 | 2616234.599 | 1159924.8992 | 2616236.8288 | 1159927.8845 | 2616258.3001 | 1159970.4242
1 | 2616263.7305 | 1159981.1833 | 2616258.3001 | 1159970.4242
2 | 2616228.6183 | 1159920.3031 | 2616225.9344 | 1159926.5767 | 2616221.6284 | 1159931.9011 | 2616217.4593 | 1159934.758 | 2616212.1599 | 1159936.1556 | 2616207.386 | 1159935.8982 | 2616199.0463 | 1159933.6303 | 2616193.7082 | 1159929.4472 | 2616190.6412 | 1159924.3142 | 2616185.394 | 1159910.1169
3 | 2616263.7305 | 1159981.1833 | 2616251.4717 | 1159985.7304 | 2616243.6503 | 1159987.3879 | 2616243.6503 | 1159987.3879
4 | 2616171.7284 | 1159878.0072 | 2616177.6533 | 1159889.1731 | 2616185.394 | 1159910.1169
5 | 2616243.6503 | 1159987.3879 | 2616235.2241 | 1159983.1187 | 2616230.7796 | 1159977.2483 | 2616225.7346 | 1159969.5198 | 2616217.3879 | 1159967.0183 | 2616217.3879 | 1159967.0183
6 | 2616171.7284 | 1159878.0072 | 2616169.8848 | 1159893.9102 | 2616170.5461 | 1159896.8619
7 | 2616160.7978 | 1159861.5809 | 2616171.7284 | 1159878.0072
8 | 2616160.7978 | 1159861.5809 | 2616141.6989 | 1159842.9581
9 | 2616213.5814 | 1159967.0081 | 2616217.3879 | 1159967.0183
10 | 2616298.3699 | 1160089.2082 | 2616279.159 | 1160099.995
11 | 2616258.9428 | 1160051.5498 | 2616262.9651 | 1160057.6192 | 2616268.2399 | 1160062.4803 | 2616289.9508 | 1160076.6792 | 2616294.4676 | 1160081.2715 | 2616298.3699 | 1160089.2082
12 | 2616298.3699 | 1160089.2082 | 2616406.4543 | 1160188.7726
13 | 2616258.9428 | 1160051.5498 | 2616252.6506 | 1160040.2828 | 2616244.1753 | 1160034.6767
14 | 2616258.9428 | 1160051.5498 | 2616246.1649 | 1160058.1295
15 | 2616406.4543 | 1160188.7726 | 2616432.9992 | 1160170.9519
16 | 2616375.6088 | 1160217.0918 | 2616376.5011 | 1160210.2019 | 2616372.873 | 1160194.4731 | 2616370.4216 | 1160188.508 | 2616364.4455 | 1160182.3332 | 2616360.0613 | 1160179.7533 | 2616353.8093 | 1160176.4236 | 2616351.6172 | 1160173.7275 | 2616350.8565 | 1160163.1868 | 2616355.1245 | 1160166.1888 | 2616359.6793 | 1160168.0354 | 2616366.3974 | 1160169.0318 | 2616372.5004 | 1160167.9923 | 2616399.8315 | 1160163.9978 | 2616406.4543 | 1160188.7726
17 | 2616406.4543 | 1160188.7726 | 2616408.1666 | 1160199.3815
18 | 2616179.6012 | 1159937.2799 | 2616170.5461 | 1159896.8619
19 | 2616190.2669 | 1159966.1597 | 2616201.8077 | 1159966.9765 | 2616213.5814 | 1159967.0081
20 | 2616202.7465 | 1160011.0055 | 2616220.1839 | 1160018.8071 | 2616244.1753 | 1160034.6767
21 | 2616243.2833 | 1160059.6133 | 2616246.1649 | 1160058.1295
22 | 2616375.6088 | 1160217.0918 | 2616373.1626 | 1160220.4869 | 2616369.6383 | 1160222.9897 | 2616364.497 | 1160225.5325 | 2616358.2454 | 1160227.7167 | 2616328.1367 | 1160235.9393
23 | 2615979.2023 | 1159924.1448 | 2615974.8902 | 1159954.2731
24 | 2615980.2289 | 1159916.9723 | 2615979.2023 | 1159924.1448
25 | 2615979.7956 | 1159973.5103 | 2615973.9433 | 1159960.8886 | 2615974.8902 | 1159954.2731
26 | 2615984.6043 | 1159885.3682 | 2615983.3866 | 1159893.7135 | 2615980.2289 | 1159916.9723
27 | 2615979.7956 | 1159973.5103 | 2615982.4627 | 1159977.1832
28 | 2615979.7956 | 1159973.5103 | 2615966.6842 | 1160010.7386
29 | 2615984.6043 | 1159885.3682 | 2616006.715 | 1159905.4105
30 | 2615986.3548 | 1159982.5433 | 2615982.4627 | 1159977.1832
31 | 2615966.6842 | 1160010.7386 | 2615964.9668 | 1160015.3903
32 | 2615966.6842 | 1160010.7386 | 2615959.1044 | 1159998.7746
33 | 2615986.4109 | 1160045.2857 | 2615966.6842 | 1160010.7386
34 | 2616006.715 | 1159905.4105 | 2616019.5974 | 1159917.0878 | 2616029.3293 | 1159924.1756
35 | 2616028.5103 | 1159962.3291 | 2616044.975 | 1159979.4528 | 2616050.033 | 1159985.358
36 | 2616050.033 | 1159985.358 | 2616056.0835 | 1159992.4221 | 2616067.9331 | 1160008.186
37 | 2615986.3548 | 1159982.5433 | 2615986.3717 | 1160001.4052
38 | 2615986.3548 | 1159982.5433 | 2616006.363 | 1159984.5728
39 | 2615964.9668 | 1160015.3903 | 2615958.7912 | 1160032.117
40 | 2615959.1044 | 1159998.7746 | 2615954.6205 | 1159991.6972
41 | 2615986.4109 | 1160045.2857 | 2615986.4075 | 1160041.4626
42 | 2616029.3293 | 1159924.1756 | 2616035.0754 | 1159928.3606
43 | 2616067.9331 | 1160008.186 | 2616081.036 | 1160025.6172
44 | 2616079.0679 | 1159960.4007 | 2616035.0754 | 1159928.3606
45 | 2616079.0679 | 1159960.4007 | 2616103.6087 | 1159979.9202
46 | 2616079.0679 | 1159960.4007 | 2616086.4985 | 1159952.9612 | 2616089.836 | 1159948.668 | 2616102.9861 | 1159928.8932 | 2616106.6575 | 1159908.6374 | 2616103.2847 | 1159888.7963
47 | 2616116.3396 | 1159990.8263 | 2616103.6087 | 1159979.9202
48 | 2615906.4264 | 1159914.176 | 2615867.5898 | 1159953.6772
49 | 2615906.4264 | 1159914.176 | 2615916.6506 | 1159905.0261
50 | 2615906.4264 | 1159914.176 | 2615913.2088 | 1159925.1666
51 | 2615925.8439 | 1159896.7988 | 2615916.6506 | 1159905.0261
52 | 2615931.2505 | 1159954.4025 | 2615913.2088 | 1159925.1666
53 | 2616253.8119 | 1160244.0549 | 2616328.1367 | 1160235.9393
54 | 2616197.4766 | 1160078.7648 | 2616200.9014 | 1160084.777 | 2616206.7473 | 1160096.6875 | 2616206.7473 | 1160096.6875
55 | 2616197.4766 | 1160078.7648 | 2616182.468 | 1160057.1472 | 2616140.1522 | 1160014.7082
56 | 2616212.3199 | 1160073.4242 | 2616203.147 | 1160079.0024 | 2616199.9628 | 1160077.5598 | 2616197.4766 | 1160078.7648
57 | 2616139.8484 | 1160014.4035 | 2616140.1522 | 1160014.7082
58 | 2616212.3199 | 1160073.4242 | 2616220.5279 | 1160070.3807
59 | 2616116.3396 | 1159990.8263 | 2616139.8484 | 1160014.4035
60 | 2616230.1785 | 1160066.8022 | 2616220.5279 | 1160070.3807
61 | 2616238.7979 | 1160061.923 | 2616243.2833 | 1160059.6133
62 | 2616238.7979 | 1160061.923 | 2616230.1785 | 1160066.8022
63 | 2616238.7979 | 1160061.923 | 2616225.0601 | 1160053.1694
64 | 2616217.0345 | 1160048.0556 | 2616225.0601 | 1160053.1694
65 | 2616217.0345 | 1160048.0556 | 2616214.7073 | 1160046.5727
66 | 2616202.7465 | 1160011.0055 | 2616201.4611 | 1160010.4305 | 2616197.5575 | 1160006.8573
67 | 2616210.1697 | 1160043.6815 | 2616214.7073 | 1160046.5727
68 | 2616116.3396 | 1159990.8263 | 2616131.3577 | 1159981.6991
69 | 2616184.9441 | 1160027.6582 | 2616171.731 | 1160009.419
70 | 2616188.061 | 1160031.9608 | 2616184.9441 | 1160027.6582
71 | 2616166.0328 | 1160001.5533 | 2616171.731 | 1160009.419
72 | 2616166.0328 | 1160001.5533 | 2616175.3705 | 1159999.0415
73 | 2616190.4694 | 1160000.3691 | 2616185.9191 | 1159996.2039 | 2616175.3705 | 1159999.0415
74 | 2616190.4694 | 1160000.3691 | 2616197.5575 | 1160006.8573
75 | 2616131.3577 | 1159981.6991 | 2616140.8342 | 1159975.9398 | 2616148.9483 | 1159972.2096
76 | 2616155.3768 | 1159969.2542 | 2616148.9483 | 1159972.2096
77 | 2616155.3768 | 1159969.2542 | 2616169.01 | 1159962.9866 | 2616175.3894 | 1159964.66 | 2616185.3185 | 1159965.8094 | 2616190.2669 | 1159966.1597
78 | 2616006.363 | 1159984.5728 | 2616009.424 | 1159984.8833 | 2616015.9087 | 1159990.2211
79 | 2616015.9087 | 1159990.2211 | 2616028.7821 | 1160000.8177
80 | 2616035.7865 | 1160008.4097 | 2616032.8773 | 1160004.1885 | 2616028.7821 | 1160000.8177
81 | 2616035.7865 | 1160008.4097 | 2616038.0228 | 1160011.6544
82 | 2616047.4504 | 1160025.3334 | 2616038.0228 | 1160011.6544
83 | 2615954.009 | 1159990.7319 | 2615954.6205 | 1159991.6972
84 | 2615940.9344 | 1159970.0948 | 2615954.009 | 1159990.7319
85 | 2615940.9344 | 1159970.0948 | 2615932.631 | 1159956.6395
86 | 2615940.9344 | 1159970.0948 | 2615893.3027 | 1160001.2788
87 | 2615932.631 | 1159956.6395 | 2615931.5613 | 1159954.9062
88 | 2615893.3027 | 1160001.2788 | 2615891.7739 | 1160002.2798
89 | 2615931.2505 | 1159954.4025 | 2615931.5613 | 1159954.9062
90 | 2615887.5156 | 1160005.0676 | 2615891.7739 | 1160002.2798
91 | 2615887.5156 | 1160005.0676 | 2615873.5778 | 1160014.1926
92 | 2616081.6967 | 1160026.4961 | 2616081.036 | 1160025.6172
93 | 2616081.6967 | 1160026.4961 | 2616092.2279 | 1160043.9433
94 | 2616081.6967 | 1160026.4961 | 2616069.158 | 1160034.2915
95 | 2616092.2279 | 1160043.9433 | 2616092.9041 | 1160045.0636
96 | 2616058.2839 | 1160041.0521 | 2616069.158 | 1160034.2915
97 | 2616068.3668 | 1160058.8359 | 2616064.3659 | 1160051.7794
98 | 2616058.2839 | 1160041.0521 | 2616064.3659 | 1160051.7794
99 | 2616058.2839 | 1160041.0521 | 2616051.1913 | 1160030.7612
100 | 2616051.1913 | 1160030.7612 | 2616047.4504 | 1160025.3334
101 | 2616109.2296 | 1160068.8874 | 2616107.9365 | 1160066.8749 | 2616094.6141 | 1160047.8967 | 2616092.9041 | 1160045.0636

## bus_geodata
| x | y | coords
0 | 2616258.3001 | 1159970.4242
1 | 2616228.6183 | 1159920.3031
2 | 2616263.7305 | 1159981.1833
3 | 2616185.394 | 1159910.1169
4 | 2616243.6503 | 1159987.3879
5 | 2616171.7284 | 1159878.0072
6 | 2616160.7978 | 1159861.5809
7 | 2616141.6989 | 1159842.9581
8 | 2616217.3879 | 1159967.0183
9 | 2616298.3699 | 1160089.2082
10 | 2616279.1589 | 1160099.995
11 | 2616258.9428 | 1160051.5498
12 | 2616406.4543 | 1160188.7726
13 | 2616170.5461 | 1159896.8619
14 | 2616213.5814 | 1159967.0081
15 | 2616244.1753 | 1160034.6767
16 | 2616246.1649 | 1160058.1295
17 | 2616408.1666 | 1160199.3815
18 | 2616432.9992 | 1160170.9519
19 | 2616375.6088 | 1160217.0918
20 | 2615979.2023 | 1159924.1448
21 | 2615974.8902 | 1159954.2731
22 | 2615980.2289 | 1159916.9723
23 | 2615979.7956 | 1159973.5103
24 | 2615984.6043 | 1159885.3682
25 | 2615982.4627 | 1159977.1832
26 | 2615966.6842 | 1160010.7386
27 | 2616006.715 | 1159905.4105
28 | 2616028.5103 | 1159962.3291
29 | 2616050.033 | 1159985.358
30 | 2615986.3548 | 1159982.5433
31 | 2615964.9668 | 1160015.3903
32 | 2615959.1044 | 1159998.7746
33 | 2615986.4109 | 1160045.2857
34 | 2616029.3293 | 1159924.1756
35 | 2616067.9331 | 1160008.186
36 | 2616035.0754 | 1159928.3606
37 | 2616079.0679 | 1159960.4007
38 | 2616103.6087 | 1159979.9202
39 | 2616103.2847 | 1159888.7963
40 | 2615906.4264 | 1159914.176
41 | 2615867.5898 | 1159953.6772
42 | 2615916.6506 | 1159905.0261
43 | 2615913.2088 | 1159925.1666
44 | 2615925.8439 | 1159896.7988
45 | 2616328.1367 | 1160235.9393
46 | 2616253.8119 | 1160244.0549
47 | 2616206.7473 | 1160096.6875
48 | 2616197.4766 | 1160078.7648
49 | 2616140.1522 | 1160014.7082
50 | 2616212.3199 | 1160073.4242
51 | 2616139.8484 | 1160014.4035
52 | 2616220.5279 | 1160070.3807
53 | 2616243.2833 | 1160059.6133
54 | 2616238.7979 | 1160061.923
55 | 2616230.1785 | 1160066.8022
56 | 2616225.0601 | 1160053.1694
57 | 2616217.0345 | 1160048.0556
58 | 2616202.7465 | 1160011.0055
59 | 2616214.7073 | 1160046.5727
60 | 2616116.3396 | 1159990.8263
61 | 2616210.1697 | 1160043.6815
62 | 2616184.9441 | 1160027.6582
63 | 2616171.731 | 1160009.419
64 | 2616188.061 | 1160031.9608
65 | 2616166.0328 | 1160001.5533
66 | 2616175.3705 | 1159999.0415
67 | 2616190.4694 | 1160000.3691
68 | 2616197.5575 | 1160006.8573
69 | 2616131.3577 | 1159981.6991
70 | 2616148.9483 | 1159972.2096
71 | 2616155.3768 | 1159969.2542
72 | 2616190.2669 | 1159966.1597
73 | 2616179.6012 | 1159937.2799
74 | 2616006.363 | 1159984.5728
75 | 2616015.9087 | 1159990.2211
76 | 2616028.7821 | 1160000.8177
77 | 2615986.3717 | 1160001.4052
78 | 2616035.7865 | 1160008.4097
79 | 2616038.0228 | 1160011.6544
80 | 2615986.4075 | 1160041.4626
81 | 2615954.009 | 1159990.7319
82 | 2615954.6205 | 1159991.6972
83 | 2615940.9344 | 1159970.0948
84 | 2615932.631 | 1159956.6395
85 | 2615893.3027 | 1160001.2788
86 | 2615931.5613 | 1159954.9062
87 | 2615891.7739 | 1160002.2798
88 | 2615931.2505 | 1159954.4025
89 | 2615887.5156 | 1160005.0676
90 | 2616081.036 | 1160025.6172
91 | 2616081.6967 | 1160026.4961
92 | 2616092.2279 | 1160043.9433
93 | 2616069.158 | 1160034.2915
94 | 2615873.5778 | 1160014.1926
95 | 2616068.3668 | 1160058.8359
96 | 2616064.3659 | 1160051.7794
97 | 2616058.2839 | 1160041.0521
98 | 2616051.1913 | 1160030.7612
99 | 2616047.4504 | 1160025.3334
100 | 2615958.7912 | 1160032.117
101 | 2616092.9041 | 1160045.0636
102 | 2616109.2296 | 1160068.8874
103 | 2616116.3396 | 1159990.8263

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1