## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_565-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_565-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_565-13_0_4_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_565-13_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_565-13_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_565-13_0_4_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_565-13_0_4_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_565-13_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_565-13_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_565-13_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_565-13_0_4_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_565-13_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_565-13_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_565-13_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_565-13_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_565-13_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_565-13_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_565-13_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_565-13_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_565-13_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_565-13_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_565-13_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_565-13_0_4_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_565-13_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_565-13_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_565-13_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_565-13_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_565-13_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_565-13_0_4_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_565-13_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_565-13_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_565-13_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_565-13_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_565-13_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_565-13_0_4_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_565-13_0_4_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_565-13_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_565-13_0_4_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_565-13_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_565-13_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_565-13_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_565-13_0_4_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_565-13_0_4_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_565-13_0_4_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_565-13_0_4_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_565-13_0_4_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_565-13_0_4_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_565-13_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_565-13_0_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_565-13_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_565-13_0_4_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_565-13_0_4_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_565-13_0_4_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_565-13_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_565-13_0_4_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_565-13_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_565-13_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_565-13_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_565-13_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_565-13_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_565-13_0_4_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_565-13_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_565-13_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_565-13_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_565-13_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_MV_194_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_565-13_0_4_load_0 | 0 | 0.0029303 | 0.00073441 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_565-13_0_4_load_1 | 1 | 0.0058452 | 0.0014649 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_565-13_0_4_load_6 | 2 | 0.0026893 | 0.00067401 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_565-13_0_4_load_5 | 3 | 0.0021269 | 0.00053306 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_565-13_0_4_load_4 | 4 | 0.0031083 | 0.000779 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_565-13_0_4_load_7 | 5 | 0.0034452 | 0.00086345 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_565-13_0_4_load_2 | 6 | 0.0027168 | 0.0006809 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_565-13_0_4_load_3 | 7 | 0.0028207 | 0.00070695 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_565-13_0_4_load_8 | 8 | 0.0038985 | 0.00097706 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_565-13_0_4_load_27 | 9 | 0.0028072 | 0.00070354 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_565-13_0_4_load_28 | 10 | 0.0022007 | 0.00055154 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_565-13_0_4_load_9 | 11 | 0.0021965 | 0.0005505 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_565-13_0_4_load_10 | 12 | 0.0034755 | 0.00087105 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_565-13_0_4_load_11 | 13 | 0.003425 | 0.00085838 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_565-13_0_4_load_13 | 15 | 0.0021366 | 0.00053548 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_565-13_0_4_load_15 | 17 | 0.0034436 | 0.00086305 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_565-13_0_4_load_16 | 18 | 0.004875 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_565-13_0_4_load_32 | 19 | 0.0031565 | 0.0007911 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_565-13_0_4_load_29 | 20 | 0.0037043 | 0.00092839 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_565-13_0_4_load_30 | 22 | 0.0028716 | 0.0007197 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_565-13_0_4_load_17 | 23 | 0.0028364 | 0.00071088 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_565-13_0_4_load_18 | 24 | 0.0032419 | 0.00081251 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_565-13_0_4_load_21 | 26 | 0.0042311 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_565-13_0_4_load_37 | 28 | 0.003697 | 0.00092655 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_565-13_0_4_load_25 | 29 | 0.0038675 | 0.00096928 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_565-13_0_4_load_33 | 31 | 0.0064803 | 0.0016241 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_565-13_0_4_load_26 | 33 | 0.0069474 | 0.0017412 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_565-13_0_4_load_41 | 34 | 0.0019037 | 0.00047711 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_565-13_0_4_load_42 | 35 | 0.0058779 | 0.0014731 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_565-13_0_4_load_40 | 36 | 0.0023426 | 0.00058712 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_565-13_0_4_load_39 | 37 | 0.0042498 | 0.0010651 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_565-13_0_4_load_38 | 39 | 0.0049196 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_565-13_0_4_load_52 | 40 | 0.0022637 | 0.00056733 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_565-13_0_4_load_49 | 41 | 0.0031484 | 0.00078906 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_565-13_0_4_load_51 | 42 | 0.00086253 | 0.00021617 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_565-13_0_4_load_48 | 43 | 0.00078011 | 0.00019551 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_565-13_0_4_load_50 | 44 | 0.0022092 | 0.00055368 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_565-13_0_4_load_34 | 47 | 0.0022645 | 0.00056754 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_565-13_0_4_load_62 | 48 | 0.0048569 | 0.0012172 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_565-13_0_4_load_36 | 49 | 0.0027464 | 0.0006883 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_565-13_0_4_load_64 | 51 | 0.0030391 | 0.00076167 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_565-13_0_4_load_61 | 52 | 0.0044763 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_565-13_0_4_load_43 | 53 | 0.001525 | 0.00038221 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_565-13_0_4_load_44 | 54 | 0.0018339 | 0.00045962 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_565-13_0_4_load_45 | 55 | 0.0013132 | 0.00032912 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_565-13_0_4_load_46 | 56 | 0.00090215 | 0.0002261 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_565-13_0_4_load_47 | 57 | 0.0012493 | 0.00031312 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_565-13_0_4_load_67 | 58 | 0.0041496 | 0.00104 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_565-13_0_4_load_65 | 59 | 0.0044227 | 0.0011084 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_565-13_0_4_load_53 | 60 | 0.0021345 | 0.00053496 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_565-13_0_4_load_54 | 61 | 0.0033432 | 0.0008379 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_565-13_0_4_load_55 | 62 | 0.0019598 | 0.00049118 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_565-13_0_4_load_59 | 63 | 0.0018983 | 0.00047575 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_565-13_0_4_load_58 | 64 | 0.0010677 | 0.00026758 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_565-13_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_565-13_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.055733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_565-13_0_4_line_2 | NAYY 4x150 SE | 2 | 5 | 0.011472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_565-13_0_4_line_3 | NAYY 4x150 SE | 2 | 3 | 0.013902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_565-13_0_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.012546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_565-13_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_565-13_0_4_line_6 | NAYY 4x150 SE | 5 | 8 | 0.00036301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_565-13_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.009328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_565-13_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.011451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_565-13_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.016305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_565-13_0_4_line_10 | NAYY 4x150 SE | 10 | 17 | 0.011361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_565-13_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.010744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_565-13_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.015304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_565-13_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0028595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_565-13_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0041446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_565-13_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.02777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_565-13_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.013497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_565-13_0_4_line_17 | NAYY 4x150 SE | 15 | 18 | 0.011332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_565-13_0_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.0023544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_565-13_0_4_line_19 | NAYY 4x150 SE | 16 | 20 | 0.021757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_565-13_0_4_line_20 | NAYY 4x150 SE | 19 | 21 | 0.018204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_565-13_0_4_line_21 | NAYY 4x150 SE | 20 | 22 | 0.024289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_565-13_0_4_line_22 | NAYY 4x150 SE | 21 | 28 | 0.014085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_565-13_0_4_line_23 | NAYY 4x150 SE | 21 | 24 | 0.051939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_565-13_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.013312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_565-13_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0036251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_565-13_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.014781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_565-13_0_4_line_27 | NAYY 4x150 SE | 25 | 27 | 0.014726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_565-13_0_4_line_28 | NAYY 4x150 SE | 26 | 29 | 0.028306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_565-13_0_4_line_29 | NAYY 4x150 SE | 27 | 30 | 0.020137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_565-13_0_4_line_30 | NAYY 4x150 SE | 27 | 31 | 0.014994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_565-13_0_4_line_31 | NAYY 4x150 SE | 28 | 32 | 0.025115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_565-13_0_4_line_32 | NAYY 4x150 SE | 29 | 33 | 0.0036646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_565-13_0_4_line_33 | NAYY 4x150 SE | 30 | 34 | 0.034597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_565-13_0_4_line_34 | NAYY 4x150 SE | 32 | 49 | 0.0030718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_565-13_0_4_line_35 | NAYY 4x150 SE | 32 | 47 | 0.021062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_565-13_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0038224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_565-13_0_4_line_37 | NAYY 4x150 SE | 35 | 37 | 0.060994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_565-13_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.023578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_565-13_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.012995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_565-13_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.059798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_565-13_0_4_line_41 | NAYY 4x150 SE | 40 | 45 | 0.024326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_565-13_0_4_line_42 | NAYY 4x150 SE | 40 | 44 | 0.01839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_565-13_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.012347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_565-13_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.026111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_565-13_0_4_line_45 | NAYY 4x150 SE | 42 | 48 | 0.0046135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_565-13_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.00014666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_565-13_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.032041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_565-13_0_4_line_48 | NAYY 4x150 SE | 46 | 61 | 0.017518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_565-13_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.040631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_565-13_0_4_line_50 | NAYY 4x150 SE | 49 | 50 | 0.02065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_565-13_0_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.022977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_565-13_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.015684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_565-13_0_4_line_53 | NAYY 4x150 SE | 52 | 56 | 0.013541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_565-13_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0092008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_565-13_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.0014827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_565-13_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0022354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_565-13_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.00279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_565-13_0_4_line_58 | NAYY 4x150 SE | 57 | 58 | 0.048111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_565-13_0_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.020546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_565-13_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.030613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_565-13_0_4_line_61 | NAYY 4x150 SE | 60 | 62 | 0.031664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_565-13_0_4_line_62 | NAYY 4x150 SE | 62 | 63 | 0.040897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_565-13_0_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.01677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_565-13_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 65 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2618345.5595 | 1149794.1633 | 2618335.1512 | 1149806.5062
1 | 2618319.9072 | 1149744.685 | 2618345.5595 | 1149794.1633
2 | 2618319.9072 | 1149744.685 | 2618330.0279 | 1149739.2838
3 | 2618307.6429 | 1149751.2303 | 2618319.9072 | 1149744.685
4 | 2618307.6429 | 1149751.2303 | 2618303.0919 | 1149753.6591 | 2618296.5064 | 1149757.0072
5 | 2618285.4465 | 1149762.6301 | 2618296.5064 | 1149757.0072
6 | 2618330.0279 | 1149739.2838 | 2618330.3481 | 1149739.1129
7 | 2618285.4465 | 1149762.6301 | 2618278.8344 | 1149765.9918 | 2618277.0772 | 1149766.7414
8 | 2618330.3481 | 1149739.1129 | 2618340.4502 | 1149733.7216
9 | 2618340.4502 | 1149733.7216 | 2618354.8351 | 1149726.0447
10 | 2618354.8351 | 1149726.0447 | 2618363.9444 | 1149721.1832 | 2618364.8864 | 1149720.7536
11 | 2618389.5438 | 1149709.5082 | 2618379.7685 | 1149713.967
12 | 2618403.4679 | 1149703.1571 | 2618389.5438 | 1149709.5082
13 | 2618377.1669 | 1149715.1537 | 2618379.7685 | 1149713.967
14 | 2618403.4679 | 1149703.1571 | 2618407.2388 | 1149701.4371
15 | 2618364.8829 | 1149690.2374 | 2618377.1669 | 1149715.1537
16 | 2618377.1669 | 1149715.1537 | 2618364.8864 | 1149720.7536
17 | 2618417.5493 | 1149696.7342 | 2618407.2388 | 1149701.4371
18 | 2618364.8829 | 1149690.2374 | 2618362.7986 | 1149691.3323
19 | 2618364.8829 | 1149690.2374 | 2618384.1477 | 1149680.1253
20 | 2618346.6828 | 1149699.798 | 2618362.7986 | 1149691.3323
21 | 2618384.1477 | 1149680.1253 | 2618405.6537 | 1149668.8367
22 | 2618346.6828 | 1149699.798 | 2618341.7798 | 1149686.5936
23 | 2618346.6828 | 1149699.798 | 2618320.5322 | 1149713.5699 | 2618298.1739 | 1149712.5087
24 | 2618298.1739 | 1149712.5087 | 2618284.8766 | 1149711.8775
25 | 2618281.2556 | 1149711.7057 | 2618284.8766 | 1149711.8775
26 | 2618281.2556 | 1149711.7057 | 2618284.184 | 1149697.2178
27 | 2618281.2556 | 1149711.7057 | 2618275.614 | 1149711.4329 | 2618267.4566 | 1149715.4991
28 | 2618284.184 | 1149697.2178 | 2618286.4227 | 1149686.142 | 2618279.8199 | 1149671.1591 | 2618279.2341 | 1149671.4
29 | 2618249.3889 | 1149724.4935 | 2618267.4566 | 1149715.4991
30 | 2618267.4566 | 1149715.4991 | 2618261.7641 | 1149701.628
31 | 2618333.0375 | 1149663.0496 | 2618341.7798 | 1149686.5936
32 | 2618279.2341 | 1149671.4 | 2618275.8448 | 1149672.7935
33 | 2618249.3889 | 1149724.4935 | 2618244.7883 | 1149722.6898 | 2618233.6602 | 1149701.279 | 2618232.2407 | 1149695.9387
34 | 2618333.0375 | 1149663.0496 | 2618331.9676 | 1149660.1701
35 | 2618333.0375 | 1149663.0496 | 2618351.9338 | 1149653.7475
36 | 2618234.5146 | 1149692.8663 | 2618232.2407 | 1149695.9387
37 | 2618234.5146 | 1149692.8663 | 2618217.8997 | 1149634.1788
38 | 2618232.2662 | 1149616.244 | 2618227.2985 | 1149626.6675 | 2618217.8997 | 1149634.1788
39 | 2618460.569 | 1149644.3618 | 2618464.2158 | 1149656.8347
40 | 2618460.569 | 1149644.3618 | 2618431.7239 | 1149591.9811
41 | 2618452.1864 | 1149578.8261 | 2618433.7332 | 1149590.6535 | 2618431.7239 | 1149591.9811
42 | 2618431.7239 | 1149591.9811 | 2618416.3805 | 1149602.1192
43 | 2618394.2576 | 1149616.2592 | 2618392.0496 | 1149617.6398 | 2618383.1028 | 1149621.4979
44 | 2618416.2582 | 1149602.2 | 2618407.7251 | 1149607.8382 | 2618394.2576 | 1149616.2592
45 | 2618378.8664 | 1149623.3247 | 2618383.1028 | 1149621.4979
46 | 2618416.2582 | 1149602.2 | 2618416.3805 | 1149602.1192
47 | 2618434.2881 | 1149552.2251 | 2618439.8221 | 1149560.1236 | 2618452.1864 | 1149578.8261
48 | 2618434.2881 | 1149552.2251 | 2618419.427 | 1149561.5
49 | 2618351.9338 | 1149653.7475 | 2618378.8664 | 1149623.3247
50 | 2618324.7755 | 1149640.8136 | 2618331.9676 | 1149660.1701
51 | 2618324.7755 | 1149640.8136 | 2618304.4374 | 1149651.6128
52 | 2618324.7755 | 1149640.8136 | 2618319.3188 | 1149626.1096
53 | 2618314.6056 | 1149613.4154 | 2618316.5897 | 1149618.7557 | 2618319.3188 | 1149626.1096
54 | 2618310.6228 | 1149602.6951 | 2618313.8271 | 1149611.3199
55 | 2618310.6228 | 1149602.6951 | 2618310.1064 | 1149601.3052
56 | 2618313.8271 | 1149611.3199 | 2618314.6056 | 1149613.4154
57 | 2618309.1348 | 1149598.6899 | 2618310.1064 | 1149601.3052
58 | 2618309.1348 | 1149598.6899 | 2618285.8321 | 1149556.5986
59 | 2618285.8321 | 1149556.5986 | 2618282.8278 | 1149552.3874 | 2618278.793 | 1149551.2858 | 2618270.8364 | 1149552.3623 | 2618267.6976 | 1149551.986
60 | 2618393.4564 | 1149577.7084 | 2618419.427 | 1149561.5
61 | 2618366.5942 | 1149594.4732 | 2618393.4564 | 1149577.7084
62 | 2618350.1948 | 1149557.0083 | 2618366.5942 | 1149594.4732
63 | 2618348.8754 | 1149540.3631 | 2618348.6288 | 1149546.873 | 2618350.1948 | 1149557.0083

## bus_geodata
| x | y | coords
0 | 2618335.1512 | 1149806.5062
1 | 2618345.5595 | 1149794.1633
2 | 2618319.9072 | 1149744.685
3 | 2618307.6429 | 1149751.2303
4 | 2618296.5064 | 1149757.0072
5 | 2618330.0279 | 1149739.2838
6 | 2618285.4465 | 1149762.6301
7 | 2618277.0772 | 1149766.7414
8 | 2618330.3481 | 1149739.1129
9 | 2618340.4502 | 1149733.7216
10 | 2618354.8351 | 1149726.0447
11 | 2618389.5438 | 1149709.5082
12 | 2618379.7685 | 1149713.967
13 | 2618403.4679 | 1149703.1571
14 | 2618377.1669 | 1149715.1537
15 | 2618407.2388 | 1149701.4371
16 | 2618364.8829 | 1149690.2374
17 | 2618364.8864 | 1149720.7536
18 | 2618417.5493 | 1149696.7342
19 | 2618362.7986 | 1149691.3323
20 | 2618384.1477 | 1149680.1253
21 | 2618346.6828 | 1149699.798
22 | 2618405.6537 | 1149668.8367
23 | 2618284.8766 | 1149711.8775
24 | 2618298.1739 | 1149712.5087
25 | 2618281.2556 | 1149711.7057
26 | 2618284.184 | 1149697.2178
27 | 2618267.4566 | 1149715.4991
28 | 2618341.7798 | 1149686.5936
29 | 2618279.2341 | 1149671.4
30 | 2618249.3889 | 1149724.4935
31 | 2618261.7641 | 1149701.628
32 | 2618333.0375 | 1149663.0496
33 | 2618275.8448 | 1149672.7935
34 | 2618232.2407 | 1149695.9387
35 | 2618234.5146 | 1149692.8663
36 | 2618232.2662 | 1149616.244
37 | 2618217.8997 | 1149634.1788
38 | 2618460.569 | 1149644.3618
39 | 2618464.2158 | 1149656.8347
40 | 2618431.7239 | 1149591.9811
41 | 2618394.2576 | 1149616.2592
42 | 2618383.1028 | 1149621.4979
43 | 2618416.2582 | 1149602.2
44 | 2618416.3805 | 1149602.1192
45 | 2618452.1864 | 1149578.8261
46 | 2618434.2881 | 1149552.2251
47 | 2618351.9338 | 1149653.7475
48 | 2618378.8664 | 1149623.3247
49 | 2618331.9676 | 1149660.1701
50 | 2618324.7755 | 1149640.8136
51 | 2618304.4374 | 1149651.6128
52 | 2618319.3188 | 1149626.1096
53 | 2618310.6228 | 1149602.6951
54 | 2618313.8271 | 1149611.3199
55 | 2618310.1064 | 1149601.3052
56 | 2618314.6056 | 1149613.4154
57 | 2618309.1348 | 1149598.6899
58 | 2618285.8321 | 1149556.5986
59 | 2618267.6976 | 1149551.986
60 | 2618393.4564 | 1149577.7084
61 | 2618419.4269 | 1149561.5
62 | 2618366.5942 | 1149594.4732
63 | 2618350.1948 | 1149557.0083
64 | 2618348.8754 | 1149540.3631
65 | 2618352.2046 | 1149653.6142

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1