## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_565-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_565-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_565-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_565-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_565-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_565-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_565-3_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_565-3_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_565-3_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_565-3_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_565-3_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_565-3_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_565-3_0_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_565-3_0_3_node_44 | 0.4 | n |  | TRUE
14 | bus_LV_565-3_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_565-3_0_3_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_565-3_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_565-3_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_565-3_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_565-3_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_565-3_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_565-3_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_565-3_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_565-3_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_565-3_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_565-3_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_565-3_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_565-3_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_565-3_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_565-3_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_565-3_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_565-3_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_565-3_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_565-3_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_565-3_0_3_node_74 | 0.4 | n |  | TRUE
35 | bus_LV_565-3_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_565-3_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_565-3_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_565-3_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_565-3_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_565-3_0_3_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_565-3_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_565-3_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_565-3_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_565-3_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_565-3_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_565-3_0_3_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_565-3_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_565-3_0_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_565-3_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_565-3_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_565-3_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_565-3_0_3_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_565-3_0_3_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_565-3_0_3_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_565-3_0_3_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_565-3_0_3_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_565-3_0_3_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_565-3_0_3_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_565-3_0_3_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_565-3_0_3_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_565-3_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_565-3_0_3_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_565-3_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_565-3_0_3_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_565-3_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_565-3_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_565-3_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_565-3_0_3_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_565-3_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_565-3_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_565-3_0_3_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_565-3_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_565-3_0_3_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_565-3_0_3_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_565-3_0_3_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_565-3_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_565-3_0_3_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_565-3_0_3_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_565-3_0_3_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_565-3_0_3_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_565-3_0_3_node_72 | 0.4 | n |  | TRUE
82 | bus_MV_194_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_565-3_0_3_load_0 | 0 | 0.0037498 | 0.00093978 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_565-3_0_3_load_1 | 1 | 0.028126 | 0.007049 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_565-3_0_3_load_3 | 3 | 0.0043658 | 0.0010942 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_565-3_0_3_load_4 | 4 | 0.0089054 | 0.0022319 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_565-3_0_3_load_5 | 5 | 0.0030211 | 0.00075717 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_565-3_0_3_load_18 | 6 | 0.00036322 | 9.1032e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_565-3_0_3_load_21 | 7 | 0.005524 | 0.0013845 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_565-3_0_3_load_17 | 9 | 0.00214 | 0.00053634 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_565-3_0_3_load_6 | 10 | 0.0013682 | 0.00034292 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_565-3_0_3_load_7 | 11 | 0.0035355 | 0.00088609 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_565-3_0_3_load_22 | 12 | 0.002911 | 0.00072957 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_565-3_0_3_load_44 | 13 | 0.0048861 | 0.0012246 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_565-3_0_3_load_80 | 15 | 0.0023272 | 0.00058324 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_565-3_0_3_load_10 | 16 | 0.0040071 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_565-3_0_3_load_13 | 19 | 0.007593 | 0.001903 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_565-3_0_3_load_14 | 20 | 0.0019192 | 0.00048099 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_565-3_0_3_load_15 | 21 | 0.0013492 | 0.00033813 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_565-3_0_3_load_16 | 22 | 0.0087966 | 0.0022046 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_565-3_0_3_load_20 | 24 | 0.0030536 | 0.00076532 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_565-3_0_3_load_30 | 25 | 0.0029532 | 0.00074014 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_565-3_0_3_load_32 | 26 | 0.0014628 | 0.00036662 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_565-3_0_3_load_33 | 27 | 0.0014539 | 0.00036438 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_565-3_0_3_load_19 | 28 | 0.0022091 | 0.00055366 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_565-3_0_3_load_28 | 29 | 0.0013317 | 0.00033375 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_565-3_0_3_load_23 | 30 | 0.0015503 | 0.00038853 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_565-3_0_3_load_25 | 32 | 0.0027291 | 0.00068399 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_565-3_0_3_load_74 | 34 | 0.0030331 | 0.00076017 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_565-3_0_3_load_40 | 35 | 0.0018727 | 0.00046935 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_565-3_0_3_load_26 | 36 | 0.0015619 | 0.00039145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_565-3_0_3_load_27 | 37 | 0.0045106 | 0.0011305 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_565-3_0_3_load_29 | 38 | 0.0057919 | 0.0014516 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_565-3_0_3_load_34 | 39 | 0.0018261 | 0.00045767 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_565-3_0_3_load_81 | 40 | 0.0010281 | 0.00025767 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_565-3_0_3_load_35 | 41 | 0.0038231 | 0.00095815 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_565-3_0_3_load_36 | 42 | 0.0028842 | 0.00072285 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_565-3_0_3_load_37 | 43 | 0.003817 | 0.00095663 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_565-3_0_3_load_38 | 44 | 0.0010177 | 0.00025507 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_565-3_0_3_load_39 | 45 | 0.0017575 | 0.00044047 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_565-3_0_3_load_50 | 46 | 0.0013739 | 0.00034432 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_565-3_0_3_load_51 | 47 | 0.0014367 | 0.00036007 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_565-3_0_3_load_52 | 48 | 0.0012537 | 0.0003142 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_565-3_0_3_load_53 | 49 | 0.0015405 | 0.00038608 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_565-3_0_3_load_63 | 50 | 0.0012274 | 0.00030762 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_565-3_0_3_load_60 | 51 | 0.0025735 | 0.00064497 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_565-3_0_3_load_62 | 52 | 0.0025045 | 0.0006277 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_565-3_0_3_load_58 | 53 | 0.0026013 | 0.00065195 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_565-3_0_3_load_73 | 55 | 0.0019216 | 0.0004816 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_565-3_0_3_load_76 | 57 | 0.00078219 | 0.00019603 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_565-3_0_3_load_77 | 58 | 0.00072116 | 0.00018074 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_565-3_0_3_load_78 | 59 | 0.00081209 | 0.00020353 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_565-3_0_3_load_79 | 60 | 0.0023556 | 0.00059036 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_565-3_0_3_load_41 | 62 | 0.0020681 | 0.00051831 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_565-3_0_3_load_45 | 63 | 0.0014786 | 0.00037057 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_565-3_0_3_load_46 | 64 | 0.0012582 | 0.00031534 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_565-3_0_3_load_47 | 65 | 0.0014262 | 0.00035743 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_565-3_0_3_load_48 | 66 | 0.0014524 | 0.000364 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_565-3_0_3_load_54 | 68 | 0.0015694 | 0.00039333 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_565-3_0_3_load_71 | 70 | 0.0016814 | 0.0004214 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_565-3_0_3_load_55 | 71 | 0.0017227 | 0.00043174 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_565-3_0_3_load_56 | 72 | 0.001071 | 0.00026842 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_565-3_0_3_load_57 | 73 | 0.00097155 | 0.00024349 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_565-3_0_3_load_65 | 74 | 0.0038026 | 0.00095302 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_565-3_0_3_load_59 | 75 | 0.0018159 | 0.0004551 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_565-3_0_3_load_66 | 76 | 0.0041443 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_565-3_0_3_load_67 | 77 | 0.0015262 | 0.00038251 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_565-3_0_3_load_68 | 78 | 0.00093366 | 0.000234 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_565-3_0_3_load_69 | 79 | 0.00092272 | 0.00023126 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_565-3_0_3_load_70 | 80 | 0.00096431 | 0.00024168 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_565-3_0_3_load_72 | 81 | 0.0015042 | 0.00037699 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_565-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0044001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_565-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.035937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_565-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.045572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_565-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_565-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.014792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_565-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0016407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_565-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.021142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_565-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.026738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_565-3_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.012715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_565-3_0_3_line_9 | NAYY 4x150 SE | 7 | 12 | 0.012521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_565-3_0_3_line_10 | NAYY 4x150 SE | 8 | 13 | 0.014803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_565-3_0_3_line_11 | NAYY 4x150 SE | 8 | 14 | 0.026417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_565-3_0_3_line_12 | NAYY 4x150 SE | 9 | 21 | 0.0021198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_565-3_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.042678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_565-3_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.089023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_565-3_0_3_line_15 | NAYY 4x150 SE | 12 | 30 | 0.016257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_565-3_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.014205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_565-3_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.033243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_565-3_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0014521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_565-3_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.021294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_565-3_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.0059391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_565-3_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.017478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_565-3_0_3_line_22 | NAYY 4x150 SE | 18 | 22 | 0.016509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_565-3_0_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.035607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_565-3_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.010966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_565-3_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.0049628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_565-3_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.023911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_565-3_0_3_line_27 | NAYY 4x150 SE | 23 | 27 | 0.0079656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_565-3_0_3_line_28 | NAYY 4x150 SE | 24 | 28 | 0.0090131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_565-3_0_3_line_29 | NAYY 4x150 SE | 25 | 29 | 0.020692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_565-3_0_3_line_30 | NAYY 4x150 SE | 26 | 39 | 0.0060288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_565-3_0_3_line_31 | NAYY 4x150 SE | 27 | 40 | 0.0051023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_565-3_0_3_line_32 | NAYY 4x150 SE | 29 | 36 | 0.0043933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_565-3_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.020127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_565-3_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.032411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_565-3_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.037532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_565-3_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.066233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_565-3_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.011181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_565-3_0_3_line_38 | NAYY 4x150 SE | 34 | 77 | 0.040534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_565-3_0_3_line_39 | NAYY 4x150 SE | 35 | 62 | 0.0067223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_565-3_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.022854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_565-3_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.0067521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_565-3_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.012272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_565-3_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.019225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_565-3_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.030813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_565-3_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0053671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_565-3_0_3_line_46 | NAYY 4x150 SE | 45 | 61 | 0.012506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_565-3_0_3_line_47 | NAYY 4x150 SE | 46 | 47 | 0.024303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_565-3_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.016287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_565-3_0_3_line_49 | NAYY 4x150 SE | 47 | 49 | 0.02851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_565-3_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.029356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_565-3_0_3_line_51 | NAYY 4x150 SE | 50 | 54 | 0.024086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_565-3_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.02742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_565-3_0_3_line_53 | NAYY 4x150 SE | 51 | 53 | 0.039959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_565-3_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.014437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_565-3_0_3_line_55 | NAYY 4x150 SE | 53 | 75 | 0.027208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_565-3_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.040929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_565-3_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.028879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_565-3_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.026362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_565-3_0_3_line_59 | NAYY 4x150 SE | 56 | 58 | 0.013124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_565-3_0_3_line_60 | NAYY 4x150 SE | 57 | 59 | 0.014617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_565-3_0_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.021784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_565-3_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.0059013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_565-3_0_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.009105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_565-3_0_3_line_64 | NAYY 4x150 SE | 63 | 65 | 0.008404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_565-3_0_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.0046799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_565-3_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.024314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_565-3_0_3_line_67 | NAYY 4x150 SE | 66 | 68 | 0.0082841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_565-3_0_3_line_68 | NAYY 4x150 SE | 67 | 69 | 0.024313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_565-3_0_3_line_69 | NAYY 4x150 SE | 67 | 70 | 0.04247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_565-3_0_3_line_70 | NAYY 4x150 SE | 68 | 71 | 0.0090432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_565-3_0_3_line_71 | NAYY 4x150 SE | 69 | 76 | 0.027416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_565-3_0_3_line_72 | NAYY 4x150 SE | 69 | 77 | 0.01343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_565-3_0_3_line_73 | NAYY 4x150 SE | 69 | 75 | 0.009406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_565-3_0_3_line_74 | NAYY 4x150 SE | 70 | 81 | 0.051664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_565-3_0_3_line_75 | NAYY 4x150 SE | 71 | 72 | 0.0070822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_565-3_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.018104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_565-3_0_3_line_77 | NAYY 4x150 SE | 73 | 74 | 0.00017127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_565-3_0_3_line_78 | NAYY 4x150 SE | 74 | 78 | 0.017443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_565-3_0_3_line_79 | NAYY 4x150 SE | 78 | 79 | 0.02375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_565-3_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.00023407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_565-3_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 82 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2618052.3615 | 1149212.264 | 2618047.9761 | 1149211.9058
1 | 2618082.3174 | 1149229.8588 | 2618074.8041 | 1149221.1765 | 2618065.0168 | 1149215.5556 | 2618056.5574 | 1149212.6067 | 2618052.3615 | 1149212.264
2 | 2618004.6731 | 1149200.8131 | 2618012.1019 | 1149205.9152 | 2618026.3233 | 1149210.1375 | 2618047.9761 | 1149211.9058
3 | 2618082.3174 | 1149229.8588 | 2618096.4823 | 1149220.4147
4 | 2618082.3174 | 1149229.8588 | 2618089.0828 | 1149243.0133
5 | 2618004.6731 | 1149200.8131 | 2618003.3207 | 1149199.8843
6 | 2618114.0732 | 1149208.6863 | 2618096.4823 | 1149220.4147
7 | 2618096.3889 | 1149268.6979 | 2618089.8359 | 1149244.4774 | 2618089.0828 | 1149243.0133
8 | 2617993.7771 | 1149191.6235 | 2617997.6825 | 1149196.0119 | 2618003.3207 | 1149199.8843
9 | 2618124.4912 | 1149201.7403 | 2618114.0732 | 1149208.6863
10 | 2618096.3889 | 1149268.6979 | 2618110.8248 | 1149265.4193
11 | 2618103.0761 | 1149294.2527 | 2618100.5956 | 1149284.2514 | 2618096.3889 | 1149268.6979
12 | 2617992.3678 | 1149190.0399 | 2617993.7771 | 1149191.6235
13 | 2617974.8368 | 1149324.2441 | 2618016.4512 | 1149314.7776
14 | 2618103.0761 | 1149294.2527 | 2618016.4512 | 1149314.7776
15 | 2618124.4912 | 1149201.7403 | 2618138.0172 | 1149192.7223
16 | 2618110.8248 | 1149265.4193 | 2618124.6769 | 1149262.2732
17 | 2617963.3492 | 1149146.83 | 2617980.9127 | 1149175.055
18 | 2617981.6799 | 1149176.2879 | 2617980.9127 | 1149175.055
19 | 2617963.3492 | 1149146.83 | 2617981.4003 | 1149135.5349
20 | 2617963.3492 | 1149146.83 | 2617960.2132 | 1149141.7863
21 | 2617981.6799 | 1149176.2879 | 2617985.2635 | 1149182.0569 | 2617992.3678 | 1149190.0399
22 | 2617981.6799 | 1149176.2879 | 2617996.604 | 1149169.2286
23 | 2618011.5849 | 1149116.6475 | 2617981.4003 | 1149135.5349
24 | 2617954.4231 | 1149132.4737 | 2617960.2132 | 1149141.7863
25 | 2617996.604 | 1149169.2286 | 2618001.0902 | 1149167.1066
26 | 2618011.5849 | 1149116.6475 | 2618023.1024 | 1149121.4064 | 2618033.8491 | 1149117.4571
27 | 2618011.5849 | 1149116.6475 | 2618013.2588 | 1149108.8598
28 | 2617949.664 | 1149124.8195 | 2617954.4231 | 1149132.4737
29 | 2618019.7948 | 1149158.2591 | 2618001.0902 | 1149167.1066
30 | 2618039.5079 | 1149115.3776 | 2618033.8491 | 1149117.4571
31 | 2618013.2588 | 1149108.8598 | 2618010.5763 | 1149104.5195
32 | 2618019.7948 | 1149158.2591 | 2618023.7662 | 1149156.3806
33 | 2618155.1734 | 1149182.2093 | 2618142.7368 | 1149189.5756 | 2618138.0172 | 1149192.7223
34 | 2618155.1734 | 1149182.2093 | 2618184.1973 | 1149167.7851
35 | 2618218.91 | 1149154.7986 | 2618207.7123 | 1149156.0988 | 2618184.1973 | 1149167.7851
36 | 2618218.91 | 1149154.7986 | 2618222.5904 | 1149088.6678
37 | 2618218.91 | 1149154.7986 | 2618229.7927 | 1149157.3638
38 | 2618222.5904 | 1149088.6678 | 2618223.409 | 1149073.3609 | 2618228.5262 | 1149048.6804
39 | 2618229.7927 | 1149157.3638 | 2618236.3357 | 1149158.9061
40 | 2618044.4253 | 1149146.6086 | 2618023.7662 | 1149156.3806
41 | 2618050.5291 | 1149143.7214 | 2618044.4253 | 1149146.6086
42 | 2618039.5079 | 1149115.3776 | 2618051.027 | 1149111.1445
43 | 2618069.0724 | 1149104.5131 | 2618051.027 | 1149111.1445
44 | 2618289.2639 | 1149172.2593 | 2618259.4018 | 1149164.6652
45 | 2618259.4018 | 1149164.6652 | 2618254.2003 | 1149163.3424
46 | 2618242.0797 | 1149160.26 | 2618254.2003 | 1149163.3424
47 | 2618445.0183 | 1149098.4803 | 2618421.2311 | 1149093.5002
48 | 2618460.9598 | 1149101.8179 | 2618445.0183 | 1149098.4803
49 | 2618393.3261 | 1149087.658 | 2618421.2311 | 1149093.5002
50 | 2618393.3261 | 1149087.658 | 2618382.3453 | 1149085.3591 | 2618364.9346 | 1149080.278
51 | 2618341.8128 | 1149073.5302 | 2618364.9346 | 1149080.278
52 | 2618302.8825 | 1149063.4609 | 2618314.6505 | 1149068.0896 | 2618328.4351 | 1149073.4065
53 | 2618265.6766 | 1149048.8861 | 2618279.475 | 1149054.2541 | 2618302.8825 | 1149063.4609
54 | 2618341.8128 | 1149073.5302 | 2618335.6242 | 1149076.1794 | 2618328.4351 | 1149073.4065
55 | 2618265.6766 | 1149048.8861 | 2618240.3197 | 1149039.0216
56 | 2618341.8128 | 1149073.5302 | 2618359.8385 | 1149036.7846
57 | 2618372.5832 | 1149010.8705 | 2618368.9679 | 1149018.1742 | 2618359.8385 | 1149036.7846
58 | 2618372.5832 | 1149010.8705 | 2618384.2764 | 1148987.2432
59 | 2618372.5832 | 1149010.8705 | 2618379.0845 | 1149011.4572 | 2618385.4673 | 1149013.1219
60 | 2618384.2764 | 1148987.2432 | 2618390.7597 | 1148974.1431
61 | 2618392.8061 | 1149033.6321 | 2618385.4673 | 1149013.1219
62 | 2618242.0797 | 1149160.26 | 2618236.3357 | 1149158.9061
63 | 2618234.862 | 1148980.4843 | 2618236.3433 | 1148971.5006
64 | 2618234.862 | 1148980.4843 | 2618233.4947 | 1148988.7763
65 | 2618236.3433 | 1148971.5006 | 2618237.1047 | 1148966.8831 | 2618237.1047 | 1148966.8831
66 | 2618238.2193 | 1149012.231 | 2618232.7094 | 1148993.5385 | 2618233.4947 | 1148988.7763
67 | 2618239.6658 | 1148959.0048 | 2618237.1047 | 1148966.8831
68 | 2618238.2193 | 1149012.231 | 2618231.5536 | 1149035.6113
69 | 2618238.2193 | 1149012.231 | 2618280.2642 | 1149006.2373
70 | 2618239.6658 | 1148959.0048 | 2618242.4616 | 1148950.4047
71 | 2618231.5536 | 1149035.6113 | 2618205.8474 | 1149025.8846
72 | 2618231.5536 | 1149035.6113 | 2618230.7247 | 1149038.0767 | 2618228.5262 | 1149048.6804
73 | 2618231.5536 | 1149035.6113 | 2618240.3197 | 1149039.0216
74 | 2618280.2642 | 1149006.2373 | 2618299.3361 | 1148958.2224
75 | 2618242.4616 | 1148950.4047 | 2618243.9787 | 1148945.7379 | 2618244.2105 | 1148943.5753
76 | 2618244.2105 | 1148943.5753 | 2618246.1395 | 1148925.5748
77 | 2618246.1577 | 1148925.4045 | 2618246.1395 | 1148925.5748
78 | 2618248.1038 | 1148908.07 | 2618246.3093 | 1148923.9897 | 2618246.1577 | 1148925.4045
79 | 2618248.1038 | 1148908.07 | 2618249.0627 | 1148899.5638 | 2618260.2467 | 1148889.2847
80 | 2618260.419 | 1148889.1263 | 2618260.2467 | 1148889.2847

## bus_geodata
| x | y | coords
0 | 2618052.3615 | 1149212.264
1 | 2618047.9761 | 1149211.9058
2 | 2618082.3174 | 1149229.8588
3 | 2618004.6731 | 1149200.8131
4 | 2618096.4823 | 1149220.4147
5 | 2618089.0828 | 1149243.0133
6 | 2618003.3207 | 1149199.8843
7 | 2618114.0732 | 1149208.6863
8 | 2618096.3889 | 1149268.6979
9 | 2617993.7771 | 1149191.6235
10 | 2617974.8368 | 1149324.2441
11 | 2618016.4512 | 1149314.7776
12 | 2618124.4912 | 1149201.7403
13 | 2618110.8248 | 1149265.4193
14 | 2618103.0761 | 1149294.2527
15 | 2618124.6769 | 1149262.2732
16 | 2617980.9127 | 1149175.055
17 | 2617963.3492 | 1149146.83
18 | 2617981.6799 | 1149176.2879
19 | 2617981.4003 | 1149135.5349
20 | 2617960.2132 | 1149141.7863
21 | 2617992.3678 | 1149190.0399
22 | 2617996.604 | 1149169.2286
23 | 2618011.5849 | 1149116.6475
24 | 2617954.4231 | 1149132.4737
25 | 2618001.0902 | 1149167.1066
26 | 2618033.8491 | 1149117.4571
27 | 2618013.2588 | 1149108.8598
28 | 2617949.664 | 1149124.8195
29 | 2618019.7948 | 1149158.2591
30 | 2618138.0172 | 1149192.7223
31 | 2618155.1734 | 1149182.2093
32 | 2618184.1973 | 1149167.7851
33 | 2618218.91 | 1149154.7986
34 | 2618222.5904 | 1149088.6678
35 | 2618229.7927 | 1149157.3638
36 | 2618023.7662 | 1149156.3806
37 | 2618044.4253 | 1149146.6086
38 | 2618050.5291 | 1149143.7214
39 | 2618039.5079 | 1149115.3776
40 | 2618010.5763 | 1149104.5195
41 | 2618051.027 | 1149111.1445
42 | 2618069.0724 | 1149104.5131
43 | 2618289.2639 | 1149172.2593
44 | 2618259.4018 | 1149164.6652
45 | 2618254.2003 | 1149163.3424
46 | 2618445.0183 | 1149098.4803
47 | 2618421.2311 | 1149093.5002
48 | 2618460.9598 | 1149101.8179
49 | 2618393.3261 | 1149087.658
50 | 2618364.9346 | 1149080.278
51 | 2618302.8825 | 1149063.4609
52 | 2618328.4351 | 1149073.4065
53 | 2618265.6766 | 1149048.8861
54 | 2618341.8128 | 1149073.5302
55 | 2618359.8385 | 1149036.7846
56 | 2618372.5832 | 1149010.8705
57 | 2618384.2764 | 1148987.2432
58 | 2618385.4673 | 1149013.1219
59 | 2618390.7597 | 1148974.1431
60 | 2618392.8061 | 1149033.6321
61 | 2618242.0797 | 1149160.26
62 | 2618236.3357 | 1149158.9061
63 | 2618234.862 | 1148980.4843
64 | 2618236.3433 | 1148971.5006
65 | 2618233.4947 | 1148988.7763
66 | 2618237.1047 | 1148966.8831
67 | 2618238.2193 | 1149012.231
68 | 2618239.6658 | 1148959.0048
69 | 2618231.5536 | 1149035.6113
70 | 2618280.2642 | 1149006.2373
71 | 2618242.4616 | 1148950.4047
72 | 2618244.2105 | 1148943.5753
73 | 2618246.1395 | 1148925.5748
74 | 2618246.1577 | 1148925.4045
75 | 2618240.3197 | 1149039.0216
76 | 2618205.8474 | 1149025.8846
77 | 2618228.5262 | 1149048.6804
78 | 2618248.1038 | 1148908.07
79 | 2618260.2467 | 1148889.2847
80 | 2618260.419 | 1148889.1263
81 | 2618299.3361 | 1148958.2224
82 | 2618180.1441 | 1149237.178

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1