## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_565-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_565-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_565-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_565-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_565-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_565-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_565-6_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_565-6_0_3_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_565-6_0_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_565-6_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_565-6_0_3_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_565-6_0_3_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_565-6_0_3_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_565-6_0_3_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_565-6_0_3_node_69 | 0.4 | n |  | TRUE
15 | bus_LV_565-6_0_3_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_565-6_0_3_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_565-6_0_3_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_565-6_0_3_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_565-6_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_565-6_0_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_565-6_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_565-6_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_565-6_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_565-6_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_565-6_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_565-6_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_565-6_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_565-6_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_565-6_0_3_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_565-6_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_565-6_0_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_565-6_0_3_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_565-6_0_3_node_78 | 0.4 | n |  | TRUE
34 | bus_LV_565-6_0_3_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_565-6_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_565-6_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_565-6_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_565-6_0_3_node_17 | 0.4 | n |  | TRUE
39 | bus_LV_565-6_0_3_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_565-6_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_565-6_0_3_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_565-6_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_565-6_0_3_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_565-6_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_565-6_0_3_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_565-6_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_565-6_0_3_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_565-6_0_3_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_565-6_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_565-6_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_565-6_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_565-6_0_3_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_565-6_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_565-6_0_3_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_565-6_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_565-6_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_565-6_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_565-6_0_3_node_74 | 0.4 | n |  | TRUE
59 | bus_LV_565-6_0_3_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_565-6_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_565-6_0_3_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_565-6_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_565-6_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_565-6_0_3_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_565-6_0_3_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_565-6_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_565-6_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_565-6_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_565-6_0_3_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_565-6_0_3_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_565-6_0_3_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_565-6_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_565-6_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_MV_194_0_node_94 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_565-6_0_3_load_0 | 0 | 0.00065811 | 0.00016494 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_565-6_0_3_load_1 | 1 | 0.0014227 | 0.00035656 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_565-6_0_3_load_3 | 3 | 0.00054665 | 0.000137 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_565-6_0_3_load_4 | 4 | 0.00062386 | 0.00015635 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_565-6_0_3_load_5 | 5 | 0.00074478 | 0.00018666 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_565-6_0_3_load_58 | 8 | 0.00058401 | 0.00014637 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_565-6_0_3_load_57 | 11 | 0.00029656 | 7.4326e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_565-6_0_3_load_56 | 12 | 0.00042475 | 0.00010645 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_565-6_0_3_load_68 | 13 | 0.0014692 | 0.00036821 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_565-6_0_3_load_69 | 14 | 0.00056416 | 0.00014139 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_565-6_0_3_load_59 | 16 | 0.0011658 | 0.00029217 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_565-6_0_3_load_36 | 17 | 0.00094651 | 0.00023722 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_565-6_0_3_load_32 | 18 | 0.0003686 | 9.238e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_565-6_0_3_load_55 | 20 | 0.0032267 | 0.00080869 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_565-6_0_3_load_8 | 21 | 0.0071706 | 0.0017971 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_565-6_0_3_load_26 | 28 | 0.0012239 | 0.00030673 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_565-6_0_3_load_43 | 29 | 0.0021936 | 0.00054976 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_565-6_0_3_load_16 | 30 | 0.0015296 | 0.00038335 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_565-6_0_3_load_51 | 31 | 0.0039013 | 0.00097776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_565-6_0_3_load_50 | 32 | 0.0015959 | 0.00039996 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_565-6_0_3_load_78 | 33 | 0.0034169 | 0.00085636 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_565-6_0_3_load_52 | 34 | 0.0041353 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_565-6_0_3_load_24 | 35 | 0.0037569 | 0.00094156 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_565-6_0_3_load_25 | 36 | 0.0012405 | 0.00031091 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_565-6_0_3_load_23 | 37 | 0.0070157 | 0.0017583 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_565-6_0_3_load_18 | 39 | 0.0028056 | 0.00070314 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_565-6_0_3_load_22 | 40 | 0.0020298 | 0.00050871 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_565-6_0_3_load_20 | 42 | 0.0040682 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_565-6_0_3_load_21 | 43 | 0.0048117 | 0.0012059 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_565-6_0_3_load_54 | 45 | 0.0020414 | 0.00051162 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_565-6_0_3_load_40 | 46 | 0.001566 | 0.00039246 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_565-6_0_3_load_44 | 47 | 0.0017566 | 0.00044023 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_565-6_0_3_load_27 | 48 | 0.0035125 | 0.00088032 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_565-6_0_3_load_31 | 50 | 0.00036952 | 9.261e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_565-6_0_3_load_33 | 51 | 0.0017084 | 0.00042818 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_565-6_0_3_load_35 | 52 | 0.00048481 | 0.0001215 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_565-6_0_3_load_39 | 54 | 0.0018917 | 0.00047412 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_565-6_0_3_load_37 | 55 | 0.0013759 | 0.00034483 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_565-6_0_3_load_72 | 59 | 0.0017617 | 0.00044154 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_565-6_0_3_load_77 | 63 | 0.0017618 | 0.00044154 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_565-6_0_3_load_73 | 64 | 0.0017613 | 0.00044142 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_565-6_0_3_load_76 | 65 | 0.0017618 | 0.00044154 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_565-6_0_3_load_61 | 67 | 0.00056272 | 0.00014103 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_565-6_0_3_load_65 | 68 | 0.00051068 | 0.00012799 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_565-6_0_3_load_70 | 69 | 0.00095255 | 0.00023873 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_565-6_0_3_load_71 | 70 | 0.0013771 | 0.00034515 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_565-6_0_3_load_60 | 71 | 0.00079145 | 0.00019836 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_565-6_0_3_load_64 | 72 | 0.00057493 | 0.00014409 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_565-6_0_3_load_66 | 73 | 0.0013044 | 0.00032691 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_565-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.050407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_565-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.042788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_565-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.054184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_565-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0094641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_565-6_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_565-6_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.083598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_565-6_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.067997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_565-6_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.072097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_565-6_0_3_line_8 | NAYY 4x150 SE | 6 | 12 | 0.044226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_565-6_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.016104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_565-6_0_3_line_10 | NAYY 4x150 SE | 7 | 13 | 0.045997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_565-6_0_3_line_11 | NAYY 4x150 SE | 7 | 14 | 0.10286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_565-6_0_3_line_12 | NAYY 4x150 SE | 7 | 15 | 0.13082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_565-6_0_3_line_13 | NAYY 4x150 SE | 8 | 16 | 0.033924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_565-6_0_3_line_14 | NAYY 4x150 SE | 9 | 10 | 0.019434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_565-6_0_3_line_15 | NAYY 4x150 SE | 9 | 11 | 0.011946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_565-6_0_3_line_16 | NAYY 4x150 SE | 10 | 17 | 0.022887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_565-6_0_3_line_17 | NAYY 4x150 SE | 10 | 18 | 0.056039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_565-6_0_3_line_18 | NAYY 4x150 SE | 11 | 19 | 0.0061187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_565-6_0_3_line_19 | NAYY 4x150 SE | 12 | 20 | 0.011721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_565-6_0_3_line_20 | NAYY 4x150 SE | 14 | 62 | 0.026013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_565-6_0_3_line_21 | NAYY 4x150 SE | 15 | 68 | 0.0055377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_565-6_0_3_line_22 | NAYY 4x150 SE | 15 | 66 | 0.072011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_565-6_0_3_line_23 | NAYY 4x150 SE | 16 | 69 | 0.032098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_565-6_0_3_line_24 | NAYY 4x150 SE | 17 | 54 | 0.034372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_565-6_0_3_line_25 | NAYY 4x150 SE | 18 | 51 | 0.019657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_565-6_0_3_line_26 | NAYY 4x150 SE | 19 | 49 | 0.045542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_565-6_0_3_line_27 | NAYY 4x150 SE | 20 | 45 | 0.10948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_565-6_0_3_line_28 | NAYY 4x150 SE | 21 | 22 | 0.0049448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_565-6_0_3_line_29 | NAYY 4x150 SE | 22 | 23 | 0.044579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_565-6_0_3_line_30 | NAYY 4x150 SE | 22 | 24 | 0.10628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_565-6_0_3_line_31 | NAYY 4x150 SE | 23 | 31 | 0.028705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_565-6_0_3_line_32 | NAYY 4x150 SE | 23 | 32 | 0.0014778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_565-6_0_3_line_33 | NAYY 4x150 SE | 24 | 33 | 0.050619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_565-6_0_3_line_34 | NAYY 4x150 SE | 25 | 26 | 0.064514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_565-6_0_3_line_35 | NAYY 4x150 SE | 25 | 27 | 0.043459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_565-6_0_3_line_36 | NAYY 4x150 SE | 26 | 34 | 0.047325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_565-6_0_3_line_37 | NAYY 4x150 SE | 26 | 32 | 0.016572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_565-6_0_3_line_38 | NAYY 4x150 SE | 27 | 35 | 0.14543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_565-6_0_3_line_39 | NAYY 4x150 SE | 28 | 29 | 0.091181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_565-6_0_3_line_40 | NAYY 4x150 SE | 28 | 30 | 0.096543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_565-6_0_3_line_41 | NAYY 4x150 SE | 29 | 47 | 0.0022747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_565-6_0_3_line_42 | NAYY 4x150 SE | 30 | 38 | 0.011822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_565-6_0_3_line_43 | NAYY 4x150 SE | 34 | 36 | 0.015329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_565-6_0_3_line_44 | NAYY 4x150 SE | 35 | 37 | 0.030188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_565-6_0_3_line_45 | NAYY 4x150 SE | 37 | 40 | 0.018668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_565-6_0_3_line_46 | NAYY 4x150 SE | 38 | 39 | 0.00076194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_565-6_0_3_line_47 | NAYY 4x150 SE | 39 | 40 | 0.0028125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_565-6_0_3_line_48 | NAYY 4x150 SE | 41 | 42 | 0.043889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_565-6_0_3_line_49 | NAYY 4x150 SE | 41 | 43 | 0.006475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_565-6_0_3_line_50 | NAYY 4x150 SE | 42 | 44 | 0.055639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_565-6_0_3_line_51 | NAYY 4x150 SE | 43 | 45 | 0.046874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_565-6_0_3_line_52 | NAYY 4x150 SE | 44 | 46 | 0.01105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_565-6_0_3_line_53 | NAYY 4x150 SE | 47 | 56 | 0.014788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_565-6_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.028069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_565-6_0_3_line_55 | NAYY 4x150 SE | 49 | 50 | 0.049219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_565-6_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.018061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_565-6_0_3_line_57 | NAYY 4x150 SE | 52 | 53 | 0.027136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_565-6_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.0084969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_565-6_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_565-6_0_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.004963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_565-6_0_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.020449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_565-6_0_3_line_62 | NAYY 4x150 SE | 58 | 63 | 0.025237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_565-6_0_3_line_63 | NAYY 4x150 SE | 59 | 64 | 0.00012539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_565-6_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.013488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_565-6_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.11127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_565-6_0_3_line_66 | NAYY 4x150 SE | 61 | 65 | 0.023202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_565-6_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.0013342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_565-6_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.017513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_565-6_0_3_line_69 | NAYY 4x150 SE | 67 | 71 | 0.0052011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_565-6_0_3_line_70 | NAYY 4x150 SE | 68 | 72 | 0.015871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_565-6_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.032125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_565-6_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.0071201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_565-6_0_3_trafo_16 | 0.25 MVA 20/0.4 kV | 74 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2617467.704 | 1147979.9046 | 2617475.3829 | 1147961.6613 | 2617488.0885 | 1147933.8094
1 | 2617451.1042 | 1148019.3418 | 2617467.704 | 1147979.9046
2 | 2617488.0885 | 1147933.8094 | 2617488.6519 | 1147932.5742 | 2617513.6924 | 1147886.0601
3 | 2617451.1042 | 1148019.3418 | 2617451.2975 | 1148028.8039
4 | 2617451.1042 | 1148019.3418 | 2617463.0575 | 1148016.029
5 | 2617411.1144 | 1147946.5796 | 2617420.0244 | 1147959.1003 | 2617431.007 | 1147974.5395 | 2617432.9802 | 1147977.3244 | 2617441.8171 | 1147993.8469 | 2617451.1042 | 1148019.3418
6 | 2617545.9241 | 1147826.1877 | 2617513.6924 | 1147886.0601
7 | 2617463.0575 | 1148016.029 | 2617511.0867 | 1148002.7181 | 2617532.165 | 1147995.5696
8 | 2617411.1144 | 1147946.5796 | 2617407.008 | 1147940.5982 | 2617386.3504 | 1147914.2147 | 2617384.5518 | 1147911.257
9 | 2617396.0623 | 1147952.3058 | 2617404.3264 | 1147949.1613 | 2617411.1144 | 1147946.5796
10 | 2617545.9241 | 1147826.1877 | 2617512.7265 | 1147823.6792 | 2617499.8934 | 1147824.0533
11 | 2617545.9241 | 1147826.1877 | 2617555.2066 | 1147805.6046 | 2617559.498 | 1147790.1872 | 2617562.0407 | 1147774.0311 | 2617569.4877 | 1147726.6927
12 | 2617545.9241 | 1147826.1877 | 2617567.7957 | 1147820.4706 | 2617575.1883 | 1147818.7024 | 2617585.3417 | 1147818.1761 | 2617592.5696 | 1147817.5857 | 2617623.6544 | 1147823.09 | 2617644.7542 | 1147826.6422 | 2617656.8915 | 1147827.8337 | 2617647.1966 | 1147834.3753 | 2617646.656 | 1147840.6879
13 | 2617532.165 | 1147995.5696 | 2617551.9407 | 1147988.863 | 2617562.9251 | 1147981.8321
14 | 2617396.0623 | 1147952.3058 | 2617380.7766 | 1147951.1724 | 2617376.6439 | 1147951.6719
15 | 2617396.0623 | 1147952.3058 | 2617400.1386 | 1147958.1092 | 2617399.7265 | 1147962.9455
16 | 2617376.6439 | 1147951.6719 | 2617376.2773 | 1147945.6123 | 2617371.7546 | 1147937.5064 | 2617367.0532 | 1147931.6192
17 | 2617376.6439 | 1147951.6719 | 2617366.9819 | 1147957.6248 | 2617354.9833 | 1147967.0061 | 2617341.0321 | 1147979.828 | 2617334.4407 | 1147988.016
18 | 2617398.4258 | 1147968.9207 | 2617399.6935 | 1147963.3328 | 2617399.7265 | 1147962.9455
19 | 2617384.5518 | 1147911.257 | 2617378.4616 | 1147901.242
20 | 2617573.1501 | 1147700.9385 | 2617569.6689 | 1147725.5405 | 2617569.4877 | 1147726.6927
21 | 2617646.656 | 1147840.6879 | 2617641.9173 | 1147843.5533 | 2617641.9173 | 1147843.5533
22 | 2617690.9181 | 1147788.4693 | 2617687.7963 | 1147795.0857 | 2617682.8242 | 1147798.9619 | 2617675.9235 | 1147800.587 | 2617667.4446 | 1147811.4342 | 2617662.4764 | 1147819.2236 | 2617656.8915 | 1147827.8337 | 2617647.1966 | 1147834.3753 | 2617646.656 | 1147840.6879
23 | 2617562.9251 | 1147981.8321 | 2617589.9593 | 1147964.5279
24 | 2617347.1774 | 1147904.0599 | 2617348.5792 | 1147908.0699 | 2617354.5703 | 1147918.2698 | 2617364.2714 | 1147928.1359 | 2617367.0532 | 1147931.6192
25 | 2617334.4407 | 1147988.016 | 2617329.827 | 1147993.7471 | 2617325.4826 | 1148005.254
26 | 2617402.996 | 1148013.856 | 2617401.4821 | 1147976.8779 | 2617398.4258 | 1147968.9207
27 | 2617365.1541 | 1147795.1661 | 2617372.5548 | 1147811.38 | 2617374.1385 | 1147818.766 | 2617374.7518 | 1147827.1496 | 2617370.6801 | 1147862.4998 | 2617371.0437 | 1147880.254 | 2617376.6056 | 1147898.1899 | 2617378.4616 | 1147901.242
28 | 2617261.6725 | 1147249.8976 | 2617265.4115 | 1147253.1334
29 | 2617261.6725 | 1147249.8976 | 2617258.765 | 1147259.5274 | 2617248.779 | 1147292.5707
30 | 2617307.8853 | 1147171.1798 | 2617293.7023 | 1147178.5207 | 2617279.4715 | 1147186.495 | 2617260.8968 | 1147201.4827 | 2617257.3474 | 1147215.3794 | 2617255.1081 | 1147233.0706 | 2617261.6725 | 1147249.8976
31 | 2617248.779 | 1147292.5707 | 2617258.3523 | 1147296.4888 | 2617263.615 | 1147293.1133 | 2617262.8114 | 1147286.7523 | 2617267.9642 | 1147284.2102
32 | 2617248.779 | 1147292.5707 | 2617248.3894 | 1147293.9962
33 | 2617307.8853 | 1147171.1798 | 2617319.0735 | 1147166.3762 | 2617345.0191 | 1147154.8559 | 2617353.9665 | 1147150.2676
34 | 2617307.2397 | 1147324.2644 | 2617244.1367 | 1147310.0105
35 | 2617307.2397 | 1147324.2644 | 2617309.3374 | 1147329.2728 | 2617310.1566 | 1147332.8325 | 2617313.3576 | 1147346.7707 | 2617314.6471 | 1147352.366 | 2617311.1821 | 1147366.2741
36 | 2617244.1367 | 1147310.0105 | 2617225.2641 | 1147305.7435 | 2617218.5524 | 1147310.9603 | 2617223.8578 | 1147329.699
37 | 2617244.1367 | 1147310.0105 | 2617244.7045 | 1147307.4775 | 2617248.3894 | 1147293.9962
38 | 2617311.1821 | 1147366.2741 | 2617328.4436 | 1147385.9443 | 2617329.8122 | 1147414.8846 | 2617328.1183 | 1147437.8466 | 2617323.3821 | 1147466.5694 | 2617321.4932 | 1147495.9451 | 2617323.2845 | 1147503.2983 | 2617323.5554 | 1147504.4103
39 | 2617534.8828 | 1147545.8631 | 2617443.7814 | 1147542.0526
40 | 2617443.7814 | 1147542.0526 | 2617349.5296 | 1147562.9604
41 | 2617534.8828 | 1147545.8631 | 2617536.4615 | 1147547.5007
42 | 2617344.501 | 1147552.261 | 2617349.5296 | 1147562.9604
43 | 2617228.0337 | 1147344.4482 | 2617223.8578 | 1147329.699
44 | 2617334.7161 | 1147532.2869 | 2617326.0246 | 1147514.545 | 2617323.5554 | 1147504.4103
45 | 2617342.9285 | 1147549.051 | 2617334.7161 | 1147532.2869
46 | 2617344.501 | 1147552.261 | 2617344.1658 | 1147551.5767
47 | 2617342.9285 | 1147549.051 | 2617344.1658 | 1147551.5767
48 | 2617349.7392 | 1147744.704 | 2617332.7396 | 1147743.8659 | 2617321.3415 | 1147741.8878 | 2617316.2111 | 1147736.7373 | 2617311.4501 | 1147730.2706
49 | 2617349.7392 | 1147744.704 | 2617350.1464 | 1147751.1661
50 | 2617276.3899 | 1147759.6124 | 2617282.3713 | 1147757.1728 | 2617287.7484 | 1147748.5617 | 2617290.654 | 1147742.2113 | 2617297.2827 | 1147728.2679 | 2617303.673 | 1147725.2068 | 2617309.8466 | 1147728.0926 | 2617311.4501 | 1147730.2706
51 | 2617350.1464 | 1147751.1661 | 2617350.6205 | 1147758.6911 | 2617355.3921 | 1147773.7789 | 2617365.1541 | 1147795.1661
52 | 2617276.3899 | 1147759.6124 | 2617282.3118 | 1147768.9413
53 | 2617546.7251 | 1147558.1471 | 2617536.4615 | 1147547.5007
54 | 2617402.996 | 1148013.856 | 2617392.7101 | 1148039.9724
55 | 2617402.996 | 1148013.856 | 2617397.5527 | 1148045.467 | 2617390.4723 | 1148061.0792
56 | 2617325.4826 | 1148005.254 | 2617319.1033 | 1148022.1508
57 | 2617304.8997 | 1148045.1677 | 2617317.6478 | 1148026.0059 | 2617319.1033 | 1148022.1508
58 | 2617304.8997 | 1148045.1677 | 2617296.4055 | 1148044.9522
59 | 2617553.4726 | 1147553.8201 | 2617546.7251 | 1147558.1471
60 | 2617553.4726 | 1147553.8201 | 2617557.6046 | 1147551.053
61 | 2617553.4726 | 1147553.8201 | 2617556.2832 | 1147556.5296 | 2617565.8649 | 1147570.0182
62 | 2617557.6046 | 1147551.053 | 2617560.1318 | 1147548.1922 | 2617565.356 | 1147550.1084 | 2617574.5362 | 1147563.0361
63 | 2617565.8649 | 1147570.0182 | 2617565.9375 | 1147570.1204
64 | 2617582.7518 | 1147594.4474 | 2617584.6157 | 1147592.563 | 2617586.4281 | 1147589.9336 | 2617589.0983 | 1147582.7712
65 | 2617573.1501 | 1147700.9385 | 2617576.0354 | 1147680.5369 | 2617576.0521 | 1147674.7896 | 2617576.6525 | 1147655.8265 | 2617577.9833 | 1147647.1039 | 2617575.4708 | 1147615.859 | 2617574.4776 | 1147611.4761 | 2617572.8701 | 1147604.4013 | 2617582.7518 | 1147594.4474
66 | 2617589.0983 | 1147582.7712 | 2617584.5072 | 1147577.0773 | 2617575.3087 | 1147564.1239
67 | 2617575.3087 | 1147564.1239 | 2617574.5362 | 1147563.0361
68 | 2617690.9181 | 1147788.4693 | 2617685.9984 | 1147779.6617 | 2617684.1142 | 1147772.4807
69 | 2617682.7942 | 1147767.4499 | 2617684.1142 | 1147772.4807
70 | 2617638.1654 | 1147858.2162 | 2617637.04 | 1147854.4111 | 2617641.9173 | 1147843.5533
71 | 2617589.9593 | 1147964.5279 | 2617594.3848 | 1147961.6952 | 2617617.9663 | 1147948.8131 | 2617617.9663 | 1147948.8131
72 | 2617638.1654 | 1147858.2162 | 2617638.1654 | 1147858.2162 | 2617633.5747 | 1147863.6588

## bus_geodata
| x | y | coords
0 | 2617467.704 | 1147979.9046
1 | 2617488.0885 | 1147933.8094
2 | 2617451.1042 | 1148019.3418
3 | 2617513.6924 | 1147886.0601
4 | 2617451.2975 | 1148028.8039
5 | 2617463.0575 | 1148016.029
6 | 2617411.1144 | 1147946.5796
7 | 2617545.9241 | 1147826.1877
8 | 2617532.165 | 1147995.5696
9 | 2617396.0624 | 1147952.3058
10 | 2617376.6439 | 1147951.6719
11 | 2617399.7265 | 1147962.9455
12 | 2617384.5518 | 1147911.257
13 | 2617499.8934 | 1147824.0533
14 | 2617569.4877 | 1147726.6927
15 | 2617646.656 | 1147840.6879
16 | 2617562.9251 | 1147981.8321
17 | 2617367.0532 | 1147931.6192
18 | 2617334.4407 | 1147988.016
19 | 2617398.4258 | 1147968.9207
20 | 2617378.4616 | 1147901.242
21 | 2617265.4115 | 1147253.1334
22 | 2617261.6725 | 1147249.8976
23 | 2617248.779 | 1147292.5707
24 | 2617307.8853 | 1147171.1798
25 | 2617307.2397 | 1147324.2644
26 | 2617244.1367 | 1147310.0105
27 | 2617311.1821 | 1147366.2741
28 | 2617443.7814 | 1147542.0526
29 | 2617534.8828 | 1147545.8631
30 | 2617349.5296 | 1147562.9604
31 | 2617267.9642 | 1147284.2102
32 | 2617248.3894 | 1147293.9962
33 | 2617353.9665 | 1147150.2676
34 | 2617223.8578 | 1147329.6991
35 | 2617323.5554 | 1147504.4103
36 | 2617228.0337 | 1147344.4482
37 | 2617334.7161 | 1147532.2869
38 | 2617344.501 | 1147552.261
39 | 2617344.1658 | 1147551.5767
40 | 2617342.9285 | 1147549.051
41 | 2617349.7392 | 1147744.704
42 | 2617311.4501 | 1147730.2706
43 | 2617350.1464 | 1147751.1661
44 | 2617276.3899 | 1147759.6124
45 | 2617365.1541 | 1147795.1661
46 | 2617282.3118 | 1147768.9413
47 | 2617536.4615 | 1147547.5007
48 | 2617392.7101 | 1148039.9724
49 | 2617402.996 | 1148013.856
50 | 2617390.4723 | 1148061.0792
51 | 2617325.4826 | 1148005.254
52 | 2617319.1033 | 1148022.1508
53 | 2617304.8997 | 1148045.1677
54 | 2617347.1774 | 1147904.0599
55 | 2617296.4055 | 1148044.9522
56 | 2617546.7251 | 1147558.1471
57 | 2617553.4726 | 1147553.8201
58 | 2617557.6046 | 1147551.053
59 | 2617565.8649 | 1147570.0182
60 | 2617582.7518 | 1147594.4474
61 | 2617589.0983 | 1147582.7712
62 | 2617573.1501 | 1147700.9385
63 | 2617574.5362 | 1147563.0361
64 | 2617565.9375 | 1147570.1204
65 | 2617575.3087 | 1147564.1239
66 | 2617690.9181 | 1147788.4693
67 | 2617684.1142 | 1147772.4807
68 | 2617641.9173 | 1147843.5533
69 | 2617589.9593 | 1147964.5279
70 | 2617617.9663 | 1147948.8131
71 | 2617682.7942 | 1147767.4499
72 | 2617638.1654 | 1147858.2162
73 | 2617633.5747 | 1147863.6588
74 | 2617344.501 | 1147552.261

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1