## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_567-3_1_2_node_7 | 0.4 | n |  | TRUE
1 | bus_LV_567-3_1_2_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_567-3_1_2_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_567-3_1_2_node_379 | 0.4 | n |  | TRUE
4 | bus_LV_567-3_1_2_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_567-3_1_2_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_567-3_1_2_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_567-3_1_2_node_367 | 0.4 | n |  | TRUE
8 | bus_LV_567-3_1_2_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_567-3_1_2_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_567-3_1_2_node_381 | 0.4 | n |  | TRUE
11 | bus_LV_567-3_1_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_567-3_1_2_node_266 | 0.4 | n |  | TRUE
13 | bus_LV_567-3_1_2_node_267 | 0.4 | n |  | TRUE
14 | bus_LV_567-3_1_2_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_567-3_1_2_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_567-3_1_2_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_567-3_1_2_node_119 | 0.4 | n |  | TRUE
18 | bus_LV_567-3_1_2_node_121 | 0.4 | n |  | TRUE
19 | bus_LV_567-3_1_2_node_208 | 0.4 | n |  | TRUE
20 | bus_LV_567-3_1_2_node_196 | 0.4 | n |  | TRUE
21 | bus_LV_567-3_1_2_node_198 | 0.4 | n |  | TRUE
22 | bus_LV_567-3_1_2_node_197 | 0.4 | n |  | TRUE
23 | bus_LV_567-3_1_2_node_199 | 0.4 | n |  | TRUE
24 | bus_LV_567-3_1_2_node_200 | 0.4 | n |  | TRUE
25 | bus_LV_567-3_1_2_node_201 | 0.4 | n |  | TRUE
26 | bus_LV_567-3_1_2_node_202 | 0.4 | n |  | TRUE
27 | bus_LV_567-3_1_2_node_231 | 0.4 | n |  | TRUE
28 | bus_LV_567-3_1_2_node_229 | 0.4 | n |  | TRUE
29 | bus_LV_567-3_1_2_node_230 | 0.4 | n |  | TRUE
30 | bus_LV_567-3_1_2_node_203 | 0.4 | n |  | TRUE
31 | bus_LV_567-3_1_2_node_234 | 0.4 | n |  | TRUE
32 | bus_LV_567-3_1_2_node_221 | 0.4 | n |  | TRUE
33 | bus_LV_567-3_1_2_node_204 | 0.4 | n |  | TRUE
34 | bus_LV_567-3_1_2_node_205 | 0.4 | n |  | TRUE
35 | bus_LV_567-3_1_2_node_206 | 0.4 | n |  | TRUE
36 | bus_LV_567-3_1_2_node_279 | 0.4 | n |  | TRUE
37 | bus_LV_567-3_1_2_node_207 | 0.4 | n |  | TRUE
38 | bus_LV_567-3_1_2_node_403 | 0.4 | n |  | TRUE
39 | bus_LV_567-3_1_2_node_209 | 0.4 | n |  | TRUE
40 | bus_LV_567-3_1_2_node_210 | 0.4 | n |  | TRUE
41 | bus_LV_567-3_1_2_node_218 | 0.4 | n |  | TRUE
42 | bus_LV_567-3_1_2_node_216 | 0.4 | n |  | TRUE
43 | bus_LV_567-3_1_2_node_211 | 0.4 | n |  | TRUE
44 | bus_LV_567-3_1_2_node_212 | 0.4 | n |  | TRUE
45 | bus_LV_567-3_1_2_node_213 | 0.4 | n |  | TRUE
46 | bus_LV_567-3_1_2_node_214 | 0.4 | n |  | TRUE
47 | bus_LV_567-3_1_2_node_215 | 0.4 | n |  | TRUE
48 | bus_LV_567-3_1_2_node_217 | 0.4 | n |  | TRUE
49 | bus_LV_567-3_1_2_node_219 | 0.4 | n |  | TRUE
50 | bus_LV_567-3_1_2_node_246 | 0.4 | n |  | TRUE
51 | bus_LV_567-3_1_2_node_390 | 0.4 | n |  | TRUE
52 | bus_LV_567-3_1_2_node_232 | 0.4 | n |  | TRUE
53 | bus_LV_567-3_1_2_node_233 | 0.4 | n |  | TRUE
54 | bus_LV_567-3_1_2_node_252 | 0.4 | n |  | TRUE
55 | bus_LV_567-3_1_2_node_235 | 0.4 | n |  | TRUE
56 | bus_LV_567-3_1_2_node_236 | 0.4 | n |  | TRUE
57 | bus_LV_567-3_1_2_node_239 | 0.4 | n |  | TRUE
58 | bus_LV_567-3_1_2_node_240 | 0.4 | n |  | TRUE
59 | bus_LV_567-3_1_2_node_237 | 0.4 | n |  | TRUE
60 | bus_LV_567-3_1_2_node_238 | 0.4 | n |  | TRUE
61 | bus_LV_567-3_1_2_node_396 | 0.4 | n |  | TRUE
62 | bus_LV_567-3_1_2_node_241 | 0.4 | n |  | TRUE
63 | bus_LV_567-3_1_2_node_242 | 0.4 | n |  | TRUE
64 | bus_LV_567-3_1_2_node_243 | 0.4 | n |  | TRUE
65 | bus_LV_567-3_1_2_node_268 | 0.4 | n |  | TRUE
66 | bus_LV_567-3_1_2_node_269 | 0.4 | n |  | TRUE
67 | bus_LV_567-3_1_2_node_270 | 0.4 | n |  | TRUE
68 | bus_LV_567-3_1_2_node_254 | 0.4 | n |  | TRUE
69 | bus_LV_567-3_1_2_node_244 | 0.4 | n |  | TRUE
70 | bus_LV_567-3_1_2_node_245 | 0.4 | n |  | TRUE
71 | bus_LV_567-3_1_2_node_247 | 0.4 | n |  | TRUE
72 | bus_LV_567-3_1_2_node_248 | 0.4 | n |  | TRUE
73 | bus_LV_567-3_1_2_node_457 | 0.4 | n |  | TRUE
74 | bus_LV_567-3_1_2_node_249 | 0.4 | n |  | TRUE
75 | bus_LV_567-3_1_2_node_250 | 0.4 | n |  | TRUE
76 | bus_LV_567-3_1_2_node_251 | 0.4 | n |  | TRUE
77 | bus_LV_567-3_1_2_node_273 | 0.4 | n |  | TRUE
78 | bus_LV_567-3_1_2_node_456 | 0.4 | n |  | TRUE
79 | bus_LV_567-3_1_2_node_271 | 0.4 | n |  | TRUE
80 | bus_LV_567-3_1_2_node_253 | 0.4 | n |  | TRUE
81 | bus_LV_567-3_1_2_node_391 | 0.4 | n |  | TRUE
82 | bus_LV_567-3_1_2_node_392 | 0.4 | n |  | TRUE
83 | bus_LV_567-3_1_2_node_272 | 0.4 | n |  | TRUE
84 | bus_LV_567-3_1_2_node_458 | 0.4 | n |  | TRUE
85 | bus_LV_567-3_1_2_node_414 | 0.4 | n |  | TRUE
86 | bus_LV_567-3_1_2_node_293 | 0.4 | n |  | TRUE
87 | bus_LV_567-3_1_2_node_294 | 0.4 | n |  | TRUE
88 | bus_LV_567-3_1_2_node_297 | 0.4 | n |  | TRUE
89 | bus_LV_567-3_1_2_node_298 | 0.4 | n |  | TRUE
90 | bus_LV_567-3_1_2_node_299 | 0.4 | n |  | TRUE
91 | bus_LV_567-3_1_2_node_295 | 0.4 | n |  | TRUE
92 | bus_LV_567-3_1_2_node_296 | 0.4 | n |  | TRUE
93 | bus_LV_567-3_1_2_node_386 | 0.4 | n |  | TRUE
94 | bus_LV_567-3_1_2_node_302 | 0.4 | n |  | TRUE
95 | bus_LV_567-3_1_2_node_301 | 0.4 | n |  | TRUE
96 | bus_LV_567-3_1_2_node_345 | 0.4 | n |  | TRUE
97 | bus_LV_567-3_1_2_node_348 | 0.4 | n |  | TRUE
98 | bus_LV_567-3_1_2_node_335 | 0.4 | n |  | TRUE
99 | bus_LV_567-3_1_2_node_336 | 0.4 | n |  | TRUE
100 | bus_LV_567-3_1_2_node_423 | 0.4 | n |  | TRUE
101 | bus_LV_567-3_1_2_node_339 | 0.4 | n |  | TRUE
102 | bus_LV_567-3_1_2_node_388 | 0.4 | n |  | TRUE
103 | bus_LV_567-3_1_2_node_344 | 0.4 | n |  | TRUE
104 | bus_LV_567-3_1_2_node_346 | 0.4 | n |  | TRUE
105 | bus_LV_567-3_1_2_node_347 | 0.4 | n |  | TRUE
106 | bus_LV_567-3_1_2_node_368 | 0.4 | n |  | TRUE
107 | bus_LV_567-3_1_2_node_369 | 0.4 | n |  | TRUE
108 | bus_LV_567-3_1_2_node_370 | 0.4 | n |  | TRUE
109 | bus_LV_567-3_1_2_node_371 | 0.4 | n |  | TRUE
110 | bus_LV_567-3_1_2_node_382 | 0.4 | n |  | TRUE
111 | bus_LV_567-3_1_2_node_380 | 0.4 | n |  | TRUE
112 | bus_LV_567-3_1_2_node_383 | 0.4 | n |  | TRUE
113 | bus_LV_567-3_1_2_node_400 | 0.4 | n |  | TRUE
114 | bus_LV_567-3_1_2_node_384 | 0.4 | n |  | TRUE
115 | bus_LV_567-3_1_2_node_387 | 0.4 | n |  | TRUE
116 | bus_LV_567-3_1_2_node_389 | 0.4 | n |  | TRUE
117 | bus_LV_567-3_1_2_node_393 | 0.4 | n |  | TRUE
118 | bus_LV_567-3_1_2_node_394 | 0.4 | n |  | TRUE
119 | bus_LV_567-3_1_2_node_395 | 0.4 | n |  | TRUE
120 | bus_LV_567-3_1_2_node_397 | 0.4 | n |  | TRUE
121 | bus_LV_567-3_1_2_node_398 | 0.4 | n |  | TRUE
122 | bus_LV_567-3_1_2_node_399 | 0.4 | n |  | TRUE
123 | bus_LV_567-3_1_2_node_401 | 0.4 | n |  | TRUE
124 | bus_LV_567-3_1_2_node_402 | 0.4 | n |  | TRUE
125 | bus_LV_567-3_1_2_node_404 | 0.4 | n |  | TRUE
126 | bus_LV_567-3_1_2_node_409 | 0.4 | n |  | TRUE
127 | bus_LV_567-3_1_2_node_419 | 0.4 | n |  | TRUE
128 | bus_LV_567-3_1_2_node_412 | 0.4 | n |  | TRUE
129 | bus_LV_567-3_1_2_node_421 | 0.4 | n |  | TRUE
130 | bus_MV_0_node_254 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_567-3_1_2_load_7 | 0 | 0.00032964 | 8.2616e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_567-3_1_2_load_21 | 2 | 0.0002449 | 6.1379e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_567-3_1_2_load_12 | 4 | 0.00014685 | 3.6805e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_567-3_1_2_load_13 | 5 | 0.00030704 | 7.6951e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_567-3_1_2_load_367 | 7 | 0.00056039 | 0.00014045 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_567-3_1_2_load_20 | 9 | 0.00065136 | 0.00016325 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_567-3_1_2_load_266 | 12 | 0.00017424 | 4.3669e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_567-3_1_2_load_51 | 14 | 0.0001939 | 4.8597e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_567-3_1_2_load_52 | 15 | 0.00056042 | 0.00014045 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_567-3_1_2_load_53 | 16 | 0.00036321 | 9.1029e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_567-3_1_2_load_119 | 17 | 0.00013887 | 3.4805e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_567-3_1_2_load_121 | 18 | 7.7134e-05 | 1.9332e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_567-3_1_2_load_208 | 19 | 0.00031142 | 7.805e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_567-3_1_2_load_196 | 20 | 0.00028507 | 7.1446e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_567-3_1_2_load_197 | 22 | 7.311e-05 | 1.8323e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_567-3_1_2_load_199 | 23 | 7.3286e-05 | 1.8367e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_567-3_1_2_load_202 | 26 | 0.0001074 | 2.6916e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_567-3_1_2_load_229 | 28 | 0.0006026 | 0.00015103 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_567-3_1_2_load_234 | 31 | 0.00015862 | 3.9754e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_567-3_1_2_load_204 | 33 | 9.6081e-05 | 2.408e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_567-3_1_2_load_205 | 34 | 0.00033797 | 8.4703e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_567-3_1_2_load_206 | 35 | 8.837e-05 | 2.2148e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_567-3_1_2_load_403 | 38 | 0.00025717 | 6.4452e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_567-3_1_2_load_210 | 40 | 0.00057331 | 0.00014368 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_567-3_1_2_load_218 | 41 | 0.0002245 | 5.6266e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_567-3_1_2_load_216 | 42 | 0.0003148 | 7.8897e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_567-3_1_2_load_211 | 43 | 0.00020286 | 5.084e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_567-3_1_2_load_212 | 44 | 0.00012725 | 3.1893e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_567-3_1_2_load_213 | 45 | 0.0001559 | 3.9071e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_567-3_1_2_load_214 | 46 | 8.7619e-05 | 2.1959e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_567-3_1_2_load_215 | 47 | 0.00013632 | 3.4165e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_567-3_1_2_load_219 | 49 | 0.00023466 | 5.881e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_567-3_1_2_load_390 | 51 | 0.00022997 | 5.7636e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_567-3_1_2_load_233 | 53 | 8.5061e-05 | 2.1318e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_567-3_1_2_load_252 | 54 | 0.00014727 | 3.691e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_567-3_1_2_load_235 | 55 | 9.1807e-05 | 2.3009e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_567-3_1_2_load_240 | 58 | 8.338e-05 | 2.0897e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_567-3_1_2_load_237 | 59 | 7.2928e-05 | 1.8277e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_567-3_1_2_load_238 | 60 | 9.1559e-05 | 2.2947e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_567-3_1_2_load_396 | 61 | 0.00016806 | 4.2119e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_567-3_1_2_load_242 | 63 | 0.0001365 | 3.4211e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_567-3_1_2_load_268 | 65 | 0.00019959 | 5.0023e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_567-3_1_2_load_269 | 66 | 0.00014907 | 3.7361e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_567-3_1_2_load_270 | 67 | 0.00035356 | 8.8611e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_567-3_1_2_load_254 | 68 | 7.2483e-05 | 1.8166e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_567-3_1_2_load_244 | 69 | 0.00015531 | 3.8925e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_567-3_1_2_load_245 | 70 | 9.2964e-05 | 2.3299e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_567-3_1_2_load_248 | 72 | 0.00025828 | 6.4732e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_567-3_1_2_load_457 | 73 | 0.00016154 | 4.0485e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_567-3_1_2_load_250 | 75 | 0.00027114 | 6.7954e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_567-3_1_2_load_251 | 76 | 0.00018779 | 4.7064e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_567-3_1_2_load_273 | 77 | 0.00011402 | 2.8577e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_567-3_1_2_load_456 | 78 | 7.5939e-05 | 1.9032e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_567-3_1_2_load_271 | 79 | 0.00013041 | 3.2685e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_567-3_1_2_load_253 | 80 | 0.00013725 | 3.4398e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_567-3_1_2_load_391 | 81 | 0.00010384 | 2.6024e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_567-3_1_2_load_392 | 82 | 0.00019406 | 4.8636e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_567-3_1_2_load_272 | 83 | 0.00012978 | 3.2525e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_567-3_1_2_load_414 | 85 | 0.00020286 | 5.0842e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_567-3_1_2_load_293 | 86 | 0.00022992 | 5.7623e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_567-3_1_2_load_298 | 89 | 0.00010096 | 2.5303e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_567-3_1_2_load_296 | 92 | 0.00035928 | 9.0044e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_567-3_1_2_load_302 | 94 | 0.0001685 | 4.2231e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_567-3_1_2_load_301 | 95 | 9.8486e-05 | 2.4683e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_567-3_1_2_load_345 | 96 | 9.0444e-05 | 2.2667e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_567-3_1_2_load_348 | 97 | 9.1475e-05 | 2.2926e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_567-3_1_2_load_335 | 98 | 0.00012485 | 3.129e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_567-3_1_2_load_336 | 99 | 0.00021094 | 5.2867e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_567-3_1_2_load_423 | 100 | 8.9032e-05 | 2.2313e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_567-3_1_2_load_339 | 101 | 9.8052e-05 | 2.4574e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_567-3_1_2_load_388 | 102 | 0.00011214 | 2.8105e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_567-3_1_2_load_344 | 103 | 0.00019185 | 4.8082e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_567-3_1_2_load_371 | 109 | 0.00011237 | 2.8162e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_567-3_1_2_load_382 | 110 | 0.00014544 | 3.6451e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_567-3_1_2_load_380 | 111 | 0.00048376 | 0.00012124 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_567-3_1_2_load_383 | 112 | 0.00058137 | 0.0001457 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_567-3_1_2_load_400 | 113 | 0.00021767 | 5.4554e-05 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_567-3_1_2_load_384 | 114 | 0.0006232 | 0.00015619 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_567-3_1_2_load_387 | 115 | 0.00021269 | 5.3305e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_567-3_1_2_load_389 | 116 | 0.00018537 | 4.6458e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_567-3_1_2_load_395 | 119 | 0.0001237 | 3.1003e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_567-3_1_2_load_397 | 120 | 0.00019261 | 4.8272e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_567-3_1_2_load_398 | 121 | 0.00012471 | 3.1255e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_567-3_1_2_load_401 | 123 | 0.00010883 | 2.7276e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_567-3_1_2_load_402 | 124 | 0.00035609 | 8.9244e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_567-3_1_2_load_404 | 125 | 0.00016315 | 4.0889e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_567-3_1_2_load_409 | 126 | 0.00024901 | 6.2408e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_567-3_1_2_load_419 | 127 | 0.00017844 | 4.4722e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_567-3_1_2_load_421 | 129 | 9.5e-05 | 2.3809e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_567-3_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.065505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_567-3_1_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.11379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_567-3_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.22945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_567-3_1_2_line_3 | NAYY 4x150 SE | 2 | 8 | 0.022035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_567-3_1_2_line_4 | NAYY 4x150 SE | 3 | 111 | 0.028058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_567-3_1_2_line_5 | NAYY 4x150 SE | 3 | 109 | 0.19367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_567-3_1_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.11214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_567-3_1_2_line_7 | NAYY 4x150 SE | 5 | 6 | 1.006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_567-3_1_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.38098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_567-3_1_2_line_9 | NAYY 4x150 SE | 6 | 16 | 0.19006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_567-3_1_2_line_10 | NAYY 4x150 SE | 7 | 106 | 0.10475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_567-3_1_2_line_11 | NAYY 4x150 SE | 8 | 9 | 0.14973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_567-3_1_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.12911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_567-3_1_2_line_13 | NAYY 4x150 SE | 10 | 112 | 0.12538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_567-3_1_2_line_14 | NAYY 4x150 SE | 10 | 11 | 0.29094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_567-3_1_2_line_15 | NAYY 4x150 SE | 11 | 12 | 0.065927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_567-3_1_2_line_16 | NAYY 4x150 SE | 11 | 13 | 0.18037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_567-3_1_2_line_17 | NAYY 4x150 SE | 13 | 81 | 0.053419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_567-3_1_2_line_18 | NAYY 4x150 SE | 13 | 53 | 0.17583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_567-3_1_2_line_19 | NAYY 4x150 SE | 14 | 15 | 0.0034426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_567-3_1_2_line_20 | NAYY 4x150 SE | 15 | 16 | 0.0031024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_567-3_1_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.063085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_567-3_1_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0070515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_567-3_1_2_line_23 | NAYY 4x150 SE | 19 | 35 | 0.01573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_567-3_1_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.036641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_567-3_1_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.1175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_567-3_1_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.0010526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_567-3_1_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.11493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_567-3_1_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.032479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_567-3_1_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.090617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_567-3_1_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.090837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_567-3_1_2_line_31 | NAYY 4x150 SE | 26 | 29 | 0.096483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_567-3_1_2_line_32 | NAYY 4x150 SE | 27 | 52 | 0.005411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_567-3_1_2_line_33 | NAYY 4x150 SE | 27 | 53 | 0.048349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_567-3_1_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.027009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_567-3_1_2_line_35 | NAYY 4x150 SE | 29 | 30 | 0.1266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_567-3_1_2_line_36 | NAYY 4x150 SE | 30 | 31 | 0.030434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_567-3_1_2_line_37 | NAYY 4x150 SE | 30 | 32 | 0.084376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_567-3_1_2_line_38 | NAYY 4x150 SE | 32 | 51 | 0.019361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_567-3_1_2_line_39 | NAYY 4x150 SE | 32 | 49 | 0.087805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_567-3_1_2_line_40 | NAYY 4x150 SE | 33 | 34 | 0.029319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_567-3_1_2_line_41 | NAYY 4x150 SE | 33 | 35 | 0.15401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_567-3_1_2_line_42 | NAYY 4x150 SE | 33 | 36 | 0.1462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_567-3_1_2_line_43 | NAYY 4x150 SE | 34 | 37 | 0.079788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_567-3_1_2_line_44 | NAYY 4x150 SE | 34 | 38 | 0.19155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_567-3_1_2_line_45 | NAYY 4x150 SE | 36 | 85 | 0.18811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_567-3_1_2_line_46 | NAYY 4x150 SE | 37 | 39 | 0.038921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_567-3_1_2_line_47 | NAYY 4x150 SE | 37 | 40 | 0.048962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_567-3_1_2_line_48 | NAYY 4x150 SE | 38 | 125 | 0.010271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_567-3_1_2_line_49 | NAYY 4x150 SE | 39 | 41 | 0.12244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_567-3_1_2_line_50 | NAYY 4x150 SE | 40 | 42 | 0.032363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_567-3_1_2_line_51 | NAYY 4x150 SE | 41 | 50 | 0.083179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_567-3_1_2_line_52 | NAYY 4x150 SE | 42 | 46 | 0.019923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_567-3_1_2_line_53 | NAYY 4x150 SE | 43 | 44 | 0.039281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_567-3_1_2_line_54 | NAYY 4x150 SE | 43 | 45 | 0.029963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_567-3_1_2_line_55 | NAYY 4x150 SE | 44 | 46 | 0.046374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_567-3_1_2_line_56 | NAYY 4x150 SE | 45 | 47 | 0.16422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_567-3_1_2_line_57 | NAYY 4x150 SE | 47 | 48 | 0.11113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_567-3_1_2_line_58 | NAYY 4x150 SE | 48 | 49 | 0.025765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_567-3_1_2_line_59 | NAYY 4x150 SE | 50 | 72 | 0.15108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_567-3_1_2_line_60 | NAYY 4x150 SE | 50 | 73 | 0.26548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_567-3_1_2_line_61 | NAYY 4x150 SE | 52 | 54 | 0.01636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_567-3_1_2_line_62 | NAYY 4x150 SE | 54 | 80 | 0.011592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_567-3_1_2_line_63 | NAYY 4x150 SE | 55 | 56 | 0.013255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_567-3_1_2_line_64 | NAYY 4x150 SE | 56 | 57 | 0.20391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_567-3_1_2_line_65 | NAYY 4x150 SE | 56 | 58 | 0.061381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_567-3_1_2_line_66 | NAYY 4x150 SE | 57 | 62 | 0.35467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_567-3_1_2_line_67 | NAYY 4x150 SE | 57 | 63 | 0.03439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_567-3_1_2_line_68 | NAYY 4x150 SE | 58 | 64 | 0.022093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_567-3_1_2_line_69 | NAYY 4x150 SE | 59 | 60 | 0.15921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_567-3_1_2_line_70 | NAYY 4x150 SE | 60 | 61 | 0.17924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_567-3_1_2_line_71 | NAYY 4x150 SE | 61 | 118 | 0.073433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_567-3_1_2_line_72 | NAYY 4x150 SE | 62 | 65 | 0.2777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_567-3_1_2_line_73 | NAYY 4x150 SE | 62 | 66 | 0.011028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_567-3_1_2_line_74 | NAYY 4x150 SE | 64 | 67 | 0.026778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_567-3_1_2_line_75 | NAYY 4x150 SE | 64 | 68 | 0.061539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_567-3_1_2_line_76 | NAYY 4x150 SE | 66 | 82 | 0.080344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_567-3_1_2_line_77 | NAYY 4x150 SE | 68 | 80 | 0.15857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_567-3_1_2_line_78 | NAYY 4x150 SE | 69 | 70 | 0.0074125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_567-3_1_2_line_79 | NAYY 4x150 SE | 70 | 71 | 0.0069006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_567-3_1_2_line_80 | NAYY 4x150 SE | 71 | 74 | 0.09868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_567-3_1_2_line_81 | NAYY 4x150 SE | 71 | 75 | 0.13404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_567-3_1_2_line_82 | NAYY 4x150 SE | 72 | 76 | 0.15453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_567-3_1_2_line_83 | NAYY 4x150 SE | 73 | 84 | 0.070394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_567-3_1_2_line_84 | NAYY 4x150 SE | 74 | 77 | 0.23536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_567-3_1_2_line_85 | NAYY 4x150 SE | 74 | 78 | 0.24746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_567-3_1_2_line_86 | NAYY 4x150 SE | 75 | 79 | 0.17574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_567-3_1_2_line_87 | NAYY 4x150 SE | 77 | 84 | 0.29256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_567-3_1_2_line_88 | NAYY 4x150 SE | 79 | 83 | 0.0087017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_567-3_1_2_line_89 | NAYY 4x150 SE | 82 | 117 | 0.17689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_567-3_1_2_line_90 | NAYY 4x150 SE | 84 | 101 | 0.36296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_567-3_1_2_line_91 | NAYY 4x150 SE | 85 | 126 | 0.019591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_567-3_1_2_line_92 | NAYY 4x150 SE | 86 | 87 | 0.014783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_567-3_1_2_line_93 | NAYY 4x150 SE | 87 | 88 | 0.18389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_567-3_1_2_line_94 | NAYY 4x150 SE | 87 | 89 | 0.35699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_567-3_1_2_line_95 | NAYY 4x150 SE | 87 | 90 | 0.29486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_567-3_1_2_line_96 | NAYY 4x150 SE | 88 | 94 | 0.2558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_567-3_1_2_line_97 | NAYY 4x150 SE | 90 | 92 | 0.0087025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_567-3_1_2_line_98 | NAYY 4x150 SE | 91 | 92 | 0.37599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_567-3_1_2_line_99 | NAYY 4x150 SE | 91 | 93 | 0.21561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_567-3_1_2_line_100 | NAYY 4x150 SE | 93 | 115 | 0.055715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_567-3_1_2_line_101 | NAYY 4x150 SE | 94 | 97 | 0.24621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_567-3_1_2_line_102 | NAYY 4x150 SE | 95 | 96 | 0.035203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_567-3_1_2_line_103 | NAYY 4x150 SE | 96 | 103 | 0.017459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_567-3_1_2_line_104 | NAYY 4x150 SE | 97 | 105 | 0.058475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_567-3_1_2_line_105 | NAYY 4x150 SE | 98 | 99 | 0.05531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_567-3_1_2_line_106 | NAYY 4x150 SE | 99 | 100 | 0.38043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_567-3_1_2_line_107 | NAYY 4x150 SE | 100 | 129 | 0.23603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_567-3_1_2_line_108 | NAYY 4x150 SE | 101 | 102 | 0.49106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_567-3_1_2_line_109 | NAYY 4x150 SE | 102 | 116 | 0.036161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_567-3_1_2_line_110 | NAYY 4x150 SE | 102 | 115 | 0.065007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_567-3_1_2_line_111 | NAYY 4x150 SE | 103 | 104 | 0.0048265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_567-3_1_2_line_112 | NAYY 4x150 SE | 104 | 105 | 0.31276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_567-3_1_2_line_113 | NAYY 4x150 SE | 106 | 107 | 0.23693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_567-3_1_2_line_114 | NAYY 4x150 SE | 107 | 108 | 0.008638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
115 | LV_567-3_1_2_line_115 | NAYY 4x150 SE | 107 | 109 | 0.31184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_567-3_1_2_line_116 | NAYY 4x150 SE | 108 | 110 | 0.16462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
117 | LV_567-3_1_2_line_117 | NAYY 4x150 SE | 110 | 113 | 0.11621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_567-3_1_2_line_118 | NAYY 4x150 SE | 112 | 114 | 0.034169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
119 | LV_567-3_1_2_line_119 | NAYY 4x150 SE | 113 | 121 | 0.021454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
120 | LV_567-3_1_2_line_120 | NAYY 4x150 SE | 117 | 118 | 0.091702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_567-3_1_2_line_121 | NAYY 4x150 SE | 117 | 119 | 0.038551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_567-3_1_2_line_122 | NAYY 4x150 SE | 120 | 121 | 0.22191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_567-3_1_2_line_123 | NAYY 4x150 SE | 120 | 122 | 0.048789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
124 | LV_567-3_1_2_line_124 | NAYY 4x150 SE | 122 | 123 | 0.3113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_567-3_1_2_line_125 | NAYY 4x150 SE | 123 | 124 | 0.0063426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
126 | LV_567-3_1_2_line_126 | NAYY 4x150 SE | 126 | 127 | 0.19175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_567-3_1_2_line_127 | NAYY 4x150 SE | 127 | 128 | 0.047326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
128 | LV_567-3_1_2_line_128 | NAYY 4x150 SE | 128 | 129 | 0.1629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_567-3_1_2_trafo_254 | 0.25 MVA 20/0.4 kV | 130 | 68 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2622018.9254 | 1160586.5871 | 2622024.7661 | 1160592.4558 | 2622036.8882 | 1160596.8467 | 2622081.2089 | 1160597.8486
1 | 2622018.9254 | 1160586.5871 | 2622015.8866 | 1160583.5411 | 2622014.0408 | 1160570.6835 | 2622018.641 | 1160557.4603 | 2622027.0121 | 1160550.3096 | 2622088.823 | 1160514.3965
2 | 2621903.7988 | 1160664.0954 | 2621954.658 | 1160682.8231 | 2621974.0931 | 1160690.6645 | 2621991.065 | 1160699.3974 | 2621999.2162 | 1160704.1628 | 2622005.151 | 1160705.2294 | 2622006.4259 | 1160702.3438 | 2622007.6197 | 1160698.5796 | 2622008.7012 | 1160689.9125 | 2622009.4135 | 1160677.4089 | 2622010.6531 | 1160663.2063 | 2622012.5238 | 1160637.7559 | 2622017.2432 | 1160606.5465 | 2622018.9254 | 1160586.5871
3 | 2622107.876 | 1160503.3264 | 2622088.823 | 1160514.3965
4 | 2621903.7988 | 1160664.0954 | 2621894.544 | 1160661.4494 | 2621876.5909 | 1160656.9487
5 | 2621903.7988 | 1160664.0954 | 2621894.5628 | 1160668.9199 | 2621866.9752 | 1160688.2961 | 2621852.1679 | 1160703.828 | 2621834.9632 | 1160712.7479 | 2621830.0377 | 1160718.6442 | 2621820.3958 | 1160725.5683 | 2621815.4995 | 1160729.7415 | 2621806.8001 | 1160740.9157 | 2621800.3896 | 1160746.373 | 2621788.1599 | 1160754.833 | 2621762.0948 | 1160779.3289 | 2621756.6806 | 1160787.1312
6 | 2622280.1551 | 1160926.8057 | 2622269.0064 | 1160949.5425 | 2622258.2799 | 1160959.6413 | 2622247.0763 | 1160976.5195 | 2622233.7047 | 1160984.9855 | 2622222.6457 | 1160989.7027 | 2622212.9505 | 1160994.4582 | 2622204.6522 | 1160996.4954 | 2622201.7445 | 1161000.1013
7 | 2622201.7445 | 1161000.1013 | 2622332.468 | 1161997.591
8 | 2621851.082 | 1160851.1672 | 2622201.7445 | 1161000.1013
9 | 2622332.468 | 1161997.591 | 2622360.0239 | 1161977.2941 | 2622382.9941 | 1161958.2031 | 2622404.4128 | 1161946.4101 | 2622420.6022 | 1161944.0357 | 2622441.3355 | 1161951.7278 | 2622460.1947 | 1161970.9744 | 2622482.0368 | 1161999.7035
10 | 2621766.8532 | 1160910.923 | 2621780.2411 | 1160902.0336 | 2621788.4042 | 1160892.8696 | 2621802.0157 | 1160879.4121 | 2621815.6194 | 1160868.1001 | 2621832.7383 | 1160857.3455 | 2621851.082 | 1160851.1672
11 | 2622107.876 | 1160503.3264 | 2622097.0924 | 1160503.776 | 2622086.1953 | 1160503.8472 | 2622077.3662 | 1160502.0696 | 2622067.5053 | 1160499.5767 | 2622059.7072 | 1160496.68 | 2622047.7866 | 1160495.8138 | 2622036.6861 | 1160497.0071 | 2622023.9456 | 1160496.1379 | 2622011.2066 | 1160494.8575 | 2621998.4705 | 1160492.7655 | 2621985.7284 | 1160492.3077 | 2621979.7962 | 1160492.5751 | 2621964.3726 | 1160487.7832 | 2621960.2777 | 1160488.0806
12 | 2621931.5255 | 1160568.6596 | 2621938.845 | 1160564.0728 | 2621935.9323 | 1160549.555 | 2621925.3405 | 1160522.5807 | 2621920.6158 | 1160515.3044 | 2621916.4952 | 1160504.195 | 2621914.1385 | 1160499.006 | 2621916.535 | 1160493.2341 | 2621925.4568 | 1160490.6096 | 2621960.2777 | 1160488.0806
13 | 2621931.5255 | 1160568.6596 | 2621892.5174 | 1160565.3829 | 2621868.183 | 1160560.2587 | 2621847.43 | 1160550.1229 | 2621829.6298 | 1160545.6228 | 2621817.4352 | 1160550.6034 | 2621811.3092 | 1160553.4105
14 | 2621679.1954 | 1160471.5098 | 2621682.8332 | 1160469.9888 | 2621709.6874 | 1160477.7559 | 2621717.2089 | 1160478.7947 | 2621789.3416 | 1160466.1041 | 2621796.5798 | 1160467.0529 | 2621801.3212 | 1160469.7381 | 2621825.766 | 1160484.6895 | 2621840.4451 | 1160489.8563 | 2621854.1005 | 1160498.3767 | 2621862.4974 | 1160509.4683 | 2621877.9515 | 1160526.9886 | 2621906.6312 | 1160548.9148 | 2621931.5255 | 1160568.6596
15 | 2621679.1954 | 1160471.5098 | 2621669.5774 | 1160478.1341 | 2621638.6457 | 1160494.031 | 2621621.2986 | 1160502.8729
16 | 2621679.1954 | 1160471.5098 | 2621662.916 | 1160472.3406 | 2621650.6046 | 1160467.1716 | 2621634.7723 | 1160469.3714 | 2621610.0823 | 1160475.6305 | 2621590.7749 | 1160472.4931 | 2621569.591 | 1160475.4855 | 2621549.7459 | 1160479.1052 | 2621528.5661 | 1160480.975 | 2621525.9034 | 1160477.6972 | 2621503.2585 | 1160477.8053
17 | 2621521.7244 | 1160429.0468 | 2621509.6998 | 1160457.2847 | 2621503.9105 | 1160466.8911 | 2621501.7349 | 1160473.1309 | 2621503.2585 | 1160477.8053
18 | 2621503.2585 | 1160477.8053 | 2621487.0538 | 1160479.1927 | 2621444.0972 | 1160478.4172 | 2621414.3666 | 1160486.4044 | 2621372.7795 | 1160505.7221 | 2621348.1206 | 1160505.468 | 2621339.5369 | 1160492.798
19 | 2622484.519 | 1161994.2486 | 2622484.3963 | 1161997.6891
20 | 2622484.3963 | 1161997.6891 | 2622484.3963 | 1161997.6891 | 2622482.0368 | 1161999.7035
21 | 2621358.7541 | 1160088.0014 | 2621356.5721 | 1160088.2451 | 2621331.611 | 1160090.6246 | 2621315.4944 | 1160097.1376 | 2621300.8511 | 1160108.332
22 | 2621295.2421 | 1160112.6055 | 2621295.8378 | 1160112.1645 | 2621300.8511 | 1160108.332
23 | 2621295.2421 | 1160112.6055 | 2621287.0785 | 1160118.6479 | 2621282.6397 | 1160122.0183
24 | 2621192.8427 | 1160449.1478 | 2621181.2084 | 1160483.8927
25 | 2621192.8427 | 1160449.1478 | 2621196.266 | 1160436.6758 | 2621197.2873 | 1160412.1116 | 2621204.7669 | 1160394.5847 | 2621220.6434 | 1160375.4532 | 2621248.6945 | 1160352.6628
26 | 2621267.7856 | 1160434.6212 | 2621267.0636 | 1160435.3871
27 | 2621374.3954 | 1160413.0816 | 2621356.332 | 1160409.0934 | 2621332.2132 | 1160405.5618 | 2621298.5106 | 1160414.1915 | 2621274.8624 | 1160427.1145 | 2621267.7856 | 1160434.6212
28 | 2621248.6945 | 1160352.6628 | 2621265.1212 | 1160353.6101 | 2621273.1405 | 1160352.6156 | 2621281.0479 | 1160353.3833
29 | 2621374.3954 | 1160413.0816 | 2621386.1951 | 1160415.6914 | 2621391.6752 | 1160419.7462 | 2621390.9613 | 1160426.5804 | 2621386.7678 | 1160431.379 | 2621360.6973 | 1160433.6767 | 2621339.1433 | 1160439.4477 | 2621330.8538 | 1160445.3769
30 | 2621374.3954 | 1160413.0816 | 2621392.8977 | 1160396.9947 | 2621397.5237 | 1160367.5075 | 2621406.2648 | 1160338.0349 | 2621400.5939 | 1160338.8562
31 | 2621374.7153 | 1160335.8219 | 2621360.7492 | 1160338.9962 | 2621338.1105 | 1160345.8751 | 2621317.3278 | 1160352.3604 | 2621304.78 | 1160355.3953 | 2621292.8666 | 1160354.5306 | 2621281.0479 | 1160353.3833
32 | 2621326.444 | 1160448.5295 | 2621330.8538 | 1160445.3769
33 | 2621330.8538 | 1160445.3769 | 2621333.2587 | 1160452.2444 | 2621336.7392 | 1160469.1652 | 2621339.5369 | 1160492.798
34 | 2621374.7153 | 1160335.8219 | 2621386.9358 | 1160340.8344 | 2621400.5939 | 1160338.8562
35 | 2621384.1544 | 1160232.6927 | 2621402.5166 | 1160236.8377 | 2621399.0964 | 1160272.032 | 2621384.6557 | 1160287.9666 | 2621374.723 | 1160305.5512 | 2621372.1784 | 1160327.2642 | 2621374.7153 | 1160335.8219
36 | 2621384.1544 | 1160232.6927 | 2621393.6039 | 1160232.5595 | 2621399.5769 | 1160229.5125 | 2621411.5217 | 1160221.562
37 | 2621437.409 | 1160167.6159 | 2621431.6126 | 1160179.1789 | 2621384.1544 | 1160232.6927
38 | 2621437.409 | 1160167.6159 | 2621430.2031 | 1160170.4028 | 2621421.1341 | 1160177.7521
39 | 2621437.409 | 1160167.6159 | 2621467.4661 | 1160096.365 | 2621473.4731 | 1160087.7855
40 | 2621151.131 | 1160193.7132 | 2621127.7764 | 1160211.438
41 | 2621282.6397 | 1160122.0183 | 2621278.3493 | 1160125.276 | 2621265.0198 | 1160130.3538 | 2621236.1725 | 1160135.1768 | 2621214.6266 | 1160140.6036 | 2621195.9424 | 1160153.8223 | 2621154.8278 | 1160190.9076 | 2621151.131 | 1160193.7132
42 | 2621151.131 | 1160193.7132 | 2621103.6119 | 1160055.4495
43 | 2621080.2341 | 1160273.4766 | 2621094.8171 | 1160242.9234 | 2621107.8792 | 1160226.5387 | 2621127.7764 | 1160211.438
44 | 2621127.7764 | 1160211.438 | 2620968.5674 | 1160104.9365
45 | 2621103.6119 | 1160055.4495 | 2621119.6187 | 1159868.023
46 | 2621080.2341 | 1160273.4766 | 2621063.4824 | 1160295.2845 | 2621054.8273 | 1160302.8025
47 | 2621080.2341 | 1160273.4766 | 2621086.5351 | 1160277.3561 | 2621091.9811 | 1160275.9189 | 2621097.8469 | 1160272.7934 | 2621119.6885 | 1160259.3742 | 2621122.9032 | 1160257.6476
48 | 2620960.9724 | 1160111.6579 | 2620965.5114 | 1160106.6157 | 2620968.5674 | 1160104.9365
49 | 2621054.8273 | 1160302.8025 | 2621055.7583 | 1160310.4985 | 2621053.8171 | 1160313.3709 | 2621045.3649 | 1160319.8224 | 2621036.9078 | 1160327.7191 | 2621026.2518 | 1160344.2457 | 2621014.0924 | 1160378.7761 | 2621003.4521 | 1160390.8673 | 2620991.4617 | 1160402.3982
50 | 2621151.5838 | 1160242.7154 | 2621148.8873 | 1160243.6909 | 2621122.9032 | 1160257.6476
51 | 2620943.9958 | 1160467.321 | 2620956.3742 | 1160457.8037 | 2620967.6801 | 1160426.1494 | 2620974.0964 | 1160416.6892 | 2620986.2903 | 1160407.3714 | 2620991.4617 | 1160402.3982
52 | 2621151.5838 | 1160242.7154 | 2621170.3183 | 1160235.9374
53 | 2621240.5649 | 1160188.1901 | 2621239.2641 | 1160188.6588 | 2621219.4923 | 1160199.5613 | 2621208.0048 | 1160209.6965
54 | 2621269.4959 | 1160181.3008 | 2621262.4644 | 1160183.4713 | 2621251.2113 | 1160184.3543 | 2621240.5649 | 1160188.1901
55 | 2621170.3183 | 1160235.9374 | 2621173.9325 | 1160234.6298 | 2621187.7284 | 1160227.5859 | 2621208.0048 | 1160209.6965
56 | 2621269.4959 | 1160181.3008 | 2621274.1793 | 1160179.8552 | 2621348.196 | 1160144.4324 | 2621394.4067 | 1160120.8065 | 2621414.9606 | 1160105.9448
57 | 2621495.4336 | 1160076.1768 | 2621499.9095 | 1160071.7683 | 2621500.3897 | 1160066.0561 | 2621496.9618 | 1160062.3865 | 2621490.7636 | 1160061.9086 | 2621478.1149 | 1160069.4117 | 2621436.2807 | 1160090.529 | 2621414.9606 | 1160105.9448
58 | 2621495.4336 | 1160076.1768 | 2621483.2927 | 1160078.8126 | 2621474.3062 | 1160086.5956 | 2621473.4731 | 1160087.7855
59 | 2620943.9958 | 1160467.321 | 2620942.4758 | 1160472.5183 | 2620942.5574 | 1160482.1234 | 2620941.5353 | 1160500.6069 | 2620934.5329 | 1160539.8355 | 2620930.9699 | 1160559.633 | 2620922.926 | 1160587.6858 | 2620920.9584 | 1160600.4075 | 2620918.3872 | 1160612.638 | 2620919.3351 | 1160615.5205
60 | 2620943.9958 | 1160467.321 | 2620713.6208 | 1160335.3929
61 | 2621326.444 | 1160448.5295 | 2621316.4106 | 1160455.6977 | 2621314.2476 | 1160459.0966
62 | 2621314.2476 | 1160459.0966 | 2621308.0239 | 1160468.876
63 | 2621196.3463 | 1160742.9291 | 2621187.6554 | 1160752.9378
64 | 2621321.7951 | 1160670.9465 | 2621317.6742 | 1160668.2972 | 2621314.2308 | 1160669.0855 | 2621300.0035 | 1160692.1912 | 2621282.9351 | 1160716.9878 | 2621262.1068 | 1160741.1152 | 2621232.7657 | 1160762.9895 | 2621203.6033 | 1160775.482 | 2621195.8826 | 1160772.3533 | 2621193.4973 | 1160764.2742 | 2621196.3463 | 1160742.9291
65 | 2621196.3463 | 1160742.9291 | 2621200.8112 | 1160724.002 | 2621201.8153 | 1160713.0445 | 2621198.1566 | 1160690.0757 | 2621199.3763 | 1160682.5007
66 | 2621321.7951 | 1160670.9465 | 2621322.0044 | 1160676.7723 | 2621320.7973 | 1160682.2486 | 2621315.593 | 1160699.9168 | 2621273.4513 | 1160787.8675 | 2621237.0538 | 1160850.8374 | 2621186.1597 | 1160900.6944 | 2621162.7709 | 1160934.1735 | 2621142.8233 | 1160971.9112
67 | 2621321.7951 | 1160670.9465 | 2621332.8402 | 1160670.1073 | 2621350.1637 | 1160666.4223 | 2621355.5704 | 1160664.9571
68 | 2621202.8883 | 1160660.6888 | 2621199.3763 | 1160682.5007
69 | 2620844.9299 | 1161230.0018 | 2620856.7681 | 1161219.9169 | 2620877.1628 | 1161187.2934 | 2620897.4427 | 1161148.0663 | 2620893.6803 | 1161119.4056 | 2620910.1738 | 1161091.8486
70 | 2620996.7872 | 1161325.2221 | 2620844.9299 | 1161230.0018
71 | 2621064.7094 | 1161305.9493 | 2621050.858 | 1161318.6517 | 2621046.9517 | 1161320.4724 | 2621039.7529 | 1161321.6812 | 2621024.7501 | 1161321.8289 | 2621010.5643 | 1161322.8022 | 2620996.7872 | 1161325.2221
72 | 2621142.8233 | 1160971.9112 | 2621152.4159 | 1160976.5138 | 2621156.9396 | 1160975.7071 | 2621162.4982 | 1160972.5695 | 2621170.5336 | 1160966.7392 | 2621179.1835 | 1160962.6786 | 2621186.7957 | 1160959.5483 | 2621198.7213 | 1160958.7676 | 2621210.2345 | 1160957.5852 | 2621223.6194 | 1160949.306 | 2621244.2977 | 1160937.0504 | 2621264.4156 | 1160920.7687 | 2621280.93 | 1160900.7503 | 2621290.6451 | 1160883.6983 | 2621300.1339 | 1160874.3049 | 2621307.7664 | 1160867.6619 | 2621316.8212 | 1160864.0031 | 2621328.7524 | 1160859.532 | 2621342.5422 | 1160856.0235 | 2621355.3024 | 1160851.144 | 2621374.027 | 1160843.3064
73 | 2621142.8233 | 1160971.9112 | 2621137.1136 | 1160981.3466
74 | 2621202.8883 | 1160660.6888 | 2621176.0735 | 1160659.1938
75 | 2621202.8883 | 1160660.6888 | 2621218.17 | 1160614.4194 | 2621225.3276 | 1160603.794
76 | 2621137.1136 | 1160981.3466 | 2621132.989 | 1160988.1627 | 2621127.344 | 1161005.0069 | 2621124.6179 | 1161022.0169 | 2621127.5008 | 1161030.2534 | 2621138.9509 | 1161047.0019 | 2621141.4126 | 1161055.0017
77 | 2621225.3276 | 1160603.794 | 2621232.2823 | 1160593.4697 | 2621255.3317 | 1160563.2581 | 2621300.0201 | 1160481.4526 | 2621308.0239 | 1160468.876
78 | 2620747.3785 | 1160742.182 | 2620742.5027 | 1160747.7652
79 | 2620737.9637 | 1160752.9629 | 2620742.5027 | 1160747.7652
80 | 2620737.9637 | 1160752.9629 | 2620735.0434 | 1160753.1863 | 2620732.8557 | 1160754.3015 | 2620730.843 | 1160755.762 | 2620718.7927 | 1160770.4501 | 2620709.7188 | 1160781.9469 | 2620694.8681 | 1160797.6927 | 2620668.6402 | 1160821.8371
81 | 2620737.9637 | 1160752.9629 | 2620740.6274 | 1160753.7946 | 2620742.4784 | 1160754.7793 | 2620744.098 | 1160756.2078 | 2620744.8431 | 1160757.9223 | 2620745.0505 | 1160759.9907 | 2620743.8479 | 1160764.311 | 2620739.4166 | 1160773.8672 | 2620732.6028 | 1160798.8785 | 2620731.4421 | 1160802.1539 | 2620728.9596 | 1160806.5364 | 2620723.795 | 1160813.222 | 2620721.4795 | 1160818.0832 | 2620720.4384 | 1160822.2483 | 2620720.6746 | 1160824.8616 | 2620721.4567 | 1160826.9542 | 2620723.3601 | 1160828.2947 | 2620726.5139 | 1160829.206 | 2620730.8345 | 1160829.5433 | 2620735.3932 | 1160829.7146 | 2620738.5386 | 1160830.8482 | 2620740.8003 | 1160832.7458 | 2620742.3711 | 1160834.9856 | 2620744.5648 | 1160838.784 | 2620747.7244 | 1160844.7089 | 2620750.8917 | 1160850.6228 | 2620753.7552 | 1160859.427
82 | 2620978.5921 | 1160474.6893 | 2620973.6979 | 1160498.1952 | 2620961.6608 | 1160530.803 | 2620949.1673 | 1160555.8498 | 2620936.8912 | 1160588.9348 | 2620921.8667 | 1160614.6956 | 2620919.3351 | 1160615.5205
83 | 2620713.6208 | 1160335.3929 | 2620708.8945 | 1160339.2898 | 2620698.5048 | 1160341.0328 | 2620692.4068 | 1160344.936 | 2620685.9477 | 1160351.3393 | 2620675.7458 | 1160358.6524 | 2620657.6266 | 1160364.0819 | 2620654.7499 | 1160369.4303
84 | 2620668.6402 | 1160821.8371 | 2620698.2001 | 1160755.6498 | 2620722.5322 | 1160719.1374 | 2620741.2083 | 1160698.558 | 2620763.7312 | 1160686.8852 | 2620775.4258 | 1160677.6542 | 2620781.4249 | 1160664.5794 | 2620789.7375 | 1160628.988
85 | 2620668.6402 | 1160821.8371 | 2620455.6278 | 1160947.7849
86 | 2620821.8632 | 1160805.8508 | 2620821.6165 | 1160806.6112 | 2620817.9412 | 1160819.1047 | 2620813.9861 | 1160828.329 | 2620799.5262 | 1160859.5503 | 2620792.937 | 1160874.9353 | 2620786.1495 | 1160894.4883 | 2620784.6021 | 1160901.0196 | 2620783.4663 | 1160905.9737 | 2620782.354 | 1160908.5378 | 2620780.3474 | 1160910.4874 | 2620777.5849 | 1160911.6229 | 2620774.544 | 1160911.3012 | 2620772.3336 | 1160910.1152 | 2620770.4733 | 1160907.4185 | 2620764.2856 | 1160890.7778 | 2620758.33 | 1160873.4931 | 2620753.7552 | 1160859.427
87 | 2620789.7375 | 1160628.988 | 2620654.7499 | 1160369.4303
88 | 2620821.8632 | 1160805.8508 | 2620824.5485 | 1160797.5739
89 | 2621086.49 | 1161216.8809 | 2621094.8891 | 1161188.0403 | 2621125.0329 | 1161146.2805 | 2621140.7633 | 1161113.5637 | 2621143.7157 | 1161095.4094 | 2621143.0193 | 1161060.2227 | 2621141.4126 | 1161055.0017
90 | 2620654.7499 | 1160369.4303 | 2620304.1979 | 1160463.5274
91 | 2621119.6187 | 1159868.023 | 2621108.4261 | 1159862.3922 | 2621105.6593 | 1159855.8951
92 | 2619295.9478 | 1159767.1643 | 2619305.5222 | 1159768.9069 | 2619309.2729 | 1159772.29
93 | 2619295.9478 | 1159767.1643 | 2619303.9814 | 1159747.4802 | 2619302.0002 | 1159741.4931 | 2619257.5224 | 1159687.3685 | 2619250.1696 | 1159642.6672 | 2619262.9553 | 1159603.6775
94 | 2619295.9478 | 1159767.1643 | 2619275.4352 | 1159765.9649 | 2619251.2638 | 1159758.484 | 2619229.5473 | 1159745.4416 | 2619218.8678 | 1159736.9255 | 2619213.1691 | 1159726.2465 | 2619201.4013 | 1159693.6595 | 2619190.3964 | 1159657.2841 | 2619186.5701 | 1159638.6071 | 2619187.6014 | 1159603.5374 | 2619180.9663 | 1159593.2445 | 2619170.6906 | 1159585.3523 | 2619147.6675 | 1159582.8669 | 2619116.1296 | 1159587.6026 | 2619092.1531 | 1159603.0233 | 2619078.6254 | 1159605.5595 | 2619073.7803 | 1159605.9666 | 2619068.1613 | 1159604.3017
95 | 2619295.9478 | 1159767.1643 | 2619300.6264 | 1159806.7657 | 2619297.4166 | 1159820.7068 | 2619284.2025 | 1159837.9398 | 2619263.7924 | 1159862.2868 | 2619254.059 | 1159884.011 | 2619270.2344 | 1159932.8869 | 2619268.6506 | 1159958.4613 | 2619281.0863 | 1159978.4332 | 2619294.4577 | 1160017.3398 | 2619287.7707 | 1160023.4659 | 2619293.8789 | 1160030.5778 | 2619296.9572 | 1160031.3436
96 | 2619262.9553 | 1159603.6775 | 2619292.2076 | 1159625.8598 | 2619301.252 | 1159611.2815 | 2619304.9187 | 1159610.2927 | 2619310.0338 | 1159626.0836 | 2619312.3564 | 1159630.7489 | 2619313.549 | 1159622.1151 | 2619322.7286 | 1159617.9869 | 2619335.304 | 1159618.4496 | 2619342.7474 | 1159608.424 | 2619356.4403 | 1159599.8303 | 2619364.9643 | 1159592.2094 | 2619377.3077 | 1159588.6028 | 2619386.4759 | 1159585.6419 | 2619409.812 | 1159583.7271 | 2619414.5148 | 1159572.7701 | 2619407.8913 | 1159558.9641 | 2619414.2839 | 1159539.7195 | 2619420.6054 | 1159530.1743
97 | 2619296.9572 | 1160031.3436 | 2619305.6398 | 1160031.9322
98 | 2619651.1701 | 1160151.6802 | 2619645.9417 | 1160152.2634 | 2619606.294 | 1160139.4837 | 2619554.5709 | 1160114.092 | 2619524.014 | 1160093.505 | 2619449.7192 | 1160047.2643 | 2619373.599 | 1160027.3205 | 2619327.4213 | 1160033.4088 | 2619305.6398 | 1160031.9322
99 | 2619863.8794 | 1160116.4592 | 2619651.1701 | 1160151.6802
100 | 2619863.8794 | 1160116.4592 | 2619863.3123 | 1160139.7356 | 2619866.5019 | 1160157.8551 | 2619869.5333 | 1160168.1703 | 2619870.3867 | 1160171.3392
101 | 2619575.159 | 1159384.0824 | 2619578.6475 | 1159416.0112 | 2619575.5903 | 1159432.2761 | 2619551.4883 | 1159466.9152 | 2619541.626 | 1159475.8543 | 2619503.8935 | 1159499.8109 | 2619483.3526 | 1159514.1961 | 2619464.6725 | 1159519.6163 | 2619453.0096 | 1159518.9228 | 2619445.1929 | 1159513.9062 | 2619435.0114 | 1159519.6874 | 2619430.5087 | 1159520.8401 | 2619427.3461 | 1159519.9962 | 2619420.6054 | 1159530.1743
102 | 2619718.423 | 1159446.3656 | 2619717.702 | 1159442.266 | 2619710.0038 | 1159419.7629 | 2619709.4814 | 1159412.5244
103 | 2619708.2248 | 1159395.1109 | 2619709.4814 | 1159412.5244
104 | 2619552.7593 | 1159330.2179 | 2619557.3876 | 1159342.3612 | 2619564.9896 | 1159361.651 | 2619574.9259 | 1159381.9488 | 2619575.159 | 1159384.0824
105 | 2620487.1464 | 1159386.6441 | 2620484.4848 | 1159389.1052 | 2620464.0371 | 1159402.3201 | 2620442.369 | 1159418.9904
106 | 2620442.369 | 1159418.9904 | 2620597.1511 | 1159766.5103
107 | 2620779.5583 | 1159671.9851 | 2620777.5449 | 1159677.9959 | 2620769.6844 | 1159699.4017 | 2620767.1669 | 1159707.1524 | 2620757.4812 | 1159713.3333 | 2620748.4411 | 1159714.5473 | 2620716.0304 | 1159716.6036 | 2620704.5027 | 1159716.8752 | 2620692.0283 | 1159720.5565 | 2620645.4297 | 1159770.0993 | 2620635.7509 | 1159776.5806 | 2620625.1541 | 1159778.1006 | 2620616.4292 | 1159776.8257 | 2620605.8536 | 1159772.1317 | 2620597.1511 | 1159766.5103
108 | 2619881.2144 | 1160214.0872 | 2620304.1979 | 1160463.5274
109 | 2619852.1378 | 1160235.491 | 2619875.8413 | 1160219.0497 | 2619881.2144 | 1160214.0872
110 | 2619870.3867 | 1160171.3392 | 2619872.3648 | 1160178.6848 | 2619867.3443 | 1160188.2842 | 2619870.9904 | 1160193.4321 | 2619875.7477 | 1160193.9703 | 2619883.5127 | 1160191.0611 | 2619887.7527 | 1160192.7314 | 2619888.1191 | 1160195.5007 | 2619881.2144 | 1160214.0872
111 | 2619707.8774 | 1159390.2969 | 2619708.2248 | 1159395.1109
112 | 2619707.8774 | 1159390.2969 | 2619698.664 | 1159350.6248 | 2619688.8007 | 1159308.0714 | 2619684.9007 | 1159279.4889 | 2619681.2587 | 1159270.517 | 2619675.2748 | 1159267.5071 | 2619656.9314 | 1159270.4377 | 2619635.5848 | 1159275.3484 | 2619634.9396 | 1159268.6985 | 2619613.6038 | 1159272.62 | 2619604.9244 | 1159275.9157 | 2619610.233 | 1159283.9036 | 2619607.2092 | 1159292.1979 | 2619595.8637 | 1159295.1514 | 2619580.2018 | 1159296.0899 | 2619566.0602 | 1159312.7745 | 2619555.4911 | 1159310.2946 | 2619545.8046 | 1159316.9109 | 2619550.44 | 1159326.8976 | 2619552.7593 | 1159330.2179
113 | 2621766.8532 | 1160910.923 | 2621696.2469 | 1160941.6951 | 2621647.5923 | 1160968.7671 | 2621622.6901 | 1160983.4851 | 2621598.3752 | 1161001.1179 | 2621562.2993 | 1161029.2807
114 | 2621556.4149 | 1161035.6184 | 2621562.2993 | 1161029.2807
115 | 2621562.2993 | 1161029.2807 | 2621570.5104 | 1161010.8675 | 2621594.0801 | 1160980.8813 | 2621626.6226 | 1160940.311 | 2621670.912 | 1160895.5476 | 2621720.6194 | 1160840.1876 | 2621739.5719 | 1160811.7862 | 2621756.6806 | 1160787.1312
116 | 2621556.4149 | 1161035.6184 | 2621552.2822 | 1161034.2474 | 2621546.4816 | 1161034.2933 | 2621535.575 | 1161041.5691 | 2621519.8226 | 1161060.4668 | 2621513.2267 | 1161079.3972 | 2621502.357 | 1161110.7407 | 2621495.9977 | 1161121.3678 | 2621488.9743 | 1161129.1244 | 2621459.9015 | 1161157.5833
117 | 2621393.8205 | 1161251.0693 | 2621393.8205 | 1161251.0693 | 2621434.7045 | 1161208.2709 | 2621455.0963 | 1161162.2871 | 2621459.9015 | 1161157.5833
118 | 2621780.2464 | 1160567.6442 | 2621811.3092 | 1160553.4105
119 | 2621393.8205 | 1161251.0693 | 2621375.1861 | 1161261.7015
120 | 2621064.7094 | 1161305.9493 | 2621076.5038 | 1161257.0216 | 2621086.49 | 1161216.8809
121 | 2621051.5695 | 1161233.4227 | 2621086.49 | 1161216.8809
122 | 2621202.6269 | 1161396.7291 | 2621209.5621 | 1161388.2093 | 2621235.6964 | 1161366.6238 | 2621289.6312 | 1161335.6207 | 2621312.2454 | 1161315.1125 | 2621326.7558 | 1161293.8532 | 2621341.7615 | 1161279.9326 | 2621362.1425 | 1161269.1438 | 2621375.1861 | 1161261.7015
123 | 2621174.4387 | 1161436.4766 | 2621191.4707 | 1161410.4346 | 2621202.6269 | 1161396.7291
124 | 2621174.4387 | 1161436.4766 | 2621184.5241 | 1161461.9581 | 2621200.0343 | 1161504.7896 | 2621213.3042 | 1161531.0161 | 2621224.9064 | 1161521.6411 | 2621242.4385 | 1161484.1285 | 2621255.9115 | 1161472.2701 | 2621274.99 | 1161463.4329 | 2621290.4189 | 1161459.6966 | 2621305.4649 | 1161455.8701 | 2621319.1033 | 1161451.4494 | 2621342.716 | 1161447.4642 | 2621361.6378 | 1161435.3474 | 2621375.8984 | 1161432.6633 | 2621379.1212 | 1161438.8599
125 | 2621379.1212 | 1161438.8599 | 2621382.0478 | 1161444.487
126 | 2620922.8229 | 1159798.1003 | 2621105.6593 | 1159855.8951
127 | 2620921.6122 | 1159751.7083 | 2620923.984 | 1159757.2749 | 2620923.9502 | 1159767.013 | 2620924.7129 | 1159781.345 | 2620924.3958 | 1159795.4065 | 2620922.8229 | 1159798.1003
128 | 2620921.6122 | 1159751.7083 | 2620779.5583 | 1159671.9851

## bus_geodata
| x | y | coords
0 | 2622081.2089 | 1160597.8486
1 | 2622018.9254 | 1160586.5871
2 | 2622088.823 | 1160514.3965
3 | 2621903.7988 | 1160664.0954
4 | 2622280.1551 | 1160926.8057
5 | 2622201.7445 | 1161000.1013
6 | 2622332.468 | 1161997.591
7 | 2621851.082 | 1160851.1672
8 | 2622107.876 | 1160503.3264
9 | 2621960.2777 | 1160488.0806
10 | 2621931.5255 | 1160568.6596
11 | 2621679.1954 | 1160471.5098
12 | 2621621.2986 | 1160502.8729
13 | 2621503.2585 | 1160477.8053
14 | 2622484.519 | 1161994.2486
15 | 2622484.3963 | 1161997.6891
16 | 2622482.0368 | 1161999.7035
17 | 2621358.7541 | 1160088.0014
18 | 2621300.8511 | 1160108.332
19 | 2621295.2421 | 1160112.6055
20 | 2621181.2084 | 1160483.8927
21 | 2621192.8427 | 1160449.1478
22 | 2621267.0636 | 1160435.3871
23 | 2621267.7856 | 1160434.6212
24 | 2621248.6945 | 1160352.6628
25 | 2621374.3954 | 1160413.0816
26 | 2621281.0479 | 1160353.3833
27 | 2621330.8538 | 1160445.3769
28 | 2621400.5939 | 1160338.8562
29 | 2621374.7153 | 1160335.8219
30 | 2621384.1544 | 1160232.6927
31 | 2621411.5217 | 1160221.562
32 | 2621437.409 | 1160167.6159
33 | 2621151.131 | 1160193.7132
34 | 2621127.7764 | 1160211.438
35 | 2621282.6397 | 1160122.0183
36 | 2621103.6119 | 1160055.4495
37 | 2621080.2341 | 1160273.4766
38 | 2620968.5674 | 1160104.9365
39 | 2621054.8273 | 1160302.8025
40 | 2621122.9032 | 1160257.6476
41 | 2620991.4617 | 1160402.3982
42 | 2621151.5838 | 1160242.7154
43 | 2621240.5649 | 1160188.1901
44 | 2621208.0048 | 1160209.6965
45 | 2621269.4959 | 1160181.3008
46 | 2621170.3183 | 1160235.9374
47 | 2621414.9606 | 1160105.9448
48 | 2621495.4336 | 1160076.1768
49 | 2621473.4731 | 1160087.7855
50 | 2620943.9958 | 1160467.321
51 | 2621421.1341 | 1160177.7521
52 | 2621326.444 | 1160448.5295
53 | 2621339.5369 | 1160492.798
54 | 2621314.2476 | 1160459.0966
55 | 2621187.6554 | 1160752.9378
56 | 2621196.3463 | 1160742.9291
57 | 2621321.7951 | 1160670.9465
58 | 2621199.3763 | 1160682.5007
59 | 2620910.1738 | 1161091.8486
60 | 2620844.9299 | 1161230.0018
61 | 2620996.7872 | 1161325.2221
62 | 2621142.8233 | 1160971.9112
63 | 2621355.5704 | 1160664.9571
64 | 2621202.8883 | 1160660.6888
65 | 2621374.027 | 1160843.3064
66 | 2621137.1136 | 1160981.3466
67 | 2621176.0735 | 1160659.1938
68 | 2621225.3276 | 1160603.794
69 | 2620747.3785 | 1160742.182
70 | 2620742.5027 | 1160747.7652
71 | 2620737.9637 | 1160752.9629
72 | 2620919.3351 | 1160615.5205
73 | 2620713.6208 | 1160335.3929
74 | 2620668.6402 | 1160821.8371
75 | 2620753.7552 | 1160859.427
76 | 2620978.5921 | 1160474.6893
77 | 2620789.7375 | 1160628.988
78 | 2620455.6278 | 1160947.7849
79 | 2620821.8632 | 1160805.8508
80 | 2621308.0239 | 1160468.876
81 | 2621521.7244 | 1160429.0468
82 | 2621141.4126 | 1161055.0017
83 | 2620824.5485 | 1160797.5739
84 | 2620654.7499 | 1160369.4303
85 | 2621119.6187 | 1159868.023
86 | 2619309.2729 | 1159772.29
87 | 2619295.9478 | 1159767.1643
88 | 2619262.9553 | 1159603.6775
89 | 2619068.1613 | 1159604.3017
90 | 2619296.9572 | 1160031.3436
91 | 2619651.1701 | 1160151.6802
92 | 2619305.6398 | 1160031.9322
93 | 2619863.8794 | 1160116.4592
94 | 2619420.6054 | 1159530.1743
95 | 2619718.423 | 1159446.3656
96 | 2619709.4814 | 1159412.5244
97 | 2619575.159 | 1159384.0824
98 | 2620487.1464 | 1159386.6441
99 | 2620442.369 | 1159418.9904
100 | 2620597.1511 | 1159766.5103
101 | 2620304.1979 | 1160463.5274
102 | 2619881.2144 | 1160214.0872
103 | 2619708.2248 | 1159395.1109
104 | 2619707.8774 | 1159390.2969
105 | 2619552.7593 | 1159330.2179
106 | 2621766.8532 | 1160910.923
107 | 2621562.2993 | 1161029.2807
108 | 2621556.4149 | 1161035.6184
109 | 2621756.6806 | 1160787.1312
110 | 2621459.9015 | 1161157.5833
111 | 2621876.5909 | 1160656.9487
112 | 2621811.3092 | 1160553.4105
113 | 2621393.8205 | 1161251.0693
114 | 2621780.2464 | 1160567.6442
115 | 2619870.3867 | 1160171.3392
116 | 2619852.1378 | 1160235.491
117 | 2621086.49 | 1161216.8809
118 | 2621064.7094 | 1161305.9493
119 | 2621051.5695 | 1161233.4227
120 | 2621202.6269 | 1161396.7291
121 | 2621375.1861 | 1161261.7015
122 | 2621174.4387 | 1161436.4766
123 | 2621379.1212 | 1161438.8599
124 | 2621382.0478 | 1161444.487
125 | 2620960.9724 | 1160111.6579
126 | 2621105.6593 | 1159855.8951
127 | 2620922.8229 | 1159798.1003
128 | 2620921.6122 | 1159751.7083
129 | 2620779.5583 | 1159671.9851
130 | 2621225.3276 | 1160603.794

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1