## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_567-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_567-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_567-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_567-4_0_2_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_567-4_0_2_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_567-4_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_567-4_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_567-4_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_567-4_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_567-4_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_567-4_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_567-4_0_2_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_567-4_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_567-4_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_567-4_0_2_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_567-4_0_2_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_567-4_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_567-4_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_567-4_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_567-4_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_567-4_0_2_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_567-4_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_567-4_0_2_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_567-4_0_2_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_567-4_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_567-4_0_2_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_567-4_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_567-4_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_567-4_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_567-4_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_MV_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_567-4_0_2_load_0 | 0 | 0.00042761 | 0.00010717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_567-4_0_2_load_1 | 1 | 0.00053599 | 0.00013433 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_567-4_0_2_load_2 | 2 | 0.00025864 | 6.4822e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_567-4_0_2_load_17 | 4 | 0.00053832 | 0.00013491 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_567-4_0_2_load_3 | 5 | 0.00021778 | 5.4581e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_567-4_0_2_load_4 | 6 | 0.0001796 | 4.5013e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_567-4_0_2_load_6 | 8 | 0.00070524 | 0.00017675 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_567-4_0_2_load_7 | 9 | 0.010361 | 0.0025966 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_567-4_0_2_load_8 | 10 | 0.00043459 | 0.00010892 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_567-4_0_2_load_10 | 11 | 0.00018457 | 4.6257e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_567-4_0_2_load_9 | 12 | 0.00018413 | 4.6148e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_567-4_0_2_load_11 | 13 | 0.00026013 | 6.5194e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_567-4_0_2_load_19 | 14 | 0.00022489 | 5.6364e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_567-4_0_2_load_20 | 15 | 0.00049424 | 0.00012387 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_567-4_0_2_load_12 | 16 | 0.00040104 | 0.00010051 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_567-4_0_2_load_14 | 18 | 0.00034047 | 8.5331e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_567-4_0_2_load_15 | 19 | 0.00091262 | 0.00022872 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_567-4_0_2_load_25 | 20 | 0.00018169 | 4.5535e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_567-4_0_2_load_22 | 21 | 0.00059358 | 0.00014877 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_567-4_0_2_load_18 | 23 | 0.0003616 | 9.0625e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_567-4_0_2_load_24 | 26 | 0.0011377 | 0.00028513 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_567-4_0_2_load_28 | 29 | 0.00029091 | 7.2909e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_567-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.20024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_567-4_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.16435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_567-4_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.016744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_567-4_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.14166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_567-4_0_2_line_4 | NAYY 4x150 SE | 4 | 24 | 0.19882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_567-4_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.027079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_567-4_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.08548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_567-4_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.045244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_567-4_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.03551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_567-4_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.14174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_567-4_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.17653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_567-4_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.017407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_567-4_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.020648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_567-4_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.021372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_567-4_0_2_line_14 | NAYY 4x150 SE | 14 | 15 | 0.17265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_567-4_0_2_line_15 | NAYY 4x150 SE | 15 | 27 | 0.25747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_567-4_0_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.30933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_567-4_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.32754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_567-4_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.12775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_567-4_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.19135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_567-4_0_2_line_20 | NAYY 4x150 SE | 20 | 23 | 0.30335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_567-4_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.26132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_567-4_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.10958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_567-4_0_2_line_23 | NAYY 4x150 SE | 22 | 26 | 0.27356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_567-4_0_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.081978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_567-4_0_2_line_25 | NAYY 4x150 SE | 25 | 29 | 0.011136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_567-4_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.13268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_567-4_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.32507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_567-4_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.25605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_567-4_0_2_trafo_20 | 0.25 MVA 20/0.4 kV | 30 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2623666.1575 | 1156783.6146 | 2623666.7448 | 1156768.7762 | 2623669.71 | 1156755.6702 | 2623682.6794 | 1156733.4211 | 2623703.4469 | 1156711.2583 | 2623736.4589 | 1156669.9452 | 2623762.7842 | 1156656.053 | 2623778.3746 | 1156653.7466 | 2623795.1733 | 1156649.1464
1 | 2623795.1733 | 1156649.1464 | 2623807.4678 | 1156645.7796 | 2623819.5217 | 1156632.2427 | 2623842.0991 | 1156619.9368 | 2623847.6961 | 1156614.2783 | 2623850.6721 | 1156608.276 | 2623860.7395 | 1156606.5149 | 2623865.4252 | 1156602.5204 | 2623866.4903 | 1156596.9107 | 2623860.4345 | 1156582.8464 | 2623853.4272 | 1156545.6556 | 2623856.7637 | 1156533.8185 | 2623859.7464 | 1156529.1225
2 | 2623869.6644 | 1156515.6716 | 2623863.7083 | 1156522.8849 | 2623859.7464 | 1156529.1225
3 | 2623869.6644 | 1156515.6716 | 2623875.2891 | 1156508.8571 | 2623888.8365 | 1156482.3531 | 2623891.0793 | 1156471.7344 | 2623887.3309 | 1156407.4986 | 2623885.0462 | 1156382.2214 | 2623884.4521 | 1156379.8106
4 | 2623874.3705 | 1156233.4383 | 2623873.2308 | 1156236.5576 | 2623869.0318 | 1156239.598 | 2623861.0399 | 1156245.7361 | 2623848.91 | 1156264.6865 | 2623841.0339 | 1156278.3955 | 2623838.6457 | 1156287.0015 | 2623836.6061 | 1156298.5992 | 2623832.8515 | 1156311.413 | 2623832.5875 | 1156318.0709 | 2623834.9696 | 1156324.5946 | 2623864.9452 | 1156365.3446 | 2623867.8815 | 1156367.4684 | 2623871.105 | 1156366.7585 | 2623872.994 | 1156360.2961 | 2623875.0824 | 1156357.7142 | 2623878.3037 | 1156357.5602 | 2623880.7832 | 1156360.7827 | 2623882.2764 | 1156370.9826 | 2623884.4521 | 1156379.8106
5 | 2624997.5895 | 1155609.7047 | 2624996.709 | 1155611.6626 | 2624980.6576 | 1155630.7405
6 | 2624956.8793 | 1155543.786 | 2624957.3786 | 1155550.9917 | 2624959.8487 | 1155554.5815 | 2624966.9551 | 1155557.1788 | 2624972.9205 | 1155561.2389 | 2624985.036 | 1155576.5634 | 2624995.864 | 1155587.9472 | 2625000.4006 | 1155594.3803 | 2625000.711 | 1155602.7636 | 2624997.5895 | 1155609.7047
7 | 2624980.6576 | 1155630.7405 | 2624972.5313 | 1155640.399 | 2624960.6507 | 1155655.4129 | 2624954.5753 | 1155663.1472 | 2624951.4825 | 1155665.0674
8 | 2624956.8793 | 1155543.786 | 2624924.9414 | 1155555.482 | 2624923.5348 | 1155555.9965
9 | 2624870.54 | 1155775.6544 | 2624872.3988 | 1155774.7413 | 2624879.0966 | 1155770.4001 | 2624881.7877 | 1155763.1409 | 2624885.8171 | 1155745.6821 | 2624893.2968 | 1155728.4044 | 2624921.8318 | 1155688.0798 | 2624933.3382 | 1155676.3326 | 2624951.4825 | 1155665.0674
10 | 2624763.2403 | 1155627.9563 | 2624766.4733 | 1155625.2309 | 2624780.4059 | 1155616.5171 | 2624874.0522 | 1155571.002 | 2624908.3274 | 1155561.5609 | 2624916.3464 | 1155558.6259 | 2624923.5348 | 1155555.9965
11 | 2624854.9162 | 1155783.3291 | 2624854.9162 | 1155783.3291 | 2624870.54 | 1155775.6544
12 | 2624747.2068 | 1155640.9583 | 2624754.3214 | 1155635.4751 | 2624763.2403 | 1155627.9563
13 | 2624730.2787 | 1155654.0048 | 2624747.2068 | 1155640.9583
14 | 2624730.2787 | 1155654.0048 | 2624689.2259 | 1155685.6445 | 2624673.0602 | 1155692.882 | 2624657.2252 | 1155701.7772 | 2624651.5209 | 1155710.7695 | 2624647.7869 | 1155738.6904 | 2624642.4824 | 1155758.6898 | 2624637.5959 | 1155764.6284 | 2624630.7285 | 1155767.3684 | 2624620.4987 | 1155768.9294
15 | 2624446.3548 | 1155924.3635 | 2624477.3756 | 1155909.2484 | 2624535.9522 | 1155876.948 | 2624551.9665 | 1155867.186 | 2624562.356 | 1155858.2572 | 2624575.9232 | 1155843.0493 | 2624585.7377 | 1155832.2172 | 2624588.2474 | 1155827.992 | 2624588.9177 | 1155823.4703 | 2624588.9821 | 1155818.9461 | 2624585.6407 | 1155808.983 | 2624582.6889 | 1155801.256 | 2624582.4101 | 1155792.5283 | 2624585.6582 | 1155785.8827 | 2624594.7883 | 1155777.4045 | 2624612.2804 | 1155770.1834 | 2624620.4987 | 1155768.9294
16 | 2624679.7681 | 1156308.1054 | 2624685.849 | 1156358.7334 | 2624689.0109 | 1156403.0462 | 2624686.6253 | 1156429.4719 | 2624677.5821 | 1156461.8621 | 2624666.882 | 1156503.806 | 2624653.3563 | 1156529.8193 | 2624641.1386 | 1156545.3993 | 2624619.2388 | 1156565.9313 | 2624601.4776 | 1156591.7348
17 | 2624601.4776 | 1156591.7348 | 2624735.7203 | 1156890.5033
18 | 2624679.7681 | 1156308.1054 | 2624675.1667 | 1156295.0801 | 2624674.7879 | 1156247.099 | 2624670.3426 | 1156225.8925 | 2624668.1436 | 1156212.2989 | 2624672.3865 | 1156202.4002 | 2624689.313 | 1156192.2353
19 | 2624679.7681 | 1156308.1054 | 2624507.8603 | 1156392.1354
20 | 2624507.8603 | 1156392.1354 | 2624272.6863 | 1156583.75
21 | 2624357.3078 | 1156178.5375 | 2624507.8603 | 1156392.1354
22 | 2624255.7353 | 1156204.7118 | 2624267.4339 | 1156192.2749 | 2624277.1606 | 1156187.7228 | 2624291.7934 | 1156183.6464 | 2624309.0043 | 1156183.0265 | 2624324.5685 | 1156183.7785 | 2624334.0796 | 1156185.1731 | 2624357.3078 | 1156178.5375
23 | 2624255.7353 | 1156204.7118 | 2624243.3351 | 1156235.2439 | 2624241.5418 | 1156238.7717 | 2624238.8765 | 1156239.8505 | 2624235.4423 | 1156239.5365 | 2624227.0516 | 1156232.2325 | 2624224.4361 | 1156230.4322 | 2624220.1065 | 1156227.7579 | 2624215.2125 | 1156226.2042 | 2624205.0692 | 1156225.6632 | 2624164.7083 | 1156229.8257 | 2624135.5727 | 1156232.4326 | 2624128.5899 | 1156231.6043 | 2624117.8467 | 1156229.5825 | 2624112.594 | 1156229.5393 | 2624107.8771 | 1156231.6326 | 2624098.5831 | 1156239.2326 | 2624094.5152 | 1156242.0622 | 2624089.9563 | 1156242.9889 | 2624079.6962 | 1156242.9034 | 2624076.7841 | 1156242.4138 | 2624074.3646 | 1156243.4046 | 2624061.7621 | 1156251.8697 | 2624050.6907 | 1156255.2272 | 2624035.7364 | 1156255.4011 | 2624030.7718 | 1156256.1706 | 2624025.0753 | 1156252.0236 | 2624019.8922 | 1156251.8139 | 2624019.1695 | 1156251.0798
24 | 2623874.3705 | 1156233.4383 | 2623912.915 | 1156207.6892 | 2623948.0087 | 1156214.832
25 | 2623948.0087 | 1156214.832 | 2623957.0346 | 1156208.3102
26 | 2623948.0087 | 1156214.832 | 2623926.8413 | 1156238.5598 | 2623963.3382 | 1156245.6971 | 2624000.0637 | 1156239.6734 | 2624012.1515 | 1156239.1212 | 2624015.6753 | 1156241.9811 | 2624018.4639 | 1156250.3631 | 2624019.1695 | 1156251.0798
27 | 2624446.3548 | 1155924.3635 | 2624411.8176 | 1155946.179 | 2624388.1833 | 1155959.1343 | 2624356.5407 | 1155970.7011 | 2624337.3031 | 1155975.5037 | 2624318.9492 | 1155976.0744 | 2624309.3771 | 1155978.3036 | 2624303.6264 | 1155983.7943 | 2624295.8454 | 1155998.2813 | 2624290.335 | 1156006.9301 | 2624241.802 | 1156055.7926 | 2624219.2114 | 1156080.2141 | 2624201.8401 | 1156097.7976 | 2624195.1424 | 1156102.3396 | 2624193.6624 | 1156102.3448 | 2624188.6009 | 1156102.369
28 | 2624188.6009 | 1156102.369 | 2624159.1604 | 1156112.0336 | 2624071.8685 | 1156157.9076 | 2623984.6393 | 1156188.3643 | 2623957.0346 | 1156208.3102

## bus_geodata
| x | y | coords
0 | 2623666.1575 | 1156783.6146
1 | 2623795.1733 | 1156649.1464
2 | 2623859.7464 | 1156529.1225
3 | 2623869.6644 | 1156515.6716
4 | 2623884.4521 | 1156379.8106
5 | 2624997.5895 | 1155609.7047
6 | 2624980.6576 | 1155630.7405
7 | 2624956.8793 | 1155543.786
8 | 2624951.4825 | 1155665.0674
9 | 2624923.5348 | 1155555.9965
10 | 2624870.54 | 1155775.6544
11 | 2624763.2403 | 1155627.9563
12 | 2624854.9162 | 1155783.3291
13 | 2624747.2068 | 1155640.9583
14 | 2624730.2787 | 1155654.0048
15 | 2624620.4987 | 1155768.9294
16 | 2624601.4776 | 1156591.7348
17 | 2624679.7681 | 1156308.1054
18 | 2624735.7203 | 1156890.5033
19 | 2624689.313 | 1156192.2353
20 | 2624507.8603 | 1156392.1354
21 | 2624357.3078 | 1156178.5375
22 | 2624255.7353 | 1156204.7118
23 | 2624272.6863 | 1156583.75
24 | 2623874.3705 | 1156233.4383
25 | 2623948.0087 | 1156214.832
26 | 2624019.1695 | 1156251.0798
27 | 2624446.3548 | 1155924.3635
28 | 2624188.6009 | 1156102.369
29 | 2623957.0346 | 1156208.3102
30 | 2624620.4987 | 1155768.9294

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1