## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_567-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_567-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_567-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_567-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_567-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_567-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_567-6_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_567-6_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_567-6_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_567-6_0_4_node_134 | 0.4 | n |  | TRUE
10 | bus_LV_567-6_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_567-6_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_567-6_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_567-6_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_567-6_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_567-6_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_567-6_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_567-6_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_567-6_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_567-6_0_4_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_567-6_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_567-6_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_567-6_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_567-6_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_567-6_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_567-6_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_567-6_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_567-6_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_567-6_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_567-6_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_567-6_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_567-6_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_567-6_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_567-6_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_567-6_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_567-6_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_567-6_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_567-6_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_567-6_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_567-6_0_4_node_166 | 0.4 | n |  | TRUE
40 | bus_LV_567-6_0_4_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_567-6_0_4_node_62 | 0.4 | n |  | TRUE
42 | bus_LV_567-6_0_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_567-6_0_4_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_567-6_0_4_node_135 | 0.4 | n |  | TRUE
45 | bus_LV_567-6_0_4_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_567-6_0_4_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_567-6_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_567-6_0_4_node_69 | 0.4 | n |  | TRUE
49 | bus_LV_567-6_0_4_node_70 | 0.4 | n |  | TRUE
50 | bus_LV_567-6_0_4_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_567-6_0_4_node_72 | 0.4 | n |  | TRUE
52 | bus_LV_567-6_0_4_node_73 | 0.4 | n |  | TRUE
53 | bus_LV_567-6_0_4_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_567-6_0_4_node_136 | 0.4 | n |  | TRUE
55 | bus_LV_567-6_0_4_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_567-6_0_4_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_567-6_0_4_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_567-6_0_4_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_567-6_0_4_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_567-6_0_4_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_567-6_0_4_node_79 | 0.4 | n |  | TRUE
62 | bus_LV_567-6_0_4_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_567-6_0_4_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_567-6_0_4_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_567-6_0_4_node_84 | 0.4 | n |  | TRUE
66 | bus_LV_567-6_0_4_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_567-6_0_4_node_173 | 0.4 | n |  | TRUE
68 | bus_LV_567-6_0_4_node_137 | 0.4 | n |  | TRUE
69 | bus_LV_567-6_0_4_node_162 | 0.4 | n |  | TRUE
70 | bus_LV_567-6_0_4_node_163 | 0.4 | n |  | TRUE
71 | bus_LV_567-6_0_4_node_165 | 0.4 | n |  | TRUE
72 | bus_LV_567-6_0_4_node_167 | 0.4 | n |  | TRUE
73 | bus_LV_567-6_0_4_node_171 | 0.4 | n |  | TRUE
74 | bus_LV_567-6_0_4_node_172 | 0.4 | n |  | TRUE
75 | bus_MV_80_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_567-6_0_4_load_0 | 0 | 0.00083333 | 0.00020885 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_567-6_0_4_load_1 | 1 | 0.00051278 | 0.00012852 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_567-6_0_4_load_3 | 3 | 0.00044075 | 0.00011046 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_567-6_0_4_load_4 | 4 | 0.0024982 | 0.00062611 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_567-6_0_4_load_5 | 5 | 0.0016731 | 0.00041932 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_567-6_0_4_load_6 | 6 | 0.00027234 | 6.8254e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_567-6_0_4_load_7 | 7 | 0.0005231 | 0.0001311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_567-6_0_4_load_134 | 9 | 0.001133 | 0.00028396 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_567-6_0_4_load_8 | 10 | 0.0014172 | 0.00035518 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_567-6_0_4_load_11 | 13 | 0.00044399 | 0.00011127 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_567-6_0_4_load_37 | 14 | 0.00038128 | 9.5557e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_567-6_0_4_load_60 | 15 | 0.00032209 | 8.0723e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_567-6_0_4_load_12 | 16 | 0.00058596 | 0.00014686 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_567-6_0_4_load_13 | 17 | 0.00099857 | 0.00025026 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_567-6_0_4_load_15 | 18 | 0.0015998 | 0.00040095 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_567-6_0_4_load_63 | 19 | 0.0011879 | 0.00029772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_567-6_0_4_load_16 | 20 | 0.0004428 | 0.00011097 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_567-6_0_4_load_17 | 21 | 0.00065052 | 0.00016304 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_567-6_0_4_load_19 | 23 | 0.00030348 | 7.6059e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_567-6_0_4_load_20 | 24 | 0.0013783 | 0.00034544 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_567-6_0_4_load_21 | 25 | 0.001943 | 0.00048696 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_567-6_0_4_load_28 | 28 | 0.00078344 | 0.00019635 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_567-6_0_4_load_25 | 29 | 0.00039392 | 9.8725e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_567-6_0_4_load_30 | 30 | 0.0015576 | 0.00039038 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_567-6_0_4_load_24 | 31 | 0.00037775 | 9.4673e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_567-6_0_4_load_29 | 33 | 0.00064656 | 0.00016204 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_567-6_0_4_load_31 | 34 | 0.00041215 | 0.00010329 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_567-6_0_4_load_34 | 36 | 0.00061498 | 0.00015413 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_567-6_0_4_load_35 | 37 | 0.00074272 | 0.00018614 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_567-6_0_4_load_36 | 38 | 0.00066388 | 0.00016638 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_567-6_0_4_load_166 | 39 | 0.0082632 | 0.0020709 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_567-6_0_4_load_61 | 40 | 0.0012918 | 0.00032376 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_567-6_0_4_load_62 | 41 | 0.0010347 | 0.00025931 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_567-6_0_4_load_64 | 42 | 0.0020186 | 0.0005059 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_567-6_0_4_load_65 | 43 | 0.0015345 | 0.00038459 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_567-6_0_4_load_66 | 45 | 0.001842 | 0.00046164 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_567-6_0_4_load_67 | 46 | 0.0016041 | 0.00040202 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_567-6_0_4_load_68 | 47 | 0.00034817 | 8.726e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_567-6_0_4_load_69 | 48 | 0.0013905 | 0.00034849 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_567-6_0_4_load_71 | 50 | 0.0013905 | 0.00034849 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_567-6_0_4_load_72 | 51 | 0.00044014 | 0.00011031 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_567-6_0_4_load_87 | 53 | 0.0013905 | 0.00034849 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_567-6_0_4_load_136 | 54 | 0.0013905 | 0.00034849 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_567-6_0_4_load_82 | 55 | 0.0061059 | 0.0015303 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_567-6_0_4_load_74 | 56 | 0.0019842 | 0.0004973 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_567-6_0_4_load_77 | 59 | 0.0023289 | 0.00058369 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_567-6_0_4_load_78 | 60 | 0.0023356 | 0.00058536 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_567-6_0_4_load_79 | 61 | 0.001418 | 0.00035538 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_567-6_0_4_load_81 | 62 | 0.00075746 | 0.00018984 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_567-6_0_4_load_83 | 63 | 0.0025354 | 0.00063544 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_567-6_0_4_load_86 | 64 | 0.013319 | 0.0033381 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_567-6_0_4_load_84 | 65 | 0.00088257 | 0.00022119 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_567-6_0_4_load_85 | 66 | 0.0019206 | 0.00048135 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_567-6_0_4_load_173 | 67 | 0.0013905 | 0.00034849 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_567-6_0_4_load_137 | 68 | 0.0013905 | 0.00034849 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_567-6_0_4_load_162 | 69 | 0.0018326 | 0.0004593 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_567-6_0_4_load_163 | 70 | 0.00053383 | 0.00013379 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_567-6_0_4_load_165 | 71 | 0.0048951 | 0.0012268 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_567-6_0_4_load_172 | 74 | 0.017365 | 0.0043521 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_567-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_567-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0035999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_567-6_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_567-6_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.030311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_567-6_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.088536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_567-6_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0067399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_567-6_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0057099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_567-6_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.018303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_567-6_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0078749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_567-6_0_4_line_9 | NAYY 4x150 SE | 8 | 33 | 0.047154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_567-6_0_4_line_10 | NAYY 4x150 SE | 8 | 32 | 0.054871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_567-6_0_4_line_11 | NAYY 4x150 SE | 9 | 44 | 0.010147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_567-6_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_567-6_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.046098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_567-6_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.052702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_567-6_0_4_line_15 | NAYY 4x150 SE | 11 | 14 | 0.19444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_567-6_0_4_line_16 | NAYY 4x150 SE | 11 | 15 | 0.11094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_567-6_0_4_line_17 | NAYY 4x150 SE | 12 | 16 | 0.022711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_567-6_0_4_line_18 | NAYY 4x150 SE | 12 | 17 | 0.0055918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_567-6_0_4_line_19 | NAYY 4x150 SE | 14 | 38 | 0.0035231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_567-6_0_4_line_20 | NAYY 4x150 SE | 15 | 39 | 0.20297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_567-6_0_4_line_21 | NAYY 4x150 SE | 16 | 18 | 0.011518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_567-6_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.16503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_567-6_0_4_line_23 | NAYY 4x150 SE | 19 | 42 | 0.017059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_567-6_0_4_line_24 | NAYY 4x150 SE | 19 | 41 | 0.099641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_567-6_0_4_line_25 | NAYY 4x150 SE | 20 | 21 | 0.18322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_567-6_0_4_line_26 | NAYY 4x150 SE | 20 | 22 | 0.015116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_567-6_0_4_line_27 | NAYY 4x150 SE | 21 | 23 | 0.011009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_567-6_0_4_line_28 | NAYY 4x150 SE | 22 | 24 | 0.067402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_567-6_0_4_line_29 | NAYY 4x150 SE | 22 | 25 | 0.19532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_567-6_0_4_line_30 | NAYY 4x150 SE | 23 | 26 | 0.011993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_567-6_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.0033889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_567-6_0_4_line_32 | NAYY 4x150 SE | 26 | 28 | 0.010585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_567-6_0_4_line_33 | NAYY 4x150 SE | 26 | 29 | 0.15556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_567-6_0_4_line_34 | NAYY 4x150 SE | 27 | 30 | 0.029854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_567-6_0_4_line_35 | NAYY 4x150 SE | 29 | 31 | 0.036588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_567-6_0_4_line_36 | NAYY 4x150 SE | 30 | 34 | 0.078463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_567-6_0_4_line_37 | NAYY 4x150 SE | 31 | 32 | 0.095727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_567-6_0_4_line_38 | NAYY 4x150 SE | 34 | 35 | 0.0028268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_567-6_0_4_line_39 | NAYY 4x150 SE | 35 | 36 | 0.060991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_567-6_0_4_line_40 | NAYY 4x150 SE | 35 | 37 | 0.008109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_567-6_0_4_line_41 | NAYY 4x150 SE | 39 | 72 | 0.076079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_567-6_0_4_line_42 | NAYY 4x150 SE | 39 | 71 | 0.099539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_567-6_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.033102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_567-6_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.016558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_567-6_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.02057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_567-6_0_4_line_46 | NAYY 4x150 SE | 44 | 52 | 0.015286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_567-6_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0004285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_567-6_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.037747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_567-6_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.0071691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_567-6_0_4_line_50 | NAYY 4x150 SE | 47 | 49 | 0.002718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_567-6_0_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0072395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_567-6_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.017968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_567-6_0_4_line_53 | NAYY 4x150 SE | 49 | 52 | 0.025888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_567-6_0_4_line_54 | NAYY 4x150 SE | 50 | 53 | 0.012941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_567-6_0_4_line_55 | NAYY 4x150 SE | 51 | 54 | 0.015336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_567-6_0_4_line_56 | NAYY 4x150 SE | 52 | 55 | 0.0091254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_567-6_0_4_line_57 | NAYY 4x150 SE | 53 | 67 | 0.0053965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_567-6_0_4_line_58 | NAYY 4x150 SE | 54 | 68 | 0.019167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_567-6_0_4_line_59 | NAYY 4x150 SE | 55 | 60 | 0.0062049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_567-6_0_4_line_60 | NAYY 4x150 SE | 56 | 57 | 0.021781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_567-6_0_4_line_61 | NAYY 4x150 SE | 56 | 58 | 0.011626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_567-6_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.011684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_567-6_0_4_line_63 | NAYY 4x150 SE | 57 | 60 | 0.014949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_567-6_0_4_line_64 | NAYY 4x150 SE | 58 | 61 | 0.017186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_567-6_0_4_line_65 | NAYY 4x150 SE | 59 | 62 | 0.01349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_567-6_0_4_line_66 | NAYY 4x150 SE | 61 | 63 | 0.012548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_567-6_0_4_line_67 | NAYY 4x150 SE | 63 | 64 | 0.039271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_567-6_0_4_line_68 | NAYY 4x150 SE | 64 | 65 | 0.026014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_567-6_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.047869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_567-6_0_4_line_70 | NAYY 4x150 SE | 69 | 70 | 0.012093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_567-6_0_4_line_71 | NAYY 4x150 SE | 70 | 71 | 0.058622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_567-6_0_4_line_72 | NAYY 4x150 SE | 72 | 73 | 0.13925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_567-6_0_4_line_73 | NAYY 4x150 SE | 73 | 74 | 0.057687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_567-6_0_4_trafo_15 | 0.25 MVA 20/0.4 kV | 75 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2619521.0956 | 1165118.9038 | 2619532.2534 | 1165109.8842 | 2619539.8674 | 1165094.1496
1 | 2619518.2961 | 1165121.1669 | 2619521.0956 | 1165118.9038
2 | 2619547.4728 | 1165073.4299 | 2619546.6445 | 1165075.8137 | 2619540.471 | 1165092.9023 | 2619539.8674 | 1165094.1496
3 | 2619518.2961 | 1165121.1669 | 2619498.3198 | 1165137.3214 | 2619495.8303 | 1165141.2138
4 | 2619501.8417 | 1165042.8187 | 2619506.1965 | 1165052.949 | 2619508.5514 | 1165063.5175 | 2619504.6841 | 1165075.4665 | 2619499.4285 | 1165090.5126 | 2619499.4053 | 1165097.6828 | 2619500.8236 | 1165104.2351 | 2619507.7837 | 1165111.4279 | 2619514.9531 | 1165117.7988 | 2619518.2961 | 1165121.1669
5 | 2619549.6849 | 1165067.0633 | 2619547.4728 | 1165073.4299
6 | 2619492.7537 | 1165146.024 | 2619495.8303 | 1165141.2138
7 | 2619557.3315 | 1165050.6358 | 2619555.8262 | 1165052.0205 | 2619551.2049 | 1165062.6886 | 2619549.6849 | 1165067.0633
8 | 2619492.7537 | 1165146.024 | 2619488.5106 | 1165152.658
9 | 2619579.5703 | 1165009.9209 | 2619563.2725 | 1165034.4358 | 2619557.6905 | 1165043.8335 | 2619557.3315 | 1165050.6358
10 | 2619605.0897 | 1165024.789 | 2619596.7799 | 1165027.6412 | 2619586.884 | 1165030.8329 | 2619576.1773 | 1165036.1007 | 2619565.3342 | 1165043.2914 | 2619557.3315 | 1165050.6358
11 | 2619483.0432 | 1165161.2062 | 2619488.5106 | 1165152.658
12 | 2619478.8583 | 1164683.9756 | 2619517.0823 | 1164770.1091 | 2619521.8982 | 1164789.2565 | 2619519.343 | 1164872.2403
13 | 2619497.1748 | 1164911.4155 | 2619519.0998 | 1164880.1374 | 2619519.343 | 1164872.2403
14 | 2619478.8583 | 1164683.9756 | 2619476.3764 | 1164631.3318
15 | 2619478.8583 | 1164683.9756 | 2619670.5983 | 1164651.6708
16 | 2619478.8583 | 1164683.9756 | 2619368.3882 | 1164694.1383
17 | 2619497.1748 | 1164911.4155 | 2619495.5862 | 1164934.0707
18 | 2619497.1748 | 1164911.4155 | 2619494.4675 | 1164910.3396 | 2619494.084 | 1164907.6886
19 | 2619670.5983 | 1164651.6708 | 2619670.8004 | 1164648.1536
20 | 2619368.3882 | 1164694.1383 | 2619201.1427 | 1164579.1322
21 | 2619494.7805 | 1164945.5605 | 2619495.5862 | 1164934.0707
22 | 2619494.7805 | 1164945.5605 | 2619494.3731 | 1164951.3709 | 2619491.8458 | 1165010.6481 | 2619484.6938 | 1165058.0487 | 2619473.8061 | 1165100.4014 | 2619473.3992 | 1165108.594
23 | 2619472.553 | 1165125.6323 | 2619473.3992 | 1165108.594
24 | 2619473.3992 | 1165108.594 | 2619381.0247 | 1165071.2394
25 | 2619886.4413 | 1165029.4574 | 2619882.9807 | 1165033.9593 | 2619879.5824 | 1165040.4514 | 2619853.9879 | 1165057.9202 | 2619843.3923 | 1165068.9353 | 2619837.7916 | 1165076.8875 | 2619830.6682 | 1165093.8504 | 2619823.4978 | 1165101.7975 | 2619815.6279 | 1165108.286 | 2619811.8602 | 1165110.7192 | 2619808.1862 | 1165112.6081 | 2619802.1553 | 1165114.0446 | 2619791.3027 | 1165114.7649 | 2619785.6032 | 1165113.2009 | 2619778.6751 | 1165112.7224 | 2619772.3613 | 1165114.0245 | 2619765.1823 | 1165112.9671 | 2619760.8782 | 1165110.8742 | 2619743.2467 | 1165107.914
26 | 2619897.7524 | 1165038.3547 | 2619888.7086 | 1165029.2425 | 2619886.4413 | 1165029.4574
27 | 2619732.3897 | 1165106.0912 | 2619743.2467 | 1165107.914
28 | 2619897.7524 | 1165038.3547 | 2619896.0712 | 1165044.2966 | 2619894.4323 | 1165053.6403 | 2619892.8082 | 1165070.0988 | 2619891.3291 | 1165105.256
29 | 2619897.7524 | 1165038.3547 | 2619901.3989 | 1165028.5841 | 2619915.715 | 1164999.3722 | 2619922.8632 | 1164979.6638 | 2619927.9066 | 1164962.0049 | 2619934.2182 | 1164929.0092 | 2619939.1588 | 1164912.3283 | 2619943.6391 | 1164900.5483 | 2619950.7301 | 1164884.3081 | 2619959.2197 | 1164873.5308 | 2619969.0733 | 1164862.4578 | 2619971.6519 | 1164860.6125
30 | 2619720.5623 | 1165104.1055 | 2619732.3897 | 1165106.0912
31 | 2619974.4079 | 1164858.6403 | 2619971.6519 | 1164860.6125
32 | 2619721.9752 | 1165114.5931 | 2619720.5623 | 1165104.1055
33 | 2619720.5623 | 1165104.1055 | 2619719.77 | 1165098.211 | 2619714.3046 | 1165074.2367 | 2619709.0389 | 1165050.0629 | 2619706.8336 | 1165033.6697 | 2619707.29 | 1165020.5757 | 2619708.5589 | 1165009.5187 | 2619708.5784 | 1165003.5825 | 2619707.5724 | 1164997.4317 | 2619706.1543 | 1164990.8793 | 2619700.0464 | 1164973.6618 | 2619697.4144 | 1164963.626 | 2619695.807 | 1164951.737 | 2619695.807 | 1164951.737
34 | 2619974.4079 | 1164858.6403 | 2619967.5803 | 1164876.2598 | 2619966.7732 | 1164887.188
35 | 2619695.807 | 1164951.737 | 2619694.1834 | 1164944.7726 | 2619692.346 | 1164942.3098 | 2619688.9688 | 1164942.3877 | 2619686.1798 | 1164942.9122 | 2619684.1223 | 1164944.5396 | 2619681.0314 | 1164948.4204 | 2619676.8105 | 1164953.6092 | 2619672.4851 | 1164957.5853
36 | 2619976.2143 | 1164964.7995 | 2619965.8566 | 1164899.5992 | 2619966.7732 | 1164887.188
37 | 2619605.0897 | 1165024.789 | 2619610.0328 | 1165021.1477 | 2619614.318 | 1165017.3264 | 2619620.652 | 1165009.8433 | 2619626.2225 | 1165001.6795 | 2619633.8498 | 1164992.0773 | 2619641.4748 | 1164985.5544 | 2619654.2422 | 1164975.3576 | 2619664.4479 | 1164966.4642 | 2619671.1347 | 1164958.8266 | 2619672.4851 | 1164957.5853
38 | 2619976.6579 | 1164967.5913 | 2619976.2143 | 1164964.7995
39 | 2619976.6579 | 1164967.5913 | 2619997.464 | 1164967.2712 | 2620002.7931 | 1164971.9913 | 2620003.7552 | 1164988.9808 | 2619998.3611 | 1164999.2013 | 2619996.452 | 1165003.2656
40 | 2619977.9254 | 1164975.5995 | 2619976.6579 | 1164967.5913
41 | 2619216.4017 | 1164504.9659 | 2619208.747 | 1164525.5741 | 2619201.1427 | 1164579.1322
42 | 2619201.1427 | 1164579.1322 | 2619193.5889 | 1164632.3348 | 2619172.9252 | 1164647.7212 | 2619161.0132 | 1164656.2543 | 2619157.5083 | 1164660.3452 | 2619157.5083 | 1164660.3452
43 | 2619377.3471 | 1165038.3455 | 2619379.2087 | 1165052.9506 | 2619381.0247 | 1165071.2394
44 | 2619472.553 | 1165125.6323 | 2619472.553 | 1165125.6323 | 2619474.0902 | 1165133.33 | 2619476.7531 | 1165141.6213
45 | 2619483.0432 | 1165161.2062 | 2619476.7531 | 1165141.6213
46 | 2619483.0432 | 1165161.2062 | 2619489.0238 | 1165175.2771
47 | 2619553.8228 | 1165190.3611 | 2619553.8228 | 1165190.3611 | 2619553.4131 | 1165190.2355
48 | 2619553.4131 | 1165190.2355 | 2619517.3249 | 1165179.1697
49 | 2619559.9042 | 1165186.5647 | 2619553.8228 | 1165190.3611
50 | 2619514.7263 | 1165178.3729 | 2619517.3249 | 1165179.1697
51 | 2619566.0453 | 1165182.731 | 2619559.9042 | 1165186.5647
52 | 2619514.7263 | 1165178.3729 | 2619530.0589 | 1165169.0041
53 | 2619489.0238 | 1165175.2771 | 2619508.4882 | 1165177.619 | 2619514.7263 | 1165178.3729
54 | 2619577.0227 | 1165175.8781 | 2619566.0453 | 1165182.731
55 | 2619543.1454 | 1165161.0077 | 2619530.0589 | 1165169.0041
56 | 2619489.0238 | 1165175.2771 | 2619488.3882 | 1165184.3803
57 | 2619577.0227 | 1165175.8781 | 2619581.6004 | 1165173.0204
58 | 2619543.1454 | 1165161.0077 | 2619559.5009 | 1165151.0138
59 | 2619487.956 | 1165190.5702 | 2619488.3882 | 1165184.3803
60 | 2619484.1266 | 1165205.0206 | 2619481.9598 | 1165214.4739 | 2619483.681 | 1165226.4336
61 | 2619485.3372 | 1165237.941 | 2619483.681 | 1165226.4336
62 | 2619484.1266 | 1165205.0206 | 2619472.4723 | 1165204.1909
63 | 2619484.1266 | 1165205.0206 | 2619487.956 | 1165190.5702
64 | 2619485.3372 | 1165237.941 | 2619501.8456 | 1165242.719 | 2619501.8456 | 1165242.719
65 | 2619472.4723 | 1165204.1909 | 2619459.0164 | 1165203.2329
66 | 2619512.7227 | 1165248.9748 | 2619501.8456 | 1165242.719
67 | 2619547.9937 | 1165264.5697 | 2619538.5843 | 1165263.8486 | 2619512.7227 | 1165248.9748
68 | 2619547.9937 | 1165264.5697 | 2619563.425 | 1165265.7523 | 2619573.6967 | 1165263.4007
69 | 2619573.6967 | 1165263.4007 | 2619614.6041 | 1165254.035 | 2619620.5011 | 1165254.3119
70 | 2619155.3534 | 1164728.2561 | 2619154.8453 | 1164722.3679 | 2619155.7942 | 1164716.2579
71 | 2619155.7942 | 1164716.2579 | 2619161.1386 | 1164681.8453 | 2619157.8697 | 1164676.7213 | 2619160.9793 | 1164666.904 | 2619157.5083 | 1164660.3452
72 | 2619137.5634 | 1164393.9484 | 2619163.7569 | 1164417.1543 | 2619189.9687 | 1164444.129 | 2619205.0892 | 1164469.4676 | 2619216.4017 | 1164504.9659
73 | 2619137.5634 | 1164393.9484 | 2619098.6858 | 1164436.6577

## bus_geodata
| x | y | coords
0 | 2619521.0956 | 1165118.9038
1 | 2619539.8674 | 1165094.1496
2 | 2619518.2961 | 1165121.1669
3 | 2619547.4728 | 1165073.4299
4 | 2619495.8303 | 1165141.2138
5 | 2619501.8417 | 1165042.8187
6 | 2619549.6849 | 1165067.0633
7 | 2619492.7537 | 1165146.024
8 | 2619557.3315 | 1165050.6358
9 | 2619488.5106 | 1165152.658
10 | 2619519.343 | 1164872.2403
11 | 2619478.8583 | 1164683.9756
12 | 2619497.1748 | 1164911.4155
13 | 2619476.3764 | 1164631.3318
14 | 2619670.5983 | 1164651.6708
15 | 2619368.3882 | 1164694.1383
16 | 2619495.5862 | 1164934.0707
17 | 2619494.084 | 1164907.6886
18 | 2619494.7805 | 1164945.5605
19 | 2619473.3992 | 1165108.594
20 | 2619886.4413 | 1165029.4574
21 | 2619743.2467 | 1165107.914
22 | 2619897.7524 | 1165038.3547
23 | 2619732.3897 | 1165106.0912
24 | 2619891.3291 | 1165105.256
25 | 2619971.6519 | 1164860.6125
26 | 2619720.5623 | 1165104.1055
27 | 2619974.4079 | 1164858.6403
28 | 2619721.9752 | 1165114.5931
29 | 2619695.807 | 1164951.737
30 | 2619966.7732 | 1164887.188
31 | 2619672.4851 | 1164957.5853
32 | 2619605.0897 | 1165024.789
33 | 2619579.5703 | 1165009.9209
34 | 2619976.2143 | 1164964.7995
35 | 2619976.6579 | 1164967.5913
36 | 2619996.452 | 1165003.2656
37 | 2619977.9254 | 1164975.5995
38 | 2619670.8004 | 1164648.1536
39 | 2619201.1427 | 1164579.1322
40 | 2619377.3471 | 1165038.3455
41 | 2619381.0247 | 1165071.2394
42 | 2619472.553 | 1165125.6323
43 | 2619476.7531 | 1165141.6213
44 | 2619483.0432 | 1165161.2062
45 | 2619553.4131 | 1165190.2355
46 | 2619553.8228 | 1165190.3611
47 | 2619517.3249 | 1165179.1697
48 | 2619559.9042 | 1165186.5647
49 | 2619514.7263 | 1165178.3729
50 | 2619566.0453 | 1165182.731
51 | 2619530.0589 | 1165169.0041
52 | 2619489.0238 | 1165175.2771
53 | 2619577.0227 | 1165175.8781
54 | 2619543.1454 | 1165161.0077
55 | 2619488.3882 | 1165184.3803
56 | 2619483.681 | 1165226.4336
57 | 2619484.1266 | 1165205.0206
58 | 2619485.3372 | 1165237.941
59 | 2619472.4723 | 1165204.1909
60 | 2619487.956 | 1165190.5702
61 | 2619501.8456 | 1165242.719
62 | 2619459.0164 | 1165203.2329
63 | 2619512.7227 | 1165248.9748
64 | 2619547.9937 | 1165264.5697
65 | 2619573.6967 | 1165263.4007
66 | 2619620.5011 | 1165254.3119
67 | 2619581.6004 | 1165173.0204
68 | 2619559.5009 | 1165151.0138
69 | 2619155.3534 | 1164728.2561
70 | 2619155.7942 | 1164716.2579
71 | 2619157.5083 | 1164660.3452
72 | 2619216.4017 | 1164504.9659
73 | 2619137.5634 | 1164393.9484
74 | 2619098.6858 | 1164436.6577
75 | 2619497.1748 | 1164911.4155

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1