## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_571-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_571-1_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_571-1_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_571-1_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_571-1_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_571-1_0_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_571-1_0_2_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_571-1_0_2_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_571-1_0_2_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_571-1_0_2_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_571-1_0_2_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_571-1_0_2_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_571-1_0_2_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_571-1_0_2_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_571-1_0_2_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_571-1_0_2_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_571-1_0_2_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_571-1_0_2_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_571-1_0_2_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_571-1_0_2_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_571-1_0_2_node_64 | 0.4 | n |  | TRUE
21 | bus_LV_571-1_0_2_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_571-1_0_2_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_571-1_0_2_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_571-1_0_2_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_571-1_0_2_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_571-1_0_2_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_571-1_0_2_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_571-1_0_2_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_571-1_0_2_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_571-1_0_2_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_571-1_0_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_571-1_0_2_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_571-1_0_2_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_571-1_0_2_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_571-1_0_2_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_571-1_0_2_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_571-1_0_2_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_571-1_0_2_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_571-1_0_2_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_571-1_0_2_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_571-1_0_2_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_571-1_0_2_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_571-1_0_2_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_571-1_0_2_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_571-1_0_2_node_72 | 0.4 | n |  | TRUE
46 | bus_LV_571-1_0_2_node_56 | 0.4 | n |  | TRUE
47 | bus_LV_571-1_0_2_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_571-1_0_2_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_571-1_0_2_node_67 | 0.4 | n |  | TRUE
50 | bus_LV_571-1_0_2_node_77 | 0.4 | n |  | TRUE
51 | bus_LV_571-1_0_2_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_571-1_0_2_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_571-1_0_2_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_571-1_0_2_node_80 | 0.4 | n |  | TRUE
55 | bus_LV_571-1_0_2_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_571-1_0_2_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_571-1_0_2_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_571-1_0_2_node_83 | 0.4 | n |  | TRUE
59 | bus_LV_571-1_0_2_node_95 | 0.4 | n |  | TRUE
60 | bus_LV_571-1_0_2_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_571-1_0_2_node_98 | 0.4 | n |  | TRUE
62 | bus_LV_571-1_0_2_node_99 | 0.4 | n |  | TRUE
63 | bus_LV_571-1_0_2_node_105 | 0.4 | n |  | TRUE
64 | bus_LV_571-1_0_2_node_106 | 0.4 | n |  | TRUE
65 | bus_LV_571-1_0_2_node_109 | 0.4 | n |  | TRUE
66 | bus_LV_571-1_0_2_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_571-1_0_2_node_111 | 0.4 | n |  | TRUE
68 | bus_LV_571-1_0_2_node_139 | 0.4 | n |  | TRUE
69 | bus_LV_571-1_0_2_node_138 | 0.4 | n |  | TRUE
70 | bus_LV_571-1_0_2_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_571-1_0_2_node_113 | 0.4 | n |  | TRUE
72 | bus_LV_571-1_0_2_node_114 | 0.4 | n |  | TRUE
73 | bus_LV_571-1_0_2_node_133 | 0.4 | n |  | TRUE
74 | bus_LV_571-1_0_2_node_134 | 0.4 | n |  | TRUE
75 | bus_MV_0_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_571-1_0_2_load_0 | 0 | 0.008148 | 0.0020421 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_571-1_0_2_load_4 | 4 | 0.0016148 | 0.00040471 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_571-1_0_2_load_20 | 5 | 0.0015455 | 0.00038734 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_571-1_0_2_load_17 | 6 | 0.0024332 | 0.00060982 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_571-1_0_2_load_78 | 7 | 0.00056569 | 0.00014177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_571-1_0_2_load_18 | 8 | 0.0010962 | 0.00027474 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_571-1_0_2_load_19 | 9 | 0.0015972 | 0.00040029 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_571-1_0_2_load_34 | 11 | 0.0013986 | 0.00035053 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_571-1_0_2_load_35 | 12 | 0.00078976 | 0.00019793 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_571-1_0_2_load_36 | 13 | 0.0013992 | 0.00035067 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_571-1_0_2_load_37 | 14 | 0.001218 | 0.00030525 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_571-1_0_2_load_38 | 15 | 0.0020813 | 0.00052162 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_571-1_0_2_load_65 | 17 | 0.0018669 | 0.00046789 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_571-1_0_2_load_55 | 19 | 0.00085474 | 0.00021422 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_571-1_0_2_load_64 | 20 | 0.0011874 | 0.0002976 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_571-1_0_2_load_39 | 21 | 0.00033173 | 8.314e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_571-1_0_2_load_40 | 22 | 0.000656 | 0.00016441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_571-1_0_2_load_41 | 23 | 0.0016571 | 0.0004153 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_571-1_0_2_load_43 | 25 | 0.0013451 | 0.00033711 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_571-1_0_2_load_70 | 26 | 0.00022841 | 5.7245e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_571-1_0_2_load_63 | 28 | 0.0022947 | 0.00057512 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_571-1_0_2_load_54 | 30 | 0.00042799 | 0.00010726 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_571-1_0_2_load_51 | 31 | 0.00078166 | 0.0001959 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_571-1_0_2_load_62 | 32 | 0.0017349 | 0.00043481 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_571-1_0_2_load_60 | 33 | 0.00032466 | 8.1368e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_571-1_0_2_load_46 | 34 | 0.00086081 | 0.00021574 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_571-1_0_2_load_47 | 35 | 0.00050023 | 0.00012537 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_571-1_0_2_load_48 | 36 | 0.00059429 | 0.00014894 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_571-1_0_2_load_49 | 37 | 0.00090409 | 0.00022659 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_571-1_0_2_load_50 | 38 | 0.00061848 | 0.00015501 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_571-1_0_2_load_84 | 39 | 0.0012246 | 0.00030691 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_571-1_0_2_load_82 | 40 | 0.00042576 | 0.00010671 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_571-1_0_2_load_66 | 41 | 0.00076901 | 0.00019273 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_571-1_0_2_load_53 | 42 | 0.00059542 | 0.00014923 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_571-1_0_2_load_96 | 43 | 0.00036894 | 9.2465e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_571-1_0_2_load_71 | 44 | 0.0018051 | 0.00045239 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_571-1_0_2_load_72 | 45 | 0.0003616 | 9.0626e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_571-1_0_2_load_56 | 46 | 0.0010194 | 0.00025547 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_571-1_0_2_load_58 | 47 | 0.0010627 | 0.00026634 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_571-1_0_2_load_76 | 48 | 0.0018331 | 0.00045942 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_571-1_0_2_load_75 | 51 | 0.00037471 | 9.3911e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_571-1_0_2_load_68 | 52 | 0.00094044 | 0.0002357 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_571-1_0_2_load_69 | 53 | 0.00099465 | 0.00024928 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_571-1_0_2_load_80 | 54 | 0.0012669 | 0.00031751 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_571-1_0_2_load_73 | 55 | 0.00021769 | 5.4557e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_571-1_0_2_load_74 | 56 | 0.00072396 | 0.00018144 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_571-1_0_2_load_81 | 57 | 0.0006864 | 0.00017203 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_571-1_0_2_load_83 | 58 | 0.0013756 | 0.00034477 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_571-1_0_2_load_95 | 59 | 0.00045869 | 0.00011496 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_571-1_0_2_load_97 | 60 | 0.00031344 | 7.8556e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_571-1_0_2_load_98 | 61 | 0.00064838 | 0.0001625 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_571-1_0_2_load_99 | 62 | 0.00022153 | 5.552e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_571-1_0_2_load_105 | 63 | 0.00021558 | 5.4029e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_571-1_0_2_load_106 | 64 | 0.0002416 | 6.055e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_571-1_0_2_load_109 | 65 | 0.00021461 | 5.3785e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_571-1_0_2_load_110 | 66 | 0.00019356 | 4.8512e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_571-1_0_2_load_111 | 67 | 0.00025337 | 6.3501e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_571-1_0_2_load_139 | 68 | 0.00023648 | 5.9267e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_571-1_0_2_load_138 | 69 | 0.00028708 | 7.1949e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_571-1_0_2_load_112 | 70 | 0.00044661 | 0.00011193 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_571-1_0_2_load_113 | 71 | 0.00040195 | 0.00010074 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_571-1_0_2_load_114 | 72 | 0.00051365 | 0.00012873 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_571-1_0_2_load_133 | 73 | 0.00043703 | 0.00010953 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_571-1_0_2_load_134 | 74 | 0.001033 | 0.00025889 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_571-1_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_571-1_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_571-1_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_571-1_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_571-1_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.098871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_571-1_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.047166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_571-1_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.053159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_571-1_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.01859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_571-1_0_2_line_8 | NAYY 4x150 SE | 7 | 10 | 0.07254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_571-1_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.030499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_571-1_0_2_line_10 | NAYY 4x150 SE | 10 | 54 | 0.039439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_571-1_0_2_line_11 | NAYY 4x150 SE | 11 | 12 | 0.02756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_571-1_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.019285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_571-1_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.044884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_571-1_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0080974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_571-1_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0059826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_571-1_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0082042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_571-1_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.013023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_571-1_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.0092563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_571-1_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.018583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_571-1_0_2_line_20 | NAYY 4x150 SE | 18 | 41 | 0.03611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_571-1_0_2_line_21 | NAYY 4x150 SE | 18 | 38 | 0.0075379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_571-1_0_2_line_22 | NAYY 4x150 SE | 19 | 46 | 0.025493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_571-1_0_2_line_23 | NAYY 4x150 SE | 20 | 32 | 0.069562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_571-1_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.030929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_571-1_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.08982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_571-1_0_2_line_26 | NAYY 4x150 SE | 22 | 24 | 0.02853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_571-1_0_2_line_27 | NAYY 4x150 SE | 23 | 25 | 0.019955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_571-1_0_2_line_28 | NAYY 4x150 SE | 24 | 26 | 0.0027068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_571-1_0_2_line_29 | NAYY 4x150 SE | 24 | 27 | 0.062046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_571-1_0_2_line_30 | NAYY 4x150 SE | 25 | 28 | 0.016452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_571-1_0_2_line_31 | NAYY 4x150 SE | 26 | 29 | 0.015127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_571-1_0_2_line_32 | NAYY 4x150 SE | 27 | 30 | 0.029479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_571-1_0_2_line_33 | NAYY 4x150 SE | 27 | 31 | 0.018293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_571-1_0_2_line_34 | NAYY 4x150 SE | 28 | 32 | 0.0014118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_571-1_0_2_line_35 | NAYY 4x150 SE | 29 | 50 | 0.11686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_571-1_0_2_line_36 | NAYY 4x150 SE | 29 | 33 | 0.068838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_571-1_0_2_line_37 | NAYY 4x150 SE | 30 | 44 | 0.010999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_571-1_0_2_line_38 | NAYY 4x150 SE | 31 | 42 | 0.0099183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_571-1_0_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.049212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_571-1_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.0066193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_571-1_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.014019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_571-1_0_2_line_42 | NAYY 4x150 SE | 36 | 38 | 0.016724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_571-1_0_2_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0045973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_571-1_0_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0019884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_571-1_0_2_line_45 | NAYY 4x150 SE | 40 | 57 | 0.023948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_571-1_0_2_line_46 | NAYY 4x150 SE | 41 | 49 | 0.082253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_571-1_0_2_line_47 | NAYY 4x150 SE | 42 | 43 | 0.10251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_571-1_0_2_line_48 | NAYY 4x150 SE | 43 | 61 | 0.035106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_571-1_0_2_line_49 | NAYY 4x150 SE | 43 | 59 | 0.008983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_571-1_0_2_line_50 | NAYY 4x150 SE | 44 | 45 | 0.032439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_571-1_0_2_line_51 | NAYY 4x150 SE | 45 | 55 | 0.010222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_571-1_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.027336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_571-1_0_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.032155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_571-1_0_2_line_54 | NAYY 4x150 SE | 49 | 52 | 0.041886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_571-1_0_2_line_55 | NAYY 4x150 SE | 49 | 53 | 0.036908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_571-1_0_2_line_56 | NAYY 4x150 SE | 50 | 51 | 0.084341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_571-1_0_2_line_57 | NAYY 4x150 SE | 51 | 56 | 0.036229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_571-1_0_2_line_58 | NAYY 4x150 SE | 53 | 54 | 0.045738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_571-1_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0052899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_571-1_0_2_line_60 | NAYY 4x150 SE | 59 | 60 | 0.0021789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_571-1_0_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.01043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_571-1_0_2_line_62 | NAYY 4x150 SE | 61 | 63 | 0.0063184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_571-1_0_2_line_63 | NAYY 4x150 SE | 63 | 64 | 0.044887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_571-1_0_2_line_64 | NAYY 4x150 SE | 64 | 65 | 0.0012304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_571-1_0_2_line_65 | NAYY 4x150 SE | 65 | 66 | 0.049895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_571-1_0_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.0094607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_571-1_0_2_line_67 | NAYY 4x150 SE | 67 | 68 | 0.036093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_571-1_0_2_line_68 | NAYY 4x150 SE | 68 | 69 | 0.055961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_571-1_0_2_line_69 | NAYY 4x150 SE | 69 | 74 | 0.023754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_571-1_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.058114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_571-1_0_2_line_71 | NAYY 4x150 SE | 71 | 72 | 0.0089678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_571-1_0_2_line_72 | NAYY 4x150 SE | 72 | 73 | 0.017216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_571-1_0_2_line_73 | NAYY 4x150 SE | 73 | 74 | 0.072184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_571-1_0_2_trafo_64 | 0.25 MVA 20/0.4 kV | 75 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2624973.5023 | 1171104.8972 | 2624975.3236 | 1171102.8815 | 2624978.0237 | 1171101.0807 | 2624980.6267 | 1171100.5801 | 2624984.2262 | 1171097.727
1 | 2624970.0243 | 1171078.4804 | 2624976.6775 | 1171086.3231 | 2624984.2262 | 1171097.727
2 | 2624978.9259 | 1171114.08 | 2624978.3495 | 1171111.0538 | 2624974.4477 | 1171105.6571 | 2624973.5023 | 1171104.8972
3 | 2624970.0243 | 1171078.4804 | 2624954.7769 | 1171080.7294 | 2624950.7762 | 1171080.724
4 | 2624978.9259 | 1171114.08 | 2624971.5484 | 1171113.0488 | 2624969.2084 | 1171112.8612 | 2624966.7537 | 1171112.6509 | 2624961.8487 | 1171113.053 | 2624957.3482 | 1171113.6569 | 2624919.4537 | 1171122.5488 | 2624905.0536 | 1171125.2573 | 2624889.6639 | 1171126.8277 | 2624881.5875 | 1171127.4723
5 | 2624978.9259 | 1171114.08 | 2624986.5481 | 1171115.1566 | 2624989.8 | 1171114.9589 | 2624993.2508 | 1171114.7509 | 2624999.655 | 1171112.5541 | 2625001.855 | 1171111.4516 | 2625004.5495 | 1171109.1505 | 2625008.5474 | 1171106.1545 | 2625009.6976 | 1171105.4923 | 2625012.9946 | 1171103.6495 | 2625018.2518 | 1171101.3479 | 2625022.1961 | 1171100.0931
6 | 2624829.4283 | 1171136.0606 | 2624834.2509 | 1171134.147 | 2624839.253 | 1171132.4556 | 2624849.4513 | 1171130.2522 | 2624855.6496 | 1171129.7219 | 2624867.9392 | 1171128.6722 | 2624876.288 | 1171127.8952 | 2624881.5875 | 1171127.4723
7 | 2625022.1961 | 1171100.0931 | 2625024.0809 | 1171099.4935 | 2625027.0528 | 1171098.5498 | 2625036.8866 | 1171097.5791 | 2625040.4817 | 1171097.2248
8 | 2624759.508 | 1171152.5372 | 2624785.0494 | 1171150.7526 | 2624794.2499 | 1171149.3564 | 2624800.1547 | 1171147.6466 | 2624805.3878 | 1171145.6004 | 2624829.4283 | 1171136.0606
9 | 2625040.4817 | 1171097.2248 | 2625053.4471 | 1171095.9472 | 2625070.7343 | 1171093.4225
10 | 2624759.508 | 1171152.5372 | 2624758.3524 | 1171152.6548 | 2624750.8493 | 1171154.2469 | 2624721.4443 | 1171162.742
11 | 2624861.43 | 1171200.6969 | 2624833.8838 | 1171199.8256
12 | 2624861.43 | 1171200.6969 | 2624875.8474 | 1171201.1529 | 2624880.6783 | 1171201.6866
13 | 2624789.0119 | 1171200.5366 | 2624828.5493 | 1171199.6568 | 2624833.8838 | 1171199.8256
14 | 2624888.7267 | 1171202.5757 | 2624880.6783 | 1171201.6866
15 | 2624783.0308 | 1171200.6697 | 2624789.0119 | 1171200.5366
16 | 2624888.7267 | 1171202.5757 | 2624896.8814 | 1171203.4765
17 | 2624769.9721 | 1171200.9272 | 2624783.0308 | 1171200.6697
18 | 2624783.0308 | 1171200.6697 | 2624786.7761 | 1171197.6725 | 2624788.8757 | 1171196.7807 | 2624791.011 | 1171196.3505
19 | 2624896.8814 | 1171203.4765 | 2624901.1479 | 1171203.9479 | 2624915.2437 | 1171206.2963
20 | 2624769.9721 | 1171200.9272 | 2624758.7495 | 1171201.1478 | 2624747.1537 | 1171200.9555 | 2624739.0498 | 1171199.855 | 2624734.0829 | 1171198.6581
21 | 2624769.9721 | 1171200.9272 | 2624765.3744 | 1171202.8759 | 2624762.9031 | 1171203.4807
22 | 2624791.011 | 1171196.3505 | 2624794.8243 | 1171195.5824 | 2624800.4577 | 1171194.7718 | 2624804.7051 | 1171194.278 | 2624816.2734 | 1171193.0314
23 | 2624984.1687 | 1171212.6815 | 2624976.0501 | 1171213.452 | 2624956.8504 | 1171213.3501 | 2624948.7474 | 1171212.0492 | 2624944.3449 | 1171211.186 | 2624936.1053 | 1171209.6177 | 2624927.85 | 1171208.1495 | 2624925.6406 | 1171207.829 | 2624915.2437 | 1171206.2963 | 2624915.2437 | 1171206.2963
24 | 2625111.0163 | 1171213.7436 | 2625126.5499 | 1171217.8475 | 2625141.0157 | 1171221.256
25 | 2625111.0163 | 1171213.7436 | 2625102.3508 | 1171211.4543 | 2625087.2511 | 1171209.5459 | 2625052.7528 | 1171207.5456 | 2625032.3525 | 1171207.3495 | 2625023.5531 | 1171207.9466 | 2625021.6987 | 1171208.091
26 | 2625169.2877 | 1171223.251 | 2625166.5475 | 1171223.6509 | 2625159.1492 | 1171223.9534 | 2625150.0502 | 1171223.0483 | 2625143.5532 | 1171221.8539 | 2625141.0157 | 1171221.256
27 | 2625021.6987 | 1171208.091 | 2625017.049 | 1171208.4531 | 2625001.8991 | 1171210.5291
28 | 2625169.2877 | 1171223.251 | 2625171.9393 | 1171222.7072
29 | 2625111.687 | 1171236.1725 | 2625122.7775 | 1171230.9717 | 2625126.5774 | 1171229.5758 | 2625141.3231 | 1171226.4802 | 2625160.2738 | 1171227.5822 | 2625166.425 | 1171227.33 | 2625167.9262 | 1171226.8805 | 2625168.7249 | 1171226.1279 | 2625169.3259 | 1171225.0744 | 2625169.2877 | 1171223.251
30 | 2624985.5742 | 1171212.5481 | 2624990.7505 | 1171212.0568 | 2625001.8991 | 1171210.5291
31 | 2625186.811 | 1171219.9671 | 2625181.4531 | 1171220.7562 | 2625171.9393 | 1171222.7072
32 | 2625111.687 | 1171236.1725 | 2625110.2768 | 1171236.8225 | 2625096.9296 | 1171242.0806 | 2625095.8239 | 1171243.0765 | 2625093.9271 | 1171246.6816 | 2625092.2275 | 1171248.8756 | 2625090.5234 | 1171250.2803 | 2625087.6735 | 1171251.3245
33 | 2625111.687 | 1171236.1725 | 2625115.0751 | 1171241.8229 | 2625116.2273 | 1171246.1744 | 2625117.3925 | 1171253.283
34 | 2624984.1687 | 1171212.6815 | 2624985.5742 | 1171212.5481
35 | 2625183.8535 | 1171122.4606 | 2625164.0512 | 1171151.1479 | 2625173.2515 | 1171153.4542 | 2625168.8489 | 1171167.254 | 2625170.9532 | 1171172.5544 | 2625171.5468 | 1171189.7545 | 2625176.4472 | 1171205.0495 | 2625181.2476 | 1171216.8534 | 2625186.811 | 1171219.9671
36 | 2625186.811 | 1171219.9671 | 2625200.3496 | 1171218.3563 | 2625209.05 | 1171217.648 | 2625221.25 | 1171217.8547 | 2625231.5493 | 1171220.755 | 2625236.9478 | 1171223.0454 | 2625246.9523 | 1171228.7459 | 2625251.5401 | 1171232.9083
37 | 2625087.6735 | 1171251.3245 | 2625084.5732 | 1171251.8786 | 2625076.742 | 1171252.4132
38 | 2625121.7768 | 1171261.7721 | 2625120.2289 | 1171260.5762 | 2625118.5793 | 1171258.1236 | 2625117.8758 | 1171256.2308 | 2625117.3925 | 1171253.283
39 | 2624740.3976 | 1171209.6371 | 2624700.3747 | 1171222.0741 | 2624693.5601 | 1171224.6939
40 | 2624740.3976 | 1171209.6371 | 2624746.7188 | 1171207.6728
41 | 2624693.5601 | 1171224.6939 | 2624680.9757 | 1171229.5317 | 2624680.4409 | 1171229.573
42 | 2624762.9031 | 1171203.4807 | 2624750.2286 | 1171206.5822 | 2624746.7188 | 1171207.6728
43 | 2624675.8573 | 1171229.9273 | 2624680.4409 | 1171229.573
44 | 2624675.8573 | 1171229.9273 | 2624673.8748 | 1171230.0806 | 2624673.8748 | 1171230.0806
45 | 2624650.0384 | 1171228.5793 | 2624657.9253 | 1171228.3254 | 2624658.598 | 1171228.4283 | 2624666.5793 | 1171229.5727 | 2624673.8748 | 1171230.0806
46 | 2624653.051 | 1171198.8571 | 2624663.9512 | 1171197.0564 | 2624685.3547 | 1171193.2534 | 2624691.8528 | 1171192.3573 | 2624697.6519 | 1171192.1477 | 2624708.6486 | 1171192.9488 | 2624714.5499 | 1171193.9513 | 2624734.0829 | 1171198.6581
47 | 2625121.7768 | 1171261.7721 | 2625143.5164 | 1171361.9501
48 | 2625110.4743 | 1171373.0441 | 2625112.35 | 1171372.3559 | 2625118.3481 | 1171370.2465 | 2625132.0509 | 1171364.0561 | 2625136.9522 | 1171362.6536 | 2625141.7513 | 1171361.9511 | 2625143.5164 | 1171361.9501
49 | 2625152.4648 | 1171362.5957 | 2625146.4479 | 1171361.9485 | 2625143.5164 | 1171361.9501
50 | 2625076.742 | 1171252.4132 | 2625073.6773 | 1171252.6224 | 2625064.0775 | 1171252.5824 | 2625057.3746 | 1171251.2316 | 2625048.2748 | 1171248.6813 | 2625044.9749 | 1171247.5781
51 | 2625045.8493 | 1171239.6555 | 2625043.7548 | 1171241.1475 | 2625042.8764 | 1171242.678 | 2625042.9245 | 1171245.8242 | 2625043.6245 | 1171246.7276 | 2625044.9749 | 1171247.5781 | 2625044.9749 | 1171247.5781
52 | 2624843.5819 | 1171191.8167 | 2624816.7278 | 1171192.9824 | 2624816.2734 | 1171193.0314
53 | 2624843.5819 | 1171191.8167 | 2624845.7245 | 1171191.7237 | 2624875.3147 | 1171186.7188
54 | 2624653.051 | 1171198.8571 | 2624644.8519 | 1171200.4466 | 2624637.1479 | 1171202.5494 | 2624615.3493 | 1171209.4526 | 2624612.8388 | 1171210.3976
55 | 2624653.051 | 1171198.8571 | 2624652.6494 | 1171196.054 | 2624652.7531 | 1171193.153 | 2624653.3515 | 1171190.8543 | 2624655.649 | 1171188.3513 | 2624663.0538 | 1171186.4473 | 2624672.1475 | 1171184.9505 | 2624675.7485 | 1171183.5535 | 2624679.8402 | 1171181.2884
56 | 2625183.8535 | 1171122.4606 | 2625182.7499 | 1171122.9562 | 2625172.1519 | 1171129.2484 | 2625164.3537 | 1171131.8505 | 2625154.4521 | 1171136.2558 | 2625148.7525 | 1171138.2552 | 2625144.3507 | 1171139.0483 | 2625139.0508 | 1171138.7482 | 2625129.9517 | 1171139.6551 | 2625108.0506 | 1171145.2554 | 2625104.1508 | 1171146.7511
57 | 2625068.8157 | 1171154.2221 | 2625078.1496 | 1171152.3566 | 2625086.8505 | 1171151.548 | 2625093.7489 | 1171150.0538 | 2625104.1508 | 1171146.7511
58 | 2624721.4443 | 1171162.742 | 2624711.3539 | 1171165.6571 | 2624706.0527 | 1171167.5474 | 2624697.6524 | 1171171.5483 | 2624696.6403 | 1171172.1111 | 2624692.7533 | 1171174.2518 | 2624689.5029 | 1171175.9393 | 2624679.8402 | 1171181.2884
59 | 2624644.7512 | 1171228.7495 | 2624650.0384 | 1171228.5793
60 | 2625154.6311 | 1171362.8287 | 2625152.4648 | 1171362.5957
61 | 2625154.6311 | 1171362.8287 | 2625165.0011 | 1171363.944
62 | 2625104.375 | 1171374.6695 | 2625109.3545 | 1171373.455 | 2625110.4743 | 1171373.0441
63 | 2625104.375 | 1171374.6695 | 2625101.1538 | 1171375.4552 | 2625060.1956 | 1171382.5691
64 | 2625060.1956 | 1171382.5691 | 2625058.9834 | 1171382.7796
65 | 2625010.5531 | 1171394.4677 | 2625016.6508 | 1171392.4564 | 2625032.3509 | 1171387.8527 | 2625051.6504 | 1171384.0533 | 2625058.9834 | 1171382.7796
66 | 2625010.5531 | 1171394.4677 | 2625001.5686 | 1171397.4313
67 | 2624966.5093 | 1171405.6562 | 2624968.9524 | 1171404.8535 | 2624983.0442 | 1171402.5219 | 2624989.8501 | 1171401.1495 | 2624995.15 | 1171399.5484 | 2625001.5686 | 1171397.4313
68 | 2624913.7691 | 1171424.355 | 2624954.6518 | 1171409.5521 | 2624966.5093 | 1171405.6562
69 | 2624890.5607 | 1171429.1841 | 2624905.6487 | 1171426.7468 | 2624911.8516 | 1171425.0494 | 2624913.7691 | 1171424.355
70 | 2624737.8634 | 1171460.4844 | 2624744.6502 | 1171458.0541 | 2624761.8511 | 1171452.9556 | 2624774.5538 | 1171449.8507 | 2624793.6898 | 1171444.4334
71 | 2624802.3185 | 1171441.9907 | 2624793.6898 | 1171444.4334
72 | 2624802.3185 | 1171441.9907 | 2624803.8537 | 1171441.5561 | 2624819.0521 | 1171437.9502 | 2624819.0521 | 1171437.9502
73 | 2624890.5607 | 1171429.1841 | 2624838.7503 | 1171437.5535 | 2624819.0521 | 1171437.9502

## bus_geodata
| x | y | coords
0 | 2624984.2262 | 1171097.727
1 | 2624973.5023 | 1171104.8972
2 | 2624970.0243 | 1171078.4804
3 | 2624978.9259 | 1171114.08
4 | 2624950.7762 | 1171080.724
5 | 2624881.5875 | 1171127.4723
6 | 2625022.1961 | 1171100.0931
7 | 2624829.4283 | 1171136.0606
8 | 2625040.4817 | 1171097.2248
9 | 2625070.7343 | 1171093.4225
10 | 2624759.508 | 1171152.5372
11 | 2624861.43 | 1171200.6969
12 | 2624833.8838 | 1171199.8256
13 | 2624880.6783 | 1171201.6866
14 | 2624789.0119 | 1171200.5366
15 | 2624888.7267 | 1171202.5757
16 | 2624783.0308 | 1171200.6697
17 | 2624896.8814 | 1171203.4765
18 | 2624769.9721 | 1171200.9272
19 | 2624791.011 | 1171196.3505
20 | 2624915.2437 | 1171206.2963
21 | 2625111.0163 | 1171213.7436
22 | 2625141.0157 | 1171221.256
23 | 2625021.6987 | 1171208.091
24 | 2625169.2877 | 1171223.251
25 | 2625001.8991 | 1171210.5291
26 | 2625171.9393 | 1171222.7073
27 | 2625111.687 | 1171236.1725
28 | 2624985.5742 | 1171212.5481
29 | 2625186.811 | 1171219.9671
30 | 2625087.6735 | 1171251.3245
31 | 2625117.3926 | 1171253.283
32 | 2624984.1687 | 1171212.6815
33 | 2625251.5401 | 1171232.9083
34 | 2624740.3976 | 1171209.6371
35 | 2624693.5601 | 1171224.6939
36 | 2624746.7188 | 1171207.6728
37 | 2624680.4409 | 1171229.573
38 | 2624762.9031 | 1171203.4807
39 | 2624675.8573 | 1171229.9273
40 | 2624673.8748 | 1171230.0806
41 | 2624734.0829 | 1171198.6581
42 | 2625121.7768 | 1171261.7721
43 | 2625143.5164 | 1171361.9501
44 | 2625076.742 | 1171252.4132
45 | 2625044.9749 | 1171247.5781
46 | 2624816.2734 | 1171193.0314
47 | 2624843.5819 | 1171191.8167
48 | 2624875.3147 | 1171186.7188
49 | 2624653.051 | 1171198.8571
50 | 2625183.8535 | 1171122.4606
51 | 2625104.1508 | 1171146.751
52 | 2624612.8388 | 1171210.3976
53 | 2624679.8402 | 1171181.2884
54 | 2624721.4443 | 1171162.742
55 | 2625045.8493 | 1171239.6555
56 | 2625068.8157 | 1171154.2221
57 | 2624650.0384 | 1171228.5793
58 | 2624644.7512 | 1171228.7495
59 | 2625152.4648 | 1171362.5957
60 | 2625154.6311 | 1171362.8287
61 | 2625110.4743 | 1171373.0441
62 | 2625165.0011 | 1171363.944
63 | 2625104.375 | 1171374.6695
64 | 2625060.1956 | 1171382.5691
65 | 2625058.9834 | 1171382.7796
66 | 2625010.5531 | 1171394.4677
67 | 2625001.5686 | 1171397.4313
68 | 2624966.5093 | 1171405.6562
69 | 2624913.7691 | 1171424.355
70 | 2624737.8634 | 1171460.4844
71 | 2624793.6898 | 1171444.4334
72 | 2624802.3185 | 1171441.9907
73 | 2624819.0521 | 1171437.9502
74 | 2624890.5607 | 1171429.1841
75 | 2624915.2437 | 1171206.2963

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1