## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_571-7_1_3_node_67 | 0.4 | n |  | TRUE
1 | bus_LV_571-7_1_3_node_68 | 0.4 | n |  | TRUE
2 | bus_LV_571-7_1_3_node_69 | 0.4 | n |  | TRUE
3 | bus_LV_571-7_1_3_node_70 | 0.4 | n |  | TRUE
4 | bus_LV_571-7_1_3_node_152 | 0.4 | n |  | TRUE
5 | bus_LV_571-7_1_3_node_114 | 0.4 | n |  | TRUE
6 | bus_LV_571-7_1_3_node_129 | 0.4 | n |  | TRUE
7 | bus_LV_571-7_1_3_node_105 | 0.4 | n |  | TRUE
8 | bus_LV_571-7_1_3_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_571-7_1_3_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_571-7_1_3_node_135 | 0.4 | n |  | TRUE
11 | bus_LV_571-7_1_3_node_133 | 0.4 | n |  | TRUE
12 | bus_LV_571-7_1_3_node_72 | 0.4 | n |  | TRUE
13 | bus_LV_571-7_1_3_node_119 | 0.4 | n |  | TRUE
14 | bus_LV_571-7_1_3_node_120 | 0.4 | n |  | TRUE
15 | bus_LV_571-7_1_3_node_118 | 0.4 | n |  | TRUE
16 | bus_LV_571-7_1_3_node_75 | 0.4 | n |  | TRUE
17 | bus_LV_571-7_1_3_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_571-7_1_3_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_571-7_1_3_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_571-7_1_3_node_79 | 0.4 | n |  | TRUE
21 | bus_LV_571-7_1_3_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_571-7_1_3_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_571-7_1_3_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_571-7_1_3_node_82 | 0.4 | n |  | TRUE
25 | bus_LV_571-7_1_3_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_571-7_1_3_node_98 | 0.4 | n |  | TRUE
27 | bus_LV_571-7_1_3_node_101 | 0.4 | n |  | TRUE
28 | bus_LV_571-7_1_3_node_109 | 0.4 | n |  | TRUE
29 | bus_LV_571-7_1_3_node_113 | 0.4 | n |  | TRUE
30 | bus_LV_571-7_1_3_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_571-7_1_3_node_87 | 0.4 | n |  | TRUE
32 | bus_LV_571-7_1_3_node_106 | 0.4 | n |  | TRUE
33 | bus_LV_571-7_1_3_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_571-7_1_3_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_571-7_1_3_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_571-7_1_3_node_85 | 0.4 | n |  | TRUE
37 | bus_LV_571-7_1_3_node_107 | 0.4 | n |  | TRUE
38 | bus_LV_571-7_1_3_node_86 | 0.4 | n |  | TRUE
39 | bus_LV_571-7_1_3_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_571-7_1_3_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_571-7_1_3_node_115 | 0.4 | n |  | TRUE
42 | bus_LV_571-7_1_3_node_102 | 0.4 | n |  | TRUE
43 | bus_LV_571-7_1_3_node_91 | 0.4 | n |  | TRUE
44 | bus_LV_571-7_1_3_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_571-7_1_3_node_94 | 0.4 | n |  | TRUE
46 | bus_LV_571-7_1_3_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_571-7_1_3_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_571-7_1_3_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_571-7_1_3_node_104 | 0.4 | n |  | TRUE
50 | bus_LV_571-7_1_3_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_571-7_1_3_node_108 | 0.4 | n |  | TRUE
52 | bus_LV_571-7_1_3_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_571-7_1_3_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_571-7_1_3_node_145 | 0.4 | n |  | TRUE
55 | bus_LV_571-7_1_3_node_144 | 0.4 | n |  | TRUE
56 | bus_LV_571-7_1_3_node_143 | 0.4 | n |  | TRUE
57 | bus_LV_571-7_1_3_node_146 | 0.4 | n |  | TRUE
58 | bus_LV_571-7_1_3_node_142 | 0.4 | n |  | TRUE
59 | bus_LV_571-7_1_3_node_147 | 0.4 | n |  | TRUE
60 | bus_LV_571-7_1_3_node_136 | 0.4 | n |  | TRUE
61 | bus_LV_571-7_1_3_node_137 | 0.4 | n |  | TRUE
62 | bus_LV_571-7_1_3_node_139 | 0.4 | n |  | TRUE
63 | bus_LV_571-7_1_3_node_140 | 0.4 | n |  | TRUE
64 | bus_LV_571-7_1_3_node_141 | 0.4 | n |  | TRUE
65 | bus_LV_571-7_1_3_node_149 | 0.4 | n |  | TRUE
66 | bus_LV_571-7_1_3_node_117 | 0.4 | n |  | TRUE
67 | bus_LV_571-7_1_3_node_121 | 0.4 | n |  | TRUE
68 | bus_LV_571-7_1_3_node_131 | 0.4 | n |  | TRUE
69 | bus_LV_571-7_1_3_node_122 | 0.4 | n |  | TRUE
70 | bus_LV_571-7_1_3_node_123 | 0.4 | n |  | TRUE
71 | bus_LV_571-7_1_3_node_124 | 0.4 | n |  | TRUE
72 | bus_LV_571-7_1_3_node_125 | 0.4 | n |  | TRUE
73 | bus_LV_571-7_1_3_node_126 | 0.4 | n |  | TRUE
74 | bus_LV_571-7_1_3_node_127 | 0.4 | n |  | TRUE
75 | bus_LV_571-7_1_3_node_128 | 0.4 | n |  | TRUE
76 | bus_LV_571-7_1_3_node_130 | 0.4 | n |  | TRUE
77 | bus_LV_571-7_1_3_node_150 | 0.4 | n |  | TRUE
78 | bus_MV_81_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_571-7_1_3_load_67 | 0 | 0.00083877 | 0.00021021 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_571-7_1_3_load_68 | 1 | 0.0007664 | 0.00019208 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_571-7_1_3_load_69 | 2 | 0.00071085 | 0.00017816 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_571-7_1_3_load_152 | 4 | 0.0017728 | 0.0004443 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_571-7_1_3_load_114 | 5 | 0.0048542 | 0.0012166 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_571-7_1_3_load_129 | 6 | 0.0011078 | 0.00027765 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_571-7_1_3_load_135 | 10 | 0.0010734 | 0.00026902 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_571-7_1_3_load_133 | 11 | 0.00050754 | 0.0001272 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_571-7_1_3_load_72 | 12 | 0.0018443 | 0.00046222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_571-7_1_3_load_120 | 14 | 0.000757 | 0.00018972 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_571-7_1_3_load_75 | 16 | 0.0010416 | 0.00026106 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_571-7_1_3_load_79 | 20 | 0.001853 | 0.00046441 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_571-7_1_3_load_80 | 21 | 0.0033619 | 0.00084257 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_571-7_1_3_load_100 | 22 | 0.00047387 | 0.00011876 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_571-7_1_3_load_82 | 24 | 0.0028803 | 0.00072187 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_571-7_1_3_load_84 | 25 | 0.0017455 | 0.00043746 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_571-7_1_3_load_98 | 26 | 0.0014904 | 0.00037353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_571-7_1_3_load_101 | 27 | 0.00037332 | 9.3562e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_571-7_1_3_load_113 | 29 | 0.00033919 | 8.5009e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_571-7_1_3_load_90 | 30 | 0.0038082 | 0.00095442 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_571-7_1_3_load_87 | 31 | 0.001104 | 0.00027669 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_571-7_1_3_load_106 | 32 | 0.0024422 | 0.00061207 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_571-7_1_3_load_83 | 33 | 0.00081572 | 0.00020444 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_571-7_1_3_load_99 | 34 | 0.00054728 | 0.00013716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_571-7_1_3_load_103 | 35 | 0.0035062 | 0.00087875 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_571-7_1_3_load_85 | 36 | 0.0079467 | 0.0019916 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_571-7_1_3_load_86 | 38 | 0.0030569 | 0.00076613 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_571-7_1_3_load_88 | 39 | 0.0028619 | 0.00071726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_571-7_1_3_load_89 | 40 | 0.002602 | 0.00065213 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_571-7_1_3_load_115 | 41 | 0.0029383 | 0.00073642 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_571-7_1_3_load_102 | 42 | 0.00093521 | 0.00023439 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_571-7_1_3_load_91 | 43 | 0.00061338 | 0.00015373 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_571-7_1_3_load_94 | 45 | 0.0010158 | 0.00025459 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_571-7_1_3_load_95 | 46 | 0.0026158 | 0.00065559 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_571-7_1_3_load_97 | 47 | 0.0024122 | 0.00060455 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_571-7_1_3_load_104 | 49 | 0.0029393 | 0.00073667 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_571-7_1_3_load_116 | 50 | 0.0035943 | 0.00090082 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_571-7_1_3_load_112 | 52 | 0.00074832 | 0.00018755 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_571-7_1_3_load_145 | 54 | 0.0004657 | 0.00011671 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_571-7_1_3_load_144 | 55 | 0.00043927 | 0.00011009 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_571-7_1_3_load_143 | 56 | 0.00036276 | 9.0915e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_571-7_1_3_load_146 | 57 | 0.00023781 | 5.96e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_571-7_1_3_load_142 | 58 | 0.0002155 | 5.4009e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_571-7_1_3_load_147 | 59 | 0.0001675 | 4.1979e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_571-7_1_3_load_136 | 60 | 0.00019262 | 4.8276e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_571-7_1_3_load_140 | 63 | 0.00055254 | 0.00013848 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_571-7_1_3_load_141 | 64 | 0.00035184 | 8.818e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_571-7_1_3_load_149 | 65 | 0.00030099 | 7.5436e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_571-7_1_3_load_117 | 66 | 0.00099264 | 0.00024878 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_571-7_1_3_load_121 | 67 | 0.0033603 | 0.00084217 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_571-7_1_3_load_131 | 68 | 0.0032317 | 0.00080995 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_571-7_1_3_load_122 | 69 | 0.0025524 | 0.0006397 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_571-7_1_3_load_123 | 70 | 0.0032661 | 0.00081855 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_571-7_1_3_load_124 | 71 | 0.0019612 | 0.00049153 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_571-7_1_3_load_125 | 72 | 0.0013482 | 0.00033789 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_571-7_1_3_load_126 | 73 | 0.0016031 | 0.00040176 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_571-7_1_3_load_128 | 75 | 0.0014887 | 0.0003731 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_571-7_1_3_load_130 | 76 | 0.0023747 | 0.00059517 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_571-7_1_3_load_150 | 77 | 0.0054356 | 0.0013623 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_571-7_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_571-7_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_571-7_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.036754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_571-7_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.12005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_571-7_1_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.024601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_571-7_1_3_line_5 | NAYY 4x150 SE | 4 | 10 | 0.088457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_571-7_1_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.07854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_571-7_1_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.053025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_571-7_1_3_line_8 | NAYY 4x150 SE | 6 | 68 | 1.1029e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_571-7_1_3_line_9 | NAYY 4x150 SE | 6 | 74 | 0.047174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_571-7_1_3_line_10 | NAYY 4x150 SE | 7 | 41 | 0.0091383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_571-7_1_3_line_11 | NAYY 4x150 SE | 7 | 40 | 0.015874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_571-7_1_3_line_12 | NAYY 4x150 SE | 8 | 12 | 0.041436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_571-7_1_3_line_13 | NAYY 4x150 SE | 9 | 10 | 0.035442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_571-7_1_3_line_14 | NAYY 4x150 SE | 9 | 11 | 0.03297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_571-7_1_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.038135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_571-7_1_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.04382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_571-7_1_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.017879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_571-7_1_3_line_18 | NAYY 4x150 SE | 14 | 67 | 0.00096553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_571-7_1_3_line_19 | NAYY 4x150 SE | 15 | 66 | 0.02239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_571-7_1_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.013455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_571-7_1_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.01356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_571-7_1_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.022422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_571-7_1_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.036475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_571-7_1_3_line_24 | NAYY 4x150 SE | 18 | 21 | 0.020058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_571-7_1_3_line_25 | NAYY 4x150 SE | 18 | 22 | 0.117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_571-7_1_3_line_26 | NAYY 4x150 SE | 19 | 23 | 0.002233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_571-7_1_3_line_27 | NAYY 4x150 SE | 19 | 24 | 0.018819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_571-7_1_3_line_28 | NAYY 4x150 SE | 20 | 25 | 0.012111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_571-7_1_3_line_29 | NAYY 4x150 SE | 21 | 26 | 0.044629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_571-7_1_3_line_30 | NAYY 4x150 SE | 22 | 27 | 0.0084026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_571-7_1_3_line_31 | NAYY 4x150 SE | 23 | 30 | 0.016121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_571-7_1_3_line_32 | NAYY 4x150 SE | 23 | 31 | 0.034026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_571-7_1_3_line_33 | NAYY 4x150 SE | 24 | 32 | 0.024858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_571-7_1_3_line_34 | NAYY 4x150 SE | 25 | 33 | 0.010371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_571-7_1_3_line_35 | NAYY 4x150 SE | 26 | 34 | 0.0066171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_571-7_1_3_line_36 | NAYY 4x150 SE | 27 | 28 | 0.10448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_571-7_1_3_line_37 | NAYY 4x150 SE | 27 | 29 | 0.089593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_571-7_1_3_line_38 | NAYY 4x150 SE | 28 | 48 | 0.023255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_571-7_1_3_line_39 | NAYY 4x150 SE | 30 | 35 | 0.00026077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_571-7_1_3_line_40 | NAYY 4x150 SE | 31 | 36 | 0.014916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_571-7_1_3_line_41 | NAYY 4x150 SE | 32 | 37 | 0.037062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_571-7_1_3_line_42 | NAYY 4x150 SE | 34 | 47 | 0.019228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_571-7_1_3_line_43 | NAYY 4x150 SE | 35 | 42 | 0.021805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_571-7_1_3_line_44 | NAYY 4x150 SE | 36 | 38 | 0.015867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_571-7_1_3_line_45 | NAYY 4x150 SE | 37 | 51 | 0.055775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_571-7_1_3_line_46 | NAYY 4x150 SE | 38 | 39 | 0.031929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_571-7_1_3_line_47 | NAYY 4x150 SE | 39 | 40 | 0.022037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_571-7_1_3_line_48 | NAYY 4x150 SE | 41 | 50 | 0.015889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_571-7_1_3_line_49 | NAYY 4x150 SE | 42 | 49 | 0.011609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_571-7_1_3_line_50 | NAYY 4x150 SE | 43 | 44 | 0.031079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_571-7_1_3_line_51 | NAYY 4x150 SE | 44 | 45 | 0.020917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_571-7_1_3_line_52 | NAYY 4x150 SE | 44 | 46 | 0.013658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_571-7_1_3_line_53 | NAYY 4x150 SE | 46 | 47 | 0.038965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_571-7_1_3_line_54 | NAYY 4x150 SE | 48 | 57 | 0.047043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_571-7_1_3_line_55 | NAYY 4x150 SE | 48 | 53 | 0.089701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_571-7_1_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.028655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_571-7_1_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.079505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_571-7_1_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.092754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_571-7_1_3_line_59 | NAYY 4x150 SE | 53 | 56 | 0.17151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_571-7_1_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.09259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_571-7_1_3_line_61 | NAYY 4x150 SE | 57 | 59 | 0.017829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_571-7_1_3_line_62 | NAYY 4x150 SE | 58 | 64 | 0.052469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_571-7_1_3_line_63 | NAYY 4x150 SE | 59 | 65 | 0.0025593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_571-7_1_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.035139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_571-7_1_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.024053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_571-7_1_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.029236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_571-7_1_3_line_67 | NAYY 4x150 SE | 62 | 64 | 0.095493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_571-7_1_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.030777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_571-7_1_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.0035744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_571-7_1_3_line_70 | NAYY 4x150 SE | 69 | 71 | 0.0088851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_571-7_1_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.028596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_571-7_1_3_line_72 | NAYY 4x150 SE | 71 | 73 | 0.016829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_571-7_1_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.014476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_571-7_1_3_line_74 | NAYY 4x150 SE | 73 | 75 | 0.0011165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_571-7_1_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.039355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_571-7_1_3_line_76 | NAYY 4x150 SE | 76 | 77 | 0.053815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_571-7_1_3_trafo_105 | 0.25 MVA 20/0.4 kV | 78 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2628736.0343 | 1172383.2602 | 2628721.3531 | 1172397.7511 | 2628716.6525 | 1172401.953 | 2628715.9994 | 1172402.4489
1 | 2628744.2522 | 1172375.1488 | 2628736.0343 | 1172383.2602
2 | 2628682.0384 | 1172398.6083 | 2628694.351 | 1172403.5474 | 2628702.0478 | 1172406.1521 | 2628708.1542 | 1172407.0484 | 2628711.6479 | 1172405.7533 | 2628715.9994 | 1172402.4489
3 | 2628744.2522 | 1172375.1488 | 2628853.6259 | 1172424.6313
4 | 2628682.0384 | 1172398.6083 | 2628678.5508 | 1172397.0464 | 2628676.3481 | 1172395.4462 | 2628670.0528 | 1172389.2464 | 2628665.0529 | 1172385.654 | 2628661.9488 | 1172385.4502
5 | 2628904.8492 | 1172496.7477 | 2628853.6259 | 1172424.6313
6 | 2628634.187 | 1172214.2229 | 2628666.2552 | 1172285.918
7 | 2628621.0676 | 1172167.5437 | 2628623.1489 | 1172168.9543 | 2628623.7536 | 1172170.4468 | 2628623.9535 | 1172173.4493 | 2628624.6509 | 1172176.3541 | 2628625.8489 | 1172180.1507 | 2628628.6502 | 1172186.156 | 2628637.3508 | 1172199.6488 | 2628638.8513 | 1172202.5463 | 2628639.1482 | 1172204.4487 | 2628638.7486 | 1172206.4478 | 2628634.187 | 1172214.2229
8 | 2628666.2552 | 1172285.918 | 2628666.2464 | 1172285.9247
9 | 2628703.654 | 1172257.1721 | 2628701.1522 | 1172258.95 | 2628681.453 | 1172274.4529 | 2628666.2552 | 1172285.918
10 | 2628621.0676 | 1172167.5437 | 2628621.0495 | 1172171.3455 | 2628620.8241 | 1172176.6772
11 | 2628621.0676 | 1172167.5437 | 2628621.0144 | 1172151.6698
12 | 2628661.9488 | 1172385.4502 | 2628660.2523 | 1172381.9515 | 2628658.6495 | 1172379.6538 | 2628655.6289 | 1172376.3821 | 2628633.2684 | 1172355.9453
13 | 2628904.8492 | 1172496.7477 | 2628907.6471 | 1172504.9543 | 2628915.6481 | 1172523.7468 | 2628917.5533 | 1172526.7464 | 2628919.5091 | 1172528.7568
14 | 2628919.5091 | 1172528.7568 | 2628919.5541 | 1172527.3563 | 2628920.6469 | 1172524.3489 | 2628931.7478 | 1172506.0485 | 2628933.7488 | 1172503.4457 | 2628935.4538 | 1172501.9531 | 2628936.7317 | 1172501.3437
15 | 2628605.1193 | 1172330.218 | 2628633.2684 | 1172355.9453
16 | 2628605.1193 | 1172330.218 | 2628619.4515 | 1172320.6479 | 2628627.3518 | 1172315.8497 | 2628634.6499 | 1172310.6485 | 2628641.189 | 1172305.4051
17 | 2628590.4476 | 1172340.4535 | 2628595.1539 | 1172336.6517 | 2628605.1193 | 1172330.218
18 | 2628641.9423 | 1172304.8011 | 2628641.189 | 1172305.4051
19 | 2628590.4476 | 1172340.4535 | 2628590.0535 | 1172333.2479 | 2628590.4478 | 1172329.1477 | 2628592.5484 | 1172321.6538 | 2628594.0536 | 1172318.7484
20 | 2628560.804 | 1172065.1268 | 2628565.7076 | 1172052.5969
21 | 2628560.804 | 1172065.1268 | 2628552.7539 | 1172064.3549 | 2628549.8537 | 1172064.6524 | 2628547.5535 | 1172065.8532
22 | 2628560.804 | 1172065.1268 | 2628583.1482 | 1172067.6565
23 | 2628547.5535 | 1172065.8532 | 2628549.6512 | 1172054.146 | 2628552.2471 | 1172047.0547 | 2628554.7514 | 1172043.1535 | 2628563.4648 | 1172034.3395
24 | 2628547.5535 | 1172065.8532 | 2628545.347 | 1172068.2551 | 2628543.349 | 1172071.8474 | 2628542.4476 | 1172076.4455 | 2628542.6811 | 1172084.4422
25 | 2628547.5535 | 1172065.8532 | 2628443.5546 | 1172012.2523
26 | 2628585.3807 | 1172067.8339 | 2628583.1482 | 1172067.6565
27 | 2628583.1482 | 1172067.6565 | 2628584.4503 | 1172062.4489 | 2628587.9501 | 1172053.4498 | 2628589.6489 | 1172050.0562
28 | 2628571.0377 | 1172024.8992 | 2628568.3508 | 1172028.555 | 2628563.9508 | 1172033.848 | 2628563.4648 | 1172034.3395
29 | 2628534.3023 | 1172127.294 | 2628538.3543 | 1172120.2486 | 2628540.7542 | 1172114.1457 | 2628542.4486 | 1172106.85 | 2628543.1515 | 1172100.5501 | 2628542.6811 | 1172084.4422
30 | 2628443.5546 | 1172012.2523 | 2628443.3486 | 1172011.5539 | 2628440.8865 | 1172004.2851
31 | 2628585.3807 | 1172067.8339 | 2628583.7818 | 1172083.8758
32 | 2628585.3807 | 1172067.8339 | 2628597.8504 | 1172068.8492 | 2628619.1279 | 1172072.0339
33 | 2628589.6489 | 1172050.0562 | 2628592.9511 | 1172045.6474 | 2628606.3727 | 1172031.7089
34 | 2628577.1798 | 1172016.5425 | 2628571.0377 | 1172024.8992
35 | 2628531.0033 | 1172133.0301 | 2628534.3023 | 1172127.294
36 | 2628413.9314 | 1171903.3816 | 2628423.172 | 1171940.3664 | 2628431.1535 | 1171971.8536 | 2628434.2489 | 1171983.6521 | 2628437.1481 | 1171993.2485 | 2628438.8831 | 1171998.3704 | 2628440.8865 | 1172004.2851
37 | 2628440.8865 | 1172004.2851 | 2628351.3484 | 1172001.1475
38 | 2628413.0914 | 1171882.0556 | 2628411.3766 | 1171885.6159 | 2628409.7128 | 1171886.4641 | 2628413.9314 | 1171903.3816
39 | 2628583.7559 | 1172084.1353 | 2628583.7818 | 1172083.8758
40 | 2628626.8739 | 1172082.2697 | 2628627.0541 | 1172081.2501 | 2628626.7544 | 1172078.3472 | 2628625.8489 | 1172075.7526 | 2628624.551 | 1172073.6565 | 2628622.5524 | 1172072.5464 | 2628619.1279 | 1172072.0339
41 | 2628631.3669 | 1172004.3645 | 2628626.7473 | 1172009.1561 | 2628616.1487 | 1172021.5564 | 2628606.3727 | 1172031.7089
42 | 2628531.0033 | 1172133.0301 | 2628524.5499 | 1172144.251 | 2628521.8965 | 1172149.9472
43 | 2628580.8268 | 1172105.7177 | 2628581.0511 | 1172104.9546 | 2628582.4492 | 1172097.2462 | 2628583.7559 | 1172084.1353
44 | 2628626.8739 | 1172082.2697 | 2628624.1121 | 1172097.8949
45 | 2628584.4108 | 1171974.2257 | 2628588.1471 | 1171976.6558 | 2628623.5491 | 1171998.1463 | 2628627.1478 | 1172000.5536 | 2628631.3669 | 1172004.3645
46 | 2628624.1121 | 1172097.8949 | 2628622.6525 | 1172106.153 | 2628621.753 | 1172115.1534 | 2628621.0888 | 1172129.6361
47 | 2628621.0144 | 1172151.6698 | 2628620.9508 | 1172132.6474 | 2628621.0888 | 1172129.6361
48 | 2628620.1531 | 1172192.5522 | 2628620.8241 | 1172176.6772
49 | 2628577.5528 | 1172116.8552 | 2628580.8268 | 1172105.7177
50 | 2628493.5536 | 1172187.3484 | 2628493.0583 | 1172191.8039 | 2628491.9475 | 1172201.8482 | 2628490.7432 | 1172207.4454 | 2628489.875 | 1172211.4989 | 2628488.4861 | 1172217.9713
51 | 2628493.5536 | 1172187.3484 | 2628493.5945 | 1172186.7705 | 2628494.1479 | 1172178.1465 | 2628494.1501 | 1172166.4507
52 | 2628493.5536 | 1172187.3484 | 2628498.2477 | 1172187.7486 | 2628504.0488 | 1172186.9535 | 2628506.8542 | 1172185.655
53 | 2628521.8965 | 1172149.9472 | 2628521.15 | 1172151.5497 | 2628508.9527 | 1172183.4527 | 2628506.8542 | 1172185.655
54 | 2628413.0914 | 1171882.0556 | 2628413.9518 | 1171879.6473 | 2628416.2495 | 1171875.7561 | 2628418.0497 | 1171873.5524 | 2628422.2477 | 1171870.5485 | 2628431.8513 | 1171866.3473 | 2628434.8523 | 1171864.1492 | 2628437.3514 | 1171861.3485 | 2628439.0497 | 1171858.0548 | 2628439.9502 | 1171855.2465 | 2628440.5495 | 1171851.4474 | 2628440.6502 | 1171847.9461
55 | 2628360.2096 | 1171828.3785 | 2628366.2516 | 1171833.3428 | 2628372.4611 | 1171840.0756 | 2628380.9821 | 1171851.3549 | 2628385.3913 | 1171863.5486 | 2628389.0346 | 1171874.3491 | 2628394.8185 | 1171883.7368 | 2628402.315 | 1171885.1952 | 2628409.0528 | 1171883.704 | 2628409.7128 | 1171886.4641 | 2628411.3766 | 1171885.6159 | 2628413.0914 | 1171882.0556
56 | 2628584.4108 | 1171974.2257 | 2628582.4512 | 1171972.949 | 2628575.1501 | 1171967.456 | 2628564.5883 | 1171953.9063
57 | 2628360.2096 | 1171828.3785 | 2628364.7541 | 1171821.652 | 2628366.7487 | 1171817.148 | 2628367.8381 | 1171813.1955 | 2628368.453 | 1171810.9528 | 2628370.0488 | 1171805.0462 | 2628370.6386 | 1171803.2481 | 2628371.5544 | 1171800.451 | 2628373.5476 | 1171796.2471 | 2628376.0479 | 1171791.5565 | 2628380.7539 | 1171784.6529 | 2628382.5526 | 1171781.1485 | 2628386.1476 | 1171766.5469 | 2628392.8538 | 1171768.5462 | 2628397.384 | 1171770.0865
58 | 2628360.2096 | 1171828.3785 | 2628352.6498 | 1171840.349 | 2628348.15 | 1171848.9544 | 2628346.9494 | 1171852.1504 | 2628344.4509 | 1171862.9552 | 2628341.6478 | 1171879.9507 | 2628333.5668 | 1171910.0281 | 2628331.4111 | 1171911.3964 | 2628327.9789 | 1171910.9689
59 | 2628360.2096 | 1171828.3785 | 2628219.7763 | 1171729.9153
60 | 2628195.7007 | 1171644.2329 | 2628195.7007 | 1171644.2329 | 2628214.96 | 1171680.2305 | 2628224.5823 | 1171716.0718 | 2628219.7763 | 1171729.9153
61 | 2628440.6502 | 1171847.9461 | 2628440.6502 | 1171847.9461 | 2628438.6534 | 1171838.3539 | 2628438.5505 | 1171835.8522 | 2628440.0509 | 1171832.3464 | 2628441.4477 | 1171831.3524 | 2628441.4477 | 1171831.3524
62 | 2628195.7007 | 1171644.2329 | 2628192.3158 | 1171599.4163 | 2628190.6572 | 1171592.0771
63 | 2628443.8674 | 1171830.5188 | 2628441.4477 | 1171831.3524
64 | 2628186.6404 | 1171475.3817 | 2628152.3157 | 1171467.8615
65 | 2628178.4723 | 1171497.9772 | 2628183.8502 | 1171481.5495 | 2628186.6404 | 1171475.3817
66 | 2628178.4723 | 1171497.9772 | 2628174.452 | 1171508.7528 | 2628172.7498 | 1171511.2461 | 2628170.452 | 1171513.5476 | 2628167.9523 | 1171514.8477 | 2628162.9537 | 1171515.6469 | 2628159.3528 | 1171515.2521
67 | 2628178.4723 | 1171497.9772 | 2628182.3402 | 1171508.3228 | 2628184.9722 | 1171566.9208 | 2628190.6572 | 1171592.0771
68 | 2628666.2464 | 1172285.9247 | 2628653.3522 | 1172295.652 | 2628641.9423 | 1172304.8011
69 | 2628733.6495 | 1172221.9433 | 2628731.6026 | 1172224.8735
70 | 2628738.7378 | 1172214.6595 | 2628733.6495 | 1172221.9433
71 | 2628714.7768 | 1172247.9651 | 2628718.3485 | 1172243.8466 | 2628731.6026 | 1172224.8735
72 | 2628738.7378 | 1172214.6595 | 2628739.6492 | 1172213.3549 | 2628747.741 | 1172200.4433
73 | 2628703.654 | 1172257.1721 | 2628708.0513 | 1172254.0471 | 2628713.7496 | 1172249.1495 | 2628714.7768 | 1172247.9651
74 | 2628748.3339 | 1172199.4972 | 2628747.741 | 1172200.4433
75 | 2628703.654 | 1172257.1721 | 2628703.9528 | 1172258.6521 | 2628703.754 | 1172260.252 | 2628702.95 | 1172262.0491 | 2628698.549 | 1172267.5531 | 2628697.6522 | 1172269.5499 | 2628697.2512 | 1172271.8491 | 2628697.1523 | 1172274.9502 | 2628698.4399 | 1172294.4994
76 | 2628742.454 | 1172295.3548 | 2628714.1537 | 1172307.0479 | 2628711.9487 | 1172307.5487 | 2628709.3474 | 1172307.7475 | 2628707.247 | 1172307.1483 | 2628700.9478 | 1172301.7488 | 2628699.5491 | 1172299.9523 | 2628698.4502 | 1172294.6554 | 2628698.4399 | 1172294.4994

## bus_geodata
| x | y | coords
0 | 2628736.0343 | 1172383.2602
1 | 2628715.9994 | 1172402.4489
2 | 2628744.2522 | 1172375.1488
3 | 2628682.0384 | 1172398.6083
4 | 2628853.6259 | 1172424.6313
5 | 2628634.187 | 1172214.2229
6 | 2628666.2552 | 1172285.918
7 | 2628621.0676 | 1172167.5437
8 | 2628661.9488 | 1172385.4502
9 | 2628919.5091 | 1172528.7568
10 | 2628904.8492 | 1172496.7477
11 | 2628936.7317 | 1172501.3437
12 | 2628633.2684 | 1172355.9453
13 | 2628605.1193 | 1172330.218
14 | 2628641.189 | 1172305.4051
15 | 2628590.4476 | 1172340.4535
16 | 2628565.7076 | 1172052.5969
17 | 2628560.804 | 1172065.1268
18 | 2628547.5535 | 1172065.8532
19 | 2628583.1482 | 1172067.6565
20 | 2628563.4648 | 1172034.3395
21 | 2628542.6811 | 1172084.4422
22 | 2628443.5546 | 1172012.2523
23 | 2628585.3807 | 1172067.8339
24 | 2628589.6489 | 1172050.0562
25 | 2628571.0377 | 1172024.8992
26 | 2628534.3023 | 1172127.294
27 | 2628440.8865 | 1172004.2851
28 | 2628413.9314 | 1171903.3816
29 | 2628351.3484 | 1172001.1475
30 | 2628583.7818 | 1172083.8758
31 | 2628619.1279 | 1172072.0339
32 | 2628606.3727 | 1172031.7089
33 | 2628577.1798 | 1172016.5425
34 | 2628531.0033 | 1172133.0301
35 | 2628583.7559 | 1172084.1353
36 | 2628626.8739 | 1172082.2697
37 | 2628631.3669 | 1172004.3645
38 | 2628624.1121 | 1172097.8949
39 | 2628621.0888 | 1172129.6361
40 | 2628621.0144 | 1172151.6698
41 | 2628620.8241 | 1172176.6772
42 | 2628580.8268 | 1172105.7177
43 | 2628488.4861 | 1172217.9713
44 | 2628493.5536 | 1172187.3484
45 | 2628494.1501 | 1172166.4507
46 | 2628506.8542 | 1172185.655
47 | 2628521.8965 | 1172149.9472
48 | 2628413.0914 | 1171882.0556
49 | 2628577.5528 | 1172116.8552
50 | 2628620.1531 | 1172192.5522
51 | 2628584.4108 | 1171974.2257
52 | 2628564.5883 | 1171953.9063
53 | 2628360.2096 | 1171828.3785
54 | 2628397.384 | 1171770.0865
55 | 2628327.9789 | 1171910.9689
56 | 2628219.7763 | 1171729.9153
57 | 2628440.6502 | 1171847.9461
58 | 2628195.7007 | 1171644.2329
59 | 2628441.4477 | 1171831.3524
60 | 2628152.3157 | 1171467.8615
61 | 2628186.6405 | 1171475.3817
62 | 2628178.4723 | 1171497.9772
63 | 2628159.3528 | 1171515.2521
64 | 2628190.6572 | 1171592.0771
65 | 2628443.8674 | 1171830.5188
66 | 2628594.0536 | 1172318.7484
67 | 2628641.9423 | 1172304.8011
68 | 2628666.2464 | 1172285.9247
69 | 2628733.6495 | 1172221.9433
70 | 2628731.6026 | 1172224.8735
71 | 2628738.7378 | 1172214.6595
72 | 2628714.7768 | 1172247.9651
73 | 2628747.741 | 1172200.4433
74 | 2628703.654 | 1172257.1721
75 | 2628748.3339 | 1172199.4972
76 | 2628698.4399 | 1172294.4994
77 | 2628742.454 | 1172295.3548
78 | 2628620.1531 | 1172192.5522

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1