## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_573-4_2_2_node_168 | 0.4 | n |  | TRUE
1 | bus_LV_573-4_2_2_node_217 | 0.4 | n |  | TRUE
2 | bus_LV_573-4_2_2_node_216 | 0.4 | n |  | TRUE
3 | bus_LV_573-4_2_2_node_169 | 0.4 | n |  | TRUE
4 | bus_LV_573-4_2_2_node_170 | 0.4 | n |  | TRUE
5 | bus_LV_573-4_2_2_node_171 | 0.4 | n |  | TRUE
6 | bus_LV_573-4_2_2_node_199 | 0.4 | n |  | TRUE
7 | bus_LV_573-4_2_2_node_174 | 0.4 | n |  | TRUE
8 | bus_LV_573-4_2_2_node_243 | 0.4 | n |  | TRUE
9 | bus_LV_573-4_2_2_node_242 | 0.4 | n |  | TRUE
10 | bus_LV_573-4_2_2_node_194 | 0.4 | n |  | TRUE
11 | bus_LV_573-4_2_2_node_195 | 0.4 | n |  | TRUE
12 | bus_LV_573-4_2_2_node_196 | 0.4 | n |  | TRUE
13 | bus_LV_573-4_2_2_node_201 | 0.4 | n |  | TRUE
14 | bus_LV_573-4_2_2_node_204 | 0.4 | n |  | TRUE
15 | bus_LV_573-4_2_2_node_197 | 0.4 | n |  | TRUE
16 | bus_LV_573-4_2_2_node_246 | 0.4 | n |  | TRUE
17 | bus_LV_573-4_2_2_node_205 | 0.4 | n |  | TRUE
18 | bus_LV_573-4_2_2_node_198 | 0.4 | n |  | TRUE
19 | bus_LV_573-4_2_2_node_222 | 0.4 | n |  | TRUE
20 | bus_LV_573-4_2_2_node_251 | 0.4 | n |  | TRUE
21 | bus_LV_573-4_2_2_node_244 | 0.4 | n |  | TRUE
22 | bus_LV_573-4_2_2_node_245 | 0.4 | n |  | TRUE
23 | bus_LV_573-4_2_2_node_202 | 0.4 | n |  | TRUE
24 | bus_LV_573-4_2_2_node_206 | 0.4 | n |  | TRUE
25 | bus_LV_573-4_2_2_node_223 | 0.4 | n |  | TRUE
26 | bus_LV_573-4_2_2_node_210 | 0.4 | n |  | TRUE
27 | bus_LV_573-4_2_2_node_212 | 0.4 | n |  | TRUE
28 | bus_LV_573-4_2_2_node_233 | 0.4 | n |  | TRUE
29 | bus_LV_573-4_2_2_node_231 | 0.4 | n |  | TRUE
30 | bus_LV_573-4_2_2_node_215 | 0.4 | n |  | TRUE
31 | bus_LV_573-4_2_2_node_227 | 0.4 | n |  | TRUE
32 | bus_LV_573-4_2_2_node_226 | 0.4 | n |  | TRUE
33 | bus_LV_573-4_2_2_node_228 | 0.4 | n |  | TRUE
34 | bus_LV_573-4_2_2_node_229 | 0.4 | n |  | TRUE
35 | bus_LV_573-4_2_2_node_230 | 0.4 | n |  | TRUE
36 | bus_LV_573-4_2_2_node_232 | 0.4 | n |  | TRUE
37 | bus_LV_573-4_2_2_node_235 | 0.4 | n |  | TRUE
38 | bus_LV_573-4_2_2_node_234 | 0.4 | n |  | TRUE
39 | bus_LV_573-4_2_2_node_241 | 0.4 | n |  | TRUE
40 | bus_MV_0_node_195 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_573-4_2_2_load_217 | 1 | 0.00016617 | 4.1646e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_573-4_2_2_load_216 | 2 | 0.00018092 | 4.5344e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_573-4_2_2_load_169 | 3 | 0.0015966 | 0.00040014 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_573-4_2_2_load_243 | 8 | 0.0020374 | 0.00051061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_573-4_2_2_load_242 | 9 | 0.001287 | 0.00032255 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_573-4_2_2_load_194 | 10 | 0.019265 | 0.0048283 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_573-4_2_2_load_246 | 16 | 0.004094 | 0.0010261 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_573-4_2_2_load_251 | 20 | 0.0023477 | 0.00058839 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_573-4_2_2_load_244 | 21 | 0.0017238 | 0.00043202 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_573-4_2_2_load_206 | 24 | 0.0025485 | 0.00063871 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_573-4_2_2_load_223 | 25 | 0.031743 | 0.0079556 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_573-4_2_2_load_210 | 26 | 0.00014623 | 3.6648e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_573-4_2_2_load_233 | 28 | 0.00015568 | 3.9017e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_573-4_2_2_load_231 | 29 | 0.00022517 | 5.6433e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_573-4_2_2_load_215 | 30 | 0.00016814 | 4.214e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_573-4_2_2_load_226 | 32 | 0.00012479 | 3.1275e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_573-4_2_2_load_229 | 34 | 0.00019049 | 4.7742e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_573-4_2_2_load_230 | 35 | 0.00012597 | 3.1571e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_573-4_2_2_load_232 | 36 | 0.00014392 | 3.6069e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_573-4_2_2_load_235 | 37 | 0.00015863 | 3.9756e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_573-4_2_2_load_234 | 38 | 0.00077015 | 0.00019302 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_573-4_2_2_load_241 | 39 | 0.00043772 | 0.0001097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_573-4_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_573-4_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.054445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_573-4_2_2_line_2 | NAYY 4x150 SE | 2 | 30 | 0.42464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_573-4_2_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.015647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_573-4_2_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_573-4_2_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.3653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_573-4_2_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.24293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_573-4_2_2_line_7 | NAYY 4x150 SE | 6 | 21 | 0.054908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_573-4_2_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.020508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_573-4_2_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.16785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_573-4_2_2_line_10 | NAYY 4x150 SE | 10 | 11 | 0.056822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_573-4_2_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.027944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_573-4_2_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.32554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_573-4_2_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.03904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_573-4_2_2_line_14 | NAYY 4x150 SE | 13 | 22 | 0.27887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_573-4_2_2_line_15 | NAYY 4x150 SE | 13 | 21 | 0.069282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_573-4_2_2_line_16 | NAYY 4x150 SE | 14 | 24 | 0.019664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_573-4_2_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.036005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_573-4_2_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.092016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_573-4_2_2_line_19 | NAYY 4x150 SE | 17 | 25 | 0.027842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_573-4_2_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.043469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_573-4_2_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.013885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_573-4_2_2_line_22 | NAYY 4x150 SE | 19 | 25 | 0.046985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_573-4_2_2_line_23 | NAYY 4x150 SE | 19 | 23 | 0.052632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_573-4_2_2_line_24 | NAYY 4x150 SE | 22 | 36 | 0.18684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_573-4_2_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.011604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_573-4_2_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.071565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_573-4_2_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.041753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_573-4_2_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.14966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_573-4_2_2_line_29 | NAYY 4x150 SE | 28 | 38 | 0.034155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_573-4_2_2_line_30 | NAYY 4x150 SE | 29 | 33 | 0.024331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_573-4_2_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.10701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_573-4_2_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.16173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_573-4_2_2_line_33 | NAYY 4x150 SE | 31 | 34 | 0.01816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_573-4_2_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.065018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_573-4_2_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.024801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_573-4_2_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.1794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_573-4_2_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.042584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_573-4_2_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.016769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_573-4_2_2_trafo_195 | 0.25 MVA 20/0.4 kV | 40 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2645734.8322 | 1176656.6828 | 2645724.2943 | 1176661.494 | 2645698.5696 | 1176671.4035
1 | 2645734.8322 | 1176656.6828 | 2645695.5424 | 1176647.3898 | 2645681.8198 | 1176644.2771
2 | 2645351.3362 | 1176385.6963 | 2645376.7181 | 1176404.3087 | 2645411.7425 | 1176434.1339 | 2645465.1658 | 1176485.8435 | 2645510.0294 | 1176533.3421 | 2645551.9598 | 1176573.4704 | 2645579.9021 | 1176596.6504 | 2645621.5431 | 1176621.4466 | 2645665.6723 | 1176640.6145 | 2645681.8198 | 1176644.2771
3 | 2644915.1521 | 1175682.8759 | 2644901.2097 | 1175675.773
4 | 2644891.7206 | 1175670.9388 | 2644901.2097 | 1175675.773
5 | 2644905.4334 | 1176048.0424 | 2644915.1521 | 1175682.8759
6 | 2644891.7206 | 1175670.9388 | 2644876.1229 | 1175662.251 | 2644852.8351 | 1175651.5379 | 2644843.377 | 1175639.572 | 2644836.044 | 1175619.4177 | 2644842.2056 | 1175621.4092 | 2644841.4262 | 1175595.7786 | 2644855.917 | 1175571.5628 | 2644878.1524 | 1175557.4547 | 2644893.344 | 1175547.9187 | 2644896.804 | 1175538.0727 | 2644904.789 | 1175522.1461 | 2644907.4484 | 1175511.0156 | 2644909.6093 | 1175499.081 | 2644911.1533 | 1175492.967
7 | 2644905.4334 | 1176048.0424 | 2644923.6667 | 1176045.5441 | 2644958.3133 | 1176057.0396
8 | 2644911.1533 | 1175492.967 | 2644909.0959 | 1175485.9701 | 2644902.8842 | 1175474.3064
9 | 2644911.1533 | 1175492.967 | 2644911.5856 | 1175494.4488 | 2644912.9945 | 1175506.3991 | 2644913.4536 | 1175522.689 | 2644913.1884 | 1175532.5811 | 2644914.7003 | 1175540.9747 | 2644917.5381 | 1175549.934 | 2644916.6495 | 1175558.3541 | 2644905.1615 | 1175575.5662 | 2644899.1708 | 1175582.4029 | 2644891.767 | 1175586.0384 | 2644890.4357 | 1175589.2746 | 2644891.3221 | 1175592.3829 | 2644894.5616 | 1175594.6416 | 2644901.6098 | 1175596.6398 | 2644912.6606 | 1175600.0576 | 2644920.7781 | 1175601.1633 | 2644930.4901 | 1175600.6357 | 2644935.8607 | 1175599.0306 | 2644939.0957 | 1175596.7758 | 2644941.6681 | 1175590.6838
10 | 2644843.9805 | 1176158.3309 | 2644863.2468 | 1176174.0499 | 2644871.3792 | 1176181.2256 | 2644873.1299 | 1176185.2742 | 2644872.3755 | 1176189.0483 | 2644868.313 | 1176201.2414
11 | 2644846.256 | 1176211.832 | 2644856.222 | 1176212.9849 | 2644860.8645 | 1176211.5521 | 2644864.2789 | 1176208.7761 | 2644867.0587 | 1176205.006 | 2644868.313 | 1176201.2414
12 | 2644843.9805 | 1176158.3309 | 2644825.5726 | 1176143.3188 | 2644817.2228 | 1176134.5296 | 2644809.0261 | 1176122.6288 | 2644814.7884 | 1176125.829 | 2644825.7857 | 1176132.1812 | 2644829.6048 | 1176134.5887 | 2644834.9926 | 1176135.7184 | 2644843.4689 | 1176136.7823 | 2644856.4424 | 1176140.5367 | 2644860.7625 | 1176144.4155 | 2644870.3619 | 1176149.6345 | 2644892.4793 | 1176152.0455 | 2644905.7255 | 1176154.0679 | 2644920.7178 | 1176160.7502 | 2644924.0278 | 1176160.6972 | 2644927.9593 | 1176158.2808 | 2644935.1475 | 1176151.7089 | 2644939.4631 | 1176141.8915 | 2644946.5923 | 1176136.0529 | 2644952.9371 | 1176133.9214 | 2644962.7328 | 1176132.305 | 2644967.7823 | 1176133.6991 | 2644980.3777 | 1176106.3011 | 2644989.7974 | 1176080.4245 | 2645026.3031 | 1176070.2149
13 | 2644810.5718 | 1176196.1128 | 2644826.4045 | 1176204.8912 | 2644846.256 | 1176211.832
14 | 2645288.8118 | 1176107.8756 | 2645275.2894 | 1176105.9838 | 2645261.2264 | 1176115.9831 | 2645208.6461 | 1176078.5337 | 2645156.302 | 1176065.4773 | 2645123.2028 | 1176067.852 | 2645101.4396 | 1176069.1448 | 2645082.0919 | 1176070.4113 | 2645067.5916 | 1176070.4692 | 2645044.138 | 1176069.8818 | 2645026.3031 | 1176070.2149
15 | 2645026.3031 | 1176070.2149 | 2644961.34 | 1176058.0439 | 2644958.3133 | 1176057.0396
16 | 2644810.5718 | 1176196.1128 | 2644797.1838 | 1176190.5655 | 2644792.2712 | 1176188.9489
17 | 2644820.286 | 1176246.3455 | 2644844.7043 | 1176237.423 | 2644854.3899 | 1176240.2857
18 | 2644740.3082 | 1176200.9693 | 2644764.2137 | 1176217.7675 | 2644781.0107 | 1176226.3751 | 2644789.2748 | 1176230.2499 | 2644806.7252 | 1176240.4078 | 2644820.286 | 1176246.3455
19 | 2644740.3082 | 1176200.9693 | 2644715.6244 | 1176188.0897
20 | 2644692.7038 | 1176147.7976 | 2644717.4505 | 1176157.398 | 2644732.8921 | 1176164.3278
21 | 2644692.7038 | 1176147.7976 | 2644683.6629 | 1176145.5624 | 2644679.11 | 1176145.1501
22 | 2644732.8921 | 1176164.3278 | 2644731.2187 | 1176172.4642 | 2644740.4049 | 1176177.7465 | 2644731.9459 | 1176185.6544 | 2644715.6244 | 1176188.0897
23 | 2644732.8921 | 1176164.3278 | 2644742.8504 | 1176169.5937 | 2644781.2482 | 1176185.3217
24 | 2645288.8118 | 1176107.8756 | 2645286.8519 | 1176112.3521 | 2645288.5697 | 1176119.7023 | 2645292.5509 | 1176124.9129 | 2645317.4238 | 1176134.8948 | 2645348.0578 | 1176146.1654 | 2645361.9726 | 1176153.7634 | 2645373.7291 | 1176163.7576 | 2645382.7426 | 1176173.6199 | 2645386.659 | 1176184.3441 | 2645383.7839 | 1176197.6406 | 2645374.8349 | 1176205.5438 | 2645364.4804 | 1176209.2787 | 2645348.688 | 1176208.8914
25 | 2644781.2482 | 1176185.3217 | 2644792.2712 | 1176188.9489
26 | 2645542.7738 | 1176445.4656 | 2645550.862 | 1176454.2872 | 2645562.8068 | 1176457.4796 | 2645576.3521 | 1176454.2251 | 2645592.2788 | 1176449.3878 | 2645607.7215 | 1176448.8937 | 2645608.9277 | 1176448.8702
27 | 2645542.7738 | 1176445.4656 | 2645535.4554 | 1176441.9527 | 2645525.7488 | 1176440.9341 | 2645518.3885 | 1176441.9455 | 2645514.8539 | 1176444.42 | 2645512.6662 | 1176448.6835 | 2645513.1709 | 1176455.7022 | 2645513.3632 | 1176455.9348
28 | 2645542.7738 | 1176445.4656 | 2645539.1571 | 1176433.5763 | 2645535.2946 | 1176424.8757 | 2645528.3149 | 1176418.0191 | 2645517.5285 | 1176413.2348 | 2645486.7728 | 1176401.1063 | 2645476.4214 | 1176393.3905 | 2645467.171 | 1176383.5818 | 2645462.3868 | 1176374.4518 | 2645458.8324 | 1176362.3852 | 2645458.8937 | 1176348.2336 | 2645461.8771 | 1176339.0679
29 | 2645513.3632 | 1176455.9348 | 2645517.1925 | 1176460.5686 | 2645525.1913 | 1176464.0422 | 2645527.7324 | 1176471.6322 | 2645528.5624 | 1176481.1102 | 2645528.8149 | 1176482.9985
30 | 2645460.427 | 1176315.3276 | 2645463.2468 | 1176325.4989 | 2645463.182 | 1176335.059 | 2645461.8771 | 1176339.0679
31 | 2645308.0526 | 1176287.828 | 2645351.3362 | 1176385.6963
32 | 2645308.0526 | 1176287.828 | 2645330.7807 | 1176285.187 | 2645353.579 | 1176282.3687 | 2645368.2804 | 1176280.9012 | 2645382.3731 | 1176282.1195 | 2645403.9991 | 1176287.7638 | 2645434.8774 | 1176295.9128 | 2645448.9739 | 1176301.667 | 2645455.7068 | 1176308.8329 | 2645460.427 | 1176315.3276
33 | 2645308.0526 | 1176287.828 | 2645289.9886 | 1176285.9666
34 | 2645308.0526 | 1176287.828 | 2645294.39 | 1176292.4163 | 2645280.1772 | 1176291.931 | 2645266.0475 | 1176288.5227 | 2645251.4475 | 1176283.6323 | 2645245.6509 | 1176280.799
35 | 2645460.427 | 1176315.3276 | 2645470.0964 | 1176313.2219 | 2645484.9244 | 1176314.7327
36 | 2645289.9886 | 1176285.9666 | 2645283.6055 | 1176285.3089 | 2645271.2279 | 1176280.6575 | 2645261.0576 | 1176273.1769 | 2645253.5859 | 1176262.5816 | 2645250.6468 | 1176248.9188 | 2645253.8313 | 1176234.0904 | 2645260.5053 | 1176224.7802 | 2645271.7216 | 1176214.1813 | 2645287.0389 | 1176208.1158 | 2645306.8295 | 1176207.8649 | 2645348.688 | 1176208.8914
37 | 2645484.9244 | 1176314.7327 | 2645485.5391 | 1176314.7953 | 2645498.7878 | 1176315.4182 | 2645517.3673 | 1176314.5697 | 2645527.4679 | 1176314.8219
38 | 2645528.9196 | 1176499.5117 | 2645530.2693 | 1176493.8745 | 2645528.8149 | 1176482.9985

## bus_geodata
| x | y | coords
0 | 2645734.8322 | 1176656.6828
1 | 2645698.5696 | 1176671.4035
2 | 2645681.8198 | 1176644.2771
3 | 2644901.2097 | 1175675.773
4 | 2644915.1521 | 1175682.8759
5 | 2644891.7206 | 1175670.9388
6 | 2644905.4334 | 1176048.0424
7 | 2644911.1533 | 1175492.967
8 | 2644902.8842 | 1175474.3064
9 | 2644941.6681 | 1175590.6838
10 | 2644868.313 | 1176201.2414
11 | 2644843.9805 | 1176158.3309
12 | 2644846.256 | 1176211.832
13 | 2645026.3031 | 1176070.2149
14 | 2644810.5718 | 1176196.1128
15 | 2644820.286 | 1176246.3455
16 | 2644854.3899 | 1176240.2857
17 | 2644740.3082 | 1176200.9693
18 | 2644692.7038 | 1176147.7976
19 | 2644732.8921 | 1176164.3278
20 | 2644679.11 | 1176145.1501
21 | 2644958.3133 | 1176057.0396
22 | 2645288.8118 | 1176107.8756
23 | 2644781.2482 | 1176185.3217
24 | 2644792.2712 | 1176188.9489
25 | 2644715.6244 | 1176188.0897
26 | 2645608.9277 | 1176448.8702
27 | 2645542.7738 | 1176445.4656
28 | 2645513.3632 | 1176455.9348
29 | 2645461.8771 | 1176339.0679
30 | 2645351.3362 | 1176385.6963
31 | 2645308.0526 | 1176287.828
32 | 2645245.6509 | 1176280.799
33 | 2645460.427 | 1176315.3276
34 | 2645289.9886 | 1176285.9666
35 | 2645484.9244 | 1176314.7327
36 | 2645348.688 | 1176208.8914
37 | 2645527.4679 | 1176314.8219
38 | 2645528.8149 | 1176482.9985
39 | 2645528.9196 | 1176499.5117
40 | 2644843.9805 | 1176158.3309

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1