## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_576-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_576-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_576-1_0_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_576-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_576-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_576-1_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_576-1_0_4_node_242 | 0.4 | n |  | TRUE
7 | bus_LV_576-1_0_4_node_156 | 0.4 | n |  | TRUE
8 | bus_LV_576-1_0_4_node_90 | 0.4 | n |  | TRUE
9 | bus_LV_576-1_0_4_node_157 | 0.4 | n |  | TRUE
10 | bus_LV_576-1_0_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_576-1_0_4_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_576-1_0_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_576-1_0_4_node_198 | 0.4 | n |  | TRUE
14 | bus_LV_576-1_0_4_node_199 | 0.4 | n |  | TRUE
15 | bus_LV_576-1_0_4_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_576-1_0_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_576-1_0_4_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_576-1_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_576-1_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_576-1_0_4_node_244 | 0.4 | n |  | TRUE
21 | bus_LV_576-1_0_4_node_240 | 0.4 | n |  | TRUE
22 | bus_LV_576-1_0_4_node_183 | 0.4 | n |  | TRUE
23 | bus_LV_576-1_0_4_node_184 | 0.4 | n |  | TRUE
24 | bus_LV_576-1_0_4_node_185 | 0.4 | n |  | TRUE
25 | bus_LV_576-1_0_4_node_186 | 0.4 | n |  | TRUE
26 | bus_LV_576-1_0_4_node_187 | 0.4 | n |  | TRUE
27 | bus_LV_576-1_0_4_node_188 | 0.4 | n |  | TRUE
28 | bus_LV_576-1_0_4_node_202 | 0.4 | n |  | TRUE
29 | bus_LV_576-1_0_4_node_203 | 0.4 | n |  | TRUE
30 | bus_LV_576-1_0_4_node_189 | 0.4 | n |  | TRUE
31 | bus_LV_576-1_0_4_node_190 | 0.4 | n |  | TRUE
32 | bus_LV_576-1_0_4_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_576-1_0_4_node_192 | 0.4 | n |  | TRUE
34 | bus_LV_576-1_0_4_node_193 | 0.4 | n |  | TRUE
35 | bus_LV_576-1_0_4_node_243 | 0.4 | n |  | TRUE
36 | bus_LV_576-1_0_4_node_197 | 0.4 | n |  | TRUE
37 | bus_LV_576-1_0_4_node_93 | 0.4 | n |  | TRUE
38 | bus_LV_576-1_0_4_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_576-1_0_4_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_576-1_0_4_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_576-1_0_4_node_76 | 0.4 | n |  | TRUE
42 | bus_LV_576-1_0_4_node_200 | 0.4 | n |  | TRUE
43 | bus_LV_576-1_0_4_node_84 | 0.4 | n |  | TRUE
44 | bus_LV_576-1_0_4_node_204 | 0.4 | n |  | TRUE
45 | bus_LV_576-1_0_4_node_239 | 0.4 | n |  | TRUE
46 | bus_LV_576-1_0_4_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_576-1_0_4_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_576-1_0_4_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_576-1_0_4_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_576-1_0_4_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_576-1_0_4_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_576-1_0_4_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_576-1_0_4_node_116 | 0.4 | n |  | TRUE
54 | bus_LV_576-1_0_4_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_576-1_0_4_node_114 | 0.4 | n |  | TRUE
56 | bus_LV_576-1_0_4_node_241 | 0.4 | n |  | TRUE
57 | bus_MV_0_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_576-1_0_4_load_0 | 0 | 0.00043818 | 0.00010982 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_576-1_0_4_load_1 | 1 | 0.00118 | 0.00029574 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_576-1_0_4_load_5 | 2 | 0.00036406 | 9.1243e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_576-1_0_4_load_4 | 4 | 0.0035609 | 0.00089245 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_576-1_0_4_load_242 | 6 | 0.0004817 | 0.00012073 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_576-1_0_4_load_156 | 7 | 0.00030803 | 7.7198e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_576-1_0_4_load_90 | 8 | 0.00042823 | 0.00010732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_576-1_0_4_load_157 | 9 | 0.00065447 | 0.00016403 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_576-1_0_4_load_35 | 12 | 0.00080798 | 0.0002025 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_576-1_0_4_load_198 | 13 | 0.00095003 | 0.0002381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_576-1_0_4_load_199 | 14 | 0.00047948 | 0.00012017 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_576-1_0_4_load_37 | 15 | 0.00065363 | 0.00016382 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_576-1_0_4_load_40 | 18 | 0.00064852 | 0.00016253 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_576-1_0_4_load_244 | 20 | 0.001483 | 0.00037169 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_576-1_0_4_load_183 | 22 | 0.00032585 | 8.1664e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_576-1_0_4_load_184 | 23 | 0.0012316 | 0.00030867 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_576-1_0_4_load_186 | 25 | 0.00030232 | 7.5768e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_576-1_0_4_load_187 | 26 | 0.0010859 | 0.00027215 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_576-1_0_4_load_202 | 28 | 0.0015718 | 0.00039392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_576-1_0_4_load_189 | 30 | 0.00026838 | 6.7263e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_576-1_0_4_load_190 | 31 | 0.00018869 | 4.7289e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_576-1_0_4_load_91 | 32 | 0.00036228 | 9.0796e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_576-1_0_4_load_192 | 33 | 0.0002873 | 7.2005e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_576-1_0_4_load_193 | 34 | 0.00028167 | 7.0593e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_576-1_0_4_load_243 | 35 | 0.00051591 | 0.0001293 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_576-1_0_4_load_197 | 36 | 0.00026581 | 6.6618e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_576-1_0_4_load_93 | 37 | 0.00038729 | 9.7063e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_576-1_0_4_load_70 | 38 | 0.00035613 | 8.9253e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_576-1_0_4_load_71 | 39 | 0.00048912 | 0.00012258 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_576-1_0_4_load_73 | 40 | 0.00032228 | 8.0771e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_576-1_0_4_load_76 | 41 | 0.00056144 | 0.00014071 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_576-1_0_4_load_200 | 42 | 0.0006343 | 0.00015897 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_576-1_0_4_load_239 | 45 | 0.00036549 | 9.1599e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_576-1_0_4_load_83 | 46 | 0.0004665 | 0.00011692 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_576-1_0_4_load_87 | 49 | 0.00077692 | 0.00019472 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_576-1_0_4_load_89 | 51 | 0.00032326 | 8.1016e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_576-1_0_4_load_92 | 52 | 0.0004392 | 0.00011007 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_576-1_0_4_load_116 | 53 | 0.00028466 | 7.1341e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_576-1_0_4_load_113 | 54 | 0.00032435 | 8.1289e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_576-1_0_4_load_114 | 55 | 0.00021825 | 5.4698e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_576-1_0_4_load_241 | 56 | 0.00072778 | 0.0001824 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_576-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_576-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.74452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_576-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.27375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_576-1_0_4_line_3 | NAYY 4x150 SE | 2 | 6 | 0.92194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_576-1_0_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.16864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_576-1_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.26389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_576-1_0_4_line_6 | NAYY 4x150 SE | 5 | 10 | 0.21989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_576-1_0_4_line_7 | NAYY 4x150 SE | 6 | 35 | 0.010184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_576-1_0_4_line_8 | NAYY 4x150 SE | 6 | 56 | 0.09135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_576-1_0_4_line_9 | NAYY 4x150 SE | 7 | 8 | 0.076677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_576-1_0_4_line_10 | NAYY 4x150 SE | 7 | 9 | 0.036638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_576-1_0_4_line_11 | NAYY 4x150 SE | 8 | 48 | 0.083612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_576-1_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.23889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_576-1_0_4_line_13 | NAYY 4x150 SE | 11 | 14 | 0.049985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_576-1_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.099099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_576-1_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.017289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_576-1_0_4_line_16 | NAYY 4x150 SE | 14 | 42 | 0.050542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_576-1_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.045037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_576-1_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.10136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_576-1_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.055649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_576-1_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.16897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_576-1_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.020078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_576-1_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.57074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_576-1_0_4_line_23 | NAYY 4x150 SE | 21 | 45 | 0.029276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_576-1_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.16683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_576-1_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.008896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_576-1_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.0014504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_576-1_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.28635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_576-1_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.090587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_576-1_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.049102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_576-1_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.079924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_576-1_0_4_line_31 | NAYY 4x150 SE | 28 | 44 | 0.074818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_576-1_0_4_line_32 | NAYY 4x150 SE | 29 | 42 | 0.018548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_576-1_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.12123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_576-1_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0074137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_576-1_0_4_line_35 | NAYY 4x150 SE | 32 | 49 | 0.14799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_576-1_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.12631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_576-1_0_4_line_37 | NAYY 4x150 SE | 33 | 35 | 0.36554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_576-1_0_4_line_38 | NAYY 4x150 SE | 34 | 36 | 0.021653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_576-1_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.11801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_576-1_0_4_line_40 | NAYY 4x150 SE | 37 | 50 | 0.10946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_576-1_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.051104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_576-1_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.067626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_576-1_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.01811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_576-1_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.23658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_576-1_0_4_line_45 | NAYY 4x150 SE | 43 | 48 | 0.027344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_576-1_0_4_line_46 | NAYY 4x150 SE | 43 | 46 | 0.065092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_576-1_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.13529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_576-1_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.081196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_576-1_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.30129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_576-1_0_4_line_50 | NAYY 4x150 SE | 47 | 50 | 0.1657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_576-1_0_4_line_51 | NAYY 4x150 SE | 48 | 51 | 0.15098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_576-1_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.090841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_576-1_0_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.11712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_576-1_0_4_line_54 | NAYY 4x150 SE | 53 | 55 | 0.011058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_576-1_0_4_line_55 | NAYY 4x150 SE | 54 | 55 | 0.22331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_576-1_0_4_trafo_186 | 0.25 MVA 20/0.4 kV | 57 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2644814.4265 | 1167078.4603 | 2644824.1859 | 1167066.4699
1 | 2644814.4265 | 1167078.4603 | 2644092.0489 | 1167258.6933
2 | 2644972.1113 | 1166993.6372 | 2644978.392 | 1167001.366 | 2644975.5346 | 1167008.793 | 2644960.8207 | 1167009.928 | 2644941.8627 | 1167016.601 | 2644944.6132 | 1167023.4473 | 2644960.6835 | 1167028.27 | 2644973.7881 | 1167034.5268 | 2644984.597 | 1167045.7802 | 2644936.9227 | 1167053.7947 | 2644891.5356 | 1167048.7086 | 2644861.9735 | 1167048.4879 | 2644838.8666 | 1167063.379 | 2644825.7139 | 1167064.5927 | 2644824.1859 | 1167066.4699
3 | 2644010.581 | 1166340.3597 | 2644092.0489 | 1167258.6933
4 | 2644972.1113 | 1166993.6372 | 2644936.8205 | 1166978.3765 | 2644913.5911 | 1166968.6201 | 2644890.2588 | 1166967.512 | 2644869.1776 | 1166957.1159 | 2644846.1514 | 1166956.0214 | 2644828.7724 | 1166949.0659 | 2644817.3926 | 1166937.3083
5 | 2644987.3018 | 1166792.7897 | 2644936.7077 | 1166816.3017 | 2644886.7673 | 1166851.7696 | 2644866.4637 | 1166861.2342 | 2644861.3607 | 1166878.2606 | 2644852.6032 | 1166884.3985 | 2644852.5407 | 1166892.7802 | 2644869.838 | 1166909.6626 | 2644862.5998 | 1166920.4587 | 2644842.6057 | 1166930.5482 | 2644822.3748 | 1166931.3311 | 2644817.3926 | 1166937.3083
6 | 2645029.1402 | 1166576.9116 | 2644987.3018 | 1166792.7897
7 | 2644010.581 | 1166340.3597 | 2644010.581 | 1166340.3597 | 2644018.4085 | 1166339.9278 | 2644020.5892 | 1166339.0662
8 | 2643942.0315 | 1166289.5802 | 2643942.1244 | 1166293.8793 | 2643946.8589 | 1166299.7503 | 2643953.6213 | 1166301.5451 | 2643965.1249 | 1166300.9622 | 2643970.8303 | 1166302.816 | 2643976.2199 | 1166307.0354 | 2643981.4235 | 1166312.5985 | 2644002.1063 | 1166335.0727 | 2644010.581 | 1166340.3597
9 | 2644828.439 | 1165815.205 | 2644822.7428 | 1165812.0131 | 2644814.1427 | 1165810.1814 | 2644801.5343 | 1165815.0455 | 2644796.8925 | 1165819.4022 | 2644793.6386 | 1165826.5817 | 2644789.295 | 1165833.0527 | 2644787.3493 | 1165837.2849 | 2644786.493 | 1165842.2589 | 2644787.2345 | 1165847.5672 | 2644788.3195 | 1165854.0343 | 2644788.0511 | 1165858.2011
10 | 2644859.4921 | 1165832.8757 | 2644854.6287 | 1165833.0618 | 2644846.7068 | 1165828.6004 | 2644831.1071 | 1165816.7001 | 2644828.439 | 1165815.205
11 | 2644732.1153 | 1165823.8224 | 2644732.6224 | 1165826.6721 | 2644734.9748 | 1165830.5472 | 2644741.4175 | 1165836.2426 | 2644748.2488 | 1165842.2076 | 2644753.456 | 1165851.3623 | 2644759.4975 | 1165863.6359 | 2644765.6383 | 1165867.7282 | 2644770.7021 | 1165869.4001 | 2644775.5914 | 1165868.8139 | 2644785.911 | 1165861.8093 | 2644788.0511 | 1165858.2011 | 2644788.0511 | 1165858.2011
12 | 2644917.3665 | 1166371.1123 | 2644924.2838 | 1166381.8473 | 2644949.2858 | 1166421.0436 | 2644968.4744 | 1166445.2108 | 2644996.7066 | 1166474.1816 | 2645010.7255 | 1166502.657 | 2645017.0314 | 1166539.7793 | 2645029.1402 | 1166576.9116
13 | 2644917.3665 | 1166371.1123 | 2644905.9234 | 1166353.3508 | 2644903.765 | 1166324.5752
14 | 2644917.3665 | 1166371.1123 | 2644939.3193 | 1166371.6988 | 2644996.1828 | 1166346.7441 | 2645001.3624 | 1166332.6244
15 | 2645001.3624 | 1166332.6244 | 2645004.5688 | 1166323.8838 | 2645012.256 | 1166326.0199
16 | 2644903.765 | 1166324.5752 | 2644922.1119 | 1166302.6451 | 2644932.7713 | 1166283.4576
17 | 2645766.7155 | 1165745.4527 | 2645758.8996 | 1165754.2979 | 2645749.0634 | 1165757.9583 | 2645739.2693 | 1165757.1056 | 2645726.7564 | 1165753.9387
18 | 2645630.3804 | 1165739.3138 | 2645636.0412 | 1165733.9539 | 2645649.5465 | 1165733.1003 | 2645706.9487 | 1165747.2548 | 2645725.231 | 1165753.5526 | 2645726.7564 | 1165753.9387
19 | 2645808.8787 | 1165779.9362 | 2645804.0588 | 1165774.4077 | 2645767.8892 | 1165750.1864 | 2645766.7155 | 1165745.4527
20 | 2645492.7593 | 1165679.4733 | 2645504.1931 | 1165696.3909 | 2645510.5928 | 1165710.7246 | 2645512.1955 | 1165716.4731 | 2645518.3812 | 1165720.6554 | 2645545.3991 | 1165733.1443 | 2645550.4648 | 1165733.5495 | 2645563.6387 | 1165729.9585 | 2645568.1481 | 1165731.0154 | 2645577.9986 | 1165732.5242 | 2645585.3993 | 1165730.9461 | 2645604.4846 | 1165726.2883 | 2645615.1744 | 1165730.2047 | 2645623.4373 | 1165735.07 | 2645630.3804 | 1165739.3138
21 | 2645492.7593 | 1165679.4733 | 2645484.8978 | 1165660.993
22 | 2645072.788 | 1166065.948 | 2645492.7593 | 1165679.4733
23 | 2645072.788 | 1166065.948 | 2645061.8565 | 1166068.7898 | 2645051.219 | 1166072.2453 | 2645046.246 | 1166076.8772
24 | 2644677.6116 | 1166366.4765 | 2644678.1174 | 1166367.2395 | 2644684.0464 | 1166371.9415 | 2644688.9621 | 1166373.9124 | 2644694.3906 | 1166374.8866 | 2644701.1798 | 1166374.07 | 2644708.0181 | 1166370.7635 | 2644712.0813 | 1166365.9023 | 2644716.4532 | 1166355.5627 | 2644723.2392 | 1166334.6021 | 2644729.104 | 1166318.0926 | 2644753.8704 | 1166281.1575 | 2644770.7099 | 1166263.1511 | 2644776.5488 | 1166259.5483
25 | 2644672.6965 | 1166359.0616 | 2644677.6116 | 1166366.4765
26 | 2644776.5488 | 1166259.5483 | 2644777.7831 | 1166258.7866
27 | 2644672.6965 | 1166359.0616 | 2644670.7541 | 1166359.792 | 2644666.2161 | 1166356.4454 | 2644663.48 | 1166347.5538 | 2644658.5892 | 1166329.8526 | 2644650.1148 | 1166320.4737 | 2644637.3009 | 1166316.054 | 2644578.3225 | 1166305.2888 | 2644547.6492 | 1166295.423 | 2644482.9596 | 1166309.4072 | 2644438.7132 | 1166313.8936 | 2644417.819 | 1166320.6109
28 | 2644863.7681 | 1166231.5056 | 2644831.5593 | 1166242.7381 | 2644808.6074 | 1166247.7363 | 2644784.8621 | 1166254.4185 | 2644777.7831 | 1166258.7866
29 | 2644863.7681 | 1166231.5056 | 2644887.3279 | 1166226.1008 | 2644907.6411 | 1166217.6925 | 2644910.0836 | 1166216.0462
30 | 2644863.7681 | 1166231.5056 | 2644887.3418 | 1166238.5964 | 2644901.5781 | 1166247.3405 | 2644923.6311 | 1166258.1442 | 2644935.4232 | 1166266.1031
31 | 2644974.7207 | 1166179.2401 | 2644950.4493 | 1166188.6414 | 2644926.9399 | 1166204.6853 | 2644910.0836 | 1166216.0462
32 | 2644935.4232 | 1166266.1031 | 2644936.9343 | 1166275.964 | 2644932.7713 | 1166283.4576
33 | 2644434.0232 | 1166045.2264 | 2644415.6809 | 1166058.3339 | 2644402.1078 | 1166067.4607 | 2644380.7495 | 1166084.7233 | 2644369.137 | 1166087.5502 | 2644362.3782 | 1166088.3563 | 2644354.5175 | 1166084.941 | 2644347.9542 | 1166083.1139 | 2644341.9022 | 1166085.6706 | 2644337.7936 | 1166090.4873 | 2644337.7115 | 1166094.3443 | 2644339.7921 | 1166097.7169 | 2644339.7921 | 1166097.7169
34 | 2644440.0551 | 1166040.916 | 2644434.0232 | 1166045.2264
35 | 2644440.0551 | 1166040.916 | 2644449.386 | 1166034.248 | 2644460.7191 | 1166028.8401 | 2644473.7832 | 1166025.4126 | 2644502.3075 | 1166024.8122 | 2644519.8701 | 1166028.0549 | 2644536.8885 | 1166033.4504 | 2644550.4547 | 1166032.5282 | 2644558.533 | 1166028.2747 | 2644564.5255 | 1166023.4387 | 2644570.5349 | 1166016.324 | 2644572.7422 | 1166010.2356
36 | 2644199.2727 | 1166020.1755 | 2644206.8945 | 1166022.7995 | 2644213.1295 | 1166022.4229 | 2644216.705 | 1166017.2243 | 2644216.8449 | 1166010.6885 | 2644214.2945 | 1165998.3077 | 2644214.3278 | 1165993.7834 | 2644218.5503 | 1165988.0559 | 2644225.4291 | 1165984.4824 | 2644232.4949 | 1165985.6571 | 2644240.3967 | 1165985.6041 | 2644247.1908 | 1165983.1417 | 2644251.1628 | 1165979.2022 | 2644255.9119 | 1165973.712 | 2644264.5725 | 1165960.0352 | 2644275.0369 | 1165949.8958 | 2644276.1433 | 1165949.3724
37 | 2644199.2727 | 1166020.1755 | 2644020.5892 | 1166339.0662
38 | 2644296.1106 | 1165941.083 | 2644287.2993 | 1165944.0942 | 2644276.1433 | 1165949.3724
39 | 2644296.1106 | 1165941.083 | 2644304.6543 | 1165938.1633 | 2644320.0747 | 1165930.8508 | 2644329.8841 | 1165923.3748 | 2644338.4624 | 1165914.6556 | 2644348.4125 | 1165904.7349 | 2644354.6722 | 1165894.7981 | 2644366.0771 | 1165882.7981 | 2644383.6254 | 1165875.6016 | 2644389.6214 | 1165874.9447
40 | 2644450.8978 | 1165816.2894 | 2644455.9483 | 1165823.9308 | 2644457.2127 | 1165833.1116 | 2644456.9736 | 1165841.6254 | 2644455.3999 | 1165849.429 | 2644450.9796 | 1165857.0114 | 2644445.7716 | 1165862.3979 | 2644439.5197 | 1165866.0648 | 2644430.9465 | 1165869.9257 | 2644414.4296 | 1165872.2272 | 2644389.6214 | 1165874.9447
41 | 2644741.15 | 1165525.4443 | 2644745.6226 | 1165523.2653 | 2644750.8989 | 1165524.2051 | 2644756.2905 | 1165528.1806 | 2644760.5581 | 1165532.9593 | 2644772.6703 | 1165548.5354 | 2644777.529 | 1165554.1522 | 2644778.015 | 1165554.2934
42 | 2644741.15 | 1165525.4443 | 2644741.15 | 1165525.4443 | 2644739.7793 | 1165532.6601 | 2644738.6584 | 1165544.3801 | 2644732.7418 | 1165554.3636 | 2644728.9653 | 1165557.6706 | 2644727.4767 | 1165562.2175 | 2644722.8199 | 1165570.6317 | 2644717.5995 | 1165572.4827 | 2644713.1526 | 1165583.5666 | 2644713.1526 | 1165583.5666
43 | 2644713.1526 | 1165583.5666 | 2644707.6267 | 1165585.3042 | 2644705.1372 | 1165580.2831 | 2644700.2789 | 1165584.9161
44 | 2644716.2898 | 1165803.1384 | 2644716.9674 | 1165801.5981 | 2644730.7241 | 1165794.6968 | 2644730.2535 | 1165785.9109 | 2644732.895 | 1165770.478 | 2644725.8412 | 1165751.1932 | 2644720.4514 | 1165724.3613 | 2644721.8224 | 1165715.0333 | 2644717.6134 | 1165704.4409 | 2644718.5089 | 1165686.994 | 2644711.1726 | 1165664.4832 | 2644696.4071 | 1165642.2507 | 2644693.7739 | 1165625.6669 | 2644692.973 | 1165620.1025 | 2644695.3121 | 1165614.4502 | 2644697.6515 | 1165598.4592 | 2644700.2789 | 1165584.9161
45 | 2644716.2898 | 1165803.1384 | 2644722.7275 | 1165807.4663 | 2644728.2966 | 1165812.2435 | 2644730.8966 | 1165817.8213 | 2644732.1153 | 1165823.8224
46 | 2644716.2898 | 1165803.1384 | 2644710.5804 | 1165799.7164 | 2644704.2732 | 1165793.2883 | 2644696.7335 | 1165781.6707 | 2644687.8436 | 1165766.2966 | 2644685.047 | 1165763.4632 | 2644681.805 | 1165761.8382 | 2644675.5615 | 1165761.2471 | 2644671.6404 | 1165761.6508
47 | 2644974.7207 | 1166179.2401 | 2644993.2665 | 1166176.8553 | 2645000.4232 | 1166173.0069 | 2645005.4602 | 1166164.9292 | 2645033.6167 | 1166122.3843 | 2645036.7993 | 1166112.4807 | 2645039.787 | 1166101.0081 | 2645041.7659 | 1166083.158 | 2645046.246 | 1166076.8772
48 | 2644601.4346 | 1165775.0043 | 2644614.659 | 1165765.5307 | 2644622.6405 | 1165762.0103 | 2644631.3825 | 1165760.1964 | 2644638.0845 | 1165757.8227 | 2644647.736 | 1165752.1135 | 2644652.5519 | 1165751.1043 | 2644656.0217 | 1165751.9638 | 2644658.9284 | 1165754.3978 | 2644661.772 | 1165759.1547 | 2644663.4089 | 1165761.4348 | 2644667.102 | 1165762.1181 | 2644671.6404 | 1165761.6508
49 | 2644601.4346 | 1165775.0043 | 2644619.6447 | 1165776.718 | 2644631.7441 | 1165776.4743 | 2644642.2865 | 1165779.6764 | 2644651.7632 | 1165785.1385 | 2644654.5148 | 1165789.9059 | 2644655.2107 | 1165795.1694 | 2644653.248 | 1165802.7365 | 2644614.1958 | 1165875.4182 | 2644609.0613 | 1165903.9062 | 2644611.8793 | 1165930.6744 | 2644612.2802 | 1165941.6498 | 2644605.9755 | 1165952.4421 | 2644596.4905 | 1165961.5543 | 2644584.1082 | 1165975.2141 | 2644578.5934 | 1165989.9699 | 2644574.6228 | 1166005.0483 | 2644572.7422 | 1166010.2356
50 | 2644450.8978 | 1165816.2894 | 2644454.9489 | 1165815.1632 | 2644464.3573 | 1165811.2307 | 2644472.8598 | 1165797.2751 | 2644487.6374 | 1165782.7546 | 2644539.1084 | 1165774.0864 | 2644571.5937 | 1165776.4172 | 2644601.4346 | 1165775.0043
51 | 2644732.1153 | 1165823.8224 | 2644730.8836 | 1165824.7137 | 2644728.0057 | 1165835.8982 | 2644727.4203 | 1165847.7 | 2644722.371 | 1165857.4454 | 2644720.1484 | 1165878.3287 | 2644723.0494 | 1165879.462 | 2644735.6722 | 1165901.4563 | 2644740.9732 | 1165919.6163 | 2644739.0336 | 1165943.6145 | 2644745.1076 | 1165960.7798 | 2644745.2579 | 1165965.2157
52 | 2644450.8978 | 1165816.2894 | 2644449.1158 | 1165813.9528 | 2644443.87 | 1165808.9114 | 2644434.8638 | 1165808.1445 | 2644421.7679 | 1165809.6041 | 2644406.2793 | 1165811.5796 | 2644396.1892 | 1165813.4728 | 2644388.5036 | 1165813.2493 | 2644381.1095 | 1165811.9163 | 2644377.4565 | 1165808.91 | 2644373.8878 | 1165804.8593 | 2644371.27 | 1165798.5256 | 2644371.2877 | 1165798.1803
53 | 2644364.0361 | 1165684.1568 | 2644367.6165 | 1165701.1587 | 2644378.4245 | 1165735.8566 | 2644379.8293 | 1165747.8066 | 2644378.7482 | 1165765.6524 | 2644372.6746 | 1165786.652 | 2644371.5115 | 1165793.8138 | 2644371.2877 | 1165798.1803
54 | 2644366.8867 | 1165673.4722 | 2644366.8867 | 1165673.4722 | 2644364.0361 | 1165684.1568 | 2644364.0361 | 1165684.1568
55 | 2644366.8867 | 1165673.4722 | 2644372.4186 | 1165662.5962 | 2644378.593 | 1165649.7461 | 2644384.4424 | 1165641.4961 | 2644388.8789 | 1165636.9264 | 2644406.595 | 1165620.5819 | 2644426.4288 | 1165609.8783 | 2644449.0207 | 1165601.0406 | 2644465.2667 | 1165591.9781 | 2644472.1312 | 1165580.0559 | 2644493.5048 | 1165558.9362 | 2644500.8696 | 1165552.8876 | 2644510.2803 | 1165547.6767 | 2644528.4022 | 1165542.7971 | 2644535.6781 | 1165539.4492 | 2644535.6781 | 1165539.4492

## bus_geodata
| x | y | coords
0 | 2644814.4265 | 1167078.4603
1 | 2644824.1859 | 1167066.4699
2 | 2644092.0489 | 1167258.6933
3 | 2644972.1113 | 1166993.6372
4 | 2644817.3926 | 1166937.3083
5 | 2644987.3018 | 1166792.7897
6 | 2644010.581 | 1166340.3597
7 | 2644828.439 | 1165815.205
8 | 2644788.0511 | 1165858.2011
9 | 2644859.4921 | 1165832.8757
10 | 2645029.1402 | 1166576.9116
11 | 2644917.3665 | 1166371.1123
12 | 2645012.256 | 1166326.0199
13 | 2645001.3624 | 1166332.6244
14 | 2644903.765 | 1166324.5752
15 | 2645726.7564 | 1165753.9387
16 | 2645766.7155 | 1165745.4527
17 | 2645630.3804 | 1165739.3138
18 | 2645808.8787 | 1165779.9362
19 | 2645492.7593 | 1165679.4733
20 | 2645484.8978 | 1165660.993
21 | 2645072.788 | 1166065.948
22 | 2644677.6116 | 1166366.4765
23 | 2644776.5488 | 1166259.5483
24 | 2644672.6965 | 1166359.0616
25 | 2644777.7831 | 1166258.7866
26 | 2644417.819 | 1166320.6109
27 | 2644863.7681 | 1166231.5056
28 | 2644910.0836 | 1166216.0462
29 | 2644935.4232 | 1166266.1031
30 | 2644339.7921 | 1166097.7169
31 | 2644434.0232 | 1166045.2264
32 | 2644440.0551 | 1166040.916
33 | 2644199.2727 | 1166020.1755
34 | 2644276.1433 | 1165949.3724
35 | 2644020.5892 | 1166339.0662
36 | 2644296.1106 | 1165941.083
37 | 2644389.6214 | 1165874.9447
38 | 2644778.015 | 1165554.2934
39 | 2644741.15 | 1165525.4443
40 | 2644713.1526 | 1165583.5666
41 | 2644700.2789 | 1165584.9161
42 | 2644932.7712 | 1166283.4576
43 | 2644716.2898 | 1165803.1384
44 | 2644974.7207 | 1166179.2401
45 | 2645046.246 | 1166076.8772
46 | 2644671.6404 | 1165761.6508
47 | 2644601.4346 | 1165775.0043
48 | 2644732.1153 | 1165823.8224
49 | 2644572.7422 | 1166010.2356
50 | 2644450.8978 | 1165816.2894
51 | 2644745.2579 | 1165965.2157
52 | 2644371.2877 | 1165798.1803
53 | 2644364.0361 | 1165684.1568
54 | 2644535.6781 | 1165539.4492
55 | 2644366.8867 | 1165673.4722
56 | 2643942.0315 | 1166289.5802
57 | 2644777.7831 | 1166258.7866

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1