## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_576-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_576-22_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_576-22_0_3_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_576-22_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_576-22_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_576-22_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_576-22_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_576-22_0_3_node_86 | 0.4 | n |  | TRUE
8 | bus_LV_576-22_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_576-22_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_576-22_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_576-22_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_576-22_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_576-22_0_3_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_576-22_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_576-22_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_576-22_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_576-22_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_576-22_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_576-22_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_576-22_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_576-22_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_576-22_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_576-22_0_3_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_576-22_0_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_576-22_0_3_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_576-22_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_576-22_0_3_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_576-22_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_576-22_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_576-22_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_576-22_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_576-22_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_576-22_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_576-22_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_576-22_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_576-22_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_576-22_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_576-22_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_576-22_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_576-22_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_576-22_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_576-22_0_3_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_576-22_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_576-22_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_576-22_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_576-22_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_576-22_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_576-22_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_576-22_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_576-22_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_576-22_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_576-22_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_576-22_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_576-22_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_576-22_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_576-22_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_576-22_0_3_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_576-22_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_576-22_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_576-22_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_576-22_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_576-22_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_576-22_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_576-22_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_576-22_0_3_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_576-22_0_3_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_576-22_0_3_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_576-22_0_3_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_576-22_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_576-22_0_3_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_576-22_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_576-22_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_576-22_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_576-22_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_576-22_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_576-22_0_3_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_576-22_0_3_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_576-22_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_576-22_0_3_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_576-22_0_3_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_576-22_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_576-22_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_576-22_0_3_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_576-22_0_3_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_576-22_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_576-22_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_576-22_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_MV_195_0_node_236 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_576-22_0_3_load_0 | 0 | 0.012687 | 0.0031796 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_576-22_0_3_load_3 | 3 | 0.0041599 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_576-22_0_3_load_6 | 5 | 0.0038804 | 0.00097253 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_576-22_0_3_load_12 | 6 | 0.0057434 | 0.0014394 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_576-22_0_3_load_86 | 7 | 0.0043702 | 0.0010953 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_576-22_0_3_load_16 | 10 | 0.0042409 | 0.0010629 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_576-22_0_3_load_13 | 11 | 0.0062399 | 0.0015639 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_576-22_0_3_load_88 | 13 | 0.0024013 | 0.00060181 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_576-22_0_3_load_21 | 15 | 0.0056374 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_576-22_0_3_load_17 | 16 | 0.0041322 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_576-22_0_3_load_14 | 17 | 0.0061131 | 0.0015321 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_576-22_0_3_load_7 | 18 | 0.0056068 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_576-22_0_3_load_8 | 19 | 0.0045345 | 0.0011365 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_576-22_0_3_load_9 | 20 | 0.0021877 | 0.0005483 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_576-22_0_3_load_10 | 21 | 0.0045358 | 0.0011368 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_576-22_0_3_load_61 | 23 | 0.0049605 | 0.0012432 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_576-22_0_3_load_62 | 25 | 0.004037 | 0.0010118 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_576-22_0_3_load_87 | 27 | 0.0049047 | 0.0012292 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_576-22_0_3_load_40 | 28 | 0.0022226 | 0.00055705 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_576-22_0_3_load_45 | 29 | 0.0031583 | 0.00079155 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_576-22_0_3_load_15 | 30 | 0.0021026 | 0.00052696 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_576-22_0_3_load_20 | 31 | 0.0063468 | 0.0015907 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_576-22_0_3_load_18 | 32 | 0.0021678 | 0.0005433 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_576-22_0_3_load_30 | 34 | 0.0013961 | 0.0003499 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_576-22_0_3_load_33 | 35 | 0.0014695 | 0.00036828 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_576-22_0_3_load_26 | 37 | 0.0037401 | 0.00093735 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_576-22_0_3_load_27 | 38 | 0.0021216 | 0.00053172 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_576-22_0_3_load_28 | 39 | 0.0017233 | 0.0004319 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_576-22_0_3_load_89 | 42 | 0.00067839 | 0.00017002 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_576-22_0_3_load_31 | 43 | 0.0014809 | 0.00037115 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_576-22_0_3_load_32 | 44 | 0.0015111 | 0.00037873 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_576-22_0_3_load_36 | 45 | 0.0019421 | 0.00048675 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_576-22_0_3_load_41 | 47 | 0.0059522 | 0.0014918 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_576-22_0_3_load_42 | 48 | 0.0049068 | 0.0012298 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_576-22_0_3_load_43 | 49 | 0.0027389 | 0.00068644 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_576-22_0_3_load_44 | 50 | 0.0042756 | 0.0010716 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_576-22_0_3_load_48 | 52 | 0.0027641 | 0.00069274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_576-22_0_3_load_49 | 53 | 0.0056163 | 0.0014076 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_576-22_0_3_load_50 | 57 | 0.0033732 | 0.00084541 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_576-22_0_3_load_60 | 58 | 0.0053363 | 0.0013374 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_576-22_0_3_load_57 | 59 | 0.0027723 | 0.0006948 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_576-22_0_3_load_53 | 60 | 0.0051794 | 0.0012981 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_576-22_0_3_load_54 | 61 | 0.0082422 | 0.0020657 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_576-22_0_3_load_77 | 63 | 0.0043748 | 0.0010964 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_576-22_0_3_load_56 | 64 | 0.0019408 | 0.00048641 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_576-22_0_3_load_78 | 65 | 0.0018466 | 0.00046281 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_576-22_0_3_load_79 | 66 | 0.0064932 | 0.0016273 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_576-22_0_3_load_85 | 68 | 0.0014025 | 0.0003515 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_576-22_0_3_load_59 | 69 | 0.0039124 | 0.00098055 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_576-22_0_3_load_63 | 70 | 0.00038221 | 9.579e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_576-22_0_3_load_64 | 71 | 0.00035263 | 8.8378e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_576-22_0_3_load_65 | 72 | 0.00055555 | 0.00013923 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_576-22_0_3_load_67 | 74 | 0.00022378 | 5.6085e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_576-22_0_3_load_69 | 76 | 0.00021843 | 5.4744e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_576-22_0_3_load_84 | 77 | 0.00040563 | 0.00010166 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_576-22_0_3_load_74 | 78 | 0.00026352 | 6.6044e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_576-22_0_3_load_71 | 79 | 0.00048743 | 0.00012216 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_576-22_0_3_load_83 | 80 | 0.00053109 | 0.0001331 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_576-22_0_3_load_76 | 81 | 0.00083394 | 0.000209 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_576-22_0_3_load_70 | 82 | 0.0003974 | 9.9598e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_576-22_0_3_load_73 | 84 | 0.00078645 | 0.0001971 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_576-22_0_3_load_81 | 85 | 0.00055029 | 0.00013792 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_576-22_0_3_load_82 | 86 | 0.00048046 | 0.00012042 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_576-22_0_3_load_75 | 87 | 0.00023403 | 5.8653e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_576-22_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_576-22_0_3_line_1 | NAYY 4x150 SE | 1 | 5 | 0.010077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_576-22_0_3_line_2 | NAYY 4x150 SE | 1 | 2 | 0.030735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_576-22_0_3_line_3 | NAYY 4x150 SE | 2 | 3 | 0.03141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_576-22_0_3_line_4 | NAYY 4x150 SE | 2 | 4 | 0.032089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_576-22_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0031189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_576-22_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.014342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_576-22_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.072263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_576-22_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.029934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_576-22_0_3_line_9 | NAYY 4x150 SE | 5 | 11 | 0.0082983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_576-22_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.13463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_576-22_0_3_line_11 | NAYY 4x150 SE | 9 | 15 | 0.015733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_576-22_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.03062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_576-22_0_3_line_13 | NAYY 4x150 SE | 10 | 16 | 0.014254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_576-22_0_3_line_14 | NAYY 4x150 SE | 11 | 17 | 0.01647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_576-22_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.022534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_576-22_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.082552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_576-22_0_3_line_17 | NAYY 4x150 SE | 14 | 28 | 0.01771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_576-22_0_3_line_18 | NAYY 4x150 SE | 14 | 26 | 0.032173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_576-22_0_3_line_19 | NAYY 4x150 SE | 16 | 32 | 0.048514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_576-22_0_3_line_20 | NAYY 4x150 SE | 17 | 30 | 0.018891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_576-22_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.0095497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_576-22_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.010067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_576-22_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.011346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_576-22_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.018967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_576-22_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0050189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_576-22_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.023463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_576-22_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.022105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_576-22_0_3_line_28 | NAYY 4x150 SE | 24 | 29 | 0.017474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_576-22_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.048835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_576-22_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.025123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_576-22_0_3_line_31 | NAYY 4x150 SE | 28 | 36 | 0.0044638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_576-22_0_3_line_32 | NAYY 4x150 SE | 29 | 49 | 0.020032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_576-22_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0043321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_576-22_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.017807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_576-22_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.010381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_576-22_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.027596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_576-22_0_3_line_37 | NAYY 4x150 SE | 34 | 39 | 0.061943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_576-22_0_3_line_38 | NAYY 4x150 SE | 35 | 43 | 0.026411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_576-22_0_3_line_39 | NAYY 4x150 SE | 36 | 47 | 0.030107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_576-22_0_3_line_40 | NAYY 4x150 SE | 36 | 46 | 0.024411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_576-22_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.035786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_576-22_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.0085662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_576-22_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.037333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_576-22_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.090013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_576-22_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.032752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_576-22_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.029642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_576-22_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.042313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_576-22_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.012194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_576-22_0_3_line_49 | NAYY 4x150 SE | 48 | 50 | 0.027774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_576-22_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.013404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_576-22_0_3_line_51 | NAYY 4x150 SE | 51 | 52 | 0.009361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_576-22_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.003709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_576-22_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0049631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_576-22_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.039454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_576-22_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.010419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_576-22_0_3_line_56 | NAYY 4x150 SE | 55 | 58 | 0.023875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_576-22_0_3_line_57 | NAYY 4x150 SE | 55 | 59 | 0.038708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_576-22_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.021183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_576-22_0_3_line_59 | NAYY 4x150 SE | 58 | 64 | 0.043703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_576-22_0_3_line_60 | NAYY 4x150 SE | 59 | 69 | 0.016149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_576-22_0_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.018281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_576-22_0_3_line_62 | NAYY 4x150 SE | 60 | 62 | 0.0033561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_576-22_0_3_line_63 | NAYY 4x150 SE | 61 | 63 | 0.16197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_576-22_0_3_line_64 | NAYY 4x150 SE | 62 | 64 | 0.011987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_576-22_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.018019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_576-22_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.016233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_576-22_0_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.059737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_576-22_0_3_line_68 | NAYY 4x150 SE | 66 | 68 | 0.20443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_576-22_0_3_line_69 | NAYY 4x150 SE | 67 | 85 | 0.050393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_576-22_0_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.016215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_576-22_0_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.030107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_576-22_0_3_line_72 | NAYY 4x150 SE | 71 | 73 | 0.050379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_576-22_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.003546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_576-22_0_3_line_74 | NAYY 4x150 SE | 73 | 75 | 0.085098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_576-22_0_3_line_75 | NAYY 4x150 SE | 73 | 76 | 0.07833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_576-22_0_3_line_76 | NAYY 4x150 SE | 74 | 77 | 0.0023736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_576-22_0_3_line_77 | NAYY 4x150 SE | 75 | 78 | 0.020162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_576-22_0_3_line_78 | NAYY 4x150 SE | 75 | 79 | 0.070407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_576-22_0_3_line_79 | NAYY 4x150 SE | 77 | 80 | 0.12229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_576-22_0_3_line_80 | NAYY 4x150 SE | 78 | 81 | 0.022502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_576-22_0_3_line_81 | NAYY 4x150 SE | 79 | 82 | 0.00867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_576-22_0_3_line_82 | NAYY 4x150 SE | 80 | 86 | 0.0020172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_576-22_0_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.020527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_576-22_0_3_line_84 | NAYY 4x150 SE | 83 | 84 | 0.0068146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_576-22_0_3_line_85 | NAYY 4x150 SE | 84 | 87 | 0.082642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_576-22_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.07837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_576-22_0_3_trafo_62 | 0.25 MVA 20/0.4 kV | 88 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2646640.6188 | 1163911.9341 | 2646642.9567 | 1163917.6108 | 2646640.6244 | 1163927.0088 | 2646633.3001 | 1163929.2754
1 | 2646640.6188 | 1163911.9341 | 2646650.2165 | 1163908.8625
2 | 2646610.4669 | 1163905.7528 | 2646619.5037 | 1163906.8567 | 2646640.6188 | 1163911.9341
3 | 2646610.4669 | 1163905.7528 | 2646620.0835 | 1163900.2355 | 2646633.5541 | 1163896.5157 | 2646636.433 | 1163890.8576
4 | 2646595.958 | 1163898.1809 | 2646595.8403 | 1163901.504 | 2646593.8168 | 1163911.5825 | 2646602.579 | 1163905.625 | 2646610.4669 | 1163905.7528
5 | 2646637.8474 | 1163888.0779 | 2646636.433 | 1163890.8576
6 | 2646609.6557 | 1163893.8069 | 2646595.958 | 1163898.1809
7 | 2646551.0407 | 1163944.2463 | 2646558.5684 | 1163943.4152 | 2646567.1405 | 1163941.2249 | 2646580.0558 | 1163935.0105 | 2646588.2667 | 1163927.0476 | 2646590.9941 | 1163921.0211 | 2646593.8168 | 1163911.5825 | 2646595.8403 | 1163901.504 | 2646595.958 | 1163898.1809
8 | 2646595.958 | 1163898.1809 | 2646596.7142 | 1163882.623 | 2646593.3144 | 1163868.6783
9 | 2646658.2135 | 1163911.0785 | 2646650.2165 | 1163908.8625 | 2646650.2165 | 1163908.8625
10 | 2646551.0407 | 1163944.2463 | 2646553.9434 | 1163948.2153 | 2646555.929 | 1163950.9432 | 2646562.0212 | 1163954.4811 | 2646576.2121 | 1163962.5507 | 2646603.7787 | 1163966.2772 | 2646632.7869 | 1163970.7599 | 2646646.8634 | 1163977.7727 | 2646661.3455 | 1163984.822 | 2646673.2028 | 1163990.5837 | 2646673.7996 | 1163991.0883
11 | 2646593.3144 | 1163868.6783 | 2646600.2209 | 1163865.9748 | 2646604.4888 | 1163858.8374
12 | 2646582.5834 | 1163840.069 | 2646587.1527 | 1163850.3765 | 2646589.4862 | 1163855.6529 | 2646593.3144 | 1163868.6783
13 | 2646684.6838 | 1164000.2913 | 2646673.7996 | 1163991.0883
14 | 2646658.2135 | 1163911.0785 | 2646668.4595 | 1163913.9177 | 2646671.1037 | 1163917.6291 | 2646671.2146 | 1163918.9053
15 | 2646560.1803 | 1163837.1052 | 2646582.5834 | 1163840.069
16 | 2646551.9283 | 1163764.2809 | 2646552.6628 | 1163769.3337 | 2646554.732 | 1163781.0447 | 2646563.5134 | 1163806.2592 | 2646567.5732 | 1163813.1387 | 2646579.979 | 1163834.1791 | 2646582.5834 | 1163840.069
17 | 2646551.9283 | 1163764.2809 | 2646550.1499 | 1163746.66
18 | 2646551.9283 | 1163764.2809 | 2646552.6628 | 1163769.3337 | 2646565.6053 | 1163762.6192 | 2646574.6918 | 1163771.1829
19 | 2646714.9485 | 1164036.9991 | 2646713.3671 | 1164034.8853 | 2646707.513 | 1164021.4217 | 2646702.1171 | 1164015.032 | 2646684.6838 | 1164000.2913
20 | 2646679.3989 | 1163934.9394 | 2646676.9747 | 1163928.9361 | 2646671.6732 | 1163924.1814 | 2646671.2146 | 1163918.9053
21 | 2646639.1056 | 1163828.6869 | 2646648.4422 | 1163826.6804
22 | 2646639.1056 | 1163828.6869 | 2646633.0513 | 1163829.988 | 2646629.2042 | 1163830.4513
23 | 2646648.4422 | 1163826.6804 | 2646652.5228 | 1163825.8034 | 2646658.6455 | 1163826.4068 | 2646659.5276 | 1163826.9187
24 | 2646610.6481 | 1163833.9498 | 2646616.6607 | 1163831.962 | 2646629.2042 | 1163830.4513
25 | 2646659.5276 | 1163826.9187 | 2646663.8685 | 1163829.4377
26 | 2646610.6481 | 1163833.9498 | 2646598.8417 | 1163813.6588
27 | 2646676.3731 | 1163847.5665 | 2646669.9252 | 1163836.5662 | 2646663.8685 | 1163829.4377
28 | 2646598.8417 | 1163813.6588 | 2646615.279 | 1163807.7305
29 | 2646574.6918 | 1163771.1829 | 2646598.8417 | 1163813.6588
30 | 2646574.6918 | 1163771.1829 | 2646584.3344 | 1163768.2782 | 2646591.5244 | 1163768.534 | 2646599.1045 | 1163770.8495
31 | 2646549.7017 | 1163742.2187 | 2646550.1499 | 1163746.66
32 | 2646634.3864 | 1163801.8654 | 2646627.6289 | 1163803.2764 | 2646615.279 | 1163807.7305
33 | 2646679.7744 | 1163939.2521 | 2646679.4245 | 1163935.0027 | 2646679.3989 | 1163934.9394
34 | 2646728.0482 | 1164048.8178 | 2646718.4534 | 1164041.6839 | 2646714.9485 | 1164036.9991
35 | 2646728.0482 | 1164048.8178 | 2646738.0321 | 1164051.6598
36 | 2646728.0482 | 1164048.8178 | 2646732.3218 | 1164053.7647 | 2646736.0675 | 1164061.5756 | 2646742.5891 | 1164067.9741 | 2646744.6429 | 1164070.5062
37 | 2646797.6505 | 1164068.4605 | 2646788.5446 | 1164065.7301 | 2646760.8095 | 1164058.1438 | 2646738.0321 | 1164051.6598
38 | 2646757.3215 | 1164093.5225 | 2646748.696 | 1164075.5033 | 2646744.6429 | 1164070.5062
39 | 2646577.4297 | 1163735.1296 | 2646559.5429 | 1163744.3293 | 2646554.9391 | 1163743.4154 | 2646549.7017 | 1163742.2187
40 | 2646545.3758 | 1163718.2616 | 2646546.6917 | 1163722.4184 | 2646548.9306 | 1163733.9862 | 2646549.7017 | 1163742.2187
41 | 2646805.8557 | 1164070.9208 | 2646815.2272 | 1164073.7308 | 2646825.3454 | 1164080.5131 | 2646828.4143 | 1164093.989
42 | 2646805.8557 | 1164070.9208 | 2646797.6505 | 1164068.4605
43 | 2646854.0783 | 1164118.2788 | 2646853.4865 | 1164116.5733 | 2646843.9039 | 1164108.8835 | 2646830.0628 | 1164101.2273 | 2646828.4143 | 1164093.989
44 | 2646854.0783 | 1164118.2788 | 2646863.0441 | 1164122.5509 | 2646873.7298 | 1164126.2694 | 2646882.0414 | 1164127.0235 | 2646888.6326 | 1164126.4301 | 2646896.2012 | 1164120.3192 | 2646903.887 | 1164113.9202 | 2646910.4441 | 1164103.9549 | 2646914.751 | 1164090.8483 | 2646916.1593 | 1164088.0245 | 2646918.0658 | 1164083.1923
45 | 2646917.0032 | 1164050.5447 | 2646918.5007 | 1164064.7527 | 2646918.442 | 1164079.1487 | 2646918.0658 | 1164083.1923
46 | 2646757.3215 | 1164093.5225 | 2646763.5503 | 1164106.535 | 2646765.824 | 1164113.5564 | 2646765.4783 | 1164118.623 | 2646764.9432 | 1164121.3272
47 | 2646545.3758 | 1163718.2616 | 2646541.8023 | 1163721.7802 | 2646534.2539 | 1163729.2146 | 2646513.4618 | 1163745.97
48 | 2646646.3232 | 1163799.3731 | 2646634.3864 | 1163801.8654
49 | 2646646.3232 | 1163799.3731 | 2646665.4118 | 1163795.3874 | 2646673.617 | 1163794.3267
50 | 2646686.9099 | 1163792.6082 | 2646673.617 | 1163794.3267
51 | 2646686.9099 | 1163792.6082 | 2646683.2314 | 1163783.9974
52 | 2646686.9099 | 1163792.6082 | 2646690.5469 | 1163793.3354
53 | 2646695.4138 | 1163794.3085 | 2646690.5469 | 1163793.3354
54 | 2646733.6712 | 1163804.2218 | 2646710.9532 | 1163797.4196 | 2646695.4138 | 1163794.3085
55 | 2646695.4138 | 1163794.3085 | 2646703.6667 | 1163800.6981
56 | 2646733.6712 | 1163804.2218 | 2646738.8458 | 1163815.4568 | 2646741.483 | 1163826.6564
57 | 2646733.6712 | 1163804.2218 | 2646737.1464 | 1163799.5686 | 2646738.9104 | 1163794.3239 | 2646739.7446 | 1163782.5909 | 2646738.752 | 1163777.2582 | 2646734.6676 | 1163774.5584 | 2646729.4995 | 1163773.4585
58 | 2646703.6667 | 1163800.6981 | 2646709.1101 | 1163811.8462 | 2646709.042 | 1163820.6226
59 | 2646748.3702 | 1163869.7595 | 2646744.6365 | 1163840.048 | 2646741.483 | 1163826.6564
60 | 2646716.0393 | 1163765.8203 | 2646722.0354 | 1163771.87 | 2646729.4995 | 1163773.4585
61 | 2646754.0083 | 1163882.9703 | 2646770.2207 | 1163891.4183
62 | 2646751.032 | 1163881.4194 | 2646754.0083 | 1163882.9703
63 | 2646770.2207 | 1163891.4183 | 2646908.1571 | 1163806.5275
64 | 2646751.032 | 1163881.4194 | 2646748.8344 | 1163873.4537 | 2646748.3702 | 1163869.7595
65 | 2646908.1571 | 1163806.5275 | 2646916.2324 | 1163807.6999 | 2646926.0702 | 1163808.34
66 | 2646926.0702 | 1163808.34 | 2646934.0923 | 1163808.862 | 2646941.8469 | 1163811.5083
67 | 2646995.0651 | 1163834.6403 | 2646989.3474 | 1163836.1187 | 2646985.2519 | 1163834.8638 | 2646968.4923 | 1163823.2602 | 2646949.4617 | 1163814.1069 | 2646941.8469 | 1163811.5083
68 | 2646941.8469 | 1163811.5083 | 2646990.3939 | 1163612.9225
69 | 2646995.0651 | 1163834.6403 | 2646997.8587 | 1163837.8305 | 2647018.2006 | 1163850.6851 | 2647036.8524 | 1163862.5196
70 | 2647244.3441 | 1163903.9064 | 2647260.0454 | 1163899.8567
71 | 2647244.3441 | 1163903.9064 | 2647243.7575 | 1163904.0577 | 2647223.4078 | 1163905.9434 | 2647214.5613 | 1163907.9195 | 2647214.5613 | 1163907.9195
72 | 2647303.3528 | 1163875.8556 | 2647300.4393 | 1163880.1349 | 2647286.2 | 1163889.0277 | 2647267.6411 | 1163897.8976 | 2647260.0454 | 1163899.8567
73 | 2647214.5613 | 1163907.9195 | 2647211.5344 | 1163909.7666
74 | 2647225.4576 | 1163853.632 | 2647228.3043 | 1163857.8565 | 2647232.3901 | 1163860.3455 | 2647239.1564 | 1163862.8555 | 2647257.0031 | 1163865.6638 | 2647297.2407 | 1163869.0484 | 2647301.9452 | 1163871.7423 | 2647303.3528 | 1163875.8556
75 | 2647303.3528 | 1163875.8556 | 2647348.5453 | 1163886.1053 | 2647380.4899 | 1163884.4167
76 | 2647209.5083 | 1163911.003 | 2647211.5344 | 1163909.7666
77 | 2647225.4576 | 1163853.632 | 2647228.0768 | 1163847.8161 | 2647230.6666 | 1163844.7682 | 2647236.8544 | 1163841.9486 | 2647239.6526 | 1163840.9117
78 | 2647225.4576 | 1163853.632 | 2647221.0736 | 1163850.1179 | 2647206.9383 | 1163832.0976 | 2647182.7343 | 1163800.9802 | 2647181.5151 | 1163798.8401
79 | 2647209.5083 | 1163911.003 | 2647087.3313 | 1163916.3491
80 | 2647259.4442 | 1163830.3054 | 2647243.5527 | 1163839.4666 | 2647239.6526 | 1163840.9117
81 | 2647177.443 | 1163791.2442 | 2647177.4608 | 1163791.7229 | 2647181.5151 | 1163798.8401
82 | 2647087.3313 | 1163916.3491 | 2647085.6783 | 1163915.193
83 | 2647180.7079 | 1163771.2709 | 2647177.1256 | 1163782.7044 | 2647177.443 | 1163791.2442
84 | 2647180.7079 | 1163771.2709 | 2647185.0126 | 1163772.2274 | 2647187.1303 | 1163773.3671
85 | 2647237.9061 | 1163759.7359 | 2647232.1793 | 1163782.8364 | 2647229.5582 | 1163789.8751 | 2647225.4172 | 1163793.4333 | 2647221.3008 | 1163794.8351 | 2647216.5754 | 1163794.798 | 2647209.9179 | 1163792.0777 | 2647203.3908 | 1163786.4012 | 2647191.7625 | 1163775.86 | 2647187.1303 | 1163773.3671
86 | 2647036.8524 | 1163862.5196 | 2647048.2515 | 1163869.7522 | 2647064.6157 | 1163878.9962 | 2647067.3593 | 1163882.7085 | 2647067.8372 | 1163887.2146 | 2647067.423 | 1163900.007 | 2647069.5523 | 1163903.9146 | 2647085.6783 | 1163915.193

## bus_geodata
| x | y | coords
0 | 2646633.3001 | 1163929.2754
1 | 2646640.6188 | 1163911.9341
2 | 2646610.4669 | 1163905.7528
3 | 2646636.433 | 1163890.8576
4 | 2646595.958 | 1163898.1809
5 | 2646650.2165 | 1163908.8625
6 | 2646637.8474 | 1163888.0779
7 | 2646609.6557 | 1163893.8069
8 | 2646551.0407 | 1163944.2463
9 | 2646593.3144 | 1163868.6783
10 | 2646673.7996 | 1163991.0883
11 | 2646658.2135 | 1163911.0785
12 | 2646582.5834 | 1163840.069
13 | 2646560.1803 | 1163837.1052
14 | 2646551.9283 | 1163764.2809
15 | 2646604.4888 | 1163858.8374
16 | 2646684.6838 | 1164000.2913
17 | 2646671.2146 | 1163918.9053
18 | 2646639.1056 | 1163828.6869
19 | 2646648.4422 | 1163826.6804
20 | 2646629.2042 | 1163830.4513
21 | 2646659.5276 | 1163826.9187
22 | 2646610.6481 | 1163833.9498
23 | 2646663.8685 | 1163829.4377
24 | 2646598.8417 | 1163813.6588
25 | 2646676.3731 | 1163847.5665
26 | 2646574.6918 | 1163771.1829
27 | 2646599.1045 | 1163770.8495
28 | 2646550.1499 | 1163746.66
29 | 2646615.279 | 1163807.7305
30 | 2646679.3989 | 1163934.9394
31 | 2646679.7744 | 1163939.2521
32 | 2646714.9485 | 1164036.9991
33 | 2646728.0482 | 1164048.8178
34 | 2646738.0321 | 1164051.6598
35 | 2646744.6429 | 1164070.5062
36 | 2646549.7017 | 1163742.2187
37 | 2646805.8557 | 1164070.9208
38 | 2646828.4143 | 1164093.989
39 | 2646797.6505 | 1164068.4605
40 | 2646854.0783 | 1164118.2788
41 | 2646918.0658 | 1164083.1923
42 | 2646917.0032 | 1164050.5447
43 | 2646757.3215 | 1164093.5225
44 | 2646764.9432 | 1164121.3272
45 | 2646513.4618 | 1163745.97
46 | 2646545.3758 | 1163718.2616
47 | 2646577.4297 | 1163735.1296
48 | 2646646.3232 | 1163799.3731
49 | 2646634.3864 | 1163801.8654
50 | 2646673.617 | 1163794.3267
51 | 2646686.9099 | 1163792.6082
52 | 2646683.2314 | 1163783.9974
53 | 2646690.5469 | 1163793.3354
54 | 2646695.4138 | 1163794.3085
55 | 2646733.6712 | 1163804.2218
56 | 2646703.6667 | 1163800.6981
57 | 2646709.042 | 1163820.6226
58 | 2646741.483 | 1163826.6564
59 | 2646729.4995 | 1163773.4585
60 | 2646754.0083 | 1163882.9703
61 | 2646770.2207 | 1163891.4183
62 | 2646751.032 | 1163881.4194
63 | 2646908.1571 | 1163806.5275
64 | 2646748.3702 | 1163869.7595
65 | 2646926.0702 | 1163808.34
66 | 2646941.8469 | 1163811.5083
67 | 2646995.0651 | 1163834.6403
68 | 2646990.3939 | 1163612.9225
69 | 2646716.0393 | 1163765.8203
70 | 2647244.3441 | 1163903.9064
71 | 2647260.0454 | 1163899.8567
72 | 2647214.5613 | 1163907.9195
73 | 2647303.3528 | 1163875.8556
74 | 2647211.5344 | 1163909.7666
75 | 2647225.4576 | 1163853.632
76 | 2647380.4899 | 1163884.4167
77 | 2647209.5083 | 1163911.003
78 | 2647239.6526 | 1163840.9117
79 | 2647181.5151 | 1163798.8401
80 | 2647087.3313 | 1163916.3491
81 | 2647259.4442 | 1163830.3054
82 | 2647177.443 | 1163791.2442
83 | 2647180.7079 | 1163771.2709
84 | 2647187.1303 | 1163773.3671
85 | 2647036.8524 | 1163862.5196
86 | 2647085.6783 | 1163915.193
87 | 2647237.9061 | 1163759.7359
88 | 2646610.6481 | 1163833.9498

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1