## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_584-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_584-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_584-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_584-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_584-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_584-14_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_584-14_0_3_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_584-14_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_584-14_0_3_node_71 | 0.4 | n |  | TRUE
9 | bus_LV_584-14_0_3_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_584-14_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_584-14_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_584-14_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_584-14_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_584-14_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_584-14_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_584-14_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_584-14_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_584-14_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_584-14_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_584-14_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_584-14_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_584-14_0_3_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_584-14_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_584-14_0_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_584-14_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_584-14_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_584-14_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_584-14_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_584-14_0_3_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_584-14_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_584-14_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_584-14_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_584-14_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_584-14_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_584-14_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_584-14_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_584-14_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_584-14_0_3_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_584-14_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_584-14_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_584-14_0_3_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_584-14_0_3_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_584-14_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_584-14_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_584-14_0_3_node_48 | 0.4 | n |  | TRUE
46 | bus_LV_584-14_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_584-14_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_584-14_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_584-14_0_3_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_584-14_0_3_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_584-14_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_584-14_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_584-14_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_584-14_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_584-14_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_584-14_0_3_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_584-14_0_3_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_584-14_0_3_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_584-14_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_584-14_0_3_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_584-14_0_3_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_584-14_0_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_584-14_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_584-14_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_584-14_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_584-14_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_584-14_0_3_node_69 | 0.4 | n |  | TRUE
68 | bus_MV_195_1_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_584-14_0_3_load_0 | 0 | 0.0015241 | 0.00038197 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_584-14_0_3_load_1 | 1 | 0.0039439 | 0.00098844 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_584-14_0_3_load_2 | 2 | 0.0019687 | 0.00049341 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_584-14_0_3_load_3 | 3 | 0.0047969 | 0.0012022 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_584-14_0_3_load_5 | 5 | 0.0067081 | 0.0016812 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_584-14_0_3_load_71 | 8 | 0.0014293 | 0.00035822 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_584-14_0_3_load_29 | 9 | 0.0014719 | 0.00036889 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_584-14_0_3_load_18 | 10 | 0.0018185 | 0.00045575 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_584-14_0_3_load_14 | 11 | 0.0019095 | 0.00047856 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_584-14_0_3_load_8 | 12 | 0.0053488 | 0.0013405 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_584-14_0_3_load_9 | 13 | 0.0039933 | 0.0010008 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_584-14_0_3_load_11 | 15 | 0.0063446 | 0.0015901 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_584-14_0_3_load_12 | 16 | 0.0074867 | 0.0018764 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_584-14_0_3_load_13 | 17 | 0.0037911 | 0.00095015 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_584-14_0_3_load_41 | 19 | 0.0069987 | 0.001754 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_584-14_0_3_load_21 | 21 | 0.001637 | 0.00041027 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_584-14_0_3_load_38 | 22 | 0.0065635 | 0.001645 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_584-14_0_3_load_40 | 24 | 0.0084192 | 0.0021101 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_584-14_0_3_load_15 | 25 | 0.0025878 | 0.00064856 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_584-14_0_3_load_22 | 27 | 0.0017874 | 0.00044796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_584-14_0_3_load_35 | 28 | 0.0014946 | 0.00037458 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_584-14_0_3_load_45 | 29 | 0.001522 | 0.00038144 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_584-14_0_3_load_36 | 30 | 0.0026756 | 0.00067056 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_584-14_0_3_load_33 | 31 | 0.001058 | 0.00026517 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_584-14_0_3_load_30 | 32 | 0.0015014 | 0.0003763 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_584-14_0_3_load_23 | 33 | 0.0026149 | 0.00065536 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_584-14_0_3_load_25 | 34 | 0.0017279 | 0.00043305 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_584-14_0_3_load_26 | 35 | 0.0036194 | 0.00090712 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_584-14_0_3_load_27 | 36 | 0.0010807 | 0.00027085 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_584-14_0_3_load_28 | 37 | 0.0012829 | 0.00032152 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_584-14_0_3_load_31 | 38 | 0.0011818 | 0.00029618 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_584-14_0_3_load_32 | 39 | 0.0029382 | 0.00073639 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_584-14_0_3_load_34 | 40 | 0.0010511 | 0.00026343 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_584-14_0_3_load_62 | 42 | 0.0066744 | 0.0016728 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_584-14_0_3_load_39 | 43 | 0.0016128 | 0.0004042 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_584-14_0_3_load_50 | 44 | 0.0047232 | 0.0011837 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_584-14_0_3_load_48 | 45 | 0.0055667 | 0.0013952 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_584-14_0_3_load_44 | 48 | 0.0038315 | 0.00096027 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_584-14_0_3_load_72 | 49 | 0.0022327 | 0.00055957 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_584-14_0_3_load_46 | 51 | 0.0068214 | 0.0017096 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_584-14_0_3_load_53 | 52 | 0.0076824 | 0.0019254 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_584-14_0_3_load_47 | 53 | 0.0023869 | 0.00059822 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_584-14_0_3_load_49 | 54 | 0.0042902 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_584-14_0_3_load_51 | 55 | 0.0038043 | 0.00095345 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_584-14_0_3_load_64 | 56 | 0.0034953 | 0.00087601 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_584-14_0_3_load_66 | 57 | 0.017713 | 0.0044393 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_584-14_0_3_load_55 | 59 | 0.012943 | 0.0032438 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_584-14_0_3_load_56 | 60 | 0.0014765 | 0.00037006 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_584-14_0_3_load_68 | 61 | 0.001967 | 0.00049297 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_584-14_0_3_load_67 | 62 | 0.0014238 | 0.00035683 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_584-14_0_3_load_59 | 63 | 0.0068481 | 0.0017163 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_584-14_0_3_load_60 | 64 | 0.0067724 | 0.0016973 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_584-14_0_3_load_61 | 65 | 0.0078335 | 0.0019633 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_584-14_0_3_load_63 | 66 | 0.014326 | 0.0035905 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_584-14_0_3_load_69 | 67 | 0.0012506 | 0.00031343 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_584-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_584-14_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.026078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_584-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_584-14_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.033499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_584-14_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_584-14_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.001199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_584-14_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.011339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_584-14_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_584-14_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.011051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_584-14_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0043544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_584-14_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0069919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_584-14_0_3_line_11 | NAYY 4x150 SE | 8 | 58 | 0.0046097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_584-14_0_3_line_12 | NAYY 4x150 SE | 9 | 36 | 0.0001977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_584-14_0_3_line_13 | NAYY 4x150 SE | 10 | 26 | 0.024301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_584-14_0_3_line_14 | NAYY 4x150 SE | 11 | 25 | 0.013758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_584-14_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.023604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_584-14_0_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.022779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_584-14_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.0046369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_584-14_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.012646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_584-14_0_3_line_19 | NAYY 4x150 SE | 14 | 17 | 0.0055042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_584-14_0_3_line_20 | NAYY 4x150 SE | 15 | 18 | 0.013853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_584-14_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.02076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_584-14_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.001863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_584-14_0_3_line_23 | NAYY 4x150 SE | 18 | 21 | 0.0080601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_584-14_0_3_line_24 | NAYY 4x150 SE | 19 | 24 | 0.015894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_584-14_0_3_line_25 | NAYY 4x150 SE | 20 | 28 | 0.010487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_584-14_0_3_line_26 | NAYY 4x150 SE | 20 | 29 | 0.0090136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_584-14_0_3_line_27 | NAYY 4x150 SE | 21 | 30 | 0.031563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_584-14_0_3_line_28 | NAYY 4x150 SE | 22 | 23 | 0.010397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_584-14_0_3_line_29 | NAYY 4x150 SE | 23 | 43 | 0.016947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_584-14_0_3_line_30 | NAYY 4x150 SE | 23 | 30 | 0.0051802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_584-14_0_3_line_31 | NAYY 4x150 SE | 24 | 46 | 0.023779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_584-14_0_3_line_32 | NAYY 4x150 SE | 26 | 27 | 0.024558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_584-14_0_3_line_33 | NAYY 4x150 SE | 27 | 33 | 0.025435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_584-14_0_3_line_34 | NAYY 4x150 SE | 28 | 31 | 0.0067804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_584-14_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.00039618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_584-14_0_3_line_36 | NAYY 4x150 SE | 31 | 38 | 0.0062519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_584-14_0_3_line_37 | NAYY 4x150 SE | 32 | 37 | 0.016114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_584-14_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.010745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_584-14_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0055517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_584-14_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.02276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_584-14_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.016938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_584-14_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.016773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_584-14_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.040176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_584-14_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.046156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_584-14_0_3_line_45 | NAYY 4x150 SE | 42 | 64 | 0.023193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_584-14_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0079903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_584-14_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.017547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_584-14_0_3_line_48 | NAYY 4x150 SE | 45 | 54 | 0.004615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_584-14_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.030293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_584-14_0_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.022131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_584-14_0_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.016271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_584-14_0_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.031179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_584-14_0_3_line_53 | NAYY 4x150 SE | 48 | 51 | 0.01533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_584-14_0_3_line_54 | NAYY 4x150 SE | 50 | 52 | 0.051969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_584-14_0_3_line_55 | NAYY 4x150 SE | 51 | 53 | 0.011309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_584-14_0_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.016763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_584-14_0_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.017178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_584-14_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.022458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_584-14_0_3_line_59 | NAYY 4x150 SE | 58 | 61 | 0.0055793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_584-14_0_3_line_60 | NAYY 4x150 SE | 58 | 60 | 0.0028813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_584-14_0_3_line_61 | NAYY 4x150 SE | 59 | 60 | 0.03902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_584-14_0_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.011982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_584-14_0_3_line_63 | NAYY 4x150 SE | 62 | 67 | 0.0078884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_584-14_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.026587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_584-14_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.00084042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_584-14_0_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0096285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_584-14_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 68 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2634768.3003 | 1156526.6671 | 2634754.6955 | 1156521.3345 | 2634751.245 | 1156518.6355 | 2634748.3434 | 1156513.8385 | 2634745.8199 | 1156507.4454
1 | 2634768.3003 | 1156526.6671 | 2634789.0943 | 1156534.8176 | 2634792.417 | 1156536.5429
2 | 2634740.1279 | 1156493.025 | 2634740.1279 | 1156493.025 | 2634745.8199 | 1156507.4454
3 | 2634813.2518 | 1156562.271 | 2634802.5603 | 1156545.3673 | 2634798.5348 | 1156541.3087 | 2634793.5975 | 1156537.1559 | 2634792.417 | 1156536.5429
4 | 2634732.3584 | 1156481.5256 | 2634736.7755 | 1156486.6136 | 2634740.1279 | 1156493.025
5 | 2634813.2518 | 1156562.271 | 2634814.1984 | 1156563.0102
6 | 2634813.2518 | 1156562.271 | 2634801.9786 | 1156563.7622
7 | 2634814.1984 | 1156563.0102 | 2634822.5782 | 1156569.9287 | 2634828.1252 | 1156574.2992
8 | 2634814.1984 | 1156563.0102 | 2634816.6387 | 1156560.045 | 2634821.6611 | 1156554.8711
9 | 2634801.9786 | 1156563.7622 | 2634800.5818 | 1156563.9542 | 2634797.7487 | 1156564.7564
10 | 2634801.9786 | 1156563.7622 | 2634795.5953 | 1156560.9089
11 | 2634831.746 | 1156577.1521 | 2634828.1252 | 1156574.2992
12 | 2634821.7988 | 1156554.7293 | 2634821.6611 | 1156554.8711
13 | 2634774.4425 | 1156571.6295 | 2634783.999 | 1156568.6498 | 2634797.7487 | 1156564.7564
14 | 2634782.989 | 1156555.3998 | 2634790.0541 | 1156558.5018 | 2634795.5538 | 1156560.8903 | 2634795.5953 | 1156560.9089
15 | 2634858.7299 | 1156496.1997 | 2634857.2184 | 1156491.2557 | 2634846.3105 | 1156476.3947
16 | 2634833.7881 | 1156457.3919 | 2634838.5873 | 1156465.5572 | 2634845.1972 | 1156474.8779 | 2634846.3105 | 1156476.3947
17 | 2634858.7299 | 1156496.1997 | 2634858.7913 | 1156496.4007 | 2634859.4792 | 1156500.7736
18 | 2634833.7881 | 1156457.3919 | 2634821.4981 | 1156460.3719
19 | 2634833.7881 | 1156457.3919 | 2634839.1709 | 1156456.2426
20 | 2634855.6458 | 1156513.8914 | 2634857.5549 | 1156509.9671 | 2634858.9868 | 1156506.3625 | 2634859.4792 | 1156500.7736
21 | 2634839.1709 | 1156456.2426 | 2634858.0194 | 1156452.2183 | 2634859.4075 | 1156451.6858
22 | 2634855.6458 | 1156513.8914 | 2634856.9648 | 1156515.2108
23 | 2634855.6458 | 1156513.8914 | 2634850.0069 | 1156508.1323
24 | 2634872.879 | 1156443.6176 | 2634869.4766 | 1156446.8152 | 2634864.6136 | 1156449.6885 | 2634859.4075 | 1156451.6858
25 | 2634856.9648 | 1156515.2108 | 2634864.6463 | 1156522.3506
26 | 2634856.9648 | 1156515.2108 | 2634850.9482 | 1156521.9224
27 | 2634850.0069 | 1156508.1323 | 2634830.6109 | 1156488.3226 | 2634827.2403 | 1156486.4863
28 | 2634822.6914 | 1156484.008 | 2634812.7694 | 1156480.9009
29 | 2634822.6914 | 1156484.008 | 2634810.0964 | 1156484.6356 | 2634805.842 | 1156485.4726
30 | 2634822.6914 | 1156484.008 | 2634827.2403 | 1156486.4863
31 | 2634880.5173 | 1156421.9664 | 2634880.6551 | 1156427.3033 | 2634879.8302 | 1156432.0342 | 2634878.4905 | 1156435.6061 | 2634875.8648 | 1156440.1265 | 2634873.0388 | 1156443.4674 | 2634872.879 | 1156443.6176
32 | 2634774.4425 | 1156571.6295 | 2634784.3596 | 1156577.9121 | 2634793.936 | 1156584.7598 | 2634794.5294 | 1156585.6201
33 | 2634812.4212 | 1156602.8861 | 2634810.8848 | 1156601.6551 | 2634801.8211 | 1156596.3223 | 2634796.4227 | 1156588.3648 | 2634794.5294 | 1156585.6201
34 | 2634864.6463 | 1156522.3506 | 2634867.5438 | 1156525.0437 | 2634868.7716 | 1156526.2181 | 2634869.6918 | 1156526.8663
35 | 2634850.9482 | 1156521.9224 | 2634850.6837 | 1156522.2175
36 | 2634869.6918 | 1156526.8663 | 2634874.8026 | 1156530.4672
37 | 2634850.6837 | 1156522.2175 | 2634847.348 | 1156525.9385 | 2634846.1281 | 1156527.3877 | 2634842.563 | 1156531.2468 | 2634842.2487 | 1156535.2026
38 | 2634812.4212 | 1156602.8861 | 2634820.807 | 1156609.605
39 | 2634821.7988 | 1156554.7293 | 2634825.6657 | 1156550.7458
40 | 2634842.2487 | 1156535.2026 | 2634842.2487 | 1156535.2026 | 2634840.7129 | 1156536.9057 | 2634836.4221 | 1156540.2826 | 2634826.9835 | 1156549.3882 | 2634825.6657 | 1156550.7458
41 | 2634888.6494 | 1156540.2229 | 2634874.8026 | 1156530.4672
42 | 2634888.6494 | 1156540.2229 | 2634898.9994 | 1156547.5149 | 2634902.4886 | 1156549.6904
43 | 2634938.4523 | 1156567.4203 | 2634919.8559 | 1156559.6308 | 2634905.7843 | 1156551.7453 | 2634902.4886 | 1156549.6904
44 | 2634938.4523 | 1156567.4203 | 2634943.263 | 1156559.0217 | 2634944.0452 | 1156555.0464 | 2634941.5065 | 1156551.1631 | 2634935.8584 | 1156547.9398 | 2634931.4488 | 1156545.3462 | 2634928.2862 | 1156541.9484 | 2634926.8903 | 1156539.3501 | 2634927.0017 | 1156536.0046 | 2634928.8168 | 1156531.1015
45 | 2634947.2088 | 1156518.189 | 2634943.9477 | 1156522.9407 | 2634940.641 | 1156525.8785 | 2634931.8577 | 1156529.0515 | 2634928.8168 | 1156531.1015
46 | 2634805.842 | 1156485.4726 | 2634800.5998 | 1156486.5039 | 2634797.9525 | 1156486.5469
47 | 2634784.0126 | 1156478.2305 | 2634787.2964 | 1156483.6368 | 2634790.2788 | 1156485.0769 | 2634795.0474 | 1156486.5941 | 2634797.9525 | 1156486.5469
48 | 2634784.0126 | 1156478.2305 | 2634781.6168 | 1156474.2861
49 | 2634866.0061 | 1156395.9026 | 2634871.8085 | 1156402.973 | 2634877.0016 | 1156410.6626 | 2634879.541 | 1156417.0805 | 2634880.5173 | 1156421.9664
50 | 2634880.5173 | 1156421.9664 | 2634888.5597 | 1156422.2798 | 2634900.3457 | 1156427.6285 | 2634901.4585 | 1156427.874
51 | 2634866.0061 | 1156395.9026 | 2634856.5279 | 1156409.1434
52 | 2634866.0061 | 1156395.9026 | 2634861.5895 | 1156390.5298 | 2634857.5707 | 1156383.9811 | 2634849.9182 | 1156369.296
53 | 2634916.5704 | 1156429.6472 | 2634910.3862 | 1156429.8433 | 2634901.4585 | 1156427.874
54 | 2634849.9182 | 1156369.296 | 2634830.8828 | 1156373.6549 | 2634821.0007 | 1156375.8544 | 2634807.5645 | 1156386.649 | 2634803.8489 | 1156388.673 | 2634802.9987 | 1156388.6681
55 | 2634927.8735 | 1156429.2888 | 2634916.5704 | 1156429.6472
56 | 2634781.6168 | 1156474.2861 | 2634778.257 | 1156468.7548 | 2634777.5187 | 1156458.4898
57 | 2634761.9998 | 1156458.0779 | 2634768.1899 | 1156461.8488 | 2634770.7964 | 1156460.6521 | 2634777.5187 | 1156458.4898 | 2634777.5187 | 1156458.4898
58 | 2634761.9998 | 1156458.0779 | 2634752.3643 | 1156452.2082 | 2634745.8422 | 1156443.1336
59 | 2634831.746 | 1156577.1521 | 2634832.4776 | 1156582.6832
60 | 2634831.746 | 1156577.1521 | 2634834.2441 | 1156578.5877
61 | 2634871.4793 | 1156589.7637 | 2634867.8479 | 1156589.1002 | 2634859.1566 | 1156587.0044 | 2634851.5763 | 1156585.0596 | 2634837.4323 | 1156580.4199 | 2634834.2441 | 1156578.5877
62 | 2634834.3698 | 1156594.4995 | 2634833.693 | 1156591.8708 | 2634832.4776 | 1156582.6832
63 | 2634834.3698 | 1156594.4995 | 2634835.2754 | 1156598.0164 | 2634838.2778 | 1156601.0339
64 | 2634948.9444 | 1156493.0544 | 2634948.9444 | 1156493.0544 | 2634948.9585 | 1156501.2142 | 2634950.471 | 1156506.1811 | 2634951.3553 | 1156509.7213 | 2634950.4981 | 1156513.396 | 2634947.2088 | 1156518.189
65 | 2634948.9444 | 1156493.0544 | 2634949.0496 | 1156492.2206
66 | 2634950.2546 | 1156482.6679 | 2634949.0496 | 1156492.2206

## bus_geodata
| x | y | coords
0 | 2634768.3003 | 1156526.6671
1 | 2634745.8199 | 1156507.4454
2 | 2634792.417 | 1156536.5429
3 | 2634740.1279 | 1156493.025
4 | 2634813.2518 | 1156562.271
5 | 2634732.3584 | 1156481.5256
6 | 2634814.1984 | 1156563.0102
7 | 2634801.9786 | 1156563.7622
8 | 2634828.1252 | 1156574.2992
9 | 2634821.6611 | 1156554.8711
10 | 2634797.7487 | 1156564.7564
11 | 2634795.5953 | 1156560.9089
12 | 2634846.3105 | 1156476.3947
13 | 2634858.7299 | 1156496.1997
14 | 2634833.7881 | 1156457.3919
15 | 2634859.4792 | 1156500.7736
16 | 2634821.4981 | 1156460.3719
17 | 2634839.1709 | 1156456.2426
18 | 2634855.6458 | 1156513.8914
19 | 2634859.4075 | 1156451.6858
20 | 2634856.9648 | 1156515.2108
21 | 2634850.0069 | 1156508.1323
22 | 2634812.7694 | 1156480.9009
23 | 2634822.6914 | 1156484.008
24 | 2634872.879 | 1156443.6176
25 | 2634782.989 | 1156555.3998
26 | 2634774.4425 | 1156571.6295
27 | 2634794.5294 | 1156585.6201
28 | 2634864.6463 | 1156522.3506
29 | 2634850.9482 | 1156521.9224
30 | 2634827.2403 | 1156486.4863
31 | 2634869.6918 | 1156526.8663
32 | 2634850.6837 | 1156522.2175
33 | 2634812.4212 | 1156602.8861
34 | 2634820.807 | 1156609.605
35 | 2634825.6657 | 1156550.7458
36 | 2634821.7988 | 1156554.7293
37 | 2634842.2487 | 1156535.2026
38 | 2634874.8026 | 1156530.4672
39 | 2634888.6494 | 1156540.2229
40 | 2634902.4886 | 1156549.6904
41 | 2634938.4523 | 1156567.4203
42 | 2634928.8168 | 1156531.1015
43 | 2634805.842 | 1156485.4726
44 | 2634797.9525 | 1156486.5469
45 | 2634784.0126 | 1156478.2305
46 | 2634880.5173 | 1156421.9664
47 | 2634866.0061 | 1156395.9026
48 | 2634901.4585 | 1156427.874
49 | 2634856.5279 | 1156409.1434
50 | 2634849.9182 | 1156369.296
51 | 2634916.5704 | 1156429.6472
52 | 2634802.9987 | 1156388.6681
53 | 2634927.8735 | 1156429.2888
54 | 2634781.6168 | 1156474.2861
55 | 2634777.5187 | 1156458.4898
56 | 2634761.9998 | 1156458.0779
57 | 2634745.8422 | 1156443.1336
58 | 2634831.746 | 1156577.1521
59 | 2634871.4793 | 1156589.7637
60 | 2634834.2441 | 1156578.5877
61 | 2634832.4776 | 1156582.6832
62 | 2634834.3698 | 1156594.4995
63 | 2634948.9444 | 1156493.0544
64 | 2634947.2088 | 1156518.189
65 | 2634949.0496 | 1156492.2206
66 | 2634950.2546 | 1156482.6679
67 | 2634838.2778 | 1156601.0339
68 | 2634855.6458 | 1156513.8914

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1