## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_584-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_584-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_584-19_0_3_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_584-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_584-19_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_584-19_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_584-19_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_584-19_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_584-19_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_584-19_0_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_584-19_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_584-19_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_584-19_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_584-19_0_3_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_584-19_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_584-19_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_584-19_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_584-19_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_584-19_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_584-19_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_584-19_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_584-19_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_584-19_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_584-19_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_584-19_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_584-19_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_584-19_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_584-19_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_584-19_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_584-19_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_584-19_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_584-19_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_584-19_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_584-19_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_584-19_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_584-19_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_584-19_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_584-19_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_584-19_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_584-19_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_584-19_0_3_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_584-19_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_584-19_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_584-19_0_3_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_584-19_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_584-19_0_3_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_584-19_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_584-19_0_3_node_62 | 0.4 | n |  | TRUE
48 | bus_LV_584-19_0_3_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_584-19_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_584-19_0_3_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_584-19_0_3_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_584-19_0_3_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_584-19_0_3_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_584-19_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_584-19_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_584-19_0_3_node_82 | 0.4 | n |  | TRUE
57 | bus_LV_584-19_0_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_584-19_0_3_node_99 | 0.4 | n |  | TRUE
59 | bus_LV_584-19_0_3_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_584-19_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_584-19_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_584-19_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_584-19_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_584-19_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_584-19_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_584-19_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_584-19_0_3_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_584-19_0_3_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_584-19_0_3_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_584-19_0_3_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_584-19_0_3_node_94 | 0.4 | n |  | TRUE
72 | bus_LV_584-19_0_3_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_584-19_0_3_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_584-19_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_584-19_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_584-19_0_3_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_584-19_0_3_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_584-19_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_584-19_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_584-19_0_3_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_584-19_0_3_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_584-19_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_584-19_0_3_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_584-19_0_3_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_584-19_0_3_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_584-19_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_584-19_0_3_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_584-19_0_3_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_584-19_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_584-19_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_584-19_0_3_node_95 | 0.4 | n |  | TRUE
92 | bus_LV_584-19_0_3_node_96 | 0.4 | n |  | TRUE
93 | bus_LV_584-19_0_3_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_584-19_0_3_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_584-19_0_3_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_584-19_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_584-19_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_584-19_0_3_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_584-19_0_3_node_103 | 0.4 | n |  | TRUE
100 | bus_MV_195_1_node_221 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_584-19_0_3_load_0 | 0 | 0.00033326 | 8.3524e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_584-19_0_3_load_6 | 2 | 0.0034495 | 0.00086452 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_584-19_0_3_load_3 | 3 | 0.0017891 | 0.00044839 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_584-19_0_3_load_7 | 7 | 0.00062214 | 0.00015592 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_584-19_0_3_load_50 | 9 | 0.0018103 | 0.00045371 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_584-19_0_3_load_18 | 11 | 0.00038865 | 9.7404e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_584-19_0_3_load_49 | 12 | 0.0013825 | 0.00034649 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_584-19_0_3_load_41 | 13 | 0.00064416 | 0.00016144 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_584-19_0_3_load_9 | 14 | 0.00027881 | 6.9877e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_584-19_0_3_load_8 | 15 | 0.00098405 | 0.00024663 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_584-19_0_3_load_14 | 17 | 0.0011445 | 0.00028683 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_584-19_0_3_load_12 | 18 | 0.0026243 | 0.00065771 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_584-19_0_3_load_13 | 19 | 0.0018706 | 0.00046882 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_584-19_0_3_load_15 | 20 | 0.0044015 | 0.0011031 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_584-19_0_3_load_17 | 21 | 0.0038188 | 0.00095708 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_584-19_0_3_load_19 | 23 | 0.0015722 | 0.00039403 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_584-19_0_3_load_22 | 25 | 0.0027252 | 0.000683 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_584-19_0_3_load_23 | 26 | 0.0024068 | 0.0006032 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_584-19_0_3_load_24 | 27 | 0.0025813 | 0.00064693 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_584-19_0_3_load_25 | 28 | 0.0035982 | 0.0009018 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_584-19_0_3_load_30 | 30 | 0.0039404 | 0.00098757 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_584-19_0_3_load_26 | 31 | 0.0014486 | 0.00036306 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_584-19_0_3_load_27 | 32 | 0.0014166 | 0.00035504 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_584-19_0_3_load_28 | 33 | 0.0026088 | 0.00065383 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_584-19_0_3_load_29 | 34 | 0.0049651 | 0.0012444 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_584-19_0_3_load_35 | 35 | 0.0055247 | 0.0013846 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_584-19_0_3_load_36 | 36 | 0.0019325 | 0.00048432 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_584-19_0_3_load_31 | 37 | 0.0025554 | 0.00064045 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_584-19_0_3_load_40 | 41 | 0.0025919 | 0.00064958 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_584-19_0_3_load_37 | 42 | 0.0084246 | 0.0021114 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_584-19_0_3_load_75 | 43 | 0.0024801 | 0.00062156 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_584-19_0_3_load_73 | 44 | 0.0041289 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_584-19_0_3_load_90 | 45 | 0.0028376 | 0.00071117 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_584-19_0_3_load_38 | 46 | 0.0012502 | 0.00031332 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_584-19_0_3_load_62 | 47 | 0.001846 | 0.00046264 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_584-19_0_3_load_60 | 48 | 0.0034155 | 0.000856 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_584-19_0_3_load_39 | 49 | 0.0035829 | 0.00089796 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_584-19_0_3_load_88 | 52 | 0.0037455 | 0.00093872 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_584-19_0_3_load_42 | 53 | 0.0095878 | 0.0024029 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_584-19_0_3_load_43 | 54 | 0.0057722 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_584-19_0_3_load_44 | 55 | 0.0012806 | 0.00032094 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_584-19_0_3_load_82 | 56 | 0.0039449 | 0.00098867 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_584-19_0_3_load_80 | 57 | 0.003121 | 0.0007822 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_584-19_0_3_load_99 | 58 | 0.0031865 | 0.00079862 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_584-19_0_3_load_97 | 59 | 0.0051624 | 0.0012938 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_584-19_0_3_load_45 | 60 | 0.0053334 | 0.0013367 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_584-19_0_3_load_46 | 61 | 0.008793 | 0.0022037 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_584-19_0_3_load_57 | 64 | 0.00296 | 0.00074184 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_584-19_0_3_load_54 | 65 | 0.0035676 | 0.00089414 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_584-19_0_3_load_78 | 66 | 0.0046596 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_584-19_0_3_load_55 | 67 | 0.0058108 | 0.0014563 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_584-19_0_3_load_51 | 68 | 0.0022002 | 0.00055141 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_584-19_0_3_load_52 | 69 | 0.0018054 | 0.00045247 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_584-19_0_3_load_102 | 70 | 0.0018075 | 0.000453 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_584-19_0_3_load_56 | 72 | 0.0042187 | 0.0010573 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_584-19_0_3_load_69 | 74 | 0.0031454 | 0.00078832 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_584-19_0_3_load_70 | 75 | 0.0041357 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_584-19_0_3_load_66 | 76 | 0.0026536 | 0.00066507 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_584-19_0_3_load_100 | 77 | 0.0039533 | 0.00099078 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_584-19_0_3_load_76 | 78 | 0.0026443 | 0.00066273 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_584-19_0_3_load_64 | 79 | 0.0031967 | 0.00080116 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_584-19_0_3_load_61 | 80 | 0.0031078 | 0.00077888 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_584-19_0_3_load_63 | 81 | 0.0045118 | 0.0011308 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_584-19_0_3_load_67 | 82 | 0.0030863 | 0.00077349 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_584-19_0_3_load_65 | 83 | 0.0024133 | 0.00060483 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_584-19_0_3_load_72 | 84 | 0.0024151 | 0.00060527 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_584-19_0_3_load_77 | 85 | 0.0039136 | 0.00098084 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_584-19_0_3_load_79 | 86 | 0.0033925 | 0.00085025 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_584-19_0_3_load_83 | 87 | 0.0028736 | 0.00072019 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_584-19_0_3_load_84 | 88 | 0.0017334 | 0.00043442 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_584-19_0_3_load_81 | 89 | 0.0027118 | 0.00067964 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_584-19_0_3_load_85 | 90 | 0.0019054 | 0.00047753 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_584-19_0_3_load_95 | 91 | 0.0028044 | 0.00070285 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_584-19_0_3_load_96 | 92 | 0.0015801 | 0.00039601 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_584-19_0_3_load_92 | 93 | 0.0015191 | 0.00038073 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_584-19_0_3_load_86 | 94 | 0.001826 | 0.00045763 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_584-19_0_3_load_87 | 95 | 0.0043295 | 0.0010851 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_584-19_0_3_load_89 | 96 | 0.0023045 | 0.00057757 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_584-19_0_3_load_91 | 97 | 0.0043481 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_584-19_0_3_load_103 | 99 | 0.0015736 | 0.00039439 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_584-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_584-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.13087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_584-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_584-19_0_3_line_3 | NAYY 4x150 SE | 2 | 7 | 0.084739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_584-19_0_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.082081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_584-19_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.066567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_584-19_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.044314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_584-19_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.077185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_584-19_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.12947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_584-19_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.075866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_584-19_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.045201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_584-19_0_3_line_11 | NAYY 4x150 SE | 7 | 15 | 0.01134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_584-19_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.0035795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_584-19_0_3_line_13 | NAYY 4x150 SE | 10 | 13 | 0.0027738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_584-19_0_3_line_14 | NAYY 4x150 SE | 10 | 14 | 0.087438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_584-19_0_3_line_15 | NAYY 4x150 SE | 12 | 68 | 0.0027583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_584-19_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.012146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_584-19_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.08859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_584-19_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.018208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_584-19_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.033376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_584-19_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.020869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_584-19_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.00055347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_584-19_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.012218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_584-19_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.046943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_584-19_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.011756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_584-19_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.060521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_584-19_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0054926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_584-19_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.019404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_584-19_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.03723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_584-19_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0017139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_584-19_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.01283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_584-19_0_3_line_31 | NAYY 4x150 SE | 30 | 37 | 0.023031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_584-19_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.073653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_584-19_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.026982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_584-19_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0054112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_584-19_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.025032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_584-19_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0035919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_584-19_0_3_line_37 | NAYY 4x150 SE | 36 | 47 | 0.026607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_584-19_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.015977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_584-19_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.023184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_584-19_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.003909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_584-19_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.039862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_584-19_0_3_line_42 | NAYY 4x150 SE | 39 | 42 | 0.016301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_584-19_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.016636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_584-19_0_3_line_44 | NAYY 4x150 SE | 40 | 44 | 0.0094983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_584-19_0_3_line_45 | NAYY 4x150 SE | 41 | 45 | 0.00085289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_584-19_0_3_line_46 | NAYY 4x150 SE | 42 | 46 | 0.0058022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_584-19_0_3_line_47 | NAYY 4x150 SE | 44 | 84 | 0.0083121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_584-19_0_3_line_48 | NAYY 4x150 SE | 45 | 52 | 0.011201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_584-19_0_3_line_49 | NAYY 4x150 SE | 46 | 49 | 0.031562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_584-19_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.013104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_584-19_0_3_line_51 | NAYY 4x150 SE | 48 | 80 | 0.013738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_584-19_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.016714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_584-19_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.010251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_584-19_0_3_line_54 | NAYY 4x150 SE | 51 | 82 | 0.0019711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_584-19_0_3_line_55 | NAYY 4x150 SE | 51 | 81 | 0.018013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_584-19_0_3_line_56 | NAYY 4x150 SE | 52 | 95 | 0.009124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_584-19_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.031903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_584-19_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.045971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_584-19_0_3_line_59 | NAYY 4x150 SE | 54 | 56 | 0.04123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_584-19_0_3_line_60 | NAYY 4x150 SE | 56 | 57 | 0.0043964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_584-19_0_3_line_61 | NAYY 4x150 SE | 57 | 89 | 0.0077221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_584-19_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.0032428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_584-19_0_3_line_63 | NAYY 4x150 SE | 59 | 92 | 0.0023599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_584-19_0_3_line_64 | NAYY 4x150 SE | 60 | 61 | 0.0097265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_584-19_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.080163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_584-19_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.016366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_584-19_0_3_line_67 | NAYY 4x150 SE | 63 | 64 | 0.10646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
68 | LV_584-19_0_3_line_68 | NAYY 4x150 SE | 63 | 65 | 0.069385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_584-19_0_3_line_69 | NAYY 4x150 SE | 64 | 66 | 0.021587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_584-19_0_3_line_70 | NAYY 4x150 SE | 65 | 67 | 0.0099856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
71 | LV_584-19_0_3_line_71 | NAYY 4x150 SE | 66 | 77 | 0.051281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_584-19_0_3_line_72 | NAYY 4x150 SE | 66 | 78 | 0.0023793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_584-19_0_3_line_73 | NAYY 4x150 SE | 67 | 72 | 0.013971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
74 | LV_584-19_0_3_line_74 | NAYY 4x150 SE | 69 | 70 | 0.17602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_584-19_0_3_line_75 | NAYY 4x150 SE | 70 | 71 | 0.026457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_584-19_0_3_line_76 | NAYY 4x150 SE | 71 | 99 | 0.053794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_584-19_0_3_line_77 | NAYY 4x150 SE | 71 | 98 | 0.020793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_584-19_0_3_line_78 | NAYY 4x150 SE | 72 | 73 | 0.0027104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_584-19_0_3_line_79 | NAYY 4x150 SE | 73 | 74 | 0.044057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_584-19_0_3_line_80 | NAYY 4x150 SE | 73 | 75 | 0.04337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_584-19_0_3_line_81 | NAYY 4x150 SE | 73 | 76 | 0.013751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_584-19_0_3_line_82 | NAYY 4x150 SE | 76 | 79 | 0.0064892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_584-19_0_3_line_83 | NAYY 4x150 SE | 78 | 85 | 0.022495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_584-19_0_3_line_84 | NAYY 4x150 SE | 79 | 83 | 0.010218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_584-19_0_3_line_85 | NAYY 4x150 SE | 80 | 81 | 0.011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_584-19_0_3_line_86 | NAYY 4x150 SE | 82 | 83 | 0.01238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_584-19_0_3_line_87 | NAYY 4x150 SE | 85 | 86 | 0.015865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_584-19_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.073966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_584-19_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.0002234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_584-19_0_3_line_90 | NAYY 4x150 SE | 87 | 89 | 0.012997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_584-19_0_3_line_91 | NAYY 4x150 SE | 88 | 90 | 0.027898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_584-19_0_3_line_92 | NAYY 4x150 SE | 90 | 94 | 0.0057888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_584-19_0_3_line_93 | NAYY 4x150 SE | 91 | 92 | 0.01936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_584-19_0_3_line_94 | NAYY 4x150 SE | 91 | 93 | 0.005474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_584-19_0_3_line_95 | NAYY 4x150 SE | 93 | 94 | 0.0030067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_584-19_0_3_line_96 | NAYY 4x150 SE | 95 | 96 | 0.0073695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_584-19_0_3_line_97 | NAYY 4x150 SE | 96 | 97 | 0.0098289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_584-19_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.037862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_584-19_0_3_trafo_75 | 0.25 MVA 20/0.4 kV | 100 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2637562.3323 | 1161105.6247 | 2637567.0794 | 1161093.5023
1 | 2637502.5755 | 1160979.6333 | 2637567.0794 | 1161093.5023
2 | 2637562.3323 | 1161105.6247 | 2637565.4669 | 1161110.4245 | 2637567.6992 | 1161114.9407 | 2637570.9594 | 1161119.2633 | 2637576.1387 | 1161123.0308 | 2637578.8513 | 1161123.8106
3 | 2637502.5755 | 1160979.6333 | 2637482.9153 | 1160984.2565 | 2637458.0399 | 1160992.039 | 2637452.4309 | 1160995.7171 | 2637442.0064 | 1161003.6452 | 2637433.0368 | 1161009.259 | 2637425.3025 | 1161011.6399
4 | 2637655.3363 | 1161134.3425 | 2637652.1372 | 1161130.0536 | 2637647.3639 | 1161127.5336 | 2637639.5652 | 1161126.0507 | 2637629.5581 | 1161124.7986 | 2637617.8452 | 1161125.537 | 2637609.1348 | 1161127.7059 | 2637602.9501 | 1161130.3242 | 2637598.0805 | 1161130.9496 | 2637593.3632 | 1161129.286 | 2637590.2882 | 1161127.2102 | 2637588.4518 | 1161125.5645 | 2637582.7013 | 1161124.9172 | 2637578.8513 | 1161123.8106
5 | 2637655.1957 | 1161000.0505 | 2637654.6828 | 1161008.5405 | 2637652.7759 | 1161018.1557 | 2637653.8201 | 1161025.177 | 2637658.6141 | 1161037.869 | 2637665.7714 | 1161053.7219 | 2637668.4122 | 1161057.8405 | 2637672.4439 | 1161061.312
6 | 2637690.8926 | 1160973.6602 | 2637655.1957 | 1161000.0505
7 | 2637672.4439 | 1161061.312 | 2637675.0386 | 1161072.8008 | 2637673.8109 | 1161081.6421 | 2637671.64 | 1161090.5998 | 2637668.3678 | 1161097.9942 | 2637662.9072 | 1161107.3426 | 2637658.1766 | 1161117.5961 | 2637656.0044 | 1161125.531 | 2637655.3363 | 1161134.3425
8 | 2637672.4439 | 1161061.312 | 2637680.8264 | 1161067.5009 | 2637710.2985 | 1161087.9737 | 2637721.5426 | 1161097.26 | 2637728.8801 | 1161106.3217 | 2637735.8141 | 1161114.9696 | 2637744.9942 | 1161125.8883 | 2637754.4397 | 1161137.2534 | 2637759.0818 | 1161141.14 | 2637768.3108 | 1161144.2662 | 2637769.2888 | 1161144.4675
9 | 2637690.8926 | 1160973.6602 | 2637694.1867 | 1160968.9006 | 2637696.5298 | 1160965.5024 | 2637700.5508 | 1160959.6802 | 2637719.3034 | 1160939.7985 | 2637731.9172 | 1160932.3181 | 2637737.7314 | 1160927.7189 | 2637744.7985 | 1160921.271
10 | 2637690.8926 | 1160973.6602 | 2637697.4189 | 1160974.0235 | 2637710.8067 | 1160972.6288 | 2637727.2538 | 1160968.4741 | 2637734.8138 | 1160965.194
11 | 2637414.1927 | 1161013.864 | 2637423.7626 | 1161012.114 | 2637425.3025 | 1161011.6399
12 | 2637772.7949 | 1161145.1892 | 2637769.2888 | 1161144.4675
13 | 2637744.7985 | 1160921.271 | 2637747.118 | 1160919.7497
14 | 2637744.7985 | 1160921.271 | 2637732.1013 | 1160926.1717 | 2637722.3854 | 1160928.5454 | 2637712.3358 | 1160927.9266 | 2637706.1499 | 1160927.0318 | 2637693.9304 | 1160924.1761 | 2637687.7819 | 1160923.4261 | 2637681.9872 | 1160923.69 | 2637674.861 | 1160924.8904 | 2637659.5741 | 1160928.6291
15 | 2637775.4965 | 1161145.7453 | 2637772.7949 | 1161145.1892
16 | 2637402.2445 | 1161016.049 | 2637414.1927 | 1161013.864
17 | 2637402.2445 | 1161016.049 | 2637391.0033 | 1161019.77 | 2637380.3276 | 1161024.9841 | 2637369.7599 | 1161032.5446 | 2637362.378 | 1161040.4029 | 2637355.9544 | 1161050.6572 | 2637345.598 | 1161077.7371
18 | 2637340.3041 | 1161095.1318 | 2637343.1962 | 1161084.0174 | 2637345.598 | 1161077.7371
19 | 2637340.3041 | 1161095.1318 | 2637339.3263 | 1161098.8899 | 2637338.8565 | 1161105.4459 | 2637339.6004 | 1161111.5203 | 2637344.1335 | 1161127.6977
20 | 2637347.6477 | 1161148.1517 | 2637347.7208 | 1161145.1546 | 2637346.6621 | 1161136.7214 | 2637344.1335 | 1161127.6977
21 | 2637347.6477 | 1161148.1517 | 2637347.6341 | 1161148.705
22 | 2637345.5478 | 1161160.7046 | 2637347.5667 | 1161151.4679 | 2637347.6341 | 1161148.705
23 | 2637345.5478 | 1161160.7046 | 2637336.3168 | 1161187.5167 | 2637334.0227 | 1161196.6627 | 2637332.6997 | 1161205.7235
24 | 2637332.3688 | 1161217.4742 | 2637332.6783 | 1161205.8702 | 2637332.6997 | 1161205.7235
25 | 2637332.3688 | 1161217.4742 | 2637359.7027 | 1161214.6423 | 2637361.2347 | 1161198.6658 | 2637363.2691 | 1161202.9807 | 2637366.9014 | 1161207.8613 | 2637373.0958 | 1161208.5778
26 | 2637332.3688 | 1161217.4742 | 2637332.3098 | 1161219.5749 | 2637332.4512 | 1161222.963
27 | 2637332.4512 | 1161222.963 | 2637333.2602 | 1161242.3501
28 | 2637334.2532 | 1161279.5332 | 2637334.6379 | 1161275.3624 | 2637333.2602 | 1161242.3501
29 | 2637334.0957 | 1161281.2399 | 2637334.2532 | 1161279.5332
30 | 2637334.0957 | 1161281.2399 | 2637330.9049 | 1161290.4248 | 2637329.3619 | 1161293.1217
31 | 2637329.3619 | 1161293.1217 | 2637317.9245 | 1161313.1125
32 | 2637261.6568 | 1161237.5955 | 2637261.5973 | 1161235.1227 | 2637263.6217 | 1161229.9104 | 2637273.5502 | 1161209.1834 | 2637276.5434 | 1161202.2206 | 2637277.1218 | 1161194.1867 | 2637276.1688 | 1161187.2328 | 2637275.7343 | 1161178.2033 | 2637275.8019 | 1161167.2904
33 | 2637261.6568 | 1161237.5955 | 2637261.707 | 1161239.6813 | 2637265.3751 | 1161264.3055
34 | 2637265.3751 | 1161264.3055 | 2637266.1724 | 1161269.6576
35 | 2637266.1724 | 1161269.6576 | 2637266.1724 | 1161269.6576 | 2637265.8787 | 1161276.2592 | 2637263.3281 | 1161294.5055
36 | 2637263.3281 | 1161294.5055 | 2637262.8308 | 1161298.0628
37 | 2637259.1474 | 1161324.4136 | 2637262.8308 | 1161298.0628
38 | 2637309.9902 | 1161326.9806 | 2637317.9245 | 1161313.1125
39 | 2637309.9902 | 1161326.9806 | 2637322.0014 | 1161328.7226 | 2637332.3043 | 1161332.8775
40 | 2637309.9902 | 1161326.9806 | 2637307.7864 | 1161330.213
41 | 2637332.3043 | 1161332.8775 | 2637371.8809 | 1161328.1168
42 | 2637332.3043 | 1161332.8775 | 2637330.1499 | 1161339.2674 | 2637326.399 | 1161346.0921 | 2637325.3603 | 1161347.5252
43 | 2637307.7864 | 1161330.213 | 2637291.1686 | 1161328.7316
44 | 2637307.7864 | 1161330.213 | 2637302.4404 | 1161338.064
45 | 2637371.8809 | 1161328.1168 | 2637372.7277 | 1161328.0149
46 | 2637325.3603 | 1161347.5252 | 2637321.9553 | 1161352.2232
47 | 2637297.762 | 1161344.9346 | 2637302.4404 | 1161338.064
48 | 2637383.8487 | 1161326.6772 | 2637372.7277 | 1161328.0149
49 | 2637321.9553 | 1161352.2232 | 2637321.9553 | 1161352.2232 | 2637317.0622 | 1161356.673 | 2637308.4613 | 1161361.0108 | 2637294.2399 | 1161366.6955
50 | 2637258.0974 | 1161337.4472 | 2637258.1419 | 1161331.6064 | 2637259.1474 | 1161324.4136
51 | 2637258.0974 | 1161337.4472 | 2637258.0608 | 1161342.2447 | 2637258.5354 | 1161349.7403 | 2637258.798 | 1161351.1456
52 | 2637278.7197 | 1161372.8994 | 2637294.2399 | 1161366.6955
53 | 2637269.6788 | 1161377.7792 | 2637278.7197 | 1161372.8994
54 | 2637269.6788 | 1161377.7792 | 2637268.089 | 1161378.9444
55 | 2637269.6788 | 1161377.7792 | 2637266.1935 | 1161373.9112 | 2637261.8876 | 1161367.6814 | 2637260.9265 | 1161362.5373
56 | 2637392.9074 | 1161325.5875 | 2637383.8487 | 1161326.6772
57 | 2637104.2323 | 1161274.9797 | 2637106.8944 | 1161281.1688 | 2637112.0551 | 1161297.9204 | 2637111.1341 | 1161305.502
58 | 2637104.2323 | 1161274.9797 | 2637086.068 | 1161232.749
59 | 2637139.6308 | 1161335.2984 | 2637111.1341 | 1161305.502
60 | 2637139.6308 | 1161335.2984 | 2637139.2663 | 1161339.6797
61 | 2637139.2663 | 1161339.6797 | 2637138.7452 | 1161345.9429 | 2637138.9004 | 1161347.3718
62 | 2637210.1324 | 1161307.7529 | 2637210.6224 | 1161310.9584
63 | 2637210.9791 | 1161313.2913 | 2637210.6224 | 1161310.9584
64 | 2637336.755 | 1161454.0783 | 2637330.6453 | 1161461.6465
65 | 2637266.1623 | 1161498.9863 | 2637281.3817 | 1161499.792 | 2637284.3165 | 1161499.7546 | 2637297.9624 | 1161494.8255 | 2637304.243 | 1161492.7078 | 2637308.4563 | 1161489.132 | 2637330.6453 | 1161461.6465
66 | 2637253.8934 | 1161509.2156 | 2637256.7939 | 1161504.8091 | 2637260.9755 | 1161501.3999 | 2637266.1623 | 1161498.9863
67 | 2637253.8934 | 1161509.2156 | 2637244.252 | 1161502.2191 | 2637233.8049 | 1161496.6294 | 2637222.1593 | 1161490.343 | 2637210.0301 | 1161485.4211 | 2637205.7742 | 1161481.0259 | 2637203.354 | 1161473.4293 | 2637202.9852 | 1161461.1985 | 2637204.143 | 1161446.1868 | 2637201.7025 | 1161441.8695 | 2637197.0005 | 1161437.7495 | 2637196.4157 | 1161434.014
68 | 2637253.8934 | 1161509.2156 | 2637252.9357 | 1161505.4967 | 2637250.3544 | 1161495.4645 | 2637244.7647 | 1161480.0331 | 2637242.9469 | 1161470.428 | 2637242.3097 | 1161463.2093 | 2637243.3757 | 1161453.144 | 2637244.8988 | 1161441.6154
69 | 2637196.4157 | 1161434.014 | 2637195.9833 | 1161431.251 | 2637198.5422 | 1161421.3728 | 2637200.9357 | 1161413.1272
70 | 2637244.8988 | 1161441.6154 | 2637246.2068 | 1161431.7159
71 | 2637200.9357 | 1161413.1272 | 2637149.974 | 1161407.4103
72 | 2637201.599 | 1161410.8423 | 2637200.9357 | 1161413.1272
73 | 2637246.2068 | 1161431.7159 | 2637248.0368 | 1161417.8649
74 | 2637486.6112 | 1161297.5846 | 2637620.3552 | 1161412.0167
75 | 2637466.6032 | 1161308.9437 | 2637473.7953 | 1161309.3887 | 2637479.9183 | 1161308.015 | 2637484.5067 | 1161304.5418 | 2637486.6112 | 1161297.5846
76 | 2637456.6409 | 1161258.6893 | 2637459.2678 | 1161266.2873 | 2637456.5249 | 1161277.3315 | 2637458.5795 | 1161284.5368 | 2637465.1064 | 1161292.148 | 2637466.6032 | 1161308.9437
77 | 2637466.6032 | 1161308.9437 | 2637447.005 | 1161316.0477
78 | 2637248.3918 | 1161415.1778 | 2637248.0368 | 1161417.8649
79 | 2637292.5024 | 1161412.7274 | 2637269.6868 | 1161413.6088 | 2637248.3918 | 1161415.1778
80 | 2637291.0936 | 1161407.6049 | 2637262.5076 | 1161411.1075 | 2637248.3918 | 1161415.1778
81 | 2637248.3918 | 1161415.1778 | 2637250.9962 | 1161401.6759
82 | 2637253.612 | 1161395.7373 | 2637250.9962 | 1161401.6759 | 2637250.9962 | 1161401.6759
83 | 2637201.599 | 1161410.8423 | 2637204.8365 | 1161399.6895 | 2637208.3119 | 1161389.3772
84 | 2637253.612 | 1161395.7373 | 2637255.6745 | 1161391.0549 | 2637258.9029 | 1161387.1047
85 | 2637258.798 | 1161351.1456 | 2637260.9265 | 1161362.5373
86 | 2637258.9029 | 1161387.1047 | 2637261.8124 | 1161383.5446 | 2637268.089 | 1161378.9444
87 | 2637213.3784 | 1161374.3433 | 2637208.3119 | 1161389.3772
88 | 2637208.3119 | 1161389.3772 | 2637140.304 | 1161360.2932
89 | 2637213.4498 | 1161374.1316 | 2637213.3784 | 1161374.3433
90 | 2637138.9004 | 1161347.3718 | 2637140.304 | 1161360.2932 | 2637140.304 | 1161360.2932
91 | 2637213.4498 | 1161374.1316 | 2637215.5142 | 1161368.0059 | 2637216.2108 | 1161355.715 | 2637215.2415 | 1161346.6438
92 | 2637215.2415 | 1161346.6438 | 2637214.6263 | 1161340.8878
93 | 2637213.6563 | 1161332.4629 | 2637212.7026 | 1161324.5662 | 2637210.9791 | 1161313.2913
94 | 2637213.6563 | 1161332.4629 | 2637214.2624 | 1161337.4825 | 2637214.3069 | 1161337.8981
95 | 2637214.6263 | 1161340.8878 | 2637214.3069 | 1161337.8981
96 | 2637392.9074 | 1161325.5875 | 2637400.2242 | 1161324.7073
97 | 2637409.9827 | 1161323.5335 | 2637400.2242 | 1161324.7073
98 | 2637447.005 | 1161316.0477 | 2637442.2164 | 1161317.2296 | 2637425.9836 | 1161321.6087 | 2637409.9827 | 1161323.5335

## bus_geodata
| x | y | coords
0 | 2637567.0794 | 1161093.5023
1 | 2637562.3323 | 1161105.6247
2 | 2637502.5755 | 1160979.6333
3 | 2637578.8513 | 1161123.8106
4 | 2637655.1957 | 1161000.0505
5 | 2637672.4439 | 1161061.312
6 | 2637690.8926 | 1160973.6602
7 | 2637425.3025 | 1161011.6399
8 | 2637655.3363 | 1161134.3425
9 | 2637769.2888 | 1161144.4675
10 | 2637744.7985 | 1160921.271
11 | 2637734.8138 | 1160965.194
12 | 2637772.7949 | 1161145.1892
13 | 2637747.118 | 1160919.7497
14 | 2637659.5741 | 1160928.6291
15 | 2637414.1927 | 1161013.864
16 | 2637402.2445 | 1161016.049
17 | 2637345.598 | 1161077.7371
18 | 2637340.3041 | 1161095.1318
19 | 2637344.1335 | 1161127.6977
20 | 2637347.6477 | 1161148.1517
21 | 2637347.6341 | 1161148.705
22 | 2637345.5478 | 1161160.7046
23 | 2637332.6997 | 1161205.7235
24 | 2637332.3688 | 1161217.4742
25 | 2637373.0958 | 1161208.5778
26 | 2637332.4512 | 1161222.963
27 | 2637333.2602 | 1161242.3501
28 | 2637334.2532 | 1161279.5332
29 | 2637334.0957 | 1161281.2399
30 | 2637329.3619 | 1161293.1217
31 | 2637261.6568 | 1161237.5955
32 | 2637275.8019 | 1161167.2904
33 | 2637265.3751 | 1161264.3055
34 | 2637266.1724 | 1161269.6576
35 | 2637263.3281 | 1161294.5055
36 | 2637262.8308 | 1161298.0628
37 | 2637317.9245 | 1161313.1125
38 | 2637309.9902 | 1161326.9806
39 | 2637332.3043 | 1161332.8775
40 | 2637307.7864 | 1161330.213
41 | 2637371.8809 | 1161328.1168
42 | 2637325.3603 | 1161347.5252
43 | 2637291.1686 | 1161328.7316
44 | 2637302.4404 | 1161338.064
45 | 2637372.7277 | 1161328.0149
46 | 2637321.9553 | 1161352.2232
47 | 2637259.1474 | 1161324.4136
48 | 2637258.0974 | 1161337.4472
49 | 2637294.2399 | 1161366.6955
50 | 2637278.7197 | 1161372.8994
51 | 2637269.6788 | 1161377.7792
52 | 2637383.8487 | 1161326.6772
53 | 2637104.2323 | 1161274.9797
54 | 2637111.1341 | 1161305.502
55 | 2637086.068 | 1161232.749
56 | 2637139.6308 | 1161335.2984
57 | 2637139.2663 | 1161339.6797
58 | 2637210.1324 | 1161307.7529
59 | 2637210.6224 | 1161310.9584
60 | 2637330.6453 | 1161461.6465
61 | 2637336.755 | 1161454.0783
62 | 2637266.1623 | 1161498.9863
63 | 2637253.8934 | 1161509.2156
64 | 2637196.4157 | 1161434.014
65 | 2637244.8988 | 1161441.6154
66 | 2637200.9357 | 1161413.1272
67 | 2637246.2068 | 1161431.7159
68 | 2637775.4965 | 1161145.7453
69 | 2637620.3552 | 1161412.0167
70 | 2637486.6112 | 1161297.5846
71 | 2637466.6032 | 1161308.9437
72 | 2637248.0368 | 1161417.8649
73 | 2637248.3918 | 1161415.1778
74 | 2637292.5024 | 1161412.7274
75 | 2637291.0936 | 1161407.6049
76 | 2637250.9962 | 1161401.6759
77 | 2637149.974 | 1161407.4103
78 | 2637201.599 | 1161410.8423
79 | 2637253.612 | 1161395.7373
80 | 2637258.798 | 1161351.1456
81 | 2637260.9265 | 1161362.5373
82 | 2637268.089 | 1161378.9444
83 | 2637258.9029 | 1161387.1047
84 | 2637297.762 | 1161344.9346
85 | 2637208.3119 | 1161389.3772
86 | 2637213.3784 | 1161374.3433
87 | 2637140.304 | 1161360.2932
88 | 2637213.4498 | 1161374.1316
89 | 2637138.9004 | 1161347.3718
90 | 2637215.2415 | 1161346.6438
91 | 2637213.6563 | 1161332.4629
92 | 2637210.9791 | 1161313.2913
93 | 2637214.3069 | 1161337.8981
94 | 2637214.6263 | 1161340.8878
95 | 2637392.9074 | 1161325.5875
96 | 2637400.2242 | 1161324.7073
97 | 2637409.9827 | 1161323.5335
98 | 2637447.005 | 1161316.0477
99 | 2637456.6409 | 1161258.6893
100 | 2637307.7864 | 1161330.213

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1