## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_584-26_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_584-26_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_584-26_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_584-26_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_584-26_0_4_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_584-26_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_584-26_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_584-26_0_4_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_584-26_0_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_584-26_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_584-26_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_584-26_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_584-26_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_584-26_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_584-26_0_4_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_584-26_0_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_584-26_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_584-26_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_584-26_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_584-26_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_584-26_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_584-26_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_584-26_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_584-26_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_584-26_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_584-26_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_584-26_0_4_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_584-26_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_584-26_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_584-26_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_584-26_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_584-26_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_584-26_0_4_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_584-26_0_4_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_584-26_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_584-26_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_584-26_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_584-26_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_584-26_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_584-26_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_584-26_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_584-26_0_4_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_584-26_0_4_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_584-26_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_584-26_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_584-26_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_584-26_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_584-26_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_584-26_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_584-26_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_584-26_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_584-26_0_4_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_584-26_0_4_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_584-26_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_584-26_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_584-26_0_4_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_584-26_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_584-26_0_4_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_584-26_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_584-26_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_584-26_0_4_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_584-26_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_584-26_0_4_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_584-26_0_4_node_64 | 0.4 | n |  | TRUE
64 | bus_LV_584-26_0_4_node_214 | 0.4 | n |  | TRUE
65 | bus_LV_584-26_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_584-26_0_4_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_584-26_0_4_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_584-26_0_4_node_101 | 0.4 | n |  | TRUE
69 | bus_LV_584-26_0_4_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_584-26_0_4_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_584-26_0_4_node_100 | 0.4 | n |  | TRUE
72 | bus_LV_584-26_0_4_node_102 | 0.4 | n |  | TRUE
73 | bus_LV_584-26_0_4_node_104 | 0.4 | n |  | TRUE
74 | bus_LV_584-26_0_4_node_108 | 0.4 | n |  | TRUE
75 | bus_LV_584-26_0_4_node_212 | 0.4 | n |  | TRUE
76 | bus_LV_584-26_0_4_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_584-26_0_4_node_105 | 0.4 | n |  | TRUE
78 | bus_LV_584-26_0_4_node_106 | 0.4 | n |  | TRUE
79 | bus_LV_584-26_0_4_node_107 | 0.4 | n |  | TRUE
80 | bus_LV_584-26_0_4_node_231 | 0.4 | n |  | TRUE
81 | bus_LV_584-26_0_4_node_224 | 0.4 | n |  | TRUE
82 | bus_LV_584-26_0_4_node_225 | 0.4 | n |  | TRUE
83 | bus_MV_195_1_node_230 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_584-26_0_4_load_0 | 0 | 0.0028895 | 0.00072419 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_584-26_0_4_load_1 | 1 | 0.0026215 | 0.00065701 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_584-26_0_4_load_2 | 2 | 0.0016395 | 0.0004109 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_584-26_0_4_load_50 | 4 | 0.0028242 | 0.00070781 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_584-26_0_4_load_4 | 5 | 0.001006 | 0.00025212 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_584-26_0_4_load_26 | 6 | 0.0029775 | 0.00074623 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_584-26_0_4_load_23 | 7 | 0.0027736 | 0.00069513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_584-26_0_4_load_22 | 8 | 0.0009424 | 0.00023619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_584-26_0_4_load_5 | 9 | 0.0011429 | 0.00028644 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_584-26_0_4_load_6 | 10 | 0.00062105 | 0.00015565 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_584-26_0_4_load_7 | 11 | 0.0012756 | 0.00031969 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_584-26_0_4_load_8 | 12 | 0.00094046 | 0.0002357 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_584-26_0_4_load_9 | 13 | 0.0011991 | 0.00030054 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_584-26_0_4_load_51 | 15 | 0.0016649 | 0.00041726 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_584-26_0_4_load_10 | 16 | 0.0050255 | 0.0012595 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_584-26_0_4_load_11 | 17 | 0.001428 | 0.00035789 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_584-26_0_4_load_13 | 18 | 0.0011414 | 0.00028606 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_584-26_0_4_load_15 | 19 | 0.00053702 | 0.00013459 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_584-26_0_4_load_16 | 20 | 0.0011544 | 0.00028931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_584-26_0_4_load_18 | 22 | 0.00054286 | 0.00013605 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_584-26_0_4_load_19 | 23 | 0.0017726 | 0.00044427 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_584-26_0_4_load_20 | 24 | 0.0023401 | 0.00058649 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_584-26_0_4_load_21 | 25 | 0.00052747 | 0.0001322 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_584-26_0_4_load_27 | 27 | 0.0010339 | 0.00025911 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_584-26_0_4_load_24 | 28 | 0.0018359 | 0.00046011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_584-26_0_4_load_25 | 29 | 0.003125 | 0.00078321 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_584-26_0_4_load_34 | 30 | 0.002594 | 0.00065011 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_584-26_0_4_load_94 | 32 | 0.00055459 | 0.00013899 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_584-26_0_4_load_29 | 34 | 0.001331 | 0.00033358 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_584-26_0_4_load_32 | 37 | 0.0015297 | 0.00038338 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_584-26_0_4_load_33 | 38 | 0.0013534 | 0.0003392 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_584-26_0_4_load_53 | 41 | 0.00056203 | 0.00014086 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_584-26_0_4_load_92 | 42 | 0.0005986 | 0.00015002 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_584-26_0_4_load_36 | 43 | 0.00064439 | 0.0001615 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_584-26_0_4_load_37 | 44 | 0.00052799 | 0.00013233 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_584-26_0_4_load_38 | 45 | 0.00077348 | 0.00019385 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_584-26_0_4_load_39 | 46 | 0.00054165 | 0.00013575 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_584-26_0_4_load_47 | 47 | 0.0012548 | 0.00031449 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_584-26_0_4_load_46 | 48 | 0.0010149 | 0.00025436 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_584-26_0_4_load_42 | 49 | 0.00080751 | 0.00020238 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_584-26_0_4_load_98 | 51 | 0.0014599 | 0.0003659 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_584-26_0_4_load_48 | 53 | 0.00052174 | 0.00013076 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_584-26_0_4_load_52 | 54 | 0.0018066 | 0.00045278 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_584-26_0_4_load_93 | 55 | 0.0011132 | 0.000279 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_584-26_0_4_load_55 | 56 | 0.0013096 | 0.00032821 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_584-26_0_4_load_56 | 57 | 0.0010014 | 0.00025097 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_584-26_0_4_load_57 | 58 | 0.00095606 | 0.00023961 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_584-26_0_4_load_61 | 60 | 0.00093914 | 0.00023537 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_584-26_0_4_load_60 | 62 | 0.00171 | 0.00042857 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_584-26_0_4_load_63 | 65 | 0.00102 | 0.00025563 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_584-26_0_4_load_62 | 66 | 0.0014911 | 0.0003737 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_584-26_0_4_load_96 | 67 | 0.00055606 | 0.00013936 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_584-26_0_4_load_97 | 69 | 0.00082834 | 0.0002076 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_584-26_0_4_load_99 | 70 | 0.00049426 | 0.00012387 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_584-26_0_4_load_100 | 71 | 0.00080708 | 0.00020227 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_584-26_0_4_load_104 | 73 | 0.00026228 | 6.5733e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_584-26_0_4_load_108 | 74 | 0.00032965 | 8.2617e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_584-26_0_4_load_212 | 75 | 0.0020821 | 0.00052183 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_584-26_0_4_load_103 | 76 | 0.00050106 | 0.00012558 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_584-26_0_4_load_106 | 78 | 0.00053668 | 0.00013451 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_584-26_0_4_load_231 | 80 | 0.00065667 | 0.00016458 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_584-26_0_4_load_224 | 81 | 0.000585 | 0.00014661 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_584-26_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_584-26_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.00027294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_584-26_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_584-26_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.016549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_584-26_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.034599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_584-26_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.003803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_584-26_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.019741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_584-26_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0082244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_584-26_0_4_line_8 | NAYY 4x150 SE | 6 | 18 | 0.0034751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_584-26_0_4_line_9 | NAYY 4x150 SE | 7 | 28 | 0.024845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_584-26_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.02062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_584-26_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.016824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_584-26_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.013807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_584-26_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0059436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_584-26_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.016651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_584-26_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.030979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_584-26_0_4_line_16 | NAYY 4x150 SE | 14 | 48 | 0.017871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_584-26_0_4_line_17 | NAYY 4x150 SE | 14 | 45 | 0.010976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_584-26_0_4_line_18 | NAYY 4x150 SE | 15 | 54 | 0.0069961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_584-26_0_4_line_19 | NAYY 4x150 SE | 16 | 17 | 0.019544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_584-26_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.00070609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_584-26_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.0014404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_584-26_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0070762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_584-26_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0030616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_584-26_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.060353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_584-26_0_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.01755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_584-26_0_4_line_26 | NAYY 4x150 SE | 21 | 25 | 0.18932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_584-26_0_4_line_27 | NAYY 4x150 SE | 22 | 26 | 0.12048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_584-26_0_4_line_28 | NAYY 4x150 SE | 23 | 27 | 0.16372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_584-26_0_4_line_29 | NAYY 4x150 SE | 26 | 52 | 0.08391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_584-26_0_4_line_30 | NAYY 4x150 SE | 27 | 31 | 0.081776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_584-26_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0089939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_584-26_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.018533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_584-26_0_4_line_33 | NAYY 4x150 SE | 30 | 36 | 0.022445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_584-26_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.073434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_584-26_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.093266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_584-26_0_4_line_36 | NAYY 4x150 SE | 33 | 67 | 0.053392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_584-26_0_4_line_37 | NAYY 4x150 SE | 33 | 64 | 0.29352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_584-26_0_4_line_38 | NAYY 4x150 SE | 33 | 68 | 0.42237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_584-26_0_4_line_39 | NAYY 4x150 SE | 34 | 35 | 0.013378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_584-26_0_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.012588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_584-26_0_4_line_41 | NAYY 4x150 SE | 35 | 37 | 0.020232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_584-26_0_4_line_42 | NAYY 4x150 SE | 35 | 38 | 0.012458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_584-26_0_4_line_43 | NAYY 4x150 SE | 36 | 39 | 0.011429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_584-26_0_4_line_44 | NAYY 4x150 SE | 37 | 40 | 0.012236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_584-26_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.011492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_584-26_0_4_line_46 | NAYY 4x150 SE | 39 | 42 | 0.0061831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_584-26_0_4_line_47 | NAYY 4x150 SE | 40 | 49 | 0.025785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_584-26_0_4_line_48 | NAYY 4x150 SE | 40 | 50 | 0.033892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_584-26_0_4_line_49 | NAYY 4x150 SE | 41 | 54 | 0.0053387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_584-26_0_4_line_50 | NAYY 4x150 SE | 42 | 52 | 0.028049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_584-26_0_4_line_51 | NAYY 4x150 SE | 43 | 44 | 0.00060997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_584-26_0_4_line_52 | NAYY 4x150 SE | 43 | 45 | 0.0038158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_584-26_0_4_line_53 | NAYY 4x150 SE | 44 | 46 | 0.0047988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_584-26_0_4_line_54 | NAYY 4x150 SE | 46 | 47 | 0.0077276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_584-26_0_4_line_55 | NAYY 4x150 SE | 47 | 53 | 0.021448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_584-26_0_4_line_56 | NAYY 4x150 SE | 50 | 51 | 0.031955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_584-26_0_4_line_57 | NAYY 4x150 SE | 52 | 55 | 0.018425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_584-26_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.051529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_584-26_0_4_line_59 | NAYY 4x150 SE | 56 | 58 | 0.050244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_584-26_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.066863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_584-26_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.081359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_584-26_0_4_line_62 | NAYY 4x150 SE | 60 | 65 | 0.0077158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_584-26_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.26348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_584-26_0_4_line_64 | NAYY 4x150 SE | 61 | 63 | 0.26378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_584-26_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.026885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_584-26_0_4_line_66 | NAYY 4x150 SE | 63 | 66 | 0.11447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_584-26_0_4_line_67 | NAYY 4x150 SE | 65 | 66 | 0.097693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_584-26_0_4_line_68 | NAYY 4x150 SE | 67 | 69 | 0.001584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_584-26_0_4_line_69 | NAYY 4x150 SE | 68 | 70 | 0.26625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_584-26_0_4_line_70 | NAYY 4x150 SE | 70 | 71 | 0.022769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_584-26_0_4_line_71 | NAYY 4x150 SE | 71 | 72 | 0.15322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_584-26_0_4_line_72 | NAYY 4x150 SE | 72 | 73 | 0.068527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_584-26_0_4_line_73 | NAYY 4x150 SE | 72 | 74 | 0.22334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_584-26_0_4_line_74 | NAYY 4x150 SE | 72 | 75 | 0.2615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_584-26_0_4_line_75 | NAYY 4x150 SE | 73 | 76 | 0.21563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_584-26_0_4_line_76 | NAYY 4x150 SE | 76 | 77 | 0.18452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_584-26_0_4_line_77 | NAYY 4x150 SE | 77 | 78 | 0.030347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_584-26_0_4_line_78 | NAYY 4x150 SE | 77 | 79 | 0.034945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_584-26_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.044656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_584-26_0_4_line_80 | NAYY 4x150 SE | 80 | 82 | 0.46863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_584-26_0_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.15391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_584-26_0_4_trafo_17 | 0.25 MVA 20/0.4 kV | 83 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2635094.4544 | 1163302.7288 | 2635096.5666 | 1163310.3217 | 2635097.5651 | 1163316.4195 | 2635097.8675 | 1163321.8678
1 | 2635094.3813 | 1163302.4659 | 2635094.4544 | 1163302.7288
2 | 2635091.6311 | 1163350.18 | 2635096.3594 | 1163339.2686 | 2635097.3331 | 1163335.1833 | 2635098.1126 | 1163326.2833 | 2635097.8675 | 1163321.8678
3 | 2635097.8675 | 1163321.8678 | 2635114.0076 | 1163325.5233
4 | 2635076.5763 | 1163273.1893 | 2635081.6 | 1163280.0301 | 2635088.8775 | 1163289.0882 | 2635093.5806 | 1163299.5877 | 2635094.3813 | 1163302.4659
5 | 2635091.6311 | 1163350.18 | 2635094.3331 | 1163352.8562
6 | 2635091.6311 | 1163350.18 | 2635087.052 | 1163348.6414 | 2635076.1209 | 1163347.466 | 2635072.2052 | 1163347.5425
7 | 2635076.5763 | 1163273.1893 | 2635074.3274 | 1163270.1271 | 2635071.4838 | 1163266.7367
8 | 2635096.8021 | 1163355.3016 | 2635094.3331 | 1163352.8562
9 | 2635047.5007 | 1163348.4415 | 2635054.9239 | 1163349.2768 | 2635070.4215 | 1163347.5773 | 2635072.2052 | 1163347.5425
10 | 2635032.7383 | 1163264.5337 | 2635032.6499 | 1163253.2091 | 2635032.6807 | 1163243.9138
11 | 2635032.7383 | 1163264.5337 | 2635032.8034 | 1163272.8867 | 2635031.8316 | 1163275.349 | 2635029.5666 | 1163277.5925 | 2635027.5847 | 1163279.3292
12 | 2635032.6807 | 1163243.9138 | 2635032.7265 | 1163230.107
13 | 2635027.5847 | 1163279.3292 | 2635023.1145 | 1163283.2462
14 | 2635032.7817 | 1163213.4562 | 2635032.7265 | 1163230.107
15 | 2635007.9333 | 1163308.5353 | 2635007.4658 | 1163304.3666 | 2635009.6701 | 1163298.0762 | 2635016.5477 | 1163289.0004 | 2635023.1145 | 1163283.2462
16 | 2635032.7817 | 1163213.4562 | 2635038.8176 | 1163222.6738 | 2635042.8185 | 1163228.2376
17 | 2635032.7817 | 1163213.4562 | 2635030.3206 | 1163202.76
18 | 2635008.713 | 1163315.4878 | 2635007.9333 | 1163308.5353
19 | 2635097.3207 | 1163355.7808 | 2635104.8777 | 1163362.7637 | 2635107.8505 | 1163366.5607 | 2635109.6133 | 1163370.6272
20 | 2635096.8021 | 1163355.3016 | 2635096.8021 | 1163355.3016 | 2635097.3207 | 1163355.7808
21 | 2634924.8552 | 1163287.8945 | 2634924.8845 | 1163287.6562 | 2634924.6903 | 1163286.4717
22 | 2634923.5455 | 1163279.4887 | 2634924.6903 | 1163286.4717
23 | 2634924.8552 | 1163287.8945 | 2634924.4824 | 1163290.9333
24 | 2634923.5455 | 1163279.4887 | 2634904.5017 | 1163279.7895 | 2634895.0719 | 1163277.278 | 2634883.6042 | 1163270.8638 | 2634871.0835 | 1163267.7119 | 2634866.0241 | 1163265.5611
25 | 2634923.5455 | 1163279.4887 | 2634926.3072 | 1163270.8447 | 2634932.2341 | 1163264.7862
26 | 2634923.5455 | 1163279.4887 | 2634909.6964 | 1163233.3292 | 2634910.2271 | 1163207.8637 | 2634909.7044 | 1163205.5483 | 2634888.4834 | 1163169.14 | 2634886.4345 | 1163163.1695 | 2634887.5132 | 1163158.1176 | 2634895.0962 | 1163140.9862 | 2634896.5585 | 1163131.8789 | 2634895.0096 | 1163122.9097 | 2634892.6132 | 1163118.7382 | 2634883.3489 | 1163112.737 | 2634878.6834 | 1163107.8599
27 | 2634914.8611 | 1163401.9565 | 2634908.5667 | 1163385.8229 | 2634908.2913 | 1163367.2674 | 2634907.219 | 1163356.7002 | 2634902.0226 | 1163338.772 | 2634901.769 | 1163327.02 | 2634903.858 | 1163319.4616 | 2634908.1808 | 1163309.7373 | 2634923.2007 | 1163294.0163 | 2634924.4824 | 1163290.9333
28 | 2634774.2338 | 1163215.371 | 2634782.588 | 1163223.1661 | 2634786.2509 | 1163229.5349 | 2634784.7474 | 1163239.1867 | 2634782.8607 | 1163247.5468 | 2634787.3901 | 1163281.5681 | 2634788.3826 | 1163286.1095 | 2634791.8705 | 1163286.9523 | 2634796.3979 | 1163285.5445 | 2634801.3419 | 1163282.2936 | 2634809.5853 | 1163278.0391 | 2634824.4682 | 1163264.785 | 2634831.8892 | 1163259.7031 | 2634837.6474 | 1163258.7137 | 2634858.3844 | 1163262.3134 | 2634866.0241 | 1163265.5611
29 | 2634914.8611 | 1163401.9565 | 2634923.9175 | 1163386.9569 | 2634962.9929 | 1163363.8497 | 2634977.9313 | 1163354.2427 | 2634980.5023 | 1163352.0565
30 | 2634746.7001 | 1163141.2503 | 2634746.8644 | 1163148.6217 | 2634751.9608 | 1163154.7987 | 2634756.851 | 1163162.1974 | 2634757.814 | 1163171.8523 | 2634759.5909 | 1163185.1471 | 2634763.6063 | 1163200.7672 | 2634768.8972 | 1163210.3916 | 2634774.2338 | 1163215.371
31 | 2635038.918 | 1163345.7581 | 2635047.4224 | 1163348.4327 | 2635047.5007 | 1163348.4415
32 | 2635038.918 | 1163345.7581 | 2635035.1053 | 1163344.559 | 2635021.8797 | 1163338.5271
33 | 2635002.8786 | 1163342.4038 | 2635005.48 | 1163342.8858 | 2635006.9923 | 1163342.3054 | 2635011.3894 | 1163336.9616 | 2635013.8242 | 1163335.8085 | 2635017.3286 | 1163336.4515 | 2635021.8797 | 1163338.5271
34 | 2634746.7001 | 1163141.2503 | 2634753.2927 | 1163136.397 | 2634757.0486 | 1163127.9921 | 2634770.0173 | 1163088.1355 | 2634770.7117 | 1163074.0101
35 | 2634746.7001 | 1163141.2503 | 2634743.8679 | 1163131.6401 | 2634735.0927 | 1163119.172 | 2634715.7802 | 1163102.2297 | 2634693.0388 | 1163076.8301 | 2634689.0064 | 1163074.7503 | 2634685.3273 | 1163073.8286
36 | 2634685.3273 | 1163073.8286 | 2634681.0394 | 1163076.1829 | 2634679.8552 | 1163082.2903 | 2634682.0759 | 1163089.0621 | 2634686.9922 | 1163091.9586 | 2634698.0555 | 1163095.5352 | 2634703.9722 | 1163102.9398 | 2634700.4187 | 1163110.4865
37 | 2634685.3273 | 1163073.8286 | 2634406.9685 | 1163166.9568
38 | 2634457.0118 | 1162718.4916 | 2634685.3273 | 1163073.8286
39 | 2634996.1392 | 1163367.244 | 2634996.4948 | 1163360.0869 | 2634998.6041 | 1163354.2442
40 | 2635002.8786 | 1163342.4038 | 2634998.6041 | 1163354.2442
41 | 2634996.1392 | 1163367.244 | 2634992.4367 | 1163379.5955 | 2634989.0366 | 1163386.0976
42 | 2634996.1392 | 1163367.244 | 2635000.1336 | 1163375.8049 | 2635000.4732 | 1163378.7963
43 | 2635002.8786 | 1163342.4038 | 2635007.7948 | 1163332.0827
44 | 2634983.3665 | 1163396.9405 | 2634989.0366 | 1163386.0976
45 | 2635007.7948 | 1163332.0827 | 2635009.4734 | 1163325.3001 | 2635009.1665 | 1163320.8059
46 | 2635007.7948 | 1163332.0827 | 2635001.8863 | 1163333.9048
47 | 2634983.3665 | 1163396.9405 | 2634967.1241 | 1163406.8846 | 2634964.0667 | 1163412.8914
48 | 2634974.2116 | 1163428.8704 | 2634973.5927 | 1163422.0299 | 2634978.634 | 1163405.9843 | 2634983.3665 | 1163396.9405
49 | 2635008.713 | 1163315.4878 | 2635008.9441 | 1163317.5486 | 2635009.1665 | 1163320.8059
50 | 2634980.5023 | 1163352.0565 | 2635001.8863 | 1163333.9048
51 | 2635029.1627 | 1163198.5004 | 2635029.3995 | 1163199.0625
52 | 2635030.3206 | 1163202.76 | 2635029.5544 | 1163199.4302 | 2635029.3995 | 1163199.0625
53 | 2635027.2997 | 1163194.0779 | 2635029.1627 | 1163198.5004
54 | 2635027.2997 | 1163194.0779 | 2635024.2997 | 1163186.9564
55 | 2635024.2997 | 1163186.9564 | 2635021.3719 | 1163180.006 | 2635014.1091 | 1163168.1473
56 | 2634974.2116 | 1163428.8704 | 2634982.5522 | 1163425.028 | 2634997.649 | 1163407.9181
57 | 2634980.5023 | 1163352.0565 | 2634975.8685 | 1163350.7066 | 2634970.6931 | 1163348.9535 | 2634967.9721 | 1163346.6365 | 2634966.6902 | 1163344.4724 | 2634966.9167 | 1163342.4059
58 | 2634462.272 | 1163616.9239 | 2634465.4962 | 1163600.4466 | 2634462.5029 | 1163581.4531 | 2634454.5579 | 1163568.1307
59 | 2634462.272 | 1163616.9239 | 2634457.8979 | 1163639.2786 | 2634467.1331 | 1163665.145
60 | 2634481.2842 | 1163727.024 | 2634486.6825 | 1163717.9059 | 2634469.929 | 1163672.9758 | 2634467.1331 | 1163665.145
61 | 2634481.2842 | 1163727.024 | 2634466.1435 | 1163716.0873 | 2634437.5818 | 1163697.5032 | 2634418.6996 | 1163676.0142
62 | 2634418.6996 | 1163676.0142 | 2634413.6066 | 1163670.2181
63 | 2634262.7716 | 1163262.6057 | 2634263.1303 | 1163246.6885 | 2634267.411 | 1163242.8331 | 2634276.1376 | 1163243.8055 | 2634283.9503 | 1163243.85 | 2634295.5123 | 1163251.2974 | 2634302.9674 | 1163252.2515 | 2634295.7211 | 1163225.4187 | 2634299.3008 | 1163218.2354 | 2634296.9767 | 1163208.0503 | 2634300.3322 | 1163167.6377 | 2634352.9493 | 1163214.2837 | 2634378.0159 | 1163181.4433 | 2634382.9256 | 1163178.9867
64 | 2634259.0869 | 1163526.364 | 2634262.7716 | 1163262.6057
65 | 2634406.9685 | 1163166.9568 | 2634382.9256 | 1163178.9867
66 | 2634259.0869 | 1163526.364 | 2634264.9942 | 1163532.7564 | 2634291.9376 | 1163562.7141 | 2634316.4684 | 1163589.9233 | 2634321.5271 | 1163594.6657 | 2634326.4297 | 1163598.5845 | 2634331.6798 | 1163601.994 | 2634339.8132 | 1163606.6529
67 | 2634339.8132 | 1163606.6529 | 2634347.4599 | 1163611.0331 | 2634354.9897 | 1163616.2676 | 2634373.1926 | 1163631.5682 | 2634393.6043 | 1163650.3611 | 2634413.5582 | 1163670.163 | 2634413.6066 | 1163670.2181
68 | 2634700.4187 | 1163110.4865 | 2634700.2344 | 1163110.8779 | 2634699.8552 | 1163111.9651
69 | 2634457.0118 | 1162718.4916 | 2634450.535 | 1162695.0536 | 2634447.6748 | 1162688.8563 | 2634429.0566 | 1162666.683 | 2634425.5338 | 1162661.1378 | 2634423.8743 | 1162655.292 | 2634422.933 | 1162608.2626 | 2634420.6788 | 1162603.2471 | 2634411.8059 | 1162595.548 | 2634391.5089 | 1162582.8923 | 2634362.3888 | 1162569.8638 | 2634349.3865 | 1162560.8628 | 2634319.0235 | 1162530.6854 | 2634316.3884 | 1162526.6238 | 2634314.8279 | 1162520.8453 | 2634315.4433 | 1162516.9364
70 | 2634315.4433 | 1162516.9364 | 2634316.6481 | 1162509.2831 | 2634315.8244 | 1162499.2511 | 2634314.1608 | 1162494.5832
71 | 2634207.7078 | 1162391.681 | 2634205.7752 | 1162394.7382 | 2634206.0193 | 1162397.6189 | 2634208.1079 | 1162400.799 | 2634238.0687 | 1162421.1019 | 2634259.3776 | 1162441.8893 | 2634271.7713 | 1162448.8522 | 2634288.6106 | 1162466.168 | 2634301.4683 | 1162483.1166 | 2634313.6528 | 1162493.1578 | 2634314.1608 | 1162494.5832
72 | 2634207.7078 | 1162391.681 | 2634211.4362 | 1162390.7573 | 2634216.4016 | 1162391.8972 | 2634268.1155 | 1162421.5075
73 | 2634207.7078 | 1162391.681 | 2634313.2133 | 1162194.8344
74 | 2634207.7078 | 1162391.681 | 2633946.2709 | 1162397.4327
75 | 2634470.0241 | 1162459.4781 | 2634452.4928 | 1162452.0629 | 2634411.6401 | 1162428.9397 | 2634377.6343 | 1162424.8545 | 2634311.1927 | 1162439.5831 | 2634294.3717 | 1162436.5413 | 2634268.1155 | 1162421.5075
76 | 2634583.5715 | 1162562.115 | 2634590.3037 | 1162539.72 | 2634590.9685 | 1162530.6859 | 2634580.0102 | 1162508.6339 | 2634565.4071 | 1162488.9511 | 2634539.2347 | 1162469.5354 | 2634498.9716 | 1162459.8997 | 2634470.0241 | 1162459.4781
77 | 2634574.3939 | 1162590.1655 | 2634576.5369 | 1162575.8372 | 2634578.4277 | 1162568.0663 | 2634583.5715 | 1162562.115
78 | 2634588.5614 | 1162596.2833 | 2634583.4842 | 1162579.9903 | 2634583.5715 | 1162562.115
79 | 2634604.3939 | 1162555.3089 | 2634595.4785 | 1162568.3644 | 2634591.715 | 1162579.4039 | 2634590.2237 | 1162589.6339 | 2634588.5614 | 1162596.2833
80 | 2634604.3939 | 1162555.3089 | 2634999.834 | 1162303.8325
81 | 2634999.834 | 1162303.8325 | 2635034.0111 | 1162308.8116 | 2635052.8285 | 1162329.4873 | 2635055.5771 | 1162350.803 | 2635069.7362 | 1162357.0776 | 2635091.0394 | 1162342.9167 | 2635106.5503 | 1162318.5894

## bus_geodata
| x | y | coords
0 | 2635094.4544 | 1163302.7288
1 | 2635097.8675 | 1163321.8678
2 | 2635094.3813 | 1163302.4659
3 | 2635091.6311 | 1163350.18
4 | 2635114.0076 | 1163325.5234
5 | 2635076.5763 | 1163273.1893
6 | 2635094.3331 | 1163352.8562
7 | 2635072.2052 | 1163347.5425
8 | 2635071.4838 | 1163266.7367
9 | 2635032.7383 | 1163264.5337
10 | 2635032.6807 | 1163243.9138
11 | 2635027.5847 | 1163279.3292
12 | 2635032.7265 | 1163230.107
13 | 2635023.1145 | 1163283.2462
14 | 2635032.7817 | 1163213.4562
15 | 2635007.9333 | 1163308.5353
16 | 2635109.6133 | 1163370.6272
17 | 2635097.3207 | 1163355.7808
18 | 2635096.8021 | 1163355.3016
19 | 2634924.6903 | 1163286.4717
20 | 2634924.8552 | 1163287.8945
21 | 2634923.5455 | 1163279.4887
22 | 2634924.4824 | 1163290.9333
23 | 2634866.0241 | 1163265.5611
24 | 2634932.2341 | 1163264.7862
25 | 2634878.6834 | 1163107.8599
26 | 2634914.8611 | 1163401.9565
27 | 2634774.2338 | 1163215.371
28 | 2635047.5007 | 1163348.4415
29 | 2635038.918 | 1163345.7581
30 | 2635021.8797 | 1163338.5271
31 | 2634746.7001 | 1163141.2503
32 | 2634770.7117 | 1163074.0101
33 | 2634685.3273 | 1163073.8286
34 | 2634998.6041 | 1163354.2442
35 | 2634996.1392 | 1163367.244
36 | 2635002.8786 | 1163342.4038
37 | 2634989.0366 | 1163386.0976
38 | 2635000.4732 | 1163378.7963
39 | 2635007.7948 | 1163332.0827
40 | 2634983.3665 | 1163396.9405
41 | 2635009.1665 | 1163320.8059
42 | 2635001.8863 | 1163333.9048
43 | 2635029.3995 | 1163199.0625
44 | 2635029.1627 | 1163198.5004
45 | 2635030.3206 | 1163202.76
46 | 2635027.2997 | 1163194.0779
47 | 2635024.2997 | 1163186.9564
48 | 2635042.8185 | 1163228.2376
49 | 2634964.0667 | 1163412.8914
50 | 2634974.2116 | 1163428.8704
51 | 2634997.649 | 1163407.9181
52 | 2634980.5023 | 1163352.0565
53 | 2635014.1091 | 1163168.1473
54 | 2635008.713 | 1163315.4878
55 | 2634966.9167 | 1163342.4059
56 | 2634462.272 | 1163616.9239
57 | 2634454.5579 | 1163568.1307
58 | 2634467.1331 | 1163665.145
59 | 2634481.2842 | 1163727.024
60 | 2634418.6996 | 1163676.0142
61 | 2634262.7716 | 1163262.6057
62 | 2634382.9256 | 1163178.9867
63 | 2634259.0869 | 1163526.364
64 | 2634406.9685 | 1163166.9568
65 | 2634413.6066 | 1163670.2181
66 | 2634339.8132 | 1163606.6529
67 | 2634700.4187 | 1163110.4865
68 | 2634457.0118 | 1162718.4916
69 | 2634699.8552 | 1163111.9651
70 | 2634315.4433 | 1162516.9364
71 | 2634314.1608 | 1162494.5832
72 | 2634207.7078 | 1162391.681
73 | 2634268.1155 | 1162421.5075
74 | 2634313.2133 | 1162194.8344
75 | 2633946.2709 | 1162397.4327
76 | 2634470.0241 | 1162459.4781
77 | 2634583.5716 | 1162562.115
78 | 2634574.3939 | 1162590.1655
79 | 2634588.5614 | 1162596.2833
80 | 2634604.3939 | 1162555.3089
81 | 2635106.5503 | 1162318.5894
82 | 2634999.834 | 1162303.8325
83 | 2634914.8611 | 1163401.9565

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1