## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_584-37_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_584-37_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_584-37_0_2_node_62 | 0.4 | n |  | TRUE
3 | bus_LV_584-37_0_2_node_64 | 0.4 | n |  | TRUE
4 | bus_LV_584-37_0_2_node_116 | 0.4 | n |  | TRUE
5 | bus_LV_584-37_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_584-37_0_2_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_584-37_0_2_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_584-37_0_2_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_584-37_0_2_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_584-37_0_2_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_584-37_0_2_node_69 | 0.4 | n |  | TRUE
12 | bus_LV_584-37_0_2_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_584-37_0_2_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_584-37_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_584-37_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_584-37_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_584-37_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_584-37_0_2_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_584-37_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_584-37_0_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_584-37_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_584-37_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_584-37_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_584-37_0_2_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_584-37_0_2_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_584-37_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_584-37_0_2_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_584-37_0_2_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_584-37_0_2_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_584-37_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_584-37_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_584-37_0_2_node_122 | 0.4 | n |  | TRUE
33 | bus_LV_584-37_0_2_node_120 | 0.4 | n |  | TRUE
34 | bus_LV_584-37_0_2_node_133 | 0.4 | n |  | TRUE
35 | bus_LV_584-37_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_584-37_0_2_node_144 | 0.4 | n |  | TRUE
37 | bus_LV_584-37_0_2_node_124 | 0.4 | n |  | TRUE
38 | bus_LV_584-37_0_2_node_121 | 0.4 | n |  | TRUE
39 | bus_LV_584-37_0_2_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_584-37_0_2_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_584-37_0_2_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_584-37_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_584-37_0_2_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_584-37_0_2_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_584-37_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_584-37_0_2_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_584-37_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_584-37_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_584-37_0_2_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_584-37_0_2_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_584-37_0_2_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_584-37_0_2_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_584-37_0_2_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_584-37_0_2_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_584-37_0_2_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_584-37_0_2_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_584-37_0_2_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_584-37_0_2_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_584-37_0_2_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_584-37_0_2_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_584-37_0_2_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_584-37_0_2_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_584-37_0_2_node_143 | 0.4 | n |  | TRUE
64 | bus_LV_584-37_0_2_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_584-37_0_2_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_584-37_0_2_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_584-37_0_2_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_584-37_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_584-37_0_2_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_584-37_0_2_node_118 | 0.4 | n |  | TRUE
71 | bus_LV_584-37_0_2_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_584-37_0_2_node_117 | 0.4 | n |  | TRUE
73 | bus_LV_584-37_0_2_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_584-37_0_2_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_584-37_0_2_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_584-37_0_2_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_584-37_0_2_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_584-37_0_2_node_105 | 0.4 | n |  | TRUE
79 | bus_LV_584-37_0_2_node_126 | 0.4 | n |  | TRUE
80 | bus_LV_584-37_0_2_node_123 | 0.4 | n |  | TRUE
81 | bus_LV_584-37_0_2_node_125 | 0.4 | n |  | TRUE
82 | bus_LV_584-37_0_2_node_127 | 0.4 | n |  | TRUE
83 | bus_LV_584-37_0_2_node_128 | 0.4 | n |  | TRUE
84 | bus_LV_584-37_0_2_node_132 | 0.4 | n |  | TRUE
85 | bus_LV_584-37_0_2_node_129 | 0.4 | n |  | TRUE
86 | bus_LV_584-37_0_2_node_130 | 0.4 | n |  | TRUE
87 | bus_LV_584-37_0_2_node_131 | 0.4 | n |  | TRUE
88 | bus_MV_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_584-37_0_2_load_0 | 0 | 0.0019279 | 0.00048317 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_584-37_0_2_load_1 | 1 | 0.001986 | 0.00049773 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_584-37_0_2_load_62 | 2 | 0.00041143 | 0.00010311 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_584-37_0_2_load_116 | 4 | 0.00021035 | 5.2719e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_584-37_0_2_load_4 | 5 | 6.724e-05 | 1.6852e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_584-37_0_2_load_42 | 8 | 7.7749e-05 | 1.9486e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_584-37_0_2_load_70 | 9 | 0.00012071 | 3.0252e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_584-37_0_2_load_41 | 10 | 9.35e-05 | 2.3433e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_584-37_0_2_load_69 | 11 | 7.6288e-05 | 1.912e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_584-37_0_2_load_5 | 12 | 0.00078974 | 0.00019793 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_584-37_0_2_load_6 | 13 | 0.00041763 | 0.00010467 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_584-37_0_2_load_8 | 15 | 0.00047578 | 0.00011924 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_584-37_0_2_load_10 | 17 | 0.0022125 | 0.00055452 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_584-37_0_2_load_19 | 18 | 0.0018125 | 0.00045425 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_584-37_0_2_load_43 | 20 | 8.107e-05 | 2.0318e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_584-37_0_2_load_18 | 22 | 0.0025393 | 0.00063642 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_584-37_0_2_load_15 | 23 | 0.0027867 | 0.0006984 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_584-37_0_2_load_44 | 24 | 0.00014378 | 3.6035e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_584-37_0_2_load_11 | 25 | 0.0028044 | 0.00070286 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_584-37_0_2_load_14 | 28 | 0.0014055 | 0.00035225 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_584-37_0_2_load_17 | 30 | 0.00088784 | 0.00022251 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_584-37_0_2_load_22 | 31 | 0.0040374 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_584-37_0_2_load_120 | 33 | 0.00090997 | 0.00022806 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_584-37_0_2_load_133 | 34 | 0.0036557 | 0.0009162 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_584-37_0_2_load_23 | 35 | 0.0026668 | 0.00066836 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_584-37_0_2_load_144 | 36 | 0.0018335 | 0.00045951 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_584-37_0_2_load_121 | 38 | 0.0013318 | 0.00033379 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_584-37_0_2_load_24 | 39 | 0.0029088 | 0.00072902 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_584-37_0_2_load_25 | 40 | 0.0022312 | 0.00055918 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_584-37_0_2_load_31 | 42 | 0.0010626 | 0.00026632 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_584-37_0_2_load_29 | 43 | 0.0010716 | 0.00026856 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_584-37_0_2_load_32 | 44 | 0.0012921 | 0.00032383 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_584-37_0_2_load_27 | 45 | 0.0017168 | 0.00043026 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_584-37_0_2_load_28 | 46 | 0.00096287 | 0.00024132 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_584-37_0_2_load_30 | 47 | 0.0014968 | 0.00037514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_584-37_0_2_load_37 | 48 | 0.00097013 | 0.00024314 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_584-37_0_2_load_33 | 49 | 0.0014263 | 0.00035746 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_584-37_0_2_load_34 | 50 | 0.0017234 | 0.00043192 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_584-37_0_2_load_35 | 51 | 8.78e-05 | 2.2005e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_584-37_0_2_load_36 | 52 | 0.00014677 | 3.6785e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_584-37_0_2_load_38 | 53 | 0.00017646 | 4.4226e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_584-37_0_2_load_40 | 54 | 0.00014518 | 3.6386e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_584-37_0_2_load_39 | 55 | 0.00015968 | 4.0019e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_584-37_0_2_load_46 | 56 | 0.0001017 | 2.5488e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_584-37_0_2_load_45 | 57 | 7.9243e-05 | 1.986e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_584-37_0_2_load_47 | 58 | 6.8037e-05 | 1.7052e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_584-37_0_2_load_48 | 59 | 0.00017437 | 4.3701e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_584-37_0_2_load_49 | 60 | 0.00011208 | 2.8091e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_584-37_0_2_load_50 | 61 | 7.1794e-05 | 1.7993e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_584-37_0_2_load_51 | 62 | 7.1037e-05 | 1.7804e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_584-37_0_2_load_143 | 63 | 0.0032556 | 0.00081593 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_584-37_0_2_load_52 | 64 | 0.00012085 | 3.0288e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_584-37_0_2_load_91 | 65 | 7.2411e-05 | 1.8148e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_584-37_0_2_load_89 | 66 | 0.00011185 | 2.8033e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_584-37_0_2_load_118 | 70 | 0.00015694 | 3.9332e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_584-37_0_2_load_68 | 71 | 0.00017899 | 4.486e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_584-37_0_2_load_117 | 72 | 0.00010815 | 2.7105e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_584-37_0_2_load_67 | 73 | 0.00015449 | 3.8718e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_584-37_0_2_load_90 | 74 | 0.00015419 | 3.8642e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_584-37_0_2_load_93 | 76 | 0.00039563 | 9.9154e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_584-37_0_2_load_94 | 77 | 0.00011903 | 2.9833e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_584-37_0_2_load_105 | 78 | 0.00028005 | 7.0187e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_584-37_0_2_load_126 | 79 | 0.00066096 | 0.00016565 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_584-37_0_2_load_123 | 80 | 0.00046321 | 0.00011609 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_584-37_0_2_load_127 | 82 | 0.00043293 | 0.0001085 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_584-37_0_2_load_128 | 83 | 0.00047605 | 0.00011931 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_584-37_0_2_load_132 | 84 | 0.00099073 | 0.0002483 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_584-37_0_2_load_129 | 85 | 0.00046993 | 0.00011777 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_584-37_0_2_load_130 | 86 | 0.00052167 | 0.00013074 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_584-37_0_2_load_131 | 87 | 0.00041195 | 0.00010324 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_584-37_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.19552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_584-37_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.87837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_584-37_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0099477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_584-37_0_2_line_3 | NAYY 4x150 SE | 3 | 69 | 0.042622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_584-37_0_2_line_4 | NAYY 4x150 SE | 3 | 67 | 0.0639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_584-37_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.00067852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_584-37_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0098356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_584-37_0_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.04403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_584-37_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0052188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_584-37_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.070039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_584-37_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.00042475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_584-37_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.10229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_584-37_0_2_line_12 | NAYY 4x150 SE | 10 | 55 | 0.048649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_584-37_0_2_line_13 | NAYY 4x150 SE | 11 | 73 | 0.026695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_584-37_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.18981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_584-37_0_2_line_15 | NAYY 4x150 SE | 12 | 14 | 0.113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_584-37_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.017455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_584-37_0_2_line_17 | NAYY 4x150 SE | 14 | 16 | 0.087689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_584-37_0_2_line_18 | NAYY 4x150 SE | 14 | 17 | 0.039445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_584-37_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.024122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_584-37_0_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.078179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_584-37_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.11693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_584-37_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.003201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_584-37_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.018489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_584-37_0_2_line_24 | NAYY 4x150 SE | 20 | 24 | 0.0080432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_584-37_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.032013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_584-37_0_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.021178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_584-37_0_2_line_27 | NAYY 4x150 SE | 24 | 56 | 0.027098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_584-37_0_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.056098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_584-37_0_2_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0090447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_584-37_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.016658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_584-37_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.034387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_584-37_0_2_line_32 | NAYY 4x150 SE | 27 | 30 | 0.02361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_584-37_0_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.016267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_584-37_0_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.005591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_584-37_0_2_line_35 | NAYY 4x150 SE | 29 | 33 | 0.066461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_584-37_0_2_line_36 | NAYY 4x150 SE | 30 | 34 | 0.018207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_584-37_0_2_line_37 | NAYY 4x150 SE | 31 | 35 | 0.020385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_584-37_0_2_line_38 | NAYY 4x150 SE | 32 | 36 | 0.019446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_584-37_0_2_line_39 | NAYY 4x150 SE | 32 | 37 | 0.071903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_584-37_0_2_line_40 | NAYY 4x150 SE | 33 | 38 | 0.010719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_584-37_0_2_line_41 | NAYY 4x150 SE | 35 | 39 | 0.0017352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_584-37_0_2_line_42 | NAYY 4x150 SE | 37 | 79 | 0.017203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_584-37_0_2_line_43 | NAYY 4x150 SE | 37 | 80 | 0.0019445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_584-37_0_2_line_44 | NAYY 4x150 SE | 39 | 40 | 0.019981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_584-37_0_2_line_45 | NAYY 4x150 SE | 40 | 41 | 0.021004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_584-37_0_2_line_46 | NAYY 4x150 SE | 41 | 42 | 0.0010596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_584-37_0_2_line_47 | NAYY 4x150 SE | 41 | 43 | 0.026325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_584-37_0_2_line_48 | NAYY 4x150 SE | 42 | 44 | 0.019802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_584-37_0_2_line_49 | NAYY 4x150 SE | 43 | 45 | 0.0049211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_584-37_0_2_line_50 | NAYY 4x150 SE | 44 | 49 | 0.016213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_584-37_0_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.027325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_584-37_0_2_line_52 | NAYY 4x150 SE | 46 | 47 | 0.0050598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_584-37_0_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.024112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_584-37_0_2_line_54 | NAYY 4x150 SE | 49 | 50 | 0.0040101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_584-37_0_2_line_55 | NAYY 4x150 SE | 50 | 51 | 0.037385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_584-37_0_2_line_56 | NAYY 4x150 SE | 51 | 52 | 0.00055074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_584-37_0_2_line_57 | NAYY 4x150 SE | 52 | 53 | 0.0074043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_584-37_0_2_line_58 | NAYY 4x150 SE | 53 | 54 | 1.66e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_584-37_0_2_line_59 | NAYY 4x150 SE | 54 | 55 | 0.010962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_584-37_0_2_line_60 | NAYY 4x150 SE | 56 | 57 | 0.048047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_584-37_0_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.042953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_584-37_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.13845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_584-37_0_2_line_63 | NAYY 4x150 SE | 59 | 60 | 0.049375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_584-37_0_2_line_64 | NAYY 4x150 SE | 60 | 61 | 0.016482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_584-37_0_2_line_65 | NAYY 4x150 SE | 61 | 62 | 0.1054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_584-37_0_2_line_66 | NAYY 4x150 SE | 61 | 63 | 0.68837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_584-37_0_2_line_67 | NAYY 4x150 SE | 62 | 64 | 0.18154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_584-37_0_2_line_68 | NAYY 4x150 SE | 64 | 65 | 0.0011319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_584-37_0_2_line_69 | NAYY 4x150 SE | 65 | 66 | 0.02073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_584-37_0_2_line_70 | NAYY 4x150 SE | 66 | 74 | 0.010488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_584-37_0_2_line_71 | NAYY 4x150 SE | 67 | 68 | 0.089184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_584-37_0_2_line_72 | NAYY 4x150 SE | 68 | 70 | 0.026667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_584-37_0_2_line_73 | NAYY 4x150 SE | 69 | 71 | 0.016038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_584-37_0_2_line_74 | NAYY 4x150 SE | 70 | 72 | 0.1778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_584-37_0_2_line_75 | NAYY 4x150 SE | 71 | 73 | 0.022896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_584-37_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.019461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_584-37_0_2_line_77 | NAYY 4x150 SE | 75 | 76 | 0.0020119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_584-37_0_2_line_78 | NAYY 4x150 SE | 75 | 77 | 0.13907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_584-37_0_2_line_79 | NAYY 4x150 SE | 77 | 78 | 0.001871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_584-37_0_2_line_80 | NAYY 4x150 SE | 79 | 84 | 0.017002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_584-37_0_2_line_81 | NAYY 4x150 SE | 80 | 81 | 0.025326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_584-37_0_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.027675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_584-37_0_2_line_83 | NAYY 4x150 SE | 81 | 83 | 0.046964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_584-37_0_2_line_84 | NAYY 4x150 SE | 82 | 85 | 0.00047122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_584-37_0_2_line_85 | NAYY 4x150 SE | 83 | 86 | 0.037905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_584-37_0_2_line_86 | NAYY 4x150 SE | 86 | 87 | 0.039428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_584-37_0_2_trafo_25 | 0.25 MVA 20/0.4 kV | 88 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2637108.1577 | 1157641.315 | 2637196.8603 | 1157467.069
1 | 2636305.8271 | 1157998.8024 | 2637108.1577 | 1157641.315
2 | 2636296.4732 | 1158002.1878 | 2636305.8271 | 1157998.8024
3 | 2636268.8059 | 1157985.4905 | 2636275.1511 | 1157996.1119 | 2636280.2386 | 1158008.0597 | 2636296.4732 | 1158002.1878
4 | 2636318.3975 | 1158062.2172 | 2636296.4732 | 1158002.1878
5 | 2636231.8306 | 1157761.1982 | 2636231.1582 | 1157761.2888
6 | 2636221.4107 | 1157762.6029 | 2636231.1582 | 1157761.2888
7 | 2636177.8214 | 1157769.6335 | 2636209.8158 | 1157764.3452 | 2636214.4436 | 1157763.5504 | 2636221.4107 | 1157762.6029
8 | 2636177.8214 | 1157769.6335 | 2636176.5953 | 1157764.5608
9 | 2636177.8214 | 1157769.6335 | 2636183.2806 | 1157792.5224 | 2636194.5018 | 1157837.6569
10 | 2636176.4955 | 1157764.1479 | 2636176.5953 | 1157764.5608
11 | 2636229.0551 | 1157933.2692 | 2636229.0551 | 1157933.2692 | 2636221.6302 | 1157921.1406 | 2636215.3738 | 1157908.4743 | 2636210.5294 | 1157896.8615 | 2636207.1183 | 1157886.5691 | 2636203.6417 | 1157874.4198 | 2636194.5018 | 1157837.6569
12 | 2636165.0666 | 1157716.8609 | 2636176.4955 | 1157764.1479
13 | 2636245.2224 | 1157954.5121 | 2636233.1549 | 1157938.6632 | 2636229.0551 | 1157933.2692
14 | 2635839.725 | 1157300.5329 | 2635841.8524 | 1157309.2357 | 2635848.42 | 1157327.8287 | 2635889.0925 | 1157409.3123 | 2635892.6538 | 1157417.6933 | 2635899.7013 | 1157478.2357
15 | 2635897.6006 | 1157591.1111 | 2635900.6035 | 1157511.7886 | 2635901.0949 | 1157494.9496 | 2635900.3122 | 1157483.4836 | 2635899.7013 | 1157478.2357
16 | 2635839.725 | 1157300.5329 | 2635837.1143 | 1157289.8532 | 2635836.1811 | 1157283.4598
17 | 2635897.6006 | 1157591.1111 | 2635930.8044 | 1157586.2732 | 2635953.2338 | 1157580.5374 | 2635969.0834 | 1157576.3632 | 2635983.4879 | 1157572.814
18 | 2635897.6006 | 1157591.1111 | 2635894.2259 | 1157630.4112
19 | 2635983.4879 | 1157572.814 | 2635977.7774 | 1157559.7288 | 2635976.3728 | 1157553.5729 | 2635976.732 | 1157550.0607
20 | 2636059.4382 | 1157553.4026 | 2635983.4879 | 1157572.814
21 | 2635894.2259 | 1157630.4112 | 2635893.9426 | 1157633.711 | 2635890.9592 | 1157680.1836 | 2635883.7957 | 1157725.6752 | 2635879.2706 | 1157746.1765
22 | 2636062.5481 | 1157552.6097 | 2636059.4382 | 1157553.4026
23 | 2636059.4382 | 1157553.4026 | 2636056.6077 | 1157548.5165 | 2636053.9762 | 1157541.1192 | 2636052.0174 | 1157536.5292
24 | 2635879.2706 | 1157746.1765 | 2635877.537 | 1157754.0307
25 | 2636062.5481 | 1157552.6097 | 2636091.8802 | 1157539.7856
26 | 2636111.2847 | 1157531.3018 | 2636091.8802 | 1157539.7856
27 | 2635874.4557 | 1157780.844 | 2635875.018 | 1157765.4432 | 2635877.537 | 1157754.0307
28 | 2636111.2847 | 1157531.3018 | 2636092.6923 | 1157478.3746
29 | 2636089.6946 | 1157469.8412 | 2636092.6923 | 1157478.3746
30 | 2636111.2847 | 1157531.3018 | 2636116.9032 | 1157546.984
31 | 2636077.8199 | 1157437.5647 | 2636089.6946 | 1157469.8412
32 | 2636089.6946 | 1157469.8412 | 2636113.0259 | 1157466.2214
33 | 2636122.3349 | 1157562.3172 | 2636120.3412 | 1157556.5801 | 2636116.9032 | 1157546.984
34 | 2636077.8199 | 1157437.5647 | 2636075.8578 | 1157432.3281
35 | 2636077.8199 | 1157437.5647 | 2636140.5354 | 1157415.569
36 | 2636131.0056 | 1157463.3521 | 2636116.1861 | 1157465.7311 | 2636113.0259 | 1157466.2214
37 | 2636122.3349 | 1157562.3172 | 2636129.0263 | 1157581.5724
38 | 2636056.8255 | 1157436.5719 | 2636075.8578 | 1157432.3281
39 | 2636075.8578 | 1157432.3281 | 2636062.7344 | 1157394.7304 | 2636051.275 | 1157364.7577
40 | 2636150.6502 | 1157412.0215 | 2636140.5354 | 1157415.569
41 | 2636129.5959 | 1157583.2114 | 2636129.0263 | 1157581.5724
42 | 2636051.275 | 1157364.7577 | 2636034.5048 | 1157368.5934
43 | 2636051.275 | 1157364.7577 | 2636050.5428 | 1157362.9563
44 | 2636129.5959 | 1157583.2114 | 2636131.9782 | 1157590.0669 | 2636136.024 | 1157602.1295
45 | 2636142.2816 | 1157622.1784 | 2636137.6048 | 1157606.8425 | 2636136.024 | 1157602.1295
46 | 2636142.2816 | 1157622.1784 | 2636142.5515 | 1157623.203
47 | 2636142.2816 | 1157622.1784 | 2636161.7666 | 1157615.2362 | 2636165.0525 | 1157615.7673 | 2636166.888 | 1157617.1725
48 | 2636142.5515 | 1157623.203 | 2636145.0627 | 1157632.7338 | 2636147.3417 | 1157642.4148
49 | 2636170.1433 | 1157620.7899 | 2636168.4334 | 1157618.3556 | 2636166.888 | 1157617.1725
50 | 2636147.3417 | 1157642.4148 | 2636151.057 | 1157658.1968
51 | 2636170.1433 | 1157620.7899 | 2636172.4092 | 1157624.0157 | 2636176.9787 | 1157632.9588 | 2636180.8354 | 1157645.7286
52 | 2636180.8354 | 1157645.7286 | 2636182.2983 | 1157650.5723
53 | 2636199.2184 | 1157654.887 | 2636184.9471 | 1157659.3423 | 2636182.2983 | 1157650.5723
54 | 2636151.9759 | 1157662.1002 | 2636151.057 | 1157658.1968
55 | 2636151.9759 | 1157662.1002 | 2636157.3985 | 1157685.1345 | 2636160.6219 | 1157698.4715
56 | 2636160.6219 | 1157698.4715 | 2636160.7513 | 1157699.0068
57 | 2636160.7513 | 1157699.0068 | 2636162.4908 | 1157706.2039
58 | 2636162.4908 | 1157706.2039 | 2636162.4912 | 1157706.2055
59 | 2636165.0666 | 1157716.8609 | 2636162.4912 | 1157706.2055
60 | 2635872.5129 | 1157828.8518 | 2635873.6804 | 1157802.0761 | 2635874.4557 | 1157780.844
61 | 2635872.5129 | 1157828.8518 | 2635872.2508 | 1157834.8621 | 2635873.831 | 1157871.7648
62 | 2635873.831 | 1157871.7648 | 2635874.6872 | 1157891.7611 | 2635876.922 | 1157912.9964 | 2635881.2161 | 1157934.7441 | 2635882.3425 | 1157986.3104 | 2635881.0577 | 1158003.7895 | 2635880.6958 | 1158009.5935
63 | 2635880.6958 | 1158009.5935 | 2635877.6233 | 1158058.8733
64 | 2635877.6233 | 1158058.8733 | 2635877.2518 | 1158064.8312 | 2635878.0427 | 1158075.3136
65 | 2635878.0427 | 1158075.3136 | 2635878.7724 | 1158084.9839 | 2635883.3997 | 1158102.2314 | 2635889.5657 | 1158137.8751 | 2635896.8501 | 1158178.9094
66 | 2635878.0427 | 1158075.3136 | 2635190.9597 | 1158117.3774
67 | 2635962.4838 | 1158346.9501 | 2635961.8369 | 1158345.6119 | 2635926.0648 | 1158276.6523 | 2635909.8547 | 1158236.1794 | 2635905.2603 | 1158218.5875 | 2635901.003 | 1158202.2983 | 2635896.9977 | 1158179.7407 | 2635896.8501 | 1158178.9094
68 | 2635962.4838 | 1158346.9501 | 2635962.9764 | 1158347.9692
69 | 2635971.9977 | 1158366.6329 | 2635962.9764 | 1158347.9692
70 | 2635971.9977 | 1158366.6329 | 2635976.5619 | 1158376.0755
71 | 2636318.3975 | 1158062.2172 | 2636304.4282 | 1158067.5024 | 2636310.3019 | 1158082.5566 | 2636321.992 | 1158109.4185 | 2636334.6156 | 1158135.2967
72 | 2636334.6156 | 1158135.2967 | 2636346.4372 | 1158159.2002
73 | 2636268.8059 | 1157985.4905 | 2636261.7473 | 1157976.2211 | 2636259.0909 | 1157972.7301
74 | 2636346.4372 | 1158159.2002 | 2636352.7247 | 1158171.9135 | 2636367.9254 | 1158226.7221 | 2636380.3038 | 1158298.2 | 2636394.0343 | 1158329.522
75 | 2636245.2224 | 1157954.5121 | 2636254.643 | 1157966.8847 | 2636259.0909 | 1157972.7301
76 | 2635985.0311 | 1158393.5971 | 2635976.5619 | 1158376.0755
77 | 2635985.0311 | 1158393.5971 | 2635985.8186 | 1158395.4485
78 | 2635985.0311 | 1158393.5971 | 2636054.4604 | 1158380.9835 | 2636121.4012 | 1158366.4189
79 | 2636123.2295 | 1158366.0211 | 2636121.4012 | 1158366.4189
80 | 2636017.9305 | 1157372.3844 | 2636034.5048 | 1157368.5934
81 | 2636041.0063 | 1157339.4945 | 2636050.5428 | 1157362.9563
82 | 2636041.0063 | 1157339.4945 | 2636066.9971 | 1157329.9874
83 | 2636041.0063 | 1157339.4945 | 2636026.8796 | 1157308.0496 | 2636021.7421 | 1157296.6638
84 | 2636067.4397 | 1157329.8255 | 2636066.9971 | 1157329.9874
85 | 2636021.7421 | 1157296.6638 | 2636006.1518 | 1157262.113
86 | 2636006.1518 | 1157262.113 | 2635989.9354 | 1157226.1745

## bus_geodata
| x | y | coords
0 | 2637108.1577 | 1157641.315
1 | 2637196.8603 | 1157467.069
2 | 2636305.8271 | 1157998.8024
3 | 2636296.4732 | 1158002.1878
4 | 2636231.8306 | 1157761.1981
5 | 2636231.1582 | 1157761.2888
6 | 2636221.4107 | 1157762.6029
7 | 2636177.8214 | 1157769.6335
8 | 2636176.5953 | 1157764.5608
9 | 2636194.5018 | 1157837.6569
10 | 2636176.4955 | 1157764.1479
11 | 2636229.0551 | 1157933.2692
12 | 2635899.7013 | 1157478.2357
13 | 2635839.725 | 1157300.5329
14 | 2635897.6006 | 1157591.1111
15 | 2635836.1811 | 1157283.4598
16 | 2635983.4879 | 1157572.814
17 | 2635894.2259 | 1157630.4112
18 | 2635976.732 | 1157550.0607
19 | 2636059.4382 | 1157553.4026
20 | 2635879.2706 | 1157746.1765
21 | 2636062.5481 | 1157552.6097
22 | 2636052.0174 | 1157536.5292
23 | 2636091.8802 | 1157539.7856
24 | 2635877.537 | 1157754.0307
25 | 2636092.6923 | 1157478.3746
26 | 2636111.2847 | 1157531.3018
27 | 2636089.6946 | 1157469.8412
28 | 2636116.9032 | 1157546.984
29 | 2636077.8199 | 1157437.5647
30 | 2636113.0259 | 1157466.2214
31 | 2636122.3349 | 1157562.3172
32 | 2636075.8578 | 1157432.3281
33 | 2636140.5354 | 1157415.569
34 | 2636131.0056 | 1157463.3521
35 | 2636129.0263 | 1157581.5724
36 | 2636056.8255 | 1157436.5719
37 | 2636051.275 | 1157364.7577
38 | 2636150.6502 | 1157412.0215
39 | 2636129.5959 | 1157583.2114
40 | 2636136.024 | 1157602.1295
41 | 2636142.2816 | 1157622.1784
42 | 2636142.5515 | 1157623.203
43 | 2636166.888 | 1157617.1725
44 | 2636147.3417 | 1157642.4148
45 | 2636170.1433 | 1157620.7899
46 | 2636180.8354 | 1157645.7286
47 | 2636182.2983 | 1157650.5723
48 | 2636199.2184 | 1157654.887
49 | 2636151.057 | 1157658.1968
50 | 2636151.9759 | 1157662.1002
51 | 2636160.6219 | 1157698.4715
52 | 2636160.7513 | 1157699.0068
53 | 2636162.4908 | 1157706.2039
54 | 2636162.4912 | 1157706.2055
55 | 2636165.0666 | 1157716.8609
56 | 2635874.4557 | 1157780.844
57 | 2635872.5129 | 1157828.8518
58 | 2635873.831 | 1157871.7648
59 | 2635880.6958 | 1158009.5935
60 | 2635877.6233 | 1158058.8733
61 | 2635878.0427 | 1158075.3136
62 | 2635896.8501 | 1158178.9094
63 | 2635190.9597 | 1158117.3774
64 | 2635962.4838 | 1158346.9501
65 | 2635962.9764 | 1158347.9692
66 | 2635971.9977 | 1158366.6329
67 | 2636318.3975 | 1158062.2172
68 | 2636334.6156 | 1158135.2967
69 | 2636268.8059 | 1157985.4905
70 | 2636346.4372 | 1158159.2002
71 | 2636259.0909 | 1157972.7301
72 | 2636394.0343 | 1158329.522
73 | 2636245.2224 | 1157954.5121
74 | 2635976.5619 | 1158376.0755
75 | 2635985.0311 | 1158393.5971
76 | 2635985.8186 | 1158395.4485
77 | 2636121.4012 | 1158366.4189
78 | 2636123.2295 | 1158366.0211
79 | 2636034.5048 | 1157368.5934
80 | 2636050.5428 | 1157362.9563
81 | 2636041.0063 | 1157339.4945
82 | 2636066.9971 | 1157329.9874
83 | 2636021.7421 | 1157296.6638
84 | 2636017.9305 | 1157372.3844
85 | 2636067.4397 | 1157329.8255
86 | 2636006.1518 | 1157262.113
87 | 2635989.9354 | 1157226.1745
88 | 2636136.024 | 1157602.1295

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1