## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5841-21_1_3_node_18 | 0.4 | n |  | TRUE
1 | bus_LV_5841-21_1_3_node_19 | 0.4 | n |  | TRUE
2 | bus_LV_5841-21_1_3_node_128 | 0.4 | n |  | TRUE
3 | bus_LV_5841-21_1_3_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_5841-21_1_3_node_113 | 0.4 | n |  | TRUE
5 | bus_LV_5841-21_1_3_node_115 | 0.4 | n |  | TRUE
6 | bus_LV_5841-21_1_3_node_111 | 0.4 | n |  | TRUE
7 | bus_LV_5841-21_1_3_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_5841-21_1_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_5841-21_1_3_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_5841-21_1_3_node_50 | 0.4 | n |  | TRUE
11 | bus_LV_5841-21_1_3_node_107 | 0.4 | n |  | TRUE
12 | bus_LV_5841-21_1_3_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_5841-21_1_3_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_5841-21_1_3_node_108 | 0.4 | n |  | TRUE
15 | bus_LV_5841-21_1_3_node_109 | 0.4 | n |  | TRUE
16 | bus_LV_5841-21_1_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_5841-21_1_3_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_5841-21_1_3_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_5841-21_1_3_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_5841-21_1_3_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_5841-21_1_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_5841-21_1_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_5841-21_1_3_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_5841-21_1_3_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_5841-21_1_3_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_5841-21_1_3_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_5841-21_1_3_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_5841-21_1_3_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_5841-21_1_3_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_5841-21_1_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_5841-21_1_3_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_5841-21_1_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_5841-21_1_3_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_5841-21_1_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_5841-21_1_3_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_5841-21_1_3_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_5841-21_1_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_5841-21_1_3_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_5841-21_1_3_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_5841-21_1_3_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_5841-21_1_3_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_5841-21_1_3_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_5841-21_1_3_node_80 | 0.4 | n |  | TRUE
44 | bus_LV_5841-21_1_3_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_5841-21_1_3_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_5841-21_1_3_node_77 | 0.4 | n |  | TRUE
47 | bus_LV_5841-21_1_3_node_105 | 0.4 | n |  | TRUE
48 | bus_LV_5841-21_1_3_node_101 | 0.4 | n |  | TRUE
49 | bus_LV_5841-21_1_3_node_130 | 0.4 | n |  | TRUE
50 | bus_LV_5841-21_1_3_node_132 | 0.4 | n |  | TRUE
51 | bus_LV_5841-21_1_3_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_5841-21_1_3_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_5841-21_1_3_node_87 | 0.4 | n |  | TRUE
54 | bus_LV_5841-21_1_3_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_5841-21_1_3_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_5841-21_1_3_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_5841-21_1_3_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_5841-21_1_3_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_5841-21_1_3_node_93 | 0.4 | n |  | TRUE
60 | bus_LV_5841-21_1_3_node_94 | 0.4 | n |  | TRUE
61 | bus_LV_5841-21_1_3_node_95 | 0.4 | n |  | TRUE
62 | bus_LV_5841-21_1_3_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_5841-21_1_3_node_116 | 0.4 | n |  | TRUE
64 | bus_LV_5841-21_1_3_node_117 | 0.4 | n |  | TRUE
65 | bus_LV_5841-21_1_3_node_97 | 0.4 | n |  | TRUE
66 | bus_LV_5841-21_1_3_node_98 | 0.4 | n |  | TRUE
67 | bus_LV_5841-21_1_3_node_99 | 0.4 | n |  | TRUE
68 | bus_LV_5841-21_1_3_node_103 | 0.4 | n |  | TRUE
69 | bus_LV_5841-21_1_3_node_104 | 0.4 | n |  | TRUE
70 | bus_LV_5841-21_1_3_node_121 | 0.4 | n |  | TRUE
71 | bus_LV_5841-21_1_3_node_122 | 0.4 | n |  | TRUE
72 | bus_LV_5841-21_1_3_node_100 | 0.4 | n |  | TRUE
73 | bus_LV_5841-21_1_3_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_5841-21_1_3_node_106 | 0.4 | n |  | TRUE
75 | bus_LV_5841-21_1_3_node_123 | 0.4 | n |  | TRUE
76 | bus_LV_5841-21_1_3_node_120 | 0.4 | n |  | TRUE
77 | bus_LV_5841-21_1_3_node_110 | 0.4 | n |  | TRUE
78 | bus_LV_5841-21_1_3_node_118 | 0.4 | n |  | TRUE
79 | bus_LV_5841-21_1_3_node_119 | 0.4 | n |  | TRUE
80 | bus_LV_5841-21_1_3_node_125 | 0.4 | n |  | TRUE
81 | bus_LV_5841-21_1_3_node_127 | 0.4 | n |  | TRUE
82 | bus_LV_5841-21_1_3_node_124 | 0.4 | n |  | TRUE
83 | bus_LV_5841-21_1_3_node_126 | 0.4 | n |  | TRUE
84 | bus_LV_5841-21_1_3_node_135 | 0.4 | n |  | TRUE
85 | bus_MV_146_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5841-21_1_3_load_18 | 0 | 0.0013542 | 0.0003394 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5841-21_1_3_load_128 | 2 | 0.00045051 | 0.00011291 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5841-21_1_3_load_129 | 3 | 0.00029696 | 7.4424e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5841-21_1_3_load_113 | 4 | 0.00035633 | 8.9304e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5841-21_1_3_load_115 | 5 | 0.00084217 | 0.00021107 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5841-21_1_3_load_111 | 6 | 0.00028799 | 7.2176e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5841-21_1_3_load_47 | 7 | 0.0010734 | 0.00026902 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5841-21_1_3_load_48 | 8 | 0.00044523 | 0.00011158 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5841-21_1_3_load_49 | 9 | 0.0012249 | 0.00030699 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5841-21_1_3_load_50 | 10 | 0.0007948 | 0.0001992 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5841-21_1_3_load_107 | 11 | 0.0018337 | 0.00045957 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5841-21_1_3_load_78 | 12 | 0.0042311 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5841-21_1_3_load_73 | 13 | 0.001192 | 0.00029874 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5841-21_1_3_load_108 | 14 | 0.0011452 | 0.00028702 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5841-21_1_3_load_109 | 15 | 0.0039362 | 0.00098651 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5841-21_1_3_load_51 | 16 | 0.0024326 | 0.00060967 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5841-21_1_3_load_52 | 17 | 0.0060028 | 0.0015044 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5841-21_1_3_load_53 | 18 | 0.0017509 | 0.00043883 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5841-21_1_3_load_54 | 19 | 0.0015927 | 0.00039917 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5841-21_1_3_load_55 | 20 | 0.0014648 | 0.0003671 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5841-21_1_3_load_57 | 22 | 0.0017938 | 0.00044958 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5841-21_1_3_load_65 | 23 | 0.0021014 | 0.00052667 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5841-21_1_3_load_64 | 25 | 0.0025725 | 0.00064473 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5841-21_1_3_load_86 | 26 | 0.0031288 | 0.00078415 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5841-21_1_3_load_82 | 27 | 0.0013367 | 0.00033502 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5841-21_1_3_load_58 | 28 | 0.00096807 | 0.00024262 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5841-21_1_3_load_59 | 29 | 0.00085171 | 0.00021346 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5841-21_1_3_load_60 | 30 | 0.0015226 | 0.00038161 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5841-21_1_3_load_62 | 32 | 0.00155 | 0.00038847 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5841-21_1_3_load_63 | 33 | 0.0014837 | 0.00037186 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5841-21_1_3_load_66 | 34 | 0.0010639 | 0.00026664 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5841-21_1_3_load_69 | 35 | 0.0010584 | 0.00026526 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5841-21_1_3_load_67 | 36 | 0.00059917 | 0.00015017 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5841-21_1_3_load_68 | 37 | 0.0012911 | 0.00032358 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5841-21_1_3_load_72 | 40 | 0.0016103 | 0.00040359 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5841-21_1_3_load_74 | 41 | 0.001532 | 0.00038395 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5841-21_1_3_load_75 | 42 | 0.0010307 | 0.00025831 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5841-21_1_3_load_76 | 44 | 0.00045041 | 0.00011288 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5841-21_1_3_load_79 | 45 | 0.0049197 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5841-21_1_3_load_77 | 46 | 0.00056889 | 0.00014258 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5841-21_1_3_load_105 | 47 | 0.00057238 | 0.00014345 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5841-21_1_3_load_101 | 48 | 0.00032947 | 8.2574e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5841-21_1_3_load_130 | 49 | 0.0016489 | 0.00041325 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5841-21_1_3_load_132 | 50 | 0.0011775 | 0.0002951 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5841-21_1_3_load_83 | 51 | 0.0022509 | 0.00056412 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5841-21_1_3_load_85 | 52 | 0.020735 | 0.0051967 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5841-21_1_3_load_87 | 53 | 0.0021534 | 0.00053971 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5841-21_1_3_load_92 | 54 | 0.0010695 | 0.00026804 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5841-21_1_3_load_88 | 56 | 0.00091435 | 0.00022916 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5841-21_1_3_load_89 | 57 | 0.0014395 | 0.00036076 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5841-21_1_3_load_93 | 59 | 0.0022853 | 0.00057275 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5841-21_1_3_load_94 | 60 | 0.0024646 | 0.00061768 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5841-21_1_3_load_95 | 61 | 0.0014238 | 0.00035683 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5841-21_1_3_load_96 | 62 | 0.001449 | 0.00036315 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5841-21_1_3_load_116 | 63 | 0.001573 | 0.00039424 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5841-21_1_3_load_97 | 65 | 0.0013145 | 0.00032944 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5841-21_1_3_load_98 | 66 | 0.0010882 | 0.00027273 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5841-21_1_3_load_103 | 68 | 0.0035044 | 0.00087829 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5841-21_1_3_load_121 | 70 | 0.0021066 | 0.00052795 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5841-21_1_3_load_122 | 71 | 0.00079291 | 0.00019872 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5841-21_1_3_load_102 | 73 | 0.0037092 | 0.00092961 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5841-21_1_3_load_106 | 74 | 0.00082548 | 0.00020689 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5841-21_1_3_load_123 | 75 | 0.0011458 | 0.00028717 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5841-21_1_3_load_120 | 76 | 0.00033432 | 8.3789e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5841-21_1_3_load_110 | 77 | 0.00083704 | 0.00020978 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5841-21_1_3_load_118 | 78 | 0.00074038 | 0.00018556 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5841-21_1_3_load_119 | 79 | 0.013659 | 0.0034234 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5841-21_1_3_load_124 | 82 | 0.0010402 | 0.0002607 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5841-21_1_3_load_126 | 83 | 0.0021473 | 0.00053817 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5841-21_1_3_load_135 | 84 | 0.0015337 | 0.00038439 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5841-21_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5841-21_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.26984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5841-21_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.16155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5841-21_1_3_line_3 | NAYY 4x150 SE | 3 | 49 | 0.0095913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5841-21_1_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0017595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5841-21_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.15691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5841-21_1_3_line_6 | NAYY 4x150 SE | 5 | 48 | 0.22009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5841-21_1_3_line_7 | NAYY 4x150 SE | 6 | 77 | 0.030894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5841-21_1_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.016469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5841-21_1_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.083777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5841-21_1_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.013219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5841-21_1_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.29724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5841-21_1_3_line_12 | NAYY 4x150 SE | 11 | 14 | 0.024053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5841-21_1_3_line_13 | NAYY 4x150 SE | 11 | 15 | 0.032984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5841-21_1_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.03068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5841-21_1_3_line_15 | NAYY 4x150 SE | 13 | 39 | 0.029815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5841-21_1_3_line_16 | NAYY 4x150 SE | 14 | 22 | 0.060954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5841-21_1_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.026271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5841-21_1_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.025881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5841-21_1_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.052834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5841-21_1_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.018063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5841-21_1_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.029345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5841-21_1_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.027516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5841-21_1_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0043504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_5841-21_1_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.003494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_5841-21_1_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.06416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_5841-21_1_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.030033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5841-21_1_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.023713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_5841-21_1_3_line_28 | NAYY 4x150 SE | 25 | 33 | 0.0096291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_5841-21_1_3_line_29 | NAYY 4x150 SE | 26 | 53 | 0.023789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5841-21_1_3_line_30 | NAYY 4x150 SE | 27 | 51 | 0.0068724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5841-21_1_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.023878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5841-21_1_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.01609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5841-21_1_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.067483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5841-21_1_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0083638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5841-21_1_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.0012743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5841-21_1_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.045129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5841-21_1_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0079839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5841-21_1_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.01284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5841-21_1_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.026546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5841-21_1_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.023539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5841-21_1_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.049049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5841-21_1_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.065411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5841-21_1_3_line_43 | NAYY 4x150 SE | 39 | 41 | 0.077352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5841-21_1_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.033953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5841-21_1_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.10973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5841-21_1_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.03604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5841-21_1_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.016879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5841-21_1_3_line_48 | NAYY 4x150 SE | 44 | 46 | 0.069329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5841-21_1_3_line_49 | NAYY 4x150 SE | 45 | 50 | 0.24032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5841-21_1_3_line_50 | NAYY 4x150 SE | 46 | 47 | 0.039544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5841-21_1_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.055826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5841-21_1_3_line_52 | NAYY 4x150 SE | 48 | 72 | 0.11336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5841-21_1_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.19399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5841-21_1_3_line_54 | NAYY 4x150 SE | 51 | 52 | 0.01597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5841-21_1_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.080275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5841-21_1_3_line_56 | NAYY 4x150 SE | 54 | 55 | 0.023358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5841-21_1_3_line_57 | NAYY 4x150 SE | 55 | 59 | 0.070417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5841-21_1_3_line_58 | NAYY 4x150 SE | 55 | 56 | 0.0066493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5841-21_1_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.027201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5841-21_1_3_line_60 | NAYY 4x150 SE | 57 | 58 | 0.083863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5841-21_1_3_line_61 | NAYY 4x150 SE | 58 | 60 | 0.048882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5841-21_1_3_line_62 | NAYY 4x150 SE | 59 | 61 | 0.02244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5841-21_1_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.039202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5841-21_1_3_line_64 | NAYY 4x150 SE | 61 | 63 | 0.02199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5841-21_1_3_line_65 | NAYY 4x150 SE | 63 | 64 | 0.015742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5841-21_1_3_line_66 | NAYY 4x150 SE | 64 | 78 | 0.029575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5841-21_1_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.0062321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5841-21_1_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.12513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5841-21_1_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5841-21_1_3_line_70 | NAYY 4x150 SE | 67 | 69 | 0.022243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5841-21_1_3_line_71 | NAYY 4x150 SE | 68 | 70 | 0.060939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5841-21_1_3_line_72 | NAYY 4x150 SE | 69 | 71 | 0.010506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5841-21_1_3_line_73 | NAYY 4x150 SE | 70 | 76 | 0.021337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5841-21_1_3_line_74 | NAYY 4x150 SE | 72 | 73 | 0.046028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5841-21_1_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.049949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5841-21_1_3_line_76 | NAYY 4x150 SE | 74 | 75 | 0.00075877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5841-21_1_3_line_77 | NAYY 4x150 SE | 76 | 77 | 0.11228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5841-21_1_3_line_78 | NAYY 4x150 SE | 78 | 79 | 0.020494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5841-21_1_3_line_79 | NAYY 4x150 SE | 79 | 80 | 0.073353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5841-21_1_3_line_80 | NAYY 4x150 SE | 80 | 81 | 0.11522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5841-21_1_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.056339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5841-21_1_3_line_82 | NAYY 4x150 SE | 81 | 84 | 0.13353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5841-21_1_3_line_83 | NAYY 4x150 SE | 82 | 83 | 0.015077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5841-21_1_3_trafo_82 | 0.25 MVA 20/0.4 kV | 85 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2578471.1027 | 1148380.7024 | 2578479.0205 | 1148376.7498 | 2578483.138 | 1148370.8432 | 2578494.2201 | 1148367.0906 | 2578504.7799 | 1148359.0377 | 2578514.7909 | 1148354.2105 | 2578528.5611 | 1148339.8986 | 2578536.4336 | 1148327.5644 | 2578542.6935 | 1148310.9227 | 2578553.7828 | 1148294.1192
1 | 2578264.2814 | 1148207.3789 | 2578471.1027 | 1148380.7024
2 | 2578274.0041 | 1148046.1249 | 2578264.2814 | 1148207.3789
3 | 2578274.0041 | 1148046.1249 | 2578276.3299 | 1148041.6031 | 2578280.6744 | 1148040.4058
4 | 2577820.2902 | 1148041.3816 | 2577820.5791 | 1148043.1172
5 | 2577682.8034 | 1148108.2153 | 2577699.409 | 1148103.7046 | 2577724.7515 | 1148096.0067 | 2577758.1374 | 1148078.8856 | 2577789.4699 | 1148062.9617 | 2577807.9623 | 1148057.1349 | 2577817.5522 | 1148052.6862 | 2577821.1463 | 1148046.5254 | 2577820.5791 | 1148043.1172
6 | 2577855.3877 | 1147824.1112 | 2577820.2902 | 1148041.3816
7 | 2577682.8034 | 1148108.2153 | 2577661.5673 | 1148113.9837 | 2577652.9449 | 1148116.1407
8 | 2577875.9142 | 1147267.161 | 2577892.3527 | 1147268.1545
9 | 2577793.1426 | 1147258.328 | 2577804.3106 | 1147262.8334 | 2577875.9142 | 1147267.161
10 | 2577892.3527 | 1147268.1545 | 2577905.5474 | 1147268.9519 | 2577905.5474 | 1147268.9519
11 | 2577601.9341 | 1147485.8987 | 2577793.1426 | 1147258.328
12 | 2577618.9327 | 1147502.7133 | 2577611.9988 | 1147494.0172 | 2577601.9341 | 1147485.8987
13 | 2577576.2609 | 1147465.19 | 2577601.9341 | 1147485.8987
14 | 2578001.4453 | 1147551.2377 | 2577999.0928 | 1147554.7942 | 2577984.0965 | 1147576.5407
15 | 2577964.7129 | 1147599.1756 | 2577982.6537 | 1147578.6329 | 2577984.0965 | 1147576.5407
16 | 2577618.9327 | 1147502.7133 | 2577649.0728 | 1147540.5132 | 2577660.0628 | 1147546.6942
17 | 2577725.6308 | 1147572.4619 | 2577732.8653 | 1147573.6961 | 2577747.0643 | 1147581.8475 | 2577748.9282 | 1147583.602
18 | 2577700.1183 | 1147568.1096 | 2577725.6308 | 1147572.4619
19 | 2577772.2204 | 1147624.507 | 2577775.5325 | 1147619.1827 | 2577774.1678 | 1147607.3597 | 2577748.9282 | 1147583.602
20 | 2577684.0457 | 1147560.1827 | 2577697.2786 | 1147567.6252 | 2577700.1183 | 1147568.1096
21 | 2577764.9407 | 1147643.6007 | 2577758.6704 | 1147638.4102 | 2577759.7729 | 1147633.3592 | 2577768.9825 | 1147629.7122 | 2577772.2204 | 1147624.507
22 | 2577684.0457 | 1147560.1827 | 2577660.0628 | 1147546.6942
23 | 2577764.9407 | 1147643.6007 | 2577769.2565 | 1147644.1487
24 | 2577764.9407 | 1147643.6007 | 2577761.5432 | 1147642.7462
25 | 2577769.2565 | 1147644.1487 | 2577800.6671 | 1147648.1374 | 2577828.2767 | 1147665.2772
26 | 2577761.5432 | 1147642.7462 | 2577746.7695 | 1147639.0435 | 2577732.5887 | 1147634.7996
27 | 2577761.5432 | 1147642.7462 | 2577752.8171 | 1147656.6298 | 2577752.8442 | 1147663.9444
28 | 2577835.2371 | 1147659.0935 | 2577831.2906 | 1147664.1433 | 2577828.2767 | 1147665.2772 | 2577828.2767 | 1147665.2772
29 | 2577732.5887 | 1147634.7996 | 2577712.7577 | 1147628.8646 | 2577710.1081 | 1147627.2772
30 | 2577752.8442 | 1147663.9444 | 2577752.8442 | 1147663.9444 | 2577756.1333 | 1147669.9786
31 | 2577835.9014 | 1147587.1523 | 2577820.5357 | 1147594.6042 | 2577816.395 | 1147599.9986
32 | 2577850.3788 | 1147580.1313 | 2577835.9014 | 1147587.1523
33 | 2577836.0218 | 1147658.0895 | 2577813.3094 | 1147625.7907 | 2577810.5238 | 1147607.6476 | 2577816.395 | 1147599.9986
34 | 2577836.0218 | 1147658.0895 | 2577841.1734 | 1147651.5005
35 | 2577836.0218 | 1147658.0895 | 2577835.2371 | 1147659.0935
36 | 2577849.6547 | 1147612.8279 | 2577840.6859 | 1147617.2187 | 2577837.8726 | 1147622.7652 | 2577841.1734 | 1147651.5005
37 | 2577849.6547 | 1147612.8279 | 2577857.5802 | 1147611.8637
38 | 2577870.3267 | 1147610.3131 | 2577857.5802 | 1147611.8637
39 | 2577870.3267 | 1147610.3131 | 2577896.6784 | 1147607.1073
40 | 2577918.6803 | 1147615.4749 | 2577896.6784 | 1147607.1073 | 2577896.6784 | 1147607.1073
41 | 2577918.6803 | 1147615.4749 | 2577950.7265 | 1147606.9974 | 2577964.7129 | 1147599.1756
42 | 2577918.6803 | 1147615.4749 | 2577917.5414 | 1147639.8801 | 2577913.6024 | 1147652.5453 | 2577904.5246 | 1147662.8171 | 2577893.0581 | 1147670.8633
43 | 2577964.7129 | 1147599.1756 | 2577976.5949 | 1147595.4523 | 2577982.7083 | 1147595.5855 | 2577987.3927 | 1147599.7482 | 2577991.5572 | 1147610.8051 | 2577996.1105 | 1147616.9136 | 2578001.4414 | 1147619.3842 | 2578007.9504 | 1147618.4821 | 2578016.5366 | 1147614.4487 | 2578022.8181 | 1147605.2339
44 | 2577893.0581 | 1147670.8633 | 2577889.6302 | 1147678.4019 | 2577891.6897 | 1147687.1319 | 2577901.0941 | 1147700.9348
45 | 2578121.7756 | 1147618.344 | 2578114.0969 | 1147610.1568 | 2578097.8368 | 1147601.0449 | 2578088.3417 | 1147598.0559 | 2578062.3273 | 1147597.017 | 2578040.8607 | 1147594.283 | 2578032.4035 | 1147595.8481 | 2578026.291 | 1147600.1392 | 2578022.8181 | 1147605.2339
46 | 2577901.0941 | 1147700.9348 | 2577918.0573 | 1147725.8318 | 2577922.0629 | 1147730.1816
47 | 2578121.7756 | 1147618.344 | 2578127.5112 | 1147634.2187
48 | 2577940.4812 | 1147786.4349 | 2577940.4812 | 1147786.4349 | 2577948.5323 | 1147776.8561 | 2577949.7336 | 1147765.2126 | 2577945.9604 | 1147756.1331 | 2577922.0629 | 1147730.1816
49 | 2578127.5112 | 1147634.2187 | 2578218.4198 | 1147856.6785
50 | 2577940.4812 | 1147786.4349 | 2577920.2842 | 1147794.6576 | 2577902.8171 | 1147797.7402
51 | 2577902.8171 | 1147797.7402 | 2577885.3508 | 1147800.8226 | 2577875.4199 | 1147806.6398 | 2577855.3877 | 1147824.1112 | 2577855.3877 | 1147824.1112
52 | 2577748.2837 | 1147827.8535 | 2577776.1131 | 1147815.3776 | 2577785.3616 | 1147811.9528 | 2577795.1175 | 1147812.806 | 2577831.0763 | 1147826.5021 | 2577843.7419 | 1147827.189 | 2577855.3877 | 1147824.1112
53 | 2578280.6744 | 1148040.4058 | 2578218.4198 | 1147856.6785
54 | 2577758.6292 | 1147685.3225 | 2577758.5891 | 1147674.4839 | 2577756.1333 | 1147669.9786
55 | 2577637.426 | 1147594.3242 | 2577648.9018 | 1147597.7199 | 2577677.8688 | 1147607.9617 | 2577710.1081 | 1147627.2772
56 | 2577615.0284 | 1147587.6967 | 2577637.426 | 1147594.3242
57 | 2577615.0284 | 1147587.6967 | 2577604.9728 | 1147597.1833 | 2577574.0924 | 1147603.0793 | 2577548.9718 | 1147604.3863
58 | 2577615.0284 | 1147587.6967 | 2577608.8857 | 1147585.1509
59 | 2577608.8857 | 1147585.1509 | 2577583.757 | 1147574.7365
60 | 2577512.0588 | 1147531.8094 | 2577529.469 | 1147544.2281 | 2577557.8002 | 1147563.0204 | 2577581.0013 | 1147573.5945 | 2577583.757 | 1147574.7365
61 | 2577512.0588 | 1147531.8094 | 2577559.0539 | 1147518.3602
62 | 2577526.5623 | 1147605.5522 | 2577548.9718 | 1147604.3863
63 | 2577587.972 | 1147513.4867 | 2577587.0074 | 1147507.9618 | 2577576.6643 | 1147504.2097 | 2577559.0539 | 1147518.3602
64 | 2577504.602 | 1147606.6947 | 2577526.5623 | 1147605.5522
65 | 2577489.519 | 1147609.5768 | 2577493.281 | 1147607.2837 | 2577504.602 | 1147606.6947
66 | 2577489.519 | 1147609.5768 | 2577479.021 | 1147637.2257
67 | 2577493.4146 | 1147967.8016 | 2577490.5935 | 1147973.3586
68 | 2577439.7983 | 1148056.0287 | 2577435.3909 | 1148056.112 | 2577428.0266 | 1148052.0043 | 2577423.0626 | 1148042.9296 | 2577425.1139 | 1148032.9947 | 2577443.6063 | 1148008.8577 | 2577452.1696 | 1148003.0338 | 2577473.0564 | 1147994.818 | 2577482.9911 | 1147988.133 | 2577487.6112 | 1147979.2335 | 2577490.5935 | 1147973.3586
69 | 2577439.7983 | 1148056.0287 | 2577444.2901 | 1148055.934 | 2577451.3099 | 1148052.1724 | 2577463.1269 | 1148037.6209 | 2577472.2015 | 1148032.9956 | 2577487.9504 | 1148030.7688 | 2577512.0919 | 1148028.3771 | 2577513.6402 | 1148027.8147
70 | 2577439.7983 | 1148056.0287 | 2577443.4691 | 1148068.3655 | 2577448.9574 | 1148075.9708
71 | 2577513.6402 | 1148027.8147 | 2577548.3949 | 1148015.1903 | 2577562.2606 | 1148014.5048 | 2577572.1066 | 1148016.6637
72 | 2577448.9574 | 1148075.9708 | 2577458.6521 | 1148080.0181
73 | 2577592.9488 | 1148021.2336 | 2577572.1066 | 1148016.6637
74 | 2577748.2837 | 1147827.8535 | 2577722.4775 | 1147830.9396 | 2577702.4565 | 1147830.1222
75 | 2577702.4565 | 1147830.1222 | 2577661.5872 | 1147828.4535 | 2577653.6009 | 1147832.7007
76 | 2577652.9309 | 1147833.057 | 2577653.6009 | 1147832.7007
77 | 2577592.9488 | 1148021.2336 | 2577652.9449 | 1148116.1407
78 | 2577471.7465 | 1147656.385 | 2577479.021 | 1147637.2257
79 | 2577450.5506 | 1147725.4358 | 2577454.1876 | 1147720.5198 | 2577460.1035 | 1147706.9575 | 2577462.1476 | 1147699.1348 | 2577463.2574 | 1147692.0272 | 2577462.9846 | 1147682.7681 | 2577464.5971 | 1147674.5468 | 2577467.1166 | 1147668.5789 | 2577471.7465 | 1147656.385
80 | 2577347.093 | 1147767.8907 | 2577358.4435 | 1147761.9005 | 2577423.3637 | 1147747.3711 | 2577433.0734 | 1147744.0996 | 2577440.136 | 1147739.3485 | 2577444.3005 | 1147733.8413 | 2577445.9434 | 1147731.6673 | 2577450.5506 | 1147725.4358
81 | 2577450.5506 | 1147725.4358 | 2577461.2657 | 1147730.1535 | 2577471.1559 | 1147731.9728 | 2577490.9269 | 1147731.076 | 2577503.896 | 1147728.6596 | 2577505.4084 | 1147728.1635
82 | 2577347.093 | 1147767.8907 | 2577334.256 | 1147900.8049
83 | 2577519.7345 | 1147723.4643 | 2577505.4084 | 1147728.1635

## bus_geodata
| x | y | coords
0 | 2578553.7828 | 1148294.1192
1 | 2578471.1027 | 1148380.7024
2 | 2578264.2814 | 1148207.3789
3 | 2578274.0041 | 1148046.1249
4 | 2577820.5791 | 1148043.1172
5 | 2577820.2902 | 1148041.3816
6 | 2577682.8034 | 1148108.2153
7 | 2577875.9142 | 1147267.161
8 | 2577892.3527 | 1147268.1545
9 | 2577793.1426 | 1147258.328
10 | 2577905.5474 | 1147268.9519
11 | 2577601.9341 | 1147485.8987
12 | 2578001.4453 | 1147551.2377
13 | 2577984.0965 | 1147576.5407
14 | 2577618.9327 | 1147502.7133
15 | 2577576.2609 | 1147465.19
16 | 2577725.6308 | 1147572.4619
17 | 2577748.9282 | 1147583.602
18 | 2577700.1183 | 1147568.1096
19 | 2577772.2204 | 1147624.507
20 | 2577684.0457 | 1147560.1827
21 | 2577764.9407 | 1147643.6007
22 | 2577660.0628 | 1147546.6942
23 | 2577769.2565 | 1147644.1487
24 | 2577761.5432 | 1147642.7462
25 | 2577828.2767 | 1147665.2772
26 | 2577732.5887 | 1147634.7996
27 | 2577752.8442 | 1147663.9444
28 | 2577835.9014 | 1147587.1523
29 | 2577816.395 | 1147599.9986
30 | 2577850.3788 | 1147580.1313
31 | 2577836.0218 | 1147658.0895
32 | 2577841.1734 | 1147651.5005
33 | 2577835.2371 | 1147659.0935
34 | 2577849.6547 | 1147612.8279
35 | 2577857.5802 | 1147611.8637
36 | 2577870.3267 | 1147610.3131
37 | 2577896.6784 | 1147607.1073
38 | 2577918.6803 | 1147615.4749
39 | 2577964.7129 | 1147599.1756
40 | 2577893.0581 | 1147670.8633
41 | 2578022.8181 | 1147605.2339
42 | 2577901.0941 | 1147700.9348
43 | 2578121.7756 | 1147618.344
44 | 2577922.0629 | 1147730.1816
45 | 2578127.5112 | 1147634.2187
46 | 2577940.4812 | 1147786.4349
47 | 2577902.8171 | 1147797.7402
48 | 2577855.3877 | 1147824.1112
49 | 2578280.6744 | 1148040.4058
50 | 2578218.4198 | 1147856.6785
51 | 2577756.1333 | 1147669.9786
52 | 2577758.6292 | 1147685.3225
53 | 2577710.1081 | 1147627.2772
54 | 2577637.426 | 1147594.3242
55 | 2577615.0284 | 1147587.6967
56 | 2577608.8857 | 1147585.1509
57 | 2577583.757 | 1147574.7365
58 | 2577512.0588 | 1147531.8094
59 | 2577548.9718 | 1147604.3863
60 | 2577559.0539 | 1147518.3602
61 | 2577526.5623 | 1147605.5522
62 | 2577587.972 | 1147513.4867
63 | 2577504.602 | 1147606.6947
64 | 2577489.519 | 1147609.5768
65 | 2577493.4146 | 1147967.8016
66 | 2577490.5935 | 1147973.3586
67 | 2577439.7983 | 1148056.0287
68 | 2577513.6402 | 1148027.8147
69 | 2577448.9574 | 1148075.9708
70 | 2577572.1066 | 1148016.6637
71 | 2577458.6521 | 1148080.0181
72 | 2577748.2837 | 1147827.8535
73 | 2577702.4565 | 1147830.1222
74 | 2577653.6009 | 1147832.7007
75 | 2577652.9309 | 1147833.057
76 | 2577592.9488 | 1148021.2336
77 | 2577652.9449 | 1148116.1407
78 | 2577479.021 | 1147637.2257
79 | 2577471.7465 | 1147656.385
80 | 2577450.5506 | 1147725.4358
81 | 2577347.093 | 1147767.8907
82 | 2577505.4084 | 1147728.1635
83 | 2577519.7345 | 1147723.4643
84 | 2577334.256 | 1147900.8049
85 | 2577758.6292 | 1147685.3225

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1