## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5841-22_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5841-22_0_2_node_192 | 0.4 | n |  | TRUE
2 | bus_LV_5841-22_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_5841-22_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5841-22_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5841-22_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_5841-22_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5841-22_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5841-22_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5841-22_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5841-22_0_2_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_5841-22_0_2_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_5841-22_0_2_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_5841-22_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5841-22_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5841-22_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5841-22_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5841-22_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5841-22_0_2_node_195 | 0.4 | n |  | TRUE
19 | bus_LV_5841-22_0_2_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_5841-22_0_2_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_5841-22_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5841-22_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5841-22_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_5841-22_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_5841-22_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5841-22_0_2_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_5841-22_0_2_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_5841-22_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5841-22_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_5841-22_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_5841-22_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5841-22_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_5841-22_0_2_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_5841-22_0_2_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_5841-22_0_2_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_5841-22_0_2_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5841-22_0_2_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5841-22_0_2_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_5841-22_0_2_node_203 | 0.4 | n |  | TRUE
40 | bus_LV_5841-22_0_2_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_5841-22_0_2_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5841-22_0_2_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5841-22_0_2_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5841-22_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5841-22_0_2_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_5841-22_0_2_node_68 | 0.4 | n |  | TRUE
47 | bus_LV_5841-22_0_2_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5841-22_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_5841-22_0_2_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_5841-22_0_2_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5841-22_0_2_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5841-22_0_2_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_5841-22_0_2_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5841-22_0_2_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_5841-22_0_2_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_5841-22_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5841-22_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5841-22_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5841-22_0_2_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5841-22_0_2_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5841-22_0_2_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5841-22_0_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_5841-22_0_2_node_204 | 0.4 | n |  | TRUE
64 | bus_LV_5841-22_0_2_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_5841-22_0_2_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_5841-22_0_2_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5841-22_0_2_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5841-22_0_2_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5841-22_0_2_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_5841-22_0_2_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5841-22_0_2_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_5841-22_0_2_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_5841-22_0_2_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_5841-22_0_2_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_5841-22_0_2_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_5841-22_0_2_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_5841-22_0_2_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_5841-22_0_2_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_5841-22_0_2_node_196 | 0.4 | n |  | TRUE
80 | bus_LV_5841-22_0_2_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_5841-22_0_2_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_5841-22_0_2_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_5841-22_0_2_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_5841-22_0_2_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_5841-22_0_2_node_189 | 0.4 | n |  | TRUE
86 | bus_LV_5841-22_0_2_node_190 | 0.4 | n |  | TRUE
87 | bus_LV_5841-22_0_2_node_191 | 0.4 | n |  | TRUE
88 | bus_LV_5841-22_0_2_node_193 | 0.4 | n |  | TRUE
89 | bus_LV_5841-22_0_2_node_194 | 0.4 | n |  | TRUE
90 | bus_LV_5841-22_0_2_node_202 | 0.4 | n |  | TRUE
91 | bus_MV_0_node_17 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5841-22_0_2_load_0 | 0 | 0.0004154 | 0.00010411 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5841-22_0_2_load_192 | 1 | 0.00034532 | 8.6545e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5841-22_0_2_load_1 | 2 | 0.00050343 | 0.00012617 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5841-22_0_2_load_2 | 3 | 0.00016051 | 4.0227e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5841-22_0_2_load_3 | 4 | 0.0015882 | 0.00039805 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5841-22_0_2_load_4 | 5 | 0.0021217 | 0.00053175 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5841-22_0_2_load_6 | 7 | 0.0020527 | 0.00051446 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5841-22_0_2_load_8 | 9 | 0.012158 | 0.003047 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5841-22_0_2_load_33 | 10 | 0.00024659 | 6.1801e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5841-22_0_2_load_55 | 11 | 0.0076312 | 0.0019126 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5841-22_0_2_load_51 | 12 | 0.00042615 | 0.0001068 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5841-22_0_2_load_9 | 13 | 0.00010878 | 2.7262e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5841-22_0_2_load_10 | 14 | 0.00042466 | 0.00010643 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5841-22_0_2_load_12 | 16 | 0.00082814 | 0.00020755 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5841-22_0_2_load_13 | 17 | 0.00034391 | 8.6191e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5841-22_0_2_load_195 | 18 | 0.00014786 | 3.7056e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5841-22_0_2_load_49 | 20 | 0.00026751 | 6.7044e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5841-22_0_2_load_14 | 21 | 0.00043107 | 0.00010804 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5841-22_0_2_load_15 | 22 | 9.7557e-05 | 2.445e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5841-22_0_2_load_16 | 23 | 7.4687e-05 | 1.8718e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5841-22_0_2_load_17 | 24 | 0.00095401 | 0.0002391 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5841-22_0_2_load_18 | 25 | 0.0001475 | 3.6968e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5841-22_0_2_load_35 | 27 | 0.00024924 | 6.2466e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5841-22_0_2_load_19 | 28 | 0.00025039 | 6.2753e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5841-22_0_2_load_20 | 29 | 0.0004793 | 0.00012012 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5841-22_0_2_load_21 | 30 | 0.00020012 | 5.0155e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5841-22_0_2_load_22 | 31 | 0.00040301 | 0.000101 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5841-22_0_2_load_71 | 33 | 0.00032425 | 8.1264e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5841-22_0_2_load_64 | 35 | 0.00011717 | 2.9365e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5841-22_0_2_load_24 | 36 | 0.00013843 | 3.4693e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5841-22_0_2_load_25 | 37 | 0.00018274 | 4.5798e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5841-22_0_2_load_203 | 39 | 0.0001841 | 4.614e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5841-22_0_2_load_26 | 40 | 9.2613e-05 | 2.3211e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5841-22_0_2_load_27 | 41 | 9.5812e-05 | 2.4013e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5841-22_0_2_load_28 | 42 | 0.00015536 | 3.8936e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5841-22_0_2_load_29 | 43 | 0.00019894 | 4.9859e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5841-22_0_2_load_30 | 44 | 0.0002659 | 6.664e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5841-22_0_2_load_68 | 46 | 0.00021518 | 5.3929e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5841-22_0_2_load_32 | 47 | 0.0001894 | 4.7469e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5841-22_0_2_load_34 | 48 | 0.00023635 | 5.9234e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5841-22_0_2_load_36 | 49 | 0.00031541 | 7.9048e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5841-22_0_2_load_37 | 50 | 6.6787e-05 | 1.6738e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5841-22_0_2_load_38 | 51 | 0.00033383 | 8.3665e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5841-22_0_2_load_39 | 52 | 0.00020149 | 5.0498e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5841-22_0_2_load_41 | 53 | 0.00020087 | 5.0342e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5841-22_0_2_load_73 | 54 | 0.00055729 | 0.00013967 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5841-22_0_2_load_65 | 55 | 0.00031083 | 7.7901e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5841-22_0_2_load_43 | 56 | 6.2588e-05 | 1.5686e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5841-22_0_2_load_44 | 57 | 0.00030023 | 7.5244e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5841-22_0_2_load_47 | 59 | 0.00018879 | 4.7315e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5841-22_0_2_load_46 | 61 | 0.00037125 | 9.3044e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5841-22_0_2_load_70 | 62 | 6.2224e-05 | 1.5595e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5841-22_0_2_load_204 | 63 | 0.00040161 | 0.00010065 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5841-22_0_2_load_52 | 64 | 7.3847e-05 | 1.8508e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5841-22_0_2_load_66 | 65 | 0.00023056 | 5.7783e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5841-22_0_2_load_54 | 66 | 0.0079578 | 0.0019944 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5841-22_0_2_load_56 | 67 | 0.00040547 | 0.00010162 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5841-22_0_2_load_57 | 68 | 0.0022418 | 0.00056184 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5841-22_0_2_load_59 | 70 | 0.00015555 | 3.8985e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5841-22_0_2_load_60 | 71 | 0.00011134 | 2.7905e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5841-22_0_2_load_72 | 73 | 0.00012213 | 3.0609e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5841-22_0_2_load_61 | 74 | 8.739e-05 | 2.1902e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5841-22_0_2_load_62 | 75 | 0.00018588 | 4.6586e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5841-22_0_2_load_67 | 76 | 8.2607e-05 | 2.0703e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5841-22_0_2_load_69 | 77 | 0.00012865 | 3.2242e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5841-22_0_2_load_78 | 78 | 0.00042508 | 0.00010653 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5841-22_0_2_load_196 | 79 | 0.00039901 | 0.0001 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5841-22_0_2_load_74 | 80 | 0.00014223 | 3.5647e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5841-22_0_2_load_75 | 81 | 0.0037682 | 0.0009444 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5841-22_0_2_load_76 | 82 | 0.00030435 | 7.6278e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5841-22_0_2_load_77 | 83 | 0.002094 | 0.0005248 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5841-22_0_2_load_79 | 84 | 0.0001078 | 2.7016e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5841-22_0_2_load_189 | 85 | 0.00013875 | 3.4775e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5841-22_0_2_load_190 | 86 | 0.00022132 | 5.5468e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5841-22_0_2_load_191 | 87 | 0.00043698 | 0.00010952 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5841-22_0_2_load_194 | 89 | 0.00057689 | 0.00014458 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5841-22_0_2_load_202 | 90 | 0.00024991 | 6.2634e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5841-22_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.27594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5841-22_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.31778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5841-22_0_2_line_2 | NAYY 4x150 SE | 1 | 88 | 0.35871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5841-22_0_2_line_3 | NAYY 4x150 SE | 1 | 87 | 0.15147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5841-22_0_2_line_4 | NAYY 4x150 SE | 2 | 3 | 0.17562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5841-22_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.02668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5841-22_0_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.021797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5841-22_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.024151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5841-22_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.006529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5841-22_0_2_line_9 | NAYY 4x150 SE | 6 | 9 | 0.020167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5841-22_0_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.0014535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5841-22_0_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.049576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5841-22_0_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.018023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5841-22_0_2_line_13 | NAYY 4x150 SE | 10 | 47 | 0.026064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5841-22_0_2_line_14 | NAYY 4x150 SE | 11 | 66 | 0.026458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5841-22_0_2_line_15 | NAYY 4x150 SE | 12 | 26 | 0.021754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5841-22_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.014172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5841-22_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.013853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5841-22_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.044008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5841-22_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.029932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5841-22_0_2_line_20 | NAYY 4x150 SE | 15 | 18 | 0.20918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5841-22_0_2_line_21 | NAYY 4x150 SE | 16 | 19 | 0.04117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5841-22_0_2_line_22 | NAYY 4x150 SE | 17 | 20 | 0.064961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5841-22_0_2_line_23 | NAYY 4x150 SE | 18 | 90 | 0.23461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5841-22_0_2_line_24 | NAYY 4x150 SE | 19 | 55 | 0.023327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5841-22_0_2_line_25 | NAYY 4x150 SE | 19 | 50 | 0.0013593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5841-22_0_2_line_26 | NAYY 4x150 SE | 21 | 22 | 0.018858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5841-22_0_2_line_27 | NAYY 4x150 SE | 21 | 23 | 0.022474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5841-22_0_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.019334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5841-22_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.00126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5841-22_0_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.051448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5841-22_0_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.014179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5841-22_0_2_line_32 | NAYY 4x150 SE | 26 | 34 | 0.088583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5841-22_0_2_line_33 | NAYY 4x150 SE | 27 | 49 | 0.015271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5841-22_0_2_line_34 | NAYY 4x150 SE | 28 | 29 | 0.044324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5841-22_0_2_line_35 | NAYY 4x150 SE | 28 | 30 | 0.013231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5841-22_0_2_line_36 | NAYY 4x150 SE | 29 | 31 | 0.0081593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5841-22_0_2_line_37 | NAYY 4x150 SE | 30 | 32 | 0.011313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5841-22_0_2_line_38 | NAYY 4x150 SE | 31 | 33 | 0.062793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5841-22_0_2_line_39 | NAYY 4x150 SE | 32 | 34 | 0.008721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5841-22_0_2_line_40 | NAYY 4x150 SE | 32 | 35 | 0.055221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5841-22_0_2_line_41 | NAYY 4x150 SE | 34 | 63 | 0.06769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5841-22_0_2_line_42 | NAYY 4x150 SE | 35 | 75 | 0.037232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5841-22_0_2_line_43 | NAYY 4x150 SE | 36 | 37 | 0.01854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5841-22_0_2_line_44 | NAYY 4x150 SE | 36 | 38 | 0.20448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5841-22_0_2_line_45 | NAYY 4x150 SE | 37 | 39 | 0.19439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5841-22_0_2_line_46 | NAYY 4x150 SE | 38 | 53 | 0.11818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5841-22_0_2_line_47 | NAYY 4x150 SE | 38 | 51 | 0.040591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5841-22_0_2_line_48 | NAYY 4x150 SE | 39 | 90 | 0.11726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5841-22_0_2_line_49 | NAYY 4x150 SE | 40 | 41 | 0.016933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5841-22_0_2_line_50 | NAYY 4x150 SE | 40 | 42 | 0.016153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5841-22_0_2_line_51 | NAYY 4x150 SE | 41 | 43 | 0.016455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5841-22_0_2_line_52 | NAYY 4x150 SE | 42 | 44 | 0.013626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5841-22_0_2_line_53 | NAYY 4x150 SE | 43 | 45 | 0.032968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5841-22_0_2_line_54 | NAYY 4x150 SE | 44 | 46 | 0.024389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5841-22_0_2_line_55 | NAYY 4x150 SE | 45 | 65 | 0.048023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5841-22_0_2_line_56 | NAYY 4x150 SE | 45 | 55 | 0.03723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5841-22_0_2_line_57 | NAYY 4x150 SE | 45 | 64 | 0.14943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5841-22_0_2_line_58 | NAYY 4x150 SE | 46 | 76 | 0.00441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5841-22_0_2_line_59 | NAYY 4x150 SE | 47 | 48 | 0.014366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5841-22_0_2_line_60 | NAYY 4x150 SE | 49 | 50 | 0.061939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5841-22_0_2_line_61 | NAYY 4x150 SE | 51 | 52 | 0.11065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5841-22_0_2_line_62 | NAYY 4x150 SE | 53 | 54 | 0.012807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5841-22_0_2_line_63 | NAYY 4x150 SE | 54 | 77 | 0.25278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5841-22_0_2_line_64 | NAYY 4x150 SE | 56 | 57 | 0.015009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5841-22_0_2_line_65 | NAYY 4x150 SE | 57 | 58 | 0.062929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5841-22_0_2_line_66 | NAYY 4x150 SE | 58 | 59 | 0.014494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5841-22_0_2_line_67 | NAYY 4x150 SE | 58 | 60 | 0.010087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5841-22_0_2_line_68 | NAYY 4x150 SE | 59 | 61 | 0.058742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5841-22_0_2_line_69 | NAYY 4x150 SE | 60 | 62 | 0.022991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5841-22_0_2_line_70 | NAYY 4x150 SE | 62 | 65 | 0.042677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5841-22_0_2_line_71 | NAYY 4x150 SE | 66 | 67 | 0.025004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5841-22_0_2_line_72 | NAYY 4x150 SE | 68 | 69 | 0.069258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5841-22_0_2_line_73 | NAYY 4x150 SE | 69 | 70 | 0.035155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5841-22_0_2_line_74 | NAYY 4x150 SE | 69 | 71 | 0.0058879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5841-22_0_2_line_75 | NAYY 4x150 SE | 70 | 72 | 0.036318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5841-22_0_2_line_76 | NAYY 4x150 SE | 71 | 73 | 0.13869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5841-22_0_2_line_77 | NAYY 4x150 SE | 72 | 74 | 0.037297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5841-22_0_2_line_78 | NAYY 4x150 SE | 73 | 79 | 0.34295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5841-22_0_2_line_79 | NAYY 4x150 SE | 74 | 75 | 0.11226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5841-22_0_2_line_80 | NAYY 4x150 SE | 77 | 78 | 0.11776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5841-22_0_2_line_81 | NAYY 4x150 SE | 78 | 84 | 0.1423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5841-22_0_2_line_82 | NAYY 4x150 SE | 78 | 82 | 0.12198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5841-22_0_2_line_83 | NAYY 4x150 SE | 79 | 89 | 0.012772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5841-22_0_2_line_84 | NAYY 4x150 SE | 80 | 81 | 0.033379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5841-22_0_2_line_85 | NAYY 4x150 SE | 80 | 82 | 0.14266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5841-22_0_2_line_86 | NAYY 4x150 SE | 81 | 83 | 0.047999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5841-22_0_2_line_87 | NAYY 4x150 SE | 85 | 86 | 0.16644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5841-22_0_2_line_88 | NAYY 4x150 SE | 86 | 87 | 0.020861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5841-22_0_2_line_89 | NAYY 4x150 SE | 88 | 89 | 0.11312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5841-22_0_2_trafo_17 | 0.25 MVA 20/0.4 kV | 91 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2578645.6419 | 1146224.7783 | 2578731.9832 | 1145962.699
1 | 2578731.9832 | 1145962.699 | 2578987.8367 | 1145774.215
2 | 2578645.6419 | 1146224.7783 | 2578294.9205 | 1146149.501
3 | 2578645.6419 | 1146224.7783 | 2578690.6894 | 1146251.5006 | 2578734.077 | 1146274.2691 | 2578741.8329 | 1146284.5023 | 2578748.4285 | 1146303.2993 | 2578751.7302 | 1146318.1505 | 2578751.3628 | 1146320.2376
4 | 2578987.8367 | 1145774.215 | 2579083.9828 | 1145627.2509
5 | 2578699.4162 | 1146728.9061 | 2578674.7063 | 1146718.8436 | 2578674.7063 | 1146718.8436
6 | 2578719.6031 | 1146737.1267 | 2578699.4162 | 1146728.9061
7 | 2578668.7193 | 1146695.9797 | 2578672.1689 | 1146700.7881 | 2578674.7063 | 1146718.8436
8 | 2578719.6031 | 1146737.1267 | 2578718.6044 | 1146743.5778
9 | 2578719.6031 | 1146737.1267 | 2578724.8314 | 1146719.1659 | 2578725.362 | 1146717.8053
10 | 2578668.7193 | 1146695.9797 | 2578667.872 | 1146694.7987
11 | 2578718.6044 | 1146743.5778 | 2578754.699 | 1146753.2103 | 2578766.7544 | 1146755.201
12 | 2578725.362 | 1146717.8053 | 2578731.9106 | 1146701.0138
13 | 2578647.9431 | 1146678.6759 | 2578663.0606 | 1146688.092 | 2578667.872 | 1146694.7987
14 | 2578792.8591 | 1146759.5117 | 2578766.7544 | 1146755.201
15 | 2578738.6111 | 1146680.3202 | 2578732.4809 | 1146699.5514 | 2578731.9106 | 1146701.0138
16 | 2578941.4605 | 1146536.2588 | 2578942.0174 | 1146530.9963 | 2578942.1591 | 1146522.1175
17 | 2578941.3464 | 1146508.3097 | 2578942.2378 | 1146517.1887 | 2578942.1591 | 1146522.1175
18 | 2578941.8825 | 1146580.2134 | 2578941.2562 | 1146572.3527 | 2578940.8205 | 1146559.8147 | 2578941.103 | 1146539.6371 | 2578941.4605 | 1146536.2588
19 | 2578941.3464 | 1146508.3097 | 2578937.2812 | 1146507.7348 | 2578932.852 | 1146508.5174 | 2578922.9268 | 1146514.6663 | 2578914.1313 | 1146518.6433
20 | 2578941.3464 | 1146508.3097 | 2578972.5128 | 1146301.4651
21 | 2578927.7312 | 1146614.1875 | 2578935.0129 | 1146609.9043 | 2578940.5472 | 1146604.5155 | 2578943.0054 | 1146600.227 | 2578942.8953 | 1146592.9238 | 2578941.8825 | 1146580.2134
22 | 2578860.0116 | 1146540.6003 | 2578871.658 | 1146525.941 | 2578875.9965 | 1146521.2345 | 2578880.5178 | 1146518.2727 | 2578886.662 | 1146518.1066 | 2578897.2705 | 1146520.6372 | 2578905.8069 | 1146521.4632 | 2578912.0986 | 1146519.5623 | 2578914.1313 | 1146518.6433
23 | 2578972.5128 | 1146301.4651 | 2579205.0933 | 1146332.256
24 | 2578927.7312 | 1146614.1875 | 2578943.6516 | 1146613.6647 | 2578950.8795 | 1146615.2442
25 | 2578927.7312 | 1146614.1875 | 2578926.445 | 1146614.6273
26 | 2578809.2072 | 1146676.7689 | 2578818.1611 | 1146674.0693 | 2578827.1267 | 1146670.9086
27 | 2578847.5921 | 1146661.7431 | 2578835.5209 | 1146667.9495 | 2578827.1267 | 1146670.9086
28 | 2578809.2072 | 1146676.7689 | 2578809.2072 | 1146676.7689 | 2578795.618 | 1146678.3732 | 2578789.9673 | 1146678.3774
29 | 2578847.5921 | 1146661.7431 | 2578848.7126 | 1146661.1669
30 | 2578738.6111 | 1146680.3202 | 2578758.1671 | 1146678.4278 | 2578775.6483 | 1146678.3882 | 2578789.9673 | 1146678.3774
31 | 2578861.3228 | 1146654.6834 | 2578848.7126 | 1146661.1669
32 | 2578738.6111 | 1146680.3202 | 2578731.7412 | 1146633.8771 | 2578726.1955 | 1146592.632
33 | 2578861.3228 | 1146654.6834 | 2578870.5277 | 1146649.9506 | 2578874.9765 | 1146647.8477
34 | 2578699.5609 | 1146519.7571 | 2578699.5609 | 1146519.7571 | 2578714.6823 | 1146561.4223
35 | 2578719.1963 | 1146573.86 | 2578714.6823 | 1146561.4223
36 | 2578699.5609 | 1146519.7571 | 2578696.5461 | 1146512.1752
37 | 2578723.0559 | 1146584.4946 | 2578719.1963 | 1146573.86
38 | 2578636.6767 | 1146495.8576 | 2578687.5528 | 1146505.9818 | 2578696.5461 | 1146512.1752
39 | 2578723.0559 | 1146584.4946 | 2578726.1955 | 1146592.632
40 | 2578723.0559 | 1146584.4946 | 2578704.2115 | 1146579.2366 | 2578688.6582 | 1146575.0119 | 2578675.5683 | 1146572.3682 | 2578669.5684 | 1146570.8628
41 | 2578726.1955 | 1146592.632 | 2578793.2971 | 1146582.3562
42 | 2578633.5842 | 1146561.3501 | 2578637.6887 | 1146562.2312 | 2578644.0633 | 1146564.2206 | 2578663.7293 | 1146569.3977 | 2578669.5684 | 1146570.8628
43 | 2579265.0958 | 1146573.6266 | 2579282.3135 | 1146580.5035 | 2579282.3135 | 1146580.5035
44 | 2579282.3135 | 1146580.5035 | 2579312.198 | 1146782.7892
45 | 2579265.0958 | 1146573.6266 | 2579308.012 | 1146384.0291
46 | 2579312.198 | 1146782.7892 | 2579311.1074 | 1146805.0706 | 2579305.0053 | 1146828.4921 | 2579292.3816 | 1146871.668 | 2579283.838 | 1146896.9524
47 | 2579312.198 | 1146782.7892 | 2579348.0775 | 1146801.7699
48 | 2579205.0933 | 1146332.256 | 2579225.2399 | 1146352.7328 | 2579272.6129 | 1146369.3217 | 2579299.7112 | 1146380.2892 | 2579308.012 | 1146384.0291 | 2579308.012 | 1146384.0291
49 | 2578965.5461 | 1146675.8351 | 2578964.1592 | 1146679.3586 | 2578962.9444 | 1146692.4485
50 | 2578962.6921 | 1146708.5486 | 2578962.1757 | 1146700.7316 | 2578962.9444 | 1146692.4485
51 | 2578971.5734 | 1146660.5233 | 2578965.5461 | 1146675.8351
52 | 2578963.5903 | 1146722.1445 | 2578962.6921 | 1146708.5486
53 | 2578984.5413 | 1146630.4075 | 2578980.9894 | 1146642.6037 | 2578972.739 | 1146657.5622 | 2578971.5734 | 1146660.5233
54 | 2578961.073 | 1146746.3149 | 2578961.2104 | 1146745.2681 | 2578963.9114 | 1146727.0052 | 2578963.5903 | 1146722.1445
55 | 2578984.5413 | 1146630.4075 | 2578987.17 | 1146635.3229 | 2578987.8109 | 1146640.6789 | 2578985.8415 | 1146650.7574 | 2578985.8095 | 1146656.9606 | 2578987.1106 | 1146662.2475 | 2578991.3034 | 1146668.5582 | 2578997.4534 | 1146672.9573
56 | 2578984.5413 | 1146630.4075 | 2578981.9543 | 1146628.6268 | 2578971.3239 | 1146621.9829 | 2578954.9664 | 1146616.1374 | 2578950.8795 | 1146615.2442
57 | 2578984.5413 | 1146630.4075 | 2578991.5318 | 1146613.1412 | 2578995.2421 | 1146595.7307 | 2578997.2301 | 1146575.6027 | 2578992.5686 | 1146556.0538 | 2578985.1471 | 1146535.8031 | 2578986.739 | 1146521.0125 | 2579000.4179 | 1146507.6024 | 2579012.075 | 1146506.8836 | 2579017.4671 | 1146506.5392
58 | 2578960.4988 | 1146750.6873 | 2578961.073 | 1146746.3149
59 | 2578635.7489 | 1146671.0807 | 2578647.9431 | 1146678.6759
60 | 2578874.9765 | 1146647.8477 | 2578882.1141 | 1146644.4738 | 2578888.4741 | 1146640.216 | 2578893.8575 | 1146635.6059 | 2578900.0196 | 1146629.6591 | 2578909.0645 | 1146622.2459 | 2578917.3516 | 1146617.7368 | 2578926.445 | 1146614.6273
61 | 2579348.0775 | 1146801.7699 | 2579379.1329 | 1146818.1986 | 2579396.636 | 1146829.1328 | 2579424.1781 | 1146840.2883 | 2579437.888 | 1146847.0557 | 2579447.1815 | 1146850.4063
62 | 2579279.7382 | 1146909.0856 | 2579283.838 | 1146896.9524
63 | 2579032.4314 | 1146961.4075 | 2579279.7382 | 1146909.0856
64 | 2579043.4882 | 1146611.5531 | 2579038.4969 | 1146610.1089 | 2579032.7315 | 1146610.9405 | 2579031.1704 | 1146614.6107
65 | 2579055.3144 | 1146670.7356 | 2579054.8093 | 1146662.4778 | 2579046.911 | 1146641.9619 | 2579035.253 | 1146626.9507 | 2579030.2785 | 1146616.7075 | 2579031.1704 | 1146614.6107
66 | 2579055.3144 | 1146670.7356 | 2579054.8093 | 1146662.4778 | 2579052.5743 | 1146656.6723
67 | 2579055.5493 | 1146680.8176 | 2579055.3144 | 1146670.7356
68 | 2579038.9712 | 1146610.2461 | 2579038.4969 | 1146610.1089 | 2579032.7315 | 1146610.9405 | 2579030.2785 | 1146616.7075 | 2579035.253 | 1146626.9507 | 2579046.911 | 1146641.9619 | 2579052.5743 | 1146656.6723
69 | 2579055.5493 | 1146680.8176 | 2579048.911 | 1146684.6093 | 2579039.5314 | 1146688.5773 | 2579034.4787 | 1146689.6314
70 | 2579034.4787 | 1146689.6314 | 2579029.7226 | 1146690.6237 | 2579023.3929 | 1146690.4012 | 2579015.5086 | 1146687.0605 | 2579004.0468 | 1146677.6737 | 2578997.4534 | 1146672.9573
71 | 2578816.9683 | 1146765.9523 | 2578800.1103 | 1146760.7091 | 2578792.8591 | 1146759.5117
72 | 2578449.8126 | 1146619.2974 | 2578457.2739 | 1146628.7753 | 2578455.197 | 1146638.5987 | 2578466.4158 | 1146648.53 | 2578470.9019 | 1146657.2405 | 2578467.7123 | 1146667.3791 | 2578461.4344 | 1146677.3066
73 | 2578449.8126 | 1146619.2974 | 2578457.408 | 1146604.0737 | 2578464.6142 | 1146587.4246
74 | 2578449.8126 | 1146619.2974 | 2578445.9091 | 1146623.7053
75 | 2578490.4507 | 1146563.3351 | 2578484.9623 | 1146566.4119 | 2578473.0991 | 1146573.8914 | 2578465.4751 | 1146585.4356 | 2578464.6142 | 1146587.4246
76 | 2578334.2023 | 1146585.1979 | 2578341.6571 | 1146590.9614 | 2578359.6956 | 1146609.1053 | 2578384.0383 | 1146633.1851 | 2578400.0447 | 1146641.6539 | 2578413.395 | 1146641.9505 | 2578422.6104 | 1146639.4161 | 2578432.0486 | 1146634.7132 | 2578437.1236 | 1146632.0381 | 2578442.8895 | 1146627.115 | 2578445.9091 | 1146623.7053
77 | 2578490.4507 | 1146563.3351 | 2578498.6428 | 1146566.6741 | 2578507.4879 | 1146565.7753 | 2578519.3439 | 1146562.7092 | 2578525.9805 | 1146559.636
78 | 2578334.2023 | 1146585.1979 | 2578257.2116 | 1146250.9987
79 | 2578525.9805 | 1146559.636 | 2578532.9165 | 1146556.4242 | 2578548.9187 | 1146548.6521 | 2578557.0358 | 1146546.0551 | 2578565.9455 | 1146546.0233 | 2578588.635 | 1146550.389 | 2578600.4492 | 1146552.8369 | 2578610.9289 | 1146555.8344 | 2578618.7557 | 1146557.9854 | 2578626.8889 | 1146559.9129 | 2578633.5842 | 1146561.3501
80 | 2579006.1605 | 1147076.2005 | 2579032.4314 | 1146961.4075
81 | 2579006.1605 | 1147076.2005 | 2579063.8954 | 1147087.2891 | 2579082.9239 | 1147093.0478 | 2579099.5318 | 1147105.0403 | 2579111.7803 | 1147113.4574 | 2579124.5164 | 1147118.5823 | 2579137.9153 | 1147122.1375 | 2579138.5947 | 1147122.272
82 | 2578894.8618 | 1147028.1851 | 2578894.8618 | 1147028.1851 | 2578908.6788 | 1147039.1642 | 2578925.8093 | 1147046.7411 | 2579004.7183 | 1147075.9235 | 2579006.1605 | 1147076.2005
83 | 2578257.2116 | 1146250.9987 | 2578248.3681 | 1146241.784
84 | 2578822.0537 | 1146910.4453 | 2578809.6364 | 1146904.9022 | 2578793.137 | 1146900.0247 | 2578790.5735 | 1146899.7798
85 | 2578822.0537 | 1146910.4453 | 2578828.4139 | 1146913.2845 | 2578842.1753 | 1146923.6522 | 2578858.402 | 1146947.0511 | 2578863.9814 | 1146958.9484 | 2578867.393 | 1146974.6553 | 2578872.4345 | 1146993.0021 | 2578885.9232 | 1147015.4213 | 2578894.8618 | 1147028.1851
86 | 2578790.5735 | 1146899.7798 | 2578780.5676 | 1146898.8241 | 2578768.2528 | 1146900.1238 | 2578751.5404 | 1146904.5073 | 2578744.3447 | 1146908.6171
87 | 2578594.6705 | 1146351.8027 | 2578607.2098 | 1146344.221 | 2578619.2532 | 1146344.0558 | 2578658.0195 | 1146361.2152 | 2578682.1061 | 1146365.1649 | 2578706.5208 | 1146364.1778 | 2578726.3229 | 1146359.8944 | 2578740.3425 | 1146349.4952 | 2578745.4363 | 1146339.9842
88 | 2578751.3628 | 1146320.2376 | 2578749.0873 | 1146333.1673 | 2578745.4363 | 1146339.9842
89 | 2578294.9205 | 1146149.501 | 2578295.9075 | 1146161.1588 | 2578286.6134 | 1146176.1442 | 2578261.1816 | 1146208.2743 | 2578241.4978 | 1146234.6253 | 2578248.3681 | 1146241.784

## bus_geodata
| x | y | coords
0 | 2578731.9832 | 1145962.699
1 | 2578645.6419 | 1146224.7783
2 | 2578987.8367 | 1145774.215
3 | 2579083.9828 | 1145627.2509
4 | 2578699.4162 | 1146728.9061
5 | 2578674.7063 | 1146718.8436
6 | 2578719.6031 | 1146737.1267
7 | 2578668.7193 | 1146695.9797
8 | 2578718.6044 | 1146743.5778
9 | 2578725.362 | 1146717.8053
10 | 2578667.872 | 1146694.7987
11 | 2578766.7544 | 1146755.201
12 | 2578731.9106 | 1146701.0138
13 | 2578942.1591 | 1146522.1175
14 | 2578941.4605 | 1146536.2588
15 | 2578941.3464 | 1146508.3097
16 | 2578941.8825 | 1146580.2134
17 | 2578914.1313 | 1146518.6433
18 | 2578972.5128 | 1146301.4651
19 | 2578927.7312 | 1146614.1875
20 | 2578860.0116 | 1146540.6003
21 | 2578827.1267 | 1146670.9086
22 | 2578809.2072 | 1146676.7689
23 | 2578847.5921 | 1146661.7431
24 | 2578789.9673 | 1146678.3774
25 | 2578848.7126 | 1146661.1669
26 | 2578738.6111 | 1146680.3202
27 | 2578861.3228 | 1146654.6833
28 | 2578714.6823 | 1146561.4223
29 | 2578699.5609 | 1146519.7571
30 | 2578719.1963 | 1146573.86
31 | 2578696.5461 | 1146512.1752
32 | 2578723.0559 | 1146584.4946
33 | 2578636.6767 | 1146495.8576
34 | 2578726.1955 | 1146592.632
35 | 2578669.5684 | 1146570.8628
36 | 2579282.3135 | 1146580.5035
37 | 2579265.0958 | 1146573.6266
38 | 2579312.198 | 1146782.7892
39 | 2579308.012 | 1146384.0291
40 | 2578962.9444 | 1146692.4485
41 | 2578965.5461 | 1146675.8351
42 | 2578962.6921 | 1146708.5486
43 | 2578971.5734 | 1146660.5233
44 | 2578963.5903 | 1146722.1445
45 | 2578984.5413 | 1146630.4075
46 | 2578961.073 | 1146746.3149
47 | 2578647.9431 | 1146678.6759
48 | 2578635.7489 | 1146671.0807
49 | 2578874.9765 | 1146647.8477
50 | 2578926.445 | 1146614.6273
51 | 2579348.0775 | 1146801.7699
52 | 2579447.1815 | 1146850.4063
53 | 2579283.838 | 1146896.9524
54 | 2579279.7382 | 1146909.0856
55 | 2578950.8795 | 1146615.2442
56 | 2579043.4882 | 1146611.5531
57 | 2579031.1704 | 1146614.6107
58 | 2579055.3144 | 1146670.7356
59 | 2579052.5743 | 1146656.6723
60 | 2579055.5492 | 1146680.8176
61 | 2579038.9712 | 1146610.2461
62 | 2579034.4787 | 1146689.6314
63 | 2578793.2971 | 1146582.3562
64 | 2579017.4671 | 1146506.5392
65 | 2578997.4534 | 1146672.9573
66 | 2578792.8591 | 1146759.5117
67 | 2578816.9683 | 1146765.9523
68 | 2578461.4344 | 1146677.3066
69 | 2578449.8126 | 1146619.2974
70 | 2578464.6142 | 1146587.4246
71 | 2578445.9091 | 1146623.7053
72 | 2578490.4507 | 1146563.3351
73 | 2578334.2023 | 1146585.1979
74 | 2578525.9805 | 1146559.636
75 | 2578633.5842 | 1146561.3501
76 | 2578960.4988 | 1146750.6873
77 | 2579032.4314 | 1146961.4075
78 | 2579006.1605 | 1147076.2005
79 | 2578257.2116 | 1146250.9987
80 | 2578822.0537 | 1146910.4453
81 | 2578790.5735 | 1146899.7798
82 | 2578894.8618 | 1147028.1851
83 | 2578744.3447 | 1146908.6171
84 | 2579138.5947 | 1147122.272
85 | 2578594.6705 | 1146351.8027
86 | 2578745.4363 | 1146339.9842
87 | 2578751.3628 | 1146320.2376
88 | 2578294.9205 | 1146149.501
89 | 2578248.3681 | 1146241.784
90 | 2579205.0933 | 1146332.256
91 | 2578789.9673 | 1146678.3774

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1