## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5841-24_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5841-24_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5841-24_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_5841-24_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5841-24_0_3_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_5841-24_0_3_node_129 | 0.4 | n |  | TRUE
6 | bus_LV_5841-24_0_3_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_5841-24_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_5841-24_0_3_node_89 | 0.4 | n |  | TRUE
9 | bus_LV_5841-24_0_3_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_5841-24_0_3_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_5841-24_0_3_node_127 | 0.4 | n |  | TRUE
12 | bus_LV_5841-24_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5841-24_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5841-24_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5841-24_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5841-24_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5841-24_0_3_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_5841-24_0_3_node_99 | 0.4 | n |  | TRUE
19 | bus_LV_5841-24_0_3_node_92 | 0.4 | n |  | TRUE
20 | bus_LV_5841-24_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_5841-24_0_3_node_132 | 0.4 | n |  | TRUE
22 | bus_LV_5841-24_0_3_node_130 | 0.4 | n |  | TRUE
23 | bus_LV_5841-24_0_3_node_93 | 0.4 | n |  | TRUE
24 | bus_LV_5841-24_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_5841-24_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_5841-24_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_5841-24_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5841-24_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5841-24_0_3_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_5841-24_0_3_node_94 | 0.4 | n |  | TRUE
31 | bus_LV_5841-24_0_3_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_5841-24_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_5841-24_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5841-24_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_5841-24_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_5841-24_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_5841-24_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5841-24_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5841-24_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5841-24_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5841-24_0_3_node_63 | 0.4 | n |  | TRUE
42 | bus_LV_5841-24_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_5841-24_0_3_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_5841-24_0_3_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_5841-24_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_5841-24_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_5841-24_0_3_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_5841-24_0_3_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_5841-24_0_3_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_5841-24_0_3_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_5841-24_0_3_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_5841-24_0_3_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_5841-24_0_3_node_111 | 0.4 | n |  | TRUE
54 | bus_LV_5841-24_0_3_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_5841-24_0_3_node_26 | 0.4 | n |  | TRUE
56 | bus_LV_5841-24_0_3_node_27 | 0.4 | n |  | TRUE
57 | bus_LV_5841-24_0_3_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_5841-24_0_3_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_5841-24_0_3_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_5841-24_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_5841-24_0_3_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5841-24_0_3_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_5841-24_0_3_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_5841-24_0_3_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_5841-24_0_3_node_107 | 0.4 | n |  | TRUE
66 | bus_LV_5841-24_0_3_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_5841-24_0_3_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_5841-24_0_3_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_5841-24_0_3_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_5841-24_0_3_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_5841-24_0_3_node_139 | 0.4 | n |  | TRUE
72 | bus_LV_5841-24_0_3_node_38 | 0.4 | n |  | TRUE
73 | bus_LV_5841-24_0_3_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_5841-24_0_3_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_5841-24_0_3_node_97 | 0.4 | n |  | TRUE
76 | bus_LV_5841-24_0_3_node_141 | 0.4 | n |  | TRUE
77 | bus_LV_5841-24_0_3_node_105 | 0.4 | n |  | TRUE
78 | bus_LV_5841-24_0_3_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_5841-24_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5841-24_0_3_node_133 | 0.4 | n |  | TRUE
81 | bus_LV_5841-24_0_3_node_104 | 0.4 | n |  | TRUE
82 | bus_LV_5841-24_0_3_node_42 | 0.4 | n |  | TRUE
83 | bus_LV_5841-24_0_3_node_43 | 0.4 | n |  | TRUE
84 | bus_LV_5841-24_0_3_node_44 | 0.4 | n |  | TRUE
85 | bus_LV_5841-24_0_3_node_102 | 0.4 | n |  | TRUE
86 | bus_LV_5841-24_0_3_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_5841-24_0_3_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_5841-24_0_3_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_5841-24_0_3_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5841-24_0_3_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_5841-24_0_3_node_51 | 0.4 | n |  | TRUE
92 | bus_LV_5841-24_0_3_node_52 | 0.4 | n |  | TRUE
93 | bus_LV_5841-24_0_3_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_5841-24_0_3_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_5841-24_0_3_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_5841-24_0_3_node_55 | 0.4 | n |  | TRUE
97 | bus_LV_5841-24_0_3_node_56 | 0.4 | n |  | TRUE
98 | bus_LV_5841-24_0_3_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_5841-24_0_3_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_5841-24_0_3_node_58 | 0.4 | n |  | TRUE
101 | bus_LV_5841-24_0_3_node_59 | 0.4 | n |  | TRUE
102 | bus_LV_5841-24_0_3_node_61 | 0.4 | n |  | TRUE
103 | bus_LV_5841-24_0_3_node_60 | 0.4 | n |  | TRUE
104 | bus_LV_5841-24_0_3_node_74 | 0.4 | n |  | TRUE
105 | bus_LV_5841-24_0_3_node_110 | 0.4 | n |  | TRUE
106 | bus_LV_5841-24_0_3_node_137 | 0.4 | n |  | TRUE
107 | bus_LV_5841-24_0_3_node_108 | 0.4 | n |  | TRUE
108 | bus_LV_5841-24_0_3_node_64 | 0.4 | n |  | TRUE
109 | bus_LV_5841-24_0_3_node_65 | 0.4 | n |  | TRUE
110 | bus_LV_5841-24_0_3_node_68 | 0.4 | n |  | TRUE
111 | bus_LV_5841-24_0_3_node_103 | 0.4 | n |  | TRUE
112 | bus_LV_5841-24_0_3_node_67 | 0.4 | n |  | TRUE
113 | bus_LV_5841-24_0_3_node_106 | 0.4 | n |  | TRUE
114 | bus_LV_5841-24_0_3_node_142 | 0.4 | n |  | TRUE
115 | bus_LV_5841-24_0_3_node_69 | 0.4 | n |  | TRUE
116 | bus_LV_5841-24_0_3_node_70 | 0.4 | n |  | TRUE
117 | bus_LV_5841-24_0_3_node_71 | 0.4 | n |  | TRUE
118 | bus_LV_5841-24_0_3_node_77 | 0.4 | n |  | TRUE
119 | bus_LV_5841-24_0_3_node_83 | 0.4 | n |  | TRUE
120 | bus_LV_5841-24_0_3_node_112 | 0.4 | n |  | TRUE
121 | bus_LV_5841-24_0_3_node_131 | 0.4 | n |  | TRUE
122 | bus_LV_5841-24_0_3_node_134 | 0.4 | n |  | TRUE
123 | bus_LV_5841-24_0_3_node_118 | 0.4 | n |  | TRUE
124 | bus_LV_5841-24_0_3_node_115 | 0.4 | n |  | TRUE
125 | bus_LV_5841-24_0_3_node_114 | 0.4 | n |  | TRUE
126 | bus_LV_5841-24_0_3_node_113 | 0.4 | n |  | TRUE
127 | bus_LV_5841-24_0_3_node_117 | 0.4 | n |  | TRUE
128 | bus_LV_5841-24_0_3_node_116 | 0.4 | n |  | TRUE
129 | bus_LV_5841-24_0_3_node_119 | 0.4 | n |  | TRUE
130 | bus_LV_5841-24_0_3_node_120 | 0.4 | n |  | TRUE
131 | bus_LV_5841-24_0_3_node_121 | 0.4 | n |  | TRUE
132 | bus_LV_5841-24_0_3_node_122 | 0.4 | n |  | TRUE
133 | bus_LV_5841-24_0_3_node_123 | 0.4 | n |  | TRUE
134 | bus_LV_5841-24_0_3_node_124 | 0.4 | n |  | TRUE
135 | bus_LV_5841-24_0_3_node_128 | 0.4 | n |  | TRUE
136 | bus_LV_5841-24_0_3_node_125 | 0.4 | n |  | TRUE
137 | bus_LV_5841-24_0_3_node_126 | 0.4 | n |  | TRUE
138 | bus_LV_5841-24_0_3_node_135 | 0.4 | n |  | TRUE
139 | bus_LV_5841-24_0_3_node_136 | 0.4 | n |  | TRUE
140 | bus_MV_146_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5841-24_0_3_load_0 | 0 | 0.0017219 | 0.00043156 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5841-24_0_3_load_5 | 3 | 0.0017959 | 0.00045011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5841-24_0_3_load_54 | 4 | 0.00081022 | 0.00020306 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5841-24_0_3_load_129 | 5 | 0.0021591 | 0.00054113 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5841-24_0_3_load_2 | 6 | 0.0010826 | 0.00027131 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5841-24_0_3_load_3 | 7 | 0.0004827 | 0.00012098 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5841-24_0_3_load_89 | 8 | 0.0029423 | 0.00073742 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5841-24_0_3_load_53 | 10 | 0.00064244 | 0.00016101 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5841-24_0_3_load_127 | 11 | 0.00050964 | 0.00012773 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5841-24_0_3_load_6 | 12 | 0.0015249 | 0.00038218 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5841-24_0_3_load_7 | 13 | 0.00084105 | 0.00021079 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5841-24_0_3_load_8 | 14 | 0.0022969 | 0.00057565 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5841-24_0_3_load_10 | 16 | 0.0012613 | 0.00031612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5841-24_0_3_load_46 | 17 | 0.00070202 | 0.00017594 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5841-24_0_3_load_92 | 19 | 0.0032072 | 0.00080381 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5841-24_0_3_load_132 | 21 | 0.0015344 | 0.00038456 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5841-24_0_3_load_130 | 22 | 0.0011536 | 0.00028912 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5841-24_0_3_load_93 | 23 | 0.00066705 | 0.00016718 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5841-24_0_3_load_11 | 24 | 0.00078974 | 0.00019793 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5841-24_0_3_load_12 | 25 | 0.00034785 | 8.718e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5841-24_0_3_load_13 | 26 | 0.00066482 | 0.00016662 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5841-24_0_3_load_14 | 27 | 0.00088145 | 0.00022091 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5841-24_0_3_load_15 | 28 | 0.00078834 | 0.00019758 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5841-24_0_3_load_50 | 29 | 0.00022644 | 5.6751e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5841-24_0_3_load_94 | 30 | 0.00018588 | 4.6585e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5841-24_0_3_load_49 | 31 | 0.00096857 | 0.00024275 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5841-24_0_3_load_16 | 33 | 0.00040693 | 0.00010199 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5841-24_0_3_load_17 | 34 | 0.00073396 | 0.00018395 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5841-24_0_3_load_18 | 35 | 0.0013184 | 0.00033042 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5841-24_0_3_load_20 | 37 | 0.0013777 | 0.00034529 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5841-24_0_3_load_30 | 38 | 0.0053932 | 0.0013517 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5841-24_0_3_load_22 | 40 | 0.0011984 | 0.00030036 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5841-24_0_3_load_63 | 41 | 0.0015525 | 0.0003891 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5841-24_0_3_load_41 | 42 | 0.0042051 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5841-24_0_3_load_78 | 43 | 0.0032972 | 0.00082637 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5841-24_0_3_load_21 | 44 | 0.0010009 | 0.00025086 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5841-24_0_3_load_23 | 45 | 0.00021436 | 5.3724e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5841-24_0_3_load_84 | 47 | 0.00025242 | 6.3263e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5841-24_0_3_load_95 | 48 | 0.00043214 | 0.0001083 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5841-24_0_3_load_96 | 49 | 0.00020514 | 5.1413e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5841-24_0_3_load_81 | 50 | 0.002245 | 0.00056266 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5841-24_0_3_load_82 | 51 | 0.00017526 | 4.3925e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5841-24_0_3_load_98 | 52 | 0.00036017 | 9.0267e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5841-24_0_3_load_25 | 54 | 0.00054062 | 0.00013549 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5841-24_0_3_load_26 | 55 | 0.00060038 | 0.00015047 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5841-24_0_3_load_27 | 56 | 0.00080857 | 0.00020265 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5841-24_0_3_load_28 | 57 | 0.0021211 | 0.00053161 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5841-24_0_3_load_29 | 58 | 0.0014855 | 0.00037231 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5841-24_0_3_load_47 | 60 | 0.00058208 | 0.00014588 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5841-24_0_3_load_62 | 62 | 0.00057368 | 0.00014378 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5841-24_0_3_load_40 | 63 | 0.0089727 | 0.0022488 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5841-24_0_3_load_107 | 65 | 0.00065288 | 0.00016363 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5841-24_0_3_load_33 | 66 | 0.00019712 | 4.9403e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5841-24_0_3_load_36 | 69 | 0.00083448 | 0.00020914 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5841-24_0_3_load_37 | 70 | 0.00075382 | 0.00018893 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5841-24_0_3_load_139 | 71 | 0.00041391 | 0.00010373 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5841-24_0_3_load_38 | 72 | 0.00012368 | 3.0996e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5841-24_0_3_load_39 | 73 | 0.00018353 | 4.5996e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5841-24_0_3_load_79 | 74 | 0.00073843 | 0.00018507 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5841-24_0_3_load_141 | 76 | 0.00051453 | 0.00012895 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5841-24_0_3_load_133 | 80 | 0.00029597 | 7.4178e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5841-24_0_3_load_104 | 81 | 0.00023338 | 5.8492e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5841-24_0_3_load_44 | 84 | 0.00048306 | 0.00012107 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5841-24_0_3_load_102 | 85 | 0.0013039 | 0.00032678 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5841-24_0_3_load_91 | 86 | 0.00085187 | 0.0002135 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5841-24_0_3_load_100 | 87 | 0.00064949 | 0.00016278 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5841-24_0_3_load_76 | 89 | 0.0012341 | 0.00030929 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5841-24_0_3_load_52 | 92 | 0.00060981 | 0.00015283 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5841-24_0_3_load_88 | 93 | 0.0014503 | 0.00036349 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5841-24_0_3_load_85 | 94 | 0.0011037 | 0.0002766 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5841-24_0_3_load_56 | 97 | 0.0006026 | 0.00015103 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5841-24_0_3_load_90 | 98 | 0.00050312 | 0.00012609 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5841-24_0_3_load_87 | 99 | 0.0020582 | 0.00051583 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5841-24_0_3_load_58 | 100 | 0.0029856 | 0.00074827 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5841-24_0_3_load_59 | 101 | 0.002022 | 0.00050676 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5841-24_0_3_load_61 | 102 | 0.00028501 | 7.143e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5841-24_0_3_load_74 | 104 | 0.0035775 | 0.0008966 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5841-24_0_3_load_137 | 106 | 0.0018043 | 0.00045219 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5841-24_0_3_load_108 | 107 | 0.00016604 | 4.1614e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5841-24_0_3_load_103 | 111 | 0.0042437 | 0.0010636 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5841-24_0_3_load_106 | 113 | 0.0024678 | 0.00061849 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5841-24_0_3_load_142 | 114 | 0.00028353 | 7.106e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5841-24_0_3_load_69 | 115 | 0.0010629 | 0.00026639 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5841-24_0_3_load_70 | 116 | 0.0022607 | 0.00056659 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5841-24_0_3_load_71 | 117 | 0.00075612 | 0.0001895 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5841-24_0_3_load_77 | 118 | 0.0034931 | 0.00087546 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5841-24_0_3_load_83 | 119 | 0.0043329 | 0.0010859 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5841-24_0_3_load_112 | 120 | 0.00040559 | 0.00010165 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5841-24_0_3_load_131 | 121 | 0.00068953 | 0.00017281 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5841-24_0_3_load_134 | 122 | 6.6947e-05 | 1.6778e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5841-24_0_3_load_118 | 123 | 0.0004037 | 0.00010118 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5841-24_0_3_load_114 | 125 | 0.00015017 | 3.7635e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5841-24_0_3_load_116 | 128 | 0.00010373 | 2.5998e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5841-24_0_3_load_119 | 129 | 0.00067611 | 0.00016945 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5841-24_0_3_load_120 | 130 | 0.00066002 | 0.00016542 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5841-24_0_3_load_121 | 131 | 0.00046821 | 0.00011734 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5841-24_0_3_load_122 | 132 | 0.00078852 | 0.00019762 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5841-24_0_3_load_123 | 133 | 0.00048382 | 0.00012126 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5841-24_0_3_load_124 | 134 | 0.0014181 | 0.0003554 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5841-24_0_3_load_128 | 135 | 0.0002742 | 6.8721e-05 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5841-24_0_3_load_125 | 136 | 0.0010323 | 0.00025872 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5841-24_0_3_load_126 | 137 | 0.0010023 | 0.00025119 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5841-24_0_3_load_135 | 138 | 0.00037387 | 9.37e-05 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5841-24_0_3_load_136 | 139 | 0.00083949 | 0.0002104 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 84 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5841-24_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.16159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5841-24_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.21574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5841-24_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5841-24_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0081491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5841-24_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.069771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5841-24_0_3_line_5 | NAYY 4x150 SE | 4 | 10 | 0.12337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5841-24_0_3_line_6 | NAYY 4x150 SE | 5 | 11 | 0.17451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5841-24_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.008403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5841-24_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.049637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5841-24_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.080051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5841-24_0_3_line_10 | NAYY 4x150 SE | 9 | 116 | 0.12409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5841-24_0_3_line_11 | NAYY 4x150 SE | 10 | 96 | 0.095248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5841-24_0_3_line_12 | NAYY 4x150 SE | 11 | 137 | 0.016939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5841-24_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.00096254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5841-24_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0081037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5841-24_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0064282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5841-24_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0050309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5841-24_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.026146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5841-24_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.054382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5841-24_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.023174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5841-24_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.023866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5841-24_0_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.068158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5841-24_0_3_line_22 | NAYY 4x150 SE | 18 | 22 | 0.10269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5841-24_0_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.020639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5841-24_0_3_line_24 | NAYY 4x150 SE | 20 | 60 | 0.049133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5841-24_0_3_line_25 | NAYY 4x150 SE | 22 | 121 | 0.22061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5841-24_0_3_line_26 | NAYY 4x150 SE | 23 | 88 | 0.0013566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5841-24_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.019953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5841-24_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.025211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5841-24_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.02252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5841-24_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.056137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5841-24_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.016185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5841-24_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.004648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5841-24_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0012782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5841-24_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.010847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5841-24_0_3_line_35 | NAYY 4x150 SE | 31 | 91 | 0.0063675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5841-24_0_3_line_36 | NAYY 4x150 SE | 32 | 83 | 0.037233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5841-24_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.026856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5841-24_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.017488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5841-24_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.023113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5841-24_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.052702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5841-24_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.024425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_5841-24_0_3_line_42 | NAYY 4x150 SE | 36 | 39 | 0.022448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_5841-24_0_3_line_43 | NAYY 4x150 SE | 37 | 40 | 0.033187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5841-24_0_3_line_44 | NAYY 4x150 SE | 38 | 41 | 0.11493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_5841-24_0_3_line_45 | NAYY 4x150 SE | 39 | 42 | 0.006408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_5841-24_0_3_line_46 | NAYY 4x150 SE | 39 | 43 | 0.017282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5841-24_0_3_line_47 | NAYY 4x150 SE | 40 | 44 | 0.025396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5841-24_0_3_line_48 | NAYY 4x150 SE | 41 | 62 | 0.013071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_5841-24_0_3_line_49 | NAYY 4x150 SE | 42 | 63 | 0.050477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_5841-24_0_3_line_50 | NAYY 4x150 SE | 43 | 64 | 0.058436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5841-24_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.095488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5841-24_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.14641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5841-24_0_3_line_53 | NAYY 4x150 SE | 46 | 48 | 0.078049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_5841-24_0_3_line_54 | NAYY 4x150 SE | 46 | 49 | 0.19954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_5841-24_0_3_line_55 | NAYY 4x150 SE | 47 | 51 | 0.0022459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5841-24_0_3_line_56 | NAYY 4x150 SE | 48 | 52 | 0.11413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_5841-24_0_3_line_57 | NAYY 4x150 SE | 49 | 53 | 0.16901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_5841-24_0_3_line_58 | NAYY 4x150 SE | 50 | 51 | 0.048161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5841-24_0_3_line_59 | NAYY 4x150 SE | 52 | 75 | 0.028987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_5841-24_0_3_line_60 | NAYY 4x150 SE | 53 | 120 | 0.02649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_5841-24_0_3_line_61 | NAYY 4x150 SE | 54 | 55 | 0.053171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5841-24_0_3_line_62 | NAYY 4x150 SE | 54 | 56 | 0.016794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5841-24_0_3_line_63 | NAYY 4x150 SE | 55 | 57 | 0.0053404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5841-24_0_3_line_64 | NAYY 4x150 SE | 56 | 58 | 0.031455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5841-24_0_3_line_65 | NAYY 4x150 SE | 58 | 59 | 0.014868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5841-24_0_3_line_66 | NAYY 4x150 SE | 59 | 61 | 0.080257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5841-24_0_3_line_67 | NAYY 4x150 SE | 60 | 65 | 0.019149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5841-24_0_3_line_68 | NAYY 4x150 SE | 61 | 93 | 0.051408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5841-24_0_3_line_69 | NAYY 4x150 SE | 62 | 108 | 0.052743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_5841-24_0_3_line_70 | NAYY 4x150 SE | 63 | 82 | 0.090937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_5841-24_0_3_line_71 | NAYY 4x150 SE | 64 | 118 | 0.035765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5841-24_0_3_line_72 | NAYY 4x150 SE | 64 | 104 | 0.011499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5841-24_0_3_line_73 | NAYY 4x150 SE | 65 | 90 | 0.0078164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5841-24_0_3_line_74 | NAYY 4x150 SE | 66 | 67 | 0.15913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5841-24_0_3_line_75 | NAYY 4x150 SE | 66 | 68 | 0.037356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5841-24_0_3_line_76 | NAYY 4x150 SE | 67 | 69 | 0.15156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
77 | LV_5841-24_0_3_line_77 | NAYY 4x150 SE | 67 | 70 | 0.1154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
78 | LV_5841-24_0_3_line_78 | NAYY 4x150 SE | 67 | 71 | 0.28482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5841-24_0_3_line_79 | NAYY 4x150 SE | 68 | 72 | 0.007543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5841-24_0_3_line_80 | NAYY 4x150 SE | 68 | 73 | 0.18266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5841-24_0_3_line_81 | NAYY 4x150 SE | 69 | 74 | 0.0044515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_5841-24_0_3_line_82 | NAYY 4x150 SE | 70 | 75 | 0.0061116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
83 | LV_5841-24_0_3_line_83 | NAYY 4x150 SE | 71 | 76 | 0.17578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5841-24_0_3_line_84 | NAYY 4x150 SE | 72 | 77 | 0.19918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5841-24_0_3_line_85 | NAYY 4x150 SE | 74 | 78 | 0.069947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
86 | LV_5841-24_0_3_line_86 | NAYY 4x150 SE | 75 | 79 | 0.078288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_5841-24_0_3_line_87 | NAYY 4x150 SE | 77 | 80 | 0.090248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_5841-24_0_3_line_88 | NAYY 4x150 SE | 77 | 81 | 0.054719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_5841-24_0_3_line_89 | NAYY 4x150 SE | 78 | 112 | 0.17986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
90 | LV_5841-24_0_3_line_90 | NAYY 4x150 SE | 79 | 114 | 0.021051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_5841-24_0_3_line_91 | NAYY 4x150 SE | 80 | 122 | 0.010675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_5841-24_0_3_line_92 | NAYY 4x150 SE | 82 | 83 | 0.022251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_5841-24_0_3_line_93 | NAYY 4x150 SE | 82 | 84 | 0.0221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
94 | LV_5841-24_0_3_line_94 | NAYY 4x150 SE | 83 | 85 | 0.008956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_5841-24_0_3_line_95 | NAYY 4x150 SE | 84 | 86 | 0.0073085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_5841-24_0_3_line_96 | NAYY 4x150 SE | 86 | 89 | 0.043875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_5841-24_0_3_line_97 | NAYY 4x150 SE | 87 | 88 | 0.055934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_5841-24_0_3_line_98 | NAYY 4x150 SE | 88 | 109 | 0.022566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_5841-24_0_3_line_99 | NAYY 4x150 SE | 89 | 103 | 0.019434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_5841-24_0_3_line_100 | NAYY 4x150 SE | 90 | 117 | 0.012149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_5841-24_0_3_line_101 | NAYY 4x150 SE | 91 | 92 | 0.046371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_5841-24_0_3_line_102 | NAYY 4x150 SE | 92 | 94 | 0.036708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_5841-24_0_3_line_103 | NAYY 4x150 SE | 93 | 95 | 0.017774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_5841-24_0_3_line_104 | NAYY 4x150 SE | 94 | 95 | 0.0048681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_5841-24_0_3_line_105 | NAYY 4x150 SE | 95 | 99 | 0.018088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_5841-24_0_3_line_106 | NAYY 4x150 SE | 96 | 97 | 0.082077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
107 | LV_5841-24_0_3_line_107 | NAYY 4x150 SE | 97 | 98 | 0.021843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_5841-24_0_3_line_108 | NAYY 4x150 SE | 98 | 99 | 0.013549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_5841-24_0_3_line_109 | NAYY 4x150 SE | 100 | 101 | 0.012947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_5841-24_0_3_line_110 | NAYY 4x150 SE | 100 | 102 | 0.1692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_5841-24_0_3_line_111 | NAYY 4x150 SE | 101 | 103 | 0.12901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_5841-24_0_3_line_112 | NAYY 4x150 SE | 105 | 106 | 0.19058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_5841-24_0_3_line_113 | NAYY 4x150 SE | 105 | 107 | 0.86339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
114 | LV_5841-24_0_3_line_114 | NAYY 4x150 SE | 107 | 123 | 0.94127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
115 | LV_5841-24_0_3_line_115 | NAYY 4x150 SE | 108 | 109 | 0.049406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
116 | LV_5841-24_0_3_line_116 | NAYY 4x150 SE | 108 | 110 | 0.016083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
117 | LV_5841-24_0_3_line_117 | NAYY 4x150 SE | 109 | 111 | 0.066098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
118 | LV_5841-24_0_3_line_118 | NAYY 4x150 SE | 110 | 113 | 0.014352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
119 | LV_5841-24_0_3_line_119 | NAYY 4x150 SE | 112 | 113 | 0.022762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
120 | LV_5841-24_0_3_line_120 | NAYY 4x150 SE | 115 | 116 | 0.021439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
121 | LV_5841-24_0_3_line_121 | NAYY 4x150 SE | 115 | 117 | 0.053197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
122 | LV_5841-24_0_3_line_122 | NAYY 4x150 SE | 118 | 119 | 0.015421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
123 | LV_5841-24_0_3_line_123 | NAYY 4x150 SE | 120 | 125 | 0.011556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
124 | LV_5841-24_0_3_line_124 | NAYY 4x150 SE | 122 | 138 | 0.0070036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
125 | LV_5841-24_0_3_line_125 | NAYY 4x150 SE | 123 | 124 | 0.11629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
126 | LV_5841-24_0_3_line_126 | NAYY 4x150 SE | 124 | 127 | 0.07241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
127 | LV_5841-24_0_3_line_127 | NAYY 4x150 SE | 124 | 126 | 0.055335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
128 | LV_5841-24_0_3_line_128 | NAYY 4x150 SE | 125 | 126 | 0.052868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
129 | LV_5841-24_0_3_line_129 | NAYY 4x150 SE | 127 | 128 | 0.036251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
130 | LV_5841-24_0_3_line_130 | NAYY 4x150 SE | 129 | 130 | 0.094314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
131 | LV_5841-24_0_3_line_131 | NAYY 4x150 SE | 129 | 131 | 0.12009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
132 | LV_5841-24_0_3_line_132 | NAYY 4x150 SE | 130 | 132 | 0.039493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
133 | LV_5841-24_0_3_line_133 | NAYY 4x150 SE | 131 | 133 | 0.098146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
134 | LV_5841-24_0_3_line_134 | NAYY 4x150 SE | 132 | 134 | 0.019108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
135 | LV_5841-24_0_3_line_135 | NAYY 4x150 SE | 133 | 135 | 0.011682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
136 | LV_5841-24_0_3_line_136 | NAYY 4x150 SE | 134 | 136 | 0.068873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
137 | LV_5841-24_0_3_line_137 | NAYY 4x150 SE | 135 | 137 | 0.049452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
138 | LV_5841-24_0_3_line_138 | NAYY 4x150 SE | 138 | 139 | 0.032458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5841-24_0_3_trafo_44 | 0.25 MVA 20/0.4 kV | 140 | 84 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29
0 | 2578131.4602 | 1141182.1878 | 2578128.2181 | 1141176.4412 | 2578118.523 | 1141169.8621 | 2578103.1313 | 1141161.2139 | 2578085.8784 | 1141158.6533 | 2578063.0355 | 1141157.9474 | 2578041.8173 | 1141162.1491 | 2578011.9751 | 1141173.1081 | 2577998.4515 | 1141174.9696 | 2577980.9662 | 1141174.0332 | 2577980.2549 | 1141173.811
1 | 2578131.4602 | 1141182.1878 | 2578149.9623 | 1141219.6167 | 2578160.346 | 1141238.0214 | 2578176.2104 | 1141249.914 | 2578215.5763 | 1141287.3786 | 2578222.9754 | 1141292.621 | 2578234.1856 | 1141293.1029 | 2578247.7624 | 1141310.2399 | 2578250.0355 | 1141332.9318 | 2578249.2556 | 1141346.8303
2 | 2578131.4602 | 1141182.1878 | 2578143.7603 | 1141180.0086 | 2578160.3131 | 1141184.7996
3 | 2578249.2556 | 1141346.8303 | 2578241.1727 | 1141345.7934
4 | 2578249.2556 | 1141346.8303 | 2578272.0817 | 1141340.9782 | 2578285.097 | 1141326.1906 | 2578304.99 | 1141308.6723
5 | 2578121.977 | 1141360.4546 | 2578121.977 | 1141360.4546 | 2578127.4866 | 1141359.8231 | 2578133.1617 | 1141358.1683 | 2578159.0404 | 1141346.2128 | 2578188.8344 | 1141339.0788 | 2578241.1727 | 1141345.7934
6 | 2578304.99 | 1141308.6723 | 2578321.3362 | 1141294.2773 | 2578353.6823 | 1141276.3186 | 2578467.5909 | 1141296.7787
7 | 2577809.0142 | 1141133.7592 | 2577808.9144 | 1141134.402 | 2577803.5536 | 1141140.0023
8 | 2577803.5536 | 1141140.0023 | 2577803.5536 | 1141140.0023 | 2577763.9202 | 1141153.7556 | 2577756.4639 | 1141151.8933
9 | 2577746.4919 | 1141081.0731 | 2577754.2784 | 1141082.7896 | 2577757.2714 | 1141085.5243 | 2577758.6263 | 1141090.166 | 2577759.157 | 1141096.4672 | 2577752.7351 | 1141145.5929 | 2577756.4639 | 1141151.8933 | 2577756.4639 | 1141151.8933
10 | 2577746.4919 | 1141081.0731 | 2577745.4346 | 1141088.2806 | 2577744.2724 | 1141094.1433 | 2577741.51 | 1141101.7795 | 2577727.6967 | 1141125.0422 | 2577721.9752 | 1141132.8561 | 2577717.2648 | 1141137.587 | 2577677.4891 | 1141166.8046 | 2577672.7685 | 1141172.9251 | 2577672.0126 | 1141175.0046
11 | 2578032.6508 | 1141338.0027 | 2578039.3083 | 1141338.045 | 2578056.1952 | 1141335.2153 | 2578065.9211 | 1141335.5577 | 2578071.7947 | 1141337.7485 | 2578083.4295 | 1141342.9419 | 2578095.0146 | 1141349.2806 | 2578111.0671 | 1141357.982 | 2578116.9476 | 1141359.9727 | 2578121.977 | 1141360.4546
12 | 2578484.2633 | 1141299.7734 | 2578467.5909 | 1141296.7787
13 | 2577562.1064 | 1141356.3932 | 2577562.2598 | 1141356.7829 | 2577562.4193 | 1141357.3027
14 | 2577562.4193 | 1141357.3027 | 2577563.466 | 1141360.7137 | 2577563.9228 | 1141363.6245 | 2577563.8178 | 1141365.2103
15 | 2577559.7529 | 1141350.4113 | 2577562.1064 | 1141356.3932
16 | 2577562.9401 | 1141370.1536 | 2577563.7335 | 1141366.4822 | 2577563.8178 | 1141365.2103
17 | 2577559.7529 | 1141350.4113 | 2577576.5902 | 1141330.4086
18 | 2577531.6662 | 1141304.0712 | 2577534.543 | 1141306.5505 | 2577535.8639 | 1141308.2575 | 2577551.6014 | 1141335.2787 | 2577559.7529 | 1141350.4113
19 | 2577562.9401 | 1141370.1536 | 2577562.9401 | 1141370.1536 | 2577561.111 | 1141374.4181 | 2577558.6281 | 1141378.5627 | 2577555.367 | 1141382.2656 | 2577550.6932 | 1141386.4296 | 2577548.6655 | 1141387.9056
20 | 2577591.9592 | 1141312.1501 | 2577576.5902 | 1141330.4086
21 | 2577531.6662 | 1141304.0712 | 2577465.0024 | 1141319.1504
22 | 2577531.6662 | 1141304.0712 | 2577529.6623 | 1141302.6891 | 2577526.9514 | 1141301.3764 | 2577523.8417 | 1141300.343 | 2577520.2113 | 1141299.8341 | 2577465.106 | 1141299.6404 | 2577447.6989 | 1141301.0508 | 2577438.2209 | 1141303.2986 | 2577430.7119 | 1141306.0411
23 | 2577531.0801 | 1141398.6416 | 2577537.5576 | 1141395.2608 | 2577544.0769 | 1141391.2456 | 2577548.6655 | 1141387.9056
24 | 2577591.9592 | 1141312.1501 | 2577601.8532 | 1141295.6717 | 2577623.5112 | 1141275.0396
25 | 2577251.2753 | 1141424.0707 | 2577284.1414 | 1141415.79 | 2577313.7594 | 1141405.1618 | 2577324.9187 | 1141400.3395 | 2577332.3034 | 1141395.487 | 2577336.3776 | 1141391.3696 | 2577341.1912 | 1141385.582 | 2577347.2855 | 1141376.9325 | 2577356.1761 | 1141365.7157 | 2577367.653 | 1141353.3441 | 2577394.0684 | 1141331.1671 | 2577412.0632 | 1141316.3922 | 2577419.8009 | 1141311.3162 | 2577427.7648 | 1141307.1175 | 2577430.7119 | 1141306.0411
26 | 2577529.8775 | 1141399.2693 | 2577531.0801 | 1141398.6416
27 | 2577767.9284 | 1141452.1018 | 2577776.4534 | 1141449.4328 | 2577786.7591 | 1141445.5308
28 | 2577743.3109 | 1141457.4566 | 2577764.3445 | 1141453.2239 | 2577767.9284 | 1141452.1018
29 | 2577786.7591 | 1141445.5308 | 2577807.6744 | 1141437.6116 | 2577807.8167 | 1141437.5477
30 | 2577743.3109 | 1141457.4566 | 2577688.2772 | 1141468.5312
31 | 2577822.5806 | 1141430.9148 | 2577807.8167 | 1141437.5477
32 | 2577688.2772 | 1141468.5312 | 2577683.7206 | 1141469.4482
33 | 2577823.7466 | 1141430.391 | 2577822.5806 | 1141430.9148
34 | 2577673.3439 | 1141472.5486 | 2577677.3665 | 1141471.0551 | 2577682.6272 | 1141469.6682 | 2577683.7206 | 1141469.4482
35 | 2577829.5549 | 1141427.7816 | 2577823.7466 | 1141430.391
36 | 2577673.3439 | 1141472.5486 | 2577636.1334 | 1141475.6773
37 | 2577469.614 | 1141634.6767 | 2577489.9969 | 1141617.1905
38 | 2577469.614 | 1141634.6767 | 2577456.3412 | 1141646.0633
39 | 2577506.8958 | 1141601.4994 | 2577503.0613 | 1141605.9827 | 2577489.9969 | 1141617.1905
40 | 2577456.3412 | 1141646.0633 | 2577423.8389 | 1141673.9466 | 2577414.6479 | 1141677.5664
41 | 2577506.8958 | 1141601.4994 | 2577491.2862 | 1141582.713
42 | 2577521.5068 | 1141584.4252 | 2577506.8958 | 1141601.4994
43 | 2577385.4612 | 1141692.9877 | 2577400.3282 | 1141683.2062 | 2577414.6479 | 1141677.5664
44 | 2577491.2862 | 1141582.713 | 2577444.594 | 1141526.5181 | 2577440.7828 | 1141520.8296 | 2577438.8688 | 1141516.757 | 2577437.617 | 1141512.9821 | 2577437.0478 | 1141508.8155 | 2577437.4464 | 1141502.3775 | 2577440.2009 | 1141486.7313
45 | 2577521.5068 | 1141584.4252 | 2577526.0281 | 1141579.8843
46 | 2577521.5068 | 1141584.4252 | 2577532.1124 | 1141598.0701
47 | 2577364.245 | 1141706.9465 | 2577385.4612 | 1141692.9877
48 | 2577442.4671 | 1141473.8582 | 2577440.2009 | 1141486.7313
49 | 2577526.0281 | 1141579.8843 | 2577531.1947 | 1141574.6953 | 2577565.9555 | 1141549.1213
50 | 2577519.2891 | 1141651.2221 | 2577515.3299 | 1141647.0237 | 2577515.7918 | 1141632.8038 | 2577521.6243 | 1141617.8858 | 2577532.1124 | 1141598.0701
51 | 2577182.9524 | 1141913.8746 | 2577189.1269 | 1141912.3616 | 2577193.4524 | 1141907.754 | 2577202.7059 | 1141879.0158 | 2577230.8326 | 1141834.544
52 | 2577230.8326 | 1141834.544 | 2577363.2595 | 1141896.9956
53 | 2577182.9524 | 1141913.8746 | 2577181.2754 | 1141889.2466 | 2577175.1832 | 1141871.9501 | 2577167.9069 | 1141854.5803 | 2577165.935 | 1141838.5067
54 | 2577182.9524 | 1141913.8746 | 2577175.6709 | 1141927.4868 | 2577161.5793 | 1141935.0996 | 2577112.3817 | 1141954.6964 | 2577091.2494 | 1141972.4635 | 2577044.9368 | 1141996.5632 | 2577017.4185 | 1142004.6279 | 2577012.5199 | 1142009.1002
55 | 2577363.2595 | 1141896.9956 | 2577364.7171 | 1141898.7041
56 | 2577165.935 | 1141838.5067 | 2577163.7343 | 1141820.5682 | 2577156.3598 | 1141785.4678 | 2577155.0197 | 1141758.5152 | 2577158.6201 | 1141743.105 | 2577167.9704 | 1141733.7537 | 2577171.2882 | 1141731.246
57 | 2576891.3087 | 1142125.9714 | 2576970.2989 | 1142058.6905 | 2577003.5158 | 1142017.3207 | 2577012.5199 | 1142009.1002
58 | 2577388.8999 | 1141886.0381 | 2577383.0741 | 1141902.5905 | 2577376.7788 | 1141912.8414 | 2577364.7171 | 1141898.7041
59 | 2577191.6913 | 1141711.1414 | 2577184.7032 | 1141721.1062 | 2577171.2882 | 1141731.246
60 | 2576891.3087 | 1142125.9714 | 2576890.6094 | 1142114.0348 | 2576888.1075 | 1142107.0521 | 2576881.0928 | 1142105.8563
61 | 2577763.109 | 1141332.5735 | 2577711.2335 | 1141320.9099
62 | 2577779.4943 | 1141336.2576 | 2577763.109 | 1141332.5735
63 | 2577706.0429 | 1141319.658 | 2577708.1251 | 1141320.211 | 2577711.2335 | 1141320.9099
64 | 2577779.4943 | 1141336.2576 | 2577798.452 | 1141340.52 | 2577805.4973 | 1141341.4834 | 2577810.4091 | 1141341.6086
65 | 2577825.1087 | 1141339.5433 | 2577818.4561 | 1141340.8352 | 2577811.2097 | 1141341.629 | 2577810.4091 | 1141341.6086
66 | 2577825.1087 | 1141339.5433 | 2577829.5678 | 1141337.5593 | 2577833.4614 | 1141334.3878 | 2577848.0128 | 1141319.4934 | 2577852.5747 | 1141316.2083 | 2577857.9021 | 1141314.0988 | 2577862.3272 | 1141313.2821 | 2577867.8176 | 1141313.6954 | 2577895.2425 | 1141320.8869
67 | 2577637.0229 | 1141261.4766 | 2577629.2315 | 1141269.5902 | 2577623.5112 | 1141275.0396
68 | 2577895.2425 | 1141320.8869 | 2577900.4706 | 1141346.1135 | 2577903.1288 | 1141366.5693 | 2577904.2722 | 1141371.4549
69 | 2577463.7404 | 1141427.453 | 2577464.0876 | 1141431.8872 | 2577463.4674 | 1141434.5909 | 2577454.9763 | 1141443.7161 | 2577451.1593 | 1141448.7663 | 2577448.8921 | 1141453.0324 | 2577445.981 | 1141459.8134 | 2577443.7464 | 1141466.5918 | 2577442.4671 | 1141473.8582
70 | 2577639.2042 | 1141495.2311 | 2577565.9555 | 1141549.1213
71 | 2577519.2891 | 1141651.2221 | 2577515.2572 | 1141664.5548 | 2577503.8678 | 1141683.1856
72 | 2577519.2891 | 1141651.2221 | 2577525.5807 | 1141652.1545 | 2577529.8649 | 1141649.3161
73 | 2577642.2332 | 1141255.6572 | 2577639.8913 | 1141258.4896 | 2577637.0229 | 1141261.4766
74 | 2577129.1674 | 1141657.308 | 2577112.9595 | 1141676.5681 | 2577072.5201 | 1141745.6896 | 2577067.5261 | 1141758.4594 | 2577063.6308 | 1141773.0704 | 2577061.4429 | 1141795.9678 | 2577061.0182 | 1141797.9598
75 | 2577047.6999 | 1141832.5272 | 2577052.4273 | 1141824.4607 | 2577058.1126 | 1141811.5882 | 2577061.0182 | 1141797.9598
76 | 2577129.1674 | 1141657.308 | 2577147.5574 | 1141645.8101 | 2577182.396 | 1141627.7244 | 2577194.3201 | 1141617.941 | 2577202.3133 | 1141607.4277 | 2577218.2494 | 1141573.1281 | 2577227.3574 | 1141560.5985 | 2577234.6202 | 1141555.8466
77 | 2577129.1674 | 1141657.308 | 2577136.2561 | 1141663.673 | 2577157.4294 | 1141660.4243 | 2577179.3597 | 1141658.1065 | 2577192.1811 | 1141661.9819 | 2577200.6047 | 1141673.7336 | 2577203.2874 | 1141687.897 | 2577198.9164 | 1141700.8311 | 2577195.1986 | 1141706.1364
78 | 2577129.1674 | 1141657.308 | 2576901.2562 | 1141486.4951
79 | 2577047.6999 | 1141832.5272 | 2577040.4821 | 1141834.7183
80 | 2577047.6999 | 1141832.5272 | 2577018.3429 | 1141882.5752 | 2577002.4984 | 1141902.1566 | 2576988.6681 | 1141913.7375 | 2576921.4791 | 1141959.7151
81 | 2577238.3453 | 1141553.4094 | 2577234.6202 | 1141555.8466
82 | 2577191.6913 | 1141711.1414 | 2577195.1986 | 1141706.1364
83 | 2576743.1094 | 1141563.2317 | 2576901.2562 | 1141486.4951
84 | 2576880.1306 | 1141877.814 | 2576885.8887 | 1141881.9828 | 2576895.6366 | 1141890.2272 | 2576915.99 | 1141905.8789 | 2576929.8219 | 1141910.7505 | 2576944.2408 | 1141910.3505 | 2576959.8295 | 1141904.3211 | 2576979.1193 | 1141893.2083 | 2576996.2672 | 1141878.7911 | 2577021.0107 | 1141850.5381 | 2577035.2385 | 1141836.31 | 2577040.4821 | 1141834.7183
85 | 2577306.8136 | 1141544.5345 | 2577261.6721 | 1141546.0614 | 2577243.7291 | 1141549.8868 | 2577238.3453 | 1141553.4094
86 | 2577191.6913 | 1141711.1414 | 2577209.0352 | 1141709.6082 | 2577229.1678 | 1141689.3886 | 2577249.4205 | 1141674.4378 | 2577256.7372 | 1141674.0766
87 | 2576880.1306 | 1141877.814 | 2576867.6667 | 1141874.8939 | 2576801.4178 | 1141881.9082 | 2576793.2293 | 1141887.3647 | 2576792.7113 | 1141888.2052
88 | 2576880.1306 | 1141877.814 | 2576893.2574 | 1141855.2079 | 2576913.491 | 1141835.0268
89 | 2577306.8136 | 1141544.5345 | 2577319.4484 | 1141543.7087 | 2577332.1402 | 1141541.7042 | 2577342.993 | 1141539.2288 | 2577354.8423 | 1141536.0047 | 2577366.6865 | 1141531.4357 | 2577376.778 | 1141526.8398 | 2577385.223 | 1141521.8612 | 2577392.5072 | 1141516.8869 | 2577398.6372 | 1141511.6279 | 2577405.8892 | 1141504.2081 | 2577411.7447 | 1141497.4716 | 2577417.4502 | 1141489.7019 | 2577437.0887 | 1141458.2904 | 2577424.875 | 1141450.5325
90 | 2577252.2797 | 1141694.6481 | 2577256.7372 | 1141674.0766
91 | 2576787.1105 | 1141897.2933 | 2576792.7113 | 1141888.2052
92 | 2577639.2042 | 1141495.2311 | 2577637.0392 | 1141493.9163 | 2577636.6359 | 1141490.9052 | 2577637.1909 | 1141489.2356 | 2577638.6008 | 1141487.9965 | 2577639.3865 | 1141486.3705 | 2577639.3341 | 1141484.681 | 2577636.1334 | 1141475.6773
93 | 2577639.2042 | 1141495.2311 | 2577644.1349 | 1141496.0687 | 2577647.0063 | 1141499.204 | 2577652.5354 | 1141505.909 | 2577653.3087 | 1141509.9928
94 | 2577636.1334 | 1141475.6773 | 2577627.1803 | 1141476.3999
95 | 2577653.3087 | 1141509.9928 | 2577653.6567 | 1141511.83 | 2577654.3986 | 1141517.0187 | 2577654.4219 | 1141517.2145
96 | 2577658.4938 | 1141560.894 | 2577656.0173 | 1141530.5971 | 2577654.4219 | 1141517.2145
97 | 2577529.8775 | 1141399.2693 | 2577537.1181 | 1141399.0199 | 2577537.8453 | 1141400.2288 | 2577529.4953 | 1141406.0296 | 2577545.7134 | 1141411.5606 | 2577555.6521 | 1141411.2567 | 2577559.1373 | 1141411.9996 | 2577562.2553 | 1141413.233 | 2577564.9671 | 1141414.7681
98 | 2577529.8775 | 1141399.2693 | 2577508.5345 | 1141406.775
99 | 2577646.6328 | 1141574.4425 | 2577647.6526 | 1141569.603 | 2577658.5945 | 1141562.1253 | 2577658.4938 | 1141560.894
100 | 2577642.2332 | 1141255.6572 | 2577646.8481 | 1141250.0706 | 2577649.1224 | 1141245.7275
101 | 2577829.5549 | 1141427.7816 | 2577844.4376 | 1141421.5125 | 2577851.0753 | 1141418.2753 | 2577871.3145 | 1141407.6977
102 | 2577903.9304 | 1141390.8605 | 2577899.252 | 1141393.0967 | 2577871.3145 | 1141407.6977
103 | 2577908.3226 | 1141388.7612 | 2577904.2722 | 1141371.4549
104 | 2577908.3226 | 1141388.7612 | 2577903.9304 | 1141390.8605
105 | 2577908.3226 | 1141388.7612 | 2577925.0579 | 1141381.8982
106 | 2578032.6508 | 1141338.0027 | 2578027.0855 | 1141344.4484 | 2578022.5227 | 1141347.5111 | 2578016.515 | 1141350.7013 | 2577992.1271 | 1141358.2498 | 2577958.3587 | 1141369.9388
107 | 2577937.7172 | 1141377.0838 | 2577958.3587 | 1141369.9388
108 | 2577937.7172 | 1141377.0838 | 2577931.8185 | 1141379.1257 | 2577925.0579 | 1141381.8982
109 | 2577713.2285 | 1141690.8193 | 2577710.4032 | 1141689.707 | 2577709.5044 | 1141687.7872 | 2577701.7977 | 1141686.6485
110 | 2577713.2285 | 1141690.8193 | 2577865.5122 | 1141764.5707
111 | 2577646.6328 | 1141574.4425 | 2577643.2556 | 1141579.9578 | 2577647.4681 | 1141588.2018 | 2577652.9567 | 1141598.5198 | 2577668.3325 | 1141629.9226 | 2577674.566 | 1141644.1731 | 2577678.7619 | 1141656.2413 | 2577686.4742 | 1141669.2301 | 2577701.7977 | 1141686.6485 | 2577701.7977 | 1141686.6485
112 | 2578088.6682 | 1143189.6113 | 2578093.5046 | 1143188.1707 | 2578098.7296 | 1143181.5929 | 2578108.0472 | 1143180.3583 | 2578113.2157 | 1143177.2602 | 2578121.0806 | 1143178.0764 | 2578132.9774 | 1143171.7855 | 2578138.6415 | 1143167.585 | 2578143.2607 | 1143167.7016 | 2578147.1305 | 1143168.8548 | 2578151.5629 | 1143170.4061 | 2578155.7749 | 1143168.4343 | 2578159.6903 | 1143169.4427 | 2578163.075 | 1143174.5663 | 2578166.9773 | 1143174.0852 | 2578178.0837 | 1143176.5461 | 2578181.5394 | 1143177.9342 | 2578185.4519 | 1143178.1534 | 2578187.8716 | 1143175.7324 | 2578193.8757 | 1143172.0421 | 2578199.0845 | 1143171.5452 | 2578207.0904 | 1143170.9825 | 2578212.7007 | 1143173.141 | 2578220.5642 | 1143175.6915 | 2578226.4246 | 1143174.7365 | 2578235.1892 | 1143175.7163 | 2578244.5151 | 1143180.9851 | 2578249.7591 | 1143181.7443 | 2578253.3678 | 1143185.0773 | 2578259.7589 | 1143190.6347
113 | 2578088.6682 | 1143189.6113 | 2577230.5603 | 1143094.2717
114 | 2576743.3418 | 1142288.9117 | 2577230.5603 | 1143094.2717
115 | 2577463.7404 | 1141427.453 | 2577469.353 | 1141423.5411 | 2577477.1934 | 1141419.243 | 2577485.7352 | 1141415.4424 | 2577504.1204 | 1141408.4479 | 2577508.5345 | 1141406.775
116 | 2577452.1758 | 1141426.7071 | 2577457.1102 | 1141432.6026 | 2577463.7404 | 1141427.453
117 | 2577508.5345 | 1141406.775 | 2577491.2379 | 1141369.8771 | 2577488.7284 | 1141366.9406 | 2577485.5372 | 1141366.6858 | 2577480.7672 | 1141367.7375 | 2577469.1314 | 1141374.3807
118 | 2577452.1758 | 1141426.7071 | 2577445.5709 | 1141430.4337 | 2577439.7194 | 1141433.8362
119 | 2577424.875 | 1141450.5325 | 2577430.2082 | 1141441.8415 | 2577433.0089 | 1141438.4182 | 2577436.6039 | 1141435.6477 | 2577439.7194 | 1141433.8362
120 | 2577667.0074 | 1141195.7902 | 2577669.7702 | 1141181.1737 | 2577672.0126 | 1141175.0046
121 | 2577667.0074 | 1141195.7902 | 2577666.204 | 1141200.0407 | 2577661.2387 | 1141216.8341 | 2577654.4169 | 1141234.6682 | 2577650.7793 | 1141242.5634 | 2577649.1224 | 1141245.7275
122 | 2577493.9455 | 1141694.967 | 2577503.1397 | 1141684.3766 | 2577503.8678 | 1141683.1856
123 | 2576872.3534 | 1142113.2086 | 2576875.3344 | 1142109.5691 | 2576881.0928 | 1142105.8563 | 2576881.0928 | 1142105.8563
124 | 2576787.1105 | 1141897.2933 | 2576787.1105 | 1141897.2933 | 2576780.3136 | 1141898.9824
125 | 2576806.7769 | 1142194.8643 | 2576796.4114 | 1142219.661 | 2576788.5117 | 1142234.0875 | 2576781.2736 | 1142242.6864 | 2576759.1298 | 1142260.7365 | 2576751.7646 | 1142268.2353 | 2576750.0202 | 1142276.3016 | 2576745.8151 | 1142286.0449 | 2576743.3418 | 1142288.9117
126 | 2576806.7769 | 1142194.8643 | 2576796.5168 | 1142189.2345 | 2576788.0868 | 1142187.7774 | 2576747.283 | 1142210.5353 | 2576742.5984 | 1142213.5882
127 | 2576850.374 | 1142160.8461 | 2576819.9279 | 1142186.7763 | 2576806.7769 | 1142194.8643
128 | 2576850.374 | 1142160.8461 | 2576854.049 | 1142149.1151 | 2576856.0852 | 1142142.9375 | 2576863.0713 | 1142126.7359 | 2576869.5889 | 1142116.5836 | 2576872.3534 | 1142113.2086
129 | 2576742.5984 | 1142213.5882 | 2576738.166 | 1142224.1995 | 2576730.7044 | 1142232.6214 | 2576718.9483 | 1142239.2573
130 | 2578756.3773 | 1141277.3427 | 2578780.3586 | 1141273.9402 | 2578819.9547 | 1141281.9044 | 2578849.2569 | 1141277.0414
131 | 2578756.3773 | 1141277.3427 | 2578652.2709 | 1141292.1139 | 2578637.6693 | 1141288.9647
132 | 2578849.2569 | 1141277.0414 | 2578888.2168 | 1141270.5755
133 | 2578544.4253 | 1141293.0539 | 2578580.3675 | 1141276.6065 | 2578637.6693 | 1141288.9647
134 | 2578907.0674 | 1141267.4471 | 2578888.2168 | 1141270.5755
135 | 2578544.4253 | 1141293.0539 | 2578544.4253 | 1141293.0539 | 2578532.9293 | 1141295.1313
136 | 2578907.0674 | 1141267.4471 | 2578975.0115 | 1141256.171
137 | 2578484.2633 | 1141299.7734 | 2578495.7867 | 1141301.8432 | 2578532.9293 | 1141295.1313
138 | 2576753.9197 | 1141916.188 | 2576766.1654 | 1141903.6329 | 2576774.5239 | 1141900.4212 | 2576780.3136 | 1141898.9824

## bus_geodata
| x | y | coords
0 | 2577980.2549 | 1141173.811
1 | 2578131.4602 | 1141182.1877
2 | 2578249.2556 | 1141346.8303
3 | 2578160.3131 | 1141184.7996
4 | 2578241.1727 | 1141345.7934
5 | 2578304.99 | 1141308.6723
6 | 2577809.0142 | 1141133.7592
7 | 2577803.5536 | 1141140.0023
8 | 2577756.4639 | 1141151.8933
9 | 2577746.4919 | 1141081.0731
10 | 2578121.977 | 1141360.4546
11 | 2578467.5909 | 1141296.7787
12 | 2577562.4193 | 1141357.3027
13 | 2577562.1064 | 1141356.3932
14 | 2577563.8178 | 1141365.2103
15 | 2577559.7529 | 1141350.4113
16 | 2577562.9401 | 1141370.1536
17 | 2577576.5902 | 1141330.4086
18 | 2577531.6662 | 1141304.0712
19 | 2577548.6655 | 1141387.9056
20 | 2577591.9592 | 1141312.1501
21 | 2577465.0024 | 1141319.1504
22 | 2577430.7119 | 1141306.0411
23 | 2577531.0801 | 1141398.6416
24 | 2577767.9284 | 1141452.1018
25 | 2577786.7591 | 1141445.5308
26 | 2577743.3109 | 1141457.4566
27 | 2577807.8167 | 1141437.5477
28 | 2577688.2772 | 1141468.5312
29 | 2577822.5806 | 1141430.9148
30 | 2577683.7206 | 1141469.4482
31 | 2577823.7466 | 1141430.391
32 | 2577673.3439 | 1141472.5486
33 | 2577469.614 | 1141634.6767
34 | 2577489.9969 | 1141617.1905
35 | 2577456.3412 | 1141646.0633
36 | 2577506.8958 | 1141601.4994
37 | 2577414.6479 | 1141677.5664
38 | 2577491.2862 | 1141582.713
39 | 2577521.5068 | 1141584.4252
40 | 2577385.4612 | 1141692.9877
41 | 2577440.2009 | 1141486.7313
42 | 2577526.0281 | 1141579.8843
43 | 2577532.1124 | 1141598.0701
44 | 2577364.245 | 1141706.9465
45 | 2577230.8326 | 1141834.544
46 | 2577182.9524 | 1141913.8746
47 | 2577363.2595 | 1141896.9956
48 | 2577165.935 | 1141838.5067
49 | 2577012.5199 | 1142009.1002
50 | 2577388.8999 | 1141886.0381
51 | 2577364.7171 | 1141898.7041
52 | 2577171.2882 | 1141731.246
53 | 2576891.3087 | 1142125.9714
54 | 2577763.109 | 1141332.5735
55 | 2577711.2335 | 1141320.9099
56 | 2577779.4943 | 1141336.2576
57 | 2577706.0429 | 1141319.658
58 | 2577810.4091 | 1141341.6086
59 | 2577825.1087 | 1141339.5433
60 | 2577623.5112 | 1141275.0396
61 | 2577895.2425 | 1141320.8869
62 | 2577442.4671 | 1141473.8582
63 | 2577565.9555 | 1141549.1213
64 | 2577519.2891 | 1141651.2221
65 | 2577637.0229 | 1141261.4766
66 | 2577061.0182 | 1141797.9598
67 | 2577129.1674 | 1141657.308
68 | 2577047.6999 | 1141832.5272
69 | 2577234.6202 | 1141555.8466
70 | 2577195.1986 | 1141706.1364
71 | 2576901.2562 | 1141486.4951
72 | 2577040.4821 | 1141834.7183
73 | 2576921.4791 | 1141959.7151
74 | 2577238.3453 | 1141553.4094
75 | 2577191.6913 | 1141711.1414
76 | 2576743.1094 | 1141563.2317
77 | 2576880.1306 | 1141877.814
78 | 2577306.8136 | 1141544.5345
79 | 2577256.7372 | 1141674.0766
80 | 2576792.7113 | 1141888.2052
81 | 2576913.491 | 1141835.0268
82 | 2577639.2042 | 1141495.2311
83 | 2577636.1334 | 1141475.6773
84 | 2577653.3087 | 1141509.9928
85 | 2577627.1803 | 1141476.3999
86 | 2577654.4219 | 1141517.2145
87 | 2577564.9671 | 1141414.7681
88 | 2577529.8775 | 1141399.2693
89 | 2577658.4938 | 1141560.894
90 | 2577642.2332 | 1141255.6572
91 | 2577829.5549 | 1141427.7816
92 | 2577871.3145 | 1141407.6977
93 | 2577904.2722 | 1141371.4549
94 | 2577903.9304 | 1141390.8605
95 | 2577908.3226 | 1141388.7612
96 | 2578032.6508 | 1141338.0027
97 | 2577958.3587 | 1141369.9388
98 | 2577937.7172 | 1141377.0838
99 | 2577925.0579 | 1141381.8982
100 | 2577713.2285 | 1141690.8193
101 | 2577701.7977 | 1141686.6485
102 | 2577865.5122 | 1141764.5707
103 | 2577646.6328 | 1141574.4425
104 | 2577529.8649 | 1141649.3161
105 | 2578088.6682 | 1143189.6113
106 | 2578259.7589 | 1143190.6347
107 | 2577230.5603 | 1143094.2717
108 | 2577463.7404 | 1141427.453
109 | 2577508.5345 | 1141406.775
110 | 2577452.1758 | 1141426.7071
111 | 2577469.1314 | 1141374.3807
112 | 2577424.875 | 1141450.5325
113 | 2577439.7194 | 1141433.8362
114 | 2577252.2797 | 1141694.6481
115 | 2577667.0074 | 1141195.7902
116 | 2577672.0126 | 1141175.0046
117 | 2577649.1224 | 1141245.7275
118 | 2577503.8678 | 1141683.1856
119 | 2577493.9455 | 1141694.967
120 | 2576881.0928 | 1142105.8563
121 | 2577251.2753 | 1141424.0707
122 | 2576787.1105 | 1141897.2933
123 | 2576743.3418 | 1142288.9117
124 | 2576806.7769 | 1142194.8643
125 | 2576872.3534 | 1142113.2086
126 | 2576850.374 | 1142160.8461
127 | 2576742.5984 | 1142213.5882
128 | 2576718.9483 | 1142239.2573
129 | 2578756.3773 | 1141277.3427
130 | 2578849.2569 | 1141277.0414
131 | 2578637.6693 | 1141288.9647
132 | 2578888.2168 | 1141270.5755
133 | 2578544.4253 | 1141293.0539
134 | 2578907.0674 | 1141267.4471
135 | 2578532.9293 | 1141295.1313
136 | 2578975.0115 | 1141256.171
137 | 2578484.2633 | 1141299.7734
138 | 2576780.3136 | 1141898.9824
139 | 2576753.9197 | 1141916.188
140 | 2577639.2042 | 1141495.2311

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1