## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5841-27_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5841-27_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5841-27_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5841-27_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5841-27_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5841-27_0_1_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_5841-27_0_1_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_5841-27_0_1_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5841-27_0_1_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5841-27_0_1_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5841-27_0_1_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5841-27_0_1_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_5841-27_0_1_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5841-27_0_1_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5841-27_0_1_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5841-27_0_1_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_5841-27_0_1_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_5841-27_0_1_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_5841-27_0_1_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_5841-27_0_1_node_82 | 0.4 | n |  | TRUE
20 | bus_LV_5841-27_0_1_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_5841-27_0_1_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5841-27_0_1_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_5841-27_0_1_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_5841-27_0_1_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5841-27_0_1_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_5841-27_0_1_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5841-27_0_1_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5841-27_0_1_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5841-27_0_1_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5841-27_0_1_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5841-27_0_1_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5841-27_0_1_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_5841-27_0_1_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_5841-27_0_1_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5841-27_0_1_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5841-27_0_1_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_5841-27_0_1_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5841-27_0_1_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_5841-27_0_1_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5841-27_0_1_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5841-27_0_1_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_5841-27_0_1_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5841-27_0_1_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_5841-27_0_1_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5841-27_0_1_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_5841-27_0_1_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_5841-27_0_1_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5841-27_0_1_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_5841-27_0_1_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_5841-27_0_1_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5841-27_0_1_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5841-27_0_1_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5841-27_0_1_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_5841-27_0_1_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_5841-27_0_1_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_5841-27_0_1_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_5841-27_0_1_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5841-27_0_1_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_5841-27_0_1_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_5841-27_0_1_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_5841-27_0_1_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_5841-27_0_1_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_5841-27_0_1_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_5841-27_0_1_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5841-27_0_1_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_5841-27_0_1_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_5841-27_0_1_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_5841-27_0_1_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_5841-27_0_1_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_5841-27_0_1_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5841-27_0_1_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_5841-27_0_1_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_5841-27_0_1_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_5841-27_0_1_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_5841-27_0_1_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_5841-27_0_1_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_5841-27_0_1_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_5841-27_0_1_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_5841-27_0_1_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_5841-27_0_1_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_5841-27_0_1_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_5841-27_0_1_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_5841-27_0_1_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_5841-27_0_1_node_87 | 0.4 | n |  | TRUE
85 | bus_LV_5841-27_0_1_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_5841-27_0_1_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_5841-27_0_1_node_81 | 0.4 | n |  | TRUE
88 | bus_MV_0_node_33 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5841-27_0_1_load_0 | 0 | 0.0010682 | 0.00026772 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5841-27_0_1_load_1 | 1 | 0.0017979 | 0.0004506 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5841-27_0_1_load_2 | 2 | 0.0014194 | 0.00035574 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5841-27_0_1_load_3 | 3 | 0.0021293 | 0.00053367 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5841-27_0_1_load_4 | 4 | 0.0020405 | 0.00051139 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5841-27_0_1_load_20 | 5 | 0.0017919 | 0.0004491 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5841-27_0_1_load_5 | 7 | 0.0021884 | 0.00054847 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5841-27_0_1_load_6 | 8 | 0.00244 | 0.00061152 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5841-27_0_1_load_8 | 10 | 0.0012359 | 0.00030974 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5841-27_0_1_load_9 | 11 | 0.0021223 | 0.00053189 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5841-27_0_1_load_10 | 12 | 0.00062833 | 0.00015748 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5841-27_0_1_load_11 | 13 | 0.0018749 | 0.00046989 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5841-27_0_1_load_23 | 16 | 0.0019708 | 0.00049394 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5841-27_0_1_load_32 | 17 | 0.0016821 | 0.00042158 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5841-27_0_1_load_33 | 18 | 0.001074 | 0.00026916 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5841-27_0_1_load_82 | 19 | 0.00068603 | 0.00017193 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5841-27_0_1_load_83 | 20 | 0.00076635 | 0.00019207 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5841-27_0_1_load_19 | 21 | 0.0024154 | 0.00060535 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5841-27_0_1_load_84 | 22 | 0.00082523 | 0.00020682 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5841-27_0_1_load_14 | 24 | 0.0016708 | 0.00041874 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5841-27_0_1_load_15 | 25 | 0.0018576 | 0.00046556 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5841-27_0_1_load_16 | 26 | 0.00076467 | 0.00019164 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5841-27_0_1_load_18 | 27 | 0.0053135 | 0.0013317 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5841-27_0_1_load_22 | 29 | 0.00086607 | 0.00021706 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5841-27_0_1_load_24 | 30 | 0.0003419 | 8.5688e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5841-27_0_1_load_25 | 31 | 0.0019585 | 0.00049084 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5841-27_0_1_load_27 | 34 | 0.00021316 | 5.3423e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5841-27_0_1_load_28 | 35 | 5.1849e-05 | 1.2995e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5841-27_0_1_load_31 | 37 | 0.00031846 | 7.9814e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5841-27_0_1_load_53 | 38 | 0.00011797 | 2.9566e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5841-27_0_1_load_39 | 39 | 0.00049495 | 0.00012405 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5841-27_0_1_load_40 | 40 | 7.1406e-05 | 1.7896e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5841-27_0_1_load_41 | 41 | 0.00025484 | 6.3868e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5841-27_0_1_load_55 | 45 | 9.7833e-05 | 2.4519e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5841-27_0_1_load_52 | 46 | 0.00016818 | 4.215e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5841-27_0_1_load_45 | 47 | 7.6696e-05 | 1.9222e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5841-27_0_1_load_46 | 48 | 0.00025687 | 6.4377e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5841-27_0_1_load_48 | 50 | 0.00029105 | 7.2945e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5841-27_0_1_load_50 | 52 | 0.00016324 | 4.0912e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5841-27_0_1_load_51 | 53 | 0.00041095 | 0.00010299 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5841-27_0_1_load_59 | 54 | 0.00042082 | 0.00010547 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5841-27_0_1_load_61 | 55 | 0.00014329 | 3.5912e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5841-27_0_1_load_60 | 57 | 0.00010468 | 2.6235e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5841-27_0_1_load_56 | 58 | 0.00012406 | 3.1091e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5841-27_0_1_load_34 | 59 | 0.0041347 | 0.0010363 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5841-27_0_1_load_35 | 60 | 0.00093156 | 0.00023347 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5841-27_0_1_load_37 | 61 | 0.00016395 | 4.1089e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5841-27_0_1_load_38 | 62 | 0.00017205 | 4.3119e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5841-27_0_1_load_57 | 63 | 0.00015515 | 3.8884e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5841-27_0_1_load_58 | 64 | 0.00011991 | 3.0052e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5841-27_0_1_load_89 | 65 | 0.00018318 | 4.591e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5841-27_0_1_load_67 | 66 | 0.00036187 | 9.0694e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5841-27_0_1_load_71 | 67 | 0.00031659 | 7.9345e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5841-27_0_1_load_65 | 68 | 0.00015154 | 3.798e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5841-27_0_1_load_62 | 69 | 0.00027854 | 6.9809e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5841-27_0_1_load_63 | 70 | 0.00019813 | 4.9655e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5841-27_0_1_load_66 | 72 | 0.0017077 | 0.000428 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5841-27_0_1_load_86 | 73 | 0.00066237 | 0.00016601 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5841-27_0_1_load_85 | 74 | 0.00039124 | 9.8053e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5841-27_0_1_load_72 | 75 | 5.7711e-05 | 1.4464e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5841-27_0_1_load_68 | 76 | 0.00015588 | 3.9067e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5841-27_0_1_load_69 | 77 | 0.00011343 | 2.8429e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5841-27_0_1_load_78 | 79 | 8.5314e-05 | 2.1382e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5841-27_0_1_load_76 | 81 | 0.00023953 | 6.0033e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5841-27_0_1_load_77 | 82 | 7.0234e-05 | 1.7602e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5841-27_0_1_load_79 | 83 | 0.0004613 | 0.00011561 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5841-27_0_1_load_87 | 84 | 0.000441 | 0.00011052 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5841-27_0_1_load_75 | 85 | 0.00014746 | 3.6957e-05 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5841-27_0_1_load_80 | 86 | 0.00064702 | 0.00016216 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5841-27_0_1_load_81 | 87 | 7.0305e-05 | 1.762e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5841-27_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5841-27_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.048798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5841-27_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5841-27_0_1_line_3 | NAYY 4x150 SE | 3 | 4 | 0.027458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5841-27_0_1_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0073556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5841-27_0_1_line_5 | NAYY 4x150 SE | 5 | 6 | 0.051078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5841-27_0_1_line_6 | NAYY 4x150 SE | 6 | 21 | 0.0033692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5841-27_0_1_line_7 | NAYY 4x150 SE | 6 | 25 | 0.037655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5841-27_0_1_line_8 | NAYY 4x150 SE | 7 | 8 | 0.040883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5841-27_0_1_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0090351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5841-27_0_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0070672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5841-27_0_1_line_11 | NAYY 4x150 SE | 9 | 11 | 0.014535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5841-27_0_1_line_12 | NAYY 4x150 SE | 9 | 12 | 0.060399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5841-27_0_1_line_13 | NAYY 4x150 SE | 10 | 13 | 0.063443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5841-27_0_1_line_14 | NAYY 4x150 SE | 11 | 14 | 0.010188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5841-27_0_1_line_15 | NAYY 4x150 SE | 12 | 15 | 0.011283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5841-27_0_1_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0042864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5841-27_0_1_line_17 | NAYY 4x150 SE | 14 | 17 | 0.037468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5841-27_0_1_line_18 | NAYY 4x150 SE | 14 | 18 | 0.047621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5841-27_0_1_line_19 | NAYY 4x150 SE | 15 | 19 | 0.079416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5841-27_0_1_line_20 | NAYY 4x150 SE | 15 | 20 | 0.036136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5841-27_0_1_line_21 | NAYY 4x150 SE | 16 | 21 | 0.0094084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5841-27_0_1_line_22 | NAYY 4x150 SE | 19 | 22 | 0.095219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5841-27_0_1_line_23 | NAYY 4x150 SE | 20 | 23 | 0.12007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5841-27_0_1_line_24 | NAYY 4x150 SE | 22 | 62 | 0.018672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5841-27_0_1_line_25 | NAYY 4x150 SE | 23 | 73 | 0.025458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5841-27_0_1_line_26 | NAYY 4x150 SE | 23 | 74 | 0.10334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5841-27_0_1_line_27 | NAYY 4x150 SE | 23 | 72 | 0.072983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5841-27_0_1_line_28 | NAYY 4x150 SE | 24 | 25 | 0.019149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5841-27_0_1_line_29 | NAYY 4x150 SE | 24 | 26 | 0.0017618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5841-27_0_1_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0042203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5841-27_0_1_line_31 | NAYY 4x150 SE | 27 | 28 | 0.13016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5841-27_0_1_line_32 | NAYY 4x150 SE | 28 | 29 | 0.057608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5841-27_0_1_line_33 | NAYY 4x150 SE | 29 | 30 | 0.030456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5841-27_0_1_line_34 | NAYY 4x150 SE | 30 | 31 | 0.021136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5841-27_0_1_line_35 | NAYY 4x150 SE | 31 | 32 | 0.046541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5841-27_0_1_line_36 | NAYY 4x150 SE | 32 | 33 | 0.19246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5841-27_0_1_line_37 | NAYY 4x150 SE | 33 | 34 | 0.11565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5841-27_0_1_line_38 | NAYY 4x150 SE | 34 | 35 | 0.053345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5841-27_0_1_line_39 | NAYY 4x150 SE | 35 | 36 | 0.17224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5841-27_0_1_line_40 | NAYY 4x150 SE | 36 | 37 | 0.11026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5841-27_0_1_line_41 | NAYY 4x150 SE | 36 | 38 | 0.11932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5841-27_0_1_line_42 | NAYY 4x150 SE | 38 | 56 | 0.18913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5841-27_0_1_line_43 | NAYY 4x150 SE | 38 | 46 | 0.022739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5841-27_0_1_line_44 | NAYY 4x150 SE | 39 | 40 | 0.047676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5841-27_0_1_line_45 | NAYY 4x150 SE | 39 | 41 | 0.083507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5841-27_0_1_line_46 | NAYY 4x150 SE | 40 | 42 | 0.050686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5841-27_0_1_line_47 | NAYY 4x150 SE | 42 | 43 | 0.18987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5841-27_0_1_line_48 | NAYY 4x150 SE | 42 | 44 | 0.087251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5841-27_0_1_line_49 | NAYY 4x150 SE | 43 | 63 | 0.018795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5841-27_0_1_line_50 | NAYY 4x150 SE | 43 | 64 | 0.040211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5841-27_0_1_line_51 | NAYY 4x150 SE | 44 | 45 | 0.075542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5841-27_0_1_line_52 | NAYY 4x150 SE | 44 | 46 | 0.11172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5841-27_0_1_line_53 | NAYY 4x150 SE | 45 | 58 | 0.014429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5841-27_0_1_line_54 | NAYY 4x150 SE | 47 | 48 | 0.0045079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5841-27_0_1_line_55 | NAYY 4x150 SE | 47 | 49 | 0.056473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5841-27_0_1_line_56 | NAYY 4x150 SE | 48 | 50 | 0.019324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5841-27_0_1_line_57 | NAYY 4x150 SE | 49 | 51 | 0.088711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5841-27_0_1_line_58 | NAYY 4x150 SE | 50 | 52 | 0.01869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5841-27_0_1_line_59 | NAYY 4x150 SE | 51 | 53 | 0.060769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5841-27_0_1_line_60 | NAYY 4x150 SE | 52 | 54 | 0.034359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5841-27_0_1_line_61 | NAYY 4x150 SE | 53 | 55 | 0.11972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5841-27_0_1_line_62 | NAYY 4x150 SE | 54 | 57 | 0.11496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5841-27_0_1_line_63 | NAYY 4x150 SE | 56 | 57 | 0.15769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5841-27_0_1_line_64 | NAYY 4x150 SE | 59 | 60 | 0.027239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5841-27_0_1_line_65 | NAYY 4x150 SE | 60 | 61 | 0.27826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5841-27_0_1_line_66 | NAYY 4x150 SE | 61 | 62 | 0.0039808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5841-27_0_1_line_67 | NAYY 4x150 SE | 64 | 65 | 0.31213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5841-27_0_1_line_68 | NAYY 4x150 SE | 66 | 67 | 0.0099774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5841-27_0_1_line_69 | NAYY 4x150 SE | 66 | 68 | 0.079979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5841-27_0_1_line_70 | NAYY 4x150 SE | 67 | 75 | 0.042792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5841-27_0_1_line_71 | NAYY 4x150 SE | 68 | 70 | 0.055864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5841-27_0_1_line_72 | NAYY 4x150 SE | 69 | 70 | 0.0001502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5841-27_0_1_line_73 | NAYY 4x150 SE | 69 | 71 | 0.022562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5841-27_0_1_line_74 | NAYY 4x150 SE | 71 | 72 | 0.024988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5841-27_0_1_line_75 | NAYY 4x150 SE | 73 | 84 | 0.0075332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5841-27_0_1_line_76 | NAYY 4x150 SE | 74 | 76 | 0.20085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5841-27_0_1_line_77 | NAYY 4x150 SE | 76 | 77 | 0.025306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5841-27_0_1_line_78 | NAYY 4x150 SE | 77 | 78 | 0.17039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5841-27_0_1_line_79 | NAYY 4x150 SE | 77 | 79 | 0.15835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5841-27_0_1_line_80 | NAYY 4x150 SE | 78 | 80 | 0.0756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5841-27_0_1_line_81 | NAYY 4x150 SE | 79 | 81 | 0.018945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5841-27_0_1_line_82 | NAYY 4x150 SE | 80 | 85 | 0.13475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5841-27_0_1_line_83 | NAYY 4x150 SE | 81 | 82 | 0.028617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5841-27_0_1_line_84 | NAYY 4x150 SE | 82 | 83 | 0.005783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5841-27_0_1_line_85 | NAYY 4x150 SE | 85 | 86 | 0.034753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_5841-27_0_1_line_86 | NAYY 4x150 SE | 86 | 87 | 0.002027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5841-27_0_1_trafo_33 | 0.25 MVA 20/0.4 kV | 88 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2574501.4003 | 1145124.8211 | 2574499.1466 | 1145141.3598
1 | 2574514.3517 | 1145078.2755 | 2574508.2135 | 1145103.7142 | 2574503.1101 | 1145112.2734 | 2574501.4003 | 1145124.8211
2 | 2574503.3051 | 1145164.3918 | 2574497.023 | 1145156.9436 | 2574499.1466 | 1145141.3598
3 | 2574503.3051 | 1145164.3918 | 2574508.281 | 1145170.2914 | 2574512.6977 | 1145189.5313
4 | 2574512.2179 | 1145196.6921 | 2574513.2983 | 1145192.1476 | 2574512.6977 | 1145189.5313
5 | 2574471.0105 | 1145189.737 | 2574494.2717 | 1145200.1434 | 2574498.8087 | 1145202.97 | 2574510.2188 | 1145205.1004 | 2574512.2179 | 1145196.6921
6 | 2574471.0105 | 1145189.737 | 2574468.7183 | 1145187.2677 | 2574468.7183 | 1145187.2677
7 | 2574471.0105 | 1145189.737 | 2574484.8872 | 1145204.641 | 2574493.4633 | 1145219.6557
8 | 2574435.6245 | 1145069.5093 | 2574447.6853 | 1145088.4414 | 2574455.0539 | 1145105.3402
9 | 2574430.77 | 1145061.8891 | 2574435.6245 | 1145069.5093
10 | 2574455.0539 | 1145105.3402 | 2574455.5911 | 1145106.5724 | 2574457.8648 | 1145111.8244
11 | 2574430.77 | 1145061.8891 | 2574443.9871 | 1145067.9359
12 | 2574430.77 | 1145061.8891 | 2574428.179 | 1145057.8203 | 2574421.8037 | 1145011.2688 | 2574420.7878 | 1145002.7399
13 | 2574467.6856 | 1145173.617 | 2574465.5924 | 1145129.6747 | 2574457.8648 | 1145111.8244
14 | 2574452.3706 | 1145073.7253 | 2574443.9871 | 1145067.9359
15 | 2574419.4532 | 1144991.5357 | 2574420.7878 | 1145002.7399
16 | 2574467.8895 | 1145177.8986 | 2574467.6856 | 1145173.617
17 | 2574476.3158 | 1145100.3368 | 2574474.6962 | 1145098.8874 | 2574472.6972 | 1145091.3143 | 2574468.4346 | 1145084.3957 | 2574462.4742 | 1145079.3074 | 2574452.3706 | 1145073.7253
18 | 2574480.6901 | 1145111.8684 | 2574471.7864 | 1145101.1564 | 2574465.4947 | 1145090.4334 | 2574458.746 | 1145080.6239 | 2574452.3706 | 1145073.7253
19 | 2574419.4532 | 1144991.5357 | 2574363.7589 | 1145005.7023 | 2574342.1809 | 1145009.7135
20 | 2574419.4532 | 1144991.5357 | 2574414.7811 | 1144967.855 | 2574412.466 | 1144956.0813
21 | 2574467.8895 | 1145177.8986 | 2574468.005 | 1145180.3229 | 2574468.7183 | 1145187.2677
22 | 2574342.1809 | 1145009.7135 | 2574341.1124 | 1145009.9121 | 2574318.0458 | 1145012.8899 | 2574298.6635 | 1145009.6823 | 2574264.7968 | 1144993.3969 | 2574252.8055 | 1144986.8772
23 | 2574396.9705 | 1144837.7107 | 2574395.7651 | 1144843.3297 | 2574395.0768 | 1144858.4846 | 2574402.8757 | 1144907.309 | 2574412.466 | 1144956.0813
24 | 2574236.2091 | 1144986.4466 | 2574244.5512 | 1144982.3893 | 2574252.8055 | 1144986.8772
25 | 2574396.9705 | 1144837.7107 | 2574400.7108 | 1144837.4057 | 2574406.5704 | 1144847.6081 | 2574410.8061 | 1144849.9467 | 2574415.9075 | 1144849.925
26 | 2574396.9705 | 1144837.7107 | 2574391.4145 | 1144832.0538 | 2574362.9291 | 1144782.4729 | 2574357.964 | 1144776.6578 | 2574351.291 | 1144773.9183 | 2574341.0138 | 1144778.1976 | 2574333.565 | 1144787.9107
27 | 2574396.9705 | 1144837.7107 | 2574400.3396 | 1144826.0239 | 2574420.2953 | 1144799.5925 | 2574427.3131 | 1144793.0927 | 2574444.6558 | 1144787.7881
28 | 2574501.2509 | 1145237.132 | 2574494.8256 | 1145222.0408 | 2574493.4633 | 1145219.6557
29 | 2574501.9411 | 1145238.753 | 2574501.2509 | 1145237.132
30 | 2574501.9411 | 1145238.753 | 2574503.5944 | 1145242.636 | 2574503.5944 | 1145242.636
31 | 2574558.6495 | 1145346.4319 | 2574566.0028 | 1145330.3817 | 2574565.1209 | 1145318.0571 | 2574562.5932 | 1145305.3282 | 2574550.1453 | 1145284.8485 | 2574536.9013 | 1145270.5197 | 2574524.4995 | 1145262.7684 | 2574512.6322 | 1145252.4247 | 2574503.5944 | 1145242.636
32 | 2574558.6495 | 1145346.4319 | 2574552.5105 | 1145357.141 | 2574541.0152 | 1145367.4504 | 2574525.4127 | 1145380.2562 | 2574518.8436 | 1145387.3097
33 | 2574498.0871 | 1145409.5969 | 2574518.8436 | 1145387.3097
34 | 2574498.0871 | 1145409.5969 | 2574483.6819 | 1145425.0644
35 | 2574475.9903 | 1145470.2884 | 2574476.2431 | 1145446.6089 | 2574483.1602 | 1145425.6246 | 2574483.6819 | 1145425.0644
36 | 2574646.9835 | 1145403.1534 | 2574619.4725 | 1145412.1406 | 2574563.4756 | 1145426.6068 | 2574543.8044 | 1145436.4506 | 2574529.6719 | 1145449.8282 | 2574523.0473 | 1145458.3049 | 2574513.9476 | 1145470.0716 | 2574509.5692 | 1145468.3782 | 2574504.4707 | 1145467.1659 | 2574495.0018 | 1145467.9509 | 2574481.4492 | 1145469.5203 | 2574475.9903 | 1145470.2884
37 | 2574646.9835 | 1145403.1534 | 2574665.8105 | 1145391.6238 | 2574690.6109 | 1145370.142 | 2574713.7723 | 1145355.2927 | 2574739.0699 | 1145347.827 | 2574745.8128 | 1145346.512
38 | 2574745.8128 | 1145346.512 | 2574765.0536 | 1145342.7597 | 2574785.6763 | 1145334.3245 | 2574795.2979 | 1145328.0982
39 | 2574940.8627 | 1145236.9271 | 2574935.8467 | 1145238.9379 | 2574897.3805 | 1145259.253 | 2574848.273 | 1145288.4728 | 2574804.7998 | 1145321.9493 | 2574795.2979 | 1145328.0982
40 | 2574835.3995 | 1145239.5247 | 2574870.8136 | 1145231.5725 | 2574913.2437 | 1145227.6933 | 2574928.9031 | 1145226.394 | 2574940.8627 | 1145236.9271
41 | 2574940.8627 | 1145236.9271 | 2574985.0425 | 1145126.0868
42 | 2575134.3592 | 1145204.2515 | 2575132.0488 | 1145191.7548 | 2575125.8877 | 1145188.1563 | 2575099.3479 | 1145190.9009 | 2575088.3889 | 1145190.0348 | 2575047.8071 | 1145180.2762 | 2575026.5802 | 1145174.8061 | 2575013.7343 | 1145169.1456 | 2574999.0134 | 1145157.8456 | 2574991.9949 | 1145149.4596 | 2574987.7111 | 1145137.3047 | 2574985.0425 | 1145126.0868
43 | 2574979.78 | 1145103.9646 | 2574985.0425 | 1145126.0868
44 | 2575062.6273 | 1144959.5505 | 2575061.6349 | 1144935.8087 | 2575053.0864 | 1144921.6483 | 2575045.9334 | 1144919.8626
45 | 2575062.6273 | 1144959.5505 | 2575063.0082 | 1144968.6637 | 2575043.9574 | 1145006.317 | 2575045.5026 | 1145021.3292 | 2575045.8237 | 1145038.4216
46 | 2574996.9543 | 1144906.8409 | 2575023.2147 | 1144914.1909 | 2575045.9334 | 1144919.8626
47 | 2574923.8449 | 1144745.3877 | 2574919.9081 | 1144750.1732 | 2574920.9341 | 1144756.6833 | 2574946.9589 | 1144784.7664 | 2574985.8282 | 1144836.4745 | 2574994.9034 | 1144853.423 | 2575000.551 | 1144868.318 | 2575001.5785 | 1144886.3004 | 2574996.9543 | 1144906.8409
48 | 2574991.8217 | 1144993.483 | 2574993.8719 | 1144971.0522 | 2574992.332 | 1144940.7436 | 2574992.8448 | 1144925.5117 | 2574996.9543 | 1144906.8409
49 | 2574923.8449 | 1144745.3877 | 2574928.4987 | 1144733.807 | 2574927.7746 | 1144727.5342
50 | 2574923.8449 | 1144745.3877 | 2574963.9818 | 1144742.9413
51 | 2574991.8217 | 1144993.483 | 2574976.1375 | 1144990.8025 | 2574948.5153 | 1144988.4498 | 2574916.7641 | 1144985.2918
52 | 2574991.8217 | 1144993.483 | 2574982.4027 | 1145052.5515 | 2574977.6114 | 1145084.5651 | 2574979.3206 | 1145102.0333 | 2574979.78 | 1145103.9646
53 | 2574916.7641 | 1144985.2918 | 2574904.7137 | 1144977.3549
54 | 2575289.0955 | 1144972.8874 | 2575284.9109 | 1144974.5637
55 | 2575341.4918 | 1144991.3146 | 2575329.1192 | 1144986.8076 | 2575313.0659 | 1144976.5351 | 2575289.0955 | 1144972.8874 | 2575289.0955 | 1144972.8874
56 | 2575273.3064 | 1144989.0269 | 2575274.7607 | 1144984.4521 | 2575281.6094 | 1144975.8863 | 2575284.9109 | 1144974.5637
57 | 2575377.4883 | 1145072.4183 | 2575341.4918 | 1144991.3146
58 | 2575271.0258 | 1145007.2613 | 2575270.4754 | 1144997.9319 | 2575273.3064 | 1144989.0269
59 | 2575377.4883 | 1145072.4183 | 2575388.4046 | 1145072.1956 | 2575395.4671 | 1145074.5568 | 2575406.8114 | 1145085.0377 | 2575414.0865 | 1145096.169 | 2575419.8683 | 1145097.2348 | 2575426.0747 | 1145093.1741 | 2575426.3278 | 1145092.9111
60 | 2575271.0258 | 1145007.2613 | 2575271.3344 | 1145012.4912 | 2575276.0457 | 1145025.9673 | 2575286.1013 | 1145036.8869
61 | 2575478.7211 | 1145002.0027 | 2575473.8048 | 1145000.2886 | 2575466.7385 | 1145002.6408 | 2575463.9535 | 1145007.3545 | 2575467.3793 | 1145044.8036 | 2575464.6015 | 1145053.1524 | 2575426.3278 | 1145092.9111
62 | 2575238.8013 | 1145086.1061 | 2575252.9269 | 1145089.1049 | 2575305.7943 | 1145072.8349 | 2575309.0041 | 1145066.8521 | 2575308.1456 | 1145061.7086 | 2575286.1013 | 1145036.8869
63 | 2575134.3592 | 1145204.2515 | 2575238.8013 | 1145086.1061
64 | 2574183.0989 | 1145262.0029 | 2574169.1092 | 1145267.4101 | 2574158.9306 | 1145260.6101
65 | 2574232.6292 | 1144988.1878 | 2574183.0989 | 1145262.0029
66 | 2574236.2091 | 1144986.4466 | 2574232.6292 | 1144988.1878
67 | 2574963.9818 | 1144742.9413 | 2575119.8965 | 1144472.5376
68 | 2574576.3357 | 1144661.8859 | 2574580.628 | 1144670.8928
69 | 2574525.2056 | 1144726.7451 | 2574540.6436 | 1144708.8364 | 2574577.7519 | 1144679.3647 | 2574580.628 | 1144670.8928 | 2574580.628 | 1144670.8928
70 | 2574576.3357 | 1144661.8859 | 2574573.3953 | 1144655.7158 | 2574568.2203 | 1144623.9109 | 2574565.4682 | 1144621.3879
71 | 2574484.6504 | 1144765.0052 | 2574515.3671 | 1144738.1581 | 2574525.2056 | 1144726.7451
72 | 2574484.6504 | 1144765.0052 | 2574484.5373 | 1144765.1041
73 | 2574465.8328 | 1144775.976 | 2574472.8831 | 1144775.2901 | 2574484.5373 | 1144765.1041
74 | 2574465.8328 | 1144775.976 | 2574458.236 | 1144783.6343 | 2574444.6558 | 1144787.7881
75 | 2574422.6099 | 1144846.486 | 2574415.9075 | 1144849.925 | 2574415.9075 | 1144849.925
76 | 2574333.565 | 1144787.9107 | 2574178.4885 | 1144660.2767
77 | 2574172.9046 | 1144635.8223 | 2574174.5406 | 1144638.3635 | 2574177.9781 | 1144658.7366 | 2574178.4885 | 1144660.2767
78 | 2574008.5857 | 1144604.1286 | 2574024.2027 | 1144603.3607 | 2574159.9085 | 1144625.1754 | 2574169.3736 | 1144630.3373 | 2574172.9046 | 1144635.8223
79 | 2574172.9046 | 1144635.8223 | 2574305.4256 | 1144549.1509
80 | 2574008.5857 | 1144604.1286 | 2574012.7141 | 1144592.2493 | 2574022.8701 | 1144581.2666 | 2574035.3008 | 1144575.6768 | 2574060.1558 | 1144575.4694 | 2574069.6432 | 1144573.3051
81 | 2574324.2476 | 1144547.0061 | 2574310.2132 | 1144548.5375 | 2574305.4256 | 1144549.1509
82 | 2574069.6432 | 1144573.3051 | 2574081.5654 | 1144556.6899 | 2574091.343 | 1144536.3043 | 2574099.4641 | 1144525.5306 | 2574150.1899 | 1144466.0144
83 | 2574324.2476 | 1144547.0061 | 2574346.2626 | 1144544.6038 | 2574351.8398 | 1144541.3219
84 | 2574356.8239 | 1144538.389 | 2574351.8398 | 1144541.3219
85 | 2574172.7332 | 1144439.5645 | 2574150.1899 | 1144466.0144
86 | 2574174.0481 | 1144438.0218 | 2574172.7332 | 1144439.5645

## bus_geodata
| x | y | coords
0 | 2574501.4003 | 1145124.8211
1 | 2574499.1466 | 1145141.3598
2 | 2574514.3517 | 1145078.2755
3 | 2574503.3051 | 1145164.3918
4 | 2574512.6977 | 1145189.5313
5 | 2574512.2179 | 1145196.6921
6 | 2574471.0105 | 1145189.737
7 | 2574435.6245 | 1145069.5093
8 | 2574455.0539 | 1145105.3402
9 | 2574430.77 | 1145061.8891
10 | 2574457.8648 | 1145111.8244
11 | 2574443.9871 | 1145067.9359
12 | 2574420.7878 | 1145002.7399
13 | 2574467.6856 | 1145173.617
14 | 2574452.3706 | 1145073.7253
15 | 2574419.4532 | 1144991.5357
16 | 2574467.8895 | 1145177.8986
17 | 2574476.3158 | 1145100.3368
18 | 2574480.6901 | 1145111.8684
19 | 2574342.1809 | 1145009.7135
20 | 2574412.466 | 1144956.0813
21 | 2574468.7183 | 1145187.2677
22 | 2574252.8055 | 1144986.8772
23 | 2574396.9705 | 1144837.7107
24 | 2574501.2509 | 1145237.132
25 | 2574493.4633 | 1145219.6557
26 | 2574501.9411 | 1145238.753
27 | 2574503.5944 | 1145242.636
28 | 2574558.6495 | 1145346.4319
29 | 2574518.8436 | 1145387.3097
30 | 2574498.0871 | 1145409.597
31 | 2574483.6819 | 1145425.0644
32 | 2574475.9903 | 1145470.2884
33 | 2574646.9835 | 1145403.1534
34 | 2574745.8128 | 1145346.512
35 | 2574795.2979 | 1145328.0982
36 | 2574940.8627 | 1145236.9271
37 | 2574835.3995 | 1145239.5247
38 | 2574985.0425 | 1145126.0868
39 | 2575062.6273 | 1144959.5505
40 | 2575045.9334 | 1144919.8626
41 | 2575045.8237 | 1145038.4216
42 | 2574996.9543 | 1144906.8409
43 | 2574923.8449 | 1144745.3877
44 | 2574991.8217 | 1144993.483
45 | 2574916.7641 | 1144985.2918
46 | 2574979.78 | 1145103.9646
47 | 2575289.0955 | 1144972.8874
48 | 2575284.9109 | 1144974.5637
49 | 2575341.4918 | 1144991.3146
50 | 2575273.3064 | 1144989.0269
51 | 2575377.4883 | 1145072.4183
52 | 2575271.0258 | 1145007.2613
53 | 2575426.3278 | 1145092.9111
54 | 2575286.1013 | 1145036.8869
55 | 2575478.7211 | 1145002.0027
56 | 2575134.3592 | 1145204.2515
57 | 2575238.8013 | 1145086.1061
58 | 2574904.7137 | 1144977.3549
59 | 2574158.9306 | 1145260.6101
60 | 2574183.0989 | 1145262.0029
61 | 2574232.6292 | 1144988.1878
62 | 2574236.2091 | 1144986.4466
63 | 2574927.7746 | 1144727.5342
64 | 2574963.9818 | 1144742.9413
65 | 2575119.8965 | 1144472.5376
66 | 2574580.628 | 1144670.8928
67 | 2574576.3357 | 1144661.8859
68 | 2574525.2056 | 1144726.7451
69 | 2574484.5373 | 1144765.1041
70 | 2574484.6504 | 1144765.0052
71 | 2574465.8328 | 1144775.976
72 | 2574444.6558 | 1144787.7881
73 | 2574415.9075 | 1144849.925
74 | 2574333.565 | 1144787.9107
75 | 2574565.4682 | 1144621.3879
76 | 2574178.4885 | 1144660.2767
77 | 2574172.9046 | 1144635.8223
78 | 2574008.5857 | 1144604.1286
79 | 2574305.4256 | 1144549.1509
80 | 2574069.6432 | 1144573.3051
81 | 2574324.2476 | 1144547.0061
82 | 2574351.8398 | 1144541.3219
83 | 2574356.8239 | 1144538.389
84 | 2574422.6099 | 1144846.486
85 | 2574150.1899 | 1144466.0144
86 | 2574172.7332 | 1144439.5645
87 | 2574174.0481 | 1144438.0218
88 | 2574480.6901 | 1145111.8684

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1