## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5841-7_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_5841-7_1_2_node_112 | 0.4 | n |  | TRUE
2 | bus_LV_5841-7_1_2_node_127 | 0.4 | n |  | TRUE
3 | bus_LV_5841-7_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_5841-7_1_2_node_113 | 0.4 | n |  | TRUE
5 | bus_LV_5841-7_1_2_node_118 | 0.4 | n |  | TRUE
6 | bus_LV_5841-7_1_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5841-7_1_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5841-7_1_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5841-7_1_2_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5841-7_1_2_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5841-7_1_2_node_105 | 0.4 | n |  | TRUE
12 | bus_LV_5841-7_1_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_5841-7_1_2_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_5841-7_1_2_node_134 | 0.4 | n |  | TRUE
15 | bus_LV_5841-7_1_2_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_5841-7_1_2_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_5841-7_1_2_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_5841-7_1_2_node_123 | 0.4 | n |  | TRUE
19 | bus_LV_5841-7_1_2_node_114 | 0.4 | n |  | TRUE
20 | bus_LV_5841-7_1_2_node_135 | 0.4 | n |  | TRUE
21 | bus_LV_5841-7_1_2_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_5841-7_1_2_node_136 | 0.4 | n |  | TRUE
23 | bus_LV_5841-7_1_2_node_121 | 0.4 | n |  | TRUE
24 | bus_LV_5841-7_1_2_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_5841-7_1_2_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_5841-7_1_2_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_5841-7_1_2_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_5841-7_1_2_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_5841-7_1_2_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_5841-7_1_2_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_5841-7_1_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_5841-7_1_2_node_122 | 0.4 | n |  | TRUE
33 | bus_LV_5841-7_1_2_node_104 | 0.4 | n |  | TRUE
34 | bus_LV_5841-7_1_2_node_108 | 0.4 | n |  | TRUE
35 | bus_LV_5841-7_1_2_node_120 | 0.4 | n |  | TRUE
36 | bus_LV_5841-7_1_2_node_106 | 0.4 | n |  | TRUE
37 | bus_LV_5841-7_1_2_node_107 | 0.4 | n |  | TRUE
38 | bus_LV_5841-7_1_2_node_119 | 0.4 | n |  | TRUE
39 | bus_LV_5841-7_1_2_node_109 | 0.4 | n |  | TRUE
40 | bus_LV_5841-7_1_2_node_111 | 0.4 | n |  | TRUE
41 | bus_LV_5841-7_1_2_node_115 | 0.4 | n |  | TRUE
42 | bus_LV_5841-7_1_2_node_116 | 0.4 | n |  | TRUE
43 | bus_LV_5841-7_1_2_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_5841-7_1_2_node_126 | 0.4 | n |  | TRUE
45 | bus_LV_5841-7_1_2_node_124 | 0.4 | n |  | TRUE
46 | bus_LV_5841-7_1_2_node_125 | 0.4 | n |  | TRUE
47 | bus_MV_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5841-7_1_2_load_112 | 1 | 0.00015428 | 3.8666e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5841-7_1_2_load_127 | 2 | 0.0011208 | 0.0002809 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5841-7_1_2_load_129 | 3 | 0.00052423 | 0.00013138 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5841-7_1_2_load_6 | 6 | 0.0013683 | 0.00034294 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5841-7_1_2_load_105 | 11 | 0.00039575 | 9.9183e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5841-7_1_2_load_12 | 13 | 0.00015898 | 3.9843e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5841-7_1_2_load_134 | 14 | 0.00081734 | 0.00020485 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5841-7_1_2_load_56 | 15 | 0.00060187 | 0.00015084 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5841-7_1_2_load_33 | 16 | 0.00078645 | 0.0001971 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5841-7_1_2_load_123 | 18 | 0.00038437 | 9.6333e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5841-7_1_2_load_114 | 19 | 0.00032311 | 8.098e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5841-7_1_2_load_135 | 20 | 0.00041006 | 0.00010277 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5841-7_1_2_load_136 | 22 | 0.00027135 | 6.8007e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5841-7_1_2_load_32 | 25 | 0.00047779 | 0.00011975 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5841-7_1_2_load_34 | 26 | 0.00031431 | 7.8773e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5841-7_1_2_load_47 | 27 | 0.000412 | 0.00010326 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5841-7_1_2_load_52 | 28 | 0.0012759 | 0.00031976 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5841-7_1_2_load_51 | 31 | 0.00062869 | 0.00015756 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5841-7_1_2_load_122 | 32 | 0.00017928 | 4.4932e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5841-7_1_2_load_104 | 33 | 0.00057804 | 0.00014487 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5841-7_1_2_load_108 | 34 | 0.00092118 | 0.00023087 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5841-7_1_2_load_120 | 35 | 0.00072526 | 0.00018177 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5841-7_1_2_load_106 | 36 | 0.00088159 | 0.00022095 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5841-7_1_2_load_107 | 37 | 0.00074677 | 0.00018716 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5841-7_1_2_load_109 | 39 | 0.00041711 | 0.00010454 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5841-7_1_2_load_111 | 40 | 0.00059685 | 0.00014958 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5841-7_1_2_load_115 | 41 | 0.0011037 | 0.00027662 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5841-7_1_2_load_126 | 44 | 0.0001786 | 4.4762e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5841-7_1_2_load_124 | 45 | 0.00068595 | 0.00017192 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5841-7_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.29274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5841-7_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.28121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5841-7_1_2_line_2 | NAYY 4x150 SE | 1 | 40 | 0.099777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5841-7_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.25147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5841-7_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.33325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5841-7_1_2_line_5 | NAYY 4x150 SE | 4 | 19 | 0.12601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5841-7_1_2_line_6 | NAYY 4x150 SE | 4 | 40 | 0.060014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5841-7_1_2_line_7 | NAYY 4x150 SE | 5 | 42 | 0.23645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5841-7_1_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.27223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5841-7_1_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.045769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5841-7_1_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.12908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5841-7_1_2_line_11 | NAYY 4x150 SE | 7 | 10 | 0.28202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5841-7_1_2_line_12 | NAYY 4x150 SE | 7 | 11 | 0.36632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5841-7_1_2_line_13 | NAYY 4x150 SE | 8 | 12 | 0.2919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5841-7_1_2_line_14 | NAYY 4x150 SE | 8 | 13 | 0.13629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_5841-7_1_2_line_15 | NAYY 4x150 SE | 9 | 14 | 0.040646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5841-7_1_2_line_16 | NAYY 4x150 SE | 10 | 15 | 0.051235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5841-7_1_2_line_17 | NAYY 4x150 SE | 10 | 16 | 0.040187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5841-7_1_2_line_18 | NAYY 4x150 SE | 10 | 17 | 0.053495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5841-7_1_2_line_19 | NAYY 4x150 SE | 12 | 18 | 0.13767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5841-7_1_2_line_20 | NAYY 4x150 SE | 13 | 19 | 0.18906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5841-7_1_2_line_21 | NAYY 4x150 SE | 16 | 25 | 0.021251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5841-7_1_2_line_22 | NAYY 4x150 SE | 17 | 28 | 0.067402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5841-7_1_2_line_23 | NAYY 4x150 SE | 17 | 27 | 0.071277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5841-7_1_2_line_24 | NAYY 4x150 SE | 18 | 44 | 0.2191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5841-7_1_2_line_25 | NAYY 4x150 SE | 18 | 32 | 0.1847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5841-7_1_2_line_26 | NAYY 4x150 SE | 20 | 21 | 0.1681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5841-7_1_2_line_27 | NAYY 4x150 SE | 21 | 26 | 0.013594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5841-7_1_2_line_28 | NAYY 4x150 SE | 22 | 23 | 0.032293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5841-7_1_2_line_29 | NAYY 4x150 SE | 22 | 24 | 0.22958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5841-7_1_2_line_30 | NAYY 4x150 SE | 23 | 38 | 0.35299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5841-7_1_2_line_31 | NAYY 4x150 SE | 24 | 39 | 0.22634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5841-7_1_2_line_32 | NAYY 4x150 SE | 25 | 26 | 0.01649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5841-7_1_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.21205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5841-7_1_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.18276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5841-7_1_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.16383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5841-7_1_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.039373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5841-7_1_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.17193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5841-7_1_2_line_38 | NAYY 4x150 SE | 34 | 39 | 0.012373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5841-7_1_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.0062972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5841-7_1_2_line_40 | NAYY 4x150 SE | 37 | 38 | 0.049632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5841-7_1_2_line_41 | NAYY 4x150 SE | 38 | 43 | 0.14386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5841-7_1_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.32547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5841-7_1_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.024435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5841-7_1_2_line_44 | NAYY 4x150 SE | 44 | 46 | 0.11092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5841-7_1_2_line_45 | NAYY 4x150 SE | 45 | 46 | 0.01732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5841-7_1_2_trafo_6 | 0.25 MVA 20/0.4 kV | 47 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2578104.3239 | 1148503.2674 | 2577852.2396 | 1148652.1012
1 | 2578104.3239 | 1148503.2674 | 2578113.1583 | 1148498.1104 | 2578138.6094 | 1148491.0364 | 2578153.3689 | 1148489.3818 | 2578167.9765 | 1148488.1725 | 2578179.5677 | 1148480.949 | 2578189.8068 | 1148479.8891 | 2578199.899 | 1148482.7538 | 2578214.0585 | 1148485.0147 | 2578230.6245 | 1148494.5037 | 2578243.1172 | 1148496.6039 | 2578250.347 | 1148495.6995 | 2578261.4918 | 1148486.0654 | 2578272.6388 | 1148481.2449 | 2578284.537 | 1148480.3459 | 2578297.3365 | 1148478.0874 | 2578306.6719 | 1148471.3058 | 2578322.6318 | 1148463.9334 | 2578336.9457 | 1148455.7999 | 2578353.956 | 1148445.8559 | 2578360.7396 | 1148438.3277
2 | 2577766.9532 | 1148603.3013 | 2577766.9532 | 1148603.3013 | 2577776.1092 | 1148614.6397 | 2577777.5641 | 1148615.6348 | 2577789.8342 | 1148624.0046 | 2577829.0657 | 1148643.6138 | 2577847.585 | 1148649.7151 | 2577852.2396 | 1148652.1012
3 | 2577817.379 | 1148313.5975 | 2577737.2475 | 1148551.9638
4 | 2577623.2167 | 1148152.5011 | 2577628.716 | 1148150.7798 | 2577634.221 | 1148142.344 | 2577641.3773 | 1148138.1264 | 2577647.616 | 1148139.0369 | 2577654.2242 | 1148144.3594 | 2577663.3976 | 1148145.6481 | 2577669.0804 | 1148147.8503 | 2577692.3853 | 1148168.3961 | 2577707.2486 | 1148177.9456 | 2577718.8137 | 1148190.5978 | 2577737.1603 | 1148199.4119 | 2577763.7621 | 1148216.6551 | 2577797.1589 | 1148231.7057 | 2577798.6308 | 1148235.1908 | 2577796.0587 | 1148239.4135 | 2577785.9648 | 1148244.5534 | 2577766.3344 | 1148266.3813 | 2577765.9646 | 1148272.2523 | 2577768.3556 | 1148277.2125 | 2577783.5866 | 1148284.5487 | 2577803.7653 | 1148298.8589 | 2577806.3332 | 1148308.0317 | 2577815.1435 | 1148312.9905 | 2577817.379 | 1148313.5975
5 | 2577737.2475 | 1148551.9638 | 2577739.1277 | 1148564.1184 | 2577737.4216 | 1148571.9952 | 2577734.5107 | 1148580.0434 | 2577729.1978 | 1148586.3773 | 2577701.8077 | 1148604.5213 | 2577699.7536 | 1148611.7103 | 2577699.2377 | 1148621.6504 | 2577702.1469 | 1148629.6992 | 2577707.455 | 1148634.4929 | 2577724.576 | 1148642.3666 | 2577727.5696 | 1148644.9996
6 | 2577737.2475 | 1148551.9638 | 2577755.6241 | 1148575.4072 | 2577759.7611 | 1148583.2513 | 2577762.3766 | 1148592.8464 | 2577766.9532 | 1148603.3013
7 | 2577623.2167 | 1148152.5011 | 2577621.1638 | 1148170.3176 | 2577622.5324 | 1148181.0956 | 2577605.1157 | 1148166.3644 | 2577596.8645 | 1148157.0461 | 2577591.7187 | 1148150.6066 | 2577587.8408 | 1148148.52 | 2577576.9013 | 1148145.1703 | 2577565.6533 | 1148143.5338 | 2577554.7141 | 1148140.2619 | 2577543.9291 | 1148135.1219 | 2577526.9635 | 1148128.1708 | 2577519.2657 | 1148125.1648 | 2577510.9412 | 1148120.905 | 2577497.6331 | 1148110.5053 | 2577486.7383 | 1148098.6403 | 2577479.0852 | 1148091.1764 | 2577470.4922 | 1148084.9611 | 2577448.9574 | 1148075.9708
8 | 2577338.933 | 1148876.9149 | 2577344.267 | 1148874.3157 | 2577362.6307 | 1148875.8583 | 2577374.5673 | 1148877.214 | 2577471.4277 | 1148874.0593 | 2577487.1947 | 1148873.1552 | 2577500.7046 | 1148868.2021 | 2577512.8735 | 1148861.8979 | 2577541.9306 | 1148834.1865 | 2577554.54 | 1148824.5012 | 2577567.6073 | 1148820.228 | 2577579.7718 | 1148818.8708 | 2577592.7459 | 1148819.9261
9 | 2577638.3127 | 1148824.055 | 2577633.3497 | 1148823.2287 | 2577592.7459 | 1148819.9261
10 | 2577338.933 | 1148876.9149 | 2577320.9444 | 1148877.1163 | 2577274.1301 | 1148892.79 | 2577255.9846 | 1148904.2533 | 2577244.8999 | 1148914.945 | 2577229.0423 | 1148934.437
11 | 2577338.933 | 1148876.9149 | 2577336.0437 | 1148882.3952 | 2577338.0673 | 1148887.579 | 2577343.9775 | 1148891.1918 | 2577353.344 | 1148891.0453 | 2577365.1647 | 1148888.1549 | 2577376.9914 | 1148888.8773 | 2577390.9722 | 1148892.771 | 2577431.0539 | 1148909.9287 | 2577453.1083 | 1148914.9705 | 2577488.7121 | 1148937.8927 | 2577501.3981 | 1148948.7061 | 2577514.3723 | 1148952.4593 | 2577526.3385 | 1148955.6272 | 2577586.4557 | 1148980.2591
12 | 2577149.1691 | 1148563.5747 | 2577338.933 | 1148876.9149
13 | 2577638.3127 | 1148824.055 | 2577648.2813 | 1148830.9102 | 2577665.9848 | 1148840.7269 | 2577678.2533 | 1148852.8762 | 2577685.9094 | 1148865.5762 | 2577691.8011 | 1148878.6942 | 2577702.7091 | 1148888.4029 | 2577710.2163 | 1148898.2577 | 2577714.7408 | 1148909.213 | 2577721.7035 | 1148917.1799 | 2577726.0517 | 1148917.8419 | 2577730.5113 | 1148911.3221 | 2577737.5472 | 1148903.8479 | 2577742.9429 | 1148892.9892 | 2577751.3343 | 1148884.565 | 2577758.511 | 1148877.7684 | 2577769.5072 | 1148876.1046 | 2577779.1803 | 1148882.0273 | 2577809.5771 | 1148908.9949 | 2577827.176 | 1148928.0281 | 2577834.6861 | 1148944.9755
14 | 2577638.3127 | 1148824.055 | 2577648.5308 | 1148825.7623 | 2577662.8654 | 1148829.8331 | 2577676.4903 | 1148837.1416 | 2577694.9 | 1148857.2387 | 2577701.5078 | 1148860.6158 | 2577707.8334 | 1148860.3255 | 2577712.6112 | 1148854.705 | 2577717.8037 | 1148842.9021 | 2577722.0262 | 1148836.5833 | 2577731.0178 | 1148832.648 | 2577739.4464 | 1148828.0144 | 2577744.5099 | 1148822.8153
15 | 2577229.0423 | 1148934.437 | 2577238.7195 | 1148933.233 | 2577248.787 | 1148927.6477 | 2577267.5081 | 1148922.2407
16 | 2577586.4557 | 1148980.2591 | 2577620.356 | 1148972.8178 | 2577635.7415 | 1148966.4128
17 | 2577586.4557 | 1148980.2591 | 2577564.7623 | 1148983.3972 | 2577546.515 | 1148982.5358
18 | 2577586.4557 | 1148980.2591 | 2577606.2101 | 1148988.356 | 2577633.0721 | 1149006.2203
19 | 2577834.6861 | 1148944.9755 | 2577832.7172 | 1148946.15 | 2577828.603 | 1148960.9947 | 2577842.4797 | 1148982.5764 | 2577864.9741 | 1149017.5552 | 2577870.2735 | 1149045.0826 | 2577874.9371 | 1149069.3364
20 | 2577727.5696 | 1148644.9996 | 2577733.1344 | 1148649.8941 | 2577738.9587 | 1148659.3105 | 2577743.5807 | 1148669.5874 | 2577748.8906 | 1148720.4373 | 2577751.9737 | 1148729.8528 | 2577762.7587 | 1148756.048 | 2577763.4432 | 1148762.5598 | 2577762.9112 | 1148770.2544 | 2577744.5099 | 1148822.8153
21 | 2577526.5604 | 1148976.0738 | 2577535.4384 | 1148980.6722 | 2577544.2513 | 1148982.429 | 2577546.515 | 1148982.5358
22 | 2577633.0721 | 1149006.2203 | 2577626.45 | 1149005.1778 | 2577612.8314 | 1149003.5833 | 2577597.5724 | 1149004.763 | 2577587.8797 | 1149010.0129 | 2577582.3191 | 1149013.6021 | 2577568.2854 | 1149013.1457
23 | 2577633.0721 | 1149006.2203 | 2577663.8747 | 1149026.7046 | 2577675.5477 | 1149031.5969 | 2577690.6835 | 1149034.4865 | 2577696.8138 | 1149035.5344
24 | 2577874.9371 | 1149069.3364 | 2578091.1821 | 1149034.1113
25 | 2577951.0851 | 1149235.4024 | 2577935.2456 | 1149213.0488 | 2577926.4458 | 1149198.0404 | 2577905.3039 | 1149129.7844 | 2577878.023 | 1149085.3851 | 2577874.9371 | 1149069.3364
26 | 2577503.5552 | 1148985.4717 | 2577371.5753 | 1149089.5749
27 | 2577503.5552 | 1148985.4717 | 2577510.125 | 1148984.8357 | 2577513.5663 | 1148978.7475
28 | 2576999.0098 | 1148370.3901 | 2576996.5977 | 1148378.1365 | 2576993.8992 | 1148383.2938 | 2576991.5974 | 1148385.7372 | 2576988.6131 | 1148386.4267 | 2576984.6652 | 1148384.1407 | 2576980.4264 | 1148378.0651
29 | 2576980.4264 | 1148378.0651 | 2576816.1567 | 1148538.4544
30 | 2576999.0098 | 1148370.3901 | 2576999.1263 | 1148364.7202 | 2576993.217 | 1148347.5343 | 2576987.7218 | 1148330.2246 | 2576986.8701 | 1148322.3684 | 2576987.2432 | 1148315.5302 | 2576991.7771 | 1148318.4699 | 2577003.0403 | 1148322.1174 | 2577010.6169 | 1148323.5446 | 2577019.9609 | 1148325.3098 | 2577038.17 | 1148322.1163 | 2577055.5752 | 1148313.501 | 2577064.8396 | 1148302.4824 | 2577081.2833 | 1148279.3193 | 2577091.5036 | 1148269.2642 | 2577104.6012 | 1148264.6341 | 2577137.0211 | 1148268.7793 | 2577143.4038 | 1148273.2572 | 2577147.5619 | 1148282.357 | 2577159.3766 | 1148305.8348 | 2577169.2766 | 1148316.5358 | 2577216.7102 | 1148355.6527
31 | 2576816.1567 | 1148538.4544 | 2576824.364 | 1148526.3056 | 2576826.1652 | 1148515.5266 | 2576820.5717 | 1148480.7865 | 2576816.7807 | 1148469.4178 | 2576810.1932 | 1148459.6272 | 2576786.8402 | 1148435.0831 | 2576776.0607 | 1148415.5151 | 2576771.2696 | 1148397.747 | 2576770.873 | 1148382.5744 | 2576783.8943 | 1148332.2564
32 | 2577526.5604 | 1148976.0738 | 2577521.8223 | 1148973.6197 | 2577516.3717 | 1148973.7846 | 2577513.5663 | 1148978.7475
33 | 2577927.837 | 1149490.6134 | 2577939.4414 | 1149485.5238 | 2577955.3961 | 1149471.347 | 2577962.4811 | 1149454.3348 | 2577958.2333 | 1149439.0873 | 2577953.2649 | 1149419.9405 | 2577953.0635 | 1149411.1035 | 2577954.3952 | 1149405.7849 | 2577956.9852 | 1149400.2838 | 2577971.6755 | 1149384.5776 | 2577983.897 | 1149373.9053 | 2577993.6231 | 1149367.3553 | 2578003.8839 | 1149364.2383 | 2578015.5829 | 1149361.8387 | 2578026.9138 | 1149361.6305 | 2578035.9971 | 1149364.0095 | 2578045.8042 | 1149369.0761
34 | 2577927.837 | 1149490.6134 | 2577915.7956 | 1149489.6127 | 2577881.5345 | 1149473.4976 | 2577798.4816 | 1149427.437 | 2577788.0494 | 1149423.5848 | 2577775.568 | 1149421.9968 | 2577761.6626 | 1149424.5609
35 | 2578045.8042 | 1149369.0761 | 2577951.0851 | 1149235.4024
36 | 2576783.8454 | 1148319.9043 | 2576783.8454 | 1148319.9043 | 2576779.6541 | 1148308.3259 | 2576764.6794 | 1148286.1617 | 2576764.5603 | 1148285.8752
37 | 2576915.2684 | 1148203.1236 | 2576764.5603 | 1148285.8752
38 | 2576783.8454 | 1148319.9043 | 2576784.0445 | 1148331.676 | 2576783.8943 | 1148332.2564
39 | 2577185.4139 | 1148401.6596 | 2577185.6628 | 1148399.3367 | 2577187.9575 | 1148396.108
40 | 2577216.7102 | 1148355.6527 | 2577187.9575 | 1148396.108
41 | 2577216.7102 | 1148355.6527 | 2577234.753 | 1148367.3123 | 2577252.9594 | 1148373.5464 | 2577266.5286 | 1148373.8618 | 2577276.2683 | 1148370.6678 | 2577284.7387 | 1148360.7642 | 2577299.2659 | 1148317.9658 | 2577309.2462 | 1148299.1855
42 | 2577448.9574 | 1148075.9708 | 2577483.0773 | 1148160.5068 | 2577486.1068 | 1148182.0728 | 2577483.7124 | 1148206.983 | 2577477.168 | 1148222.7932 | 2577464.3897 | 1148238.9157 | 2577446.9822 | 1148251.2205 | 2577420.1533 | 1148259.5255 | 2577375.2821 | 1148262.3958 | 2577351.8085 | 1148264.4742 | 2577328.6534 | 1148275.6449 | 2577324.5559 | 1148280.2736
43 | 2577309.2462 | 1148299.1855 | 2577311.4039 | 1148295.1309 | 2577324.5559 | 1148280.2736
44 | 2578091.1821 | 1149034.1113 | 2578115.65 | 1148970.724 | 2578122.1077 | 1148960.362 | 2578132.1303 | 1148950.6762 | 2578136.7195 | 1148941.6662 | 2578142.8435 | 1148938.7758
45 | 2578142.8435 | 1148938.7758 | 2578149.64 | 1148941.3301 | 2578152.8637 | 1148949.489 | 2578153.0484 | 1148950.762

## bus_geodata
| x | y | coords
0 | 2578104.3239 | 1148503.2674
1 | 2577852.2396 | 1148652.1012
2 | 2578360.7396 | 1148438.3277
3 | 2577817.379 | 1148313.5975
4 | 2577737.2475 | 1148551.9638
5 | 2577623.2167 | 1148152.5012
6 | 2577592.7459 | 1148819.9261
7 | 2577338.933 | 1148876.9149
8 | 2577638.3127 | 1148824.055
9 | 2577229.0423 | 1148934.437
10 | 2577586.4557 | 1148980.2591
11 | 2577149.1691 | 1148563.5747
12 | 2577834.6861 | 1148944.9755
13 | 2577744.5099 | 1148822.8153
14 | 2577267.5081 | 1148922.2407
15 | 2577635.7415 | 1148966.4128
16 | 2577546.515 | 1148982.5358
17 | 2577633.0721 | 1149006.2203
18 | 2577874.9371 | 1149069.3364
19 | 2577727.5696 | 1148644.9996
20 | 2577371.5753 | 1149089.5749
21 | 2577503.5552 | 1148985.4717
22 | 2576980.4264 | 1148378.0651
23 | 2576999.0098 | 1148370.3901
24 | 2576816.1567 | 1148538.4544
25 | 2577526.5604 | 1148976.0738
26 | 2577513.5663 | 1148978.7475
27 | 2577696.8138 | 1149035.5344
28 | 2577568.2854 | 1149013.1457
29 | 2577927.837 | 1149490.6134
30 | 2578045.8042 | 1149369.0761
31 | 2577761.6626 | 1149424.5609
32 | 2577951.0851 | 1149235.4024
33 | 2576764.5603 | 1148285.8752
34 | 2576783.8454 | 1148319.9043
35 | 2576915.2684 | 1148203.1236
36 | 2577185.4138 | 1148401.6596
37 | 2577187.9575 | 1148396.108
38 | 2577216.7102 | 1148355.6527
39 | 2576783.8943 | 1148332.2564
40 | 2577766.9532 | 1148603.3013
41 | 2577324.5559 | 1148280.2736
42 | 2577448.9574 | 1148075.9708
43 | 2577309.2462 | 1148299.1855
44 | 2578091.1821 | 1149034.1113
45 | 2578153.0484 | 1148950.762
46 | 2578142.8435 | 1148938.7758
47 | 2577592.7459 | 1148819.9261

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1