## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5842-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5842-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5842-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5842-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5842-1_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_5842-1_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5842-1_0_3_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_5842-1_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5842-1_0_3_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_5842-1_0_3_node_53 | 0.4 | n |  | TRUE
10 | bus_LV_5842-1_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5842-1_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_5842-1_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_5842-1_0_3_node_72 | 0.4 | n |  | TRUE
14 | bus_LV_5842-1_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_5842-1_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_5842-1_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_5842-1_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5842-1_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_5842-1_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_5842-1_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_5842-1_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_5842-1_0_3_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_5842-1_0_3_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_5842-1_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_5842-1_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5842-1_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_5842-1_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_5842-1_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_5842-1_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_5842-1_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5842-1_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5842-1_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_5842-1_0_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_5842-1_0_3_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_5842-1_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_5842-1_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_5842-1_0_3_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_5842-1_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_5842-1_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_5842-1_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_5842-1_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_5842-1_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_5842-1_0_3_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5842-1_0_3_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_5842-1_0_3_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_5842-1_0_3_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_5842-1_0_3_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_5842-1_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_5842-1_0_3_node_57 | 0.4 | n |  | TRUE
50 | bus_LV_5842-1_0_3_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_5842-1_0_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_5842-1_0_3_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_5842-1_0_3_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_5842-1_0_3_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5842-1_0_3_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_5842-1_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_5842-1_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_5842-1_0_3_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_5842-1_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_5842-1_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_5842-1_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_5842-1_0_3_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_5842-1_0_3_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_5842-1_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_5842-1_0_3_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_5842-1_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_5842-1_0_3_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_5842-1_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_5842-1_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_5842-1_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5842-1_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_5842-1_0_3_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_5842-1_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_5842-1_0_3_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_5842-1_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_5842-1_0_3_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_5842-1_0_3_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_5842-1_0_3_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_5842-1_0_3_node_85 | 0.4 | n |  | TRUE
80 | bus_LV_5842-1_0_3_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_5842-1_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5842-1_0_3_node_86 | 0.4 | n |  | TRUE
83 | bus_MV_146_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5842-1_0_3_load_0 | 0 | 0.0060247 | 0.0015099 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5842-1_0_3_load_3 | 3 | 0.0011418 | 0.00028616 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5842-1_0_3_load_7 | 5 | 0.0020631 | 0.00051707 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5842-1_0_3_load_73 | 6 | 0.0029772 | 0.00074615 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5842-1_0_3_load_4 | 7 | 0.0030755 | 0.0007708 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5842-1_0_3_load_54 | 8 | 0.014083 | 0.0035294 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5842-1_0_3_load_53 | 9 | 0.0042598 | 0.0010676 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5842-1_0_3_load_6 | 10 | 0.00098918 | 0.00024791 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5842-1_0_3_load_19 | 11 | 0.0010388 | 0.00026034 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5842-1_0_3_load_72 | 13 | 0.0018291 | 0.00045842 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5842-1_0_3_load_52 | 15 | 0.0030731 | 0.00077019 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5842-1_0_3_load_13 | 17 | 0.0028467 | 0.00071344 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5842-1_0_3_load_8 | 18 | 0.003365 | 0.00084335 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5842-1_0_3_load_9 | 19 | 0.0043777 | 0.0010972 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5842-1_0_3_load_11 | 20 | 0.0015784 | 0.00039557 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5842-1_0_3_load_47 | 22 | 0.0049432 | 0.0012389 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5842-1_0_3_load_49 | 23 | 0.0032085 | 0.00080412 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5842-1_0_3_load_22 | 24 | 0.0012495 | 0.00031316 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5842-1_0_3_load_30 | 25 | 0.0034539 | 0.00086562 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5842-1_0_3_load_14 | 27 | 0.0026785 | 0.0006713 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5842-1_0_3_load_15 | 28 | 0.0030573 | 0.00076623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5842-1_0_3_load_16 | 29 | 0.001322 | 0.00033133 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5842-1_0_3_load_17 | 30 | 0.0020565 | 0.0005154 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5842-1_0_3_load_18 | 31 | 0.0018139 | 0.0004546 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5842-1_0_3_load_34 | 32 | 0.0030642 | 0.00076797 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5842-1_0_3_load_60 | 34 | 0.00046221 | 0.00011584 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5842-1_0_3_load_40 | 35 | 0.0010117 | 0.00025357 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5842-1_0_3_load_21 | 36 | 0.00097372 | 0.00024404 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5842-1_0_3_load_39 | 37 | 0.0010005 | 0.00025074 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5842-1_0_3_load_23 | 38 | 0.010298 | 0.0025809 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5842-1_0_3_load_27 | 42 | 0.0018487 | 0.00046333 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5842-1_0_3_load_59 | 44 | 0.0096095 | 0.0024084 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5842-1_0_3_load_56 | 45 | 0.0030088 | 0.00075408 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5842-1_0_3_load_75 | 46 | 0.010052 | 0.0025193 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5842-1_0_3_load_42 | 48 | 0.0018869 | 0.0004729 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5842-1_0_3_load_57 | 49 | 0.003736 | 0.00093633 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5842-1_0_3_load_76 | 53 | 0.0044956 | 0.0011267 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5842-1_0_3_load_41 | 54 | 0.0011612 | 0.00029103 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5842-1_0_3_load_31 | 55 | 0.00099185 | 0.00024858 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5842-1_0_3_load_33 | 56 | 0.0023564 | 0.00059058 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5842-1_0_3_load_36 | 57 | 0.00093389 | 0.00023406 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5842-1_0_3_load_51 | 59 | 0.0035502 | 0.00088976 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5842-1_0_3_load_43 | 60 | 0.0033996 | 0.00085202 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5842-1_0_3_load_87 | 62 | 0.0097177 | 0.0024355 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5842-1_0_3_load_71 | 63 | 0.0033529 | 0.00084031 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5842-1_0_3_load_69 | 65 | 0.0090943 | 0.0022792 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5842-1_0_3_load_67 | 66 | 0.0088054 | 0.0022068 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5842-1_0_3_load_84 | 67 | 0.0071276 | 0.0017863 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5842-1_0_3_load_61 | 69 | 0.0019141 | 0.00047973 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5842-1_0_3_load_62 | 70 | 0.0024715 | 0.00061942 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5842-1_0_3_load_64 | 72 | 0.0029349 | 0.00073554 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5842-1_0_3_load_80 | 74 | 0.0044358 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5842-1_0_3_load_79 | 76 | 0.0035683 | 0.00089429 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5842-1_0_3_load_70 | 77 | 0.0027574 | 0.00069106 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5842-1_0_3_load_82 | 78 | 0.0084744 | 0.0021239 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5842-1_0_3_load_85 | 79 | 0.0068028 | 0.0017049 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5842-1_0_3_load_83 | 80 | 0.0028391 | 0.00071153 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5842-1_0_3_load_78 | 81 | 0.0027288 | 0.00068389 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5842-1_0_3_load_86 | 82 | 0.0025261 | 0.00063309 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5842-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_5842-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.026935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_5842-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_5842-1_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.061774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5842-1_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.015738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_5842-1_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0083711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_5842-1_0_3_line_6 | NAYY 4x150 SE | 4 | 9 | 0.05501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5842-1_0_3_line_7 | NAYY 4x150 SE | 5 | 12 | 0.01031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_5842-1_0_3_line_8 | NAYY 4x150 SE | 6 | 13 | 0.013484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5842-1_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.011361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5842-1_0_3_line_10 | NAYY 4x150 SE | 8 | 14 | 0.021211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5842-1_0_3_line_11 | NAYY 4x150 SE | 9 | 15 | 0.0034397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5842-1_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.021599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_5842-1_0_3_line_13 | NAYY 4x150 SE | 11 | 16 | 0.011254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_5842-1_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.023892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5842-1_0_3_line_15 | NAYY 4x150 SE | 12 | 17 | 0.015018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5842-1_0_3_line_16 | NAYY 4x150 SE | 12 | 18 | 0.028576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5842-1_0_3_line_17 | NAYY 4x150 SE | 13 | 75 | 0.019869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5842-1_0_3_line_18 | NAYY 4x150 SE | 14 | 22 | 0.014136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5842-1_0_3_line_19 | NAYY 4x150 SE | 15 | 59 | 0.031737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5842-1_0_3_line_20 | NAYY 4x150 SE | 16 | 36 | 0.015317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5842-1_0_3_line_21 | NAYY 4x150 SE | 16 | 24 | 0.002525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5842-1_0_3_line_22 | NAYY 4x150 SE | 17 | 23 | 0.014602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5842-1_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.023186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5842-1_0_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.0015319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5842-1_0_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.015924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5842-1_0_3_line_26 | NAYY 4x150 SE | 21 | 24 | 0.015787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5842-1_0_3_line_27 | NAYY 4x150 SE | 21 | 25 | 0.0073876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5842-1_0_3_line_28 | NAYY 4x150 SE | 22 | 26 | 0.015769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5842-1_0_3_line_29 | NAYY 4x150 SE | 25 | 55 | 0.0079918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5842-1_0_3_line_30 | NAYY 4x150 SE | 26 | 61 | 0.008292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5842-1_0_3_line_31 | NAYY 4x150 SE | 26 | 60 | 0.026133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5842-1_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.024209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5842-1_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.037883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_5842-1_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.026775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_5842-1_0_3_line_35 | NAYY 4x150 SE | 29 | 31 | 0.014864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_5842-1_0_3_line_36 | NAYY 4x150 SE | 30 | 32 | 0.0041703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5842-1_0_3_line_37 | NAYY 4x150 SE | 31 | 33 | 0.017121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5842-1_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.037741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5842-1_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.0080705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5842-1_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.013802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5842-1_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.015697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5842-1_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.010215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5842-1_0_3_line_43 | NAYY 4x150 SE | 39 | 43 | 0.030387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5842-1_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.022289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5842-1_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.015233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_5842-1_0_3_line_46 | NAYY 4x150 SE | 41 | 44 | 0.020452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_5842-1_0_3_line_47 | NAYY 4x150 SE | 41 | 45 | 0.015147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5842-1_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 0.047291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5842-1_0_3_line_49 | NAYY 4x150 SE | 44 | 47 | 0.043695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5842-1_0_3_line_50 | NAYY 4x150 SE | 45 | 49 | 0.034634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5842-1_0_3_line_51 | NAYY 4x150 SE | 46 | 53 | 0.007449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5842-1_0_3_line_52 | NAYY 4x150 SE | 47 | 48 | 0.073524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5842-1_0_3_line_53 | NAYY 4x150 SE | 48 | 54 | 0.0065755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5842-1_0_3_line_54 | NAYY 4x150 SE | 49 | 64 | 0.032441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5842-1_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.004475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5842-1_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.004692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5842-1_0_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.024084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5842-1_0_3_line_58 | NAYY 4x150 SE | 51 | 73 | 0.018539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5842-1_0_3_line_59 | NAYY 4x150 SE | 52 | 75 | 0.026211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5842-1_0_3_line_60 | NAYY 4x150 SE | 55 | 56 | 0.016541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5842-1_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.0014357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5842-1_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.052483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5842-1_0_3_line_63 | NAYY 4x150 SE | 61 | 62 | 0.023207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5842-1_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.031314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5842-1_0_3_line_65 | NAYY 4x150 SE | 63 | 68 | 0.020025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5842-1_0_3_line_66 | NAYY 4x150 SE | 64 | 65 | 0.018799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5842-1_0_3_line_67 | NAYY 4x150 SE | 64 | 66 | 0.0047228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5842-1_0_3_line_68 | NAYY 4x150 SE | 65 | 67 | 0.0046198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5842-1_0_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.0054821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5842-1_0_3_line_70 | NAYY 4x150 SE | 67 | 79 | 0.018487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5842-1_0_3_line_71 | NAYY 4x150 SE | 68 | 77 | 0.021548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5842-1_0_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.025296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5842-1_0_3_line_73 | NAYY 4x150 SE | 69 | 71 | 0.0039271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5842-1_0_3_line_74 | NAYY 4x150 SE | 70 | 72 | 0.02673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5842-1_0_3_line_75 | NAYY 4x150 SE | 71 | 73 | 0.0341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5842-1_0_3_line_76 | NAYY 4x150 SE | 73 | 74 | 0.02634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5842-1_0_3_line_77 | NAYY 4x150 SE | 74 | 76 | 0.0052451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5842-1_0_3_line_78 | NAYY 4x150 SE | 76 | 81 | 0.031111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5842-1_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0047132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5842-1_0_3_line_80 | NAYY 4x150 SE | 78 | 80 | 0.011896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5842-1_0_3_line_81 | NAYY 4x150 SE | 80 | 82 | 0.0028369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5842-1_0_3_trafo_73 | 0.25 MVA 20/0.4 kV | 83 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2572643.9656 | 1146267.2119 | 2572642.4226 | 1146262.3498 | 2572641.1672 | 1146258.2535 | 2572638.7921 | 1146256.2078 | 2572633.6334 | 1146255.2085
1 | 2572606.754 | 1146256.3538 | 2572612.6238 | 1146256.6383 | 2572633.6334 | 1146255.2085
2 | 2572643.9656 | 1146267.2119 | 2572646.5718 | 1146272.7472 | 2572646.0923 | 1146276.9855
3 | 2572643.9656 | 1146267.2119 | 2572670.4715 | 1146258.2646 | 2572702.8892 | 1146248.7014
4 | 2572606.754 | 1146256.3538 | 2572603.3602 | 1146258.3258 | 2572591.8344 | 1146260.913
5 | 2572646.0923 | 1146276.9855 | 2572645.7817 | 1146279.7321 | 2572648.4848 | 1146284.6445 | 2572648.4848 | 1146284.6445
6 | 2572702.8892 | 1146248.7014 | 2572704.8508 | 1146210.4624 | 2572720.7184 | 1146205.1884
7 | 2572581.7748 | 1146263.1711 | 2572591.8344 | 1146260.913
8 | 2572660.0475 | 1146291.5212 | 2572657.7793 | 1146289.738 | 2572648.4848 | 1146284.6445
9 | 2572617.9508 | 1146275.9991 | 2572607.735 | 1146279.4497 | 2572607.1876 | 1146279.6347
10 | 2572587.1044 | 1146286.4584 | 2572591.6675 | 1146284.8812 | 2572607.1876 | 1146279.6347
11 | 2572723.9825 | 1146204.1035 | 2572720.7184 | 1146205.1884
12 | 2572612.9809 | 1146220.3853 | 2572612.9809 | 1146220.3853 | 2572611.063 | 1146207.4543 | 2572610.0642 | 1146198.9868
13 | 2572608.7458 | 1146187.8106 | 2572610.0642 | 1146198.9868
14 | 2572587.1044 | 1146286.4584 | 2572581.7748 | 1146263.1711
15 | 2572581.7748 | 1146263.1711 | 2572576.2208 | 1146258.0383 | 2572572.3538 | 1146251.6644
16 | 2572581.7748 | 1146263.1711 | 2572585.4799 | 1146248.6247 | 2572587.1512 | 1146239.4904 | 2572587.5372 | 1146235.2282
17 | 2572675.1519 | 1146304.4108 | 2572666.8757 | 1146296.8891 | 2572660.0475 | 1146291.5212
18 | 2572587.1044 | 1146286.4584 | 2572573.7345 | 1146291.0491
19 | 2572754.0994 | 1146194.0935 | 2572723.9825 | 1146204.1035
20 | 2572608.7458 | 1146187.8106 | 2572623.9833 | 1146186.2517
21 | 2572608.7458 | 1146187.8106 | 2572606.2337 | 1146188.0653
22 | 2572572.3538 | 1146251.6644 | 2572569.4952 | 1146246.9524 | 2572563.4729 | 1146240.1429
23 | 2572587.5372 | 1146235.2282 | 2572589.6283 | 1146212.1372
24 | 2572589.7665 | 1146210.6116 | 2572589.6283 | 1146212.1372
25 | 2572592.4785 | 1146194.9439 | 2572590.2079 | 1146205.7374 | 2572589.7665 | 1146210.6116
26 | 2572592.4785 | 1146194.9439 | 2572601.7436 | 1146188.5207 | 2572606.2337 | 1146188.0653
27 | 2572592.4785 | 1146194.9439 | 2572586.414 | 1146190.725 | 2572586.414 | 1146190.725
28 | 2572558.8202 | 1146296.1701 | 2572573.7345 | 1146291.0491
29 | 2572578.7905 | 1146188.3266 | 2572586.414 | 1146190.725
30 | 2572558.8202 | 1146296.1701 | 2572551.2468 | 1146299.5953
31 | 2572558.8202 | 1146296.1701 | 2572553.8042 | 1146270.5232
32 | 2572724.9119 | 1146153.0278 | 2572747.2256 | 1146143.6377
33 | 2572689.9944 | 1146167.7218 | 2572724.9119 | 1146153.0278
34 | 2572747.2256 | 1146143.6377 | 2572771.9044 | 1146133.2523
35 | 2572689.9944 | 1146167.7218 | 2572676.2943 | 1146173.4871
36 | 2572771.9044 | 1146133.2523 | 2572773.0241 | 1146132.7811 | 2572775.8935 | 1146132.0729
37 | 2572659.7098 | 1146177.2399 | 2572671.4392 | 1146175.5302 | 2572676.2943 | 1146173.4871
38 | 2572659.7098 | 1146177.2399 | 2572651.0118 | 1146173.2664 | 2572640.0529 | 1146147.3066
39 | 2572659.7098 | 1146177.2399 | 2572652.6788 | 1146181.2018
40 | 2572639.5992 | 1146184.6541 | 2572648.0946 | 1146183.7849 | 2572652.6788 | 1146181.2018
41 | 2572639.5992 | 1146184.6541 | 2572623.9833 | 1146186.2517
42 | 2572702.5802 | 1146400.4339 | 2572693.0391 | 1146396.7865
43 | 2572727.5272 | 1146383.2343 | 2572719.6193 | 1146387.4167 | 2572709.4584 | 1146394.4663 | 2572707.0924 | 1146396.1001 | 2572702.5802 | 1146400.4339
44 | 2572657.7174 | 1146367.2547 | 2572653.8851 | 1146380.8789 | 2572653.223 | 1146388.9859
45 | 2572657.7174 | 1146367.2547 | 2572665.9932 | 1146354.4662
46 | 2572653.223 | 1146388.9859 | 2572655.1511 | 1146394.0908 | 2572662.3422 | 1146407.2491
47 | 2572653.223 | 1146388.9859 | 2572642.4285 | 1146393.4929 | 2572639.015 | 1146392.9938
48 | 2572727.5272 | 1146383.2343 | 2572732.3376 | 1146378.599 | 2572734.1502 | 1146375.1669 | 2572734.5992 | 1146372.5635 | 2572734.0169 | 1146367.8194 | 2572733.0874 | 1146364.3997 | 2572730.0147 | 1146360.9786 | 2572726.7108 | 1146359.0593 | 2572721.4677 | 1146356.3817 | 2572717.9043 | 1146353.1296 | 2572714.0622 | 1146347.7222
49 | 2572685.6019 | 1146443.677 | 2572679.5498 | 1146438.7354 | 2572662.3422 | 1146407.2491
50 | 2572639.015 | 1146392.9938 | 2572634.9805 | 1146392.404 | 2572629.8632 | 1146386.9802 | 2572630.1709 | 1146371.9157 | 2572629.5024 | 1146363.9112
51 | 2572714.0622 | 1146347.7222 | 2572711.6109 | 1146340.6881
52 | 2572685.6019 | 1146443.677 | 2572644.9948 | 1146504.97
53 | 2572647.074 | 1146511.2081 | 2572647.074 | 1146511.2081 | 2572644.9948 | 1146504.97
54 | 2572620.5464 | 1146334.83 | 2572628.9284 | 1146343.674 | 2572629.0822 | 1146358.8809 | 2572629.5024 | 1146363.9112
55 | 2572702.0632 | 1146318.7956 | 2572698.179 | 1146321.0366
56 | 2572698.179 | 1146321.0366 | 2572696.7301 | 1146316.5743
57 | 2572702.0632 | 1146318.7956 | 2572706.7346 | 1146325.8112 | 2572711.5094 | 1146340.3968 | 2572711.6109 | 1146340.6881
58 | 2572702.0632 | 1146318.7956 | 2572719.3457 | 1146311.9582
59 | 2572696.7301 | 1146316.5743 | 2572686.3252 | 1146315.5989 | 2572675.1519 | 1146304.4108
60 | 2572578.7905 | 1146188.3266 | 2572576.383 | 1146187.5692 | 2572567.3998 | 1146186.7654 | 2572562.5026 | 1146187.7653
61 | 2572798.1652 | 1146222.6008 | 2572799.5915 | 1146222.4369
62 | 2572754.0994 | 1146194.0935 | 2572798.1652 | 1146222.6008
63 | 2572551.2468 | 1146299.5953 | 2572556.1876 | 1146311.7454 | 2572563.3559 | 1146318.847
64 | 2572563.3559 | 1146318.847 | 2572570.1384 | 1146325.5664 | 2572573.4293 | 1146326.3073 | 2572582.8911 | 1146325.9751 | 2572591.4098 | 1146328.6407
65 | 2572610.7929 | 1146331.8285 | 2572606.4238 | 1146330.4811 | 2572599.6985 | 1146331.2343 | 2572591.4098 | 1146328.6407
66 | 2572620.5464 | 1146334.83 | 2572639.0973 | 1146331.7868
67 | 2572620.5464 | 1146334.83 | 2572616.0325 | 1146333.4409
68 | 2572643.6562 | 1146331.0389 | 2572639.0973 | 1146331.7868
69 | 2572610.7929 | 1146331.8285 | 2572616.0325 | 1146333.4409
70 | 2572643.6562 | 1146331.0389 | 2572649.8206 | 1146330.0276 | 2572655.6891 | 1146328.3556 | 2572661.6415 | 1146326.8592
71 | 2572610.7929 | 1146331.8285 | 2572609.8302 | 1146343.0496 | 2572609.4771 | 1146344.7965 | 2572606.0892 | 1146348.0469 | 2572603.1308 | 1146350.4451
72 | 2572717.0779 | 1146283.278 | 2572719.7207 | 1146281.2189 | 2572733.6792 | 1146276.5088 | 2572740.577 | 1146274.3953
73 | 2572713.9801 | 1146285.6917 | 2572717.0779 | 1146283.278
74 | 2572759.4217 | 1146260.1172 | 2572756.9902 | 1146269.3662 | 2572740.577 | 1146274.3953
75 | 2572713.9801 | 1146285.6917 | 2572719.0699 | 1146288.4588 | 2572724.1591 | 1146292.7601 | 2572725.4208 | 1146298.2682 | 2572725.6694 | 1146303.9477 | 2572723.5446 | 1146307.9704 | 2572719.3457 | 1146311.9582
76 | 2572719.3457 | 1146311.9582 | 2572731.6246 | 1146309.5346 | 2572744.9803 | 1146305.967
77 | 2572744.9803 | 1146305.967 | 2572750.0477 | 1146304.6133
78 | 2572780.1044 | 1146296.5846 | 2572750.0477 | 1146304.6133
79 | 2572603.1308 | 1146350.4451 | 2572599.4694 | 1146353.4131
80 | 2572587.9909 | 1146355.9593 | 2572594.7391 | 1146355.3801 | 2572599.4694 | 1146353.4131 | 2572599.4694 | 1146353.4131
81 | 2572585.1644 | 1146356.2019 | 2572587.9909 | 1146355.9593

## bus_geodata
| x | y | coords
0 | 2572633.6334 | 1146255.2085
1 | 2572643.9656 | 1146267.2119
2 | 2572606.754 | 1146256.3538
3 | 2572646.0923 | 1146276.9855
4 | 2572702.8892 | 1146248.7014
5 | 2572591.8344 | 1146260.913
6 | 2572648.4848 | 1146284.6445
7 | 2572617.9508 | 1146275.9991
8 | 2572607.1876 | 1146279.6347
9 | 2572720.7184 | 1146205.1884
10 | 2572612.9809 | 1146220.3853
11 | 2572610.0642 | 1146198.9868
12 | 2572581.7748 | 1146263.1711
13 | 2572660.0475 | 1146291.5212
14 | 2572587.1044 | 1146286.4584
15 | 2572723.9825 | 1146204.1035
16 | 2572608.7458 | 1146187.8106
17 | 2572572.3538 | 1146251.6644
18 | 2572587.5372 | 1146235.2282
19 | 2572589.6283 | 1146212.1372
20 | 2572589.7665 | 1146210.6116
21 | 2572592.4785 | 1146194.9439
22 | 2572573.7345 | 1146291.0491
23 | 2572563.4729 | 1146240.1429
24 | 2572606.2337 | 1146188.0653
25 | 2572586.414 | 1146190.725
26 | 2572558.8202 | 1146296.1701
27 | 2572724.9119 | 1146153.0278
28 | 2572747.2256 | 1146143.6377
29 | 2572689.9944 | 1146167.7218
30 | 2572771.9044 | 1146133.2523
31 | 2572676.2943 | 1146173.4871
32 | 2572775.8935 | 1146132.0729
33 | 2572659.7098 | 1146177.2399
34 | 2572640.0529 | 1146147.3066
35 | 2572652.6788 | 1146181.2018
36 | 2572623.9833 | 1146186.2517
37 | 2572639.5992 | 1146184.6541
38 | 2572693.0391 | 1146396.7865
39 | 2572702.5802 | 1146400.4339
40 | 2572657.7174 | 1146367.2547
41 | 2572653.223 | 1146388.9859
42 | 2572665.9932 | 1146354.4662
43 | 2572727.5272 | 1146383.2343
44 | 2572662.3422 | 1146407.2491
45 | 2572639.015 | 1146392.9938
46 | 2572714.0622 | 1146347.7222
47 | 2572685.6019 | 1146443.677
48 | 2572644.9948 | 1146504.97
49 | 2572629.5024 | 1146363.9112
50 | 2572698.179 | 1146321.0366
51 | 2572702.0632 | 1146318.7956
52 | 2572696.7301 | 1146316.5743
53 | 2572711.6109 | 1146340.6881
54 | 2572647.074 | 1146511.2081
55 | 2572578.7905 | 1146188.3266
56 | 2572562.5026 | 1146187.7653
57 | 2572799.5915 | 1146222.4369
58 | 2572798.1652 | 1146222.6008
59 | 2572754.0994 | 1146194.0935
60 | 2572553.8042 | 1146270.5232
61 | 2572551.2468 | 1146299.5953
62 | 2572563.3559 | 1146318.847
63 | 2572591.4098 | 1146328.6407
64 | 2572620.5464 | 1146334.83
65 | 2572639.0973 | 1146331.7868
66 | 2572616.0325 | 1146333.4409
67 | 2572643.6562 | 1146331.0389
68 | 2572610.7929 | 1146331.8285
69 | 2572717.0779 | 1146283.278
70 | 2572740.577 | 1146274.3953
71 | 2572713.9801 | 1146285.6917
72 | 2572759.4217 | 1146260.1172
73 | 2572719.3457 | 1146311.9582
74 | 2572744.9803 | 1146305.967
75 | 2572675.1519 | 1146304.4108
76 | 2572750.0477 | 1146304.6133
77 | 2572603.1308 | 1146350.4451
78 | 2572599.4694 | 1146353.4131
79 | 2572661.6415 | 1146326.8592
80 | 2572587.9909 | 1146355.9593
81 | 2572780.1044 | 1146296.5846
82 | 2572585.1644 | 1146356.2019
83 | 2572643.9656 | 1146267.2119

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1