## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5843-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5843-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5843-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5843-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5843-3_0_4_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_5843-3_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_5843-3_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5843-3_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5843-3_0_4_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_5843-3_0_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_5843-3_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_5843-3_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5843-3_0_4_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_5843-3_0_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_5843-3_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5843-3_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_5843-3_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_5843-3_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5843-3_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5843-3_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5843-3_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_5843-3_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_5843-3_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_5843-3_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_5843-3_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_5843-3_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5843-3_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_5843-3_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_5843-3_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_5843-3_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_5843-3_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5843-3_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_5843-3_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_5843-3_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5843-3_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5843-3_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_5843-3_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5843-3_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_5843-3_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_5843-3_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5843-3_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5843-3_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5843-3_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5843-3_0_4_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_5843-3_0_4_node_86 | 0.4 | n |  | TRUE
45 | bus_LV_5843-3_0_4_node_76 | 0.4 | n |  | TRUE
46 | bus_LV_5843-3_0_4_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_5843-3_0_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_5843-3_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_5843-3_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5843-3_0_4_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_5843-3_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_5843-3_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_5843-3_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_5843-3_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_5843-3_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_5843-3_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_5843-3_0_4_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_5843-3_0_4_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_5843-3_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_5843-3_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5843-3_0_4_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_5843-3_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_5843-3_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5843-3_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_5843-3_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5843-3_0_4_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_5843-3_0_4_node_77 | 0.4 | n |  | TRUE
68 | bus_LV_5843-3_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_5843-3_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_5843-3_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5843-3_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5843-3_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5843-3_0_4_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_5843-3_0_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_5843-3_0_4_node_87 | 0.4 | n |  | TRUE
76 | bus_LV_5843-3_0_4_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_5843-3_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_5843-3_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_5843-3_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_5843-3_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_5843-3_0_4_node_71 | 0.4 | n |  | TRUE
82 | bus_LV_5843-3_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_5843-3_0_4_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_5843-3_0_4_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_5843-3_0_4_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_5843-3_0_4_node_88 | 0.4 | n |  | TRUE
87 | bus_MV_146_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5843-3_0_4_load_0 | 0 | 0.0032481 | 0.00081405 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5843-3_0_4_load_1 | 1 | 0.0063559 | 0.0015929 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5843-3_0_4_load_2 | 2 | 0.0080464 | 0.0020166 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5843-3_0_4_load_3 | 3 | 0.006175 | 0.0015476 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5843-3_0_4_load_8 | 4 | 0.0020997 | 0.00052623 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5843-3_0_4_load_46 | 5 | 0.0022667 | 0.0005681 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5843-3_0_4_load_4 | 6 | 0.0038484 | 0.00096451 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5843-3_0_4_load_5 | 7 | 0.0063231 | 0.0015847 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5843-3_0_4_load_48 | 8 | 0.0015872 | 0.00039778 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5843-3_0_4_load_44 | 9 | 0.0034816 | 0.00087258 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5843-3_0_4_load_6 | 10 | 0.0093894 | 0.0023532 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5843-3_0_4_load_7 | 11 | 0.0071229 | 0.0017852 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5843-3_0_4_load_37 | 12 | 0.0072965 | 0.0018287 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5843-3_0_4_load_38 | 13 | 0.001601 | 0.00040125 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5843-3_0_4_load_9 | 14 | 0.0028199 | 0.00070672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5843-3_0_4_load_10 | 15 | 0.0013513 | 0.00033866 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5843-3_0_4_load_12 | 17 | 0.0032785 | 0.00082167 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5843-3_0_4_load_13 | 18 | 0.0018766 | 0.00047032 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5843-3_0_4_load_14 | 19 | 0.0023572 | 0.00059076 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5843-3_0_4_load_28 | 20 | 0.0023637 | 0.0005924 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5843-3_0_4_load_29 | 22 | 0.0031918 | 0.00079993 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5843-3_0_4_load_36 | 23 | 0.0042126 | 0.0010558 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5843-3_0_4_load_30 | 25 | 0.0017093 | 0.00042838 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5843-3_0_4_load_16 | 26 | 0.0027536 | 0.00069011 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5843-3_0_4_load_17 | 27 | 0.0016159 | 0.00040498 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5843-3_0_4_load_20 | 30 | 0.0044032 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5843-3_0_4_load_21 | 31 | 0.0023727 | 0.00059465 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5843-3_0_4_load_35 | 32 | 0.0058098 | 0.0014561 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5843-3_0_4_load_32 | 33 | 0.0036763 | 0.00092137 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5843-3_0_4_load_53 | 35 | 0.0026034 | 0.00065247 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5843-3_0_4_load_33 | 36 | 0.0032106 | 0.00080466 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5843-3_0_4_load_27 | 37 | 0.0025259 | 0.00063304 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5843-3_0_4_load_22 | 39 | 0.0022164 | 0.00055547 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5843-3_0_4_load_23 | 40 | 0.0012086 | 0.00030292 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5843-3_0_4_load_24 | 41 | 0.0024189 | 0.00060623 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5843-3_0_4_load_85 | 43 | 0.0035234 | 0.00088305 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5843-3_0_4_load_86 | 44 | 0.0021501 | 0.00053886 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5843-3_0_4_load_76 | 45 | 0.0021931 | 0.00054964 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5843-3_0_4_load_51 | 46 | 0.0041367 | 0.0010368 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5843-3_0_4_load_39 | 47 | 0.0055644 | 0.0013946 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5843-3_0_4_load_40 | 48 | 0.0030176 | 0.00075627 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5843-3_0_4_load_41 | 49 | 0.0025792 | 0.00064641 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5843-3_0_4_load_43 | 50 | 0.0024154 | 0.00060536 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5843-3_0_4_load_42 | 51 | 0.0026262 | 0.00065818 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5843-3_0_4_load_47 | 52 | 0.0031459 | 0.00078844 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5843-3_0_4_load_45 | 54 | 0.0039231 | 0.00098322 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5843-3_0_4_load_60 | 55 | 0.0023132 | 0.00057975 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5843-3_0_4_load_57 | 56 | 0.0031993 | 0.00080181 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5843-3_0_4_load_54 | 57 | 0.0034923 | 0.00087526 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5843-3_0_4_load_55 | 58 | 0.0055336 | 0.0013868 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5843-3_0_4_load_49 | 59 | 0.0025271 | 0.00063336 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5843-3_0_4_load_50 | 60 | 0.0042783 | 0.0010723 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5843-3_0_4_load_52 | 61 | 0.0047741 | 0.0011965 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5843-3_0_4_load_61 | 62 | 0.002191 | 0.0005491 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5843-3_0_4_load_58 | 63 | 0.0024874 | 0.00062339 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5843-3_0_4_load_59 | 64 | 0.0026899 | 0.00067414 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5843-3_0_4_load_62 | 65 | 0.0016851 | 0.00042233 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5843-3_0_4_load_78 | 66 | 0.0010382 | 0.00026019 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5843-3_0_4_load_77 | 67 | 0.0024916 | 0.00062446 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5843-3_0_4_load_63 | 68 | 0.0015323 | 0.00038403 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5843-3_0_4_load_64 | 69 | 0.0029472 | 0.00073863 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5843-3_0_4_load_65 | 70 | 0.0042273 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5843-3_0_4_load_67 | 72 | 0.0040296 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5843-3_0_4_load_84 | 73 | 0.003906 | 0.00097893 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5843-3_0_4_load_82 | 74 | 0.0055094 | 0.0013808 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5843-3_0_4_load_74 | 77 | 0.0019588 | 0.00049093 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5843-3_0_4_load_68 | 78 | 0.0023473 | 0.00058828 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5843-3_0_4_load_69 | 79 | 0.00078291 | 0.00019622 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5843-3_0_4_load_71 | 81 | 0.0050273 | 0.00126 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5843-3_0_4_load_80 | 83 | 0.0021863 | 0.00054794 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5843-3_0_4_load_73 | 85 | 0.0020814 | 0.00052164 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5843-3_0_4_load_88 | 86 | 0.0012431 | 0.00031155 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5843-3_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5843-3_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.03491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5843-3_0_4_line_2 | NAYY 4x150 SE | 0 | 3 | 0.052722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5843-3_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.26394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5843-3_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.056716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5843-3_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0090365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5843-3_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.049963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5843-3_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0059161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5843-3_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0081027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5843-3_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.069658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_5843-3_0_4_line_10 | NAYY 4x150 SE | 8 | 57 | 0.015306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5843-3_0_4_line_11 | NAYY 4x150 SE | 9 | 54 | 0.02977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_5843-3_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.01893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_5843-3_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.029737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_5843-3_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.015411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_5843-3_0_4_line_15 | NAYY 4x150 SE | 13 | 37 | 0.033472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_5843-3_0_4_line_16 | NAYY 4x150 SE | 14 | 15 | 0.034043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5843-3_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.044859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5843-3_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0064208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5843-3_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.046731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5843-3_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.021765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5843-3_0_4_line_21 | NAYY 4x150 SE | 18 | 20 | 0.021769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5843-3_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0092305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5843-3_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.028055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5843-3_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.042763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5843-3_0_4_line_25 | NAYY 4x150 SE | 21 | 24 | 0.058845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5843-3_0_4_line_26 | NAYY 4x150 SE | 22 | 38 | 0.016067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5843-3_0_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.0043958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5843-3_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.035137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_5843-3_0_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.014718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_5843-3_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0098896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_5843-3_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0086549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_5843-3_0_4_line_32 | NAYY 4x150 SE | 28 | 31 | 0.037478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5843-3_0_4_line_33 | NAYY 4x150 SE | 29 | 32 | 0.024241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_5843-3_0_4_line_34 | NAYY 4x150 SE | 29 | 33 | 0.038565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_5843-3_0_4_line_35 | NAYY 4x150 SE | 30 | 34 | 0.0049587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_5843-3_0_4_line_36 | NAYY 4x150 SE | 32 | 35 | 0.0024633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_5843-3_0_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.034747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_5843-3_0_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.0081303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_5843-3_0_4_line_39 | NAYY 4x150 SE | 34 | 38 | 0.014361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5843-3_0_4_line_40 | NAYY 4x150 SE | 35 | 46 | 0.029862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5843-3_0_4_line_41 | NAYY 4x150 SE | 36 | 42 | 0.011785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_5843-3_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.026576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_5843-3_0_4_line_43 | NAYY 4x150 SE | 39 | 40 | 0.022473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_5843-3_0_4_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0055875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_5843-3_0_4_line_45 | NAYY 4x150 SE | 42 | 43 | 0.034066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_5843-3_0_4_line_46 | NAYY 4x150 SE | 43 | 44 | 0.010751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_5843-3_0_4_line_47 | NAYY 4x150 SE | 44 | 45 | 0.022406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_5843-3_0_4_line_48 | NAYY 4x150 SE | 45 | 72 | 0.0479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_5843-3_0_4_line_49 | NAYY 4x150 SE | 46 | 59 | 0.0028389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_5843-3_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.045306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_5843-3_0_4_line_51 | NAYY 4x150 SE | 47 | 49 | 0.01166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_5843-3_0_4_line_52 | NAYY 4x150 SE | 49 | 50 | 0.029156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_5843-3_0_4_line_53 | NAYY 4x150 SE | 50 | 53 | 0.001433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_5843-3_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.041536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_5843-3_0_4_line_55 | NAYY 4x150 SE | 52 | 54 | 0.04721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_5843-3_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.040707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_5843-3_0_4_line_57 | NAYY 4x150 SE | 53 | 56 | 0.00346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_5843-3_0_4_line_58 | NAYY 4x150 SE | 55 | 62 | 0.030169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_5843-3_0_4_line_59 | NAYY 4x150 SE | 56 | 63 | 0.026204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_5843-3_0_4_line_60 | NAYY 4x150 SE | 57 | 58 | 0.019062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_5843-3_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.023517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_5843-3_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.030594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_5843-3_0_4_line_63 | NAYY 4x150 SE | 62 | 65 | 0.029509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_5843-3_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.018176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_5843-3_0_4_line_65 | NAYY 4x150 SE | 65 | 66 | 0.024419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_5843-3_0_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.0079987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_5843-3_0_4_line_67 | NAYY 4x150 SE | 67 | 82 | 0.01365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_5843-3_0_4_line_68 | NAYY 4x150 SE | 68 | 69 | 0.00035234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_5843-3_0_4_line_69 | NAYY 4x150 SE | 68 | 70 | 0.02195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_5843-3_0_4_line_70 | NAYY 4x150 SE | 69 | 71 | 0.018805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_5843-3_0_4_line_71 | NAYY 4x150 SE | 70 | 72 | 0.017252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_5843-3_0_4_line_72 | NAYY 4x150 SE | 71 | 73 | 0.009551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_5843-3_0_4_line_73 | NAYY 4x150 SE | 71 | 74 | 0.013446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_5843-3_0_4_line_74 | NAYY 4x150 SE | 72 | 75 | 0.044298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_5843-3_0_4_line_75 | NAYY 4x150 SE | 73 | 76 | 0.026894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_5843-3_0_4_line_76 | NAYY 4x150 SE | 75 | 77 | 0.046722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_5843-3_0_4_line_77 | NAYY 4x150 SE | 76 | 82 | 0.019955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_5843-3_0_4_line_78 | NAYY 4x150 SE | 77 | 85 | 0.030488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_5843-3_0_4_line_79 | NAYY 4x150 SE | 78 | 79 | 0.0034652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_5843-3_0_4_line_80 | NAYY 4x150 SE | 78 | 80 | 0.016599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_5843-3_0_4_line_81 | NAYY 4x150 SE | 79 | 81 | 0.02643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_5843-3_0_4_line_82 | NAYY 4x150 SE | 80 | 82 | 0.011605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_5843-3_0_4_line_83 | NAYY 4x150 SE | 81 | 83 | 0.0013373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_5843-3_0_4_line_84 | NAYY 4x150 SE | 83 | 84 | 0.018113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_5843-3_0_4_line_85 | NAYY 4x150 SE | 84 | 86 | 0.01856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5843-3_0_4_trafo_35 | 0.25 MVA 20/0.4 kV | 87 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2582170.7548 | 1149003.0385 | 2582167.6954 | 1149002.7299 | 2582148.3597 | 1149004.4501
1 | 2582205.4888 | 1149006.5418 | 2582170.7548 | 1149003.0385
2 | 2582164.1088 | 1148950.7372 | 2582170.7548 | 1149003.0385
3 | 2582148.3597 | 1149004.4501 | 2582077.8424 | 1149258.7958
4 | 2582259.3568 | 1148988.7957 | 2582205.4888 | 1149006.5418
5 | 2582164.1088 | 1148950.7372 | 2582155.0854 | 1148950.2515
6 | 2582164.1088 | 1148950.7372 | 2582164.1088 | 1148950.7372 | 2582181.2398 | 1148948.7853 | 2582201.2208 | 1148944.7574 | 2582212.6859 | 1148940.1996
7 | 2582259.3568 | 1148988.7957 | 2582263.9285 | 1148992.5507
8 | 2582262.976 | 1148983.4449 | 2582260.0327 | 1148983.6912 | 2582259.3568 | 1148988.7957
9 | 2582212.6859 | 1148940.1996 | 2582221.9571 | 1148936.514 | 2582239.0825 | 1148932.6725 | 2582246.6932 | 1148930.749 | 2582251.3743 | 1148927.3446 | 2582252.4632 | 1148924.3066 | 2582251.6718 | 1148921.5186 | 2582250.3052 | 1148918.9436 | 2582247.0695 | 1148917.8082 | 2582239.8008 | 1148915.951 | 2582231.3688 | 1148914.7306
10 | 2582279.233 | 1148992.3124 | 2582263.9285 | 1148992.5507 | 2582263.9285 | 1148992.5507
11 | 2582262.976 | 1148983.4449 | 2582292.6426 | 1148980.9619
12 | 2582212.9183 | 1148910.7177 | 2582221.8884 | 1148913.3584 | 2582231.3688 | 1148914.7306
13 | 2582185.9147 | 1148899.4027 | 2582185.9147 | 1148899.4027 | 2582192.5411 | 1148904.719 | 2582212.9183 | 1148910.7177
14 | 2582185.9147 | 1148899.4027 | 2582182.1068 | 1148894.3448 | 2582180.0459 | 1148885.5022 | 2582180.0459 | 1148885.5022
15 | 2582202.4464 | 1148861.4849 | 2582193.3511 | 1148869.7882 | 2582183.2409 | 1148878.0779 | 2582180.0459 | 1148885.5022
16 | 2582199.6898 | 1148794.5944 | 2582166.4629 | 1148802.005
17 | 2582122.6797 | 1148811.7699 | 2582166.4629 | 1148802.005
18 | 2582199.6898 | 1148794.5944 | 2582205.9566 | 1148793.1967
19 | 2582122.6797 | 1148811.7699 | 2582115.9267 | 1148815.5474 | 2582111.4407 | 1148822.5531 | 2582110.8937 | 1148829.6472 | 2582118.4193 | 1148835.2052 | 2582132.2253 | 1148838.5415
20 | 2582227.1997 | 1148788.4589 | 2582205.9566 | 1148793.1967
21 | 2582132.2253 | 1148838.5415 | 2582153.3849 | 1148843.6547
22 | 2582228.693 | 1148779.35 | 2582227.1997 | 1148788.4589
23 | 2582153.3849 | 1148843.6547 | 2582180.6546 | 1148850.2445
24 | 2582228.693 | 1148779.35 | 2582263.4827 | 1148792.5646 | 2582263.6913 | 1148798.2001
25 | 2582179.1315 | 1148750.9164 | 2582225.0688 | 1148771.5347 | 2582228.693 | 1148779.35
26 | 2582194.1206 | 1148857.4465 | 2582190.0827 | 1148852.5228 | 2582180.6546 | 1148850.2445
27 | 2582179.1315 | 1148750.9164 | 2582175.1205 | 1148749.1178
28 | 2582271.6049 | 1148854.6698 | 2582242.0926 | 1148852.4241 | 2582236.5656 | 1148852.7931
29 | 2582221.8806 | 1148853.7735 | 2582236.5656 | 1148852.7931
30 | 2582281.466 | 1148855.4202 | 2582271.6049 | 1148854.6698
31 | 2582221.8806 | 1148853.7735 | 2582213.3426 | 1148855.1911
32 | 2582254.7055 | 1148869.9621 | 2582247.0672 | 1148862.5921 | 2582240.875 | 1148858.7086 | 2582230.987 | 1148856.4812 | 2582221.8806 | 1148853.7735
33 | 2582281.466 | 1148855.4202 | 2582305.0745 | 1148860.9218
34 | 2582281.466 | 1148855.4202 | 2582284.5483 | 1148848.7967 | 2582288.6651 | 1148841.481 | 2582300.1283 | 1148821.6976
35 | 2582208.4509 | 1148856.0033 | 2582213.3426 | 1148855.1911
36 | 2582307.4736 | 1148861.4809 | 2582305.0745 | 1148860.9218
37 | 2582300.1283 | 1148821.6976 | 2582317.533 | 1148791.6602 | 2582317.5448 | 1148791.6315
38 | 2582208.4509 | 1148856.0033 | 2582202.4464 | 1148861.4849
39 | 2582208.4509 | 1148856.0033 | 2582194.1206 | 1148857.4465
40 | 2582307.4736 | 1148861.4809 | 2582317.7383 | 1148863.8729 | 2582336.1342 | 1148869.785
41 | 2582322.0231 | 1148780.7304 | 2582317.5448 | 1148791.6315
42 | 2582194.1206 | 1148857.4465 | 2582175.7588 | 1148866.45 | 2582169.6922 | 1148867.2967
43 | 2582169.6922 | 1148867.2967 | 2582151.9135 | 1148869.7781 | 2582147.4198 | 1148869.2742
44 | 2582141.8671 | 1148868.6516 | 2582147.4198 | 1148869.2742
45 | 2582322.0231 | 1148780.7304 | 2582355.487 | 1148787.1055
46 | 2582355.487 | 1148787.1055 | 2582360.3623 | 1148789.5886 | 2582365.642 | 1148789.5314
47 | 2582387.7642 | 1148786.6733 | 2582387.7642 | 1148786.6733 | 2582374.4433 | 1148789.436 | 2582365.642 | 1148789.5314
48 | 2582433.6966 | 1148773.0857 | 2582387.7642 | 1148786.6733
49 | 2582338.837 | 1148870.6536 | 2582336.1342 | 1148869.785
50 | 2582295.2107 | 1148928.6379 | 2582295.2107 | 1148928.6379 | 2582293.4595 | 1148933.6122 | 2582295.7431 | 1148939.9197 | 2582326.5397 | 1148952.6504
51 | 2582295.2107 | 1148928.6379 | 2582300.3117 | 1148927.0332 | 2582306.5913 | 1148927.6779
52 | 2582306.5913 | 1148927.6779 | 2582325.1492 | 1148929.5834 | 2582335.6483 | 1148929.7481
53 | 2582337.0811 | 1148929.7706 | 2582335.6483 | 1148929.7481
54 | 2582339.7485 | 1148979.3856 | 2582381.2631 | 1148980.7324 | 2582381.2631 | 1148980.7324
55 | 2582339.7485 | 1148979.3856 | 2582319.3746 | 1148978.7246 | 2582292.6426 | 1148980.9619
56 | 2582337.0811 | 1148929.7706 | 2582366.9031 | 1148930.2497 | 2582377.0686 | 1148926.3696
57 | 2582337.0811 | 1148929.7706 | 2582338.9401 | 1148932.6888
58 | 2582377.0686 | 1148926.3696 | 2582381.6663 | 1148924.6147 | 2582394.693 | 1148921.1303 | 2582405.9483 | 1148917.7124
59 | 2582338.9401 | 1148932.6888 | 2582350.4871 | 1148937.7795 | 2582363.6197 | 1148941.2546
60 | 2582298.2924 | 1148992.0156 | 2582279.233 | 1148992.3124
61 | 2582338.837 | 1148870.6536 | 2582361.2262 | 1148877.849
62 | 2582361.2262 | 1148877.849 | 2582367.5073 | 1148879.8676 | 2582391.3485 | 1148882.5887
63 | 2582432.2786 | 1148904.8233 | 2582415.5044 | 1148914.8106 | 2582405.9483 | 1148917.7124
64 | 2582381.1914 | 1148945.9043 | 2582363.6197 | 1148941.2546
65 | 2582432.2786 | 1148904.8233 | 2582433.7611 | 1148903.9406 | 2582450.8692 | 1148889.0302
66 | 2582456.8992 | 1148883.7748 | 2582450.8692 | 1148889.0302
67 | 2582467.1896 | 1148874.8062 | 2582456.8992 | 1148883.7748
68 | 2582443.6062 | 1148811.2507 | 2582443.4609 | 1148810.9297
69 | 2582443.4609 | 1148810.9297 | 2582440.7188 | 1148804.8715 | 2582437.4182 | 1148789.9315
70 | 2582439.7689 | 1148826.5849 | 2582446.9398 | 1148818.6156 | 2582443.6062 | 1148811.2507
71 | 2582437.4182 | 1148789.9315 | 2582433.6966 | 1148773.0857
72 | 2582439.7689 | 1148826.5849 | 2582445.5558 | 1148834.1832
73 | 2582439.7689 | 1148826.5849 | 2582450.5241 | 1148818.5159
74 | 2582435.4104 | 1148730.4837 | 2582428.619 | 1148750.1021 | 2582433.6966 | 1148773.0857
75 | 2582461.851 | 1148855.579 | 2582445.5558 | 1148834.1832
76 | 2582435.4104 | 1148730.4837 | 2582391.1402 | 1148745.42
77 | 2582467.1896 | 1148874.8062 | 2582461.851 | 1148855.579
78 | 2582368.9891 | 1148724.4716 | 2582391.1402 | 1148745.42
79 | 2582484.163 | 1148868.8205 | 2582486.0393 | 1148865.9072
80 | 2582475.1749 | 1148882.7757 | 2582484.163 | 1148868.8205
81 | 2582501.7731 | 1148844.7126 | 2582496.5947 | 1148850.7307 | 2582488.711 | 1148861.7592 | 2582486.0393 | 1148865.9072
82 | 2582467.1896 | 1148874.8062 | 2582470.8453 | 1148880.3983 | 2582475.1749 | 1148882.7757
83 | 2582501.7731 | 1148844.7126 | 2582502.6454 | 1148843.699
84 | 2582518.8655 | 1148836.6144 | 2582510.7793 | 1148838.7723 | 2582504.7364 | 1148841.269 | 2582502.6454 | 1148843.699
85 | 2582518.8655 | 1148836.6144 | 2582528.512 | 1148852.4706

## bus_geodata
| x | y | coords
0 | 2582170.7548 | 1149003.0385
1 | 2582148.3597 | 1149004.4501
2 | 2582205.4888 | 1149006.5418
3 | 2582164.1088 | 1148950.7372
4 | 2582077.8424 | 1149258.7958
5 | 2582259.3568 | 1148988.7957
6 | 2582155.0854 | 1148950.2515
7 | 2582212.6859 | 1148940.1996
8 | 2582263.9285 | 1148992.5507
9 | 2582262.976 | 1148983.4449
10 | 2582231.3688 | 1148914.7306
11 | 2582212.9183 | 1148910.7177
12 | 2582185.9147 | 1148899.4027
13 | 2582180.0459 | 1148885.5022
14 | 2582166.4629 | 1148802.005
15 | 2582199.6898 | 1148794.5944
16 | 2582122.6797 | 1148811.7699
17 | 2582205.9566 | 1148793.1967
18 | 2582132.2253 | 1148838.5415
19 | 2582227.1997 | 1148788.4589
20 | 2582153.3849 | 1148843.6547
21 | 2582228.693 | 1148779.35
22 | 2582180.6546 | 1148850.2445
23 | 2582263.6913 | 1148798.2001
24 | 2582179.1315 | 1148750.9164
25 | 2582175.1205 | 1148749.1178
26 | 2582236.5656 | 1148852.7931
27 | 2582271.6049 | 1148854.6698
28 | 2582221.8806 | 1148853.7735
29 | 2582281.466 | 1148855.4202
30 | 2582213.3426 | 1148855.1911
31 | 2582254.7055 | 1148869.9621
32 | 2582305.0745 | 1148860.9218
33 | 2582300.1283 | 1148821.6976
34 | 2582208.4509 | 1148856.0033
35 | 2582307.4736 | 1148861.4809
36 | 2582317.5448 | 1148791.6315
37 | 2582202.4464 | 1148861.4849
38 | 2582194.1206 | 1148857.4465
39 | 2582147.4198 | 1148869.2742
40 | 2582169.6922 | 1148867.2967
41 | 2582141.8671 | 1148868.6516
42 | 2582322.0231 | 1148780.7304
43 | 2582355.487 | 1148787.1055
44 | 2582365.642 | 1148789.5314
45 | 2582387.7642 | 1148786.6733
46 | 2582336.1342 | 1148869.785
47 | 2582295.2107 | 1148928.6379
48 | 2582326.5397 | 1148952.6504
49 | 2582306.5913 | 1148927.6779
50 | 2582335.6483 | 1148929.7481
51 | 2582381.2631 | 1148980.7324
52 | 2582339.7485 | 1148979.3856
53 | 2582337.0811 | 1148929.7706
54 | 2582292.6426 | 1148980.9619
55 | 2582377.0686 | 1148926.3696
56 | 2582338.9401 | 1148932.6888
57 | 2582279.233 | 1148992.3124
58 | 2582298.2924 | 1148992.0156
59 | 2582338.837 | 1148870.6536
60 | 2582361.2262 | 1148877.849
61 | 2582391.3485 | 1148882.5887
62 | 2582405.9483 | 1148917.7124
63 | 2582363.6197 | 1148941.2546
64 | 2582381.1914 | 1148945.9043
65 | 2582432.2786 | 1148904.8233
66 | 2582450.8692 | 1148889.0302
67 | 2582456.8992 | 1148883.7748
68 | 2582443.4609 | 1148810.9297
69 | 2582443.6062 | 1148811.2507
70 | 2582437.4182 | 1148789.9315
71 | 2582439.7689 | 1148826.5849
72 | 2582433.6966 | 1148773.0857
73 | 2582445.5558 | 1148834.1832
74 | 2582450.5241 | 1148818.5159
75 | 2582435.4104 | 1148730.4837
76 | 2582461.851 | 1148855.579
77 | 2582391.1402 | 1148745.42
78 | 2582484.163 | 1148868.8205
79 | 2582486.0393 | 1148865.9072
80 | 2582475.1749 | 1148882.7757
81 | 2582501.7731 | 1148844.7126
82 | 2582467.1896 | 1148874.8062
83 | 2582502.6454 | 1148843.699
84 | 2582518.8655 | 1148836.6144
85 | 2582368.9891 | 1148724.4716
86 | 2582528.512 | 1148852.4706
87 | 2582305.0745 | 1148860.9218

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1