## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5843-5_1_3_node_29 | 0.4 | n |  | TRUE
1 | bus_LV_5843-5_1_3_node_30 | 0.4 | n |  | TRUE
2 | bus_LV_5843-5_1_3_node_31 | 0.4 | n |  | TRUE
3 | bus_LV_5843-5_1_3_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_5843-5_1_3_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_5843-5_1_3_node_99 | 0.4 | n |  | TRUE
6 | bus_LV_5843-5_1_3_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_5843-5_1_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_5843-5_1_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_5843-5_1_3_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_5843-5_1_3_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_5843-5_1_3_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_5843-5_1_3_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_5843-5_1_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_5843-5_1_3_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_5843-5_1_3_node_87 | 0.4 | n |  | TRUE
16 | bus_LV_5843-5_1_3_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_5843-5_1_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_5843-5_1_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_5843-5_1_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_5843-5_1_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_5843-5_1_3_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_5843-5_1_3_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_5843-5_1_3_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_5843-5_1_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_5843-5_1_3_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_5843-5_1_3_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_5843-5_1_3_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_5843-5_1_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_5843-5_1_3_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_5843-5_1_3_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_5843-5_1_3_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_5843-5_1_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_5843-5_1_3_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_5843-5_1_3_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_5843-5_1_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_5843-5_1_3_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_5843-5_1_3_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_5843-5_1_3_node_59 | 0.4 | n |  | TRUE
39 | bus_LV_5843-5_1_3_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_5843-5_1_3_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_5843-5_1_3_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_5843-5_1_3_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_5843-5_1_3_node_97 | 0.4 | n |  | TRUE
44 | bus_MV_146_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5843-5_1_3_load_29 | 0 | 0.0047493 | 0.0011903 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5843-5_1_3_load_30 | 1 | 0.0021812 | 0.00054667 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5843-5_1_3_load_31 | 2 | 0.0024981 | 0.00062609 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5843-5_1_3_load_32 | 3 | 0.0050984 | 0.0012778 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5843-5_1_3_load_33 | 4 | 0.0016777 | 0.00042047 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5843-5_1_3_load_99 | 5 | 0.00082189 | 0.00020599 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5843-5_1_3_load_36 | 7 | 0.0032098 | 0.00080446 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5843-5_1_3_load_37 | 8 | 0.0025379 | 0.00063605 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5843-5_1_3_load_63 | 10 | 0.0045153 | 0.0011316 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5843-5_1_3_load_56 | 11 | 0.0053535 | 0.0013417 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5843-5_1_3_load_64 | 12 | 0.004239 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5843-5_1_3_load_39 | 13 | 0.0018733 | 0.00046949 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5843-5_1_3_load_41 | 16 | 0.0061417 | 0.0015392 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5843-5_1_3_load_42 | 17 | 0.0066226 | 0.0016598 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5843-5_1_3_load_44 | 19 | 0.0060441 | 0.0015148 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5843-5_1_3_load_45 | 20 | 0.0016441 | 0.00041205 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5843-5_1_3_load_46 | 21 | 0.0008413 | 0.00021085 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5843-5_1_3_load_91 | 23 | 0.0010823 | 0.00027125 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5843-5_1_3_load_47 | 24 | 0.0049854 | 0.0012495 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5843-5_1_3_load_48 | 25 | 0.0042797 | 0.0010726 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5843-5_1_3_load_49 | 26 | 0.0040158 | 0.0010065 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5843-5_1_3_load_50 | 27 | 0.0043146 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5843-5_1_3_load_65 | 29 | 0.0053385 | 0.001338 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5843-5_1_3_load_54 | 30 | 0.0061858 | 0.0015503 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5843-5_1_3_load_52 | 31 | 0.0027016 | 0.00067708 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5843-5_1_3_load_55 | 33 | 0.0044935 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5843-5_1_3_load_61 | 34 | 0.0074279 | 0.0018616 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5843-5_1_3_load_66 | 35 | 0.0033106 | 0.00082972 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5843-5_1_3_load_57 | 36 | 0.00588 | 0.0014737 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5843-5_1_3_load_58 | 37 | 0.0030793 | 0.00077175 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5843-5_1_3_load_59 | 38 | 0.0078675 | 0.0019718 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5843-5_1_3_load_62 | 39 | 0.0038008 | 0.00095258 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5843-5_1_3_load_90 | 41 | 0.0039376 | 0.00098685 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5843-5_1_3_load_92 | 42 | 0.0046984 | 0.0011775 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5843-5_1_3_load_97 | 43 | 0.00048791 | 0.00012228 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5843-5_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.064567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_5843-5_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.072245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_5843-5_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.10141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_5843-5_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_5843-5_1_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.15751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_5843-5_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.065761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_5843-5_1_3_line_6 | NAYY 4x150 SE | 5 | 43 | 0.17539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_5843-5_1_3_line_7 | NAYY 4x150 SE | 6 | 40 | 0.21495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_5843-5_1_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.029586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_5843-5_1_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.036664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_5843-5_1_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.067356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_5843-5_1_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.040391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_5843-5_1_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.045353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_5843-5_1_3_line_13 | NAYY 4x150 SE | 11 | 32 | 0.08919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_5843-5_1_3_line_14 | NAYY 4x150 SE | 12 | 40 | 0.19179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_5843-5_1_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.15928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_5843-5_1_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.18275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_5843-5_1_3_line_17 | NAYY 4x150 SE | 15 | 20 | 0.085323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_5843-5_1_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.022928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_5843-5_1_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.059117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_5843-5_1_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.017578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_5843-5_1_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.066928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_5843-5_1_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.033708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_5843-5_1_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.087763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_5843-5_1_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.011333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_5843-5_1_3_line_25 | NAYY 4x150 SE | 22 | 35 | 0.019618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_5843-5_1_3_line_26 | NAYY 4x150 SE | 22 | 37 | 0.033516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_5843-5_1_3_line_27 | NAYY 4x150 SE | 23 | 41 | 0.039456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_5843-5_1_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.025836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_5843-5_1_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.016229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_5843-5_1_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.011313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_5843-5_1_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.011898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_5843-5_1_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.036831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_5843-5_1_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.014334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_5843-5_1_3_line_34 | NAYY 4x150 SE | 28 | 31 | 0.016944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_5843-5_1_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.053889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_5843-5_1_3_line_36 | NAYY 4x150 SE | 31 | 32 | 0.020409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_5843-5_1_3_line_37 | NAYY 4x150 SE | 32 | 33 | 0.023234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_5843-5_1_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.032398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_5843-5_1_3_line_39 | NAYY 4x150 SE | 34 | 39 | 0.033328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_5843-5_1_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.069298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_5843-5_1_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.0446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_5843-5_1_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0098041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5843-5_1_3_trafo_61 | 0.25 MVA 20/0.4 kV | 44 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2581647.5904 | 1148861.7888 | 2581627.5853 | 1148850.4293 | 2581605.4076 | 1148839.1584 | 2581589.0124 | 1148836.0637
1 | 2581647.5904 | 1148861.7888 | 2581656.1122 | 1148866.6278 | 2581661.3898 | 1148875.0824 | 2581663.8599 | 1148881.9227 | 2581665.9661 | 1148887.7525 | 2581672.7602 | 1148895.002 | 2581685.4946 | 1148899.0206 | 2581701.1684 | 1148900.2105
2 | 2581493.8704 | 1148829.4933 | 2581499.5205 | 1148831.4246 | 2581518.8777 | 1148834.2552 | 2581531.5532 | 1148831.5371 | 2581539.4342 | 1148827.6442 | 2581551.3699 | 1148821.5156 | 2581563.8542 | 1148824.0229 | 2581586.7471 | 1148835.6361 | 2581589.0124 | 1148836.0637
3 | 2581801.6478 | 1148922.2581 | 2581794.4908 | 1148922.2558 | 2581774.7733 | 1148919.4476 | 2581761.7466 | 1148915.2185 | 2581746.3084 | 1148905.783 | 2581734.7671 | 1148902.7611 | 2581701.1684 | 1148900.2105
4 | 2581701.1684 | 1148900.2105 | 2581613.1634 | 1149030.8459
5 | 2581864.449 | 1148916.5078 | 2581857.5189 | 1148912.4045 | 2581846.6044 | 1148910.9923 | 2581827.2371 | 1148917.3319 | 2581811.0442 | 1148922.2612 | 2581801.6478 | 1148922.2581
6 | 2581613.1634 | 1149030.8459 | 2581716.0393 | 1149172.8932
7 | 2582052.7945 | 1148847.5295 | 2581982.5669 | 1148848.2737 | 2581943.0658 | 1148851.4052 | 2581917.8581 | 1148858.6513 | 2581884.4971 | 1148891.5238 | 2581864.449 | 1148916.5078
8 | 2581817.3871 | 1148715.0866 | 2581819.2201 | 1148716.8463 | 2581826.1898 | 1148728.8311 | 2581825.4912 | 1148739.016 | 2581824.6885 | 1148741.8773
9 | 2581827.5483 | 1148776.795 | 2581829.062 | 1148774.6338 | 2581829.046 | 1148769.3646 | 2581822.7865 | 1148751.019 | 2581823.1441 | 1148747.3828 | 2581824.6885 | 1148741.8773
10 | 2581827.5483 | 1148776.795 | 2581817.381 | 1148786.3972 | 2581814.131 | 1148790.7315 | 2581813.0632 | 1148795.6149 | 2581814.1581 | 1148799.6802 | 2581816.0737 | 1148803.4652 | 2581824.7851 | 1148807.4963 | 2581848.176 | 1148816.3632
11 | 2581827.5483 | 1148776.795 | 2581787.3024 | 1148773.3701
12 | 2581827.5483 | 1148776.795 | 2581872.1539 | 1148784.9972
13 | 2581711.4939 | 1148731.0363 | 2581760.7932 | 1148768.3935 | 2581767.6367 | 1148771.6965 | 2581787.3024 | 1148773.3701
14 | 2582052.7945 | 1148847.5295 | 2582028.5231 | 1148836.7747 | 2581936.9613 | 1148800.2206 | 2581904.8088 | 1148791.0018 | 2581872.1539 | 1148784.9972
15 | 2581570.1741 | 1148409.6104 | 2581566.3042 | 1148429.6099 | 2581565.2848 | 1148445.2096 | 2581563.5526 | 1148461.2006 | 2581560.378 | 1148472.5715 | 2581554.357 | 1148482.1837 | 2581547.9729 | 1148491.0743 | 2581548.9298 | 1148510.1141 | 2581550.2309 | 1148531.1983 | 2581550.9756 | 1148541.1342 | 2581553.5263 | 1148546.6069 | 2581555.016 | 1148546.669 | 2581558.9067 | 1148548.4468 | 2581569.08 | 1148550.8056 | 2581569.7487 | 1148550.9982
16 | 2581467.8903 | 1148437.3169 | 2581451.7363 | 1148422.882 | 2581446.6503 | 1148414.5158 | 2581449.8244 | 1148388.1374 | 2581459.3668 | 1148387.4965 | 2581480.2815 | 1148384.5193 | 2581493.564 | 1148384.1003 | 2581532.7569 | 1148397.1527 | 2581570.1741 | 1148409.6104
17 | 2581467.8903 | 1148437.3169 | 2581476.7541 | 1148450.685 | 2581486.4279 | 1148472.7327 | 2581490.0867 | 1148496.3886 | 2581491.0791 | 1148516.8845 | 2581491.1659 | 1148517.6292
18 | 2581552.1272 | 1148622.0359 | 2581562.6065 | 1148625.4845 | 2581574.4387 | 1148626.7096
19 | 2581514.9286 | 1148579.3529 | 2581518.9434 | 1148586.5218 | 2581542.9511 | 1148608.2698 | 2581546.1739 | 1148620.0768 | 2581552.1272 | 1148622.0359
20 | 2581591.9182 | 1148628.5694 | 2581588.1523 | 1148628.1295 | 2581574.4387 | 1148626.7096
21 | 2581514.9286 | 1148579.3529 | 2581509.5395 | 1148569.7426 | 2581493.248 | 1148535.4759 | 2581491.1659 | 1148517.6292
22 | 2581514.9286 | 1148579.3529 | 2581508.7203 | 1148600.3824 | 2581502.4674 | 1148610.3674
23 | 2581651.6142 | 1148686.3749 | 2581635.92 | 1148661.255 | 2581622.8307 | 1148641.8411 | 2581617.2703 | 1148636.3776 | 2581604.6587 | 1148630.0576 | 2581591.9182 | 1148628.5694
24 | 2581494.9934 | 1148618.8122 | 2581500.8734 | 1148612.9128 | 2581502.4674 | 1148610.3674
25 | 2581651.6142 | 1148686.3749 | 2581668.8962 | 1148695.6599
26 | 2581651.6142 | 1148686.3749 | 2581620.6259 | 1148673.6051
27 | 2581467.0717 | 1148646.6893 | 2581482.8241 | 1148631.0218 | 2581494.9934 | 1148618.8122
28 | 2581708.5168 | 1148779.1916 | 2581715.4765 | 1148785.6733 | 2581713.6679 | 1148801.8979
29 | 2581708.5168 | 1148779.1916 | 2581696.6407 | 1148768.1312
30 | 2581713.6679 | 1148801.8979 | 2581713.6679 | 1148801.8979 | 2581717.0835 | 1148806.5898 | 2581720.5862 | 1148810.8431
31 | 2581687.934 | 1148760.0224 | 2581696.6407 | 1148768.1312
32 | 2581720.5862 | 1148810.8431 | 2581735.895 | 1148829.4327 | 2581730.5747 | 1148841.0189
33 | 2581687.934 | 1148760.0224 | 2581674.7229 | 1148754.4597
34 | 2581687.934 | 1148760.0224 | 2581698.6212 | 1148746.8738
35 | 2581624.4443 | 1148735.1442 | 2581637.2602 | 1148740.3677 | 2581658.1586 | 1148747.485 | 2581674.7229 | 1148754.4597
36 | 2581711.4939 | 1148731.0363 | 2581698.6212 | 1148746.8738
37 | 2581711.4939 | 1148731.0363 | 2581694.3324 | 1148715.3747
38 | 2581668.8962 | 1148695.6599 | 2581678.2165 | 1148700.6673 | 2581694.3324 | 1148715.3747
39 | 2581624.4443 | 1148735.1442 | 2581623.3456 | 1148734.6964 | 2581616.4922 | 1148743.2216 | 2581624.3008 | 1148762.9348
40 | 2581581.421 | 1148706.5425 | 2581591.7258 | 1148704.1894 | 2581594.8819 | 1148699.3217 | 2581595.5793 | 1148688.87 | 2581596.5723 | 1148674.6822 | 2581604.9414 | 1148667.1417 | 2581620.6259 | 1148673.6051
41 | 2581538.5638 | 1148697.0603 | 2581556.8639 | 1148703.0848 | 2581566.373 | 1148704.2673 | 2581571.498 | 1148705.4632 | 2581576.6259 | 1148707.6374 | 2581581.421 | 1148706.5425
42 | 2581460.1204 | 1148653.6031 | 2581467.0717 | 1148646.6893

## bus_geodata
| x | y | coords
0 | 2581647.5904 | 1148861.7888
1 | 2581589.0124 | 1148836.0637
2 | 2581701.1684 | 1148900.2105
3 | 2581493.8704 | 1148829.4933
4 | 2581801.6478 | 1148922.2581
5 | 2581613.1634 | 1149030.8459
6 | 2581864.449 | 1148916.5077
7 | 2581817.3871 | 1148715.0866
8 | 2581824.6885 | 1148741.8773
9 | 2581827.5483 | 1148776.795
10 | 2581848.176 | 1148816.3632
11 | 2581787.3024 | 1148773.3701
12 | 2581872.1539 | 1148784.9972
13 | 2581569.7487 | 1148550.9982
14 | 2581570.1741 | 1148409.6104
15 | 2581467.8903 | 1148437.3169
16 | 2581552.1272 | 1148622.0359
17 | 2581574.4387 | 1148626.7096
18 | 2581514.9286 | 1148579.3529
19 | 2581591.9182 | 1148628.5694
20 | 2581491.1659 | 1148517.6292
21 | 2581502.4674 | 1148610.3674
22 | 2581651.6142 | 1148686.3749
23 | 2581494.9934 | 1148618.8122
24 | 2581708.5168 | 1148779.1916
25 | 2581713.6679 | 1148801.8979
26 | 2581696.6407 | 1148768.1312
27 | 2581720.5862 | 1148810.8431
28 | 2581687.934 | 1148760.0224
29 | 2581730.5747 | 1148841.0189
30 | 2581674.7229 | 1148754.4597
31 | 2581698.6212 | 1148746.8738
32 | 2581711.4939 | 1148731.0363
33 | 2581694.3324 | 1148715.3747
34 | 2581624.4443 | 1148735.1442
35 | 2581668.8962 | 1148695.6599
36 | 2581581.421 | 1148706.5425
37 | 2581620.6259 | 1148673.6051
38 | 2581538.5638 | 1148697.0603
39 | 2581624.3008 | 1148762.9348
40 | 2582052.7945 | 1148847.5295
41 | 2581467.0717 | 1148646.6893
42 | 2581460.1204 | 1148653.6031
43 | 2581716.0393 | 1149172.8932
44 | 2581626.7836 | 1148769.2028

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1