## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_592-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_592-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_592-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_592-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_592-2_0_2_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_592-2_0_2_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_592-2_0_2_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_592-2_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_592-2_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_592-2_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_592-2_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_592-2_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_592-2_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_592-2_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_592-2_0_2_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_592-2_0_2_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_592-2_0_2_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_592-2_0_2_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_592-2_0_2_node_69 | 0.4 | n |  | TRUE
19 | bus_LV_592-2_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_592-2_0_2_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_592-2_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_592-2_0_2_node_84 | 0.4 | n |  | TRUE
23 | bus_LV_592-2_0_2_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_592-2_0_2_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_592-2_0_2_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_592-2_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_592-2_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_592-2_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_592-2_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_592-2_0_2_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_592-2_0_2_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_592-2_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_592-2_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_592-2_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_592-2_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_592-2_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_592-2_0_2_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_592-2_0_2_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_592-2_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_592-2_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_592-2_0_2_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_592-2_0_2_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_592-2_0_2_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_592-2_0_2_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_592-2_0_2_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_592-2_0_2_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_592-2_0_2_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_592-2_0_2_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_592-2_0_2_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_592-2_0_2_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_592-2_0_2_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_592-2_0_2_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_592-2_0_2_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_592-2_0_2_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_592-2_0_2_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_592-2_0_2_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_592-2_0_2_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_592-2_0_2_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_592-2_0_2_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_592-2_0_2_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_592-2_0_2_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_592-2_0_2_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_592-2_0_2_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_592-2_0_2_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_592-2_0_2_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_592-2_0_2_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_592-2_0_2_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_592-2_0_2_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_592-2_0_2_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_592-2_0_2_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_592-2_0_2_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_592-2_0_2_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_592-2_0_2_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_592-2_0_2_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_592-2_0_2_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_592-2_0_2_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_592-2_0_2_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_592-2_0_2_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_592-2_0_2_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_592-2_0_2_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_592-2_0_2_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_592-2_0_2_node_89 | 0.4 | n |  | TRUE
83 | bus_LV_592-2_0_2_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_592-2_0_2_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_592-2_0_2_node_163 | 0.4 | n |  | TRUE
86 | bus_MV_82_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_592-2_0_2_load_0 | 0 | 0.0033052 | 0.00082836 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_592-2_0_2_load_1 | 1 | 0.0007658 | 0.00019193 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_592-2_0_2_load_2 | 2 | 0.0024834 | 0.00062241 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_592-2_0_2_load_3 | 3 | 0.00076763 | 0.00019239 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_592-2_0_2_load_44 | 5 | 0.0021092 | 0.00052862 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_592-2_0_2_load_41 | 6 | 0.0017943 | 0.00044969 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_592-2_0_2_load_4 | 7 | 0.0027978 | 0.00070119 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_592-2_0_2_load_5 | 8 | 0.0013353 | 0.00033467 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_592-2_0_2_load_7 | 10 | 0.0011179 | 0.00028017 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_592-2_0_2_load_8 | 11 | 0.0032061 | 0.00080351 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_592-2_0_2_load_9 | 12 | 0.001377 | 0.0003451 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_592-2_0_2_load_10 | 13 | 0.0016841 | 0.00042207 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_592-2_0_2_load_88 | 16 | 0.0010618 | 0.0002661 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_592-2_0_2_load_76 | 17 | 0.00181 | 0.00045363 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_592-2_0_2_load_85 | 23 | 0.0018466 | 0.00046279 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_592-2_0_2_load_87 | 24 | 0.0013111 | 0.00032859 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_592-2_0_2_load_11 | 25 | 0.0012042 | 0.00030181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_592-2_0_2_load_16 | 26 | 0.0033387 | 0.00083676 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_592-2_0_2_load_17 | 27 | 0.0017877 | 0.00044805 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_592-2_0_2_load_20 | 29 | 0.0019994 | 0.0005011 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_592-2_0_2_load_86 | 30 | 0.0040088 | 0.0010047 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_592-2_0_2_load_21 | 32 | 0.0031358 | 0.0007859 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_592-2_0_2_load_22 | 33 | 0.0035522 | 0.00089026 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_592-2_0_2_load_38 | 36 | 0.0015874 | 0.00039784 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_592-2_0_2_load_40 | 37 | 0.0035415 | 0.00088759 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_592-2_0_2_load_33 | 40 | 0.0014688 | 0.00036811 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_592-2_0_2_load_27 | 42 | 0.0014698 | 0.00036836 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_592-2_0_2_load_30 | 44 | 0.0018068 | 0.00045283 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_592-2_0_2_load_31 | 45 | 0.0011936 | 0.00029914 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_592-2_0_2_load_32 | 46 | 0.0021954 | 0.00055021 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_592-2_0_2_load_46 | 47 | 0.002025 | 0.0005075 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_592-2_0_2_load_45 | 49 | 0.0012036 | 0.00030166 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_592-2_0_2_load_78 | 50 | 0.0020128 | 0.00050445 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_592-2_0_2_load_34 | 52 | 0.0012179 | 0.00030523 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_592-2_0_2_load_35 | 53 | 0.0015619 | 0.00039145 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_592-2_0_2_load_39 | 55 | 0.0016318 | 0.00040897 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_592-2_0_2_load_48 | 57 | 0.0037104 | 0.00092991 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_592-2_0_2_load_60 | 58 | 0.0023665 | 0.00059311 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_592-2_0_2_load_61 | 59 | 0.0016381 | 0.00041056 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_592-2_0_2_load_49 | 60 | 0.004205 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_592-2_0_2_load_59 | 62 | 0.0012171 | 0.00030504 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_592-2_0_2_load_52 | 64 | 0.0043479 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_592-2_0_2_load_67 | 66 | 0.0011184 | 0.00028031 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_592-2_0_2_load_82 | 67 | 0.0010927 | 0.00027386 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_592-2_0_2_load_53 | 68 | 0.0021216 | 0.00053172 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_592-2_0_2_load_57 | 70 | 0.0015012 | 0.00037624 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_592-2_0_2_load_58 | 71 | 0.0017242 | 0.00043214 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_592-2_0_2_load_70 | 72 | 0.0018621 | 0.00046668 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_592-2_0_2_load_74 | 73 | 0.0024033 | 0.00060233 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_592-2_0_2_load_68 | 74 | 0.0023166 | 0.0005806 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_592-2_0_2_load_80 | 75 | 0.0025982 | 0.00065116 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_592-2_0_2_load_63 | 76 | 0.0012545 | 0.0003144 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_592-2_0_2_load_65 | 77 | 0.0013671 | 0.00034262 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_592-2_0_2_load_66 | 78 | 0.0013202 | 0.00033088 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_592-2_0_2_load_71 | 79 | 0.0010729 | 0.00026889 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_592-2_0_2_load_75 | 81 | 0.0056141 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_592-2_0_2_load_89 | 82 | 0.0010661 | 0.0002672 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_592-2_0_2_load_77 | 83 | 0.0047047 | 0.0011791 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_592-2_0_2_load_81 | 84 | 0.0030191 | 0.00075666 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_592-2_0_2_load_163 | 85 | 0.0016176 | 0.00040541 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_592-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_592-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0071631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_592-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00065313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_592-2_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_592-2_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.033419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_592-2_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.015526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_592-2_0_2_line_6 | NAYY 4x150 SE | 5 | 48 | 0.035828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_592-2_0_2_line_7 | NAYY 4x150 SE | 6 | 20 | 0.043641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_592-2_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0054104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_592-2_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.017428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_592-2_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 4.1323e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_592-2_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.012741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_592-2_0_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.032081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_592-2_0_2_line_13 | NAYY 4x150 SE | 9 | 13 | 0.018705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_592-2_0_2_line_14 | NAYY 4x150 SE | 10 | 14 | 0.035823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_592-2_0_2_line_15 | NAYY 4x150 SE | 12 | 15 | 0.022714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_592-2_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.0019806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_592-2_0_2_line_17 | NAYY 4x150 SE | 14 | 17 | 0.0076257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_592-2_0_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.028692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_592-2_0_2_line_19 | NAYY 4x150 SE | 15 | 22 | 0.020815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_592-2_0_2_line_20 | NAYY 4x150 SE | 15 | 23 | 0.033709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_592-2_0_2_line_21 | NAYY 4x150 SE | 16 | 24 | 0.0080967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_592-2_0_2_line_22 | NAYY 4x150 SE | 17 | 83 | 0.0042001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_592-2_0_2_line_23 | NAYY 4x150 SE | 18 | 79 | 0.014083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_592-2_0_2_line_24 | NAYY 4x150 SE | 18 | 74 | 0.022772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_592-2_0_2_line_25 | NAYY 4x150 SE | 19 | 20 | 0.022235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_592-2_0_2_line_26 | NAYY 4x150 SE | 19 | 21 | 0.049881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_592-2_0_2_line_27 | NAYY 4x150 SE | 21 | 25 | 0.014747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_592-2_0_2_line_28 | NAYY 4x150 SE | 22 | 85 | 0.03483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_592-2_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.024891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_592-2_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0080642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_592-2_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.021151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_592-2_0_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.019628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_592-2_0_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_592-2_0_2_line_34 | NAYY 4x150 SE | 31 | 67 | 0.028086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_592-2_0_2_line_35 | NAYY 4x150 SE | 31 | 61 | 0.035936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_592-2_0_2_line_36 | NAYY 4x150 SE | 31 | 65 | 0.011038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_592-2_0_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.025375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_592-2_0_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.021142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_592-2_0_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.008066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_592-2_0_2_line_40 | NAYY 4x150 SE | 35 | 36 | 0.018193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_592-2_0_2_line_41 | NAYY 4x150 SE | 36 | 39 | 0.013063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_592-2_0_2_line_42 | NAYY 4x150 SE | 37 | 38 | 0.0060397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_592-2_0_2_line_43 | NAYY 4x150 SE | 38 | 61 | 0.031582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_592-2_0_2_line_44 | NAYY 4x150 SE | 38 | 60 | 0.0091119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_592-2_0_2_line_45 | NAYY 4x150 SE | 39 | 55 | 0.014575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_592-2_0_2_line_46 | NAYY 4x150 SE | 39 | 52 | 0.0019992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_592-2_0_2_line_47 | NAYY 4x150 SE | 40 | 41 | 0.0078763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_592-2_0_2_line_48 | NAYY 4x150 SE | 41 | 46 | 0.013614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_592-2_0_2_line_49 | NAYY 4x150 SE | 41 | 42 | 0.00079355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_592-2_0_2_line_50 | NAYY 4x150 SE | 42 | 43 | 0.0098645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_592-2_0_2_line_51 | NAYY 4x150 SE | 43 | 44 | 0.022873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_592-2_0_2_line_52 | NAYY 4x150 SE | 43 | 45 | 0.024555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_592-2_0_2_line_53 | NAYY 4x150 SE | 44 | 47 | 0.00093858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_592-2_0_2_line_54 | NAYY 4x150 SE | 46 | 48 | 0.049531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_592-2_0_2_line_55 | NAYY 4x150 SE | 47 | 49 | 0.0064054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_592-2_0_2_line_56 | NAYY 4x150 SE | 49 | 54 | 0.012588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_592-2_0_2_line_57 | NAYY 4x150 SE | 50 | 51 | 0.010058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_592-2_0_2_line_58 | NAYY 4x150 SE | 51 | 63 | 0.023257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_592-2_0_2_line_59 | NAYY 4x150 SE | 52 | 53 | 0.016402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_592-2_0_2_line_60 | NAYY 4x150 SE | 53 | 54 | 0.0053163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_592-2_0_2_line_61 | NAYY 4x150 SE | 54 | 56 | 0.020541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_592-2_0_2_line_62 | NAYY 4x150 SE | 55 | 57 | 0.008296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_592-2_0_2_line_63 | NAYY 4x150 SE | 56 | 58 | 0.022603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_592-2_0_2_line_64 | NAYY 4x150 SE | 56 | 59 | 0.011437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_592-2_0_2_line_65 | NAYY 4x150 SE | 57 | 60 | 0.023929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_592-2_0_2_line_66 | NAYY 4x150 SE | 58 | 62 | 0.011956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_592-2_0_2_line_67 | NAYY 4x150 SE | 59 | 63 | 0.0054516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_592-2_0_2_line_68 | NAYY 4x150 SE | 61 | 64 | 0.03215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_592-2_0_2_line_69 | NAYY 4x150 SE | 63 | 76 | 0.010347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_592-2_0_2_line_70 | NAYY 4x150 SE | 64 | 68 | 0.05668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_592-2_0_2_line_71 | NAYY 4x150 SE | 65 | 66 | 0.046467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_592-2_0_2_line_72 | NAYY 4x150 SE | 66 | 74 | 0.026002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_592-2_0_2_line_73 | NAYY 4x150 SE | 67 | 75 | 0.00030732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_592-2_0_2_line_74 | NAYY 4x150 SE | 68 | 69 | 0.043695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_592-2_0_2_line_75 | NAYY 4x150 SE | 69 | 70 | 0.010787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_592-2_0_2_line_76 | NAYY 4x150 SE | 69 | 71 | 0.05215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_592-2_0_2_line_77 | NAYY 4x150 SE | 72 | 73 | 0.009257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_592-2_0_2_line_78 | NAYY 4x150 SE | 73 | 80 | 0.012528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_592-2_0_2_line_79 | NAYY 4x150 SE | 75 | 84 | 0.0031057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_592-2_0_2_line_80 | NAYY 4x150 SE | 76 | 77 | 0.024417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
81 | LV_592-2_0_2_line_81 | NAYY 4x150 SE | 77 | 78 | 0.010929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
82 | LV_592-2_0_2_line_82 | NAYY 4x150 SE | 79 | 80 | 0.047604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_592-2_0_2_line_83 | NAYY 4x150 SE | 80 | 81 | 0.024956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_592-2_0_2_line_84 | NAYY 4x150 SE | 81 | 82 | 0.04733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_592-2_0_2_trafo_66 | 0.25 MVA 20/0.4 kV | 86 | 78 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2647140.3635 | 1178804.0171 | 2647129.0248 | 1178784.8201 | 2647128.924 | 1178777.2263 | 2647129.6496 | 1178775.5672
1 | 2647144.0064 | 1178810.1847 | 2647140.3635 | 1178804.0171
2 | 2647129.6496 | 1178775.5672 | 2647129.9112 | 1178774.9687
3 | 2647138.3471 | 1178763.2594 | 2647132.1604 | 1178769.8255 | 2647129.9112 | 1178774.9687
4 | 2647138.3471 | 1178763.2594 | 2647114.0688 | 1178740.295
5 | 2647138.3471 | 1178763.2594 | 2647148.3146 | 1178767.5067 | 2647153.0056 | 1178767.5708
6 | 2647086.8714 | 1178717.0416 | 2647101.1332 | 1178728.0594 | 2647114.0688 | 1178740.295
7 | 2647195.3279 | 1178773.8685 | 2647182.8062 | 1178767.978 | 2647153.0056 | 1178767.5708
8 | 2647145.9037 | 1178882.7357 | 2647141.2966 | 1178885.5724
9 | 2647155.0569 | 1178869.1033 | 2647151.7462 | 1178879.1383 | 2647145.9037 | 1178882.7357
10 | 2647141.2966 | 1178885.5724 | 2647141.2614 | 1178885.5941
11 | 2647155.0569 | 1178869.1033 | 2647163.5738 | 1178859.6276
12 | 2647155.0569 | 1178869.1033 | 2647157.9263 | 1178878.253 | 2647165.8908 | 1178887.5095 | 2647174.0615 | 1178893.7484
13 | 2647155.0569 | 1178869.1033 | 2647144.0113 | 1178854.0078
14 | 2647113.2447 | 1178907.7958 | 2647134.1502 | 1178889.9726 | 2647141.2614 | 1178885.5941
15 | 2647194.4971 | 1178902.7759 | 2647187.5792 | 1178901.3096 | 2647181.0963 | 1178898.924 | 2647175.9382 | 1178895.1815 | 2647174.0615 | 1178893.7484
16 | 2647142.8418 | 1178852.4095 | 2647144.0113 | 1178854.0078
17 | 2647113.2447 | 1178907.7958 | 2647107.9226 | 1178902.3345
18 | 2647113.2447 | 1178907.7958 | 2647105.384 | 1178914.5044 | 2647090.5609 | 1178925.4162
19 | 2647215.1558 | 1178899.8368 | 2647204.1398 | 1178901.6734 | 2647194.4971 | 1178902.7759
20 | 2647167.3774 | 1178922.8958 | 2647194.4971 | 1178902.7759
21 | 2647142.8418 | 1178852.4095 | 2647142.8418 | 1178852.4095 | 2647136.6632 | 1178847.1767
22 | 2647104.9913 | 1178899.3265 | 2647107.9226 | 1178902.3345
23 | 2647090.5609 | 1178925.4162 | 2647085.2956 | 1178932.4009 | 2647081.5622 | 1178936.2128
24 | 2647090.5609 | 1178925.4162 | 2647068.1199 | 1178921.5496
25 | 2647209.3799 | 1178791.1216 | 2647203.9048 | 1178783.9636 | 2647195.3279 | 1178773.8685
26 | 2647209.3799 | 1178791.1216 | 2647218.1885 | 1178779.5291 | 2647228.1441 | 1178764.9107 | 2647238.092 | 1178750.3033
27 | 2647238.092 | 1178750.3033 | 2647250.2439 | 1178758.659
28 | 2647214.8598 | 1178866.5943 | 2647218.2436 | 1178877.3601 | 2647219.9802 | 1178884.8333 | 2647218.7649 | 1178891.6941 | 2647215.1558 | 1178899.8368
29 | 2646878.2659 | 1178914.4865 | 2646903.1546 | 1178914.1485
30 | 2646911.2181 | 1178914.039 | 2646903.1546 | 1178914.1485
31 | 2646911.2181 | 1178914.039 | 2646932.369 | 1178913.9944
32 | 2646932.369 | 1178913.9944 | 2646947.0424 | 1178913.9635 | 2646951.9945 | 1178914.1036
33 | 2646985.081 | 1178915.0395 | 2646951.9945 | 1178914.1036
34 | 2646985.081 | 1178915.0395 | 2646982.404 | 1178925.1796 | 2646977.2667 | 1178942.012
35 | 2646985.081 | 1178915.0395 | 2646988.8615 | 1178915.2025 | 2646989.4088 | 1178898.0087 | 2646988.4025 | 1178883.0927
36 | 2646985.081 | 1178915.0395 | 2646988.8615 | 1178915.2025 | 2646996.1095 | 1178915.5039
37 | 2646965.81 | 1178784.8878 | 2646963.6318 | 1178783.7898 | 2646950.0267 | 1178778.6473 | 2646942.9241 | 1178774.1796
38 | 2646984.6889 | 1178794.4048 | 2646965.81 | 1178784.8878
39 | 2646983.3964 | 1178802.3656 | 2646984.6889 | 1178794.4048
40 | 2646983.3964 | 1178802.3656 | 2646998.7781 | 1178807.9446 | 2647000.5831 | 1178808.254
41 | 2647013.4579 | 1178810.4609 | 2647000.5831 | 1178808.254
42 | 2646977.779 | 1178853.3491 | 2646976.6135 | 1178847.4229
43 | 2646988.4025 | 1178883.0927 | 2646984.6981 | 1178872.2357 | 2646977.779 | 1178853.3491
44 | 2646977.779 | 1178853.3491 | 2646982.5222 | 1178848.6281 | 2646984.1538 | 1178846.8413
45 | 2647013.4579 | 1178810.4609 | 2647006.9495 | 1178820.0929 | 2647005.1534 | 1178822.433
46 | 2647013.4579 | 1178810.4609 | 2647015.4541 | 1178810.3502
47 | 2647043.9977 | 1178763.397 | 2647038.8517 | 1178757.4343
48 | 2647043.9977 | 1178763.397 | 2647053.3518 | 1178753.5052
49 | 2647044.5318 | 1178763.984 | 2647043.9977 | 1178763.397
50 | 2647051.1711 | 1178771.2797 | 2647044.5318 | 1178763.984
51 | 2647051.1711 | 1178771.2797 | 2647042.7067 | 1178792.529
52 | 2647051.1711 | 1178771.2797 | 2647068.91 | 1178788.2588
53 | 2647042.3594 | 1178793.401 | 2647042.7067 | 1178792.529
54 | 2647086.8714 | 1178717.0416 | 2647062.7186 | 1178743.5998 | 2647053.3518 | 1178753.5052
55 | 2647039.989 | 1178799.3516 | 2647042.3594 | 1178793.401
56 | 2647037.0118 | 1178811.5016 | 2647038.1481 | 1178803.9731 | 2647039.989 | 1178799.3516
57 | 2647094.7997 | 1178811.7215 | 2647087.3222 | 1178804.9953
58 | 2647094.7997 | 1178811.7215 | 2647088.9183 | 1178815.4329 | 2647079.6356 | 1178817.3834 | 2647072.8428 | 1178818.4529
59 | 2647031.7676 | 1178810.6414 | 2647026.2759 | 1178809.7498 | 2647015.4541 | 1178810.3502
60 | 2647037.0118 | 1178811.5016 | 2647036.9966 | 1178811.4903 | 2647031.7676 | 1178810.6414
61 | 2647037.0118 | 1178811.5016 | 2647056.0972 | 1178819.2331
62 | 2647000.1023 | 1178829.0141 | 2647005.1534 | 1178822.433
63 | 2647056.0972 | 1178819.2331 | 2647041.615 | 1178835.3616 | 2647040.9458 | 1178836.0024
64 | 2647056.0972 | 1178819.2331 | 2647063.6022 | 1178819.9034 | 2647067.4571 | 1178819.2983
65 | 2647000.1023 | 1178829.0141 | 2646998.3661 | 1178831.2762 | 2646984.1538 | 1178846.8413
66 | 2647040.9458 | 1178836.0024 | 2647032.3104 | 1178844.2715
67 | 2647072.8428 | 1178818.4529 | 2647067.4571 | 1178819.2983
68 | 2646988.4025 | 1178883.0927 | 2646973.0583 | 1178879.5819 | 2646957.7815 | 1178873.591
69 | 2647072.8428 | 1178818.4529 | 2647070.0753 | 1178828.4231
70 | 2646957.7815 | 1178873.591 | 2646928.859 | 1178862.249 | 2646911.7894 | 1178852.7104 | 2646906.8392 | 1178849.2169
71 | 2646996.1095 | 1178915.5039 | 2647037.4281 | 1178916.2613 | 2647042.4953 | 1178917.1344
72 | 2647042.4953 | 1178917.1344 | 2647068.1199 | 1178921.5496
73 | 2646977.177 | 1178942.3059 | 2646977.2667 | 1178942.012
74 | 2646871.1393 | 1178824.0218 | 2646906.8392 | 1178849.2169
75 | 2646871.1393 | 1178824.0218 | 2646865.7716 | 1178833.3849
76 | 2646898.1307 | 1178790.9259 | 2646888.6002 | 1178786.4602 | 2646872.7026 | 1178816.5745 | 2646871.1393 | 1178824.0218
77 | 2647042.7268 | 1178961.3937 | 2647040.9968 | 1178959.0234 | 2647037.2921 | 1178953.9
78 | 2647050.1125 | 1178971.5127 | 2647042.7268 | 1178961.3937
79 | 2646977.177 | 1178942.3059 | 2646976.2704 | 1178945.2763
80 | 2647070.0753 | 1178828.4231 | 2647069.1632 | 1178831.7089 | 2647066.7073 | 1178837.0148 | 2647063.2513 | 1178842.2238 | 2647057.1721 | 1178848.7361
81 | 2647049.714 | 1178856.7255 | 2647057.1721 | 1178848.7361
82 | 2647050.1125 | 1178971.5127 | 2647061.4246 | 1178962.1075 | 2647068.3881 | 1178953.8576 | 2647077.2243 | 1178940.642 | 2647081.5622 | 1178936.2128
83 | 2647050.1125 | 1178971.5127 | 2647044.8244 | 1178975.5735 | 2647030.2238 | 1178986.5875
84 | 2647030.2238 | 1178986.5875 | 2647029.2616 | 1178987.3134 | 2647004.2563 | 1179003.8931 | 2646991.1828 | 1179013.3282

## bus_geodata
| x | y | coords
0 | 2647140.3635 | 1178804.0171
1 | 2647129.6496 | 1178775.5672
2 | 2647144.0064 | 1178810.1847
3 | 2647129.9112 | 1178774.9687
4 | 2647138.3471 | 1178763.2594
5 | 2647114.0688 | 1178740.295
6 | 2647153.0056 | 1178767.5708
7 | 2647145.9037 | 1178882.7357
8 | 2647141.2966 | 1178885.5724
9 | 2647155.0569 | 1178869.1033
10 | 2647141.2614 | 1178885.5941
11 | 2647163.5738 | 1178859.6276
12 | 2647174.0615 | 1178893.7484
13 | 2647144.0113 | 1178854.0078
14 | 2647113.2447 | 1178907.7958
15 | 2647194.4971 | 1178902.7759
16 | 2647142.8418 | 1178852.4095
17 | 2647107.9226 | 1178902.3345
18 | 2647090.5609 | 1178925.4162
19 | 2647209.3799 | 1178791.1216
20 | 2647195.3279 | 1178773.8685
21 | 2647238.092 | 1178750.3033
22 | 2647215.1558 | 1178899.8368
23 | 2647167.3774 | 1178922.8958
24 | 2647136.6632 | 1178847.1767
25 | 2647250.2439 | 1178758.659
26 | 2646903.1546 | 1178914.1485
27 | 2646878.2659 | 1178914.4865
28 | 2646911.2181 | 1178914.039
29 | 2646932.369 | 1178913.9944
30 | 2646951.9945 | 1178914.1036
31 | 2646985.081 | 1178915.0395
32 | 2646965.81 | 1178784.8878
33 | 2646942.9241 | 1178774.1796
34 | 2646984.6889 | 1178794.4048
35 | 2646983.3964 | 1178802.3656
36 | 2647000.5831 | 1178808.254
37 | 2646976.6135 | 1178847.4229
38 | 2646977.779 | 1178853.3491
39 | 2647013.4579 | 1178810.4609
40 | 2647038.8517 | 1178757.4343
41 | 2647043.9977 | 1178763.397
42 | 2647044.5318 | 1178763.984
43 | 2647051.1711 | 1178771.2797
44 | 2647042.7067 | 1178792.529
45 | 2647068.91 | 1178788.2588
46 | 2647053.3518 | 1178753.5052
47 | 2647042.3594 | 1178793.401
48 | 2647086.8714 | 1178717.0416
49 | 2647039.989 | 1178799.3516
50 | 2647087.3222 | 1178804.9953
51 | 2647094.7997 | 1178811.7215
52 | 2647015.4541 | 1178810.3502
53 | 2647031.7676 | 1178810.6414
54 | 2647037.0118 | 1178811.5016
55 | 2647005.1534 | 1178822.433
56 | 2647056.0972 | 1178819.2331
57 | 2647000.1023 | 1178829.0141
58 | 2647040.9458 | 1178836.0024
59 | 2647067.4571 | 1178819.2983
60 | 2646984.1538 | 1178846.8413
61 | 2646988.4025 | 1178883.0927
62 | 2647032.3104 | 1178844.2715
63 | 2647072.8428 | 1178818.4529
64 | 2646957.7815 | 1178873.591
65 | 2646996.1095 | 1178915.5039
66 | 2647042.4953 | 1178917.1344
67 | 2646977.2667 | 1178942.012
68 | 2646906.8392 | 1178849.2169
69 | 2646871.1393 | 1178824.0218
70 | 2646865.7716 | 1178833.3849
71 | 2646898.1307 | 1178790.9259
72 | 2647037.2921 | 1178953.9
73 | 2647042.7268 | 1178961.3937
74 | 2647068.1199 | 1178921.5496
75 | 2646977.177 | 1178942.3059
76 | 2647070.0753 | 1178828.4231
77 | 2647057.1721 | 1178848.7361
78 | 2647049.714 | 1178856.7255
79 | 2647081.5622 | 1178936.2128
80 | 2647050.1125 | 1178971.5127
81 | 2647030.2238 | 1178986.5875
82 | 2646991.1828 | 1179013.3282
83 | 2647104.9913 | 1178899.3265
84 | 2646976.2704 | 1178945.2764
85 | 2647214.8598 | 1178866.5943
86 | 2647072.8428 | 1178818.4529

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1