## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_592-2_1_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_592-2_1_2_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_592-2_1_2_node_134 | 0.4 | n |  | TRUE
3 | bus_LV_592-2_1_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_592-2_1_2_node_125 | 0.4 | n |  | TRUE
5 | bus_LV_592-2_1_2_node_154 | 0.4 | n |  | TRUE
6 | bus_LV_592-2_1_2_node_130 | 0.4 | n |  | TRUE
7 | bus_LV_592-2_1_2_node_131 | 0.4 | n |  | TRUE
8 | bus_LV_592-2_1_2_node_132 | 0.4 | n |  | TRUE
9 | bus_LV_592-2_1_2_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_592-2_1_2_node_150 | 0.4 | n |  | TRUE
11 | bus_LV_592-2_1_2_node_135 | 0.4 | n |  | TRUE
12 | bus_LV_592-2_1_2_node_122 | 0.4 | n |  | TRUE
13 | bus_LV_592-2_1_2_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_592-2_1_2_node_138 | 0.4 | n |  | TRUE
15 | bus_LV_592-2_1_2_node_137 | 0.4 | n |  | TRUE
16 | bus_LV_592-2_1_2_node_139 | 0.4 | n |  | TRUE
17 | bus_LV_592-2_1_2_node_140 | 0.4 | n |  | TRUE
18 | bus_LV_592-2_1_2_node_141 | 0.4 | n |  | TRUE
19 | bus_LV_592-2_1_2_node_142 | 0.4 | n |  | TRUE
20 | bus_LV_592-2_1_2_node_146 | 0.4 | n |  | TRUE
21 | bus_LV_592-2_1_2_node_143 | 0.4 | n |  | TRUE
22 | bus_LV_592-2_1_2_node_144 | 0.4 | n |  | TRUE
23 | bus_LV_592-2_1_2_node_145 | 0.4 | n |  | TRUE
24 | bus_LV_592-2_1_2_node_151 | 0.4 | n |  | TRUE
25 | bus_LV_592-2_1_2_node_147 | 0.4 | n |  | TRUE
26 | bus_LV_592-2_1_2_node_148 | 0.4 | n |  | TRUE
27 | bus_LV_592-2_1_2_node_149 | 0.4 | n |  | TRUE
28 | bus_LV_592-2_1_2_node_153 | 0.4 | n |  | TRUE
29 | bus_LV_592-2_1_2_node_152 | 0.4 | n |  | TRUE
30 | bus_LV_592-2_1_2_node_98 | 0.4 | n |  | TRUE
31 | bus_LV_592-2_1_2_node_162 | 0.4 | n |  | TRUE
32 | bus_LV_592-2_1_2_node_155 | 0.4 | n |  | TRUE
33 | bus_LV_592-2_1_2_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_592-2_1_2_node_156 | 0.4 | n |  | TRUE
35 | bus_LV_592-2_1_2_node_157 | 0.4 | n |  | TRUE
36 | bus_LV_592-2_1_2_node_108 | 0.4 | n |  | TRUE
37 | bus_LV_592-2_1_2_node_115 | 0.4 | n |  | TRUE
38 | bus_LV_592-2_1_2_node_158 | 0.4 | n |  | TRUE
39 | bus_LV_592-2_1_2_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_592-2_1_2_node_159 | 0.4 | n |  | TRUE
41 | bus_LV_592-2_1_2_node_160 | 0.4 | n |  | TRUE
42 | bus_LV_592-2_1_2_node_161 | 0.4 | n |  | TRUE
43 | bus_LV_592-2_1_2_node_113 | 0.4 | n |  | TRUE
44 | bus_LV_592-2_1_2_node_114 | 0.4 | n |  | TRUE
45 | bus_LV_592-2_1_2_node_164 | 0.4 | n |  | TRUE
46 | bus_LV_592-2_1_2_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_592-2_1_2_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_592-2_1_2_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_592-2_1_2_node_94 | 0.4 | n |  | TRUE
50 | bus_LV_592-2_1_2_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_592-2_1_2_node_100 | 0.4 | n |  | TRUE
52 | bus_LV_592-2_1_2_node_96 | 0.4 | n |  | TRUE
53 | bus_LV_592-2_1_2_node_97 | 0.4 | n |  | TRUE
54 | bus_LV_592-2_1_2_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_592-2_1_2_node_102 | 0.4 | n |  | TRUE
56 | bus_LV_592-2_1_2_node_101 | 0.4 | n |  | TRUE
57 | bus_LV_592-2_1_2_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_592-2_1_2_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_592-2_1_2_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_592-2_1_2_node_109 | 0.4 | n |  | TRUE
61 | bus_LV_592-2_1_2_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_592-2_1_2_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_592-2_1_2_node_112 | 0.4 | n |  | TRUE
64 | bus_LV_592-2_1_2_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_592-2_1_2_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_592-2_1_2_node_118 | 0.4 | n |  | TRUE
67 | bus_LV_592-2_1_2_node_119 | 0.4 | n |  | TRUE
68 | bus_LV_592-2_1_2_node_120 | 0.4 | n |  | TRUE
69 | bus_LV_592-2_1_2_node_121 | 0.4 | n |  | TRUE
70 | bus_LV_592-2_1_2_node_123 | 0.4 | n |  | TRUE
71 | bus_LV_592-2_1_2_node_124 | 0.4 | n |  | TRUE
72 | bus_LV_592-2_1_2_node_126 | 0.4 | n |  | TRUE
73 | bus_MV_82_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_592-2_1_2_load_128 | 0 | 0.00084152 | 0.0002109 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_592-2_1_2_load_127 | 1 | 0.0014637 | 0.00036683 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_592-2_1_2_load_134 | 2 | 0.00081659 | 0.00020466 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_592-2_1_2_load_129 | 3 | 0.00099142 | 0.00024847 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_592-2_1_2_load_154 | 5 | 0.0025847 | 0.00064779 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_592-2_1_2_load_130 | 6 | 0.0020122 | 0.00050429 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_592-2_1_2_load_131 | 7 | 0.0023986 | 0.00060114 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_592-2_1_2_load_132 | 8 | 0.001334 | 0.00033433 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_592-2_1_2_load_133 | 9 | 0.0025693 | 0.00064392 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_592-2_1_2_load_150 | 10 | 0.0029703 | 0.00074443 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_592-2_1_2_load_135 | 11 | 0.0011355 | 0.00028458 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_592-2_1_2_load_122 | 12 | 0.003095 | 0.00077567 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_592-2_1_2_load_136 | 13 | 0.00092515 | 0.00023186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_592-2_1_2_load_138 | 14 | 0.0013851 | 0.00034715 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_592-2_1_2_load_137 | 15 | 0.0030397 | 0.00076182 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_592-2_1_2_load_139 | 16 | 0.0019005 | 0.0004763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_592-2_1_2_load_140 | 17 | 0.0016209 | 0.00040624 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_592-2_1_2_load_141 | 18 | 0.0024203 | 0.00060658 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_592-2_1_2_load_146 | 20 | 0.0022228 | 0.00055709 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_592-2_1_2_load_143 | 21 | 0.0023372 | 0.00058577 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_592-2_1_2_load_144 | 22 | 0.0018054 | 0.00045248 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_592-2_1_2_load_145 | 23 | 0.0030904 | 0.00077452 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_592-2_1_2_load_151 | 24 | 0.0023131 | 0.00057971 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_592-2_1_2_load_147 | 25 | 0.001919 | 0.00048095 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_592-2_1_2_load_149 | 27 | 0.0018525 | 0.00046428 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_592-2_1_2_load_153 | 28 | 0.0038306 | 0.00096005 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_592-2_1_2_load_162 | 31 | 0.0028783 | 0.00072136 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_592-2_1_2_load_156 | 34 | 0.0057028 | 0.0014293 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_592-2_1_2_load_157 | 35 | 0.00091343 | 0.00022893 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_592-2_1_2_load_108 | 36 | 0.0013022 | 0.00032637 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_592-2_1_2_load_115 | 37 | 0.0012971 | 0.00032508 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_592-2_1_2_load_158 | 38 | 0.0011064 | 0.00027729 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_592-2_1_2_load_103 | 39 | 0.00098129 | 0.00024593 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_592-2_1_2_load_159 | 40 | 0.00079518 | 0.00019929 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_592-2_1_2_load_160 | 41 | 0.00079016 | 0.00019803 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_592-2_1_2_load_161 | 42 | 0.00059462 | 0.00014902 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_592-2_1_2_load_113 | 43 | 0.0010576 | 0.00026507 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_592-2_1_2_load_164 | 45 | 0.0079057 | 0.0019814 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_592-2_1_2_load_90 | 47 | 0.0036818 | 0.00092276 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_592-2_1_2_load_100 | 51 | 0.0012562 | 0.00031482 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_592-2_1_2_load_96 | 52 | 0.002393 | 0.00059973 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_592-2_1_2_load_97 | 53 | 0.0044481 | 0.0011148 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_592-2_1_2_load_99 | 54 | 0.0011198 | 0.00028065 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_592-2_1_2_load_102 | 55 | 0.0011911 | 0.00029852 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_592-2_1_2_load_101 | 56 | 0.0010908 | 0.00027338 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_592-2_1_2_load_104 | 57 | 0.00063683 | 0.0001596 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_592-2_1_2_load_105 | 58 | 0.00073963 | 0.00018537 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_592-2_1_2_load_106 | 59 | 0.0014569 | 0.00036514 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_592-2_1_2_load_109 | 60 | 0.00051222 | 0.00012837 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_592-2_1_2_load_110 | 61 | 0.00061189 | 0.00015335 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_592-2_1_2_load_112 | 63 | 0.0004257 | 0.00010669 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_592-2_1_2_load_116 | 64 | 0.00080588 | 0.00020197 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_592-2_1_2_load_117 | 65 | 0.00095263 | 0.00023875 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_592-2_1_2_load_118 | 66 | 0.0012156 | 0.00030466 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_592-2_1_2_load_119 | 67 | 0.0020825 | 0.00052191 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_592-2_1_2_load_121 | 69 | 0.0028009 | 0.00070197 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_592-2_1_2_load_123 | 70 | 0.001557 | 0.00039023 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_592-2_1_2_load_124 | 71 | 0.0019306 | 0.00048385 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_592-2_1_2_load_126 | 72 | 0.0025632 | 0.0006424 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_592-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0033705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_592-2_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0077202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_592-2_1_2_line_2 | NAYY 4x150 SE | 1 | 72 | 0.0084219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_592-2_1_2_line_3 | NAYY 4x150 SE | 2 | 8 | 0.0059686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_592-2_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.019543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_592-2_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.013663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_592-2_1_2_line_6 | NAYY 4x150 SE | 4 | 72 | 0.017933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_592-2_1_2_line_7 | NAYY 4x150 SE | 4 | 71 | 0.013606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_592-2_1_2_line_8 | NAYY 4x150 SE | 5 | 32 | 0.0030718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_592-2_1_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.0053765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_592-2_1_2_line_10 | NAYY 4x150 SE | 6 | 8 | 0.012482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_592-2_1_2_line_11 | NAYY 4x150 SE | 7 | 9 | 0.023445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_592-2_1_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.011198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_592-2_1_2_line_13 | NAYY 4x150 SE | 10 | 26 | 0.0056902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_592-2_1_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0096798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_592-2_1_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0073015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_592-2_1_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.00025652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_592-2_1_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0012228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_592-2_1_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.027355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_592-2_1_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.0078598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_592-2_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0077304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_592-2_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.018799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_592-2_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.010184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_592-2_1_2_line_23 | NAYY 4x150 SE | 19 | 21 | 0.01743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_592-2_1_2_line_24 | NAYY 4x150 SE | 20 | 25 | 0.002588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_592-2_1_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.00069414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_592-2_1_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0079516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_592-2_1_2_line_27 | NAYY 4x150 SE | 24 | 29 | 0.0073355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_592-2_1_2_line_28 | NAYY 4x150 SE | 25 | 26 | 0.035623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_592-2_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.0093452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_592-2_1_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.015639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_592-2_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.018538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_592-2_1_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.03916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_592-2_1_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.053804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_592-2_1_2_line_34 | NAYY 4x150 SE | 30 | 53 | 0.021027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_592-2_1_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.049517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_592-2_1_2_line_36 | NAYY 4x150 SE | 32 | 34 | 0.012463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_592-2_1_2_line_37 | NAYY 4x150 SE | 33 | 40 | 0.012454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_592-2_1_2_line_38 | NAYY 4x150 SE | 33 | 58 | 0.010789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_592-2_1_2_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0097635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_592-2_1_2_line_40 | NAYY 4x150 SE | 35 | 37 | 0.016712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_592-2_1_2_line_41 | NAYY 4x150 SE | 36 | 59 | 0.016276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_592-2_1_2_line_42 | NAYY 4x150 SE | 37 | 44 | 0.016423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_592-2_1_2_line_43 | NAYY 4x150 SE | 38 | 39 | 0.0061217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_592-2_1_2_line_44 | NAYY 4x150 SE | 38 | 40 | 0.0084901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_592-2_1_2_line_45 | NAYY 4x150 SE | 39 | 55 | 0.014193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_592-2_1_2_line_46 | NAYY 4x150 SE | 41 | 42 | 0.0033985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_592-2_1_2_line_47 | NAYY 4x150 SE | 41 | 43 | 0.062497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_592-2_1_2_line_48 | NAYY 4x150 SE | 42 | 44 | 0.067314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_592-2_1_2_line_49 | NAYY 4x150 SE | 43 | 63 | 0.06546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_592-2_1_2_line_50 | NAYY 4x150 SE | 44 | 64 | 0.030358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_592-2_1_2_line_51 | NAYY 4x150 SE | 45 | 46 | 0.015177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_592-2_1_2_line_52 | NAYY 4x150 SE | 46 | 48 | 0.073272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_592-2_1_2_line_53 | NAYY 4x150 SE | 47 | 48 | 0.019381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_592-2_1_2_line_54 | NAYY 4x150 SE | 48 | 49 | 0.096559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_592-2_1_2_line_55 | NAYY 4x150 SE | 48 | 50 | 0.033073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_592-2_1_2_line_56 | NAYY 4x150 SE | 49 | 51 | 0.065462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_592-2_1_2_line_57 | NAYY 4x150 SE | 50 | 52 | 0.045045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_592-2_1_2_line_58 | NAYY 4x150 SE | 51 | 56 | 0.0081764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_592-2_1_2_line_59 | NAYY 4x150 SE | 52 | 53 | 0.034787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_592-2_1_2_line_60 | NAYY 4x150 SE | 54 | 55 | 0.015918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_592-2_1_2_line_61 | NAYY 4x150 SE | 57 | 58 | 0.004762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_592-2_1_2_line_62 | NAYY 4x150 SE | 57 | 59 | 0.021159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_592-2_1_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.045443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_592-2_1_2_line_64 | NAYY 4x150 SE | 61 | 62 | 0.017799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_592-2_1_2_line_65 | NAYY 4x150 SE | 62 | 63 | 0.026635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_592-2_1_2_line_66 | NAYY 4x150 SE | 65 | 66 | 0.051224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_592-2_1_2_line_67 | NAYY 4x150 SE | 66 | 67 | 0.021079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_592-2_1_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.004527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_592-2_1_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0094391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_592-2_1_2_line_70 | NAYY 4x150 SE | 69 | 70 | 0.035385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_592-2_1_2_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0014557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_592-2_1_2_trafo_131 | 0.25 MVA 20/0.4 kV | 73 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2647655.9706 | 1178947.3603 | 2647659.0161 | 1178945.9165
1 | 2647659.0161 | 1178945.9165 | 2647660.4508 | 1178945.2363 | 2647665.7944 | 1178942.2274
2 | 2647648.3605 | 1178950.9679 | 2647655.9706 | 1178947.3603
3 | 2647670.9951 | 1178939.2988 | 2647665.7944 | 1178942.2274
4 | 2647631.823 | 1178957.8715 | 2647636.337 | 1178949.3582 | 2647639.2129 | 1178939.8775
5 | 2647639.5333 | 1178926.5405 | 2647640.5331 | 1178929.9033 | 2647640.4244 | 1178935.8834 | 2647639.2129 | 1178939.8775
6 | 2647631.823 | 1178957.8715 | 2647642.1147 | 1178953.9288 | 2647648.3605 | 1178950.9679
7 | 2647631.823 | 1178957.8715 | 2647630.5148 | 1178962.9082 | 2647630.3703 | 1178971.3089
8 | 2647638.6579 | 1178923.5961 | 2647639.5333 | 1178926.5405
9 | 2647681.8713 | 1178933.1744 | 2647686.5562 | 1178930.5364
10 | 2647670.9951 | 1178939.2988 | 2647681.8713 | 1178933.1744
11 | 2647707.2428 | 1178919.6414 | 2647704.4092 | 1178920.4833 | 2647686.5562 | 1178930.5364
12 | 2647707.2428 | 1178919.6414 | 2647717.9773 | 1178916.4521
13 | 2647723.4319 | 1178914.8315 | 2647717.9773 | 1178916.4521
14 | 2647674.1386 | 1179000.6691 | 2647682.9511 | 1178996.6644
15 | 2647682.9511 | 1178996.6644 | 2647683.4066 | 1178996.4574 | 2647689.2654 | 1178993.0034
16 | 2647689.4864 | 1178992.8731 | 2647689.2654 | 1178993.0034
17 | 2647690.5397 | 1178992.2521 | 2647689.4864 | 1178992.8731
18 | 2647704.4317 | 1178971.3703 | 2647700.0843 | 1178972.4548 | 2647697.9159 | 1178975.1724 | 2647696.527 | 1178979.7749 | 2647696.19 | 1178983.7299 | 2647694.8723 | 1178988.0329 | 2647692.0956 | 1178991.3348 | 2647690.5397 | 1178992.2521
19 | 2647704.4317 | 1178971.3703 | 2647707.081 | 1178970.7095 | 2647712.1066 | 1178969.6831
20 | 2647712.1066 | 1178969.6831 | 2647718.0315 | 1178968.4731 | 2647719.628 | 1178967.9402
21 | 2647737.1813 | 1178961.2326 | 2647725.0253 | 1178966.1385 | 2647719.628 | 1178967.9402
22 | 2647737.1813 | 1178961.2326 | 2647734.2878 | 1178951.4678
23 | 2647737.1813 | 1178961.2326 | 2647744.2228 | 1178957.7089 | 2647750.9991 | 1178952.938 | 2647751.9001 | 1178952.0445
24 | 2647734.2878 | 1178951.4678 | 2647733.5526 | 1178948.9865
25 | 2647751.9001 | 1178952.0445 | 2647752.393 | 1178951.5557
26 | 2647776.3725 | 1178896.8471 | 2647776.024 | 1178902.5433 | 2647775.623 | 1178904.7519
27 | 2647774.72 | 1178889.7704 | 2647776.4544 | 1178895.5096 | 2647776.3725 | 1178896.8471
28 | 2647723.4319 | 1178914.8315 | 2647733.5526 | 1178948.9865
29 | 2647723.4319 | 1178914.8315 | 2647728.9102 | 1178910.9285 | 2647730.7766 | 1178909.0916
30 | 2647730.7766 | 1178909.0916 | 2647734.0309 | 1178905.8887 | 2647736.729 | 1178898.0615 | 2647735.8949 | 1178895.395
31 | 2647741.5047 | 1178880.6901 | 2647736.2901 | 1178884.0838 | 2647734.3627 | 1178886.2808 | 2647734.1213 | 1178889.7252 | 2647735.8949 | 1178895.395
32 | 2647741.5047 | 1178880.6901 | 2647745.1801 | 1178887.3452 | 2647750.481 | 1178889.4218 | 2647761.1658 | 1178886.9944 | 2647769.0669 | 1178885.8678 | 2647773.237 | 1178887.9465 | 2647774.72 | 1178889.7704
33 | 2647774.72 | 1178889.7704 | 2647790.8152 | 1178878.5481 | 2647795.6061 | 1178877.5079 | 2647799.044 | 1178878.4802 | 2647801.3785 | 1178883.7016 | 2647802.5492 | 1178891.1372 | 2647802.0588 | 1178896.1138 | 2647799.8471 | 1178903.3
34 | 2647741.5047 | 1178880.6901 | 2647757.887 | 1178867.5082
35 | 2647638.6579 | 1178923.5961 | 2647639.1911 | 1178917.0635 | 2647640.2142 | 1178912.3357 | 2647642.5073 | 1178908.3406 | 2647649.7599 | 1178895.558 | 2647652.2 | 1178890.3745 | 2647653.2356 | 1178885.0354 | 2647653.1953 | 1178881.4554 | 2647651.2758 | 1178877.8493
36 | 2647638.6579 | 1178923.5961 | 2647634.8632 | 1178928.1017 | 2647628.747 | 1178930.5656
37 | 2647651.2758 | 1178877.8493 | 2647661.249 | 1178870.3897
38 | 2647651.2758 | 1178877.8493 | 2647643.0858 | 1178884.872
39 | 2647608.4719 | 1178908.7658 | 2647603.7866 | 1178911.3906 | 2647599.6442 | 1178912.8532
40 | 2647584.0849 | 1178918.8886 | 2647587.8355 | 1178917.0227 | 2647599.6442 | 1178912.8532
41 | 2647608.4719 | 1178908.7658 | 2647617.5617 | 1178903.6735 | 2647622.4938 | 1178900.5147
42 | 2647569.381 | 1178926.2036 | 2647584.0849 | 1178918.8886
43 | 2647668.0478 | 1178865.3046 | 2647669.8214 | 1178863.978 | 2647673.1535 | 1178861.9383
44 | 2647661.249 | 1178870.3897 | 2647668.0478 | 1178865.3046
45 | 2647685.2591 | 1178854.5281 | 2647673.1535 | 1178861.9383
46 | 2647502.8008 | 1178916.2931 | 2647499.4158 | 1178915.991
47 | 2647499.4158 | 1178915.991 | 2647491.2463 | 1178977.9514
48 | 2647502.8008 | 1178916.2931 | 2647569.381 | 1178926.2036
49 | 2647437.5902 | 1179015.4153 | 2647453.1589 | 1179003.8588 | 2647482.6273 | 1178983.4031 | 2647491.2463 | 1178977.9514
50 | 2647569.381 | 1178926.2036 | 2647571.0332 | 1178921.1362 | 2647581.5977 | 1178908.8133 | 2647583.4601 | 1178900.2166
51 | 2647802.7532 | 1178819.5224 | 2647802.3442 | 1178816.1951 | 2647802.6545 | 1178813.6962 | 2647803.2769 | 1178808.4539 | 2647803.3472 | 1178804.4301
52 | 2647742.2687 | 1178782.7767 | 2647745.7861 | 1178782.4044 | 2647748.0734 | 1178781.0775 | 2647751.1517 | 1178777.3333 | 2647754.9458 | 1178775.796 | 2647757.4737 | 1178776.8722 | 2647761.8148 | 1178784.3664 | 2647763.3904 | 1178787.0248 | 2647766.1716 | 1178788.9257 | 2647787.4193 | 1178797.4995 | 2647803.3472 | 1178804.4301
53 | 2647742.2687 | 1178782.7767 | 2647744.4115 | 1178764.0836 | 2647744.5036 | 1178763.526
54 | 2647663.465 | 1178762.0392 | 2647669.3383 | 1178758.4394 | 2647675.7161 | 1178755.7775 | 2647684.0535 | 1178755.5214 | 2647700.9822 | 1178756.7343 | 2647711.6824 | 1178758.1535 | 2647719.7499 | 1178760.1409 | 2647723.4141 | 1178762.4491 | 2647726.2245 | 1178765.4731 | 2647730.1047 | 1178775.2092 | 2647731.8213 | 1178779.3584 | 2647733.0479 | 1178781.7027 | 2647734.4417 | 1178783.2146 | 2647736.6101 | 1178784.3547 | 2647742.329 | 1178784.8005 | 2647742.2687 | 1178782.7767
55 | 2647741.2342 | 1178815.7974 | 2647742.2374 | 1178805.9111 | 2647742.22 | 1178795.6165 | 2647742.329 | 1178784.8005 | 2647742.2687 | 1178782.7767
56 | 2647663.465 | 1178762.0392 | 2647655.6944 | 1178768.8367 | 2647654.2213 | 1178772.5047 | 2647653.8103 | 1178776.1479 | 2647656.0183 | 1178790.5732 | 2647657.6461 | 1178797.2564 | 2647657.6779 | 1178802.8597 | 2647655.9275 | 1178809.705 | 2647651.843 | 1178822.4445
57 | 2647741.2342 | 1178815.7974 | 2647752.9752 | 1178819.8708 | 2647763.8367 | 1178824.0483 | 2647772.5216 | 1178830.999 | 2647776.3412 | 1178837.7775 | 2647776.3421 | 1178839.8531
58 | 2647649.3467 | 1178830.2305 | 2647651.843 | 1178822.4445
59 | 2647757.887 | 1178867.5082 | 2647763.7498 | 1178862.7908 | 2647771.4791 | 1178854.4589 | 2647776.3449 | 1178845.9375 | 2647776.3421 | 1178839.8531
60 | 2647698.8355 | 1178846.2177 | 2647685.2591 | 1178854.5281
61 | 2647639.4708 | 1178887.9718 | 2647643.0858 | 1178884.872
62 | 2647639.4708 | 1178887.9718 | 2647631.7756 | 1178894.5702 | 2647622.4938 | 1178900.5147
63 | 2647425.2802 | 1179090.941 | 2647416.4434 | 1179080.9658 | 2647414.3024 | 1179071.5438 | 2647416.0338 | 1179049.1566
64 | 2647416.2549 | 1179031.3598 | 2647416.0553 | 1179048.8788 | 2647416.0338 | 1179049.1566
65 | 2647416.2549 | 1179031.3598 | 2647421.5353 | 1179027.3326 | 2647437.5902 | 1179015.4153
66 | 2647597.2484 | 1179077.181 | 2647605.6821 | 1179071.103 | 2647616.9258 | 1179059.8083 | 2647623.6918 | 1179053.4363 | 2647630.4099 | 1179043.462 | 2647632.2114 | 1179040.3785
67 | 2647632.2114 | 1179040.3785 | 2647634.3212 | 1179036.7672 | 2647635.3574 | 1179031.3503 | 2647633.9711 | 1179024.0909 | 2647633.9646 | 1179020.0998
68 | 2647637.1682 | 1179016.9013 | 2647633.9646 | 1179020.0998
69 | 2647637.1682 | 1179016.9013 | 2647636.355 | 1179007.4973
70 | 2647636.355 | 1179007.4973 | 2647635.9927 | 1179003.3069 | 2647630.2593 | 1178977.7698 | 2647630.3453 | 1178972.7644
71 | 2647630.3703 | 1178971.3089 | 2647630.3453 | 1178972.7644

## bus_geodata
| x | y | coords
0 | 2647659.0161 | 1178945.9165
1 | 2647655.9706 | 1178947.3603
2 | 2647665.7944 | 1178942.2274
3 | 2647639.2129 | 1178939.8775
4 | 2647631.823 | 1178957.8715
5 | 2647639.5333 | 1178926.5405
6 | 2647681.8713 | 1178933.1744
7 | 2647686.5562 | 1178930.5364
8 | 2647670.9951 | 1178939.2988
9 | 2647707.2428 | 1178919.6414
10 | 2647717.9773 | 1178916.4521
11 | 2647682.9511 | 1178996.6644
12 | 2647674.1386 | 1179000.6691
13 | 2647689.2654 | 1178993.0034
14 | 2647689.4864 | 1178992.8731
15 | 2647690.5397 | 1178992.2521
16 | 2647704.4317 | 1178971.3703
17 | 2647712.1066 | 1178969.6831
18 | 2647719.628 | 1178967.9402
19 | 2647737.1813 | 1178961.2326
20 | 2647734.2878 | 1178951.4678
21 | 2647751.9001 | 1178952.0445
22 | 2647752.393 | 1178951.5557
23 | 2647775.623 | 1178904.7519
24 | 2647776.3725 | 1178896.8471
25 | 2647733.5526 | 1178948.9865
26 | 2647723.4319 | 1178914.8315
27 | 2647730.7766 | 1178909.0916
28 | 2647735.8949 | 1178895.395
29 | 2647774.72 | 1178889.7704
30 | 2647741.5047 | 1178880.6901
31 | 2647799.8471 | 1178903.3
32 | 2647638.6579 | 1178923.5961
33 | 2647651.2758 | 1178877.8493
34 | 2647628.747 | 1178930.5656
35 | 2647599.6442 | 1178912.8532
36 | 2647608.4719 | 1178908.7658
37 | 2647584.0849 | 1178918.8886
38 | 2647668.0478 | 1178865.3046
39 | 2647673.1535 | 1178861.9383
40 | 2647661.249 | 1178870.3897
41 | 2647499.4158 | 1178915.991
42 | 2647502.8008 | 1178916.2931
43 | 2647491.2463 | 1178977.9514
44 | 2647569.381 | 1178926.2036
45 | 2647802.7532 | 1178819.5224
46 | 2647803.3472 | 1178804.4301
47 | 2647744.5036 | 1178763.526
48 | 2647742.2687 | 1178782.7767
49 | 2647663.465 | 1178762.0392
50 | 2647741.2342 | 1178815.7974
51 | 2647651.843 | 1178822.4445
52 | 2647776.3421 | 1178839.8531
53 | 2647757.887 | 1178867.5082
54 | 2647698.8355 | 1178846.2177
55 | 2647685.2591 | 1178854.5281
56 | 2647649.3467 | 1178830.2305
57 | 2647639.4708 | 1178887.9718
58 | 2647643.0858 | 1178884.872
59 | 2647622.4938 | 1178900.5147
60 | 2647425.2801 | 1179090.941
61 | 2647416.0338 | 1179049.1566
62 | 2647416.2549 | 1179031.3598
63 | 2647437.5902 | 1179015.4153
64 | 2647583.4601 | 1178900.2166
65 | 2647597.2484 | 1179077.181
66 | 2647632.2114 | 1179040.3785
67 | 2647633.9646 | 1179020.0998
68 | 2647637.1682 | 1179016.9013
69 | 2647636.355 | 1179007.4973
70 | 2647630.3453 | 1178972.7644
71 | 2647630.3703 | 1178971.3089
72 | 2647648.3605 | 1178950.9679
73 | 2647723.4319 | 1178914.8315

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1