## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6022-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6022-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6022-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6022-12_0_5_node_24 | 0.4 | n |  | TRUE
4 | bus_LV_6022-12_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6022-12_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6022-12_0_5_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_6022-12_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_6022-12_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6022-12_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6022-12_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6022-12_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_6022-12_0_5_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_6022-12_0_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_6022-12_0_5_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_6022-12_0_5_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_6022-12_0_5_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_6022-12_0_5_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_6022-12_0_5_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_6022-12_0_5_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_6022-12_0_5_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_6022-12_0_5_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_6022-12_0_5_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_6022-12_0_5_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_6022-12_0_5_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_6022-12_0_5_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_6022-12_0_5_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_6022-12_0_5_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_6022-12_0_5_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_6022-12_0_5_node_9 | 0.4 | n |  | TRUE
30 | bus_LV_6022-12_0_5_node_10 | 0.4 | n |  | TRUE
31 | bus_LV_6022-12_0_5_node_11 | 0.4 | n |  | TRUE
32 | bus_LV_6022-12_0_5_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_6022-12_0_5_node_13 | 0.4 | n |  | TRUE
34 | bus_LV_6022-12_0_5_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_6022-12_0_5_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_6022-12_0_5_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_6022-12_0_5_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_6022-12_0_5_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_6022-12_0_5_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_6022-12_0_5_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_6022-12_0_5_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_6022-12_0_5_node_15 | 0.4 | n |  | TRUE
43 | bus_LV_6022-12_0_5_node_16 | 0.4 | n |  | TRUE
44 | bus_LV_6022-12_0_5_node_17 | 0.4 | n |  | TRUE
45 | bus_LV_6022-12_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6022-12_0_5_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_6022-12_0_5_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_6022-12_0_5_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_6022-12_0_5_node_20 | 0.4 | n |  | TRUE
50 | bus_LV_6022-12_0_5_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_6022-12_0_5_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_6022-12_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6022-12_0_5_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6022-12_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6022-12_0_5_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6022-12_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6022-12_0_5_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_6022-12_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6022-12_0_5_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_6022-12_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6022-12_0_5_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_6022-12_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6022-12_0_5_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6022-12_0_5_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_6022-12_0_5_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_6022-12_0_5_node_66 | 0.4 | n |  | TRUE
67 | bus_MV_103_2_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6022-12_0_5_load_0 | 0 | 0.0041661 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6022-12_0_5_load_1 | 1 | 0.0038535 | 0.00096577 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6022-12_0_5_load_2 | 2 | 0.0038535 | 0.00096577 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6022-12_0_5_load_3 | 4 | 0.0074136 | 0.001858 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6022-12_0_5_load_4 | 5 | 0.0038438 | 0.00096334 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6022-12_0_5_load_39 | 6 | 0.019863 | 0.0049781 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6022-12_0_5_load_5 | 8 | 0.0086287 | 0.0021625 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6022-12_0_5_load_6 | 9 | 0.0038483 | 0.00096448 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6022-12_0_5_load_27 | 11 | 0.0045622 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6022-12_0_5_load_28 | 12 | 0.0056823 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6022-12_0_5_load_19 | 13 | 0.0081059 | 0.0020315 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6022-12_0_5_load_30 | 15 | 0.0015329 | 0.00038419 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6022-12_0_5_load_31 | 16 | 0.0046101 | 0.0011554 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6022-12_0_5_load_51 | 17 | 0.0011909 | 0.00029848 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6022-12_0_5_load_49 | 18 | 0.0021822 | 0.0005469 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6022-12_0_5_load_8 | 19 | 0.0035044 | 0.00087829 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6022-12_0_5_load_33 | 20 | 0.0016978 | 0.0004255 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6022-12_0_5_load_40 | 21 | 0.0047138 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6022-12_0_5_load_42 | 22 | 0.0069364 | 0.0017384 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6022-12_0_5_load_32 | 23 | 0.0017259 | 0.00043255 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6022-12_0_5_load_43 | 26 | 0.0045839 | 0.0011488 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6022-12_0_5_load_38 | 27 | 0.0045716 | 0.0011458 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6022-12_0_5_load_41 | 28 | 0.0036088 | 0.00090446 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6022-12_0_5_load_11 | 31 | 0.0032052 | 0.00080331 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6022-12_0_5_load_13 | 33 | 0.0052396 | 0.0013132 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6022-12_0_5_load_14 | 34 | 0.0038758 | 0.00097136 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6022-12_0_5_load_59 | 35 | 0.0063815 | 0.0015994 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6022-12_0_5_load_57 | 36 | 0.0069247 | 0.0017355 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6022-12_0_5_load_69 | 38 | 0.0046714 | 0.0011708 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6022-12_0_5_load_62 | 39 | 0.004826 | 0.0012095 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6022-12_0_5_load_58 | 40 | 0.0054433 | 0.0013642 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6022-12_0_5_load_15 | 42 | 0.0058998 | 0.0014786 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6022-12_0_5_load_16 | 43 | 0.0043723 | 0.0010958 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6022-12_0_5_load_17 | 44 | 0.0068867 | 0.001726 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6022-12_0_5_load_26 | 45 | 0.0031714 | 0.00079482 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6022-12_0_5_load_18 | 46 | 0.0060484 | 0.0015159 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6022-12_0_5_load_23 | 48 | 0.0047567 | 0.0011921 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6022-12_0_5_load_20 | 49 | 0.0033469 | 0.00083881 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6022-12_0_5_load_25 | 50 | 0.0032019 | 0.00080247 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6022-12_0_5_load_36 | 51 | 0.0068061 | 0.0017058 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6022-12_0_5_load_44 | 52 | 0.0021715 | 0.00054424 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6022-12_0_5_load_45 | 53 | 0.0019865 | 0.00049786 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6022-12_0_5_load_46 | 54 | 0.0023635 | 0.00059234 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6022-12_0_5_load_48 | 56 | 0.0040248 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6022-12_0_5_load_55 | 57 | 0.0017036 | 0.00042697 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6022-12_0_5_load_56 | 59 | 0.0014257 | 0.00035731 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6022-12_0_5_load_52 | 60 | 0.0025439 | 0.00063756 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6022-12_0_5_load_61 | 63 | 0.0024061 | 0.00060302 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6022-12_0_5_load_63 | 64 | 0.0050073 | 0.0012549 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6022-12_0_5_load_66 | 66 | 0.0024508 | 0.00061422 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6022-12_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6022-12_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0069607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6022-12_0_5_line_2 | NAYY 4x150 SE | 0 | 3 | 0.18309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6022-12_0_5_line_3 | NAYY 4x150 SE | 1 | 4 | 0.02401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6022-12_0_5_line_4 | NAYY 4x150 SE | 2 | 5 | 0.012066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6022-12_0_5_line_5 | NAYY 4x150 SE | 3 | 6 | 0.032642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6022-12_0_5_line_6 | NAYY 4x150 SE | 3 | 7 | 0.10445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6022-12_0_5_line_7 | NAYY 4x150 SE | 4 | 8 | 0.013844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6022-12_0_5_line_8 | NAYY 4x150 SE | 5 | 9 | 0.0065579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6022-12_0_5_line_9 | NAYY 4x150 SE | 7 | 50 | 0.016556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6022-12_0_5_line_10 | NAYY 4x150 SE | 7 | 47 | 0.010666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6022-12_0_5_line_11 | NAYY 4x150 SE | 9 | 10 | 0.021004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6022-12_0_5_line_12 | NAYY 4x150 SE | 10 | 19 | 0.053361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6022-12_0_5_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0017208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6022-12_0_5_line_14 | NAYY 4x150 SE | 11 | 13 | 0.02092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6022-12_0_5_line_15 | NAYY 4x150 SE | 12 | 14 | 0.005687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6022-12_0_5_line_16 | NAYY 4x150 SE | 13 | 46 | 0.0071274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6022-12_0_5_line_17 | NAYY 4x150 SE | 14 | 15 | 0.037852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6022-12_0_5_line_18 | NAYY 4x150 SE | 14 | 16 | 0.032339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6022-12_0_5_line_19 | NAYY 4x150 SE | 15 | 20 | 0.018187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6022-12_0_5_line_20 | NAYY 4x150 SE | 16 | 21 | 0.026952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6022-12_0_5_line_21 | NAYY 4x150 SE | 16 | 22 | 0.038393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6022-12_0_5_line_22 | NAYY 4x150 SE | 17 | 18 | 0.070062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6022-12_0_5_line_23 | NAYY 4x150 SE | 18 | 55 | 0.033243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6022-12_0_5_line_24 | NAYY 4x150 SE | 19 | 29 | 0.039861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_6022-12_0_5_line_25 | NAYY 4x150 SE | 20 | 23 | 0.0020852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6022-12_0_5_line_26 | NAYY 4x150 SE | 22 | 28 | 0.020684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6022-12_0_5_line_27 | NAYY 4x150 SE | 23 | 24 | 0.040945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6022-12_0_5_line_28 | NAYY 4x150 SE | 24 | 25 | 0.065776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6022-12_0_5_line_29 | NAYY 4x150 SE | 25 | 26 | 0.019886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6022-12_0_5_line_30 | NAYY 4x150 SE | 27 | 28 | 0.0059426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6022-12_0_5_line_31 | NAYY 4x150 SE | 29 | 30 | 0.010873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_6022-12_0_5_line_32 | NAYY 4x150 SE | 29 | 31 | 0.042023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6022-12_0_5_line_33 | NAYY 4x150 SE | 30 | 32 | 0.031438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_6022-12_0_5_line_34 | NAYY 4x150 SE | 30 | 33 | 0.10476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6022-12_0_5_line_35 | NAYY 4x150 SE | 31 | 34 | 0.024737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6022-12_0_5_line_36 | NAYY 4x150 SE | 32 | 35 | 0.033603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6022-12_0_5_line_37 | NAYY 4x150 SE | 32 | 36 | 0.065699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6022-12_0_5_line_38 | NAYY 4x150 SE | 33 | 37 | 0.043484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6022-12_0_5_line_39 | NAYY 4x150 SE | 34 | 38 | 0.03477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6022-12_0_5_line_40 | NAYY 4x150 SE | 35 | 39 | 0.039956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6022-12_0_5_line_41 | NAYY 4x150 SE | 36 | 40 | 0.0030695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6022-12_0_5_line_42 | NAYY 4x150 SE | 37 | 41 | 0.00178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6022-12_0_5_line_43 | NAYY 4x150 SE | 40 | 55 | 0.082693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6022-12_0_5_line_44 | NAYY 4x150 SE | 41 | 66 | 0.019674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6022-12_0_5_line_45 | NAYY 4x150 SE | 42 | 43 | 0.016995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6022-12_0_5_line_46 | NAYY 4x150 SE | 42 | 44 | 0.019693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6022-12_0_5_line_47 | NAYY 4x150 SE | 43 | 45 | 0.089603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_6022-12_0_5_line_48 | NAYY 4x150 SE | 44 | 46 | 0.022145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6022-12_0_5_line_49 | NAYY 4x150 SE | 45 | 48 | 0.0029369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_6022-12_0_5_line_50 | NAYY 4x150 SE | 47 | 48 | 0.063935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_6022-12_0_5_line_51 | NAYY 4x150 SE | 47 | 49 | 0.042191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6022-12_0_5_line_52 | NAYY 4x150 SE | 50 | 51 | 0.047117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6022-12_0_5_line_53 | NAYY 4x150 SE | 52 | 53 | 0.010766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6022-12_0_5_line_54 | NAYY 4x150 SE | 52 | 54 | 0.025063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6022-12_0_5_line_55 | NAYY 4x150 SE | 53 | 55 | 0.017709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6022-12_0_5_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0093249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6022-12_0_5_line_57 | NAYY 4x150 SE | 54 | 57 | 0.041579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6022-12_0_5_line_58 | NAYY 4x150 SE | 55 | 58 | 0.03748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6022-12_0_5_line_59 | NAYY 4x150 SE | 57 | 59 | 0.048867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6022-12_0_5_line_60 | NAYY 4x150 SE | 58 | 60 | 0.029005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6022-12_0_5_line_61 | NAYY 4x150 SE | 60 | 61 | 0.054334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6022-12_0_5_line_62 | NAYY 4x150 SE | 61 | 62 | 0.059418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6022-12_0_5_line_63 | NAYY 4x150 SE | 62 | 63 | 0.01673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6022-12_0_5_line_64 | NAYY 4x150 SE | 64 | 65 | 0.029568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6022-12_0_5_line_65 | NAYY 4x150 SE | 65 | 66 | 0.016922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6022-12_0_5_trafo_24 | 0.25 MVA 20/0.4 kV | 67 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2580524.8776 | 1117173.7789 | 2580524.7847 | 1117161.9181
1 | 2580524.8776 | 1117173.7789 | 2580524.9322 | 1117180.7394
2 | 2580524.8776 | 1117173.7789 | 2580341.8151 | 1117170.8373
3 | 2580524.7847 | 1117161.9181 | 2580524.5965 | 1117137.9093
4 | 2580525.0267 | 1117192.8053 | 2580524.9322 | 1117180.7394
5 | 2580341.8151 | 1117170.8373 | 2580339.2233 | 1117159.4623 | 2580326.7416 | 1117142.5835
6 | 2580341.8151 | 1117170.8373 | 2580320.1435 | 1117152.3654 | 2580316.2302 | 1117147.6203 | 2580313.4381 | 1117141.1151 | 2580311.4113 | 1117134.9853 | 2580310.8851 | 1117127.4722 | 2580312.57 | 1117104.5331 | 2580312.0155 | 1117088.3825 | 2580310.1151 | 1117085.4984 | 2580307.9816 | 1117084.5048 | 2580304.2049 | 1117083.7724
7 | 2580524.488 | 1117124.0659 | 2580524.5965 | 1117137.9093
8 | 2580525.0267 | 1117192.8053 | 2580525.0781 | 1117199.363
9 | 2580304.2049 | 1117083.7724 | 2580301.1947 | 1117086.1611 | 2580299.3229 | 1117089.669 | 2580298.4549 | 1117093.307 | 2580297.5114 | 1117098.214
10 | 2580304.2049 | 1117083.7724 | 2580304.8898 | 1117080.8131 | 2580304.919 | 1117073.187
11 | 2580533.174 | 1117218.129 | 2580527.8567 | 1117211.1538 | 2580525.1052 | 1117202.8252 | 2580525.0781 | 1117199.363
12 | 2580533.174 | 1117218.129 | 2580553.4497 | 1117203.7231 | 2580569.247 | 1117193.5338 | 2580577.691 | 1117188.7804
13 | 2580192.1878 | 1117190.3905 | 2580192.0523 | 1117192.106
14 | 2580192.1878 | 1117190.3905 | 2580193.2422 | 1117177.0375 | 2580192.573 | 1117169.5423
15 | 2580191.6046 | 1117197.7753 | 2580192.0523 | 1117192.106
16 | 2580191.9391 | 1117162.4432 | 2580192.573 | 1117169.5423
17 | 2580191.6046 | 1117197.7753 | 2580180.0554 | 1117211.0754 | 2580166.4666 | 1117226.072
18 | 2580191.6046 | 1117197.7753 | 2580196.0974 | 1117216.8034 | 2580198.0767 | 1117229.4368
19 | 2580157.3631 | 1117241.8162 | 2580166.4666 | 1117226.072
20 | 2580198.9591 | 1117256.2135 | 2580199.9288 | 1117241.2585 | 2580198.0767 | 1117229.4368
21 | 2580198.0767 | 1117229.4368 | 2580236.0606 | 1117235.0258
22 | 2580532.0647 | 1117001.9512 | 2580602.0847 | 1116999.5409
23 | 2580635.3238 | 1116999.036 | 2580603.085 | 1116999.5065 | 2580602.0847 | 1116999.5409
24 | 2580611.91 | 1117168.3507 | 2580599.8612 | 1117175.3929 | 2580585.8113 | 1117184.2092 | 2580577.691 | 1117188.7804
25 | 2580156.3194 | 1117243.6214 | 2580157.3631 | 1117241.8162
26 | 2580236.0606 | 1117235.0258 | 2580241.1867 | 1117240.1004 | 2580242.4841 | 1117253.5085
27 | 2580137.0593 | 1117279.7509 | 2580154.2563 | 1117247.1893 | 2580156.3194 | 1117243.6214
28 | 2580112.9601 | 1117220.3231 | 2580122.6359 | 1117231.1632 | 2580134.2211 | 1117256.9601 | 2580136.5598 | 1117275.7283 | 2580137.0593 | 1117279.7509
29 | 2580112.9601 | 1117220.3231 | 2580113.3089 | 1117200.4404
30 | 2580243.3665 | 1117259.3831 | 2580242.6007 | 1117254.7141 | 2580242.4841 | 1117253.5085
31 | 2580621.3164 | 1117162.8511 | 2580611.91 | 1117168.3507
32 | 2580611.91 | 1117168.3507 | 2580611.663 | 1117175.5662 | 2580609.4278 | 1117183.7107 | 2580603.7049 | 1117201.7714 | 2580601.9274 | 1117208.9667
33 | 2580621.3164 | 1117162.8511 | 2580625.8939 | 1117160.6353 | 2580630.4686 | 1117157.4968 | 2580641.4918 | 1117145.9446 | 2580644.1802 | 1117141.8673
34 | 2580621.3164 | 1117162.8511 | 2580611.1107 | 1117198.2236 | 2580602.3562 | 1117233.6026 | 2580599.0083 | 1117253.3343 | 2580598.3841 | 1117264.806
35 | 2580596.3778 | 1117233.0721 | 2580600.3601 | 1117215.3111 | 2580601.9274 | 1117208.9667
36 | 2580644.1802 | 1117141.8673 | 2580646.771 | 1117143.482 | 2580646.9993 | 1117144.8708 | 2580646.3438 | 1117147.4409 | 2580644.0109 | 1117154.0405 | 2580643.5092 | 1117156.4655 | 2580644.3211 | 1117159.3199 | 2580645.6555 | 1117161.4389 | 2580650.141 | 1117161.7913 | 2580656.3196 | 1117163.0166 | 2580657.051 | 1117163.1555
37 | 2580644.1802 | 1117141.8673 | 2580650.3711 | 1117132.5094 | 2580656.2503 | 1117124.5978 | 2580660.9998 | 1117115.8115 | 2580662.4866 | 1117107.7138 | 2580662.0906 | 1117102.1568 | 2580659.9132 | 1117089.8799 | 2580658.0466 | 1117081.7301
38 | 2580598.5058 | 1117308.2409 | 2580599.1374 | 1117293.4426 | 2580598.0464 | 1117271.0128 | 2580598.3841 | 1117264.806
39 | 2580590.4707 | 1117267.3353 | 2580596.1447 | 1117234.1117 | 2580596.3778 | 1117233.0721
40 | 2580684.179 | 1117183.5263 | 2580684.0905 | 1117177.5903 | 2580682.8228 | 1117172.1695 | 2580680.7512 | 1117168.8078 | 2580677.2181 | 1117166.9849 | 2580657.051 | 1117163.1555
41 | 2580658.0466 | 1117081.7301 | 2580657.3613 | 1117078.7381
42 | 2580598.5058 | 1117308.2409 | 2580600.289 | 1117308.3352
43 | 2580657.3613 | 1117078.7381 | 2580635.3238 | 1116999.036
44 | 2580600.289 | 1117308.3352 | 2580617.259 | 1117307.6581 | 2580619.9338 | 1117307.3694
45 | 2580183.7752 | 1117121.5127 | 2580180.4061 | 1117111.1359 | 2580177.6097 | 1117105.7313
46 | 2580183.7752 | 1117121.5127 | 2580185.9188 | 1117128.1151 | 2580188.5017 | 1117140.6024
47 | 2580177.6097 | 1117105.7313 | 2580257.2137 | 1117064.5989
48 | 2580188.5017 | 1117140.6024 | 2580191.1187 | 1117153.2549 | 2580191.9391 | 1117162.4432
49 | 2580259.4047 | 1117066.5547 | 2580259.4047 | 1117066.5547 | 2580257.2137 | 1117064.5989
50 | 2580304.919 | 1117073.187 | 2580297.5833 | 1117074.5783 | 2580291.4376 | 1117083.4695 | 2580284.0047 | 1117088.1961 | 2580276.3754 | 1117089.4883 | 2580271.4648 | 1117086.6141 | 2580264.7024 | 1117074.4969 | 2580259.4047 | 1117066.5547
51 | 2580304.919 | 1117073.187 | 2580298.3464 | 1117060.102 | 2580282.0675 | 1117037.8786
52 | 2580297.5114 | 1117098.214 | 2580293.5142 | 1117119.0025 | 2580286.2633 | 1117143.9168
53 | 2580627.7126 | 1116971.6344 | 2580630.8517 | 1116981.9328
54 | 2580627.7126 | 1116971.6344 | 2580620.4049 | 1116947.6603
55 | 2580635.3238 | 1116999.036 | 2580634.3954 | 1116993.5585 | 2580630.8517 | 1116981.9328
56 | 2580617.6861 | 1116938.7406 | 2580620.4049 | 1116947.6603
57 | 2580620.4049 | 1116947.6603 | 2580660.0693 | 1116935.1876
58 | 2580672.8116 | 1116996.2589 | 2580635.3238 | 1116999.036
59 | 2580667.921 | 1116910.5098 | 2580675.1754 | 1116907.7741 | 2580680.4455 | 1116907.2125 | 2580680.6387 | 1116912.1032 | 2580660.0693 | 1116935.1876
60 | 2580672.8116 | 1116996.2589 | 2580701.8124 | 1116995.7689
61 | 2580756.0105 | 1116994.0362 | 2580753.1651 | 1116994.9012 | 2580701.8124 | 1116995.7689
62 | 2580756.0105 | 1116994.0362 | 2580749.9086 | 1117053.1405
63 | 2580749.9086 | 1117053.1405 | 2580751.5576 | 1117057.1372 | 2580750.0605 | 1117062.0333 | 2580746.4374 | 1117068.3035 | 2580746.4012 | 1117068.3292
64 | 2580636.6771 | 1117305.0166 | 2580648.2781 | 1117302.8005 | 2580665.871 | 1117300.3888
65 | 2580636.6771 | 1117305.0166 | 2580630.2133 | 1117306.2602 | 2580619.9338 | 1117307.3694

## bus_geodata
| x | y | coords
0 | 2580524.8776 | 1117173.7789
1 | 2580524.7847 | 1117161.9181
2 | 2580524.9322 | 1117180.7394
3 | 2580341.8151 | 1117170.8373
4 | 2580524.5965 | 1117137.9093
5 | 2580525.0267 | 1117192.8053
6 | 2580326.7416 | 1117142.5835
7 | 2580304.2049 | 1117083.7724
8 | 2580524.488 | 1117124.0659
9 | 2580525.0781 | 1117199.363
10 | 2580533.174 | 1117218.129
11 | 2580192.1878 | 1117190.3905
12 | 2580192.0523 | 1117192.106
13 | 2580192.573 | 1117169.5423
14 | 2580191.6046 | 1117197.7753
15 | 2580166.4666 | 1117226.072
16 | 2580198.0767 | 1117229.4368
17 | 2580532.0647 | 1117001.9512
18 | 2580602.0847 | 1116999.5409
19 | 2580577.691 | 1117188.7804
20 | 2580157.3631 | 1117241.8162
21 | 2580198.9591 | 1117256.2135
22 | 2580236.0606 | 1117235.0258
23 | 2580156.3194 | 1117243.6214
24 | 2580137.0593 | 1117279.7509
25 | 2580112.9601 | 1117220.3231
26 | 2580113.3089 | 1117200.4404
27 | 2580243.3665 | 1117259.3831
28 | 2580242.4841 | 1117253.5085
29 | 2580611.91 | 1117168.3507
30 | 2580621.3164 | 1117162.8511
31 | 2580601.9274 | 1117208.9667
32 | 2580644.1802 | 1117141.8673
33 | 2580598.3841 | 1117264.806
34 | 2580596.3778 | 1117233.0721
35 | 2580657.051 | 1117163.1555
36 | 2580658.0466 | 1117081.7301
37 | 2580598.5058 | 1117308.2409
38 | 2580590.4707 | 1117267.3353
39 | 2580684.179 | 1117183.5263
40 | 2580657.3613 | 1117078.7381
41 | 2580600.289 | 1117308.3352
42 | 2580183.7752 | 1117121.5127
43 | 2580177.6097 | 1117105.7313
44 | 2580188.5017 | 1117140.6024
45 | 2580257.2137 | 1117064.5989
46 | 2580191.9391 | 1117162.4432
47 | 2580304.919 | 1117073.187
48 | 2580259.4047 | 1117066.5547
49 | 2580282.0675 | 1117037.8786
50 | 2580297.5114 | 1117098.214
51 | 2580286.2633 | 1117143.9168
52 | 2580627.7126 | 1116971.6344
53 | 2580630.8517 | 1116981.9328
54 | 2580620.4049 | 1116947.6603
55 | 2580635.3238 | 1116999.036
56 | 2580617.6861 | 1116938.7406
57 | 2580660.0693 | 1116935.1876
58 | 2580672.8116 | 1116996.2589
59 | 2580667.921 | 1116910.5098
60 | 2580701.8124 | 1116995.7689
61 | 2580756.0105 | 1116994.0362
62 | 2580749.9086 | 1117053.1405
63 | 2580746.4012 | 1117068.3292
64 | 2580665.871 | 1117300.3888
65 | 2580636.6771 | 1117305.0166
66 | 2580619.9338 | 1117307.3694
67 | 2580326.7416 | 1117142.5835

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1