## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6022-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6022-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6022-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6022-13_0_4_node_63 | 0.4 | n |  | TRUE
4 | bus_LV_6022-13_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6022-13_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_6022-13_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_6022-13_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6022-13_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6022-13_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6022-13_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6022-13_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_6022-13_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6022-13_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6022-13_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6022-13_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_6022-13_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_6022-13_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_6022-13_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_6022-13_0_4_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_6022-13_0_4_node_75 | 0.4 | n |  | TRUE
21 | bus_LV_6022-13_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6022-13_0_4_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_6022-13_0_4_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_6022-13_0_4_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_6022-13_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6022-13_0_4_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6022-13_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_6022-13_0_4_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_6022-13_0_4_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_6022-13_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_6022-13_0_4_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_6022-13_0_4_node_70 | 0.4 | n |  | TRUE
33 | bus_LV_6022-13_0_4_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_6022-13_0_4_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_6022-13_0_4_node_74 | 0.4 | n |  | TRUE
36 | bus_LV_6022-13_0_4_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_6022-13_0_4_node_81 | 0.4 | n |  | TRUE
38 | bus_LV_6022-13_0_4_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_6022-13_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_6022-13_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_6022-13_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6022-13_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_6022-13_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6022-13_0_4_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_6022-13_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6022-13_0_4_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_6022-13_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_6022-13_0_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_6022-13_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6022-13_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_6022-13_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_6022-13_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_6022-13_0_4_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6022-13_0_4_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6022-13_0_4_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6022-13_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_6022-13_0_4_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_6022-13_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6022-13_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_6022-13_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_6022-13_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_6022-13_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_6022-13_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_6022-13_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_6022-13_0_4_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_6022-13_0_4_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_6022-13_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6022-13_0_4_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_6022-13_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_6022-13_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_6022-13_0_4_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_6022-13_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_6022-13_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_6022-13_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_6022-13_0_4_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_6022-13_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_6022-13_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_6022-13_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_6022-13_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_6022-13_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_MV_103_2_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6022-13_0_4_load_0 | 0 | 0.0070662 | 0.001771 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6022-13_0_4_load_1 | 1 | 0.0044631 | 0.0011186 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6022-13_0_4_load_2 | 2 | 0.0017955 | 0.00044999 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6022-13_0_4_load_63 | 3 | 0.0024044 | 0.0006026 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6022-13_0_4_load_6 | 4 | 0.0033076 | 0.00082897 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6022-13_0_4_load_17 | 5 | 0.0045458 | 0.0011393 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6022-13_0_4_load_3 | 7 | 0.0025679 | 0.00064359 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6022-13_0_4_load_4 | 8 | 0.0030417 | 0.00076233 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6022-13_0_4_load_14 | 9 | 0.0053237 | 0.0013342 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6022-13_0_4_load_15 | 10 | 0.0025622 | 0.00064215 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6022-13_0_4_load_13 | 11 | 0.0034111 | 0.00085489 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6022-13_0_4_load_5 | 12 | 0.0023947 | 0.00060017 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6022-13_0_4_load_12 | 13 | 0.0027841 | 0.00069776 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6022-13_0_4_load_10 | 14 | 0.0037963 | 0.00095144 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6022-13_0_4_load_75 | 20 | 0.0026507 | 0.00066433 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6022-13_0_4_load_78 | 22 | 0.0027511 | 0.00068949 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6022-13_0_4_load_24 | 25 | 0.002538 | 0.00063608 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6022-13_0_4_load_21 | 26 | 0.002638 | 0.00066114 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6022-13_0_4_load_50 | 27 | 0.0035116 | 0.00088009 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6022-13_0_4_load_51 | 28 | 0.0022859 | 0.00057291 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6022-13_0_4_load_53 | 30 | 0.007728 | 0.0019368 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6022-13_0_4_load_79 | 31 | 0.0066008 | 0.0016543 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6022-13_0_4_load_70 | 32 | 0.0036149 | 0.00090597 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6022-13_0_4_load_71 | 33 | 0.0016388 | 0.00041072 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6022-13_0_4_load_74 | 35 | 0.0021565 | 0.00054048 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6022-13_0_4_load_81 | 37 | 0.0044318 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6022-13_0_4_load_18 | 38 | 0.0017619 | 0.00044158 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6022-13_0_4_load_19 | 39 | 0.0038058 | 0.00095383 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6022-13_0_4_load_25 | 42 | 0.0028449 | 0.00071299 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6022-13_0_4_load_36 | 44 | 0.0032887 | 0.00082423 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6022-13_0_4_load_22 | 46 | 0.0028028 | 0.00070245 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6022-13_0_4_load_28 | 47 | 0.0027184 | 0.00068128 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6022-13_0_4_load_62 | 48 | 0.0042388 | 0.0010623 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6022-13_0_4_load_35 | 49 | 0.0094025 | 0.0023565 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6022-13_0_4_load_33 | 50 | 0.0027861 | 0.00069826 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6022-13_0_4_load_29 | 52 | 0.0044935 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6022-13_0_4_load_31 | 54 | 0.0059877 | 0.0015007 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6022-13_0_4_load_32 | 55 | 0.0031073 | 0.00077876 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6022-13_0_4_load_38 | 56 | 0.0026312 | 0.00065944 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6022-13_0_4_load_46 | 58 | 0.0023769 | 0.0005957 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6022-13_0_4_load_47 | 59 | 0.010468 | 0.0026235 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6022-13_0_4_load_44 | 60 | 0.0028522 | 0.00071483 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6022-13_0_4_load_40 | 62 | 0.0074285 | 0.0018618 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6022-13_0_4_load_45 | 65 | 0.004377 | 0.001097 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6022-13_0_4_load_80 | 66 | 0.0053285 | 0.0013354 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6022-13_0_4_load_48 | 68 | 0.0022437 | 0.00056232 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6022-13_0_4_load_58 | 69 | 0.0055781 | 0.001398 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6022-13_0_4_load_55 | 70 | 0.0035758 | 0.00089619 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6022-13_0_4_load_49 | 71 | 0.0026431 | 0.00066242 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6022-13_0_4_load_59 | 73 | 0.0026484 | 0.00066374 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6022-13_0_4_load_60 | 74 | 0.0049852 | 0.0012494 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6022-13_0_4_load_66 | 76 | 0.0055046 | 0.0013796 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6022-13_0_4_load_61 | 77 | 0.0045696 | 0.0011452 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6022-13_0_4_load_68 | 78 | 0.0047067 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6022-13_0_4_load_64 | 79 | 0.0016665 | 0.00041767 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6022-13_0_4_load_65 | 80 | 0.0017758 | 0.00044504 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6022-13_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6022-13_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.022444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6022-13_0_4_line_2 | NAYY 4x150 SE | 2 | 7 | 0.013101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6022-13_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.082965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6022-13_0_4_line_4 | NAYY 4x150 SE | 3 | 4 | 0.053668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6022-13_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.040857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6022-13_0_4_line_6 | NAYY 4x150 SE | 6 | 38 | 0.017534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_6022-13_0_4_line_7 | NAYY 4x150 SE | 6 | 10 | 0.020761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6022-13_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.013887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6022-13_0_4_line_9 | NAYY 4x150 SE | 8 | 12 | 0.029666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6022-13_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.029025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6022-13_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.038582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6022-13_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0035687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_6022-13_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.03997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6022-13_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.061148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6022-13_0_4_line_15 | NAYY 4x150 SE | 15 | 25 | 0.0055117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_6022-13_0_4_line_16 | NAYY 4x150 SE | 15 | 26 | 0.044976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6022-13_0_4_line_17 | NAYY 4x150 SE | 15 | 21 | 0.10292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_6022-13_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.019468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_6022-13_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.099716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_6022-13_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.06873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6022-13_0_4_line_21 | NAYY 4x150 SE | 17 | 20 | 0.081898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6022-13_0_4_line_22 | NAYY 4x150 SE | 18 | 21 | 0.17963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6022-13_0_4_line_23 | NAYY 4x150 SE | 19 | 22 | 0.023959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6022-13_0_4_line_24 | NAYY 4x150 SE | 19 | 23 | 0.056646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6022-13_0_4_line_25 | NAYY 4x150 SE | 20 | 24 | 0.0077479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6022-13_0_4_line_26 | NAYY 4x150 SE | 23 | 31 | 0.029308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6022-13_0_4_line_27 | NAYY 4x150 SE | 23 | 29 | 0.00999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6022-13_0_4_line_28 | NAYY 4x150 SE | 24 | 36 | 0.040753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6022-13_0_4_line_29 | NAYY 4x150 SE | 24 | 33 | 0.014978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6022-13_0_4_line_30 | NAYY 4x150 SE | 25 | 45 | 0.070728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6022-13_0_4_line_31 | NAYY 4x150 SE | 26 | 46 | 0.024994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6022-13_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.021063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6022-13_0_4_line_33 | NAYY 4x150 SE | 27 | 29 | 0.018017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6022-13_0_4_line_34 | NAYY 4x150 SE | 28 | 30 | 0.014142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6022-13_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.01917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6022-13_0_4_line_36 | NAYY 4x150 SE | 32 | 34 | 0.009081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6022-13_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.061459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6022-13_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.043582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6022-13_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.036033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_6022-13_0_4_line_40 | NAYY 4x150 SE | 39 | 40 | 0.012285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6022-13_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.042879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_6022-13_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.020769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6022-13_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.020793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6022-13_0_4_line_44 | NAYY 4x150 SE | 41 | 44 | 0.0058745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_6022-13_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.020917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_6022-13_0_4_line_46 | NAYY 4x150 SE | 43 | 49 | 0.041317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6022-13_0_4_line_47 | NAYY 4x150 SE | 43 | 50 | 0.016424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6022-13_0_4_line_48 | NAYY 4x150 SE | 44 | 51 | 0.041796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_6022-13_0_4_line_49 | NAYY 4x150 SE | 45 | 47 | 0.046811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6022-13_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.043465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6022-13_0_4_line_51 | NAYY 4x150 SE | 50 | 54 | 0.0013569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6022-13_0_4_line_52 | NAYY 4x150 SE | 51 | 56 | 0.047398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6022-13_0_4_line_53 | NAYY 4x150 SE | 51 | 57 | 0.020635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_6022-13_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.027122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6022-13_0_4_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0074645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6022-13_0_4_line_56 | NAYY 4x150 SE | 53 | 55 | 0.054064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6022-13_0_4_line_57 | NAYY 4x150 SE | 56 | 58 | 0.0083174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6022-13_0_4_line_58 | NAYY 4x150 SE | 57 | 59 | 0.026668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6022-13_0_4_line_59 | NAYY 4x150 SE | 57 | 60 | 0.023906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_6022-13_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.020418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_6022-13_0_4_line_61 | NAYY 4x150 SE | 61 | 65 | 0.035014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6022-13_0_4_line_62 | NAYY 4x150 SE | 61 | 62 | 0.043205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_6022-13_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.040801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_6022-13_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.07306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_6022-13_0_4_line_65 | NAYY 4x150 SE | 64 | 66 | 0.041028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6022-13_0_4_line_66 | NAYY 4x150 SE | 64 | 67 | 0.085983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_6022-13_0_4_line_67 | NAYY 4x150 SE | 65 | 68 | 0.022257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6022-13_0_4_line_68 | NAYY 4x150 SE | 67 | 69 | 0.019264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6022-13_0_4_line_69 | NAYY 4x150 SE | 67 | 70 | 0.007065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6022-13_0_4_line_70 | NAYY 4x150 SE | 68 | 71 | 0.023337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6022-13_0_4_line_71 | NAYY 4x150 SE | 69 | 76 | 0.025133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6022-13_0_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.018515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6022-13_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.073861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6022-13_0_4_line_74 | NAYY 4x150 SE | 72 | 74 | 0.00043629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6022-13_0_4_line_75 | NAYY 4x150 SE | 72 | 75 | 0.078615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6022-13_0_4_line_76 | NAYY 4x150 SE | 73 | 77 | 0.036505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6022-13_0_4_line_77 | NAYY 4x150 SE | 75 | 78 | 0.027232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6022-13_0_4_line_78 | NAYY 4x150 SE | 76 | 79 | 0.021373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6022-13_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.00039194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6022-13_0_4_trafo_12 | 0.25 MVA 20/0.4 kV | 81 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2579953.1959 | 1117363.5778 | 2579955.7175 | 1117381.5551
1 | 2579955.7175 | 1117381.5551 | 2579958.8351 | 1117403.7815
2 | 2579958.8351 | 1117403.7815 | 2579960.6549 | 1117416.7552
3 | 2579958.8351 | 1117403.7815 | 2579876.1732 | 1117410.8622
4 | 2579876.1732 | 1117410.8622 | 2579829.6271 | 1117384.1466
5 | 2580049.3185 | 1117389.2503 | 2580033.702 | 1117351.4959
6 | 2580049.3185 | 1117389.2503 | 2580058.6501 | 1117404.0955
7 | 2580049.3185 | 1117389.2503 | 2580045.1747 | 1117389.4641 | 2580042.2982 | 1117394.843 | 2580040.4049 | 1117405.1826
8 | 2579960.6549 | 1117416.7552 | 2579962.5839 | 1117430.5079
9 | 2579962.5839 | 1117430.5079 | 2579965.1267 | 1117448.6366 | 2579967.3305 | 1117459.7803
10 | 2580040.4049 | 1117405.1826 | 2580039.6524 | 1117409.2922 | 2580036.1693 | 1117420.2425 | 2580033.4976 | 1117426.8546 | 2580028.4606 | 1117430.5113
11 | 2580008.3907 | 1117463.0054 | 2580016.5993 | 1117446.7426 | 2580018.8519 | 1117441.7549 | 2580026.0676 | 1117432.2485 | 2580028.4606 | 1117430.5113
12 | 2580006.7826 | 1117466.1913 | 2580008.3907 | 1117463.0054
13 | 2580006.7826 | 1117466.1913 | 2579967.3305 | 1117459.7803
14 | 2580042.5734 | 1117559.5681 | 2579982.2334 | 1117549.6619
15 | 2580042.5734 | 1117559.5681 | 2580043.4789 | 1117555.6854 | 2580043.9423 | 1117554.2327
16 | 2580042.5734 | 1117559.5681 | 2580040.5674 | 1117557.4404 | 2580038.6307 | 1117552.9334 | 2580036.085 | 1117532.3094 | 2580037.2991 | 1117515.989
17 | 2580042.5734 | 1117559.5681 | 2579956.5065 | 1117616.0037
18 | 2579753.6138 | 1117822.7393 | 2579763.343 | 1117805.865
19 | 2579763.343 | 1117805.865 | 2579763.3988 | 1117792.6027 | 2579771.0538 | 1117771.6777 | 2579780.9781 | 1117757.7153 | 2579807.4781 | 1117729.4125 | 2579811.7067 | 1117722.3059
20 | 2579753.6138 | 1117822.7393 | 2579752.0124 | 1117833.0609 | 2579750.6713 | 1117861.1682 | 2579750.7025 | 1117875.0528 | 2579751.1261 | 1117879.3869 | 2579754.052 | 1117886.5917 | 2579756.979 | 1117889.4944
21 | 2579753.6138 | 1117822.7393 | 2579737.4776 | 1117859.7896 | 2579715.6422 | 1117895.0652
22 | 2579956.5065 | 1117616.0037 | 2579811.7067 | 1117722.3059
23 | 2579756.979 | 1117889.4944 | 2579769.9306 | 1117869.3188
24 | 2579756.979 | 1117889.4944 | 2579762.6584 | 1117891.6209 | 2579768.1919 | 1117891.6579 | 2579790.9131 | 1117885.0785 | 2579798.7482 | 1117883.3514 | 2579806.9381 | 1117883.8575 | 2579810.8167 | 1117887.4908
25 | 2579711.5643 | 1117901.6531 | 2579715.6422 | 1117895.0652
26 | 2579819.4896 | 1117863.9946 | 2579821.1612 | 1117867.7019 | 2579822.6217 | 1117872.8551 | 2579822.5327 | 1117876.2571 | 2579819.1315 | 1117881.5267 | 2579810.8167 | 1117887.4908
27 | 2579810.8167 | 1117887.4908 | 2579814.0217 | 1117890.4815 | 2579815.1437 | 1117895.9805
28 | 2579723.2348 | 1117863.1725 | 2579719.5424 | 1117873.6123 | 2579715.9514 | 1117882.0842 | 2579711.1238 | 1117894.5844 | 2579711.5643 | 1117901.6531
29 | 2579711.5643 | 1117901.6531 | 2579709.4151 | 1117905.1287 | 2579703.7646 | 1117914.4396
30 | 2580069.4007 | 1117489.5892 | 2580068.2476 | 1117502.6439 | 2580062.6792 | 1117522.4944 | 2580053.3117 | 1117537.0881 | 2580050.0232 | 1117541.5457 | 2580047.2072 | 1117546.513 | 2580045.19 | 1117550.3216 | 2580043.9423 | 1117554.2327
31 | 2580037.2991 | 1117515.989 | 2580038.0653 | 1117505.6897 | 2580039.172 | 1117491.0655
32 | 2579804.2175 | 1117909.7067 | 2579788.5555 | 1117923.7899
33 | 2579815.1437 | 1117895.9805 | 2579812.9716 | 1117901.8351 | 2579804.2175 | 1117909.7067
34 | 2579778.0399 | 1117933.2455 | 2579788.5555 | 1117923.7899
35 | 2579693.8189 | 1117930.8281 | 2579703.7646 | 1117914.4396
36 | 2579689.1076 | 1117938.5914 | 2579693.8189 | 1117930.8281
37 | 2579689.1076 | 1117938.5914 | 2579687.3624 | 1117949.7139 | 2579685.2094 | 1117956.6357 | 2579685.7432 | 1117961.5808 | 2579688.1473 | 1117967.3533 | 2579693.23 | 1117971.0491 | 2579700.9994 | 1117972.7794 | 2579708.5581 | 1117973.7878 | 2579718.1897 | 1117976.2233
38 | 2579720.5034 | 1117819.7491 | 2579721.6882 | 1117834.7081 | 2579723.2817 | 1117847.2867 | 2579723.3105 | 1117855.8575 | 2579723.2348 | 1117863.1725
39 | 2580058.6501 | 1117404.0955 | 2580061.0267 | 1117407.8764 | 2580066.8535 | 1117419.4628 | 2580068.9831 | 1117423.9469 | 2580069.3856 | 1117428.9925 | 2580068.7619 | 1117434.0971 | 2580068.722 | 1117436.0204 | 2580069.0554 | 1117437.489
40 | 2580074.8289 | 1117448.3063 | 2580071.2427 | 1117442.0929 | 2580069.1684 | 1117437.9866 | 2580069.0554 | 1117437.489
41 | 2580074.8289 | 1117448.3063 | 2580082.6855 | 1117406.1595
42 | 2580074.8289 | 1117448.3063 | 2580071.4466 | 1117466.4265 | 2580071.2411 | 1117468.7529
43 | 2580082.6855 | 1117406.1595 | 2580094.3426 | 1117423.3962
44 | 2580082.6855 | 1117406.1595 | 2580083.7643 | 1117400.3849
45 | 2580069.4007 | 1117489.5892 | 2580071.2411 | 1117468.7529
46 | 2580094.3426 | 1117423.3962 | 2580104.6658 | 1117415.3137 | 2580111.0429 | 1117401.886 | 2580110.2755 | 1117388.5667
47 | 2580094.3426 | 1117423.3962 | 2580102.4564 | 1117435.7534 | 2580103.0788 | 1117437.2717
48 | 2580095.7168 | 1117360.3827 | 2580092.8619 | 1117372.3203 | 2580084.1568 | 1117398.2841 | 2580083.7643 | 1117400.3849
49 | 2580069.4007 | 1117489.5892 | 2580078.4735 | 1117516.5504 | 2580080.8426 | 1117534.7615
50 | 2580081.2621 | 1117578.016 | 2580079.6745 | 1117567.0381 | 2580080.6729 | 1117556.2072 | 2580081.3877 | 1117538.9518 | 2580080.8426 | 1117534.7615
51 | 2580103.0788 | 1117437.2717 | 2580103.5935 | 1117438.5272
52 | 2580095.7168 | 1117360.3827 | 2580085.956 | 1117344.8183 | 2580076.8626 | 1117332.6979 | 2580070.0631 | 1117328.0847 | 2580064.4058 | 1117328.1034
53 | 2580095.7959 | 1117339.9279 | 2580097.091 | 1117348.8169 | 2580095.7168 | 1117360.3827
54 | 2580106.4246 | 1117445.434 | 2580106.6581 | 1117453.0703 | 2580102.65 | 1117472.136
55 | 2580106.4246 | 1117445.434 | 2580103.5935 | 1117438.5272
56 | 2580106.4246 | 1117445.434 | 2580111.4144 | 1117453.6772 | 2580112.0775 | 1117460.4895 | 2580112.2895 | 1117466.2583 | 2580113.1736 | 1117469.9127 | 2580113.8369 | 1117472.1116 | 2580114.7599 | 1117473.4759 | 2580116.8612 | 1117474.1027 | 2580118.1804 | 1117473.9427 | 2580119.3659 | 1117473.005 | 2580120.5795 | 1117471.2223 | 2580121.4061 | 1117469.1185 | 2580122.616 | 1117459.2096 | 2580123.5299 | 1117454.6249
57 | 2580063.5533 | 1117336.377 | 2580064.4058 | 1117328.1034
58 | 2580095.7959 | 1117339.9279 | 2580100.8951 | 1117339.1884 | 2580106.3511 | 1117360.0141
59 | 2580095.7959 | 1117339.9279 | 2580092.345 | 1117316.272
60 | 2580092.8564 | 1117295.8602 | 2580092.345 | 1117316.272
61 | 2580092.8564 | 1117295.8602 | 2580090.3674 | 1117294.7234 | 2580088.4315 | 1117292.8066 | 2580086.7394 | 1117289.8996 | 2580086.2945 | 1117286.0659 | 2580084.9787 | 1117282.6018 | 2580082.3011 | 1117280.4429 | 2580078.5023 | 1117277.6652 | 2580073.3323 | 1117275.7035 | 2580068.4758 | 1117274.7474
62 | 2580092.8564 | 1117295.8602 | 2580095.1441 | 1117252.7159
63 | 2580103.8764 | 1117213.5386 | 2580098.8419 | 1117224.5495 | 2580096.3077 | 1117230.7721 | 2580095.1441 | 1117252.7159
64 | 2580103.8764 | 1117213.5386 | 2580112.9601 | 1117220.3231 | 2580122.6359 | 1117231.1632 | 2580134.2211 | 1117256.9601 | 2580136.5598 | 1117275.7283
65 | 2580136.5598 | 1117275.7283 | 2580131.5055 | 1117278.4019 | 2580128.3865 | 1117285.171 | 2580125.9311 | 1117303.5994 | 2580126.2164 | 1117312.8697
66 | 2580136.5598 | 1117275.7283 | 2580137.0593 | 1117279.7509 | 2580138.3438 | 1117287.7618 | 2580140.4991 | 1117295.3807 | 2580147.2447 | 1117307.0754 | 2580166.5111 | 1117328.7561 | 2580174.9719 | 1117341.0121 | 2580177.6688 | 1117349.0739
67 | 2580046.797 | 1117275.6579 | 2580049.0303 | 1117274.172 | 2580052.1933 | 1117273.728 | 2580056.2988 | 1117273.5254 | 2580064.0026 | 1117273.8668 | 2580068.4758 | 1117274.7474
68 | 2580177.6688 | 1117349.0739 | 2580180.3581 | 1117347.7533 | 2580181.1726 | 1117346.639 | 2580181.5766 | 1117345.1035 | 2580181.6028 | 1117343.6805 | 2580181.0208 | 1117335.6785 | 2580179.8279 | 1117332.0142
69 | 2580177.6688 | 1117349.0739 | 2580178.9112 | 1117356.0288
70 | 2580057.3027 | 1117294.7104 | 2580053.6883 | 1117291.6875 | 2580048.504 | 1117285.3793 | 2580046.4462 | 1117281.6064 | 2580045.9971 | 1117278.8288 | 2580046.1142 | 1117276.9052 | 2580046.797 | 1117275.6579
71 | 2580179.8279 | 1117332.0142 | 2580177.6369 | 1117325.2844 | 2580175.7182 | 1117316.831 | 2580175.0429 | 1117310.9859 | 2580174.9227 | 1117307.4846
72 | 2580182.7757 | 1117374.1362 | 2580178.9112 | 1117356.0288
73 | 2580182.7757 | 1117374.1362 | 2580178.1729 | 1117377.9754 | 2580176.9149 | 1117382.6819 | 2580173.5609 | 1117411.8518 | 2580170.4832 | 1117424.1347 | 2580167.3749 | 1117431.7932 | 2580165.4668 | 1117435.9571 | 2580163.8786 | 1117438.8081 | 2580162.7562 | 1117440.1792 | 2580161.2383 | 1117440.929 | 2580159.8413 | 1117440.9336
74 | 2580182.8668 | 1117374.5629 | 2580182.7757 | 1117374.1362
75 | 2580182.7757 | 1117374.1362 | 2580258.9668 | 1117354.7656
76 | 2580148.2929 | 1117407.4105 | 2580154.9104 | 1117434.1687 | 2580155.5051 | 1117436.6346 | 2580156.7715 | 1117439.1761 | 2580158.0327 | 1117440.1503 | 2580159.8413 | 1117440.9336
77 | 2580258.9668 | 1117354.7656 | 2580261.4374 | 1117340.8507 | 2580261.0534 | 1117327.7565
78 | 2580173.8834 | 1117286.1659 | 2580174.2406 | 1117287.6325 | 2580174.9227 | 1117307.4846
79 | 2580173.7907 | 1117285.7851 | 2580173.8834 | 1117286.1659

## bus_geodata
| x | y | coords
0 | 2579953.1959 | 1117363.5778
1 | 2579955.7175 | 1117381.5551
2 | 2579958.8351 | 1117403.7815
3 | 2579829.6271 | 1117384.1466
4 | 2579876.1732 | 1117410.8622
5 | 2580033.702 | 1117351.4959
6 | 2580049.3185 | 1117389.2503
7 | 2579960.6549 | 1117416.7552
8 | 2579962.5839 | 1117430.5079
9 | 2580028.4606 | 1117430.5113
10 | 2580040.4049 | 1117405.1826
11 | 2580008.3907 | 1117463.0054
12 | 2579967.3305 | 1117459.7803
13 | 2580006.7826 | 1117466.1913
14 | 2579982.2334 | 1117549.6619
15 | 2580042.5734 | 1117559.5681
16 | 2579763.343 | 1117805.865
17 | 2579753.6138 | 1117822.7393
18 | 2579811.7067 | 1117722.3059
19 | 2579756.979 | 1117889.4944
20 | 2579715.6422 | 1117895.0652
21 | 2579956.5065 | 1117616.0037
22 | 2579769.9306 | 1117869.3188
23 | 2579810.8167 | 1117887.4908
24 | 2579711.5643 | 1117901.6531
25 | 2580043.9423 | 1117554.2327
26 | 2580037.2991 | 1117515.989
27 | 2579804.2175 | 1117909.7067
28 | 2579788.5555 | 1117923.7899
29 | 2579815.1437 | 1117895.9805
30 | 2579778.0399 | 1117933.2455
31 | 2579819.4896 | 1117863.9946
32 | 2579693.8189 | 1117930.8281
33 | 2579703.7646 | 1117914.4396
34 | 2579689.1076 | 1117938.5914
35 | 2579718.1897 | 1117976.2233
36 | 2579723.2348 | 1117863.1725
37 | 2579720.5034 | 1117819.7491
38 | 2580058.6501 | 1117404.0955
39 | 2580069.0554 | 1117437.489
40 | 2580074.8289 | 1117448.3063
41 | 2580082.6855 | 1117406.1595
42 | 2580071.2411 | 1117468.7529
43 | 2580094.3426 | 1117423.3962
44 | 2580083.7643 | 1117400.3849
45 | 2580069.4007 | 1117489.5892
46 | 2580039.172 | 1117491.0655
47 | 2580080.8426 | 1117534.7615
48 | 2580081.2621 | 1117578.016
49 | 2580110.2755 | 1117388.5667
50 | 2580103.0788 | 1117437.2717
51 | 2580095.7168 | 1117360.3827
52 | 2580102.65 | 1117472.136
53 | 2580106.4246 | 1117445.434
54 | 2580103.5935 | 1117438.5272
55 | 2580123.5299 | 1117454.6249
56 | 2580064.4058 | 1117328.1034
57 | 2580095.7959 | 1117339.9279
58 | 2580063.5533 | 1117336.377
59 | 2580106.3511 | 1117360.0141
60 | 2580092.345 | 1117316.272
61 | 2580092.8564 | 1117295.8602
62 | 2580095.1441 | 1117252.7159
63 | 2580103.8764 | 1117213.5386
64 | 2580136.5598 | 1117275.7283
65 | 2580068.4758 | 1117274.7474
66 | 2580126.2164 | 1117312.8697
67 | 2580177.6688 | 1117349.0739
68 | 2580046.797 | 1117275.6579
69 | 2580179.8279 | 1117332.0142
70 | 2580178.9112 | 1117356.0288
71 | 2580057.3027 | 1117294.7104
72 | 2580182.7757 | 1117374.1362
73 | 2580159.8413 | 1117440.9336
74 | 2580182.8668 | 1117374.5629
75 | 2580258.9668 | 1117354.7656
76 | 2580174.9227 | 1117307.4846
77 | 2580148.2929 | 1117407.4105
78 | 2580261.0534 | 1117327.7565
79 | 2580173.8834 | 1117286.1659
80 | 2580173.7907 | 1117285.7851
81 | 2580003.1887 | 1117473.3114

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1