## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6022-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6022-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6022-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6022-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6022-14_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6022-14_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6022-14_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6022-14_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6022-14_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6022-14_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_6022-14_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6022-14_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6022-14_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_6022-14_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_6022-14_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_6022-14_0_4_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_6022-14_0_4_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_6022-14_0_4_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_6022-14_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_6022-14_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6022-14_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6022-14_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6022-14_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6022-14_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6022-14_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6022-14_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_6022-14_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6022-14_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6022-14_0_4_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_6022-14_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6022-14_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6022-14_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6022-14_0_4_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_6022-14_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6022-14_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6022-14_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_6022-14_0_4_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_6022-14_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_6022-14_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_6022-14_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6022-14_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6022-14_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_6022-14_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_6022-14_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_6022-14_0_4_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_6022-14_0_4_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_6022-14_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6022-14_0_4_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_6022-14_0_4_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_6022-14_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6022-14_0_4_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_6022-14_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_6022-14_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6022-14_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6022-14_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6022-14_0_4_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_6022-14_0_4_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_6022-14_0_4_node_74 | 0.4 | n |  | TRUE
58 | bus_LV_6022-14_0_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_6022-14_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_6022-14_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6022-14_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_6022-14_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_6022-14_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_6022-14_0_4_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_6022-14_0_4_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_6022-14_0_4_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_6022-14_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_6022-14_0_4_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_6022-14_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_6022-14_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_6022-14_0_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6022-14_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_6022-14_0_4_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_6022-14_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_6022-14_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_6022-14_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_6022-14_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_6022-14_0_4_node_90 | 0.4 | n |  | TRUE
79 | bus_LV_6022-14_0_4_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_6022-14_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_6022-14_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_6022-14_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_6022-14_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_6022-14_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_6022-14_0_4_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_6022-14_0_4_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_6022-14_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_6022-14_0_4_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_6022-14_0_4_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_6022-14_0_4_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_6022-14_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_MV_103_2_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6022-14_0_4_load_0 | 0 | 0.0031683 | 0.00079404 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6022-14_0_4_load_1 | 1 | 0.0022787 | 0.00057109 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6022-14_0_4_load_2 | 2 | 0.0018463 | 0.00046272 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6022-14_0_4_load_4 | 4 | 0.0025804 | 0.00064671 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6022-14_0_4_load_6 | 6 | 0.0018765 | 0.00047028 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6022-14_0_4_load_10 | 7 | 0.0021594 | 0.0005412 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6022-14_0_4_load_11 | 9 | 0.0056174 | 0.0014078 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6022-14_0_4_load_8 | 10 | 0.0031582 | 0.00079152 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6022-14_0_4_load_9 | 11 | 0.0031457 | 0.00078837 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6022-14_0_4_load_14 | 14 | 0.0085573 | 0.0021447 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6022-14_0_4_load_55 | 15 | 0.0036851 | 0.00092358 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6022-14_0_4_load_52 | 17 | 0.0062616 | 0.0015693 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6022-14_0_4_load_49 | 18 | 0.002895 | 0.00072556 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6022-14_0_4_load_15 | 19 | 0.002336 | 0.00058546 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6022-14_0_4_load_16 | 20 | 0.0014112 | 0.00035369 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6022-14_0_4_load_18 | 22 | 0.0017555 | 0.00043998 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6022-14_0_4_load_19 | 23 | 0.0026125 | 0.00065475 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6022-14_0_4_load_20 | 24 | 0.0013184 | 0.00033043 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6022-14_0_4_load_23 | 27 | 0.0021624 | 0.00054196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6022-14_0_4_load_30 | 28 | 0.0027173 | 0.00068101 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6022-14_0_4_load_34 | 30 | 0.0013436 | 0.00033675 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6022-14_0_4_load_40 | 31 | 0.0020211 | 0.00050653 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6022-14_0_4_load_38 | 32 | 0.0017476 | 0.000438 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6022-14_0_4_load_24 | 34 | 0.0034662 | 0.0008687 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6022-14_0_4_load_41 | 36 | 0.0017259 | 0.00043256 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6022-14_0_4_load_29 | 39 | 0.001825 | 0.00045739 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6022-14_0_4_load_32 | 40 | 0.0023885 | 0.00059862 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6022-14_0_4_load_33 | 41 | 0.0027236 | 0.0006826 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6022-14_0_4_load_46 | 42 | 0.003014 | 0.00075538 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6022-14_0_4_load_31 | 43 | 0.0018805 | 0.00047131 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6022-14_0_4_load_87 | 44 | 0.0028328 | 0.00070997 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6022-14_0_4_load_84 | 45 | 0.0034735 | 0.00087054 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6022-14_0_4_load_44 | 46 | 0.0032424 | 0.00081263 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6022-14_0_4_load_88 | 47 | 0.0029498 | 0.00073929 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6022-14_0_4_load_83 | 48 | 0.0015781 | 0.00039551 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6022-14_0_4_load_45 | 49 | 0.0043564 | 0.0010918 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6022-14_0_4_load_72 | 50 | 0.0037996 | 0.00095227 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6022-14_0_4_load_39 | 52 | 0.0019689 | 0.00049345 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6022-14_0_4_load_42 | 53 | 0.0012566 | 0.00031493 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6022-14_0_4_load_93 | 55 | 0.0026535 | 0.00066503 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6022-14_0_4_load_73 | 56 | 0.0043072 | 0.0010795 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6022-14_0_4_load_74 | 57 | 0.005937 | 0.001488 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6022-14_0_4_load_62 | 58 | 0.0045096 | 0.0011302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6022-14_0_4_load_47 | 59 | 0.003033 | 0.00076013 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6022-14_0_4_load_48 | 60 | 0.0043844 | 0.0010988 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6022-14_0_4_load_58 | 61 | 0.0050756 | 0.0012721 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6022-14_0_4_load_54 | 62 | 0.0030361 | 0.00076091 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6022-14_0_4_load_53 | 64 | 0.0029915 | 0.00074974 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6022-14_0_4_load_56 | 65 | 0.0021949 | 0.0005501 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6022-14_0_4_load_57 | 66 | 0.00452 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6022-14_0_4_load_66 | 67 | 0.003934 | 0.00098596 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6022-14_0_4_load_64 | 68 | 0.0045027 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6022-14_0_4_load_67 | 69 | 0.004277 | 0.0010719 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6022-14_0_4_load_65 | 70 | 0.0039608 | 0.00099267 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6022-14_0_4_load_70 | 71 | 0.0054222 | 0.0013589 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6022-14_0_4_load_59 | 72 | 0.0082432 | 0.0020659 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6022-14_0_4_load_60 | 73 | 0.0022659 | 0.0005679 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6022-14_0_4_load_61 | 74 | 0.0037112 | 0.00093011 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6022-14_0_4_load_63 | 75 | 0.0039914 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6022-14_0_4_load_68 | 76 | 0.0034209 | 0.00085736 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6022-14_0_4_load_69 | 77 | 0.0053699 | 0.0013458 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6022-14_0_4_load_90 | 78 | 0.0017597 | 0.00044102 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6022-14_0_4_load_75 | 81 | 0.0029344 | 0.00073542 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6022-14_0_4_load_76 | 82 | 0.0009906 | 0.00024827 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6022-14_0_4_load_79 | 85 | 0.0018323 | 0.00045922 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6022-14_0_4_load_80 | 86 | 0.0011103 | 0.00027826 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6022-14_0_4_load_82 | 87 | 0.0016188 | 0.00040572 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6022-14_0_4_load_86 | 88 | 0.0016019 | 0.00040147 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6022-14_0_4_load_92 | 89 | 0.0041444 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6022-14_0_4_load_91 | 90 | 0.0029361 | 0.00073586 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6022-14_0_4_load_85 | 91 | 0.0029363 | 0.00073591 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6022-14_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6022-14_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6022-14_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6022-14_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.009427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6022-14_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6022-14_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.014505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6022-14_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.065933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6022-14_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.028238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6022-14_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0063725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6022-14_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.043604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6022-14_0_4_line_10 | NAYY 4x150 SE | 9 | 12 | 0.046816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6022-14_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.051795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6022-14_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.004939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6022-14_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.028556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6022-14_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.023192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6022-14_0_4_line_15 | NAYY 4x150 SE | 13 | 16 | 0.022129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6022-14_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.017959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6022-14_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.056321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6022-14_0_4_line_18 | NAYY 4x150 SE | 17 | 65 | 0.054463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6022-14_0_4_line_19 | NAYY 4x150 SE | 18 | 63 | 0.0030773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6022-14_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.016668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6022-14_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.013482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6022-14_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.069096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6022-14_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.031292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6022-14_0_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.040748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6022-14_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.0053222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6022-14_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.010412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6022-14_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.065319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6022-14_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.039225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6022-14_0_4_line_29 | NAYY 4x150 SE | 25 | 29 | 0.028506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6022-14_0_4_line_30 | NAYY 4x150 SE | 26 | 30 | 0.0048358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6022-14_0_4_line_31 | NAYY 4x150 SE | 27 | 31 | 0.029777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6022-14_0_4_line_32 | NAYY 4x150 SE | 28 | 32 | 0.044987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6022-14_0_4_line_33 | NAYY 4x150 SE | 29 | 33 | 0.036759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_6022-14_0_4_line_34 | NAYY 4x150 SE | 29 | 34 | 0.0211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_6022-14_0_4_line_35 | NAYY 4x150 SE | 30 | 35 | 0.016466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6022-14_0_4_line_36 | NAYY 4x150 SE | 31 | 36 | 0.074228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6022-14_0_4_line_37 | NAYY 4x150 SE | 33 | 40 | 0.040739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6022-14_0_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.015305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6022-14_0_4_line_39 | NAYY 4x150 SE | 35 | 51 | 0.019379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6022-14_0_4_line_40 | NAYY 4x150 SE | 36 | 53 | 0.026803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6022-14_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.004446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6022-14_0_4_line_42 | NAYY 4x150 SE | 37 | 39 | 0.026181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6022-14_0_4_line_43 | NAYY 4x150 SE | 38 | 41 | 0.046556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_6022-14_0_4_line_44 | NAYY 4x150 SE | 39 | 42 | 0.045607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6022-14_0_4_line_45 | NAYY 4x150 SE | 40 | 45 | 0.056843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6022-14_0_4_line_46 | NAYY 4x150 SE | 41 | 46 | 0.076025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_6022-14_0_4_line_47 | NAYY 4x150 SE | 43 | 44 | 0.028516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6022-14_0_4_line_48 | NAYY 4x150 SE | 44 | 47 | 0.008231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6022-14_0_4_line_49 | NAYY 4x150 SE | 45 | 48 | 0.041727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6022-14_0_4_line_50 | NAYY 4x150 SE | 46 | 49 | 0.017359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6022-14_0_4_line_51 | NAYY 4x150 SE | 46 | 50 | 0.048326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_6022-14_0_4_line_52 | NAYY 4x150 SE | 47 | 80 | 0.0088224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6022-14_0_4_line_53 | NAYY 4x150 SE | 48 | 91 | 0.054785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6022-14_0_4_line_54 | NAYY 4x150 SE | 50 | 56 | 0.0022451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_6022-14_0_4_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0015705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6022-14_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.081911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6022-14_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.057248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6022-14_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.015076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_6022-14_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.055241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
60 | LV_6022-14_0_4_line_60 | NAYY 4x150 SE | 58 | 75 | 0.01529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_6022-14_0_4_line_61 | NAYY 4x150 SE | 58 | 73 | 0.031244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6022-14_0_4_line_62 | NAYY 4x150 SE | 59 | 60 | 0.0092923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6022-14_0_4_line_63 | NAYY 4x150 SE | 60 | 61 | 0.0095989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6022-14_0_4_line_64 | NAYY 4x150 SE | 61 | 62 | 0.01111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6022-14_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.02077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6022-14_0_4_line_66 | NAYY 4x150 SE | 63 | 64 | 0.024315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6022-14_0_4_line_67 | NAYY 4x150 SE | 64 | 66 | 0.018177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6022-14_0_4_line_68 | NAYY 4x150 SE | 65 | 67 | 0.0024977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6022-14_0_4_line_69 | NAYY 4x150 SE | 66 | 68 | 0.01876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6022-14_0_4_line_70 | NAYY 4x150 SE | 67 | 69 | 0.02724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6022-14_0_4_line_71 | NAYY 4x150 SE | 68 | 70 | 0.00162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6022-14_0_4_line_72 | NAYY 4x150 SE | 68 | 71 | 0.060294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6022-14_0_4_line_73 | NAYY 4x150 SE | 69 | 76 | 0.0043243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6022-14_0_4_line_74 | NAYY 4x150 SE | 70 | 75 | 0.017687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_6022-14_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0060984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6022-14_0_4_line_76 | NAYY 4x150 SE | 72 | 74 | 0.0012669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6022-14_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.046951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6022-14_0_4_line_78 | NAYY 4x150 SE | 78 | 79 | 0.023018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6022-14_0_4_line_79 | NAYY 4x150 SE | 78 | 80 | 0.01227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6022-14_0_4_line_80 | NAYY 4x150 SE | 79 | 84 | 0.030014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6022-14_0_4_line_81 | NAYY 4x150 SE | 80 | 90 | 0.031465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6022-14_0_4_line_82 | NAYY 4x150 SE | 81 | 82 | 0.028284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6022-14_0_4_line_83 | NAYY 4x150 SE | 81 | 83 | 0.022219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6022-14_0_4_line_84 | NAYY 4x150 SE | 82 | 84 | 0.0034389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6022-14_0_4_line_85 | NAYY 4x150 SE | 83 | 85 | 0.050458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_6022-14_0_4_line_86 | NAYY 4x150 SE | 84 | 86 | 0.027855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_6022-14_0_4_line_87 | NAYY 4x150 SE | 85 | 87 | 0.0034708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_6022-14_0_4_line_88 | NAYY 4x150 SE | 87 | 88 | 0.037411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_6022-14_0_4_line_89 | NAYY 4x150 SE | 88 | 91 | 0.015507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_6022-14_0_4_line_90 | NAYY 4x150 SE | 89 | 90 | 0.0076815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6022-14_0_4_trafo_74 | 0.25 MVA 20/0.4 kV | 92 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2580064.2547 | 1117193.3079 | 2580084.8125 | 1117203.8046
1 | 2580064.2547 | 1117193.3079 | 2580057.3029 | 1117189.7583 | 2580045.4242 | 1117183.8864
2 | 2580103.8764 | 1117213.5386 | 2580084.8125 | 1117203.8046
3 | 2580036.9734 | 1117179.7089 | 2580045.4242 | 1117183.8864
4 | 2580103.8764 | 1117213.5386 | 2580112.9601 | 1117220.3231
5 | 2580036.9734 | 1117179.7089 | 2580026.3636 | 1117174.4642 | 2580024.0443 | 1117173.143
6 | 2580112.9601 | 1117220.3231 | 2580113.5838 | 1117184.7701 | 2580113.3182 | 1117167.429 | 2580111.3318 | 1117154.5495
7 | 2579999.5071 | 1117159.1679 | 2580016.5273 | 1117168.8607 | 2580024.0443 | 1117173.143
8 | 2580111.3318 | 1117154.5495 | 2580110.3605 | 1117148.2515
9 | 2579999.5071 | 1117159.1679 | 2579984.5759 | 1117171.9571 | 2579978.796 | 1117176.9231 | 2579976.7521 | 1117184.3558 | 2579976.7808 | 1117192.9711
10 | 2580084.3757 | 1117109.3957 | 2580084.5635 | 1117110.1622 | 2580098.6987 | 1117129.7141 | 2580110.3605 | 1117148.2515 | 2580110.3605 | 1117148.2515
11 | 2579956.2841 | 1117193.9174 | 2579969.8132 | 1117214.516 | 2579974.369 | 1117215.1123 | 2579976.421 | 1117210.1586 | 2579976.7994 | 1117198.5961 | 2579976.7808 | 1117192.9711
12 | 2580083.2098 | 1117104.5972 | 2580084.3757 | 1117109.3957
13 | 2580084.3757 | 1117109.3957 | 2580085.4939 | 1117109.103 | 2580086.9901 | 1117108.7534 | 2580089.0584 | 1117108.6688 | 2580091.0899 | 1117109.1623 | 2580092.5143 | 1117110.4138 | 2580095.6349 | 1117113.4717 | 2580101.3271 | 1117119.2891 | 2580106.4226 | 1117124.5151
14 | 2580083.2098 | 1117104.5972 | 2580080.617 | 1117104.7836 | 2580064.443 | 1117117.599
15 | 2580077.9983 | 1117083.0926 | 2580083.2098 | 1117104.5972
16 | 2580077.9983 | 1117083.0926 | 2580073.8822 | 1117084.7737 | 2580071.3907 | 1117085.2489 | 2580062.8304 | 1117092.12
17 | 2580077.9983 | 1117083.0926 | 2580074.1324 | 1117064.7407 | 2580075.4051 | 1117052.8084 | 2580077.1699 | 1117047.2887 | 2580079.2241 | 1117042.9687 | 2580087.1996 | 1117030.2793
18 | 2580022.1599 | 1117102.1794 | 2580022.7232 | 1117105.3976 | 2580026.0168 | 1117111.7232 | 2580032.923 | 1117113.5123 | 2580041.6303 | 1117109.1369 | 2580062.8304 | 1117092.12
19 | 2580088.8372 | 1117027.6738 | 2580087.1996 | 1117030.2793
20 | 2580283.7358 | 1116776.5912 | 2580283.2821 | 1116759.9289
21 | 2580282.3782 | 1116746.6099 | 2580282.9448 | 1116747.5418 | 2580283.2821 | 1116759.9289
22 | 2580263.2669 | 1116840.0826 | 2580269.556 | 1116831.1715 | 2580276.8525 | 1116820.0421 | 2580281.1763 | 1116811.0013 | 2580284.3582 | 1116799.752 | 2580283.8834 | 1116782.0114 | 2580283.7358 | 1116776.5912
23 | 2580282.3782 | 1116746.6099 | 2580280.4458 | 1116743.4257 | 2580273.8123 | 1116740.1458 | 2580262.2146 | 1116731.8574 | 2580257.0861 | 1116728.9149
24 | 2580282.3782 | 1116746.6099 | 2580283.6822 | 1116746.45 | 2580288.1958 | 1116745.8683 | 2580293.6201 | 1116747.5847 | 2580319.7247 | 1116760.654
25 | 2580260.198 | 1116844.4309 | 2580263.2669 | 1116840.0826
26 | 2580248.0547 | 1116723.733 | 2580257.0861 | 1116728.9149
27 | 2580319.7247 | 1116760.654 | 2580348.3745 | 1116774.9975 | 2580375.7917 | 1116791.572 | 2580376.9364 | 1116792.0524
28 | 2580260.198 | 1116844.4309 | 2580255.7566 | 1116843.4672 | 2580234.7491 | 1116844.3809 | 2580231.3788 | 1116845.2257 | 2580229.3917 | 1116846.5328 | 2580228.5469 | 1116847.8362 | 2580226.7151 | 1116849.443 | 2580223.5037 | 1116851.6769
29 | 2580250.9311 | 1116871.3635 | 2580254.6179 | 1116858.7563 | 2580260.198 | 1116844.4309
30 | 2580248.0547 | 1116723.733 | 2580243.3883 | 1116722.4641
31 | 2580404.4814 | 1116803.3478 | 2580400.3169 | 1116801.864 | 2580376.9364 | 1116792.0524
32 | 2580223.5037 | 1116851.6769 | 2580180.5781 | 1116865.1379
33 | 2580287.4314 | 1116866.186 | 2580250.9311 | 1116871.3635
34 | 2580250.9311 | 1116871.3635 | 2580247.7157 | 1116892.2174
35 | 2580228.0468 | 1116716.5283 | 2580230.3812 | 1116717.5434 | 2580240.9856 | 1116721.8108 | 2580243.3883 | 1116722.4641
36 | 2580404.4814 | 1116803.3478 | 2580427.9899 | 1116811.7235 | 2580464.2847 | 1116821.5663 | 2580474.2811 | 1116824.1241 | 2580475.6204 | 1116824.2749
37 | 2580287.4314 | 1116866.186 | 2580293.6147 | 1116866.3658 | 2580307.6164 | 1116871.078 | 2580325.7915 | 1116878.8828
38 | 2580245.3834 | 1116907.3439 | 2580247.7157 | 1116892.2174
39 | 2580211.4107 | 1116706.5446 | 2580221.018 | 1116712.7828 | 2580228.0468 | 1116716.5283
40 | 2580475.6204 | 1116824.2749 | 2580488.3807 | 1116825.7126 | 2580502.3374 | 1116826.0787
41 | 2580245.3834 | 1116907.3439 | 2580244.7032 | 1116911.7372
42 | 2580245.3834 | 1116907.3439 | 2580224.5761 | 1116898.6078 | 2580222.0031 | 1116901.145
43 | 2580244.7032 | 1116911.7372 | 2580242.1785 | 1116911.5454 | 2580236.2873 | 1116915.689 | 2580229.8586 | 1116920.6792 | 2580223.1562 | 1116933.9966 | 2580214.8657 | 1116944.9973
44 | 2580222.0031 | 1116901.145 | 2580178.7366 | 1116915.5666
45 | 2580325.7915 | 1116878.8828 | 2580331.176 | 1116881.195 | 2580347.5738 | 1116889.3012 | 2580355.4159 | 1116889.2756 | 2580369.0336 | 1116882.7725 | 2580378.6597 | 1116881.1715
46 | 2580214.8657 | 1116944.9973 | 2580258.9898 | 1117006.907
47 | 2580325.3221 | 1116937.9995 | 2580348.2803 | 1116954.9129
48 | 2580354.6864 | 1116960.0764 | 2580350.1231 | 1116956.2705 | 2580348.2803 | 1116954.9129
49 | 2580420.0696 | 1116876.8782 | 2580416.7611 | 1116876.492 | 2580385.7356 | 1116879.9946 | 2580378.6597 | 1116881.1715
50 | 2580258.9898 | 1117006.907 | 2580269.4052 | 1117020.7942
51 | 2580258.9898 | 1117006.907 | 2580214.5503 | 1117025.8948
52 | 2580361.4616 | 1116965.7272 | 2580354.6864 | 1116960.0764
53 | 2580420.0696 | 1116876.8782 | 2580425.2858 | 1116877.4871 | 2580430.4176 | 1116881.8948 | 2580433.1753 | 1116892.0798 | 2580436.2606 | 1116896.1496 | 2580448.5474 | 1116898.1441 | 2580463.2062 | 1116898.4412 | 2580463.2062 | 1116898.4412
54 | 2580214.5503 | 1117025.8948 | 2580212.9399 | 1117024.3305
55 | 2580211.4107 | 1116706.5446 | 2580210.0047 | 1116705.8447
56 | 2580579.8345 | 1116802.3169 | 2580561.798 | 1116805.4321 | 2580547.0276 | 1116808.8815 | 2580537.8727 | 1116813.5466 | 2580527.9046 | 1116819.7263 | 2580513.0075 | 1116824.5435 | 2580502.3374 | 1116826.0787
57 | 2580579.8345 | 1116802.3169 | 2580579.81 | 1116804.2958 | 2580583.9746 | 1116805.5941 | 2580607.6573 | 1116813.2662 | 2580613.7994 | 1116815.0029 | 2580616.656 | 1116817.6061 | 2580617.1051 | 1116820.4505 | 2580617.0065 | 1116823.3967 | 2580615.7006 | 1116827.7697 | 2580613.3082 | 1116832.691
58 | 2580205.5358 | 1117011.1978 | 2580212.9399 | 1117024.3305 | 2580212.9399 | 1117024.3305
59 | 2580150.7475 | 1117018.2523 | 2580205.5358 | 1117011.1978
60 | 2580150.7475 | 1117018.2523 | 2580151.844 | 1117025.5095 | 2580150.241 | 1117033.2965
61 | 2580146.0796 | 1116987.3588 | 2580150.7475 | 1117018.2523
62 | 2580102.6481 | 1116989.2099 | 2580103.6151 | 1116979.9681 | 2580103.6151 | 1116979.9681
63 | 2580101.6492 | 1116998.7567 | 2580102.6481 | 1116989.2099
64 | 2580098.1948 | 1117009.1315 | 2580101.1833 | 1117003.2098 | 2580101.6492 | 1116998.7567
65 | 2580088.8372 | 1117027.6738 | 2580098.1948 | 1117009.1315
66 | 2580088.8372 | 1117027.6738 | 2580091.4748 | 1117031.7116 | 2580092.485 | 1117038.4338 | 2580093.7745 | 1117043.2653 | 2580099.4185 | 1117048.4937 | 2580099.4185 | 1117048.4937
67 | 2580099.4185 | 1117048.4937 | 2580107.7817 | 1117049.7334 | 2580117.4567 | 1117048.7783
68 | 2580021.7293 | 1117099.7191 | 2580022.1599 | 1117102.1794
69 | 2580117.4567 | 1117048.7783 | 2580132.4806 | 1117047.2952 | 2580135.6513 | 1117045.4611
70 | 2580021.7293 | 1117099.7191 | 2580017.0329 | 1117072.8872
71 | 2580137.0536 | 1117044.6499 | 2580135.6513 | 1117045.4611
72 | 2580135.6513 | 1117045.4611 | 2580162.461 | 1117099.4668
73 | 2580016.2874 | 1117068.6276 | 2580017.0329 | 1117072.8872
74 | 2580137.0536 | 1117044.6499 | 2580144.4446 | 1117040.3746 | 2580150.241 | 1117033.2965 | 2580150.241 | 1117033.2965
75 | 2580145.1686 | 1116981.3289 | 2580146.0796 | 1116987.3588
76 | 2580144.9793 | 1116980.0763 | 2580145.1686 | 1116981.3289
77 | 2580016.2874 | 1117068.6276 | 2580015.501 | 1117064.1344 | 2580017.416 | 1117038.7822 | 2580015.9535 | 1117035.3409 | 2580012.5052 | 1117035.897 | 2580008.4074 | 1117044.7257
78 | 2580391.4524 | 1116983.5829 | 2580386.3614 | 1116982.1988 | 2580376.6902 | 1116977.5279 | 2580371.0818 | 1116973.336
79 | 2580361.4616 | 1116965.7272 | 2580366.3685 | 1116969.8132 | 2580371.0818 | 1116973.336
80 | 2580391.4524 | 1116983.5829 | 2580420.4845 | 1116991.5147
81 | 2580361.4616 | 1116965.7272 | 2580366.1573 | 1116959.4532 | 2580372.7171 | 1116952.0282 | 2580377.5816 | 1116947.8436 | 2580381.5232 | 1116944.6626 | 2580383.4033 | 1116943.446
82 | 2580451.4087 | 1116998.5879 | 2580423.8369 | 1116992.2815
83 | 2580473.4337 | 1117000.9922 | 2580457.816 | 1117000.0535 | 2580451.4087 | 1116998.5879
84 | 2580420.4845 | 1116991.5147 | 2580423.8369 | 1116992.2815
85 | 2580473.4337 | 1117000.9922 | 2580471.0148 | 1116992.9183 | 2580473.7174 | 1116983.7272 | 2580478.1071 | 1116971.1401 | 2580479.0885 | 1116957.1967 | 2580477.8209 | 1116952.2147
86 | 2580413.7835 | 1116964.9567 | 2580421.3059 | 1116987.7547 | 2580420.4845 | 1116991.5147
87 | 2580477.8209 | 1116952.2147 | 2580476.965 | 1116948.851
88 | 2580467.4957 | 1116912.7977 | 2580469.7834 | 1116927.312 | 2580475.9769 | 1116944.9674 | 2580476.965 | 1116948.851
89 | 2580467.4957 | 1116912.7977 | 2580465.6066 | 1116900.8124 | 2580463.2062 | 1116898.4412
90 | 2580383.4033 | 1116943.446 | 2580385.2357 | 1116942.2604 | 2580388.7115 | 1116940.6261 | 2580390.3391 | 1116940.3095

## bus_geodata
| x | y | coords
0 | 2580064.2547 | 1117193.3079
1 | 2580084.8125 | 1117203.8046
2 | 2580045.4242 | 1117183.8864
3 | 2580103.8764 | 1117213.5386
4 | 2580036.9734 | 1117179.7089
5 | 2580112.9601 | 1117220.3231
6 | 2580024.0443 | 1117173.143
7 | 2580111.3318 | 1117154.5495
8 | 2579999.5071 | 1117159.1679
9 | 2580110.3605 | 1117148.2515
10 | 2579976.7808 | 1117192.9711
11 | 2579956.2841 | 1117193.9174
12 | 2580084.3757 | 1117109.3957
13 | 2580083.2098 | 1117104.5972
14 | 2580106.4226 | 1117124.5151
15 | 2580064.443 | 1117117.599
16 | 2580077.9983 | 1117083.0926
17 | 2580062.8304 | 1117092.12
18 | 2580087.1996 | 1117030.2793
19 | 2580283.2821 | 1116759.9289
20 | 2580283.7358 | 1116776.5912
21 | 2580282.3782 | 1116746.6099
22 | 2580263.2669 | 1116840.0826
23 | 2580257.0861 | 1116728.9149
24 | 2580319.7247 | 1116760.654
25 | 2580260.198 | 1116844.4309
26 | 2580248.0547 | 1116723.733
27 | 2580376.9364 | 1116792.0524
28 | 2580223.5037 | 1116851.6769
29 | 2580250.9311 | 1116871.3635
30 | 2580243.3883 | 1116722.4641
31 | 2580404.4814 | 1116803.3478
32 | 2580180.5781 | 1116865.1379
33 | 2580287.4314 | 1116866.186
34 | 2580247.7157 | 1116892.2174
35 | 2580228.0468 | 1116716.5283
36 | 2580475.6204 | 1116824.2749
37 | 2580245.3834 | 1116907.3439
38 | 2580244.7032 | 1116911.7372
39 | 2580222.0031 | 1116901.145
40 | 2580325.7915 | 1116878.8828
41 | 2580214.8657 | 1116944.9973
42 | 2580178.7366 | 1116915.5666
43 | 2580325.3221 | 1116937.9995
44 | 2580348.2803 | 1116954.9129
45 | 2580378.6597 | 1116881.1715
46 | 2580258.9898 | 1117006.907
47 | 2580354.6864 | 1116960.0764
48 | 2580420.0696 | 1116876.8782
49 | 2580269.4052 | 1117020.7942
50 | 2580214.5503 | 1117025.8948
51 | 2580211.4107 | 1116706.5446
52 | 2580210.0047 | 1116705.8447
53 | 2580502.3374 | 1116826.0787
54 | 2580579.8345 | 1116802.3169
55 | 2580613.3082 | 1116832.691
56 | 2580212.9399 | 1117024.3305
57 | 2580205.5358 | 1117011.1978
58 | 2580150.7475 | 1117018.2523
59 | 2580103.6151 | 1116979.9681
60 | 2580102.6481 | 1116989.2099
61 | 2580101.6492 | 1116998.7567
62 | 2580098.1948 | 1117009.1315
63 | 2580088.8372 | 1117027.6738
64 | 2580099.4185 | 1117048.4937
65 | 2580022.1599 | 1117102.1794
66 | 2580117.4567 | 1117048.7783
67 | 2580021.7293 | 1117099.7191
68 | 2580135.6513 | 1117045.4611
69 | 2580017.0329 | 1117072.8872
70 | 2580137.0536 | 1117044.6499
71 | 2580162.461 | 1117099.4668
72 | 2580145.1686 | 1116981.3289
73 | 2580146.0796 | 1116987.3588
74 | 2580144.9793 | 1116980.0763
75 | 2580150.241 | 1117033.2965
76 | 2580016.2874 | 1117068.6276
77 | 2580008.4074 | 1117044.7257
78 | 2580371.0818 | 1116973.336
79 | 2580391.4524 | 1116983.5829
80 | 2580361.4617 | 1116965.7272
81 | 2580451.4087 | 1116998.5879
82 | 2580423.8369 | 1116992.2815
83 | 2580473.4337 | 1117000.9922
84 | 2580420.4845 | 1116991.5147
85 | 2580477.8209 | 1116952.2147
86 | 2580413.7835 | 1116964.9567
87 | 2580476.965 | 1116948.851
88 | 2580467.4957 | 1116912.7977
89 | 2580390.3391 | 1116940.3095
90 | 2580383.4033 | 1116943.446
91 | 2580463.2062 | 1116898.4412
92 | 2580202.3424 | 1117005.5337

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1