## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6022-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6022-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6022-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6022-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6022-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6022-17_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_6022-17_0_4_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_6022-17_0_4_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_6022-17_0_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_6022-17_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6022-17_0_4_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_6022-17_0_4_node_77 | 0.4 | n |  | TRUE
12 | bus_LV_6022-17_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6022-17_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6022-17_0_4_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_6022-17_0_4_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_6022-17_0_4_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_6022-17_0_4_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_6022-17_0_4_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_6022-17_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_6022-17_0_4_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_6022-17_0_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_6022-17_0_4_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_6022-17_0_4_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_6022-17_0_4_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_6022-17_0_4_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_6022-17_0_4_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_6022-17_0_4_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_6022-17_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_6022-17_0_4_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_6022-17_0_4_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_6022-17_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_6022-17_0_4_node_67 | 0.4 | n |  | TRUE
33 | bus_LV_6022-17_0_4_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_6022-17_0_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_6022-17_0_4_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_6022-17_0_4_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_6022-17_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_6022-17_0_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_6022-17_0_4_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_6022-17_0_4_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_6022-17_0_4_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_6022-17_0_4_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_6022-17_0_4_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_6022-17_0_4_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_6022-17_0_4_node_72 | 0.4 | n |  | TRUE
46 | bus_MV_91_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6022-17_0_4_load_0 | 0 | 0.0086093 | 0.0021577 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6022-17_0_4_load_1 | 1 | 0.0094592 | 0.0023707 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6022-17_0_4_load_4 | 4 | 0.0065924 | 0.0016522 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6022-17_0_4_load_46 | 6 | 0.016233 | 0.0040685 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6022-17_0_4_load_45 | 7 | 0.009533 | 0.0023892 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6022-17_0_4_load_40 | 8 | 0.0076586 | 0.0019194 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6022-17_0_4_load_76 | 10 | 0.0042258 | 0.0010591 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6022-17_0_4_load_77 | 11 | 0.0025631 | 0.00064238 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6022-17_0_4_load_41 | 14 | 0.0050791 | 0.0012729 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6022-17_0_4_load_60 | 15 | 0.0017618 | 0.00044156 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6022-17_0_4_load_59 | 18 | 0.0043613 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6022-17_0_4_load_47 | 19 | 0.0042027 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6022-17_0_4_load_44 | 20 | 0.008864 | 0.0022215 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6022-17_0_4_load_48 | 21 | 0.007174 | 0.001798 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6022-17_0_4_load_42 | 22 | 0.0075597 | 0.0018946 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6022-17_0_4_load_78 | 23 | 0.0018836 | 0.00047207 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6022-17_0_4_load_57 | 25 | 0.0033343 | 0.00083566 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6022-17_0_4_load_58 | 26 | 0.0023728 | 0.00059467 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6022-17_0_4_load_53 | 27 | 0.0012502 | 0.00031333 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6022-17_0_4_load_49 | 28 | 0.0011557 | 0.00028964 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6022-17_0_4_load_43 | 29 | 0.011248 | 0.002819 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6022-17_0_4_load_50 | 30 | 0.001278 | 0.00032029 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6022-17_0_4_load_52 | 31 | 0.0012296 | 0.00030817 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6022-17_0_4_load_67 | 32 | 0.0018432 | 0.00046195 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6022-17_0_4_load_55 | 34 | 0.005086 | 0.0012747 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6022-17_0_4_load_64 | 36 | 0.0008051 | 0.00020178 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6022-17_0_4_load_62 | 37 | 0.0026352 | 0.00066043 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6022-17_0_4_load_65 | 38 | 0.00093442 | 0.00023419 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6022-17_0_4_load_69 | 41 | 0.001337 | 0.0003351 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6022-17_0_4_load_73 | 42 | 0.00071094 | 0.00017818 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6022-17_0_4_load_71 | 43 | 0.0010132 | 0.00025392 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6022-17_0_4_load_70 | 44 | 0.00088903 | 0.00022281 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6022-17_0_4_load_72 | 45 | 0.0010904 | 0.00027328 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6022-17_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0084794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_6022-17_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.084793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_6022-17_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.010696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_6022-17_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6022-17_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.63875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_6022-17_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.017265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_6022-17_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.014269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6022-17_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.049592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6022-17_0_4_line_8 | NAYY 4x150 SE | 5 | 15 | 0.031694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6022-17_0_4_line_9 | NAYY 4x150 SE | 5 | 16 | 0.1025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_6022-17_0_4_line_10 | NAYY 4x150 SE | 6 | 19 | 0.013607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_6022-17_0_4_line_11 | NAYY 4x150 SE | 7 | 20 | 0.038768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6022-17_0_4_line_12 | NAYY 4x150 SE | 8 | 13 | 0.022906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6022-17_0_4_line_13 | NAYY 4x150 SE | 9 | 10 | 0.060082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6022-17_0_4_line_14 | NAYY 4x150 SE | 9 | 11 | 0.048307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6022-17_0_4_line_15 | NAYY 4x150 SE | 9 | 12 | 0.19302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6022-17_0_4_line_16 | NAYY 4x150 SE | 12 | 17 | 0.006601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6022-17_0_4_line_17 | NAYY 4x150 SE | 12 | 18 | 0.030007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6022-17_0_4_line_18 | NAYY 4x150 SE | 13 | 14 | 0.018647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6022-17_0_4_line_19 | NAYY 4x150 SE | 14 | 22 | 0.02679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6022-17_0_4_line_20 | NAYY 4x150 SE | 16 | 23 | 0.048603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6022-17_0_4_line_21 | NAYY 4x150 SE | 16 | 24 | 0.032725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_6022-17_0_4_line_22 | NAYY 4x150 SE | 17 | 27 | 0.034171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6022-17_0_4_line_23 | NAYY 4x150 SE | 17 | 28 | 0.07315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6022-17_0_4_line_24 | NAYY 4x150 SE | 18 | 26 | 0.0044026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6022-17_0_4_line_25 | NAYY 4x150 SE | 19 | 21 | 0.051242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6022-17_0_4_line_26 | NAYY 4x150 SE | 22 | 29 | 0.021258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6022-17_0_4_line_27 | NAYY 4x150 SE | 24 | 37 | 0.11196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6022-17_0_4_line_28 | NAYY 4x150 SE | 24 | 35 | 0.091804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6022-17_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.014941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6022-17_0_4_line_30 | NAYY 4x150 SE | 27 | 33 | 0.02161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6022-17_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.13376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6022-17_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.012893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6022-17_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.039171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6022-17_0_4_line_34 | NAYY 4x150 SE | 33 | 34 | 0.015557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6022-17_0_4_line_35 | NAYY 4x150 SE | 33 | 35 | 0.062864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_6022-17_0_4_line_36 | NAYY 4x150 SE | 35 | 36 | 0.066883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6022-17_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.098489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6022-17_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.25908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6022-17_0_4_line_39 | NAYY 4x150 SE | 39 | 40 | 0.12612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6022-17_0_4_line_40 | NAYY 4x150 SE | 39 | 41 | 0.015101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6022-17_0_4_line_41 | NAYY 4x150 SE | 40 | 42 | 0.25458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6022-17_0_4_line_42 | NAYY 4x150 SE | 40 | 43 | 0.045337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6022-17_0_4_line_43 | NAYY 4x150 SE | 41 | 44 | 0.0084722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6022-17_0_4_line_44 | NAYY 4x150 SE | 43 | 45 | 0.22607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6022-17_0_4_trafo_47 | 0.25 MVA 20/0.4 kV | 46 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38
0 | 2582865.2038 | 1117187.2252 | 2582860.0582 | 1117180.4855
1 | 2582843.9266 | 1117269.304 | 2582844.5451 | 1117266.9567 | 2582857.4573 | 1117217.9957 | 2582865.2038 | 1117187.2252 | 2582865.2038 | 1117187.2252
2 | 2582853.5675 | 1117171.9841 | 2582860.0582 | 1117180.4855
3 | 2582843.9266 | 1117269.304 | 2582860.0069 | 1117267.7575 | 2582865.4434 | 1117267.9473
4 | 2582745.4104 | 1116939.9779 | 2582748.0114 | 1116942.6274 | 2582751.9054 | 1116954.7556 | 2582748.6774 | 1116978.4543 | 2582740.9038 | 1116991.583 | 2582725.6099 | 1117006.512 | 2582707.9398 | 1117005.6622 | 2582694.8129 | 1117011.8363 | 2582685.0957 | 1117030.7846 | 2582673.7842 | 1117040.1551 | 2582662.4776 | 1117051.2375 | 2582658.5686 | 1117063.4548 | 2582651.2569 | 1117092.1345 | 2582645.5037 | 1117120.5651 | 2582634.6973 | 1117163.184 | 2582627.5345 | 1117200.5897 | 2582621.2176 | 1117218.1611 | 2582618.4594 | 1117227.9294 | 2582615.7268 | 1117235.8079 | 2582614.8762 | 1117240.6238 | 2582616.736 | 1117245.8655 | 2582618.9299 | 1117249.2164 | 2582619.3021 | 1117257.8529 | 2582616.6648 | 1117274.7133 | 2582618.3799 | 1117285.9806 | 2582618.8273 | 1117288.5694 | 2582622.6005 | 1117293.5833 | 2582635.1598 | 1117296.8932 | 2582655.6298 | 1117300.0914 | 2582674.899 | 1117299.0466 | 2582690.7932 | 1117294.5654 | 2582703.836 | 1117291.5709 | 2582713.8898 | 1117295.922 | 2582722.2117 | 1117293.8304 | 2582771.4487 | 1117284.0402 | 2582783.0048 | 1117282.0507 | 2582806.1248 | 1117278.0605 | 2582838.6507 | 1117270.4752 | 2582843.9266 | 1117269.304
5 | 2582853.5675 | 1117171.9841 | 2582867.2865 | 1117161.5019
6 | 2582853.5675 | 1117171.9841 | 2582850.6479 | 1117173.9378 | 2582841.706 | 1117179.9163
7 | 2582865.4434 | 1117267.9473 | 2582875.9079 | 1117268.3126 | 2582877.6761 | 1117268.5744 | 2582905.1101 | 1117272.5541 | 2582914.6477 | 1117273.7557
8 | 2582745.4104 | 1116939.9779 | 2582742.4706 | 1116940.331 | 2582739.6952 | 1116949.5879 | 2582737.4262 | 1116968.526
9 | 2582745.4104 | 1116939.9779 | 2582741.4378 | 1116921.9915 | 2582735.6234 | 1116896.9625 | 2582728.1244 | 1116876.6294 | 2582720.1815 | 1116846.9042 | 2582716.8945 | 1116841.9445
10 | 2582878.0988 | 1117153.2406 | 2582867.2865 | 1117161.5019
11 | 2582808.5884 | 1117199.8679 | 2582818.855 | 1117195.1944 | 2582841.706 | 1117179.9163
12 | 2582937.1472 | 1117277.6325 | 2582931.9481 | 1117275.9352 | 2582914.6477 | 1117273.7557
13 | 2582888.0408 | 1116773.6114 | 2582852.0844 | 1116797.2363 | 2582838.5448 | 1116807.8023
14 | 2582826.1566 | 1116761.8927 | 2582831.8004 | 1116778.6182 | 2582836.6225 | 1116791.4108 | 2582839.3743 | 1116798.2063 | 2582838.4977 | 1116804.801 | 2582838.5448 | 1116807.8023
15 | 2582809.0298 | 1116800.2493 | 2582813.5933 | 1116803.5379 | 2582817.7736 | 1116815.9099 | 2582815.7497 | 1116831.6012 | 2582806.2649 | 1116845.6575 | 2582799.315 | 1116877.0484 | 2582799.3468 | 1116888.1871 | 2582806.3932 | 1116890.646 | 2582810.5021 | 1116880.7294 | 2582819.161 | 1116866.6644 | 2582827.389 | 1116847.6649 | 2582834.3849 | 1116832.3708 | 2582838.8943 | 1116816.6724 | 2582837.2124 | 1116808.84 | 2582838.5448 | 1116807.8023
16 | 2582809.0298 | 1116800.2493 | 2582803.2317 | 1116797.0643
17 | 2582809.0298 | 1116800.2493 | 2582804.4946 | 1116806.8655 | 2582797.0885 | 1116821.7385 | 2582792.9989 | 1116825.2194
18 | 2582937.1472 | 1117277.6325 | 2582933.2845 | 1117295.8753
19 | 2582933.2845 | 1117295.8753 | 2582927.735 | 1117322.0843
20 | 2582716.8945 | 1116841.9445 | 2582727.3968 | 1116889.3934
21 | 2582716.8945 | 1116841.9445 | 2582709.2244 | 1116826.5922 | 2582701.621 | 1116812.9962
22 | 2582803.2317 | 1116797.0643 | 2582788.9218 | 1116789.2235 | 2582772.2357 | 1116782.8716
23 | 2582803.2317 | 1116797.0643 | 2582789.6096 | 1116725.1934
24 | 2582792.9989 | 1116825.2194 | 2582789.6463 | 1116828.073
25 | 2582878.0988 | 1117153.2406 | 2582879.5912 | 1117152.1003 | 2582888.2686 | 1117144.6497 | 2582923.6805 | 1117131.0697
26 | 2582923.3314 | 1117342.8816 | 2582927.735 | 1117322.0843
27 | 2582701.621 | 1116812.9962 | 2582691.8299 | 1116827.8205 | 2582686.8544 | 1116850.4015 | 2582681.7817 | 1116874.0611 | 2582679.3574 | 1116889.9315 | 2582676.6286 | 1116901.9564 | 2582676.2564 | 1116912.1069 | 2582680.9079 | 1116919.0139
28 | 2582721.0031 | 1116724.2523 | 2582714.8091 | 1116741.8787 | 2582713.2818 | 1116753.022 | 2582713.8153 | 1116766.7717 | 2582711.3939 | 1116781.0301 | 2582706.8464 | 1116802.1758 | 2582701.621 | 1116812.9962
29 | 2582779.4484 | 1116838.9443 | 2582786.5394 | 1116830.7175 | 2582789.6463 | 1116828.073
30 | 2582752.2007 | 1116774.7768 | 2582768.0815 | 1116781.2902 | 2582772.2357 | 1116782.8716
31 | 2582789.6096 | 1116725.1934 | 2582787.503 | 1116714.0792 | 2582780.5467 | 1116689.209 | 2582777.4326 | 1116671.7982 | 2582777.3925 | 1116657.7803 | 2582777.1857 | 1116647.5425 | 2582768.6831 | 1116638.0398 | 2582760.9127 | 1116630.8807 | 2582761.4166 | 1116618.1174 | 2582767.8584 | 1116600.6793
32 | 2582767.8584 | 1116600.6793 | 2582767.8584 | 1116600.6793 | 2582770.5769 | 1116588.0765
33 | 2582790.6169 | 1116555.692 | 2582786.8556 | 1116563.0731 | 2582778.9456 | 1116569.2098 | 2582772.1245 | 1116580.9017 | 2582770.5769 | 1116588.0765
34 | 2582752.2007 | 1116774.7768 | 2582753.8119 | 1116790.2465
35 | 2582752.2007 | 1116774.7768 | 2582742.1225 | 1116754.0843 | 2582729.2356 | 1116728.4085 | 2582724.4492 | 1116722.7639 | 2582721.0031 | 1116724.2523
36 | 2582721.0031 | 1116724.2523 | 2582714.6018 | 1116707.2956 | 2582709.6773 | 1116691.1906 | 2582697.0135 | 1116670.7279 | 2582691.5317 | 1116665.1044
37 | 2582691.5317 | 1116665.1044 | 2582683.0628 | 1116656.4165 | 2582667.916 | 1116642.2419 | 2582654.1937 | 1116624.1501 | 2582646.9013 | 1116611.4871 | 2582644.9404 | 1116600.6652 | 2582639.9625 | 1116587.573 | 2582637.8415 | 1116585.0616
38 | 2582505.724 | 1116485.0992 | 2582511.001 | 1116462.8173 | 2582514.326 | 1116451.4798 | 2582516.2581 | 1116436.3 | 2582521.974 | 1116429.5801 | 2582528.7886 | 1116429.0713 | 2582536.2445 | 1116442.0561 | 2582545.777 | 1116457.7918 | 2582553.7347 | 1116473.5321 | 2582565.3334 | 1116485.7157 | 2582580.2051 | 1116500.6468 | 2582587.3605 | 1116513.9327 | 2582590.2664 | 1116528.5093 | 2582595.2305 | 1116536.7657 | 2582608.0162 | 1116548.4568 | 2582613.7737 | 1116556.1218 | 2582618.5473 | 1116565.2681 | 2582630.8306 | 1116576.7606 | 2582637.8415 | 1116585.0616
39 | 2582505.724 | 1116485.0992 | 2582501.7087 | 1116497.9172 | 2582500.1672 | 1116512.0175 | 2582494.4831 | 1116527.0081 | 2582493.7195 | 1116537.849 | 2582494.1584 | 1116553.411 | 2582490.3355 | 1116563.3826 | 2582479.0164 | 1116580.9464 | 2582468.5907 | 1116597.8295 | 2582464.5449 | 1116600.109
40 | 2582505.724 | 1116485.0992 | 2582507.7505 | 1116500.0634
41 | 2582464.5449 | 1116600.109 | 2582458.1112 | 1116614.7461 | 2582452.5175 | 1116623.589 | 2582436.81 | 1116629.1263 | 2582418.7154 | 1116655.1586 | 2582407.6984 | 1116672.9551 | 2582393.4797 | 1116683.4129 | 2582383.8809 | 1116681.9624 | 2582378.9218 | 1116675.4737 | 2582362.2402 | 1116677.7903 | 2582349.9305 | 1116681.1057 | 2582340.5329 | 1116690.4156 | 2582337.7865 | 1116701.4514 | 2582344.5075 | 1116708.6241 | 2582350.3566 | 1116710.6413 | 2582354.1758 | 1116715.3325 | 2582366.6843 | 1116721.9658 | 2582377.94 | 1116727.7691 | 2582382.6179 | 1116735.7816 | 2582380.6222 | 1116746.5538
42 | 2582464.5449 | 1116600.109 | 2582460.7788 | 1116597.7522 | 2582451.8266 | 1116577.1902 | 2582448.7145 | 1116560.8357 | 2582447.8216 | 1116559.2497
43 | 2582507.7505 | 1116500.0634 | 2582508.6584 | 1116506.7681 | 2582508.6634 | 1116508.4745
44 | 2582344.7436 | 1116612.6982 | 2582342.7048 | 1116625.5216 | 2582344.1029 | 1116631.1314 | 2582351.1235 | 1116632.4893 | 2582367.0241 | 1116627.0178 | 2582378.3768 | 1116621.0817 | 2582392.473 | 1116608.3231 | 2582394.9169 | 1116599.356 | 2582398.4118 | 1116577.5683 | 2582395.9 | 1116563.2908 | 2582394.3805 | 1116550.4889 | 2582397.5836 | 1116531.8593 | 2582402.0095 | 1116522.286 | 2582408.7182 | 1116519.8986 | 2582416.9377 | 1116524.6992 | 2582426.7571 | 1116535.5093 | 2582442.8097 | 1116550.3477 | 2582447.8216 | 1116559.2497

## bus_geodata
| x | y | coords
0 | 2582865.2038 | 1117187.2252
1 | 2582860.0582 | 1117180.4855
2 | 2582843.9266 | 1117269.304
3 | 2582853.5675 | 1117171.9841
4 | 2582865.4434 | 1117267.9473
5 | 2582745.4104 | 1116939.9779
6 | 2582867.2865 | 1117161.5019
7 | 2582841.706 | 1117179.9163
8 | 2582914.6477 | 1117273.7557
9 | 2582838.5448 | 1116807.8023
10 | 2582888.0408 | 1116773.6114
11 | 2582826.1566 | 1116761.8927
12 | 2582809.0298 | 1116800.2493
13 | 2582937.1472 | 1117277.6325
14 | 2582933.2845 | 1117295.8753
15 | 2582737.4262 | 1116968.526
16 | 2582716.8945 | 1116841.9445
17 | 2582803.2317 | 1116797.0643
18 | 2582792.9989 | 1116825.2194
19 | 2582878.0988 | 1117153.2406
20 | 2582808.5884 | 1117199.8679
21 | 2582923.6805 | 1117131.0697
22 | 2582927.735 | 1117322.0843
23 | 2582727.3968 | 1116889.3934
24 | 2582701.621 | 1116812.9962
25 | 2582779.4484 | 1116838.9443
26 | 2582789.6463 | 1116828.073
27 | 2582772.2357 | 1116782.8716
28 | 2582789.6096 | 1116725.1934
29 | 2582923.3314 | 1117342.8816
30 | 2582767.8584 | 1116600.6793
31 | 2582770.5769 | 1116588.0765
32 | 2582790.6169 | 1116555.692
33 | 2582752.2007 | 1116774.7768
34 | 2582753.8119 | 1116790.2465
35 | 2582721.0031 | 1116724.2523
36 | 2582691.5317 | 1116665.1044
37 | 2582680.9079 | 1116919.0139
38 | 2582637.8415 | 1116585.0616
39 | 2582505.724 | 1116485.0992
40 | 2582464.5449 | 1116600.109
41 | 2582507.7505 | 1116500.0634
42 | 2582380.6222 | 1116746.5538
43 | 2582447.8216 | 1116559.2497
44 | 2582508.6634 | 1116508.4745
45 | 2582344.7436 | 1116612.6982
46 | 2582853.5675 | 1117171.9841

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1