## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6022-52_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6022-52_0_3_node_54 | 0.4 | n |  | TRUE
2 | bus_LV_6022-52_0_3_node_53 | 0.4 | n |  | TRUE
3 | bus_LV_6022-52_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_6022-52_0_3_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_6022-52_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_6022-52_0_3_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_6022-52_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6022-52_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6022-52_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6022-52_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6022-52_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_6022-52_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6022-52_0_3_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_6022-52_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_6022-52_0_3_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_6022-52_0_3_node_56 | 0.4 | n |  | TRUE
17 | bus_LV_6022-52_0_3_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_6022-52_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_6022-52_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6022-52_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6022-52_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6022-52_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6022-52_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6022-52_0_3_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_6022-52_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_6022-52_0_3_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_6022-52_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_6022-52_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6022-52_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6022-52_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6022-52_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_6022-52_0_3_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6022-52_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6022-52_0_3_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_6022-52_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6022-52_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6022-52_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6022-52_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6022-52_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6022-52_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_6022-52_0_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_6022-52_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_6022-52_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6022-52_0_3_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_6022-52_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_6022-52_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_6022-52_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_6022-52_0_3_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_6022-52_0_3_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_6022-52_0_3_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6022-52_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_6022-52_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_6022-52_0_3_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_6022-52_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6022-52_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6022-52_0_3_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_6022-52_0_3_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_6022-52_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6022-52_0_3_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_6022-52_0_3_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_6022-52_0_3_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_6022-52_0_3_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6022-52_0_3_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_6022-52_0_3_node_63 | 0.4 | n |  | TRUE
65 | bus_MV_103_2_node_267 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6022-52_0_3_load_0 | 0 | 0.0028211 | 0.00070705 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6022-52_0_3_load_54 | 1 | 0.0025771 | 0.00064589 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6022-52_0_3_load_53 | 2 | 0.0025423 | 0.00063717 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6022-52_0_3_load_8 | 3 | 0.0018696 | 0.00046857 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6022-52_0_3_load_11 | 4 | 0.0023038 | 0.00057739 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6022-52_0_3_load_7 | 5 | 0.00306 | 0.00076691 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6022-52_0_3_load_2 | 6 | 0.0038404 | 0.0009625 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6022-52_0_3_load_10 | 11 | 0.0036008 | 0.00090244 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6022-52_0_3_load_9 | 12 | 0.0029882 | 0.00074892 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6022-52_0_3_load_66 | 13 | 0.0022377 | 0.00056083 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6022-52_0_3_load_30 | 14 | 0.0041504 | 0.0010402 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6022-52_0_3_load_55 | 15 | 0.0051235 | 0.0012841 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6022-52_0_3_load_56 | 16 | 0.0029039 | 0.00072778 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6022-52_0_3_load_52 | 17 | 0.0063738 | 0.0015974 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6022-52_0_3_load_12 | 19 | 0.0038704 | 0.00097001 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6022-52_0_3_load_13 | 20 | 0.0043922 | 0.0011008 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6022-52_0_3_load_14 | 21 | 0.0038464 | 0.00096401 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6022-52_0_3_load_16 | 23 | 0.0040478 | 0.0010145 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6022-52_0_3_load_57 | 24 | 0.003648 | 0.00091427 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6022-52_0_3_load_58 | 26 | 0.0025054 | 0.00062791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6022-52_0_3_load_22 | 28 | 0.0038572 | 0.0009667 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6022-52_0_3_load_28 | 29 | 0.0047643 | 0.001194 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6022-52_0_3_load_17 | 30 | 0.0034324 | 0.00086023 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6022-52_0_3_load_18 | 31 | 0.0038656 | 0.0009688 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6022-52_0_3_load_20 | 33 | 0.0063582 | 0.0015935 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6022-52_0_3_load_40 | 34 | 0.0037099 | 0.0009298 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6022-52_0_3_load_31 | 35 | 0.0034706 | 0.00086981 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6022-52_0_3_load_32 | 36 | 0.0028688 | 0.00071899 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6022-52_0_3_load_33 | 37 | 0.0055642 | 0.0013945 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6022-52_0_3_load_34 | 38 | 0.002587 | 0.00064837 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6022-52_0_3_load_35 | 39 | 0.0050911 | 0.001276 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6022-52_0_3_load_49 | 40 | 0.0050264 | 0.0012597 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6022-52_0_3_load_47 | 41 | 0.0044879 | 0.0011248 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6022-52_0_3_load_45 | 42 | 0.0034401 | 0.00086218 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6022-52_0_3_load_51 | 43 | 0.0031138 | 0.00078039 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6022-52_0_3_load_65 | 44 | 0.0045658 | 0.0011443 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6022-52_0_3_load_23 | 45 | 0.0037301 | 0.00093485 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6022-52_0_3_load_24 | 46 | 0.0040477 | 0.0010145 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6022-52_0_3_load_25 | 47 | 0.0031784 | 0.00079659 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6022-52_0_3_load_27 | 49 | 0.0058918 | 0.0014766 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6022-52_0_3_load_50 | 50 | 0.0040768 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6022-52_0_3_load_48 | 51 | 0.0054435 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6022-52_0_3_load_36 | 52 | 0.0041562 | 0.0010417 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6022-52_0_3_load_67 | 53 | 0.0022264 | 0.00055799 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6022-52_0_3_load_46 | 54 | 0.0045594 | 0.0011427 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6022-52_0_3_load_42 | 55 | 0.0031809 | 0.00079722 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6022-52_0_3_load_37 | 56 | 0.0042104 | 0.0010552 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6022-52_0_3_load_38 | 57 | 0.0026999 | 0.00067667 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6022-52_0_3_load_64 | 59 | 0.0063848 | 0.0016002 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6022-52_0_3_load_41 | 60 | 0.004149 | 0.0010398 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6022-52_0_3_load_61 | 61 | 0.0026193 | 0.00065646 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6022-52_0_3_load_43 | 62 | 0.0040587 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6022-52_0_3_load_62 | 63 | 0.004409 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6022-52_0_3_load_63 | 64 | 0.0023087 | 0.00057862 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6022-52_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.092589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6022-52_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.021901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6022-52_0_3_line_2 | NAYY 4x150 SE | 2 | 15 | 0.027073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6022-52_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.033179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6022-52_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.060725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6022-52_0_3_line_5 | NAYY 4x150 SE | 5 | 8 | 0.033944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6022-52_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.047505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6022-52_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.015036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6022-52_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.005396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6022-52_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.049152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6022-52_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.041224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6022-52_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.026182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6022-52_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.025042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6022-52_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0039947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6022-52_0_3_line_14 | NAYY 4x150 SE | 14 | 18 | 0.029395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6022-52_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.0041766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6022-52_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.026732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6022-52_0_3_line_17 | NAYY 4x150 SE | 17 | 43 | 0.038672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6022-52_0_3_line_18 | NAYY 4x150 SE | 18 | 34 | 0.0039699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6022-52_0_3_line_19 | NAYY 4x150 SE | 18 | 32 | 0.029237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6022-52_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.022254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6022-52_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.010591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6022-52_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0074447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6022-52_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.016818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6022-52_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.048576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6022-52_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.00212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6022-52_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.031649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6022-52_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.010357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6022-52_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.025841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6022-52_0_3_line_29 | NAYY 4x150 SE | 25 | 29 | 0.010743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6022-52_0_3_line_30 | NAYY 4x150 SE | 27 | 55 | 0.018536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6022-52_0_3_line_31 | NAYY 4x150 SE | 27 | 48 | 0.006567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_6022-52_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.0054127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_6022-52_0_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0026584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_6022-52_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.030467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_6022-52_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.0078953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6022-52_0_3_line_36 | NAYY 4x150 SE | 34 | 44 | 0.017715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6022-52_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.045611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_6022-52_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0035799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_6022-52_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0055616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_6022-52_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.077666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6022-52_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.037622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_6022-52_0_3_line_42 | NAYY 4x150 SE | 39 | 53 | 0.046078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6022-52_0_3_line_43 | NAYY 4x150 SE | 39 | 47 | 0.071279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_6022-52_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.014637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_6022-52_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.069803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_6022-52_0_3_line_46 | NAYY 4x150 SE | 42 | 54 | 0.030929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6022-52_0_3_line_47 | NAYY 4x150 SE | 43 | 50 | 0.0095976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6022-52_0_3_line_48 | NAYY 4x150 SE | 44 | 61 | 0.046086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6022-52_0_3_line_49 | NAYY 4x150 SE | 45 | 46 | 0.018713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_6022-52_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.0025635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_6022-52_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.046385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_6022-52_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.015359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6022-52_0_3_line_53 | NAYY 4x150 SE | 48 | 52 | 0.011564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6022-52_0_3_line_54 | NAYY 4x150 SE | 50 | 51 | 0.03704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6022-52_0_3_line_55 | NAYY 4x150 SE | 51 | 54 | 0.010083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6022-52_0_3_line_56 | NAYY 4x150 SE | 52 | 56 | 0.01743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6022-52_0_3_line_57 | NAYY 4x150 SE | 55 | 60 | 0.025944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6022-52_0_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.037474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6022-52_0_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.0098024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6022-52_0_3_line_60 | NAYY 4x150 SE | 58 | 59 | 0.05686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6022-52_0_3_line_61 | NAYY 4x150 SE | 60 | 62 | 0.017547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6022-52_0_3_line_62 | NAYY 4x150 SE | 61 | 63 | 0.014064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6022-52_0_3_line_63 | NAYY 4x150 SE | 63 | 64 | 0.0026406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6022-52_0_3_trafo_20 | 0.25 MVA 20/0.4 kV | 65 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2580752.2567 | 1116776.5335 | 2580662.0301 | 1116797.3167
1 | 2580774.1051 | 1116775.3226 | 2580758.8797 | 1116775.7411 | 2580752.2567 | 1116776.5335
2 | 2580774.1051 | 1116775.3226 | 2580786.7886 | 1116774.974 | 2580801.1705 | 1116774.6994
3 | 2580718.3754 | 1116924.625 | 2580694.6315 | 1116947.7997
4 | 2580766.306 | 1116961.9094 | 2580718.3754 | 1116924.625
5 | 2580756.0105 | 1116994.0362 | 2580756.168 | 1116990.1893 | 2580760.3766 | 1116976.3135 | 2580764.9595 | 1116966.0271 | 2580766.306 | 1116961.9094
6 | 2580815.4406 | 1116981.0627 | 2580814.4005 | 1116979.2317 | 2580799.0845 | 1116980.9257 | 2580784.603 | 1116985.3074 | 2580770.3909 | 1116989.6461
7 | 2580756.0105 | 1116994.0362 | 2580770.3909 | 1116989.6461
8 | 2580819.6209 | 1116977.6365 | 2580815.4406 | 1116981.0627
9 | 2580782.013 | 1117015.4417 | 2580801.6218 | 1116997.2257 | 2580811.1181 | 1116988.3133 | 2580816.2711 | 1116982.5274 | 2580815.4406 | 1116981.0627
10 | 2580819.6209 | 1116977.6365 | 2580828.4549 | 1116974.0289 | 2580837.2989 | 1116971.1216 | 2580845.1182 | 1116968.8401 | 2580859.0467 | 1116965.9399
11 | 2580819.6209 | 1116977.6365 | 2580820.479 | 1116975.6217 | 2580820.5418 | 1116973.5427 | 2580819.1574 | 1116970.2344 | 2580816.0506 | 1116966.5869 | 2580809.9906 | 1116963.8715 | 2580804.7987 | 1116962.3094 | 2580803.3301 | 1116962.2072
12 | 2580782.013 | 1117015.4417 | 2580765.7771 | 1117034.5068
13 | 2580859.0467 | 1116965.9399 | 2580860.1364 | 1116965.713 | 2580862.9922 | 1116965.3281
14 | 2580891.8025 | 1116959.832 | 2580880.4045 | 1116962.9807 | 2580862.9922 | 1116965.3281
15 | 2580805.3463 | 1116774.6197 | 2580801.1705 | 1116774.6994
16 | 2580805.3463 | 1116774.6197 | 2580832.0738 | 1116774.1096
17 | 2580870.7285 | 1116772.9747 | 2580838.5093 | 1116773.9867 | 2580832.0738 | 1116774.1096
18 | 2580891.8025 | 1116959.832 | 2580895.1207 | 1116962.0114
19 | 2580918.9234 | 1116949.352 | 2580911.8751 | 1116953.8543 | 2580900.6712 | 1116957.3804 | 2580891.8025 | 1116959.832
20 | 2580950.7286 | 1116932.0883 | 2580954.1216 | 1116932.6881 | 2580958.1385 | 1116933.6981 | 2580960.9246 | 1116936.0571 | 2580963.3043 | 1116939.229 | 2580965.2681 | 1116942.7023 | 2580967.5041 | 1116944.7922
21 | 2580976.6976 | 1116949.3817 | 2580976.1025 | 1116949.238 | 2580970.7413 | 1116947.8209 | 2580968.8833 | 1116946.0814 | 2580967.5041 | 1116944.7922
22 | 2580945.0474 | 1116928.7148 | 2580945.7801 | 1116930.9691 | 2580950.1057 | 1116931.9782 | 2580950.7286 | 1116932.0883
23 | 2580976.6976 | 1116949.3817 | 2580981.1466 | 1116950.456 | 2580986.2971 | 1116951.1624 | 2580989.2897 | 1116952.8982 | 2580990.7434 | 1116956.1731
24 | 2580945.0474 | 1116928.7148 | 2580949.673 | 1116926.9548 | 2580956.2591 | 1116925.1887 | 2580963.4663 | 1116924.5545 | 2580971.3943 | 1116924.8296 | 2580978.9073 | 1116925.7286 | 2580985.4951 | 1116924.485 | 2580992.5689 | 1116922.4192
25 | 2580945.0474 | 1116928.7148 | 2580943.3068 | 1116929.932
26 | 2580990.7434 | 1116956.1731 | 2580979.6645 | 1116985.8197
27 | 2581001.6358 | 1116917.4529 | 2580993.3069 | 1116922.2037 | 2580992.5689 | 1116922.4192
28 | 2580943.3068 | 1116929.932 | 2580938.5781 | 1116933.2486 | 2580932.3143 | 1116939.3269 | 2580923.4836 | 1116946.4361
29 | 2580943.3068 | 1116929.932 | 2580941.1292 | 1116927.1819 | 2580937.8418 | 1116927.4035 | 2580935.5741 | 1116927.9221 | 2580934.0379 | 1116928.4188
30 | 2581001.6358 | 1116917.4529 | 2581004.4251 | 1116920.8347 | 2581012.8751 | 1116925.1102 | 2581017.3949 | 1116926.3313
31 | 2581006.7479 | 1116913.3125 | 2581001.6358 | 1116917.4529
32 | 2580918.9234 | 1116949.352 | 2580923.4836 | 1116946.4361
33 | 2580894.9207 | 1116932.0361 | 2580895.5511 | 1116934.6187
34 | 2580918.9234 | 1116949.352 | 2580917.623 | 1116948.1889 | 2580912.9912 | 1116948.0034 | 2580906.2947 | 1116946.5906 | 2580901.4507 | 1116945.1719 | 2580899.3891 | 1116942.5105 | 2580897.5201 | 1116939.7372 | 2580895.5511 | 1116934.6187 | 2580895.5511 | 1116934.6187
35 | 2580893.0486 | 1116924.366 | 2580894.9207 | 1116932.0361
36 | 2580895.1207 | 1116962.0114 | 2580895.1207 | 1116962.0114 | 2580901.3026 | 1116961.7917 | 2580912.7834 | 1116960.7348
37 | 2580843.8506 | 1116858.9563 | 2580834.9317 | 1116860.2075 | 2580829.064 | 1116859.737 | 2580818.4292 | 1116857.8254 | 2580811.208 | 1116854.0688 | 2580809.1216 | 1116850.9072 | 2580809.3508 | 1116847.7382 | 2580812.1479 | 1116843.8274 | 2580812.1479 | 1116843.8274
38 | 2580843.8506 | 1116858.9563 | 2580843.8506 | 1116858.9563 | 2580847.3303 | 1116858.1154
39 | 2580817.2215 | 1116841.5491 | 2580812.1479 | 1116843.8274
40 | 2580916.1891 | 1116827.5537 | 2580907.4206 | 1116829.2845 | 2580902.9025 | 1116830.8774 | 2580898.2678 | 1116834.6717 | 2580889.9922 | 1116844.0692 | 2580885.7269 | 1116847.4956 | 2580880.1162 | 1116850.1924 | 2580847.3303 | 1116858.1154
41 | 2580817.2215 | 1116841.5491 | 2580817.8825 | 1116841.2523 | 2580852.7361 | 1116829.1442
42 | 2580961.3951 | 1116818.6308 | 2580916.1891 | 1116827.5537
43 | 2580950.1667 | 1116890.2128 | 2580916.1891 | 1116827.5537
44 | 2580866.548 | 1116824.3019 | 2580866.0021 | 1116824.5356 | 2580852.7361 | 1116829.1442
45 | 2580926.8815 | 1116790.7447 | 2580916.5002 | 1116793.438 | 2580905.5257 | 1116801.2655 | 2580885.7739 | 1116816.0687 | 2580866.548 | 1116824.3019
46 | 2580926.8815 | 1116790.7447 | 2580933.591 | 1116789.004 | 2580937.3751 | 1116787.1578 | 2580938.7113 | 1116784.9636 | 2580938.5751 | 1116780.9509 | 2580937.7117 | 1116778.8748 | 2580934.2889 | 1116777.7962 | 2580926.927 | 1116778.0427
47 | 2580880.2561 | 1116773.429 | 2580877.0919 | 1116772.7748 | 2580870.7285 | 1116772.9747
48 | 2580912.7834 | 1116960.7348 | 2580929.1104 | 1117003.8312
49 | 2580963.7194 | 1116899.2094 | 2580962.6588 | 1116898.5887 | 2580957.094 | 1116896.2495 | 2580953.2858 | 1116895.3389 | 2580949.4699 | 1116894.4282 | 2580948.232 | 1116893.5095 | 2580948.0171 | 1116891.4536
50 | 2580950.1667 | 1116890.2128 | 2580949.665 | 1116890.2144 | 2580948.0171 | 1116891.4536 | 2580948.0171 | 1116891.4536
51 | 2581006.7479 | 1116913.3125 | 2581003.1604 | 1116911.3895 | 2580999.4549 | 1116911.2011 | 2580994.1982 | 1116911.1176 | 2580986.4789 | 1116910.9307 | 2580981.3232 | 1116908.5903 | 2580972.2554 | 1116904.2056 | 2580963.7194 | 1116899.2094
52 | 2580965.5203 | 1116890.5757 | 2580961.6066 | 1116890.488 | 2580953.1615 | 1116890.2034 | 2580950.1667 | 1116890.2128
53 | 2581006.7479 | 1116913.3125 | 2581015.7351 | 1116906.0355
54 | 2580880.2561 | 1116773.429 | 2580901.2908 | 1116777.7784 | 2580916.8479 | 1116778.0788
55 | 2580916.8479 | 1116778.0788 | 2580922.5575 | 1116778.1891 | 2580926.927 | 1116778.0427
56 | 2581015.7351 | 1116906.0355 | 2581016.0098 | 1116905.813 | 2581025.6628 | 1116897.4673 | 2581028.7255 | 1116894.4264
57 | 2581042.4125 | 1116922.1047 | 2581036.8628 | 1116924.5233 | 2581028.5338 | 1116926.8062 | 2581020.3994 | 1116927.1431 | 2581017.3949 | 1116926.3313
58 | 2581028.7255 | 1116894.4264 | 2581034.9964 | 1116888.2001 | 2581040.0292 | 1116883.3707 | 2581047.3235 | 1116878.5232 | 2581051.1237 | 1116876.866 | 2581056.6685 | 1116872.8466 | 2581058.1545 | 1116871.6469
59 | 2581065.7069 | 1116865.4034 | 2581064.5755 | 1116866.463 | 2581058.1545 | 1116871.6469
60 | 2581065.7069 | 1116865.4034 | 2581068.4812 | 1116866.4619 | 2581071.2727 | 1116865.5971 | 2581076.7372 | 1116863.0343 | 2581081.9525 | 1116859.7496 | 2581085.8388 | 1116858.5257 | 2581091.5506 | 1116858.5078 | 2581095.2035 | 1116859.1078 | 2581097.3951 | 1116861.402 | 2581098.139 | 1116864.7903 | 2581098.0276 | 1116868.6703 | 2581096.8253 | 1116871.6978 | 2581093.7994 | 1116876.5541 | 2581089.3479 | 1116880.2383
61 | 2581042.4125 | 1116922.1047 | 2581049.1957 | 1116919.1485 | 2581058.2632 | 1116914.5926
62 | 2580929.1104 | 1117003.8312 | 2580930.6406 | 1117003.1416 | 2580935.2201 | 1117001.4596 | 2580942.2744 | 1116998.8916
63 | 2580944.8898 | 1116998.5276 | 2580942.2744 | 1116998.8916 | 2580942.2744 | 1116998.8916

## bus_geodata
| x | y | coords
0 | 2580662.0301 | 1116797.3167
1 | 2580752.2567 | 1116776.5335
2 | 2580774.1051 | 1116775.3226
3 | 2580718.3754 | 1116924.625
4 | 2580694.6315 | 1116947.7997
5 | 2580766.306 | 1116961.9094
6 | 2580770.3909 | 1116989.6461
7 | 2580815.4406 | 1116981.0627
8 | 2580756.0105 | 1116994.0362
9 | 2580819.6209 | 1116977.6365
10 | 2580782.013 | 1117015.4417
11 | 2580859.0467 | 1116965.9399
12 | 2580803.3301 | 1116962.2072
13 | 2580765.7771 | 1117034.5068
14 | 2580862.9922 | 1116965.3281
15 | 2580801.1705 | 1116774.6994
16 | 2580805.3463 | 1116774.6197
17 | 2580832.0738 | 1116774.1096
18 | 2580891.8025 | 1116959.832
19 | 2580967.5041 | 1116944.7922
20 | 2580950.7286 | 1116932.0883
21 | 2580976.6976 | 1116949.3817
22 | 2580945.0474 | 1116928.7148
23 | 2580990.7434 | 1116956.1731
24 | 2580992.5689 | 1116922.4192
25 | 2580943.3068 | 1116929.932
26 | 2580979.6645 | 1116985.8197
27 | 2581001.6358 | 1116917.4529
28 | 2580923.4836 | 1116946.4361
29 | 2580934.0379 | 1116928.4188
30 | 2580895.5511 | 1116934.6187
31 | 2580894.9207 | 1116932.0361
32 | 2580918.9234 | 1116949.352
33 | 2580893.0486 | 1116924.366
34 | 2580895.1207 | 1116962.0114
35 | 2580843.8506 | 1116858.9563
36 | 2580812.1479 | 1116843.8274
37 | 2580847.3303 | 1116858.1154
38 | 2580817.2215 | 1116841.5491
39 | 2580916.1891 | 1116827.5537
40 | 2580852.7361 | 1116829.1442
41 | 2580866.548 | 1116824.3019
42 | 2580926.8815 | 1116790.7447
43 | 2580870.7285 | 1116772.9747
44 | 2580912.7834 | 1116960.7348
45 | 2580948.0171 | 1116891.4536
46 | 2580963.7194 | 1116899.2094
47 | 2580950.1667 | 1116890.2128
48 | 2581006.7479 | 1116913.3125
49 | 2580965.5203 | 1116890.5757
50 | 2580880.2561 | 1116773.429
51 | 2580916.8479 | 1116778.0788
52 | 2581015.7351 | 1116906.0355
53 | 2580961.3951 | 1116818.6308
54 | 2580926.927 | 1116778.0427
55 | 2581017.3949 | 1116926.3313
56 | 2581028.7255 | 1116894.4264
57 | 2581058.1545 | 1116871.6469
58 | 2581065.7069 | 1116865.4034
59 | 2581089.3479 | 1116880.2383
60 | 2581042.4125 | 1116922.1047
61 | 2580929.1104 | 1117003.8312
62 | 2581058.2632 | 1116914.5926
63 | 2580942.2744 | 1116998.8916
64 | 2580944.8898 | 1116998.5276
65 | 2580918.9234 | 1116949.352

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1