## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6022-56_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6022-56_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6022-56_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6022-56_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6022-56_0_3_node_69 | 0.4 | n |  | TRUE
5 | bus_LV_6022-56_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6022-56_0_3_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_6022-56_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6022-56_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6022-56_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6022-56_0_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6022-56_0_3_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_6022-56_0_3_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_6022-56_0_3_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_6022-56_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6022-56_0_3_node_4 | 0.4 | n |  | TRUE
16 | bus_LV_6022-56_0_3_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6022-56_0_3_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_6022-56_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6022-56_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6022-56_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6022-56_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6022-56_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6022-56_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6022-56_0_3_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_6022-56_0_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_6022-56_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6022-56_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6022-56_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6022-56_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6022-56_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6022-56_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6022-56_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6022-56_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_6022-56_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6022-56_0_3_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_6022-56_0_3_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_6022-56_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6022-56_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6022-56_0_3_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_6022-56_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6022-56_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6022-56_0_3_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_6022-56_0_3_node_60 | 0.4 | n |  | TRUE
44 | bus_LV_6022-56_0_3_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_6022-56_0_3_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_6022-56_0_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_6022-56_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6022-56_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6022-56_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6022-56_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_6022-56_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_6022-56_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_6022-56_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_6022-56_0_3_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6022-56_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_6022-56_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_6022-56_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_6022-56_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_6022-56_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_6022-56_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6022-56_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6022-56_0_3_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_6022-56_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_6022-56_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6022-56_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6022-56_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_6022-56_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6022-56_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6022-56_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_6022-56_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_6022-56_0_3_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_6022-56_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_6022-56_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_6022-56_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_MV_103_2_node_264 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6022-56_0_3_load_0 | 0 | 0.0022842 | 0.00057247 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6022-56_0_3_load_2 | 2 | 0.0064328 | 0.0016122 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6022-56_0_3_load_46 | 6 | 0.007943 | 0.0019907 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6022-56_0_3_load_10 | 7 | 0.0026405 | 0.00066178 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6022-56_0_3_load_11 | 8 | 0.002463 | 0.00061728 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6022-56_0_3_load_12 | 9 | 0.0016496 | 0.00041343 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6022-56_0_3_load_13 | 10 | 0.0010954 | 0.00027453 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6022-56_0_3_load_66 | 11 | 0.0018094 | 0.00045347 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6022-56_0_3_load_67 | 12 | 0.0012412 | 0.00031108 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6022-56_0_3_load_68 | 13 | 0.001365 | 0.00034211 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6022-56_0_3_load_7 | 14 | 0.0061158 | 0.0015328 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6022-56_0_3_load_4 | 15 | 0.0016219 | 0.00040649 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6022-56_0_3_load_8 | 18 | 0.0019693 | 0.00049354 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6022-56_0_3_load_9 | 19 | 0.001309 | 0.00032806 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6022-56_0_3_load_14 | 20 | 0.0014124 | 0.00035399 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6022-56_0_3_load_16 | 22 | 0.0021099 | 0.0005288 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6022-56_0_3_load_75 | 24 | 0.0028067 | 0.00070343 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6022-56_0_3_load_49 | 25 | 0.0017061 | 0.0004276 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6022-56_0_3_load_18 | 26 | 0.001298 | 0.0003253 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6022-56_0_3_load_19 | 27 | 0.0016236 | 0.0004069 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6022-56_0_3_load_21 | 29 | 0.0012329 | 0.00030899 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6022-56_0_3_load_24 | 32 | 0.0013073 | 0.00032763 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6022-56_0_3_load_30 | 34 | 0.00063561 | 0.0001593 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6022-56_0_3_load_48 | 35 | 0.0012734 | 0.00031914 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6022-56_0_3_load_53 | 36 | 0.0026192 | 0.00065643 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6022-56_0_3_load_25 | 37 | 0.0021844 | 0.00054747 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6022-56_0_3_load_29 | 38 | 0.0014722 | 0.00036897 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6022-56_0_3_load_52 | 39 | 0.00098589 | 0.00024709 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6022-56_0_3_load_26 | 40 | 0.0016015 | 0.00040138 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6022-56_0_3_load_28 | 41 | 0.00062943 | 0.00015775 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6022-56_0_3_load_70 | 42 | 0.0022512 | 0.0005642 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6022-56_0_3_load_71 | 44 | 0.0018986 | 0.00047584 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6022-56_0_3_load_61 | 45 | 0.0020394 | 0.00051111 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6022-56_0_3_load_62 | 46 | 0.0036514 | 0.00091513 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6022-56_0_3_load_31 | 47 | 0.0021175 | 0.00053069 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6022-56_0_3_load_34 | 50 | 0.0038699 | 0.00096988 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6022-56_0_3_load_43 | 54 | 0.0037128 | 0.00093051 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6022-56_0_3_load_39 | 55 | 0.0036323 | 0.00091033 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6022-56_0_3_load_38 | 56 | 0.0032372 | 0.00081131 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6022-56_0_3_load_40 | 58 | 0.0032595 | 0.0008169 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6022-56_0_3_load_42 | 59 | 0.0029336 | 0.00073523 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6022-56_0_3_load_58 | 60 | 0.0032839 | 0.00082303 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6022-56_0_3_load_59 | 61 | 0.0034905 | 0.00087479 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6022-56_0_3_load_45 | 63 | 0.0042326 | 0.0010608 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6022-56_0_3_load_50 | 64 | 0.0052589 | 0.001318 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6022-56_0_3_load_54 | 65 | 0.00089894 | 0.0002253 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6022-56_0_3_load_55 | 66 | 0.0012756 | 0.00031969 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6022-56_0_3_load_56 | 67 | 0.0025917 | 0.00064955 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6022-56_0_3_load_57 | 68 | 0.0013898 | 0.00034832 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6022-56_0_3_load_63 | 69 | 0.0029306 | 0.00073448 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6022-56_0_3_load_65 | 71 | 0.0028242 | 0.00070781 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6022-56_0_3_load_73 | 73 | 0.0016286 | 0.00040817 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6022-56_0_3_load_74 | 74 | 0.0030892 | 0.00077422 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6022-56_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6022-56_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0023785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6022-56_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6022-56_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.045727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6022-56_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6022-56_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.025497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6022-56_0_3_line_6 | NAYY 4x150 SE | 4 | 11 | 0.015856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6022-56_0_3_line_7 | NAYY 4x150 SE | 4 | 13 | 0.0088406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6022-56_0_3_line_8 | NAYY 4x150 SE | 5 | 14 | 0.012447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6022-56_0_3_line_9 | NAYY 4x150 SE | 5 | 15 | 0.029845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6022-56_0_3_line_10 | NAYY 4x150 SE | 6 | 16 | 0.032506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6022-56_0_3_line_11 | NAYY 4x150 SE | 7 | 8 | 0.0027071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6022-56_0_3_line_12 | NAYY 4x150 SE | 7 | 9 | 0.0035175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6022-56_0_3_line_13 | NAYY 4x150 SE | 8 | 10 | 0.020837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6022-56_0_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.0045887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6022-56_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.0028924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6022-56_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.035583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6022-56_0_3_line_17 | NAYY 4x150 SE | 16 | 35 | 0.051829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6022-56_0_3_line_18 | NAYY 4x150 SE | 16 | 51 | 0.00631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6022-56_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.013291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6022-56_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.016874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6022-56_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.0083156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6022-56_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.030024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6022-56_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.014916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6022-56_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.006993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6022-56_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.030237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6022-56_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.044399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6022-56_0_3_line_27 | NAYY 4x150 SE | 25 | 64 | 0.0028985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6022-56_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.010257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6022-56_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.020517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6022-56_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.012961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6022-56_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.037011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6022-56_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.004405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6022-56_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.0082332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6022-56_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.004982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6022-56_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.018015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6022-56_0_3_line_36 | NAYY 4x150 SE | 31 | 35 | 0.032557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6022-56_0_3_line_37 | NAYY 4x150 SE | 31 | 36 | 0.043655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6022-56_0_3_line_38 | NAYY 4x150 SE | 33 | 37 | 0.0087125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6022-56_0_3_line_39 | NAYY 4x150 SE | 34 | 38 | 0.00092581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6022-56_0_3_line_40 | NAYY 4x150 SE | 36 | 39 | 0.014688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6022-56_0_3_line_41 | NAYY 4x150 SE | 37 | 40 | 0.064107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6022-56_0_3_line_42 | NAYY 4x150 SE | 39 | 65 | 0.011383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6022-56_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0019269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6022-56_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.051964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6022-56_0_3_line_45 | NAYY 4x150 SE | 41 | 43 | 0.04657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6022-56_0_3_line_46 | NAYY 4x150 SE | 42 | 44 | 0.076049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6022-56_0_3_line_47 | NAYY 4x150 SE | 43 | 45 | 0.061269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6022-56_0_3_line_48 | NAYY 4x150 SE | 43 | 46 | 0.043413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6022-56_0_3_line_49 | NAYY 4x150 SE | 44 | 72 | 0.025514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6022-56_0_3_line_50 | NAYY 4x150 SE | 46 | 69 | 0.019537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6022-56_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.014144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6022-56_0_3_line_52 | NAYY 4x150 SE | 47 | 49 | 0.011821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6022-56_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.025186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6022-56_0_3_line_54 | NAYY 4x150 SE | 48 | 51 | 0.029824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6022-56_0_3_line_55 | NAYY 4x150 SE | 49 | 52 | 0.02412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6022-56_0_3_line_56 | NAYY 4x150 SE | 49 | 53 | 0.045625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6022-56_0_3_line_57 | NAYY 4x150 SE | 51 | 54 | 0.033236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6022-56_0_3_line_58 | NAYY 4x150 SE | 52 | 55 | 0.025897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6022-56_0_3_line_59 | NAYY 4x150 SE | 52 | 56 | 0.0077656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6022-56_0_3_line_60 | NAYY 4x150 SE | 53 | 57 | 0.050722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6022-56_0_3_line_61 | NAYY 4x150 SE | 53 | 58 | 0.025643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6022-56_0_3_line_62 | NAYY 4x150 SE | 54 | 59 | 0.039062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6022-56_0_3_line_63 | NAYY 4x150 SE | 57 | 60 | 0.085397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6022-56_0_3_line_64 | NAYY 4x150 SE | 59 | 62 | 0.01388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6022-56_0_3_line_65 | NAYY 4x150 SE | 60 | 61 | 0.026311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6022-56_0_3_line_66 | NAYY 4x150 SE | 62 | 63 | 0.016108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6022-56_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.00092084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6022-56_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.047068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6022-56_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.011264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6022-56_0_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.033591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6022-56_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.009089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6022-56_0_3_line_72 | NAYY 4x150 SE | 72 | 73 | 0.019591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6022-56_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.015112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6022-56_0_3_trafo_47 | 0.25 MVA 20/0.4 kV | 75 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2581818.5382 | 1117702.8678 | 2581813.1217 | 1117687.7505
1 | 2581812.3194 | 1117685.5113 | 2581813.1217 | 1117687.7505
2 | 2581831.979 | 1117714.5442 | 2581828.9889 | 1117713.4416 | 2581825.7206 | 1117712.1952 | 2581822.5278 | 1117710.3929 | 2581820.3969 | 1117707.5757 | 2581818.5382 | 1117702.8678
3 | 2581812.3194 | 1117685.5113 | 2581779.5849 | 1117653.5833
4 | 2581831.979 | 1117714.5442 | 2581842.6133 | 1117693.8575
5 | 2581831.979 | 1117714.5442 | 2581824.9252 | 1117739.046
6 | 2581779.5849 | 1117653.5833 | 2581781.5657 | 1117650.1311 | 2581786.9559 | 1117646.1129 | 2581790.8025 | 1117642.6837
7 | 2581779.5849 | 1117653.5833 | 2581777.2527 | 1117653.0901 | 2581771.068 | 1117654.9445
8 | 2581842.6133 | 1117693.8575 | 2581852.8375 | 1117700.9969
9 | 2581842.6133 | 1117693.8575 | 2581845.5289 | 1117688.1904 | 2581858.5709 | 1117668.6751
10 | 2581808.4126 | 1117766.7633 | 2581823.2568 | 1117744.841 | 2581824.9252 | 1117739.046
11 | 2581813.533 | 1117627.3081 | 2581810.9578 | 1117628.1426
12 | 2581816.8792 | 1117626.2238 | 2581813.533 | 1117627.3081
13 | 2581810.9578 | 1117628.1426 | 2581810.9578 | 1117628.1426 | 2581800.6828 | 1117632.3535 | 2581794.7761 | 1117639.1414 | 2581794.2277 | 1117639.6302
14 | 2581794.2277 | 1117639.6302 | 2581790.8025 | 1117642.6837
15 | 2581768.425 | 1117656.0849 | 2581768.425 | 1117656.0849 | 2581769.9121 | 1117655.2911 | 2581771.068 | 1117654.9445
16 | 2581874.2218 | 1117638.9797 | 2581872.1007 | 1117639.4307 | 2581869.8588 | 1117640.7381 | 2581867.835 | 1117642.723 | 2581866.3763 | 1117645.2731 | 2581865.4223 | 1117651.379 | 2581863.6266 | 1117659.9219 | 2581861.8093 | 1117663.8293 | 2581858.5709 | 1117668.6751
17 | 2581808.4126 | 1117766.7633 | 2581836.132 | 1117801.9305 | 2581839.8719 | 1117807.9073
18 | 2581808.4126 | 1117766.7633 | 2581804.6618 | 1117771.8438
19 | 2581874.2218 | 1117638.9797 | 2581874.8991 | 1117635.8205 | 2581878.2051 | 1117629.0406 | 2581880.0399 | 1117627.3173
20 | 2581874.2218 | 1117638.9797 | 2581880.2273 | 1117639.373 | 2581884.3851 | 1117641.2503 | 2581889.1566 | 1117645.3549
21 | 2581886.1012 | 1117621.6243 | 2581880.0399 | 1117627.3173
22 | 2581912.1388 | 1117664.6674 | 2581906.7933 | 1117660.4814 | 2581889.7938 | 1117645.903 | 2581889.1566 | 1117645.3549
23 | 2581912.1388 | 1117664.6674 | 2581917.0553 | 1117650.5847
24 | 2581917.6545 | 1117668.9864 | 2581912.1388 | 1117664.6674
25 | 2581917.6545 | 1117668.9864 | 2581912.9019 | 1117677.1824 | 2581911.7122 | 1117687.0909 | 2581915.5781 | 1117697.1621
26 | 2581915.5781 | 1117697.1621 | 2581953.3971 | 1117720.4205
27 | 2581952.9557 | 1117723.2852 | 2581953.3971 | 1117720.4205
28 | 2581875.4985 | 1117860.3007 | 2581870.3832 | 1117856.0986 | 2581867.5551 | 1117853.8124
29 | 2581851.5996 | 1117840.9143 | 2581867.5551 | 1117853.8124
30 | 2581875.4985 | 1117860.3007 | 2581885.5135 | 1117868.5278
31 | 2581841.4488 | 1117876.0178 | 2581843.8766 | 1117857.0233 | 2581851.5996 | 1117840.9143
32 | 2581853.5015 | 1117836.9399 | 2581851.5996 | 1117840.9143
33 | 2581891.8753 | 1117873.7539 | 2581885.5135 | 1117868.5278
34 | 2581841.4488 | 1117876.0178 | 2581844.7015 | 1117879.7987
35 | 2581841.4488 | 1117876.0178 | 2581837.5047 | 1117875.8295 | 2581828.0743 | 1117870.8221 | 2581825.4982 | 1117868.6195
36 | 2581853.5015 | 1117836.9399 | 2581852.8464 | 1117832.1062 | 2581851.316 | 1117826.1967 | 2581839.8719 | 1117807.9073
37 | 2581853.5015 | 1117836.9399 | 2581857.8461 | 1117836.8268 | 2581876.6063 | 1117823.675 | 2581887.6356 | 1117818.8839 | 2581891.4663 | 1117820.9936
38 | 2581844.7015 | 1117879.7987 | 2581850.3865 | 1117886.401
39 | 2581824.7946 | 1117868.0178 | 2581825.4982 | 1117868.6195
40 | 2581901.4718 | 1117831.6803 | 2581898.2576 | 1117827.4785 | 2581891.6708 | 1117821.1062 | 2581891.4663 | 1117820.9936
41 | 2581850.3865 | 1117886.401 | 2581877.5922 | 1117917.9964 | 2581878.4468 | 1117925.0084 | 2581873.4943 | 1117930.804 | 2581866.3151 | 1117933.6575
42 | 2581901.4718 | 1117831.6803 | 2581908.3878 | 1117840.7211
43 | 2581864.5244 | 1117934.3692 | 2581866.3151 | 1117933.6575
44 | 2581866.3151 | 1117933.6575 | 2581917.0522 | 1117922.4347
45 | 2581819.9018 | 1117932.2994 | 2581835.8421 | 1117938.7546 | 2581855.7116 | 1117937.8721 | 2581864.5244 | 1117934.3692
46 | 2581917.0522 | 1117922.4347 | 2581926.1083 | 1117927.2998 | 2581946.0864 | 1117936.8892 | 2581952.3065 | 1117944.5966 | 2581956.0112 | 1117955.0129 | 2581958.7658 | 1117967.7443 | 2581961.4284 | 1117976.9917
47 | 2581819.9018 | 1117932.2994 | 2581823.1151 | 1117940.9273 | 2581833.0136 | 1117947.6564 | 2581840.6019 | 1117958.6389 | 2581846.2484 | 1117970.5945 | 2581849.2594 | 1117983.8142
48 | 2581819.9018 | 1117932.2994 | 2581810.5601 | 1117928.5146 | 2581801.0158 | 1117921.5288 | 2581788.9952 | 1117917.4409 | 2581781.0314 | 1117921.2075
49 | 2581979.9171 | 1117959.4102 | 2581961.4284 | 1117976.9917
50 | 2581781.0314 | 1117921.2075 | 2581767.9184 | 1117927.4095 | 2581764.0387 | 1117930.6126
51 | 2581785.7542 | 1117794.9457 | 2581777.0492 | 1117806.0932
52 | 2581768.1302 | 1117813.7638 | 2581775.5909 | 1117807.9606 | 2581777.0492 | 1117806.0932
53 | 2581785.7542 | 1117794.9457 | 2581783.7111 | 1117793.0954 | 2581774.03 | 1117797.0821 | 2581762.0557 | 1117798.1856
54 | 2581804.6618 | 1117771.8438 | 2581788.2065 | 1117791.7922 | 2581785.7542 | 1117794.9457
55 | 2581768.1302 | 1117813.7638 | 2581768.1339 | 1117814.9755 | 2581766.0035 | 1117817.4165 | 2581756.7162 | 1117823.9923 | 2581749.0938 | 1117827.3614
56 | 2581725.5054 | 1117800.6864 | 2581735.758 | 1117807.014 | 2581741.7151 | 1117809.2748 | 2581753.172 | 1117813.1976 | 2581763.4027 | 1117814.8453 | 2581768.1302 | 1117813.7638
57 | 2581804.6618 | 1117771.8438 | 2581802.1263 | 1117770.473 | 2581773.5262 | 1117760.3056
58 | 2581749.0938 | 1117827.3614 | 2581735.3558 | 1117827.0918 | 2581723.1492 | 1117827.8958
59 | 2581749.0938 | 1117827.3614 | 2581751.0335 | 1117834.8809
60 | 2581682.6911 | 1117773.5584 | 2581691.0993 | 1117777.3347 | 2581708.2281 | 1117788.6884 | 2581717.8662 | 1117795.9627 | 2581725.5054 | 1117800.6864
61 | 2581725.5054 | 1117800.6864 | 2581726.3881 | 1117799.094 | 2581721.6038 | 1117781.4553 | 2581723.7442 | 1117776.3387
62 | 2581736.7472 | 1117747.1471 | 2581757.973 | 1117754.7764 | 2581773.5262 | 1117760.3056
63 | 2581682.6911 | 1117773.5584 | 2581606.8891 | 1117734.2312
64 | 2581723.685 | 1117742.452 | 2581736.7472 | 1117747.1471
65 | 2581606.8891 | 1117734.2312 | 2581616.4187 | 1117709.7063
66 | 2581708.7483 | 1117736.3164 | 2581723.685 | 1117742.452
67 | 2581908.9473 | 1117841.4525 | 2581908.3878 | 1117840.7211
68 | 2581908.9473 | 1117841.4525 | 2581909.9491 | 1117842.7621 | 2581920.4421 | 1117859.839 | 2581930.6185 | 1117869.1798 | 2581934.804 | 1117870.0677 | 2581937.4843 | 1117868.2699 | 2581938.0665 | 1117864.2551
69 | 2581935.0473 | 1117853.4032 | 2581938.0665 | 1117864.2551
70 | 2581734.0427 | 1117943.8313 | 2581753.877 | 1117939.0022 | 2581764.0387 | 1117930.6126
71 | 2581734.0427 | 1117943.8313 | 2581729.6506 | 1117935.874
72 | 2581979.9171 | 1117959.4102 | 2581995.9566 | 1117970.7234
73 | 2581979.0308 | 1117944.3276 | 2581979.9171 | 1117959.4102

## bus_geodata
| x | y | coords
0 | 2581813.1217 | 1117687.7505
1 | 2581818.5382 | 1117702.8678
2 | 2581812.3194 | 1117685.5113
3 | 2581831.979 | 1117714.5442
4 | 2581779.5849 | 1117653.5833
5 | 2581842.6133 | 1117693.8575
6 | 2581824.9252 | 1117739.046
7 | 2581813.533 | 1117627.3081
8 | 2581810.9578 | 1117628.1426
9 | 2581816.8792 | 1117626.2238
10 | 2581794.2277 | 1117639.6302
11 | 2581790.8025 | 1117642.6837
12 | 2581768.425 | 1117656.0849
13 | 2581771.068 | 1117654.9445
14 | 2581852.8375 | 1117700.9969
15 | 2581858.5709 | 1117668.6751
16 | 2581808.4126 | 1117766.7633
17 | 2581874.2218 | 1117638.9797
18 | 2581880.0399 | 1117627.3173
19 | 2581889.1566 | 1117645.3549
20 | 2581886.1012 | 1117621.6243
21 | 2581912.1388 | 1117664.6674
22 | 2581917.0553 | 1117650.5847
23 | 2581917.6545 | 1117668.9864
24 | 2581915.5781 | 1117697.1621
25 | 2581953.3971 | 1117720.4205
26 | 2581867.5551 | 1117853.8124
27 | 2581875.4985 | 1117860.3007
28 | 2581851.5996 | 1117840.9143
29 | 2581885.5135 | 1117868.5278
30 | 2581841.4488 | 1117876.0178
31 | 2581853.5015 | 1117836.9399
32 | 2581891.8753 | 1117873.7539
33 | 2581844.7015 | 1117879.7987
34 | 2581825.4982 | 1117868.6195
35 | 2581839.8719 | 1117807.9073
36 | 2581891.4663 | 1117820.9936
37 | 2581850.3865 | 1117886.401
38 | 2581824.7946 | 1117868.0178
39 | 2581901.4718 | 1117831.6803
40 | 2581866.3151 | 1117933.6575
41 | 2581864.5244 | 1117934.3692
42 | 2581917.0522 | 1117922.4347
43 | 2581819.9018 | 1117932.2994
44 | 2581961.4284 | 1117976.9917
45 | 2581849.2594 | 1117983.8142
46 | 2581781.0314 | 1117921.2075
47 | 2581777.0492 | 1117806.0932
48 | 2581785.7542 | 1117794.9457
49 | 2581768.1302 | 1117813.7638
50 | 2581762.0557 | 1117798.1856
51 | 2581804.6618 | 1117771.8438
52 | 2581749.0938 | 1117827.3614
53 | 2581725.5054 | 1117800.6864
54 | 2581773.5262 | 1117760.3056
55 | 2581723.1492 | 1117827.8958
56 | 2581751.0335 | 1117834.8809
57 | 2581682.6911 | 1117773.5584
58 | 2581723.7442 | 1117776.3387
59 | 2581736.7472 | 1117747.1471
60 | 2581606.8891 | 1117734.2312
61 | 2581616.4187 | 1117709.7063
62 | 2581723.685 | 1117742.452
63 | 2581708.7483 | 1117736.3164
64 | 2581952.9557 | 1117723.2852
65 | 2581908.3878 | 1117840.7211
66 | 2581908.9473 | 1117841.4525
67 | 2581938.0665 | 1117864.2551
68 | 2581935.0473 | 1117853.4032
69 | 2581764.0387 | 1117930.6126
70 | 2581734.0427 | 1117943.8313
71 | 2581729.6506 | 1117935.874
72 | 2581979.9171 | 1117959.4102
73 | 2581995.9566 | 1117970.7234
74 | 2581979.0308 | 1117944.3276
75 | 2581804.6618 | 1117771.8438

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1