## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6033-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6033-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6033-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6033-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6033-1_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6033-1_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6033-1_0_4_node_71 | 0.4 | n |  | TRUE
7 | bus_LV_6033-1_0_4_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_6033-1_0_4_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_6033-1_0_4_node_51 | 0.4 | n |  | TRUE
10 | bus_LV_6033-1_0_4_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_6033-1_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6033-1_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6033-1_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6033-1_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6033-1_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6033-1_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_6033-1_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_6033-1_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_6033-1_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_6033-1_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6033-1_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_6033-1_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_6033-1_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6033-1_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_6033-1_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6033-1_0_4_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_6033-1_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6033-1_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6033-1_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6033-1_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_6033-1_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_6033-1_0_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_6033-1_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_6033-1_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_6033-1_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6033-1_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_6033-1_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_6033-1_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6033-1_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6033-1_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6033-1_0_4_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_6033-1_0_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_6033-1_0_4_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_6033-1_0_4_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_6033-1_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6033-1_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6033-1_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6033-1_0_4_node_78 | 0.4 | n |  | TRUE
49 | bus_LV_6033-1_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_6033-1_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_6033-1_0_4_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6033-1_0_4_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_6033-1_0_4_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_6033-1_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_6033-1_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_6033-1_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_6033-1_0_4_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_6033-1_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6033-1_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6033-1_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_6033-1_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_6033-1_0_4_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_6033-1_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_6033-1_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6033-1_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_6033-1_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_6033-1_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_6033-1_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_6033-1_0_4_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_6033-1_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_6033-1_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_6033-1_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_6033-1_0_4_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_6033-1_0_4_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_6033-1_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_6033-1_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_MV_196_0_node_166 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6033-1_0_4_load_0 | 0 | 0.0027251 | 0.00068298 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6033-1_0_4_load_1 | 1 | 0.0016909 | 0.00042378 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6033-1_0_4_load_5 | 4 | 0.0031834 | 0.00079783 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6033-1_0_4_load_71 | 6 | 0.0021681 | 0.00054339 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6033-1_0_4_load_72 | 7 | 0.0018232 | 0.00045695 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6033-1_0_4_load_73 | 8 | 0.0015331 | 0.00038424 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6033-1_0_4_load_51 | 9 | 0.0022632 | 0.00056722 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6033-1_0_4_load_55 | 10 | 0.0022009 | 0.00055159 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6033-1_0_4_load_6 | 11 | 0.0073328 | 0.0018378 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6033-1_0_4_load_7 | 12 | 0.0051099 | 0.0012807 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6033-1_0_4_load_9 | 14 | 0.003027 | 0.00075865 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6033-1_0_4_load_21 | 18 | 0.0042436 | 0.0010636 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6033-1_0_4_load_15 | 20 | 0.0038526 | 0.00096556 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6033-1_0_4_load_11 | 22 | 0.0039723 | 0.00099556 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6033-1_0_4_load_13 | 24 | 0.012083 | 0.0030284 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6033-1_0_4_load_74 | 26 | 0.007229 | 0.0018118 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6033-1_0_4_load_24 | 28 | 0.0052285 | 0.0013104 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6033-1_0_4_load_17 | 29 | 0.0023161 | 0.00058048 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6033-1_0_4_load_18 | 30 | 0.0041 | 0.0010276 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6033-1_0_4_load_20 | 31 | 0.0063566 | 0.0015931 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6033-1_0_4_load_75 | 32 | 0.005885 | 0.0014749 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6033-1_0_4_load_28 | 34 | 0.0026136 | 0.00065503 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6033-1_0_4_load_25 | 35 | 0.0036466 | 0.00091392 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6033-1_0_4_load_27 | 36 | 0.0039946 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6033-1_0_4_load_29 | 37 | 0.0031412 | 0.00078727 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6033-1_0_4_load_37 | 40 | 0.0065779 | 0.0016486 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6033-1_0_4_load_69 | 41 | 0.004814 | 0.0012065 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6033-1_0_4_load_68 | 42 | 0.0037011 | 0.00092758 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6033-1_0_4_load_44 | 43 | 0.0078907 | 0.0019776 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6033-1_0_4_load_42 | 44 | 0.0063579 | 0.0015934 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6033-1_0_4_load_33 | 45 | 0.0046535 | 0.0011663 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6033-1_0_4_load_78 | 48 | 0.005578 | 0.001398 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6033-1_0_4_load_38 | 51 | 0.0054307 | 0.0013611 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6033-1_0_4_load_70 | 52 | 0.0085446 | 0.0021415 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6033-1_0_4_load_67 | 53 | 0.0044531 | 0.001116 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6033-1_0_4_load_54 | 54 | 0.0050441 | 0.0012642 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6033-1_0_4_load_52 | 55 | 0.0017247 | 0.00043225 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6033-1_0_4_load_41 | 57 | 0.0065681 | 0.0016461 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6033-1_0_4_load_46 | 60 | 0.006053 | 0.001517 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6033-1_0_4_load_77 | 61 | 0.0053146 | 0.001332 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6033-1_0_4_load_61 | 62 | 0.002648 | 0.00066364 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6033-1_0_4_load_60 | 63 | 0.004801 | 0.0012032 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6033-1_0_4_load_47 | 64 | 0.00090995 | 0.00022806 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6033-1_0_4_load_48 | 65 | 0.0013137 | 0.00032924 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6033-1_0_4_load_49 | 66 | 0.001246 | 0.00031227 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6033-1_0_4_load_50 | 67 | 0.0023276 | 0.00058334 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6033-1_0_4_load_57 | 68 | 0.0062519 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6033-1_0_4_load_56 | 70 | 0.0024049 | 0.00060271 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6033-1_0_4_load_62 | 71 | 0.0060396 | 0.0015137 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6033-1_0_4_load_59 | 72 | 0.0038115 | 0.00095524 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6033-1_0_4_load_63 | 73 | 0.0098734 | 0.0024745 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6033-1_0_4_load_64 | 74 | 0.0082109 | 0.0020578 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6033-1_0_4_load_65 | 75 | 0.004205 | 0.0010539 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6033-1_0_4_load_66 | 76 | 0.0027016 | 0.00067709 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6033-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.072448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_6033-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.053107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6033-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.049877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6033-1_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.20635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6033-1_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.070037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6033-1_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.019846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6033-1_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.034081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6033-1_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.096462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6033-1_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.031238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6033-1_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.032518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6033-1_0_4_line_10 | NAYY 4x150 SE | 9 | 66 | 0.042472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6033-1_0_4_line_11 | NAYY 4x150 SE | 10 | 56 | 0.045608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6033-1_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0048249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6033-1_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.014146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6033-1_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.02211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6033-1_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.019216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6033-1_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.025732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6033-1_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.052499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6033-1_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.064289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6033-1_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.14647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6033-1_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.05195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6033-1_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.0045562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6033-1_0_4_line_22 | NAYY 4x150 SE | 19 | 32 | 0.020666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6033-1_0_4_line_23 | NAYY 4x150 SE | 19 | 33 | 0.20626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_6033-1_0_4_line_24 | NAYY 4x150 SE | 19 | 27 | 0.050985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6033-1_0_4_line_25 | NAYY 4x150 SE | 20 | 29 | 0.013848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6033-1_0_4_line_26 | NAYY 4x150 SE | 21 | 30 | 0.0078808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6033-1_0_4_line_27 | NAYY 4x150 SE | 22 | 23 | 0.051737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6033-1_0_4_line_28 | NAYY 4x150 SE | 22 | 24 | 0.032449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6033-1_0_4_line_29 | NAYY 4x150 SE | 23 | 25 | 0.10916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6033-1_0_4_line_30 | NAYY 4x150 SE | 25 | 26 | 0.024126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6033-1_0_4_line_31 | NAYY 4x150 SE | 25 | 27 | 0.027455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6033-1_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.021892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6033-1_0_4_line_33 | NAYY 4x150 SE | 28 | 35 | 0.02363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6033-1_0_4_line_34 | NAYY 4x150 SE | 30 | 31 | 0.0077559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6033-1_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.013107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_6033-1_0_4_line_36 | NAYY 4x150 SE | 34 | 37 | 0.0097842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_6033-1_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.052047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6033-1_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.03736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6033-1_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.003252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_6033-1_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.027114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6033-1_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.005519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6033-1_0_4_line_42 | NAYY 4x150 SE | 39 | 42 | 0.0076734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_6033-1_0_4_line_43 | NAYY 4x150 SE | 41 | 52 | 0.0066498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6033-1_0_4_line_44 | NAYY 4x150 SE | 42 | 53 | 0.0077549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_6033-1_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 6.5132e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6033-1_0_4_line_46 | NAYY 4x150 SE | 44 | 57 | 0.019922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6033-1_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.022565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6033-1_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.050344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6033-1_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.017782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6033-1_0_4_line_50 | NAYY 4x150 SE | 47 | 49 | 0.002417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6033-1_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.067027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6033-1_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.022271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6033-1_0_4_line_53 | NAYY 4x150 SE | 50 | 54 | 0.02718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6033-1_0_4_line_54 | NAYY 4x150 SE | 50 | 55 | 0.0067243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6033-1_0_4_line_55 | NAYY 4x150 SE | 52 | 59 | 0.013052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6033-1_0_4_line_56 | NAYY 4x150 SE | 53 | 76 | 0.0016595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_6033-1_0_4_line_57 | NAYY 4x150 SE | 55 | 56 | 0.051239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6033-1_0_4_line_58 | NAYY 4x150 SE | 56 | 70 | 0.023359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6033-1_0_4_line_59 | NAYY 4x150 SE | 57 | 58 | 0.018814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6033-1_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.004098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6033-1_0_4_line_61 | NAYY 4x150 SE | 58 | 60 | 0.012611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6033-1_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.033829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6033-1_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.016609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6033-1_0_4_line_64 | NAYY 4x150 SE | 63 | 72 | 0.011554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6033-1_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.003651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_6033-1_0_4_line_66 | NAYY 4x150 SE | 64 | 66 | 0.0043415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_6033-1_0_4_line_67 | NAYY 4x150 SE | 65 | 67 | 0.015153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_6033-1_0_4_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0052389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_6033-1_0_4_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0063578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_6033-1_0_4_line_70 | NAYY 4x150 SE | 69 | 71 | 0.011765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
71 | LV_6033-1_0_4_line_71 | NAYY 4x150 SE | 69 | 72 | 0.0088817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6033-1_0_4_line_72 | NAYY 4x150 SE | 71 | 73 | 0.017367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_6033-1_0_4_line_73 | NAYY 4x150 SE | 73 | 74 | 0.00078082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_6033-1_0_4_line_74 | NAYY 4x150 SE | 74 | 75 | 0.011331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
75 | LV_6033-1_0_4_line_75 | NAYY 4x150 SE | 75 | 76 | 0.004297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6033-1_0_4_trafo_30 | 0.25 MVA 20/0.4 kV | 77 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2580657.6364 | 1092885.6453 | 2580656.6539 | 1092887.2738 | 2580615.4774 | 1092944.5564
1 | 2580675.6763 | 1092838.0545 | 2580677.1894 | 1092853.2352 | 2580657.6364 | 1092885.6453
2 | 2580586.4025 | 1092985.0822 | 2580600.6592 | 1092965.1708 | 2580615.4774 | 1092944.5564
3 | 2580615.4774 | 1092944.5564 | 2580457.4163 | 1092811.9081
4 | 2580675.6763 | 1092838.0545 | 2580686.7985 | 1092828.9365 | 2580690.8 | 1092839.5292 | 2580683.8613 | 1092850.7349 | 2580678.5714 | 1092866.1819 | 2580677.7119 | 1092880.9812
5 | 2580586.4025 | 1092985.0822 | 2580589.105 | 1092986.8745 | 2580592.015 | 1092988.1436 | 2580596.707 | 1092989.3292 | 2580604.7453 | 1092992.4939
6 | 2580586.4025 | 1092985.0822 | 2580566.5643 | 1093012.7947
7 | 2580677.7119 | 1092880.9812 | 2580677.4988 | 1092884.617 | 2580677.3177 | 1092900.7148 | 2580669.5491 | 1092926.186 | 2580659.4335 | 1092947.1513 | 2580647.7068 | 1092968.2774 | 2580646.3197 | 1092970.5361
8 | 2580566.5643 | 1093012.7947 | 2580548.3809 | 1093038.1954
9 | 2580646.3197 | 1092970.5361 | 2580629.3035 | 1092998.2467
10 | 2580548.3809 | 1093038.1954 | 2580530.0172 | 1093063.8482 | 2580526.4247 | 1093074.1641
11 | 2580605.8265 | 1093037.2912 | 2580607.4261 | 1093033.4619 | 2580621.9201 | 1093010.2703 | 2580629.3035 | 1092998.2467
12 | 2580473.4204 | 1093503.9986 | 2580473.6864 | 1093504.9449 | 2580474.705 | 1093508.6493
13 | 2580476.3081 | 1093522.5899 | 2580476.5339 | 1093518.1314 | 2580475.8975 | 1093512.9863 | 2580474.705 | 1093508.6493
14 | 2580466.1902 | 1093483.1331 | 2580470.9508 | 1093495.2154 | 2580473.4204 | 1093503.9986
15 | 2580476.3081 | 1093522.5899 | 2580476.0605 | 1093527.5044 | 2580477.9268 | 1093534.3574 | 2580483.4354 | 1093538.9976
16 | 2580454.0863 | 1093460.4853 | 2580463.982 | 1093477.5288 | 2580466.1902 | 1093483.1331
17 | 2580471.1327 | 1093590.019 | 2580471.5194 | 1093587.3942 | 2580483.4354 | 1093538.9976
18 | 2580483.4354 | 1093538.9976 | 2580489.1784 | 1093515.4003 | 2580493.308 | 1093488.84 | 2580493.5303 | 1093475.7189
19 | 2580454.0863 | 1093460.4853 | 2580464.261 | 1093443.9329 | 2580474.3389 | 1093426.1912 | 2580486.9213 | 1093401.727 | 2580484.228 | 1093388.3177 | 2580502.7252 | 1093391.0706 | 2580504.8106 | 1093391.3752 | 2580514.0631 | 1093401.206 | 2580521.699 | 1093409.4968 | 2580528.3486 | 1093419.525 | 2580532.7165 | 1093426.0254
20 | 2580471.1327 | 1093590.019 | 2580473.8916 | 1093590.1435 | 2580475.502 | 1093589.7603 | 2580479.1867 | 1093586.2689 | 2580484.2448 | 1093573.7461 | 2580486.8028 | 1093569.2467 | 2580493.6592 | 1093552.1269 | 2580495.4478 | 1093547.1023
21 | 2580493.6075 | 1093471.1633 | 2580493.5303 | 1093475.7189
22 | 2580532.7165 | 1093426.0254 | 2580530.8457 | 1093427.3877 | 2580528.9859 | 1093429.7727 | 2580527.4408 | 1093433.6129 | 2580527.0326 | 1093436.7714 | 2580526.7359 | 1093440.9078 | 2580527.732 | 1093444.6399
23 | 2580532.7165 | 1093426.0254 | 2580528.3486 | 1093419.525 | 2580521.699 | 1093409.4968 | 2580514.0631 | 1093401.206 | 2580504.8106 | 1093391.3752 | 2580512.8571 | 1093341.8906 | 2580514.47 | 1093320.6189 | 2580514.5023 | 1093316.1943 | 2580512.9939 | 1093288.1292 | 2580512.8074 | 1093259.0815 | 2580514.7653 | 1093241.4551 | 2580516.7824 | 1093237.3798 | 2580517.0614 | 1093232.5654 | 2580517.2116 | 1093231.0975
24 | 2580532.7165 | 1093426.0254 | 2580542.7319 | 1093441.8013 | 2580545.195 | 1093446.3402 | 2580546.9859 | 1093451.4593 | 2580547.7319 | 1093459.3387 | 2580550.7971 | 1093472.8024
25 | 2580499.0161 | 1093533.7225 | 2580495.5252 | 1093546.8849 | 2580495.4478 | 1093547.1023
26 | 2580493.6075 | 1093471.1633 | 2580490.926 | 1093471.0163 | 2580487.9118 | 1093471.0261 | 2580485.8374 | 1093471.6998
27 | 2580574.5844 | 1093540.1718 | 2580574.6014 | 1093543.0398 | 2580577.963 | 1093554.7351 | 2580579.2431 | 1093564.8806 | 2580579.27 | 1093573.2737 | 2580579.1958 | 1093581.556 | 2580577.1446 | 1093589.4333 | 2580576.5845 | 1093590.9939
28 | 2580560.2956 | 1093617.146 | 2580564.2228 | 1093611.9529 | 2580568.2678 | 1093609.661 | 2580571.4852 | 1093607.7942 | 2580572.9252 | 1093602.6091 | 2580574.4643 | 1093596.9013 | 2580576.5845 | 1093590.9939
29 | 2580555.3205 | 1093445.7296 | 2580556.2922 | 1093439.4677 | 2580559.5095 | 1093461.6799 | 2580561.901 | 1093470.4767 | 2580565.188 | 1093480.6269 | 2580570.7145 | 1093498.0626 | 2580573.3255 | 1093522.1443 | 2580574.4909 | 1093535.1584 | 2580574.5844 | 1093540.1718
30 | 2580555.3205 | 1093445.7296 | 2580552.9317 | 1093445.0258 | 2580551.8907 | 1093444.1954 | 2580550.6904 | 1093442.0314 | 2580550.0017 | 1093437.4758 | 2580549.781 | 1093433.8968 | 2580549.9749 | 1093429.1382 | 2580550.9979 | 1093424.3658
31 | 2580555.3205 | 1093445.7296 | 2580552.8915 | 1093461.4566 | 2580550.7971 | 1093472.8024
32 | 2580550.7971 | 1093472.8024 | 2580548.6428 | 1093494.5881
33 | 2580548.6428 | 1093494.5881 | 2580547.0298 | 1093510.9008 | 2580545.8997 | 1093518.0496
34 | 2580481.7509 | 1093477.9828 | 2580482.8341 | 1093475.0778 | 2580484.0204 | 1093472.9062 | 2580485.8374 | 1093471.6998
35 | 2580517.2116 | 1093231.0975 | 2580518.5222 | 1093218.0557
36 | 2580518.5222 | 1093218.0557 | 2580519.5004 | 1093208.3206
37 | 2580533.7308 | 1093517.3357 | 2580536.1001 | 1093526.4439 | 2580537.1092 | 1093531.8211 | 2580538.0054 | 1093535.8092 | 2580538.1748 | 1093540.311 | 2580539.2723 | 1093541.8638 | 2580541.5581 | 1093541.8564 | 2580542.4841 | 1093540.664 | 2580542.7239 | 1093538.1397 | 2580545.8997 | 1093518.0496
38 | 2580517.4296 | 1093171.2438 | 2580520.7406 | 1093195.9792 | 2580519.5004 | 1093208.3206
39 | 2580517.4296 | 1093171.2438 | 2580517.0008 | 1093168.0213
40 | 2580517.4296 | 1093171.2438 | 2580520.5635 | 1093169.8552 | 2580521.0303 | 1093170.4318 | 2580521.8164 | 1093171.5076 | 2580521.9238 | 1093173.5861 | 2580522.7161 | 1093176.5851 | 2580523.5008 | 1093179.6397 | 2580525.85 | 1093182.4224 | 2580527.1014 | 1093183.619 | 2580528.5603 | 1093184.2814 | 2580531.4661 | 1093184.272 | 2580533.9034 | 1093183.1303 | 2580534.3521 | 1093182.5895
41 | 2580517.0008 | 1093168.0213 | 2580514.9708 | 1093168.0945 | 2580512.5154 | 1093168.4026 | 2580511.5086 | 1093168.291
42 | 2580517.0008 | 1093168.0213 | 2580516.588 | 1093164.9655 | 2580516.635 | 1093160.3759
43 | 2580504.9863 | 1093167.0538 | 2580509.1047 | 1093168.0245 | 2580511.5086 | 1093168.291
44 | 2580516.635 | 1093160.3759 | 2580516.7001 | 1093154.0262 | 2580516.9034 | 1093152.6361
45 | 2580479.6098 | 1093205.3231 | 2580479.5906 | 1093205.3854
46 | 2580485.4779 | 1093186.2846 | 2580479.6098 | 1093205.3231
47 | 2580575.0467 | 1093211.0124 | 2580577.4356 | 1093211.7274 | 2580577.9128 | 1093213.1266 | 2580578.4904 | 1093216.86 | 2580578.2159 | 1093227.8887 | 2580577.9558 | 1093231.6627
48 | 2580575.0467 | 1093211.0124 | 2580580.1086 | 1093189.8854 | 2580585.0395 | 1093161.6995
49 | 2580585.0395 | 1093161.6995 | 2580583.7683 | 1093161.5813 | 2580582.005 | 1093162.6653 | 2580578.1779 | 1093167.758 | 2580574.0468 | 1093174.7081
50 | 2580585.4581 | 1093159.3192 | 2580585.0395 | 1093161.6995
51 | 2580585.4581 | 1093159.3192 | 2580585.7548 | 1093157.6062 | 2580586.3734 | 1093108.8903 | 2580588.2636 | 1093094.2212 | 2580588.6301 | 1093092.4969
52 | 2580585.4581 | 1093159.3192 | 2580587.2945 | 1093159.2911 | 2580589.4725 | 1093157.0496 | 2580591.4958 | 1093154.8753 | 2580592.9365 | 1093152.2805 | 2580594.3307 | 1093149.6858 | 2580595.0022 | 1093146.4153 | 2580595.0693 | 1093141.3295
53 | 2580588.6301 | 1093092.4969 | 2580586.8313 | 1093092.2025 | 2580586.1436 | 1093092.805 | 2580584.0111 | 1093099.5709 | 2580583.4221 | 1093104.3864 | 2580581.4998 | 1093116.7358
54 | 2580588.6301 | 1093092.4969 | 2580590.0382 | 1093085.9217
55 | 2580492.2235 | 1093164.3881 | 2580497.9625 | 1093165.8704 | 2580504.2657 | 1093166.8839 | 2580504.9863 | 1093167.0538
56 | 2580517.1436 | 1093150.9941 | 2580516.9034 | 1093152.6361
57 | 2580605.8265 | 1093037.2912 | 2580598.4286 | 1093055.0018 | 2580590.9434 | 1093081.6951 | 2580590.0382 | 1093085.9217
58 | 2580605.8265 | 1093037.2912 | 2580604.6015 | 1093037.0951 | 2580602.6205 | 1093037.9463 | 2580593.1362 | 1093050.2274 | 2580591.4375 | 1093052.145 | 2580591.0172 | 1093053.9806
59 | 2580491.0195 | 1093168.3051 | 2580485.4779 | 1093186.2846
60 | 2580492.2235 | 1093164.3881 | 2580491.0195 | 1093168.3051
61 | 2580487.8406 | 1093158.1101 | 2580487.2537 | 1093163.537 | 2580487.3053 | 1093165.1265 | 2580487.5649 | 1093166.3263 | 2580487.8313 | 1093167.237 | 2580489.2982 | 1093167.966 | 2580491.0195 | 1093168.3051
62 | 2580487.8406 | 1093158.1101 | 2580454.7225 | 1093151.2134
63 | 2580508.215 | 1093126.2489 | 2580501.5307 | 1093141.4536
64 | 2580512.0777 | 1093115.3618 | 2580508.5569 | 1093125.4711 | 2580508.215 | 1093126.2489
65 | 2580524.9969 | 1093078.2641 | 2580523.7962 | 1093081.712
66 | 2580524.9969 | 1093078.2641 | 2580526.4247 | 1093074.1641
67 | 2580518.8126 | 1093096.0226 | 2580523.7962 | 1093081.712
68 | 2580518.8126 | 1093096.0226 | 2580517.0897 | 1093100.97
69 | 2580514.9988 | 1093106.9742 | 2580517.0897 | 1093100.97
70 | 2580514.9988 | 1093106.9742 | 2580520.4227 | 1093117.4139
71 | 2580514.9988 | 1093106.9742 | 2580512.0777 | 1093115.3618
72 | 2580519.0596 | 1093134.7054 | 2580520.4881 | 1093117.5397 | 2580520.4227 | 1093117.4139
73 | 2580518.9948 | 1093135.4835 | 2580519.0596 | 1093134.7054
74 | 2580518.9948 | 1093135.4835 | 2580518.4439 | 1093142.1033 | 2580517.7654 | 1093146.7423
75 | 2580517.1436 | 1093150.9941 | 2580517.7654 | 1093146.7423

## bus_geodata
| x | y | coords
0 | 2580657.6364 | 1092885.6453
1 | 2580615.4774 | 1092944.5564
2 | 2580675.6763 | 1092838.0545
3 | 2580586.4025 | 1092985.0822
4 | 2580457.4163 | 1092811.9081
5 | 2580677.7119 | 1092880.9812
6 | 2580604.7453 | 1092992.4939
7 | 2580566.5643 | 1093012.7947
8 | 2580646.3197 | 1092970.5361
9 | 2580548.3809 | 1093038.1954
10 | 2580629.3035 | 1092998.2467
11 | 2580474.705 | 1093508.6493
12 | 2580473.4204 | 1093503.9986
13 | 2580476.3081 | 1093522.5899
14 | 2580466.1902 | 1093483.1331
15 | 2580483.4354 | 1093538.9976
16 | 2580454.0863 | 1093460.4853
17 | 2580471.1327 | 1093590.019
18 | 2580493.5303 | 1093475.7189
19 | 2580532.7165 | 1093426.0254
20 | 2580495.4478 | 1093547.1023
21 | 2580493.6075 | 1093471.1633
22 | 2580576.5845 | 1093590.9939
23 | 2580574.5844 | 1093540.1718
24 | 2580560.2956 | 1093617.146
25 | 2580555.3205 | 1093445.7296
26 | 2580550.9979 | 1093424.3658
27 | 2580550.7971 | 1093472.8024
28 | 2580548.6428 | 1093494.5881
29 | 2580499.0161 | 1093533.7225
30 | 2580485.8374 | 1093471.6998
31 | 2580481.7509 | 1093477.9828
32 | 2580527.732 | 1093444.6399
33 | 2580517.2116 | 1093231.0975
34 | 2580518.5222 | 1093218.0557
35 | 2580545.8997 | 1093518.0496
36 | 2580533.7308 | 1093517.3357
37 | 2580519.5004 | 1093208.3206
38 | 2580517.4296 | 1093171.2438
39 | 2580517.0008 | 1093168.0213
40 | 2580534.3521 | 1093182.5895
41 | 2580511.5086 | 1093168.291
42 | 2580516.635 | 1093160.3759
43 | 2580479.5906 | 1093205.3854
44 | 2580479.6098 | 1093205.3231
45 | 2580577.9558 | 1093231.6627
46 | 2580575.0467 | 1093211.0124
47 | 2580585.0395 | 1093161.6995
48 | 2580574.0468 | 1093174.7081
49 | 2580585.4581 | 1093159.3192
50 | 2580588.6301 | 1093092.4969
51 | 2580595.0693 | 1093141.3295
52 | 2580504.9863 | 1093167.0538
53 | 2580516.9034 | 1093152.6361
54 | 2580581.4998 | 1093116.7358
55 | 2580590.0382 | 1093085.9217
56 | 2580605.8265 | 1093037.2912
57 | 2580485.4779 | 1093186.2846
58 | 2580491.0195 | 1093168.3051
59 | 2580492.2235 | 1093164.3881
60 | 2580487.8406 | 1093158.1101
61 | 2580454.7225 | 1093151.2134
62 | 2580501.5307 | 1093141.4536
63 | 2580508.215 | 1093126.2489
64 | 2580524.9969 | 1093078.2641
65 | 2580523.7962 | 1093081.712
66 | 2580526.4247 | 1093074.1641
67 | 2580518.8126 | 1093096.0226
68 | 2580517.0897 | 1093100.97
69 | 2580514.9988 | 1093106.9742
70 | 2580591.0172 | 1093053.9806
71 | 2580520.4227 | 1093117.4139
72 | 2580512.0777 | 1093115.3618
73 | 2580519.0596 | 1093134.7054
74 | 2580518.9948 | 1093135.4835
75 | 2580517.7654 | 1093146.7423
76 | 2580517.1436 | 1093150.9941
77 | 2580516.7824 | 1093237.3798

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1