## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6033-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6033-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6033-2_0_4_node_83 | 0.4 | n |  | TRUE
3 | bus_LV_6033-2_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6033-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6033-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6033-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6033-2_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_6033-2_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6033-2_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6033-2_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6033-2_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6033-2_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6033-2_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_6033-2_0_4_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_6033-2_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6033-2_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6033-2_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_6033-2_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6033-2_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6033-2_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6033-2_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6033-2_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_6033-2_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_6033-2_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_6033-2_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6033-2_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6033-2_0_4_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_6033-2_0_4_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_6033-2_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6033-2_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6033-2_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_6033-2_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6033-2_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6033-2_0_4_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_6033-2_0_4_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_6033-2_0_4_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_6033-2_0_4_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_6033-2_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_6033-2_0_4_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_6033-2_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6033-2_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6033-2_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6033-2_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6033-2_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6033-2_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_6033-2_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6033-2_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6033-2_0_4_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_6033-2_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_6033-2_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6033-2_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6033-2_0_4_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_6033-2_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_6033-2_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6033-2_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6033-2_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_6033-2_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_6033-2_0_4_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_6033-2_0_4_node_70 | 0.4 | n |  | TRUE
60 | bus_LV_6033-2_0_4_node_71 | 0.4 | n |  | TRUE
61 | bus_LV_6033-2_0_4_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_6033-2_0_4_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_6033-2_0_4_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_6033-2_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_6033-2_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_6033-2_0_4_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_6033-2_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_6033-2_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_6033-2_0_4_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_6033-2_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_6033-2_0_4_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6033-2_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_6033-2_0_4_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_6033-2_0_4_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_6033-2_0_4_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_6033-2_0_4_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_6033-2_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_6033-2_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_6033-2_0_4_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_6033-2_0_4_node_77 | 0.4 | n |  | TRUE
81 | bus_MV_196_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6033-2_0_4_load_0 | 0 | 0.0063255 | 0.0015853 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6033-2_0_4_load_83 | 2 | 0.0047114 | 0.0011808 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6033-2_0_4_load_2 | 3 | 0.0035764 | 0.00089634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6033-2_0_4_load_4 | 4 | 0.0019907 | 0.00049893 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6033-2_0_4_load_5 | 5 | 0.0044051 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6033-2_0_4_load_6 | 6 | 0.0016086 | 0.00040316 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6033-2_0_4_load_3 | 7 | 0.0061503 | 0.0015414 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6033-2_0_4_load_11 | 8 | 0.0025927 | 0.00064979 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6033-2_0_4_load_12 | 9 | 0.0021979 | 0.00055085 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6033-2_0_4_load_10 | 10 | 0.0032264 | 0.00080861 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6033-2_0_4_load_9 | 11 | 0.0042737 | 0.0010711 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6033-2_0_4_load_8 | 12 | 0.0036765 | 0.00092142 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6033-2_0_4_load_59 | 13 | 0.0028778 | 0.00072126 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6033-2_0_4_load_21 | 14 | 0.0029736 | 0.00074525 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6033-2_0_4_load_13 | 15 | 0.0026564 | 0.00066574 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6033-2_0_4_load_19 | 16 | 0.0019638 | 0.00049218 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6033-2_0_4_load_20 | 17 | 0.0022288 | 0.00055858 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6033-2_0_4_load_14 | 18 | 0.0037569 | 0.00094158 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6033-2_0_4_load_15 | 19 | 0.0045762 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6033-2_0_4_load_16 | 20 | 0.0031742 | 0.00079553 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6033-2_0_4_load_17 | 21 | 0.0049021 | 0.0012286 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6033-2_0_4_load_18 | 22 | 0.0029352 | 0.00073564 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6033-2_0_4_load_23 | 23 | 0.0022126 | 0.00055452 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6033-2_0_4_load_22 | 24 | 0.0042101 | 0.0010552 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6033-2_0_4_load_25 | 26 | 0.0039765 | 0.0009966 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6033-2_0_4_load_45 | 27 | 0.0065516 | 0.001642 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6033-2_0_4_load_44 | 28 | 0.0028455 | 0.00071315 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6033-2_0_4_load_26 | 29 | 0.0017432 | 0.0004369 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6033-2_0_4_load_58 | 34 | 0.0021937 | 0.0005498 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6033-2_0_4_load_80 | 35 | 0.0032611 | 0.0008173 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6033-2_0_4_load_78 | 37 | 0.004849 | 0.0012153 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6033-2_0_4_load_31 | 38 | 0.0031344 | 0.00078556 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6033-2_0_4_load_62 | 39 | 0.0074016 | 0.001855 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6033-2_0_4_load_30 | 40 | 0.0024208 | 0.0006067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6033-2_0_4_load_35 | 43 | 0.0025563 | 0.00064066 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6033-2_0_4_load_38 | 44 | 0.0012693 | 0.00031811 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6033-2_0_4_load_36 | 45 | 0.0022403 | 0.00056147 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6033-2_0_4_load_50 | 48 | 0.0024893 | 0.00062387 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6033-2_0_4_load_46 | 49 | 0.0024277 | 0.00060844 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6033-2_0_4_load_40 | 51 | 0.0025048 | 0.00062777 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6033-2_0_4_load_81 | 52 | 0.0078907 | 0.0019776 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6033-2_0_4_load_41 | 53 | 0.0032809 | 0.00082227 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6033-2_0_4_load_42 | 54 | 0.0030362 | 0.00076093 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6033-2_0_4_load_43 | 55 | 0.0049358 | 0.001237 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6033-2_0_4_load_47 | 56 | 0.0011482 | 0.00028777 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6033-2_0_4_load_49 | 57 | 0.0011258 | 0.00028215 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6033-2_0_4_load_69 | 58 | 0.0016206 | 0.00040616 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6033-2_0_4_load_70 | 59 | 0.0066257 | 0.0016606 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6033-2_0_4_load_71 | 60 | 0.0019761 | 0.00049526 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6033-2_0_4_load_68 | 61 | 0.0014309 | 0.00035862 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6033-2_0_4_load_72 | 62 | 0.0018316 | 0.00045904 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6033-2_0_4_load_76 | 63 | 0.0050237 | 0.0012591 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6033-2_0_4_load_55 | 65 | 0.003145 | 0.00078821 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6033-2_0_4_load_75 | 66 | 0.0021001 | 0.00052634 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6033-2_0_4_load_51 | 67 | 0.0059584 | 0.0014933 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6033-2_0_4_load_52 | 68 | 0.001817 | 0.00045539 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6033-2_0_4_load_53 | 69 | 0.0019183 | 0.00048077 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6033-2_0_4_load_54 | 70 | 0.0059459 | 0.0014902 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6033-2_0_4_load_67 | 71 | 0.0013216 | 0.00033122 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6033-2_0_4_load_56 | 72 | 0.0012736 | 0.00031918 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6033-2_0_4_load_57 | 73 | 0.0027749 | 0.00069546 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6033-2_0_4_load_79 | 74 | 0.0019912 | 0.00049905 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6033-2_0_4_load_74 | 75 | 0.0065016 | 0.0016295 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6033-2_0_4_load_60 | 76 | 0.0025299 | 0.00063405 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6033-2_0_4_load_61 | 77 | 0.0016191 | 0.00040577 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6033-2_0_4_load_63 | 78 | 0.003211 | 0.00080476 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6033-2_0_4_load_65 | 79 | 0.0028647 | 0.00071795 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6033-2_0_4_load_77 | 80 | 0.0020985 | 0.00052594 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6033-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6033-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6033-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6033-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6033-2_0_4_line_4 | NAYY 4x150 SE | 3 | 7 | 0.01673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6033-2_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.00060504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6033-2_0_4_line_6 | NAYY 4x150 SE | 5 | 6 | 0.023174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6033-2_0_4_line_7 | NAYY 4x150 SE | 6 | 11 | 0.012964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6033-2_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.001998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6033-2_0_4_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0076179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6033-2_0_4_line_10 | NAYY 4x150 SE | 9 | 15 | 0.016075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6033-2_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0010583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6033-2_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.015271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6033-2_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.029745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6033-2_0_4_line_14 | NAYY 4x150 SE | 14 | 21 | 0.010502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6033-2_0_4_line_15 | NAYY 4x150 SE | 15 | 16 | 0.0083481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6033-2_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.0092025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6033-2_0_4_line_17 | NAYY 4x150 SE | 17 | 25 | 0.0068968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6033-2_0_4_line_18 | NAYY 4x150 SE | 18 | 19 | 0.0057291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6033-2_0_4_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0077512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6033-2_0_4_line_20 | NAYY 4x150 SE | 19 | 21 | 0.013305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6033-2_0_4_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0095562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6033-2_0_4_line_22 | NAYY 4x150 SE | 22 | 23 | 0.0084432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6033-2_0_4_line_23 | NAYY 4x150 SE | 23 | 24 | 0.0057023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6033-2_0_4_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0096647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6033-2_0_4_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0099207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6033-2_0_4_line_26 | NAYY 4x150 SE | 26 | 27 | 0.00081732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6033-2_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.012522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6033-2_0_4_line_28 | NAYY 4x150 SE | 28 | 55 | 0.00054089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6033-2_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.02091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6033-2_0_4_line_30 | NAYY 4x150 SE | 30 | 31 | 0.018851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6033-2_0_4_line_31 | NAYY 4x150 SE | 30 | 32 | 0.014329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6033-2_0_4_line_32 | NAYY 4x150 SE | 31 | 33 | 0.034422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6033-2_0_4_line_33 | NAYY 4x150 SE | 31 | 34 | 0.015193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6033-2_0_4_line_34 | NAYY 4x150 SE | 32 | 35 | 0.011779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6033-2_0_4_line_35 | NAYY 4x150 SE | 32 | 36 | 0.043151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6033-2_0_4_line_36 | NAYY 4x150 SE | 33 | 37 | 0.019278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6033-2_0_4_line_37 | NAYY 4x150 SE | 33 | 38 | 0.028508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6033-2_0_4_line_38 | NAYY 4x150 SE | 36 | 39 | 0.027134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6033-2_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.0063341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_6033-2_0_4_line_40 | NAYY 4x150 SE | 39 | 76 | 0.012705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6033-2_0_4_line_41 | NAYY 4x150 SE | 40 | 41 | 0.029185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6033-2_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.017616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_6033-2_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.013019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6033-2_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.014802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6033-2_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.037613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_6033-2_0_4_line_46 | NAYY 4x150 SE | 43 | 46 | 0.017239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6033-2_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.0070798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_6033-2_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.0049895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6033-2_0_4_line_49 | NAYY 4x150 SE | 46 | 49 | 0.027732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6033-2_0_4_line_50 | NAYY 4x150 SE | 47 | 50 | 0.00236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6033-2_0_4_line_51 | NAYY 4x150 SE | 47 | 51 | 0.0048751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_6033-2_0_4_line_52 | NAYY 4x150 SE | 48 | 63 | 0.015827 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6033-2_0_4_line_53 | NAYY 4x150 SE | 49 | 56 | 0.016625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6033-2_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.033977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6033-2_0_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.017419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_6033-2_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0086744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_6033-2_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.010226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6033-2_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0024359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6033-2_0_4_line_59 | NAYY 4x150 SE | 57 | 61 | 0.009259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6033-2_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.0073703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6033-2_0_4_line_61 | NAYY 4x150 SE | 58 | 60 | 0.019488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6033-2_0_4_line_62 | NAYY 4x150 SE | 59 | 62 | 0.018712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6033-2_0_4_line_63 | NAYY 4x150 SE | 61 | 64 | 0.01015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6033-2_0_4_line_64 | NAYY 4x150 SE | 62 | 65 | 0.0062577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6033-2_0_4_line_65 | NAYY 4x150 SE | 63 | 66 | 0.0027082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6033-2_0_4_line_66 | NAYY 4x150 SE | 64 | 71 | 0.0096816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6033-2_0_4_line_67 | NAYY 4x150 SE | 64 | 79 | 0.026183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6033-2_0_4_line_68 | NAYY 4x150 SE | 65 | 69 | 0.0051694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6033-2_0_4_line_69 | NAYY 4x150 SE | 66 | 80 | 0.0032854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6033-2_0_4_line_70 | NAYY 4x150 SE | 67 | 68 | 0.0029169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6033-2_0_4_line_71 | NAYY 4x150 SE | 67 | 69 | 0.014954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6033-2_0_4_line_72 | NAYY 4x150 SE | 68 | 70 | 0.014395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6033-2_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0021396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6033-2_0_4_line_74 | NAYY 4x150 SE | 71 | 72 | 0.035076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6033-2_0_4_line_75 | NAYY 4x150 SE | 72 | 73 | 0.012052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6033-2_0_4_line_76 | NAYY 4x150 SE | 73 | 74 | 0.013046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6033-2_0_4_line_77 | NAYY 4x150 SE | 74 | 75 | 0.010333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6033-2_0_4_line_78 | NAYY 4x150 SE | 76 | 77 | 0.011596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6033-2_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 1.6713e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6033-2_0_4_trafo_33 | 0.25 MVA 20/0.4 kV | 81 | 33 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2579875.7478 | 1094751.1861 | 2579874.125 | 1094750.0909 | 2579873.1814 | 1094748.2264 | 2579873.0346 | 1094746.0036 | 2579879.0455 | 1094736.4787 | 2579886.4098 | 1094726.2268 | 2579890.2997 | 1094719.006
1 | 2579890.2997 | 1094719.006 | 2579912.3993 | 1094730.4426
2 | 2579875.7478 | 1094751.1861 | 2579871.3947 | 1094760.7054 | 2579859.3938 | 1094774.419 | 2579854.9952 | 1094783.2544
3 | 2579936.1144 | 1094779.401 | 2579912.3993 | 1094730.4426
4 | 2579850.5367 | 1094799.2946 | 2579853.4068 | 1094786.4451 | 2579854.9952 | 1094783.2544
5 | 2579936.1144 | 1094779.401 | 2579935.6121 | 1094779.7383
6 | 2579935.6121 | 1094779.7383 | 2579928.3286 | 1094784.6287 | 2579927.2771 | 1094787.567 | 2579926.5643 | 1094792.2273 | 2579926.868 | 1094795.0388 | 2579927.2657 | 1094798.7559
7 | 2579919.7838 | 1094808.7435 | 2579926.1793 | 1094802.267 | 2579927.4197 | 1094800.1952 | 2579927.2657 | 1094798.7559
8 | 2579914.5869 | 1094815.3566 | 2579915.781 | 1094816.9587
9 | 2579914.5869 | 1094815.3566 | 2579914.5869 | 1094815.3566 | 2579914.7909 | 1094813.7996 | 2579919.0402 | 1094809.4965
10 | 2579915.8871 | 1094831.3049 | 2579915.8871 | 1094831.3049 | 2579916.3951 | 1094827.9904 | 2579918.7703 | 1094822.3908 | 2579918.8641 | 1094820.3117 | 2579916.0499 | 1094817.3195 | 2579915.781 | 1094816.9587
11 | 2579919.7838 | 1094808.7435 | 2579919.0402 | 1094809.4965
12 | 2579988.311 | 1094763.2635 | 2579989.6114 | 1094760.3356 | 2579992.933 | 1094748.7342
13 | 2579988.311 | 1094763.2635 | 2579984.9438 | 1094770.8453 | 2579976.1638 | 1094786.4045 | 2579973.935 | 1094789.2109
14 | 2579973.935 | 1094789.2109 | 2579967.4038 | 1094797.4345
15 | 2579915.8871 | 1094831.3049 | 2579916.9386 | 1094835.3369 | 2579918.6168 | 1094839.1666 | 2579918.6168 | 1094839.1666
16 | 2579918.6168 | 1094839.1666 | 2579922.7807 | 1094842.6657 | 2579926.3159 | 1094843.957
17 | 2579932.794 | 1094846.3232 | 2579926.3159 | 1094843.957
18 | 2579959.0694 | 1094807.8061 | 2579955.4752 | 1094812.2676
19 | 2579950.6126 | 1094818.3038 | 2579955.4752 | 1094812.2676
20 | 2579959.0694 | 1094807.8061 | 2579965.9572 | 1094799.256 | 2579967.4038 | 1094797.4345
21 | 2579950.6126 | 1094818.3038 | 2579944.6176 | 1094825.7457
22 | 2579939.8708 | 1094832.7039 | 2579942.3412 | 1094828.5714 | 2579944.6176 | 1094825.7457
23 | 2579936.9449 | 1094837.5983 | 2579939.8708 | 1094832.7039
24 | 2579932.794 | 1094846.3232 | 2579936.6479 | 1094838.0951 | 2579936.9449 | 1094837.5983
25 | 2579932.794 | 1094846.3232 | 2579928.7108 | 1094855.3647
26 | 2579928.3744 | 1094856.1095 | 2579928.7108 | 1094855.3647
27 | 2579928.3744 | 1094856.1095 | 2579927.3185 | 1094858.4476 | 2579924.1302 | 1094867.88
28 | 2579923.957 | 1094868.3924 | 2579924.1302 | 1094867.88
29 | 2580004.42 | 1094806.1657 | 2579995.591 | 1094809.2409 | 2579986.7507 | 1094816.6909
30 | 2579995.9231 | 1094823.0024 | 2580004.42 | 1094806.1657
31 | 2580009.892 | 1094792.9186 | 2580004.42 | 1094806.1657
32 | 2579995.9231 | 1094823.0024 | 2579988.4114 | 1094837.8793 | 2579981.6263 | 1094849.9301 | 2579979.5691 | 1094853.2942
33 | 2579995.9231 | 1094823.0024 | 2579998.0562 | 1094823.818 | 2579999.7696 | 1094824.2348 | 2580001.8452 | 1094824.0723 | 2580004.2894 | 1094822.9191 | 2580008.3941 | 1094818.0591
34 | 2580009.892 | 1094792.9186 | 2580012.5512 | 1094793.5324 | 2580014.8384 | 1094794.1029 | 2580018.2757 | 1094795.7479 | 2580020.7751 | 1094797.2405
35 | 2580009.892 | 1094792.9186 | 2580026.3851 | 1094753.0326
36 | 2579979.5691 | 1094853.2942 | 2579977.4194 | 1094852.1563 | 2579975.4979 | 1094852.0626 | 2579973.4251 | 1094853.0588 | 2579970.8378 | 1094855.4464 | 2579964.6782 | 1094862.1924
37 | 2579979.5691 | 1094853.2942 | 2579974.4221 | 1094861.7155 | 2579966.0875 | 1094876.0615 | 2579965.3199 | 1094877.9595
38 | 2580006.4702 | 1094770.1849 | 2580013.0234 | 1094762.9374 | 2580022.3978 | 1094753.7351 | 2580024.1066 | 1094752.7511 | 2580026.3851 | 1094753.0326
39 | 2579962.9448 | 1094883.8315 | 2579965.3199 | 1094877.9595
40 | 2580006.4702 | 1094770.1849 | 2580002.9814 | 1094774.0429 | 2579998.1408 | 1094779.7768
41 | 2579979.2388 | 1094903.332 | 2579976.5274 | 1094903.3187 | 2579973.023 | 1094902.4521 | 2579967.9477 | 1094899.7342 | 2579965.7526 | 1094896.5732 | 2579964.1516 | 1094892.6653 | 2579962.9457 | 1094888.7673 | 2579962.728 | 1094886.1778 | 2579962.9448 | 1094883.8315
42 | 2579978.8554 | 1094920.9089 | 2579979.5491 | 1094912.8136 | 2579979.2388 | 1094903.332
43 | 2579979.2388 | 1094903.332 | 2579981.7697 | 1094902.6344 | 2579983.6405 | 1094901.4609 | 2579989.0461 | 1094896.2849 | 2579989.567 | 1094895.8157
44 | 2579978.8554 | 1094920.9089 | 2579990.9948 | 1094929.3794
45 | 2579978.8554 | 1094920.9089 | 2579947.343 | 1094907.2396 | 2579944.619 | 1094905.4422
46 | 2580003.1475 | 1094885.2548 | 2579999.0736 | 1094887.8696 | 2579994.1747 | 1094891.6655 | 2579989.567 | 1094895.8157
47 | 2579938.7097 | 1094901.543 | 2579944.619 | 1094905.4422
48 | 2580003.1475 | 1094885.2548 | 2580002.2013 | 1094882.5788 | 2580002.7756 | 1094880.5058
49 | 2580003.1475 | 1094885.2548 | 2580007.5028 | 1094883.4173 | 2580012.3785 | 1094881.9782 | 2580018.038 | 1094880.9479 | 2580029.1402 | 1094878.9102 | 2580029.9673 | 1094878.6059
50 | 2579937.6086 | 1094903.5588 | 2579937.6302 | 1094903.0585 | 2579938.7097 | 1094901.543
51 | 2579938.7097 | 1094901.543 | 2579934.6394 | 1094898.86
52 | 2580009.2597 | 1094866.1609 | 2580008.6885 | 1094867.1273 | 2580005.0762 | 1094873.4535 | 2580003.1199 | 1094879.263 | 2580002.7756 | 1094880.5058
53 | 2580029.9673 | 1094878.6059 | 2580033.682 | 1094877.2388 | 2580037.7802 | 1094874.9464 | 2580043.8794 | 1094869.8151
54 | 2579937.6086 | 1094903.5588 | 2579936.4535 | 1094903.2958 | 2579933.0708 | 1094901.7507 | 2579923.3927 | 1094896.3467 | 2579912.2029 | 1094890.6364 | 2579907.0526 | 1094888.6859
55 | 2579934.6394 | 1094898.86 | 2579932.8869 | 1094897.7048 | 2579923.9469 | 1094888.274 | 2579922.7465 | 1094886.2826
56 | 2579920.6827 | 1094878.0797 | 2579921.1115 | 1094883.5699 | 2579922.7465 | 1094886.2826
57 | 2579920.6827 | 1094878.0797 | 2579920.6827 | 1094878.0797 | 2579923.957 | 1094868.3924
58 | 2580043.8794 | 1094869.8151 | 2580045.7434 | 1094868.247
59 | 2580052.1617 | 1094861.6266 | 2580048.897 | 1094865.5938 | 2580045.7434 | 1094868.247
60 | 2580056.7896 | 1094911.0294 | 2580058.0743 | 1094909.475 | 2580061.8168 | 1094905.6467
61 | 2580047.8018 | 1094928.1406 | 2580051.7661 | 1094918.1446 | 2580054.0389 | 1094914.3574 | 2580056.7896 | 1094911.0294
62 | 2580076.674 | 1094894.4039 | 2580073.5169 | 1094896.373 | 2580069.1102 | 1094899.0777 | 2580063.1005 | 1094904.3336 | 2580061.8168 | 1094905.6467
63 | 2580058.6113 | 1094853.7891 | 2580052.1617 | 1094861.6266
64 | 2580076.674 | 1094894.4039 | 2580079.2687 | 1094892.7855 | 2580081.936 | 1094891.0182
65 | 2580010.6376 | 1094863.8294 | 2580009.2597 | 1094866.1609
66 | 2580058.6113 | 1094853.7891 | 2580065.2348 | 1094846.7278
67 | 2580058.6113 | 1094853.7891 | 2580057.2678 | 1094852.7819 | 2580056.8453 | 1094851.5382 | 2580056.732 | 1094847.7033 | 2580058.068 | 1094844.0748 | 2580060.5488 | 1094839.9312 | 2580063.2389 | 1094835.8314 | 2580067.0575 | 1094831.5266
68 | 2580085.9833 | 1094887.811 | 2580082.894 | 1094890.3835 | 2580081.936 | 1094891.0182
69 | 2580012.3093 | 1094861.0011 | 2580010.6376 | 1094863.8294
70 | 2580094.1976 | 1094875.5553 | 2580094.8985 | 1094872.7239
71 | 2580094.1976 | 1094875.5553 | 2580093.9649 | 1094876.4955 | 2580089.1893 | 1094884.8266 | 2580086.8881 | 1094887.0575 | 2580085.9833 | 1094887.811
72 | 2580098.3574 | 1094858.7504 | 2580094.8985 | 1094872.7239
73 | 2580098.3574 | 1094858.7504 | 2580098.8715 | 1094856.6735
74 | 2580065.2348 | 1094846.7278 | 2580098.8715 | 1094856.6735
75 | 2580102.1131 | 1094845.0706 | 2580100.211 | 1094851.2621 | 2580098.8715 | 1094856.6735
76 | 2580105.9443 | 1094832.6003 | 2580105.9443 | 1094832.6003 | 2580102.1131 | 1094845.0706
77 | 2580111.4179 | 1094823.8358 | 2580105.9443 | 1094832.6003
78 | 2579998.1408 | 1094779.7768 | 2579995.4808 | 1094782.9278 | 2579990.8314 | 1094788.7775
79 | 2579990.821 | 1094788.7906 | 2579990.8314 | 1094788.7775

## bus_geodata
| x | y | coords
0 | 2579890.2997 | 1094719.006
1 | 2579875.7478 | 1094751.1861
2 | 2579912.3993 | 1094730.4426
3 | 2579854.9952 | 1094783.2544
4 | 2579936.1144 | 1094779.401
5 | 2579935.6121 | 1094779.7383
6 | 2579927.2657 | 1094798.7559
7 | 2579850.5367 | 1094799.2946
8 | 2579914.5869 | 1094815.3566
9 | 2579915.781 | 1094816.9587
10 | 2579919.0402 | 1094809.4965
11 | 2579919.7838 | 1094808.7435
12 | 2579992.933 | 1094748.7342
13 | 2579988.311 | 1094763.2635
14 | 2579973.935 | 1094789.2109
15 | 2579915.8871 | 1094831.3049
16 | 2579918.6168 | 1094839.1666
17 | 2579926.3159 | 1094843.957
18 | 2579955.4752 | 1094812.2676
19 | 2579959.0694 | 1094807.8061
20 | 2579950.6126 | 1094818.3038
21 | 2579967.4038 | 1094797.4345
22 | 2579944.6176 | 1094825.7457
23 | 2579939.8708 | 1094832.7039
24 | 2579936.9449 | 1094837.5983
25 | 2579932.794 | 1094846.3232
26 | 2579928.7108 | 1094855.3647
27 | 2579928.3744 | 1094856.1095
28 | 2579924.1302 | 1094867.88
29 | 2579986.7507 | 1094816.6909
30 | 2580004.42 | 1094806.1657
31 | 2579995.9231 | 1094823.0024
32 | 2580009.892 | 1094792.9186
33 | 2579979.5691 | 1094853.2942
34 | 2580008.3941 | 1094818.0591
35 | 2580020.7751 | 1094797.2405
36 | 2580026.3851 | 1094753.0326
37 | 2579964.6782 | 1094862.1924
38 | 2579965.3199 | 1094877.9595
39 | 2580006.4702 | 1094770.1849
40 | 2579962.9448 | 1094883.8315
41 | 2579979.2388 | 1094903.332
42 | 2579978.8554 | 1094920.9089
43 | 2579989.567 | 1094895.8157
44 | 2579990.9948 | 1094929.3794
45 | 2579944.619 | 1094905.4422
46 | 2580003.1475 | 1094885.2548
47 | 2579938.7097 | 1094901.543
48 | 2580002.7756 | 1094880.5058
49 | 2580029.9673 | 1094878.6059
50 | 2579937.6086 | 1094903.5588
51 | 2579934.6394 | 1094898.86
52 | 2579907.0526 | 1094888.6859
53 | 2579922.7465 | 1094886.2826
54 | 2579920.6827 | 1094878.0797
55 | 2579923.957 | 1094868.3924
56 | 2580043.8794 | 1094869.8151
57 | 2580045.7434 | 1094868.247
58 | 2580056.7896 | 1094911.0294
59 | 2580061.8168 | 1094905.6467
60 | 2580047.8018 | 1094928.1406
61 | 2580052.1617 | 1094861.6266
62 | 2580076.674 | 1094894.4039
63 | 2580009.2597 | 1094866.1609
64 | 2580058.6113 | 1094853.7891
65 | 2580081.936 | 1094891.0182
66 | 2580010.6376 | 1094863.8294
67 | 2580094.1976 | 1094875.5553
68 | 2580094.8985 | 1094872.7239
69 | 2580085.9833 | 1094887.811
70 | 2580098.3574 | 1094858.7504
71 | 2580065.2348 | 1094846.7278
72 | 2580098.8715 | 1094856.6735
73 | 2580102.1131 | 1094845.0706
74 | 2580105.9443 | 1094832.6003
75 | 2580111.4179 | 1094823.8358
76 | 2579998.1408 | 1094779.7768
77 | 2579990.8314 | 1094788.7775
78 | 2579990.821 | 1094788.7906
79 | 2580067.0575 | 1094831.5266
80 | 2580012.3093 | 1094861.0011
81 | 2579964.6782 | 1094862.1924

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1