## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6034-11_1_3_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_6034-11_1_3_node_9 | 0.4 | n |  | TRUE
2 | bus_LV_6034-11_1_3_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_6034-11_1_3_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_6034-11_1_3_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_6034-11_1_3_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_6034-11_1_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_6034-11_1_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_6034-11_1_3_node_44 | 0.4 | n |  | TRUE
9 | bus_LV_6034-11_1_3_node_47 | 0.4 | n |  | TRUE
10 | bus_LV_6034-11_1_3_node_35 | 0.4 | n |  | TRUE
11 | bus_LV_6034-11_1_3_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_6034-11_1_3_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_6034-11_1_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_6034-11_1_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_6034-11_1_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6034-11_1_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6034-11_1_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_6034-11_1_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_6034-11_1_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_6034-11_1_3_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_6034-11_1_3_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_6034-11_1_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_6034-11_1_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6034-11_1_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_6034-11_1_3_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_6034-11_1_3_node_90 | 0.4 | n |  | TRUE
27 | bus_LV_6034-11_1_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_6034-11_1_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6034-11_1_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6034-11_1_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6034-11_1_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6034-11_1_3_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_6034-11_1_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6034-11_1_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6034-11_1_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6034-11_1_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_6034-11_1_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6034-11_1_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_6034-11_1_3_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_6034-11_1_3_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_6034-11_1_3_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_6034-11_1_3_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_6034-11_1_3_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_6034-11_1_3_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_6034-11_1_3_node_86 | 0.4 | n |  | TRUE
46 | bus_LV_6034-11_1_3_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_6034-11_1_3_node_82 | 0.4 | n |  | TRUE
48 | bus_LV_6034-11_1_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_6034-11_1_3_node_91 | 0.4 | n |  | TRUE
50 | bus_LV_6034-11_1_3_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_6034-11_1_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_6034-11_1_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_6034-11_1_3_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_6034-11_1_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6034-11_1_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_6034-11_1_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_6034-11_1_3_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_6034-11_1_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6034-11_1_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_6034-11_1_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6034-11_1_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6034-11_1_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_6034-11_1_3_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6034-11_1_3_node_73 | 0.4 | n |  | TRUE
65 | bus_LV_6034-11_1_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_6034-11_1_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_6034-11_1_3_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_6034-11_1_3_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6034-11_1_3_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_6034-11_1_3_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6034-11_1_3_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_6034-11_1_3_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_6034-11_1_3_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_6034-11_1_3_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_6034-11_1_3_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_6034-11_1_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_6034-11_1_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6034-11_1_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_6034-11_1_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_6034-11_1_3_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_6034-11_1_3_node_93 | 0.4 | n |  | TRUE
82 | bus_LV_6034-11_1_3_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_6034-11_1_3_node_96 | 0.4 | n |  | TRUE
84 | bus_LV_6034-11_1_3_node_95 | 0.4 | n |  | TRUE
85 | bus_LV_6034-11_1_3_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_6034-11_1_3_node_98 | 0.4 | n |  | TRUE
87 | bus_MV_196_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6034-11_1_3_load_8 | 0 | 0.0036576 | 0.00091669 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6034-11_1_3_load_9 | 1 | 0.0040682 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6034-11_1_3_load_10 | 2 | 0.0042258 | 0.0010591 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6034-11_1_3_load_12 | 4 | 0.0027208 | 0.00068188 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6034-11_1_3_load_59 | 5 | 0.006868 | 0.0017213 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6034-11_1_3_load_48 | 6 | 0.0034127 | 0.00085531 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6034-11_1_3_load_35 | 10 | 0.007424 | 0.0018606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6034-11_1_3_load_57 | 11 | 0.0034451 | 0.00086343 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6034-11_1_3_load_13 | 13 | 0.002563 | 0.00064234 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6034-11_1_3_load_14 | 14 | 0.005643 | 0.0014143 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6034-11_1_3_load_17 | 17 | 0.0029946 | 0.00075053 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6034-11_1_3_load_18 | 18 | 0.0033192 | 0.00083187 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6034-11_1_3_load_60 | 20 | 0.0029337 | 0.00073525 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6034-11_1_3_load_50 | 21 | 0.0031259 | 0.00078341 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6034-11_1_3_load_19 | 23 | 0.0014964 | 0.00037503 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6034-11_1_3_load_61 | 24 | 0.003451 | 0.0008649 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6034-11_1_3_load_49 | 25 | 0.0021583 | 0.00054092 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6034-11_1_3_load_90 | 26 | 0.0028442 | 0.00071282 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6034-11_1_3_load_22 | 29 | 0.0014694 | 0.00036827 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6034-11_1_3_load_24 | 31 | 0.00098268 | 0.00024628 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6034-11_1_3_load_43 | 32 | 0.0017031 | 0.00042684 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6034-11_1_3_load_26 | 33 | 0.0050385 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6034-11_1_3_load_27 | 34 | 0.0039296 | 0.00098485 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6034-11_1_3_load_81 | 40 | 0.0019897 | 0.00049867 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6034-11_1_3_load_58 | 41 | 0.003634 | 0.00091076 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6034-11_1_3_load_53 | 42 | 0.0043411 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6034-11_1_3_load_70 | 44 | 0.0028642 | 0.00071783 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6034-11_1_3_load_86 | 45 | 0.0026421 | 0.00066218 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6034-11_1_3_load_84 | 46 | 0.0032649 | 0.00081826 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6034-11_1_3_load_82 | 47 | 0.0045358 | 0.0011368 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6034-11_1_3_load_52 | 48 | 0.0058094 | 0.001456 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6034-11_1_3_load_91 | 49 | 0.0025899 | 0.00064909 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6034-11_1_3_load_71 | 50 | 0.0024657 | 0.00061797 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6034-11_1_3_load_33 | 51 | 0.0032295 | 0.00080938 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6034-11_1_3_load_34 | 52 | 0.00095361 | 0.000239 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6034-11_1_3_load_36 | 53 | 0.0015217 | 0.00038137 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6034-11_1_3_load_45 | 54 | 0.0017775 | 0.00044548 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6034-11_1_3_load_38 | 55 | 0.0013991 | 0.00035064 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6034-11_1_3_load_41 | 56 | 0.0014414 | 0.00036125 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6034-11_1_3_load_42 | 57 | 0.0012815 | 0.00032118 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6034-11_1_3_load_46 | 58 | 0.0038767 | 0.0009716 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6034-11_1_3_load_51 | 59 | 0.0041254 | 0.0010339 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6034-11_1_3_load_55 | 61 | 0.001939 | 0.00048595 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6034-11_1_3_load_56 | 62 | 0.0017417 | 0.00043651 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6034-11_1_3_load_63 | 63 | 0.0019006 | 0.00047634 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6034-11_1_3_load_73 | 64 | 0.0026413 | 0.00066197 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6034-11_1_3_load_64 | 65 | 0.0019504 | 0.00048883 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6034-11_1_3_load_69 | 67 | 0.0018347 | 0.00045982 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6034-11_1_3_load_65 | 69 | 0.0029584 | 0.00074145 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6034-11_1_3_load_66 | 70 | 0.0025904 | 0.00064922 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6034-11_1_3_load_80 | 72 | 0.0038756 | 0.00097132 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6034-11_1_3_load_79 | 73 | 0.0044415 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6034-11_1_3_load_77 | 74 | 0.0031505 | 0.00078958 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6034-11_1_3_load_74 | 76 | 0.0017926 | 0.00044927 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6034-11_1_3_load_75 | 77 | 0.0024619 | 0.00061702 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6034-11_1_3_load_76 | 78 | 0.0023049 | 0.00057766 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6034-11_1_3_load_78 | 79 | 0.0024226 | 0.00060716 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6034-11_1_3_load_85 | 80 | 0.003767 | 0.00094411 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6034-11_1_3_load_93 | 81 | 0.0042334 | 0.001061 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6034-11_1_3_load_94 | 82 | 0.0018092 | 0.00045342 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6034-11_1_3_load_96 | 83 | 0.0018455 | 0.00046251 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6034-11_1_3_load_98 | 86 | 0.0011363 | 0.00028477 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6034-11_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.031971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6034-11_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0055529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6034-11_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.080133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6034-11_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6034-11_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.035546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6034-11_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6034-11_1_3_line_6 | NAYY 4x150 SE | 6 | 9 | 0.0054949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6034-11_1_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.031144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6034-11_1_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.006742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6034-11_1_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.02743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6034-11_1_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.04564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6034-11_1_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.14641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_6034-11_1_3_line_12 | NAYY 4x150 SE | 9 | 54 | 0.039008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6034-11_1_3_line_13 | NAYY 4x150 SE | 10 | 51 | 0.022594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6034-11_1_3_line_14 | NAYY 4x150 SE | 12 | 32 | 0.025351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_6034-11_1_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.01418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6034-11_1_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0090295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6034-11_1_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.026658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6034-11_1_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.025234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6034-11_1_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.018459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6034-11_1_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.046835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_6034-11_1_3_line_21 | NAYY 4x150 SE | 16 | 20 | 0.038242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_6034-11_1_3_line_22 | NAYY 4x150 SE | 17 | 21 | 0.021163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6034-11_1_3_line_23 | NAYY 4x150 SE | 18 | 22 | 0.01604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6034-11_1_3_line_24 | NAYY 4x150 SE | 19 | 23 | 0.069576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6034-11_1_3_line_25 | NAYY 4x150 SE | 20 | 24 | 0.010324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6034-11_1_3_line_26 | NAYY 4x150 SE | 21 | 25 | 0.01352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6034-11_1_3_line_27 | NAYY 4x150 SE | 22 | 26 | 0.025232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6034-11_1_3_line_28 | NAYY 4x150 SE | 22 | 27 | 0.033159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6034-11_1_3_line_29 | NAYY 4x150 SE | 23 | 28 | 0.018877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_6034-11_1_3_line_30 | NAYY 4x150 SE | 24 | 66 | 0.018485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6034-11_1_3_line_31 | NAYY 4x150 SE | 25 | 59 | 0.0009655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6034-11_1_3_line_32 | NAYY 4x150 SE | 27 | 56 | 0.034421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6034-11_1_3_line_33 | NAYY 4x150 SE | 27 | 55 | 0.010643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6034-11_1_3_line_34 | NAYY 4x150 SE | 28 | 29 | 0.011095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_6034-11_1_3_line_35 | NAYY 4x150 SE | 29 | 30 | 0.046969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6034-11_1_3_line_36 | NAYY 4x150 SE | 30 | 31 | 0.01041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_6034-11_1_3_line_37 | NAYY 4x150 SE | 31 | 32 | 0.016274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_6034-11_1_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.030016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6034-11_1_3_line_39 | NAYY 4x150 SE | 34 | 35 | 0.17624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6034-11_1_3_line_40 | NAYY 4x150 SE | 35 | 36 | 0.1839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6034-11_1_3_line_41 | NAYY 4x150 SE | 35 | 37 | 0.014724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6034-11_1_3_line_42 | NAYY 4x150 SE | 36 | 41 | 0.046831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6034-11_1_3_line_43 | NAYY 4x150 SE | 36 | 42 | 0.022242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6034-11_1_3_line_44 | NAYY 4x150 SE | 36 | 38 | 0.096161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6034-11_1_3_line_45 | NAYY 4x150 SE | 37 | 43 | 0.047802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6034-11_1_3_line_46 | NAYY 4x150 SE | 37 | 44 | 0.021515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6034-11_1_3_line_47 | NAYY 4x150 SE | 38 | 39 | 0.010322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6034-11_1_3_line_48 | NAYY 4x150 SE | 38 | 40 | 0.011713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6034-11_1_3_line_49 | NAYY 4x150 SE | 39 | 45 | 0.10114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_6034-11_1_3_line_50 | NAYY 4x150 SE | 39 | 46 | 0.017029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_6034-11_1_3_line_51 | NAYY 4x150 SE | 40 | 47 | 0.039063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6034-11_1_3_line_52 | NAYY 4x150 SE | 42 | 48 | 0.029315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6034-11_1_3_line_53 | NAYY 4x150 SE | 43 | 49 | 0.018611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6034-11_1_3_line_54 | NAYY 4x150 SE | 44 | 50 | 0.0069249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6034-11_1_3_line_55 | NAYY 4x150 SE | 45 | 66 | 0.01933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_6034-11_1_3_line_56 | NAYY 4x150 SE | 46 | 80 | 0.029323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_6034-11_1_3_line_57 | NAYY 4x150 SE | 48 | 60 | 0.063715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6034-11_1_3_line_58 | NAYY 4x150 SE | 49 | 75 | 0.010093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6034-11_1_3_line_59 | NAYY 4x150 SE | 51 | 52 | 0.015021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6034-11_1_3_line_60 | NAYY 4x150 SE | 52 | 53 | 0.0133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6034-11_1_3_line_61 | NAYY 4x150 SE | 54 | 58 | 0.015059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6034-11_1_3_line_62 | NAYY 4x150 SE | 56 | 57 | 0.014794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6034-11_1_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.003799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6034-11_1_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.017724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6034-11_1_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.046016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6034-11_1_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.026385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6034-11_1_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.0051478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6034-11_1_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.033482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6034-11_1_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0082084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6034-11_1_3_line_70 | NAYY 4x150 SE | 68 | 71 | 0.034266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6034-11_1_3_line_71 | NAYY 4x150 SE | 68 | 69 | 0.014215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6034-11_1_3_line_72 | NAYY 4x150 SE | 69 | 70 | 0.016105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6034-11_1_3_line_73 | NAYY 4x150 SE | 71 | 72 | 0.01897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6034-11_1_3_line_74 | NAYY 4x150 SE | 71 | 73 | 0.021934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6034-11_1_3_line_75 | NAYY 4x150 SE | 73 | 74 | 0.020226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6034-11_1_3_line_76 | NAYY 4x150 SE | 74 | 77 | 0.0057591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6034-11_1_3_line_77 | NAYY 4x150 SE | 75 | 81 | 0.030822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6034-11_1_3_line_78 | NAYY 4x150 SE | 75 | 82 | 0.018205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6034-11_1_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.021662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6034-11_1_3_line_80 | NAYY 4x150 SE | 76 | 78 | 0.036427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6034-11_1_3_line_81 | NAYY 4x150 SE | 78 | 79 | 0.011494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6034-11_1_3_line_82 | NAYY 4x150 SE | 81 | 83 | 0.20556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6034-11_1_3_line_83 | NAYY 4x150 SE | 83 | 84 | 0.10691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_6034-11_1_3_line_84 | NAYY 4x150 SE | 84 | 85 | 0.071661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_6034-11_1_3_line_85 | NAYY 4x150 SE | 85 | 86 | 0.047996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6034-11_1_3_trafo_85 | 0.25 MVA 20/0.4 kV | 87 | 80 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2575225.3104 | 1097258.0331 | 2575225.3104 | 1097258.0331 | 2575207.3801 | 1097277.9834 | 2575202.556 | 1097279.7786
1 | 2575197.3518 | 1097281.7152 | 2575202.556 | 1097279.7786
2 | 2575294.4389 | 1097290.2228 | 2575283.1208 | 1097279.6524 | 2575271.1907 | 1097270.9077 | 2575259.3293 | 1097263.8192 | 2575240.8852 | 1097256.6242 | 2575233.2359 | 1097255.1214 | 2575225.3104 | 1097258.0331
3 | 2575197.3518 | 1097281.7152 | 2575197.3518 | 1097281.7152 | 2575181.4408 | 1097285.4722
4 | 2575261.8637 | 1097292.7793 | 2575267.8752 | 1097295.2449 | 2575277.5403 | 1097297.3732 | 2575281.8708 | 1097297.8113 | 2575286.0627 | 1097296.5379 | 2575289.4686 | 1097294.3229 | 2575294.4389 | 1097290.2228
5 | 2575167.2293 | 1097290.291 | 2575179.0014 | 1097286.0482 | 2575181.4408 | 1097285.4722
6 | 2575162.0599 | 1097292.1541 | 2575167.2293 | 1097290.291
7 | 2575158.2418 | 1097297.7171 | 2575155.5198 | 1097306.177 | 2575153.3035 | 1097322.7613 | 2575148.5137 | 1097325.5157
8 | 2575158.2418 | 1097297.7171 | 2575162.0599 | 1097292.1541
9 | 2575158.2418 | 1097297.7171 | 2575144.8292 | 1097291.9247 | 2575142.0004 | 1097289.4906 | 2575139.9612 | 1097285.0856 | 2575138.7557 | 1097281.9111 | 2575138.0828 | 1097281.4104
10 | 2575148.5137 | 1097325.5157 | 2575146.7368 | 1097324.6447 | 2575144.4255 | 1097323.7427 | 2575137.9065 | 1097322.1575 | 2575130.6316 | 1097319.3971 | 2575123.1432 | 1097315.5703 | 2575117.6391 | 1097312.2134 | 2575114.8893 | 1097310.1347 | 2575112.5636 | 1097307.6208 | 2575111.0501 | 1097304.8923 | 2575110.8057 | 1097303.0665
11 | 2575011.898 | 1097283.8898 | 2575022.7091 | 1097284.0898 | 2575028.6585 | 1097286.5109 | 2575032.3646 | 1097291.3648 | 2575045.4181 | 1097300.1711 | 2575060.6534 | 1097308.5126 | 2575076.4332 | 1097313.6947 | 2575090.2158 | 1097317.1731 | 2575106.7879 | 1097321.0737 | 2575120.2626 | 1097323.1082 | 2575137.2156 | 1097325.4954 | 2575146.2965 | 1097326.7921 | 2575148.5137 | 1097325.5157
12 | 2575162.0599 | 1097292.1541 | 2575162.6695 | 1097285.9707 | 2575165.669 | 1097282.8457 | 2575170.388 | 1097279.8248 | 2575178.7518 | 1097272.3867 | 2575185.5126 | 1097262.8783
13 | 2575116.5736 | 1097276.1801 | 2575121.8513 | 1097276.311 | 2575128.8628 | 1097277.1382 | 2575132.9643 | 1097278.3664 | 2575136.3788 | 1097280.1422 | 2575138.0828 | 1097281.4104
14 | 2575011.898 | 1097283.8898 | 2575002.5309 | 1097273.323 | 2574998.515 | 1097262.836
15 | 2575133.5363 | 1097149.0471 | 2575133.063 | 1097163.2187
16 | 2575131.1565 | 1097171.9749 | 2575132.9676 | 1097166.0755 | 2575133.063 | 1097163.2187
17 | 2575135.0496 | 1097122.4557 | 2575134.2157 | 1097128.7068 | 2575133.5363 | 1097149.0471
18 | 2575131.1565 | 1097171.9749 | 2575139.2902 | 1097176.3882 | 2575149.3237 | 1097185.196 | 2575150.9739 | 1097187.2425
19 | 2575131.1565 | 1097171.9749 | 2575130.4841 | 1097174.1676 | 2575127.7057 | 1097178.359 | 2575118.4552 | 1097184.5609
20 | 2575094.9103 | 1097136.917 | 2575115.9946 | 1097125.0353 | 2575123.6713 | 1097119.979 | 2575131.2141 | 1097118.1359 | 2575135.0496 | 1097122.4557
21 | 2575135.0496 | 1097122.4557 | 2575137.4014 | 1097118.1105 | 2575141.3456 | 1097114.9371 | 2575146.2931 | 1097114.7278 | 2575151.0449 | 1097115.8867 | 2575154.4194 | 1097119.219 | 2575156.4298 | 1097127.893 | 2575156.602 | 1097132.6393
22 | 2575161.0006 | 1097205.8176 | 2575160.6261 | 1097205.0598 | 2575160.0023 | 1097204.0174 | 2575152.6473 | 1097189.3178 | 2575150.9739 | 1097187.2425
23 | 2575105.1326 | 1097193.4928 | 2575118.4552 | 1097184.5609
24 | 2575094.9103 | 1097136.917 | 2575078.7188 | 1097150.3571 | 2575071.0217 | 1097157.9594 | 2575063.3846 | 1097165.0945 | 2575057.0027 | 1097172.3689 | 2575044.3681 | 1097184.602
25 | 2575156.602 | 1097132.6393 | 2575156.9763 | 1097142.9565
26 | 2575163.9215 | 1097217.1942 | 2575164.0905 | 1097217.0962 | 2575164.9169 | 1097216.5481 | 2575165.3947 | 1097215.9792 | 2575165.5783 | 1097215.4448 | 2575165.6591 | 1097214.3773 | 2575165.6382 | 1097213.0433 | 2575165.2165 | 1097212.1779 | 2575164.6634 | 1097211.3798 | 2575163.7908 | 1097210.105 | 2575162.8177 | 1097208.8527 | 2575161.9692 | 1097207.7779 | 2575161.0006 | 1097205.8176
27 | 2575105.1326 | 1097193.4928 | 2575105.8074 | 1097195.6356 | 2575104.3695 | 1097198.1094 | 2575100.3024 | 1097203.3844 | 2575095.8634 | 1097210.473 | 2575094.9576 | 1097212.411 | 2575094.6927 | 1097213.9129 | 2575094.8071 | 1097215.3576
28 | 2575080.5817 | 1097215.3606 | 2575090.8845 | 1097203.0452 | 2575105.1326 | 1097193.4928
29 | 2575030.1711 | 1097197.0255 | 2575039.8796 | 1097188.948 | 2575044.3681 | 1097184.602
30 | 2575166.6197 | 1097157.8332 | 2575160.2919 | 1097151.9228 | 2575157.1021 | 1097146.422 | 2575156.9763 | 1097142.9565
31 | 2575163.0862 | 1097217.6784 | 2575163.9215 | 1097217.1942
32 | 2575080.5817 | 1097215.3606 | 2575077.2574 | 1097222.3445 | 2575069.2178 | 1097240.7759 | 2575071.7505 | 1097244.6675 | 2575073.2095 | 1097245.9374
33 | 2575080.5817 | 1097215.3606 | 2575070.7764 | 1097211.221
34 | 2575030.1711 | 1097197.0255 | 2575027.6321 | 1097199.137 | 2575022.208 | 1097204.7318
35 | 2574988.9724 | 1097237.9164 | 2575001.0577 | 1097225.9826 | 2575012.6342 | 1097214.6068 | 2575022.208 | 1097204.7318
36 | 2574988.9724 | 1097237.9164 | 2574992.6953 | 1097247.6384
37 | 2574998.515 | 1097262.836 | 2574992.6953 | 1097247.6384
38 | 2575405.1017 | 1097202.9644 | 2575406.6938 | 1097180.1094 | 2575408.9832 | 1097173.383
39 | 2575398.5037 | 1097039.8374 | 2575406.0441 | 1097039.2732 | 2575421.4845 | 1097046.5809 | 2575429.5435 | 1097051.6731 | 2575443.926 | 1097063.5986 | 2575447.5722 | 1097067.0967 | 2575447.3389 | 1097084.0508 | 2575446.4098 | 1097103.1644 | 2575441.3824 | 1097129.5205 | 2575425.1798 | 1097146.1281 | 2575413.2979 | 1097160.706 | 2575408.9832 | 1097173.383
40 | 2575348.1451 | 1097175.0671 | 2575350.0104 | 1097178.6502 | 2575352.6815 | 1097182.3079 | 2575356.1322 | 1097185.3621 | 2575362.5784 | 1097172.8628 | 2575370.2881 | 1097162.5484 | 2575379.0234 | 1097154.9756 | 2575385.8296 | 1097149.0894 | 2575383.6911 | 1097139.2819 | 2575387.1491 | 1097109.8639 | 2575389.4399 | 1097094.2577 | 2575391.1983 | 1097075.3409 | 2575391.3471 | 1097052.8954 | 2575394.0815 | 1097034.0413 | 2575398.5037 | 1097039.8374
41 | 2575392.4723 | 1097026.8108 | 2575392.7225 | 1097029.3 | 2575394.0815 | 1097034.0413 | 2575398.5037 | 1097039.8374
42 | 2575302.5579 | 1097173.4409 | 2575309.2227 | 1097176.5709 | 2575315.961 | 1097178.7556 | 2575322.691 | 1097178.8838 | 2575334.0853 | 1097177.7368 | 2575342.5521 | 1097176.5128 | 2575348.1451 | 1097175.0671
43 | 2575348.1451 | 1097175.0671 | 2575348.2133 | 1097172.8212 | 2575348.235 | 1097164.8393 | 2575347.4038 | 1097154.693 | 2575347.0186 | 1097152.9015
44 | 2575348.1451 | 1097175.0671 | 2575350.0104 | 1097178.6502 | 2575352.6815 | 1097182.3079 | 2575356.1322 | 1097185.3621 | 2575352.9065 | 1097191.9341 | 2575348.4989 | 1097197.3104 | 2575342.818 | 1097201.8581 | 2575337.8652 | 1097204.5574 | 2575330.6311 | 1097206.1432 | 2575311.5637 | 1097205.6318 | 2575298.0546 | 1097204.6753 | 2575289.4911 | 1097204.9881 | 2575285.8953 | 1097206.2146 | 2575283.8387 | 1097208.9243
45 | 2575386.3268 | 1096987.6046 | 2575395.6314 | 1096988.5784 | 2575392.6573 | 1097011.3466 | 2575392.2141 | 1097024.2328 | 2575392.4723 | 1097026.8108
46 | 2575392.4723 | 1097026.8108 | 2575386.2774 | 1097024.9795 | 2575382.352 | 1097023.2835 | 2575376.885 | 1097021.4603 | 2575372.5638 | 1097019.5436 | 2575372.3678 | 1097019.3323
47 | 2575283.8387 | 1097208.9243 | 2575274.935 | 1097203.658
48 | 2575283.8387 | 1097208.9243 | 2575283.2924 | 1097211.6835 | 2575283.6049 | 1097214.2391 | 2575285.4569 | 1097216.4438 | 2575288.8473 | 1097217.0592
49 | 2575274.935 | 1097203.658 | 2575259.1855 | 1097200.2205 | 2575212.6576 | 1097188.1824 | 2575195.2279 | 1097182.9288 | 2575184.911 | 1097174.8892 | 2575180.7572 | 1097171.0159
50 | 2575274.935 | 1097203.658 | 2575273.3192 | 1097206.2103 | 2575270.2595 | 1097207.8904 | 2575261.6576 | 1097208.2368 | 2575259.7486 | 1097208.2355
51 | 2575288.8473 | 1097217.0592 | 2575291.8658 | 1097217.6071 | 2575306.0531 | 1097217.7493 | 2575319.8613 | 1097221.784 | 2575326.8074 | 1097224.3968
52 | 2575337.6568 | 1097125.2745 | 2575339.0553 | 1097127.9355 | 2575342.7825 | 1097136.1245 | 2575345.4621 | 1097145.6629 | 2575347.0186 | 1097152.9015
53 | 2575386.3268 | 1096987.6046 | 2575373.2991 | 1096985.2008 | 2575369.0535 | 1096981.9232
54 | 2575372.3678 | 1097019.3323 | 2575370.1292 | 1097016.9188 | 2575369.5939 | 1097014.7754 | 2575370.1151 | 1097013.4504
55 | 2575166.6197 | 1097157.8332 | 2575180.7572 | 1097171.0159
56 | 2575230.4529 | 1097208.9647 | 2575240.5091 | 1097208.2232 | 2575259.7486 | 1097208.2355
57 | 2575298.525 | 1097075.1736 | 2575305.6399 | 1097082.2927 | 2575321.0008 | 1097102.4071 | 2575330.7929 | 1097114.729 | 2575336.1286 | 1097122.3668 | 2575337.6568 | 1097125.2745
58 | 2575362.9242 | 1096974.3151 | 2575364.7615 | 1096978.6099 | 2575369.0535 | 1096981.9232
59 | 2575116.5736 | 1097276.1801 | 2575114.1609 | 1097276.1203 | 2575109.0531 | 1097276.8639 | 2575103.7556 | 1097278.5421 | 2575102.2309 | 1097279.6571
60 | 2575091.4954 | 1097287.5082 | 2575102.2309 | 1097279.6571
61 | 2575185.5126 | 1097262.8783 | 2575185.7043 | 1097262.6087 | 2575193.7127 | 1097250.2475
62 | 2575086.0565 | 1097252.9795 | 2575076.5301 | 1097248.8277 | 2575073.2095 | 1097245.9374
63 | 2575298.525 | 1097075.1736 | 2575299.7354 | 1097071.5725
64 | 2575298.525 | 1097075.1736 | 2575295.0756 | 1097085.7376 | 2575290.8892 | 1097090.8546
65 | 2575319.3827 | 1097030.1297 | 2575313.4449 | 1097040.2838 | 2575308.8162 | 1097048.4291 | 2575305.4384 | 1097055.6799 | 2575300.5679 | 1097069.0955 | 2575299.7354 | 1097071.5725
66 | 2575290.8892 | 1097090.8546 | 2575283.9334 | 1097099.3567 | 2575277.9417 | 1097103.6722 | 2575270.6331 | 1097106.9636
67 | 2575321.9812 | 1097025.686 | 2575319.3827 | 1097030.1297
68 | 2575166.6197 | 1097157.8332 | 2575171.9464 | 1097148.1286 | 2575180.2001 | 1097136.4666 | 2575186.3998 | 1097131.2154
69 | 2575192.6633 | 1097125.9101 | 2575186.3998 | 1097131.2154
70 | 2575192.6633 | 1097125.9101 | 2575200.311 | 1097119.431 | 2575209.9678 | 1097111.8987 | 2575214.8164 | 1097104.5307 | 2575216.3768 | 1097101.7117
71 | 2575192.6633 | 1097125.9101 | 2575188.1643 | 1097118.4136 | 2575185.6914 | 1097113.5324
72 | 2575178.4132 | 1097099.1659 | 2575185.6914 | 1097113.5324
73 | 2575216.3768 | 1097101.7117 | 2575218.5271 | 1097102.9702 | 2575218.8524 | 1097104.8921 | 2575218.952 | 1097108.4157 | 2575217.9364 | 1097111.9106 | 2575215.8125 | 1097118.9673
74 | 2575216.3768 | 1097101.7117 | 2575222.5419 | 1097090.5586 | 2575226.5758 | 1097082.3011
75 | 2575226.5758 | 1097082.3011 | 2575228.8161 | 1097077.7152 | 2575233.0103 | 1097073.1735 | 2575237.5476 | 1097069.2196 | 2575240.0461 | 1097067.7053
76 | 2575244.9712 | 1097064.7203 | 2575240.0461 | 1097067.7053
77 | 2575348.7032 | 1096947.0368 | 2575351.7499 | 1096953.5166 | 2575359.1009 | 1096965.3817 | 2575362.9242 | 1096974.3151
78 | 2575348.7595 | 1096964.6567 | 2575358.2468 | 1096974.3453 | 2575362.9242 | 1096974.3151
79 | 2575266.0379 | 1097059.808 | 2575256.9065 | 1097061.3587 | 2575244.9712 | 1097064.7203 | 2575244.9712 | 1097064.7203
80 | 2575266.0379 | 1097059.808 | 2575271.8653 | 1097058.8185 | 2575277.8023 | 1097058.1606 | 2575281.7384 | 1097056.7994 | 2575285.2781 | 1097051.2599 | 2575287.223 | 1097043.9593 | 2575287.1975 | 1097037.7107
81 | 2575287.1506 | 1097026.2171 | 2575287.1975 | 1097037.7107
82 | 2575348.7032 | 1096947.0368 | 2575423.16 | 1096755.4359
83 | 2575342.1997 | 1096686.9632 | 2575345.292 | 1096687.5065 | 2575349.1957 | 1096691.4148 | 2575354.4514 | 1096698.3414 | 2575360.4587 | 1096705.365 | 2575368.5044 | 1096712.7805 | 2575380.5899 | 1096721.4136 | 2575396.129 | 1096733.7568 | 2575406.471 | 1096742.1524 | 2575417.37 | 1096752.3356 | 2575421.26 | 1096754.7989 | 2575423.16 | 1096755.4359
84 | 2575340.9812 | 1096619.767 | 2575334.6985 | 1096630.7205 | 2575332.047 | 1096650.9194 | 2575331.2465 | 1096663.5514 | 2575335.4633 | 1096675.8627 | 2575340.6027 | 1096684.6574 | 2575342.1997 | 1096686.9632
85 | 2575340.9812 | 1096619.767 | 2575342.3833 | 1096621.7512 | 2575351.7464 | 1096635.031 | 2575362.0985 | 1096645.8611 | 2575368.7726 | 1096649.258 | 2575375.6386 | 1096648.4185

## bus_geodata
| x | y | coords
0 | 2575202.556 | 1097279.7786
1 | 2575225.3104 | 1097258.0331
2 | 2575197.3518 | 1097281.7152
3 | 2575294.4389 | 1097290.2228
4 | 2575181.4408 | 1097285.4722
5 | 2575261.8637 | 1097292.7793
6 | 2575167.2293 | 1097290.291
7 | 2575158.2418 | 1097297.7171
8 | 2575148.5137 | 1097325.5157
9 | 2575162.0599 | 1097292.1541
10 | 2575138.0828 | 1097281.4104
11 | 2575110.8057 | 1097303.0665
12 | 2575011.898 | 1097283.8898
13 | 2575133.063 | 1097163.2187
14 | 2575133.5363 | 1097149.0471
15 | 2575131.1565 | 1097171.9749
16 | 2575135.0496 | 1097122.4557
17 | 2575150.9739 | 1097187.2425
18 | 2575118.4552 | 1097184.5609
19 | 2575094.9103 | 1097136.917
20 | 2575156.602 | 1097132.6393
21 | 2575161.0006 | 1097205.8176
22 | 2575105.1326 | 1097193.4928
23 | 2575044.3681 | 1097184.602
24 | 2575156.9763 | 1097142.9565
25 | 2575163.9215 | 1097217.1942
26 | 2575094.8071 | 1097215.3576
27 | 2575080.5817 | 1097215.3606
28 | 2575030.1711 | 1097197.0255
29 | 2575022.208 | 1097204.7318
30 | 2574988.9724 | 1097237.9164
31 | 2574992.6953 | 1097247.6384
32 | 2574998.515 | 1097262.836
33 | 2575405.1017 | 1097202.9644
34 | 2575408.9832 | 1097173.383
35 | 2575398.5037 | 1097039.8374
36 | 2575348.1451 | 1097175.0671
37 | 2575392.4723 | 1097026.8108
38 | 2575283.8387 | 1097208.9243
39 | 2575274.935 | 1097203.658
40 | 2575288.8473 | 1097217.0592
41 | 2575302.5579 | 1097173.4409
42 | 2575347.0186 | 1097152.9015
43 | 2575386.3268 | 1096987.6046
44 | 2575372.3678 | 1097019.3323
45 | 2575180.7572 | 1097171.0159
46 | 2575259.7486 | 1097208.2355
47 | 2575326.8074 | 1097224.3968
48 | 2575337.6568 | 1097125.2745
49 | 2575369.0535 | 1096981.9232
50 | 2575370.1151 | 1097013.4504
51 | 2575116.5736 | 1097276.1801
52 | 2575102.2309 | 1097279.6571
53 | 2575091.4954 | 1097287.5082
54 | 2575185.5126 | 1097262.8783
55 | 2575070.7764 | 1097211.221
56 | 2575073.2095 | 1097245.9374
57 | 2575086.0565 | 1097252.9795
58 | 2575193.7127 | 1097250.2475
59 | 2575163.0862 | 1097217.6784
60 | 2575298.525 | 1097075.1736
61 | 2575299.7354 | 1097071.5725
62 | 2575290.8892 | 1097090.8546
63 | 2575319.3827 | 1097030.1297
64 | 2575270.6331 | 1097106.9636
65 | 2575321.9812 | 1097025.686
66 | 2575166.6197 | 1097157.8332
67 | 2575186.3998 | 1097131.2154
68 | 2575192.6633 | 1097125.9101
69 | 2575185.6914 | 1097113.5324
70 | 2575178.4132 | 1097099.1659
71 | 2575216.3768 | 1097101.7117
72 | 2575215.8125 | 1097118.9673
73 | 2575226.5758 | 1097082.3011
74 | 2575240.0461 | 1097067.7053
75 | 2575362.9242 | 1096974.3151
76 | 2575266.0379 | 1097059.808
77 | 2575244.9712 | 1097064.7203
78 | 2575287.1975 | 1097037.7107
79 | 2575287.1506 | 1097026.2171
80 | 2575230.4529 | 1097208.9647
81 | 2575348.7032 | 1096947.0368
82 | 2575348.7595 | 1096964.6567
83 | 2575423.16 | 1096755.4359
84 | 2575342.1997 | 1096686.9632
85 | 2575340.9812 | 1096619.767
86 | 2575375.6386 | 1096648.4185
87 | 2575274.935 | 1097203.658

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1