## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6034-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6034-23_0_4_node_67 | 0.4 | n |  | TRUE
2 | bus_LV_6034-23_0_4_node_68 | 0.4 | n |  | TRUE
3 | bus_LV_6034-23_0_4_node_48 | 0.4 | n |  | TRUE
4 | bus_LV_6034-23_0_4_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_6034-23_0_4_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_6034-23_0_4_node_1 | 0.4 | n |  | TRUE
7 | bus_LV_6034-23_0_4_node_2 | 0.4 | n |  | TRUE
8 | bus_LV_6034-23_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6034-23_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6034-23_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6034-23_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6034-23_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6034-23_0_4_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_6034-23_0_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_6034-23_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_6034-23_0_4_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_6034-23_0_4_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6034-23_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_6034-23_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6034-23_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6034-23_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6034-23_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6034-23_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6034-23_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6034-23_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6034-23_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6034-23_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6034-23_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6034-23_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6034-23_0_4_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_6034-23_0_4_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_6034-23_0_4_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_6034-23_0_4_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_6034-23_0_4_node_148 | 0.4 | n |  | TRUE
35 | bus_LV_6034-23_0_4_node_95 | 0.4 | n |  | TRUE
36 | bus_LV_6034-23_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_6034-23_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_6034-23_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_6034-23_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6034-23_0_4_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_6034-23_0_4_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_6034-23_0_4_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_6034-23_0_4_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_6034-23_0_4_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_6034-23_0_4_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_6034-23_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_6034-23_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_6034-23_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6034-23_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_6034-23_0_4_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_6034-23_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6034-23_0_4_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_6034-23_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6034-23_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6034-23_0_4_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_6034-23_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_6034-23_0_4_node_69 | 0.4 | n |  | TRUE
58 | bus_LV_6034-23_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_6034-23_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_6034-23_0_4_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_6034-23_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_6034-23_0_4_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_6034-23_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_6034-23_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6034-23_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_6034-23_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_6034-23_0_4_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_6034-23_0_4_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_6034-23_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_6034-23_0_4_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6034-23_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_6034-23_0_4_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_6034-23_0_4_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_6034-23_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_6034-23_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_6034-23_0_4_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_6034-23_0_4_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_6034-23_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_6034-23_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_6034-23_0_4_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_6034-23_0_4_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_6034-23_0_4_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_6034-23_0_4_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_6034-23_0_4_node_149 | 0.4 | n |  | TRUE
85 | bus_MV_196_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6034-23_0_4_load_0 | 0 | 0.002211 | 0.00055413 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6034-23_0_4_load_67 | 1 | 0.0011864 | 0.00029733 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6034-23_0_4_load_68 | 2 | 0.0007441 | 0.00018649 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6034-23_0_4_load_48 | 3 | 0.0020903 | 0.00052387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6034-23_0_4_load_50 | 4 | 0.002136 | 0.00053534 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6034-23_0_4_load_51 | 5 | 0.0017192 | 0.00043087 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6034-23_0_4_load_1 | 6 | 0.00087656 | 0.00021969 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6034-23_0_4_load_4 | 9 | 0.0010554 | 0.00026451 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6034-23_0_4_load_6 | 11 | 0.0034436 | 0.00086304 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6034-23_0_4_load_7 | 12 | 0.0008212 | 0.00020581 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6034-23_0_4_load_77 | 13 | 0.002269 | 0.00056866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6034-23_0_4_load_41 | 15 | 0.00067386 | 0.00016888 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6034-23_0_4_load_78 | 16 | 0.00060617 | 0.00015192 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6034-23_0_4_load_8 | 18 | 0.0028195 | 0.00070662 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6034-23_0_4_load_9 | 19 | 0.0011267 | 0.00028238 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6034-23_0_4_load_14 | 24 | 0.0013064 | 0.00032741 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6034-23_0_4_load_15 | 25 | 0.0013331 | 0.0003341 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6034-23_0_4_load_16 | 26 | 0.0021359 | 0.0005353 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6034-23_0_4_load_17 | 27 | 0.0035571 | 0.0008915 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6034-23_0_4_load_18 | 28 | 0.00084915 | 0.00021282 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6034-23_0_4_load_19 | 29 | 0.0023527 | 0.00058964 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6034-23_0_4_load_96 | 30 | 0.00093556 | 0.00023447 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6034-23_0_4_load_91 | 32 | 0.0017004 | 0.00042615 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6034-23_0_4_load_90 | 33 | 0.0042922 | 0.0010757 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6034-23_0_4_load_148 | 34 | 0.0013615 | 0.00034122 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6034-23_0_4_load_95 | 35 | 0.0026837 | 0.0006726 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6034-23_0_4_load_20 | 36 | 0.0014059 | 0.00035236 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6034-23_0_4_load_21 | 37 | 0.0012525 | 0.0003139 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6034-23_0_4_load_22 | 38 | 0.00154 | 0.00038597 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6034-23_0_4_load_24 | 40 | 0.001852 | 0.00046415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6034-23_0_4_load_25 | 41 | 0.00092538 | 0.00023192 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6034-23_0_4_load_93 | 42 | 0.0013355 | 0.00033472 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6034-23_0_4_load_94 | 43 | 0.001498 | 0.00037544 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6034-23_0_4_load_26 | 44 | 0.00055216 | 0.00013838 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6034-23_0_4_load_27 | 45 | 0.00074039 | 0.00018556 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6034-23_0_4_load_28 | 46 | 0.00076318 | 0.00019127 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6034-23_0_4_load_29 | 47 | 0.00090309 | 0.00022634 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6034-23_0_4_load_31 | 48 | 0.00063603 | 0.0001594 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6034-23_0_4_load_32 | 49 | 0.00083751 | 0.0002099 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6034-23_0_4_load_92 | 50 | 0.00068193 | 0.00017091 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6034-23_0_4_load_76 | 52 | 0.00095264 | 0.00023875 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6034-23_0_4_load_49 | 53 | 0.00082846 | 0.00020763 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6034-23_0_4_load_45 | 54 | 0.00086471 | 0.00021672 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6034-23_0_4_load_79 | 55 | 0.0010388 | 0.00026034 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6034-23_0_4_load_69 | 57 | 0.0016279 | 0.000408 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6034-23_0_4_load_70 | 58 | 0.00083151 | 0.0002084 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6034-23_0_4_load_71 | 59 | 0.0014648 | 0.00036711 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6034-23_0_4_load_72 | 60 | 0.0010214 | 0.00025598 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6034-23_0_4_load_40 | 61 | 0.0011895 | 0.00029812 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6034-23_0_4_load_43 | 62 | 0.00050723 | 0.00012712 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6034-23_0_4_load_44 | 63 | 0.00093258 | 0.00023373 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6034-23_0_4_load_47 | 64 | 0.0003899 | 9.7718e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6034-23_0_4_load_52 | 65 | 0.0025724 | 0.0006447 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6034-23_0_4_load_53 | 66 | 0.0041098 | 0.00103 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6034-23_0_4_load_55 | 68 | 0.00091366 | 0.00022898 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6034-23_0_4_load_56 | 69 | 0.0056671 | 0.0014203 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6034-23_0_4_load_57 | 70 | 0.0030223 | 0.00075746 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6034-23_0_4_load_58 | 71 | 0.0014272 | 0.00035768 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6034-23_0_4_load_59 | 72 | 0.0015387 | 0.00038563 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6034-23_0_4_load_74 | 74 | 0.00041881 | 0.00010496 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6034-23_0_4_load_60 | 75 | 0.00056811 | 0.00014238 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6034-23_0_4_load_61 | 76 | 0.00072555 | 0.00018184 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6034-23_0_4_load_62 | 77 | 0.0012064 | 0.00030235 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6034-23_0_4_load_63 | 78 | 0.0012515 | 0.00031366 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6034-23_0_4_load_64 | 79 | 0.001024 | 0.00025664 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6034-23_0_4_load_65 | 80 | 0.00060616 | 0.00015192 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6034-23_0_4_load_66 | 81 | 0.0010487 | 0.00026284 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6034-23_0_4_load_98 | 82 | 0.0011108 | 0.00027838 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6034-23_0_4_load_73 | 83 | 0.00083785 | 0.00020999 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6034-23_0_4_load_149 | 84 | 0.0040056 | 0.0010039 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6034-23_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.33621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6034-23_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.14379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6034-23_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.33787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6034-23_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.018959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6034-23_0_4_line_4 | NAYY 4x150 SE | 3 | 64 | 0.077338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6034-23_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.045122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6034-23_0_4_line_6 | NAYY 4x150 SE | 5 | 41 | 0.04576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6034-23_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.063387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6034-23_0_4_line_8 | NAYY 4x150 SE | 7 | 8 | 0.06414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6034-23_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0086971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6034-23_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.022537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6034-23_0_4_line_11 | NAYY 4x150 SE | 8 | 11 | 0.036055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6034-23_0_4_line_12 | NAYY 4x150 SE | 9 | 12 | 0.044369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6034-23_0_4_line_13 | NAYY 4x150 SE | 10 | 13 | 0.087368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6034-23_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.008633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6034-23_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 1.3828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6034-23_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.049391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6034-23_0_4_line_17 | NAYY 4x150 SE | 14 | 17 | 0.10049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6034-23_0_4_line_18 | NAYY 4x150 SE | 15 | 61 | 0.028654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6034-23_0_4_line_19 | NAYY 4x150 SE | 16 | 55 | 0.027281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6034-23_0_4_line_20 | NAYY 4x150 SE | 17 | 49 | 0.040964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6034-23_0_4_line_21 | NAYY 4x150 SE | 17 | 46 | 0.010038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6034-23_0_4_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0025415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6034-23_0_4_line_23 | NAYY 4x150 SE | 18 | 20 | 0.024929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6034-23_0_4_line_24 | NAYY 4x150 SE | 19 | 21 | 0.049436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6034-23_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.030087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6034-23_0_4_line_26 | NAYY 4x150 SE | 20 | 23 | 0.039885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6034-23_0_4_line_27 | NAYY 4x150 SE | 21 | 24 | 0.025911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6034-23_0_4_line_28 | NAYY 4x150 SE | 21 | 25 | 0.022223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6034-23_0_4_line_29 | NAYY 4x150 SE | 22 | 26 | 0.025565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6034-23_0_4_line_30 | NAYY 4x150 SE | 22 | 27 | 0.055201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6034-23_0_4_line_31 | NAYY 4x150 SE | 23 | 28 | 0.044762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6034-23_0_4_line_32 | NAYY 4x150 SE | 23 | 29 | 0.01494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6034-23_0_4_line_33 | NAYY 4x150 SE | 24 | 30 | 0.025481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6034-23_0_4_line_34 | NAYY 4x150 SE | 25 | 31 | 0.018555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6034-23_0_4_line_35 | NAYY 4x150 SE | 28 | 32 | 0.0031011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6034-23_0_4_line_36 | NAYY 4x150 SE | 29 | 33 | 0.013139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6034-23_0_4_line_37 | NAYY 4x150 SE | 31 | 34 | 0.025975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6034-23_0_4_line_38 | NAYY 4x150 SE | 32 | 35 | 0.0010065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6034-23_0_4_line_39 | NAYY 4x150 SE | 34 | 84 | 0.068263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6034-23_0_4_line_40 | NAYY 4x150 SE | 35 | 43 | 0.019705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6034-23_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.008236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6034-23_0_4_line_42 | NAYY 4x150 SE | 36 | 38 | 0.021657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6034-23_0_4_line_43 | NAYY 4x150 SE | 37 | 39 | 0.0094583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6034-23_0_4_line_44 | NAYY 4x150 SE | 39 | 40 | 0.017232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6034-23_0_4_line_45 | NAYY 4x150 SE | 39 | 41 | 0.029675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6034-23_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0047621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6034-23_0_4_line_47 | NAYY 4x150 SE | 42 | 43 | 0.021661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6034-23_0_4_line_48 | NAYY 4x150 SE | 44 | 45 | 0.023779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_6034-23_0_4_line_49 | NAYY 4x150 SE | 44 | 46 | 0.041152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_6034-23_0_4_line_50 | NAYY 4x150 SE | 45 | 47 | 0.0015411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_6034-23_0_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.040401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_6034-23_0_4_line_52 | NAYY 4x150 SE | 48 | 50 | 0.026232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_6034-23_0_4_line_53 | NAYY 4x150 SE | 49 | 51 | 0.021582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_6034-23_0_4_line_54 | NAYY 4x150 SE | 50 | 52 | 0.013048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_6034-23_0_4_line_55 | NAYY 4x150 SE | 51 | 53 | 0.016589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_6034-23_0_4_line_56 | NAYY 4x150 SE | 51 | 54 | 0.015555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6034-23_0_4_line_57 | NAYY 4x150 SE | 52 | 73 | 0.03557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_6034-23_0_4_line_58 | NAYY 4x150 SE | 53 | 64 | 0.018569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_6034-23_0_4_line_59 | NAYY 4x150 SE | 54 | 63 | 0.043154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6034-23_0_4_line_60 | NAYY 4x150 SE | 56 | 57 | 0.011885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6034-23_0_4_line_61 | NAYY 4x150 SE | 56 | 58 | 0.027888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6034-23_0_4_line_62 | NAYY 4x150 SE | 57 | 59 | 0.01744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6034-23_0_4_line_63 | NAYY 4x150 SE | 58 | 60 | 0.016759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6034-23_0_4_line_64 | NAYY 4x150 SE | 59 | 71 | 0.033518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6034-23_0_4_line_65 | NAYY 4x150 SE | 62 | 63 | 0.052779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6034-23_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.036448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6034-23_0_4_line_67 | NAYY 4x150 SE | 65 | 67 | 0.0066187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6034-23_0_4_line_68 | NAYY 4x150 SE | 66 | 68 | 0.042488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6034-23_0_4_line_69 | NAYY 4x150 SE | 67 | 69 | 0.050398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6034-23_0_4_line_70 | NAYY 4x150 SE | 67 | 70 | 0.039903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6034-23_0_4_line_71 | NAYY 4x150 SE | 68 | 71 | 0.021177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6034-23_0_4_line_72 | NAYY 4x150 SE | 70 | 72 | 0.036022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6034-23_0_4_line_73 | NAYY 4x150 SE | 72 | 73 | 0.026797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6034-23_0_4_line_74 | NAYY 4x150 SE | 73 | 74 | 0.021075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6034-23_0_4_line_75 | NAYY 4x150 SE | 74 | 83 | 0.069933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6034-23_0_4_line_76 | NAYY 4x150 SE | 75 | 76 | 0.038475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6034-23_0_4_line_77 | NAYY 4x150 SE | 75 | 77 | 0.0043242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6034-23_0_4_line_78 | NAYY 4x150 SE | 76 | 78 | 0.025314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6034-23_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.00059242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6034-23_0_4_line_80 | NAYY 4x150 SE | 78 | 80 | 0.018089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6034-23_0_4_line_81 | NAYY 4x150 SE | 79 | 81 | 0.022794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_6034-23_0_4_line_82 | NAYY 4x150 SE | 80 | 82 | 0.015935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_6034-23_0_4_line_83 | NAYY 4x150 SE | 81 | 83 | 0.0054105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6034-23_0_4_trafo_75 | 0.25 MVA 20/0.4 kV | 85 | 73 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2575064.1761 | 1091865.3485 | 2575275.6432 | 1091603.9654
1 | 2575064.1761 | 1091865.3485 | 2574928.187 | 1091818.6345
2 | 2575057.8996 | 1092203.1573 | 2575064.1761 | 1091865.3485
3 | 2575057.8996 | 1092203.1573 | 2575076.2897 | 1092207.7658
4 | 2574981.3503 | 1092193.0905 | 2575042.6799 | 1092199.3433 | 2575057.8996 | 1092203.1573
5 | 2575117.1061 | 1092226.5097 | 2575085.5829 | 1092210.0946 | 2575076.2897 | 1092207.7658
6 | 2575117.1061 | 1092226.5097 | 2575122.9258 | 1092229.5402 | 2575153.4334 | 1092249.1474 | 2575155.8509 | 1092250.8084
7 | 2574787.3522 | 1092298.9294 | 2574788.1035 | 1092300.6938 | 2574786.5621 | 1092304.6356 | 2574785.2413 | 1092313.1344 | 2574783.8334 | 1092323.0898 | 2574783.9682 | 1092331.2713 | 2574785.3512 | 1092339.5476 | 2574787.6702 | 1092347.4198 | 2574788.0086 | 1092352.3876 | 2574787.194 | 1092357.7716 | 2574785.7928 | 1092360.8434
8 | 2574787.3522 | 1092298.9294 | 2574723.1932 | 1092303.6435
9 | 2574787.3522 | 1092298.9294 | 2574796.0258 | 1092298.2916
10 | 2574705.3545 | 1092317.1249 | 2574718.9592 | 1092308.6192 | 2574723.1932 | 1092303.6435
11 | 2574723.1932 | 1092303.6435 | 2574720.187 | 1092294.5624 | 2574715.9765 | 1092268.4097
12 | 2574796.0258 | 1092298.2916 | 2574840.275 | 1092295.0378
13 | 2574705.3545 | 1092317.1249 | 2574699.5868 | 1092307.455 | 2574688.5323 | 1092295.6284 | 2574682.8161 | 1092287.1812 | 2574676.7977 | 1092278.7353 | 2574669.6826 | 1092263.7795 | 2574664.3624 | 1092249.9501 | 2574666.1154 | 1092244.7401 | 2574666.9533 | 1092242.4136
14 | 2574848.8847 | 1092294.4047 | 2574840.275 | 1092295.0378
15 | 2574666.9533 | 1092242.4136 | 2573368.4937 | 1092717.8925
16 | 2574848.8847 | 1092294.4047 | 2574844.9448 | 1092310.5072 | 2574843.3297 | 1092322.8425 | 2574843.7232 | 1092329.8778 | 2574848.5566 | 1092342.2975
17 | 2574848.8847 | 1092294.4047 | 2574852.4875 | 1092294.1563 | 2574886.7828 | 1092277.5833 | 2574911.9561 | 1092260.9593 | 2574924.6228 | 1092256.0488 | 2574939.2525 | 1092251.6638
18 | 2573368.4937 | 1092717.8925 | 2573360.4153 | 1092745.3844
19 | 2574867.6851 | 1092361.6236 | 2574856.8127 | 1092352.2017 | 2574848.5566 | 1092342.2975 | 2574848.5566 | 1092342.2975
20 | 2574939.2525 | 1092251.6638 | 2574943.9164 | 1092210.9662
21 | 2574939.2525 | 1092251.6638 | 2574948.7365 | 1092254.9514
22 | 2575328.0761 | 1092365.257 | 2575330.2253 | 1092366.6137
23 | 2575306.9958 | 1092351.9508 | 2575328.0761 | 1092365.257
24 | 2575368.3523 | 1092397.5692 | 2575350.3756 | 1092379.3329 | 2575330.2253 | 1092366.6137
25 | 2575306.9958 | 1092351.9508 | 2575310.257 | 1092345.8789 | 2575317.2582 | 1092323.7611
26 | 2575306.9958 | 1092351.9508 | 2575278.2978 | 1092333.0692 | 2575273.5426 | 1092330.087
27 | 2575368.3523 | 1092397.5692 | 2575357.3902 | 1092410.0313 | 2575351.369 | 1092417.1368
28 | 2575368.3523 | 1092397.5692 | 2575371.4884 | 1092400.747 | 2575382.1807 | 1092414.9255
29 | 2575317.2582 | 1092323.7611 | 2575315.0479 | 1092323.381 | 2575310.8631 | 1092315.8386 | 2575306.9613 | 1092301.6583
30 | 2575317.2582 | 1092323.7611 | 2575318.2568 | 1092319.666 | 2575333.446 | 1092270.9956
31 | 2575273.5426 | 1092330.087 | 2575236.4438 | 1092305.0409
32 | 2575273.5426 | 1092330.087 | 2575264.7061 | 1092339.2278 | 2575263.2372 | 1092340.9012
33 | 2575351.369 | 1092417.1368 | 2575334.8956 | 1092436.5762
34 | 2575393.3526 | 1092429.7399 | 2575382.1807 | 1092414.9255
35 | 2575233.8736 | 1092303.3057 | 2575236.4438 | 1092305.0409
36 | 2575254.5697 | 1092350.7752 | 2575263.2372 | 1092340.9012
37 | 2575393.3526 | 1092429.7399 | 2575402.9685 | 1092405.6108
38 | 2575233.8736 | 1092303.3057 | 2575233.0394 | 1092302.7426
39 | 2575402.9685 | 1092405.6108 | 2575406.0571 | 1092397.8607 | 2575422.9302 | 1092340.3655
40 | 2575216.65 | 1092291.8022 | 2575229.7268 | 1092300.5062 | 2575233.0394 | 1092302.7426
41 | 2575185.2747 | 1092250.6303 | 2575182.9635 | 1092258.5353
42 | 2575182.7297 | 1092233.6348 | 2575189.2974 | 1092236.8719 | 2575185.2747 | 1092250.6303
43 | 2575180.3092 | 1092267.6135 | 2575182.9635 | 1092258.5353
44 | 2575180.3092 | 1092267.6135 | 2575194.6541 | 1092277.1616
45 | 2575180.3092 | 1092267.6135 | 2575155.8509 | 1092250.8084
46 | 2575194.6541 | 1092277.1616 | 2575198.6183 | 1092279.8002
47 | 2575216.65 | 1092291.8022 | 2575198.6183 | 1092279.8002
48 | 2575010.0862 | 1092276.2181 | 2574987.6189 | 1092268.4299
49 | 2574948.7365 | 1092254.9514 | 2574987.6189 | 1092268.4299
50 | 2575010.0862 | 1092276.2181 | 2575011.5423 | 1092276.7229
51 | 2575049.0435 | 1092291.1914 | 2575045.6436 | 1092288.544 | 2575011.5423 | 1092276.7229
52 | 2575069.7405 | 1092307.3083 | 2575049.0435 | 1092291.1914
53 | 2574946.3736 | 1092189.5244 | 2574943.9164 | 1092210.9662
54 | 2575080.0351 | 1092315.3247 | 2575069.7405 | 1092307.3083
55 | 2574946.3736 | 1092189.5244 | 2574962.8772 | 1092191.2071
56 | 2574946.3736 | 1092189.5244 | 2574930.8268 | 1092189.0199
57 | 2575108.1002 | 1092337.179 | 2575080.0351 | 1092315.3247
58 | 2574981.3503 | 1092193.0905 | 2574962.8772 | 1092191.2071
59 | 2574887.8123 | 1092189.2205 | 2574895.3314 | 1092187.8681 | 2574930.8268 | 1092189.0199
60 | 2575319.4999 | 1092508.7477 | 2575310.0721 | 1092501.5108
61 | 2575319.4999 | 1092508.7477 | 2575337.4536 | 1092487.407
62 | 2575296.38 | 1092490.71 | 2575306.9524 | 1092499.1161 | 2575310.0721 | 1092501.5108
63 | 2575348.2428 | 1092474.5825 | 2575337.4536 | 1092487.407
64 | 2575270.1439 | 1092469.8497 | 2575296.38 | 1092490.71
65 | 2574835.867 | 1092198.5637 | 2574887.8123 | 1092189.2205
66 | 2575220.3108 | 1092430.2277 | 2575191.7813 | 1092407.5439
67 | 2575186.6006 | 1092403.4247 | 2575191.7813 | 1092407.5439
68 | 2575220.3108 | 1092430.2277 | 2575253.5678 | 1092456.6701
69 | 2575186.6006 | 1092403.4247 | 2575183.6065 | 1092408.4618 | 2575158.3994 | 1092445.2286
70 | 2575186.6006 | 1092403.4247 | 2575184.8734 | 1092401.7865 | 2575156.1639 | 1092377.6264
71 | 2575270.1439 | 1092469.8497 | 2575253.5678 | 1092456.6701
72 | 2575128.6029 | 1092354.4328 | 2575156.1639 | 1092377.6264
73 | 2575108.1002 | 1092337.179 | 2575128.6029 | 1092354.4328
74 | 2575108.1002 | 1092337.179 | 2575094.9847 | 1092353.6759
75 | 2575094.9847 | 1092353.6759 | 2575075.9565 | 1092377.6098 | 2575071.4326 | 1092379.9852 | 2575065.9069 | 1092380.0079 | 2575039.6749 | 1092368.3111
76 | 2575009.2696 | 1092355.1979 | 2575007.4442 | 1092354.5022 | 2574981.7974 | 1092350.2836 | 2574971.3284 | 1092349.1469
77 | 2575009.2696 | 1092355.1979 | 2575013.3103 | 1092356.7378
78 | 2574946.4711 | 1092344.555 | 2574948.1407 | 1092345.0866 | 2574964.4373 | 1092348.3987 | 2574971.3284 | 1092349.1469
79 | 2575013.3103 | 1092356.7378 | 2575013.8639 | 1092356.9488
80 | 2574928.8974 | 1092341.342 | 2574932.3293 | 1092341.0165 | 2574936.9039 | 1092341.5089 | 2574946.4711 | 1092344.555
81 | 2575034.7334 | 1092366.1077 | 2575016.1301 | 1092357.8125 | 2575013.8639 | 1092356.9488
82 | 2574922.8268 | 1092355.7634 | 2574925.077 | 1092347.0496 | 2574926.7217 | 1092343.73 | 2574928.8974 | 1092341.342
83 | 2575034.7334 | 1092366.1077 | 2575039.6749 | 1092368.3111

## bus_geodata
| x | y | coords
0 | 2575275.6432 | 1091603.9654
1 | 2575064.1761 | 1091865.3485
2 | 2574928.187 | 1091818.6345
3 | 2575057.8996 | 1092203.1573
4 | 2575076.2897 | 1092207.7658
5 | 2575117.1061 | 1092226.5097
6 | 2574785.7928 | 1092360.8434
7 | 2574787.3522 | 1092298.9294
8 | 2574723.1932 | 1092303.6435
9 | 2574796.0258 | 1092298.2916
10 | 2574705.3545 | 1092317.1249
11 | 2574715.9765 | 1092268.4097
12 | 2574840.275 | 1092295.0378
13 | 2574666.9533 | 1092242.4136
14 | 2574848.8847 | 1092294.4047
15 | 2573368.4937 | 1092717.8925
16 | 2574848.5566 | 1092342.2975
17 | 2574939.2525 | 1092251.6638
18 | 2575328.0761 | 1092365.257
19 | 2575330.2253 | 1092366.6137
20 | 2575306.9958 | 1092351.9508
21 | 2575368.3523 | 1092397.5692
22 | 2575317.2582 | 1092323.7611
23 | 2575273.5426 | 1092330.087
24 | 2575351.369 | 1092417.1368
25 | 2575382.1808 | 1092414.9255
26 | 2575306.9613 | 1092301.6583
27 | 2575333.446 | 1092270.9956
28 | 2575236.4438 | 1092305.0409
29 | 2575263.2372 | 1092340.9012
30 | 2575334.8956 | 1092436.5762
31 | 2575393.3526 | 1092429.7399
32 | 2575233.8736 | 1092303.3057
33 | 2575254.5697 | 1092350.7752
34 | 2575402.9685 | 1092405.6108
35 | 2575233.0394 | 1092302.7426
36 | 2575185.2747 | 1092250.6303
37 | 2575182.9635 | 1092258.5353
38 | 2575182.7297 | 1092233.6348
39 | 2575180.3092 | 1092267.6135
40 | 2575194.6541 | 1092277.1616
41 | 2575155.8509 | 1092250.8084
42 | 2575198.6183 | 1092279.8002
43 | 2575216.65 | 1092291.8022
44 | 2574987.6189 | 1092268.4299
45 | 2575010.0862 | 1092276.2181
46 | 2574948.7365 | 1092254.9514
47 | 2575011.5423 | 1092276.7229
48 | 2575049.0435 | 1092291.1914
49 | 2574943.9164 | 1092210.9662
50 | 2575069.7405 | 1092307.3083
51 | 2574946.3736 | 1092189.5244
52 | 2575080.0351 | 1092315.3247
53 | 2574962.8772 | 1092191.207
54 | 2574930.8268 | 1092189.0199
55 | 2574867.6851 | 1092361.6236
56 | 2575319.4999 | 1092508.7477
57 | 2575310.0721 | 1092501.5108
58 | 2575337.4536 | 1092487.407
59 | 2575296.38 | 1092490.71
60 | 2575348.2428 | 1092474.5825
61 | 2573360.4153 | 1092745.3844
62 | 2574835.867 | 1092198.5637
63 | 2574887.8123 | 1092189.2205
64 | 2574981.3503 | 1092193.0905
65 | 2575191.7813 | 1092407.5439
66 | 2575220.3108 | 1092430.2277
67 | 2575186.6006 | 1092403.4247
68 | 2575253.5678 | 1092456.6701
69 | 2575158.3994 | 1092445.2286
70 | 2575156.1639 | 1092377.6264
71 | 2575270.1439 | 1092469.8497
72 | 2575128.6029 | 1092354.4328
73 | 2575108.1002 | 1092337.179
74 | 2575094.9847 | 1092353.6759
75 | 2575009.2696 | 1092355.1979
76 | 2574971.3284 | 1092349.1469
77 | 2575013.3103 | 1092356.7378
78 | 2574946.4711 | 1092344.555
79 | 2575013.8639 | 1092356.9488
80 | 2574928.8974 | 1092341.342
81 | 2575034.7334 | 1092366.1077
82 | 2574922.8268 | 1092355.7634
83 | 2575039.6749 | 1092368.3111
84 | 2575422.9302 | 1092340.3655
85 | 2575186.6006 | 1092403.4247

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1