## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6034-32_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6034-32_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6034-32_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6034-32_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_6034-32_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_6034-32_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_6034-32_0_3_node_82 | 0.4 | n |  | TRUE
7 | bus_LV_6034-32_0_3_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_6034-32_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_6034-32_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_6034-32_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_6034-32_0_3_node_3 | 0.4 | n |  | TRUE
12 | bus_LV_6034-32_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_6034-32_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6034-32_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6034-32_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6034-32_0_3_node_78 | 0.4 | n |  | TRUE
17 | bus_LV_6034-32_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6034-32_0_3_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_6034-32_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_6034-32_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_6034-32_0_3_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_6034-32_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6034-32_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6034-32_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6034-32_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6034-32_0_3_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_6034-32_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6034-32_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_6034-32_0_3_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_6034-32_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_6034-32_0_3_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_6034-32_0_3_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_6034-32_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6034-32_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_6034-32_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_6034-32_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_6034-32_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6034-32_0_3_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_6034-32_0_3_node_61 | 0.4 | n |  | TRUE
40 | bus_LV_6034-32_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6034-32_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_6034-32_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_6034-32_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6034-32_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6034-32_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_6034-32_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6034-32_0_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_6034-32_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_6034-32_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_6034-32_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_6034-32_0_3_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_6034-32_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_6034-32_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_6034-32_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_6034-32_0_3_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_6034-32_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_6034-32_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_6034-32_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6034-32_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6034-32_0_3_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_6034-32_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6034-32_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_6034-32_0_3_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_6034-32_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_6034-32_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_6034-32_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6034-32_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6034-32_0_3_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_6034-32_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_6034-32_0_3_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6034-32_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_6034-32_0_3_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_6034-32_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6034-32_0_3_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_6034-32_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6034-32_0_3_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_6034-32_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_6034-32_0_3_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6034-32_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6034-32_0_3_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_6034-32_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_6034-32_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_MV_196_0_node_82 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6034-32_0_3_load_0 | 0 | 0.0022644 | 0.00056752 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6034-32_0_3_load_1 | 1 | 0.0040505 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6034-32_0_3_load_4 | 2 | 0.0046669 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6034-32_0_3_load_2 | 3 | 0.0023284 | 0.00058356 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6034-32_0_3_load_14 | 4 | 0.0042679 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6034-32_0_3_load_82 | 6 | 0.0025525 | 0.00063971 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6034-32_0_3_load_84 | 7 | 0.0033891 | 0.00084939 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6034-32_0_3_load_17 | 9 | 0.0028582 | 0.00071632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6034-32_0_3_load_6 | 13 | 0.0014329 | 0.00035912 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6034-32_0_3_load_7 | 14 | 0.0029202 | 0.00073188 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6034-32_0_3_load_8 | 15 | 0.0037602 | 0.0009424 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6034-32_0_3_load_78 | 16 | 0.0034792 | 0.00087198 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6034-32_0_3_load_10 | 17 | 0.0023941 | 0.00060003 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6034-32_0_3_load_85 | 18 | 0.0064798 | 0.001624 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6034-32_0_3_load_79 | 21 | 0.0014718 | 0.00036887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6034-32_0_3_load_20 | 24 | 0.0050656 | 0.0012696 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6034-32_0_3_load_18 | 25 | 0.0038327 | 0.00096055 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6034-32_0_3_load_83 | 26 | 0.0037844 | 0.00094846 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6034-32_0_3_load_23 | 27 | 0.0023291 | 0.00058372 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6034-32_0_3_load_80 | 29 | 0.0028466 | 0.00071343 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6034-32_0_3_load_81 | 31 | 0.0029102 | 0.00072938 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6034-32_0_3_load_26 | 33 | 0.0039003 | 0.0009775 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6034-32_0_3_load_21 | 36 | 0.0042433 | 0.0010635 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6034-32_0_3_load_25 | 37 | 0.0033575 | 0.00084146 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6034-32_0_3_load_65 | 38 | 0.0030611 | 0.00076718 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6034-32_0_3_load_40 | 41 | 0.0026085 | 0.00065374 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6034-32_0_3_load_30 | 43 | 0.0049134 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6034-32_0_3_load_32 | 45 | 0.0050042 | 0.0012542 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6034-32_0_3_load_33 | 46 | 0.0032863 | 0.00082363 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6034-32_0_3_load_52 | 47 | 0.0046223 | 0.0011585 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6034-32_0_3_load_43 | 49 | 0.0025734 | 0.00064496 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6034-32_0_3_load_34 | 50 | 0.0034634 | 0.000868 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6034-32_0_3_load_35 | 51 | 0.0031189 | 0.00078168 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6034-32_0_3_load_37 | 53 | 0.0022411 | 0.00056167 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6034-32_0_3_load_39 | 55 | 0.003067 | 0.00076865 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6034-32_0_3_load_44 | 56 | 0.0061734 | 0.0015472 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6034-32_0_3_load_48 | 57 | 0.0029588 | 0.00074154 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6034-32_0_3_load_47 | 58 | 0.002245 | 0.00056265 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6034-32_0_3_load_49 | 60 | 0.0029429 | 0.00073756 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6034-32_0_3_load_50 | 62 | 0.0044396 | 0.0011127 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6034-32_0_3_load_53 | 63 | 0.0036338 | 0.00091071 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6034-32_0_3_load_45 | 64 | 0.0024485 | 0.00061365 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6034-32_0_3_load_64 | 65 | 0.0029198 | 0.00073178 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6034-32_0_3_load_54 | 66 | 0.0046517 | 0.0011658 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6034-32_0_3_load_56 | 67 | 0.0031075 | 0.00077881 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6034-32_0_3_load_58 | 68 | 0.0045976 | 0.0011523 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6034-32_0_3_load_59 | 69 | 0.0029115 | 0.00072968 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6034-32_0_3_load_62 | 71 | 0.0016634 | 0.00041689 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6034-32_0_3_load_63 | 72 | 0.0017951 | 0.0004499 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6034-32_0_3_load_66 | 73 | 0.0036075 | 0.00090411 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6034-32_0_3_load_77 | 74 | 0.0016459 | 0.00041251 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6034-32_0_3_load_71 | 75 | 0.0031949 | 0.00080072 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6034-32_0_3_load_75 | 76 | 0.0013073 | 0.00032764 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6034-32_0_3_load_69 | 77 | 0.0019977 | 0.00050068 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6034-32_0_3_load_67 | 78 | 0.0019824 | 0.00049684 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6034-32_0_3_load_74 | 79 | 0.0018378 | 0.0004606 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6034-32_0_3_load_72 | 80 | 0.0039368 | 0.00098666 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6034-32_0_3_load_73 | 81 | 0.0014084 | 0.00035298 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6034-32_0_3_load_76 | 82 | 0.0018606 | 0.00046631 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6034-32_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0026701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6034-32_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.032274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6034-32_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.00044497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6034-32_0_3_line_3 | NAYY 4x150 SE | 3 | 11 | 0.03411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6034-32_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.021084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6034-32_0_3_line_5 | NAYY 4x150 SE | 5 | 9 | 0.046875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6034-32_0_3_line_6 | NAYY 4x150 SE | 5 | 10 | 0.009583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6034-32_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.043532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6034-32_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.025796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6034-32_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.01501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6034-32_0_3_line_10 | NAYY 4x150 SE | 8 | 34 | 0.0278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6034-32_0_3_line_11 | NAYY 4x150 SE | 8 | 19 | 0.029122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6034-32_0_3_line_12 | NAYY 4x150 SE | 10 | 20 | 0.021051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6034-32_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.011365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6034-32_0_3_line_14 | NAYY 4x150 SE | 12 | 16 | 0.031341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6034-32_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.022256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6034-32_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.020783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6034-32_0_3_line_17 | NAYY 4x150 SE | 14 | 20 | 0.013103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6034-32_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.010096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6034-32_0_3_line_19 | NAYY 4x150 SE | 16 | 21 | 0.059461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6034-32_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.024234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6034-32_0_3_line_21 | NAYY 4x150 SE | 19 | 35 | 0.039168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6034-32_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.035767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6034-32_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.007891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6034-32_0_3_line_24 | NAYY 4x150 SE | 23 | 26 | 0.013288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6034-32_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0096712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6034-32_0_3_line_26 | NAYY 4x150 SE | 25 | 35 | 0.015132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_6034-32_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.024052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6034-32_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.044549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6034-32_0_3_line_29 | NAYY 4x150 SE | 28 | 37 | 0.0092612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6034-32_0_3_line_30 | NAYY 4x150 SE | 28 | 36 | 0.0097556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6034-32_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.028015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6034-32_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.020043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6034-32_0_3_line_33 | NAYY 4x150 SE | 30 | 40 | 0.00238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6034-32_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.021467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6034-32_0_3_line_35 | NAYY 4x150 SE | 32 | 61 | 0.035776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6034-32_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.027932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6034-32_0_3_line_37 | NAYY 4x150 SE | 34 | 40 | 0.033001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6034-32_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.046742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6034-32_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.012019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6034-32_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.014878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6034-32_0_3_line_41 | NAYY 4x150 SE | 39 | 73 | 0.0071147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6034-32_0_3_line_42 | NAYY 4x150 SE | 39 | 69 | 0.0039768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6034-32_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0066208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6034-32_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.025177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6034-32_0_3_line_45 | NAYY 4x150 SE | 42 | 49 | 0.0062169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6034-32_0_3_line_46 | NAYY 4x150 SE | 42 | 46 | 0.037246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6034-32_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.019355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6034-32_0_3_line_48 | NAYY 4x150 SE | 44 | 45 | 0.015966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6034-32_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.0121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6034-32_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.02397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6034-32_0_3_line_51 | NAYY 4x150 SE | 47 | 48 | 0.013566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6034-32_0_3_line_52 | NAYY 4x150 SE | 48 | 63 | 0.0026128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6034-32_0_3_line_53 | NAYY 4x150 SE | 48 | 56 | 0.0053876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6034-32_0_3_line_54 | NAYY 4x150 SE | 49 | 60 | 0.015937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6034-32_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.0083163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6034-32_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.0023111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6034-32_0_3_line_57 | NAYY 4x150 SE | 51 | 53 | 0.033901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6034-32_0_3_line_58 | NAYY 4x150 SE | 52 | 54 | 0.035355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6034-32_0_3_line_59 | NAYY 4x150 SE | 52 | 55 | 0.031133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6034-32_0_3_line_60 | NAYY 4x150 SE | 53 | 56 | 0.021108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6034-32_0_3_line_61 | NAYY 4x150 SE | 54 | 57 | 0.026422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6034-32_0_3_line_62 | NAYY 4x150 SE | 54 | 58 | 0.0016828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6034-32_0_3_line_63 | NAYY 4x150 SE | 58 | 59 | 0.018066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6034-32_0_3_line_64 | NAYY 4x150 SE | 59 | 64 | 0.022446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6034-32_0_3_line_65 | NAYY 4x150 SE | 60 | 62 | 0.035682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6034-32_0_3_line_66 | NAYY 4x150 SE | 61 | 66 | 0.015165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6034-32_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.014914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6034-32_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.017069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6034-32_0_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.017871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6034-32_0_3_line_70 | NAYY 4x150 SE | 68 | 70 | 0.001531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_6034-32_0_3_line_71 | NAYY 4x150 SE | 70 | 71 | 0.018476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_6034-32_0_3_line_72 | NAYY 4x150 SE | 70 | 72 | 0.016916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_6034-32_0_3_line_73 | NAYY 4x150 SE | 72 | 74 | 0.0073638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_6034-32_0_3_line_74 | NAYY 4x150 SE | 73 | 75 | 0.01987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_6034-32_0_3_line_75 | NAYY 4x150 SE | 74 | 76 | 0.0092005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_6034-32_0_3_line_76 | NAYY 4x150 SE | 75 | 77 | 0.044332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_6034-32_0_3_line_77 | NAYY 4x150 SE | 76 | 82 | 0.018317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_6034-32_0_3_line_78 | NAYY 4x150 SE | 76 | 81 | 0.0039483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_6034-32_0_3_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0099324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_6034-32_0_3_line_80 | NAYY 4x150 SE | 79 | 80 | 0.015871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_6034-32_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.019742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6034-32_0_3_trafo_18 | 0.25 MVA 20/0.4 kV | 83 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2574608.3411 | 1097891.3798 | 2574610.8275 | 1097890.4065
1 | 2574576.2128 | 1097894.4383 | 2574608.3411 | 1097891.3798
2 | 2574575.7815 | 1097894.5475 | 2574576.2128 | 1097894.4383
3 | 2574556.6857 | 1097872.4758 | 2574558.8777 | 1097876.3352 | 2574561.6566 | 1097883.505 | 2574564.1315 | 1097890.198 | 2574565.7144 | 1097892.8372 | 2574567.786 | 1097895.6966 | 2574570.4435 | 1097896.0745 | 2574573.6217 | 1097895.094 | 2574575.7815 | 1097894.5475
4 | 2574626.9033 | 1097952.889 | 2574646.1524 | 1097944.2865
5 | 2574626.9033 | 1097952.889 | 2574628.8625 | 1097954.7929 | 2574634.0579 | 1097954.7711 | 2574640.0861 | 1097953.9232 | 2574645.6041 | 1097953.2887 | 2574647.232 | 1097953.7488 | 2574649.0481 | 1097954.7639 | 2574649.6029 | 1097955.9622 | 2574649.248 | 1097958.1315 | 2574648.4666 | 1097960.1246 | 2574645.8314 | 1097963.1928 | 2574641.8075 | 1097965.6109 | 2574638.8945 | 1097967.0572 | 2574633.1014 | 1097968.56
6 | 2574618.2566 | 1097957.0718 | 2574621.3091 | 1097955.6583 | 2574626.9033 | 1097952.889
7 | 2574599.7933 | 1098011.4215 | 2574612.557 | 1097969.8023
8 | 2574578.3164 | 1098022.8842 | 2574578.2934 | 1098021.0945 | 2574581.7984 | 1098018.6563 | 2574586.2527 | 1098015.4916 | 2574591.3061 | 1098013.0135 | 2574595.3269 | 1098011.7182 | 2574599.7933 | 1098011.4215
9 | 2574618.2566 | 1097957.0718 | 2574619.3256 | 1097959.0462 | 2574616.4771 | 1097964.7944 | 2574612.557 | 1097969.8023
10 | 2574578.3164 | 1098022.8842 | 2574584.762 | 1098021.9011 | 2574596.3653 | 1098021.1409 | 2574606.0847 | 1098021.6671
11 | 2574578.3164 | 1098022.8842 | 2574577.7516 | 1098022.9755 | 2574559.7739 | 1098028.7762 | 2574550.1002 | 1098029.9063
12 | 2574618.2566 | 1097957.0718 | 2574607.2056 | 1097962.1763 | 2574599.0444 | 1097965.8013
13 | 2574545.6562 | 1097875.3458 | 2574556.6857 | 1097872.4758
14 | 2574545.6562 | 1097875.3458 | 2574546.4473 | 1097881.1677 | 2574546.282 | 1097884.2144 | 2574545.3738 | 1097889.2096 | 2574542.7007 | 1097894.3124 | 2574539.9362 | 1097897.9259 | 2574534.0134 | 1097901.7416
15 | 2574564.4568 | 1097968.5185 | 2574568.6759 | 1097969.275 | 2574581.4794 | 1097970.3551 | 2574586.496 | 1097969.3283
16 | 2574543.997 | 1097964.8764 | 2574547.3434 | 1097965.3737 | 2574554.3175 | 1097966.7007 | 2574564.4568 | 1097968.5185
17 | 2574599.0444 | 1097965.8013 | 2574595.0642 | 1097967.5745 | 2574586.496 | 1097969.3283
18 | 2574543.997 | 1097964.8764 | 2574540.7965 | 1097964.4008 | 2574533.9429 | 1097964.7125
19 | 2574500.5075 | 1097950.8633 | 2574534.0134 | 1097901.7416
20 | 2574566.583 | 1098014.7849 | 2574566.2278 | 1098016.8541 | 2574565.3569 | 1098017.8138 | 2574564.0059 | 1098018.7755 | 2574562.336 | 1098019.3717 | 2574558.5858 | 1098020.5881 | 2574556.236 | 1098021.5429 | 2574554.3304 | 1098023.1851 | 2574551.5477 | 1098026.1428 | 2574549.8835 | 1098028.0952 | 2574550.1002 | 1098029.9063
21 | 2574550.1002 | 1098029.9063 | 2574540.8134 | 1098031.0015 | 2574515.2231 | 1098030.9202 | 2574510.8965 | 1098031.2941
22 | 2574477.7435 | 1097978.4511 | 2574500.5075 | 1097950.8633
23 | 2574477.7435 | 1097978.4511 | 2574470.2906 | 1097981.1061
24 | 2574470.2906 | 1097981.1061 | 2574471.4106 | 1097984.1252 | 2574471.4931 | 1097987.1597 | 2574471.0083 | 1097989.7075 | 2574469.1748 | 1097993.7506
25 | 2574531.1185 | 1098019.7476 | 2574524.0346 | 1098023.6016 | 2574522.5377 | 1098024.1855
26 | 2574510.8965 | 1098031.2941 | 2574510.8545 | 1098028.6819 | 2574514.3256 | 1098027.3888 | 2574522.5377 | 1098024.1855
27 | 2574488.8044 | 1098007.6499 | 2574469.1748 | 1097993.7506
28 | 2574457.3741 | 1098037.6451 | 2574457.6114 | 1098035.1651 | 2574458.9305 | 1098032.1691 | 2574470.312 | 1098024.7173 | 2574482.2769 | 1098014.2504 | 2574488.8044 | 1098007.6499
29 | 2574457.3741 | 1098037.6451 | 2574449.7428 | 1098042.8924
30 | 2574457.3741 | 1098037.6451 | 2574459.1504 | 1098040.2501 | 2574461.4247 | 1098041.5967 | 2574465.3463 | 1098041.0493
31 | 2574660.539 | 1098014.0462 | 2574657.6374 | 1098016.3595 | 2574651.9555 | 1098020.3742 | 2574644.8154 | 1098023.7837 | 2574639.4785 | 1098025.14 | 2574640.6095 | 1098028.9595
32 | 2574660.6165 | 1098027.0081 | 2574659.0222 | 1098027.1926 | 2574640.6095 | 1098028.9595
33 | 2574640.6095 | 1098028.9595 | 2574638.239 | 1098028.6804
34 | 2574675.9341 | 1098012.7811 | 2574666.4968 | 1098018.6125 | 2574662.2726 | 1098023.1102 | 2574660.6165 | 1098027.0081
35 | 2574696.2191 | 1098023.6019 | 2574685.4515 | 1098024.2361 | 2574672.4265 | 1098025.6913 | 2574660.6165 | 1098027.0081
36 | 2574606.0847 | 1098021.6671 | 2574606.4093 | 1098019.6647 | 2574612.3911 | 1098018.8503 | 2574626.2666 | 1098017.1135 | 2574632.1093 | 1098016.4274
37 | 2574638.239 | 1098028.6804 | 2574633.9049 | 1098027.2756 | 2574620.5542 | 1098023.0627 | 2574607.4787 | 1098021.739 | 2574606.0847 | 1098021.6671
38 | 2574510.8965 | 1098031.2941 | 2574503.1487 | 1098031.9493 | 2574490.4742 | 1098033.8926 | 2574466.9266 | 1098040.8287 | 2574465.3463 | 1098041.0493
39 | 2574439.6692 | 1098049.445 | 2574446.5887 | 1098045.0611 | 2574449.7428 | 1098042.8924
40 | 2574428.0403 | 1098058.6575 | 2574435.4071 | 1098052.1452 | 2574439.6692 | 1098049.445
41 | 2574428.0403 | 1098058.6575 | 2574425.8057 | 1098057.5663 | 2574421.2134 | 1098056.9926
42 | 2574428.0403 | 1098058.6575 | 2574425.0627 | 1098061.2936 | 2574425.0627 | 1098061.2936
43 | 2574638.239 | 1098028.6804 | 2574632.6559 | 1098032.2389
44 | 2574607.7368 | 1098035.2671 | 2574610.2109 | 1098034.4119 | 2574622.5493 | 1098033.5486 | 2574632.6559 | 1098032.2389
45 | 2574607.7368 | 1098035.2671 | 2574608.4872 | 1098036.9648 | 2574605.1683 | 1098039.7934
46 | 2574607.7368 | 1098035.2671 | 2574595.8302 | 1098039.3858 | 2574584.1331 | 1098045.4602 | 2574574.4726 | 1098051.6382
47 | 2574564.1239 | 1098057.9062 | 2574564.9356 | 1098059.4369 | 2574561.3624 | 1098064.0654 | 2574558.2602 | 1098066.5464 | 2574554.2064 | 1098069.187 | 2574551.4999 | 1098070.3981
48 | 2574564.1239 | 1098057.9062 | 2574549.0114 | 1098063.0554
49 | 2574564.1239 | 1098057.9062 | 2574572.9516 | 1098052.6108 | 2574574.4726 | 1098051.6382
50 | 2574526.3226 | 1098070.786 | 2574549.0114 | 1098063.0554
51 | 2574513.4814 | 1098075.1613 | 2574526.3226 | 1098070.786
52 | 2574513.4814 | 1098075.1613 | 2574512.7541 | 1098073.4301 | 2574512.0869 | 1098073.1217
53 | 2574513.4814 | 1098075.1613 | 2574508.382 | 1098076.8994
54 | 2574605.1683 | 1098039.7934 | 2574597.2925 | 1098046.5056 | 2574592.7398 | 1098049.7475
55 | 2574452.1545 | 1098105.0002 | 2574458.2229 | 1098101.1741 | 2574459.1405 | 1098100.4935
56 | 2574450.1996 | 1098106.2327 | 2574452.1545 | 1098105.0002
57 | 2574459.1405 | 1098100.4935 | 2574471.082 | 1098091.6372 | 2574488.5137 | 1098083.9938
58 | 2574419.0794 | 1098122.1945 | 2574422.6161 | 1098121.7794 | 2574430.873 | 1098118.8875 | 2574438.3267 | 1098114.6316 | 2574450.1996 | 1098106.2327
59 | 2574450.1996 | 1098106.2327 | 2574451.1327 | 1098109.0302 | 2574449.7954 | 1098111.3704 | 2574446.4087 | 1098116.1316 | 2574441.2421 | 1098121.1004 | 2574435.6515 | 1098124.6703 | 2574430.4286 | 1098127.2922
60 | 2574508.382 | 1098076.8994 | 2574491.8174 | 1098082.5452 | 2574488.5137 | 1098083.9938
61 | 2574419.0794 | 1098122.1945 | 2574418.584 | 1098124.0531 | 2574417.7754 | 1098125.1015 | 2574415.3515 | 1098126.8126 | 2574405.8015 | 1098131.5443 | 2574403.052 | 1098133.1679 | 2574402.0829 | 1098134.7061 | 2574401.4418 | 1098136.8988 | 2574401.0488 | 1098139.1572
62 | 2574419.0794 | 1098122.1945 | 2574417.4084 | 1098122.3939
63 | 2574399.4693 | 1098124.5341 | 2574417.4084 | 1098122.3939
64 | 2574399.4693 | 1098124.5341 | 2574399.3654 | 1098125.5907 | 2574398.6431 | 1098126.8833 | 2574394.0362 | 1098130.538 | 2574389.0287 | 1098134.6835 | 2574384.985 | 1098137.8578 | 2574382.9417 | 1098139.0807
65 | 2574569.7978 | 1098074.1351 | 2574569.2671 | 1098069.4461 | 2574570.9653 | 1098066.3596 | 2574575.3223 | 1098062.1502 | 2574592.7398 | 1098049.7475
66 | 2574696.2191 | 1098023.6019 | 2574696.5959 | 1098026.6797 | 2574691.199 | 1098028.5032 | 2574685.4791 | 1098031.3016
67 | 2574497.1916 | 1098072.493 | 2574509.0273 | 1098072.8233 | 2574512.0869 | 1098073.1217 | 2574512.0869 | 1098073.1217
68 | 2574675.0519 | 1098042.5001 | 2574675.4549 | 1098037.0289 | 2574679.0522 | 1098034.4459 | 2574685.4791 | 1098031.3016
69 | 2574407.2797 | 1098062.8559 | 2574409.0964 | 1098062.9508 | 2574425.0627 | 1098061.2936
70 | 2574405.7508 | 1098062.776 | 2574407.2797 | 1098062.8559
71 | 2574405.7508 | 1098062.776 | 2574404.7312 | 1098061.5352 | 2574400.9522 | 1098059.5724 | 2574388.8892 | 1098055.8915
72 | 2574405.7508 | 1098062.776 | 2574395.1564 | 1098062.2316 | 2574388.9414 | 1098061.1564
73 | 2574381.6889 | 1098059.8836 | 2574381.984 | 1098059.9528 | 2574388.9414 | 1098061.1564
74 | 2574406.3676 | 1098045.6868 | 2574409.9639 | 1098052.0527 | 2574413.1414 | 1098054.585 | 2574417.9737 | 1098056.5878 | 2574421.2134 | 1098056.9926
75 | 2574373.1202 | 1098056.6886 | 2574377.8375 | 1098058.9809 | 2574381.6889 | 1098059.8836
76 | 2574406.3676 | 1098045.6868 | 2574423.9266 | 1098004.9807
77 | 2574373.1202 | 1098056.6886 | 2574374.0881 | 1098054.8725 | 2574374.4796 | 1098052.2472 | 2574373.9425 | 1098049.7371 | 2574372.8772 | 1098046.8401 | 2574372.5762 | 1098043.3952 | 2574373.4557 | 1098038.9892
78 | 2574373.1202 | 1098056.6886 | 2574370.7026 | 1098053.567
79 | 2574423.9266 | 1098004.9807 | 2574418.7255 | 1097999.9778 | 2574416.7786 | 1097998.0844
80 | 2574369.2345 | 1098020.3753 | 2574366.6966 | 1098024.4659 | 2574364.9027 | 1098028.6757 | 2574364.9301 | 1098035.1567
81 | 2574364.9301 | 1098035.1567 | 2574364.9518 | 1098040.2703 | 2574368.5892 | 1098050.8381 | 2574370.7026 | 1098053.567

## bus_geodata
| x | y | coords
0 | 2574610.8275 | 1097890.4065
1 | 2574608.3411 | 1097891.3798
2 | 2574576.2128 | 1097894.4383
3 | 2574575.7815 | 1097894.5475
4 | 2574646.1524 | 1097944.2865
5 | 2574626.9033 | 1097952.889
6 | 2574599.7933 | 1098011.4215
7 | 2574612.557 | 1097969.8023
8 | 2574578.3164 | 1098022.8842
9 | 2574633.1014 | 1097968.56
10 | 2574618.2566 | 1097957.0718
11 | 2574556.6857 | 1097872.4758
12 | 2574545.6562 | 1097875.3458
13 | 2574564.4568 | 1097968.5185
14 | 2574586.496 | 1097969.3283
15 | 2574543.997 | 1097964.8764
16 | 2574534.0134 | 1097901.7416
17 | 2574533.9429 | 1097964.7125
18 | 2574566.583 | 1098014.7849
19 | 2574550.1002 | 1098029.9063
20 | 2574599.0444 | 1097965.8013
21 | 2574500.5075 | 1097950.8633
22 | 2574477.7435 | 1097978.4511
23 | 2574470.2906 | 1097981.1061
24 | 2574531.1185 | 1098019.7476
25 | 2574522.5377 | 1098024.1855
26 | 2574469.1748 | 1097993.7506
27 | 2574488.8044 | 1098007.6499
28 | 2574457.3741 | 1098037.6451
29 | 2574660.539 | 1098014.0462
30 | 2574640.6095 | 1098028.9595
31 | 2574675.9341 | 1098012.7811
32 | 2574660.6165 | 1098027.0081
33 | 2574632.1093 | 1098016.4274
34 | 2574606.0847 | 1098021.6671
35 | 2574510.8965 | 1098031.2941
36 | 2574465.3463 | 1098041.0493
37 | 2574449.7428 | 1098042.8924
38 | 2574439.6692 | 1098049.445
39 | 2574428.0403 | 1098058.6575
40 | 2574638.239 | 1098028.6804
41 | 2574632.6559 | 1098032.2389
42 | 2574607.7368 | 1098035.2671
43 | 2574551.4999 | 1098070.3981
44 | 2574564.1239 | 1098057.9062
45 | 2574549.0114 | 1098063.0554
46 | 2574574.4726 | 1098051.6382
47 | 2574526.3226 | 1098070.786
48 | 2574513.4814 | 1098075.1613
49 | 2574605.1683 | 1098039.7934
50 | 2574452.1545 | 1098105.0002
51 | 2574459.1405 | 1098100.4935
52 | 2574450.1996 | 1098106.2327
53 | 2574488.5137 | 1098083.9938
54 | 2574419.0794 | 1098122.1945
55 | 2574430.4286 | 1098127.2922
56 | 2574508.382 | 1098076.8994
57 | 2574401.0488 | 1098139.1572
58 | 2574417.4084 | 1098122.3939
59 | 2574399.4693 | 1098124.5341
60 | 2574592.7398 | 1098049.7475
61 | 2574696.2191 | 1098023.6019
62 | 2574569.7978 | 1098074.1351
63 | 2574512.0869 | 1098073.1217
64 | 2574382.9417 | 1098139.0807
65 | 2574497.1916 | 1098072.493
66 | 2574685.4791 | 1098031.3016
67 | 2574675.0519 | 1098042.5001
68 | 2574407.2797 | 1098062.8559
69 | 2574425.0627 | 1098061.2936
70 | 2574405.7508 | 1098062.776
71 | 2574388.8892 | 1098055.8915
72 | 2574388.9414 | 1098061.1564
73 | 2574421.2134 | 1098056.9926
74 | 2574381.6889 | 1098059.8836
75 | 2574406.3676 | 1098045.6868
76 | 2574373.1202 | 1098056.6886
77 | 2574423.9266 | 1098004.9807
78 | 2574416.7786 | 1097998.0844
79 | 2574369.2345 | 1098020.3753
80 | 2574364.9301 | 1098035.1567
81 | 2574370.7026 | 1098053.567
82 | 2574373.4557 | 1098038.9892
83 | 2574531.1185 | 1098019.7476

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1