## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6037-147_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6037-147_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6037-147_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6037-147_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6037-147_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6037-147_0_4_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_6037-147_0_4_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_6037-147_0_4_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_6037-147_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6037-147_0_4_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_6037-147_0_4_node_69 | 0.4 | n |  | TRUE
11 | bus_LV_6037-147_0_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_6037-147_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_6037-147_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_6037-147_0_4_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_6037-147_0_4_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_6037-147_0_4_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_6037-147_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_6037-147_0_4_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_6037-147_0_4_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_6037-147_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_6037-147_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6037-147_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6037-147_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6037-147_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6037-147_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6037-147_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6037-147_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6037-147_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6037-147_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6037-147_0_4_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_6037-147_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_6037-147_0_4_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_6037-147_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_6037-147_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_6037-147_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6037-147_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_6037-147_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_6037-147_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_6037-147_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_6037-147_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_6037-147_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_6037-147_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6037-147_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_6037-147_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_6037-147_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_6037-147_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_6037-147_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6037-147_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_6037-147_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_6037-147_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_6037-147_0_4_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_6037-147_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6037-147_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_6037-147_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_6037-147_0_4_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_6037-147_0_4_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_6037-147_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_6037-147_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_6037-147_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_6037-147_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_6037-147_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_6037-147_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_6037-147_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_6037-147_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_6037-147_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_6037-147_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_6037-147_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_6037-147_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_6037-147_0_4_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_6037-147_0_4_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_6037-147_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_MV_101_1_node_247 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6037-147_0_4_load_0 | 0 | 0.0022055 | 0.00055275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6037-147_0_4_load_1 | 1 | 0.0032789 | 0.00082178 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6037-147_0_4_load_28 | 5 | 0.002606 | 0.00065313 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6037-147_0_4_load_74 | 7 | 0.0081698 | 0.0020475 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6037-147_0_4_load_69 | 10 | 0.014447 | 0.0036207 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6037-147_0_4_load_26 | 11 | 0.003001 | 0.00075212 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6037-147_0_4_load_55 | 12 | 0.0026676 | 0.00066856 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6037-147_0_4_load_51 | 13 | 0.0018353 | 0.00045997 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6037-147_0_4_load_75 | 14 | 0.0030786 | 0.00077157 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6037-147_0_4_load_36 | 15 | 0.0060259 | 0.0015102 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6037-147_0_4_load_18 | 17 | 0.0031496 | 0.00078937 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6037-147_0_4_load_57 | 18 | 0.0064399 | 0.001614 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6037-147_0_4_load_7 | 19 | 0.0031401 | 0.00078699 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6037-147_0_4_load_12 | 22 | 0.005315 | 0.0013321 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6037-147_0_4_load_13 | 23 | 0.0048664 | 0.0012196 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6037-147_0_4_load_19 | 24 | 0.0013899 | 0.00034835 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6037-147_0_4_load_22 | 25 | 0.0055965 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6037-147_0_4_load_20 | 26 | 0.0043575 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6037-147_0_4_load_14 | 27 | 0.0011706 | 0.00029338 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6037-147_0_4_load_15 | 28 | 0.0034211 | 0.0008574 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6037-147_0_4_load_17 | 29 | 0.0012036 | 0.00030166 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6037-147_0_4_load_59 | 30 | 0.0013765 | 0.00034499 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6037-147_0_4_load_42 | 32 | 0.0029836 | 0.00074775 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6037-147_0_4_load_35 | 33 | 0.0098989 | 0.0024809 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6037-147_0_4_load_31 | 34 | 0.0031611 | 0.00079225 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6037-147_0_4_load_21 | 35 | 0.0028974 | 0.00072615 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6037-147_0_4_load_45 | 37 | 0.0046906 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6037-147_0_4_load_44 | 38 | 0.0030584 | 0.00076651 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6037-147_0_4_load_41 | 39 | 0.003858 | 0.00096691 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6037-147_0_4_load_25 | 40 | 0.0032867 | 0.00082371 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6037-147_0_4_load_29 | 42 | 0.007862 | 0.0019704 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6037-147_0_4_load_56 | 44 | 0.0048933 | 0.0012264 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6037-147_0_4_load_38 | 46 | 0.0070512 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6037-147_0_4_load_32 | 47 | 0.0025203 | 0.00063166 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6037-147_0_4_load_34 | 48 | 0.0027191 | 0.00068147 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6037-147_0_4_load_58 | 49 | 0.010305 | 0.0025828 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6037-147_0_4_load_67 | 50 | 0.0030427 | 0.00076258 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6037-147_0_4_load_68 | 51 | 0.006804 | 0.0017053 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6037-147_0_4_load_39 | 52 | 0.00424 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6037-147_0_4_load_40 | 53 | 0.0012987 | 0.00032549 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6037-147_0_4_load_64 | 54 | 0.0024548 | 0.00061523 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6037-147_0_4_load_65 | 55 | 0.0070503 | 0.001767 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6037-147_0_4_load_46 | 56 | 0.0060251 | 0.00151 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6037-147_0_4_load_48 | 58 | 0.0067772 | 0.0016985 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6037-147_0_4_load_50 | 59 | 0.006944 | 0.0017403 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6037-147_0_4_load_60 | 61 | 0.0028076 | 0.00070366 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6037-147_0_4_load_52 | 62 | 0.0028775 | 0.00072116 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6037-147_0_4_load_54 | 63 | 0.0018625 | 0.00046679 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6037-147_0_4_load_61 | 64 | 0.002968 | 0.00074385 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6037-147_0_4_load_63 | 65 | 0.0023142 | 0.00057999 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6037-147_0_4_load_71 | 66 | 0.0035837 | 0.00089816 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6037-147_0_4_load_72 | 67 | 0.0017758 | 0.00044507 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6037-147_0_4_load_66 | 68 | 0.0034153 | 0.00085595 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6037-147_0_4_load_76 | 69 | 0.0043557 | 0.0010916 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6037-147_0_4_load_77 | 70 | 0.0056996 | 0.0014285 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6037-147_0_4_load_73 | 71 | 0.0034049 | 0.00085334 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6037-147_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6037-147_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.091303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6037-147_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.061666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6037-147_0_4_line_3 | NAYY 4x150 SE | 3 | 7 | 0.014751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6037-147_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0068308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6037-147_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6037-147_0_4_line_6 | NAYY 4x150 SE | 5 | 11 | 0.0027703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6037-147_0_4_line_7 | NAYY 4x150 SE | 6 | 12 | 0.01367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6037-147_0_4_line_8 | NAYY 4x150 SE | 6 | 13 | 0.0092969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6037-147_0_4_line_9 | NAYY 4x150 SE | 7 | 14 | 0.0031261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6037-147_0_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.010784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6037-147_0_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.043108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6037-147_0_4_line_12 | NAYY 4x150 SE | 9 | 17 | 0.011114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6037-147_0_4_line_13 | NAYY 4x150 SE | 10 | 18 | 0.011633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6037-147_0_4_line_14 | NAYY 4x150 SE | 11 | 40 | 0.014598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6037-147_0_4_line_15 | NAYY 4x150 SE | 12 | 60 | 0.0074696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6037-147_0_4_line_16 | NAYY 4x150 SE | 13 | 62 | 0.0001909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6037-147_0_4_line_17 | NAYY 4x150 SE | 14 | 43 | 0.0057561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6037-147_0_4_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0056739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6037-147_0_4_line_19 | NAYY 4x150 SE | 16 | 46 | 0.0084533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6037-147_0_4_line_20 | NAYY 4x150 SE | 16 | 43 | 0.00267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6037-147_0_4_line_21 | NAYY 4x150 SE | 17 | 31 | 0.031635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6037-147_0_4_line_22 | NAYY 4x150 SE | 18 | 45 | 0.0089777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_6037-147_0_4_line_23 | NAYY 4x150 SE | 19 | 20 | 0.11599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6037-147_0_4_line_24 | NAYY 4x150 SE | 20 | 21 | 0.17686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6037-147_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.05645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6037-147_0_4_line_26 | NAYY 4x150 SE | 20 | 23 | 0.011737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6037-147_0_4_line_27 | NAYY 4x150 SE | 21 | 24 | 0.055554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6037-147_0_4_line_28 | NAYY 4x150 SE | 22 | 25 | 0.032618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6037-147_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.027183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6037-147_0_4_line_30 | NAYY 4x150 SE | 26 | 35 | 0.018233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6037-147_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.00063602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6037-147_0_4_line_32 | NAYY 4x150 SE | 28 | 29 | 0.012248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6037-147_0_4_line_33 | NAYY 4x150 SE | 29 | 30 | 0.015734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6037-147_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0015242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6037-147_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.022706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6037-147_0_4_line_36 | NAYY 4x150 SE | 31 | 34 | 0.022122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6037-147_0_4_line_37 | NAYY 4x150 SE | 32 | 53 | 0.0055211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6037-147_0_4_line_38 | NAYY 4x150 SE | 33 | 49 | 0.044433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6037-147_0_4_line_39 | NAYY 4x150 SE | 34 | 47 | 0.0061805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6037-147_0_4_line_40 | NAYY 4x150 SE | 35 | 36 | 0.012868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6037-147_0_4_line_41 | NAYY 4x150 SE | 36 | 37 | 0.017916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6037-147_0_4_line_42 | NAYY 4x150 SE | 36 | 38 | 0.017034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6037-147_0_4_line_43 | NAYY 4x150 SE | 36 | 39 | 0.013165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6037-147_0_4_line_44 | NAYY 4x150 SE | 37 | 54 | 0.0027138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6037-147_0_4_line_45 | NAYY 4x150 SE | 38 | 48 | 0.0048105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6037-147_0_4_line_46 | NAYY 4x150 SE | 39 | 52 | 0.010306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6037-147_0_4_line_47 | NAYY 4x150 SE | 40 | 41 | 0.0044452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6037-147_0_4_line_48 | NAYY 4x150 SE | 41 | 42 | 0.011997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6037-147_0_4_line_49 | NAYY 4x150 SE | 41 | 43 | 0.01132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6037-147_0_4_line_50 | NAYY 4x150 SE | 44 | 45 | 0.0079281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6037-147_0_4_line_51 | NAYY 4x150 SE | 45 | 57 | 0.007119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6037-147_0_4_line_52 | NAYY 4x150 SE | 46 | 50 | 0.0083801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6037-147_0_4_line_53 | NAYY 4x150 SE | 47 | 48 | 0.0085552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6037-147_0_4_line_54 | NAYY 4x150 SE | 50 | 51 | 0.0014286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6037-147_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.0091014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6037-147_0_4_line_56 | NAYY 4x150 SE | 54 | 55 | 0.063864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6037-147_0_4_line_57 | NAYY 4x150 SE | 55 | 68 | 0.047656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6037-147_0_4_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0058501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6037-147_0_4_line_59 | NAYY 4x150 SE | 56 | 58 | 0.015997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6037-147_0_4_line_60 | NAYY 4x150 SE | 57 | 59 | 0.0092097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6037-147_0_4_line_61 | NAYY 4x150 SE | 59 | 60 | 0.017573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6037-147_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.007558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6037-147_0_4_line_63 | NAYY 4x150 SE | 61 | 64 | 0.0025457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6037-147_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.0050284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6037-147_0_4_line_65 | NAYY 4x150 SE | 64 | 65 | 0.013339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6037-147_0_4_line_66 | NAYY 4x150 SE | 65 | 66 | 0.0065435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6037-147_0_4_line_67 | NAYY 4x150 SE | 66 | 67 | 0.00079564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6037-147_0_4_line_68 | NAYY 4x150 SE | 67 | 71 | 0.0062188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6037-147_0_4_line_69 | NAYY 4x150 SE | 68 | 69 | 0.037237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6037-147_0_4_line_70 | NAYY 4x150 SE | 69 | 70 | 0.047158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6037-147_0_4_trafo_6 | 0.25 MVA 20/0.4 kV | 72 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2582781.8695 | 1104035.6525 | 2582778.7484 | 1104040.7907 | 2582770.2797 | 1104060.1801 | 2582768.39 | 1104065.1015
1 | 2582834.3752 | 1103963.2712 | 2582828.2786 | 1103968.2577 | 2582821.3791 | 1103984.6522 | 2582817.8228 | 1103993.489 | 2582816.0485 | 1103997.8851 | 2582806.4399 | 1104005.4607 | 2582789.2806 | 1104023.452 | 2582781.8695 | 1104035.6525
2 | 2582863.2705 | 1103910.3515 | 2582859.0172 | 1103918.9012 | 2582848.3736 | 1103937.9965 | 2582846.2802 | 1103947.1404 | 2582843.4814 | 1103955.786 | 2582834.3752 | 1103963.2712
3 | 2582863.2705 | 1103910.3515 | 2582868.469 | 1103902.3327 | 2582871.6858 | 1103898.2543
4 | 2582881.6643 | 1103923.8061 | 2582879.0185 | 1103917.5085
5 | 2582881.6643 | 1103923.8061 | 2582897.3662 | 1103918.1254
6 | 2582879.0185 | 1103917.5085 | 2582877.9455 | 1103914.9544
7 | 2582897.3662 | 1103918.1254 | 2582910.2183 | 1103913.4667
8 | 2582897.3662 | 1103918.1254 | 2582900.8683 | 1103926.7375
9 | 2582871.6858 | 1103898.2543 | 2582873.6217 | 1103895.7997
10 | 2582890.3276 | 1103828.1779 | 2582888.4576 | 1103834.3308 | 2582886.3644 | 1103838.1497
11 | 2582886.3644 | 1103838.1497 | 2582888.8408 | 1103841.2665 | 2582903.4655 | 1103843.0149 | 2582912.2071 | 1103845.9916 | 2582915.9383 | 1103849.7274 | 2582917.2313 | 1103855.6267 | 2582917.7152 | 1103859.4408
12 | 2582890.3276 | 1103828.1779 | 2582886.4829 | 1103825.3763 | 2582880.2159 | 1103824.3134
13 | 2582917.7152 | 1103859.4408 | 2582918.5368 | 1103865.9171 | 2582920.0227 | 1103870.8011
14 | 2582877.9455 | 1103914.9544 | 2582877.9184 | 1103914.89 | 2582879.8831 | 1103909.4039 | 2582885.357 | 1103903.0185 | 2582885.4002 | 1103902.7319
15 | 2582917.2408 | 1103910.9211 | 2582910.2183 | 1103913.4667
16 | 2582900.9402 | 1103926.9143 | 2582900.8683 | 1103926.7375
17 | 2582877.1863 | 1103891.2802 | 2582873.6217 | 1103895.7997
18 | 2582875.5867 | 1103889.1392 | 2582870.7214 | 1103886.2201
19 | 2582875.5867 | 1103889.1392 | 2582881.7109 | 1103883.3123
20 | 2582877.1863 | 1103891.2802 | 2582875.5867 | 1103889.1392
21 | 2582848.8934 | 1103824.1378 | 2582854.9709 | 1103823.2535 | 2582866.9495 | 1103822.0633 | 2582880.2159 | 1103824.3134
22 | 2582922.6359 | 1103879.39 | 2582920.0227 | 1103870.8011
23 | 2582849.7836 | 1103644.5895 | 2582835.4221 | 1103643.074 | 2582784.7378 | 1103640.0388 | 2582747.0772 | 1103641.4025 | 2582734.0139 | 1103642.2179
24 | 2582968.3934 | 1103748.9509 | 2582964.5632 | 1103745.7934 | 2582959.2716 | 1103737.3708 | 2582945.8446 | 1103707.8827 | 2582939.9126 | 1103702.7858 | 2582933.0479 | 1103698.8588 | 2582924.2174 | 1103691.8802 | 2582919.4597 | 1103686.2909 | 2582915.0989 | 1103678.7772 | 2582913.1826 | 1103671.3233 | 2582912.9683 | 1103661.1966 | 2582910.1865 | 1103656.7911 | 2582902.2895 | 1103651.6887 | 2582878.9213 | 1103643.8398 | 2582868.9673 | 1103641.7003 | 2582863.5287 | 1103641.5267 | 2582849.7836 | 1103644.5895
25 | 2582849.7836 | 1103644.5895 | 2582818.138 | 1103669.2585 | 2582805.1371 | 1103679.1327
26 | 2582849.7836 | 1103644.5895 | 2582859.3912 | 1103637.8479
27 | 2582968.3934 | 1103748.9509 | 2582962.5297 | 1103748.8674 | 2582947.7902 | 1103744.8847 | 2582928.2659 | 1103744.8843 | 2582913.4154 | 1103746.0592
28 | 2582805.1371 | 1103679.1327 | 2582779.1618 | 1103698.8608
29 | 2582887.1604 | 1103752.0654 | 2582894.6584 | 1103748.659 | 2582908.7383 | 1103746.4292 | 2582913.4154 | 1103746.0592
30 | 2582887.1604 | 1103752.0654 | 2582875.5997 | 1103757.3174 | 2582870.56 | 1103759.6059
31 | 2582913.262 | 1103799.0718 | 2582913.8382 | 1103799.3411
32 | 2582902.0452 | 1103794.1592 | 2582908.4478 | 1103796.822 | 2582913.262 | 1103799.0718
33 | 2582891.9564 | 1103782.8749 | 2582893.1419 | 1103786.7491 | 2582900.3238 | 1103793.4433 | 2582902.0452 | 1103794.1592
34 | 2582891.5104 | 1103781.4174 | 2582891.9564 | 1103782.8749
35 | 2582848.8934 | 1103824.1378 | 2582841.405 | 1103829.3728 | 2582831.4879 | 1103838.6336
36 | 2582848.8934 | 1103824.1378 | 2582852.9678 | 1103815.1995 | 2582857.3277 | 1103803.6989
37 | 2582891.5104 | 1103781.4174 | 2582889.8949 | 1103776.1379
38 | 2582805.2853 | 1103874.3314 | 2582811.9356 | 1103862.7511 | 2582829.285 | 1103840.6907 | 2582831.4879 | 1103838.6336
39 | 2582857.2352 | 1103797.7091 | 2582857.9968 | 1103801.9342 | 2582857.3277 | 1103803.6989
40 | 2582861.1029 | 1103767.9972 | 2582867.2485 | 1103761.1096 | 2582870.56 | 1103759.6059
41 | 2582861.1029 | 1103767.9972 | 2582856.9394 | 1103764.6295 | 2582849.7929 | 1103764.9833 | 2582844.9783 | 1103767.4407
42 | 2582861.1029 | 1103767.9972 | 2582856.9752 | 1103782.6718 | 2582856.8363 | 1103784.456
43 | 2582861.1029 | 1103767.9972 | 2582862.5644 | 1103770.561 | 2582864.3088 | 1103771.9456 | 2582872.2663 | 1103772.6338
44 | 2582842.5611 | 1103768.6744 | 2582844.9783 | 1103767.4407
45 | 2582856.8363 | 1103784.456 | 2582856.4632 | 1103789.252
46 | 2582882.5456 | 1103773.3694 | 2582876.0076 | 1103772.9574 | 2582872.2663 | 1103772.6338
47 | 2582886.0631 | 1103898.3364 | 2582885.4002 | 1103902.7319
48 | 2582886.0631 | 1103898.3364 | 2582895.6673 | 1103891.1477
49 | 2582877.1863 | 1103891.2802 | 2582886.0631 | 1103898.3364
50 | 2582922.6359 | 1103879.39 | 2582914.915 | 1103881.1907
51 | 2582925.1146 | 1103886.0642 | 2582922.6359 | 1103879.39
52 | 2582887.782 | 1103877.5357 | 2582881.7109 | 1103883.3123
53 | 2582856.4632 | 1103789.252 | 2582856.2363 | 1103792.1676 | 2582857.2352 | 1103797.7091
54 | 2582888.817 | 1103876.551 | 2582887.782 | 1103877.5357
55 | 2582882.5456 | 1103773.3694 | 2582889.1756 | 1103773.7872 | 2582889.8949 | 1103776.1379
56 | 2582842.5611 | 1103768.6744 | 2582841.667 | 1103769.1307 | 2582818.9226 | 1103795.4864 | 2582806.9676 | 1103805.0252 | 2582796.974 | 1103812.9488
57 | 2582796.974 | 1103812.9488 | 2582780.7808 | 1103825.7879 | 2582761.0751 | 1103844.2318
58 | 2582925.1146 | 1103886.0642 | 2582930.9647 | 1103886.0381
59 | 2582946.7604 | 1103884.2243 | 2582943.89 | 1103884.0212 | 2582939.5846 | 1103885.1339 | 2582931.9679 | 1103886.0337 | 2582930.9647 | 1103886.0381
60 | 2582925.1146 | 1103886.0642 | 2582922.139 | 1103889.6855 | 2582920.889 | 1103894.0321
61 | 2582917.2408 | 1103910.9211 | 2582917.3742 | 1103903.3836 | 2582919.2819 | 1103899.6208 | 2582920.889 | 1103894.0321
62 | 2582917.2408 | 1103910.9211 | 2582924.7873 | 1103911.3367
63 | 2582924.7873 | 1103911.3367 | 2582927.3291 | 1103911.4767
64 | 2582902.8344 | 1103931.5723 | 2582900.9402 | 1103926.9143
65 | 2582940.6475 | 1103912.21 | 2582927.3291 | 1103911.4767
66 | 2582947.1756 | 1103912.6319 | 2582946.2369 | 1103912.5178 | 2582940.6475 | 1103912.21
67 | 2582947.9655 | 1103912.7279 | 2582947.1756 | 1103912.6319
68 | 2582947.9655 | 1103912.7279 | 2582954.1388 | 1103913.4785
69 | 2582738.7902 | 1103873.7271 | 2582742.2956 | 1103871.1316 | 2582758.979 | 1103846.1937 | 2582761.0751 | 1103844.2318
70 | 2582738.7902 | 1103873.7271 | 2582724.4803 | 1103884.3225 | 2582714.8367 | 1103895.9448 | 2582709.798 | 1103905.6641 | 2582709.1141 | 1103908.8951

## bus_geodata
| x | y | coords
0 | 2582781.8695 | 1104035.6525
1 | 2582768.39 | 1104065.1015
2 | 2582834.3752 | 1103963.2712
3 | 2582863.2705 | 1103910.3515
4 | 2582881.6643 | 1103923.8061
5 | 2582879.0185 | 1103917.5085
6 | 2582897.3662 | 1103918.1254
7 | 2582871.6858 | 1103898.2543
8 | 2582886.3644 | 1103838.1497
9 | 2582890.3276 | 1103828.1779
10 | 2582917.7152 | 1103859.4408
11 | 2582877.9455 | 1103914.9544
12 | 2582910.2183 | 1103913.4667
13 | 2582900.8683 | 1103926.7375
14 | 2582873.6217 | 1103895.7997
15 | 2582870.7214 | 1103886.2201
16 | 2582875.5867 | 1103889.1392
17 | 2582880.2159 | 1103824.3134
18 | 2582920.0227 | 1103870.8011
19 | 2582734.0139 | 1103642.2179
20 | 2582849.7836 | 1103644.5895
21 | 2582968.3934 | 1103748.9509
22 | 2582805.1371 | 1103679.1327
23 | 2582859.3912 | 1103637.8479
24 | 2582913.4154 | 1103746.0592
25 | 2582779.1618 | 1103698.8608
26 | 2582887.1604 | 1103752.0654
27 | 2582913.8382 | 1103799.3411
28 | 2582913.262 | 1103799.0718
29 | 2582902.0452 | 1103794.1592
30 | 2582891.9564 | 1103782.8749
31 | 2582848.8934 | 1103824.1378
32 | 2582891.5104 | 1103781.4174
33 | 2582831.4879 | 1103838.6336
34 | 2582857.3277 | 1103803.6989
35 | 2582870.56 | 1103759.6059
36 | 2582861.1029 | 1103767.9972
37 | 2582844.9783 | 1103767.4407
38 | 2582856.8363 | 1103784.456
39 | 2582872.2663 | 1103772.6338
40 | 2582885.4002 | 1103902.7319
41 | 2582886.0631 | 1103898.3364
42 | 2582895.6673 | 1103891.1477
43 | 2582877.1863 | 1103891.2802
44 | 2582914.915 | 1103881.1907
45 | 2582922.6359 | 1103879.39
46 | 2582881.7109 | 1103883.3123
47 | 2582857.2352 | 1103797.7091
48 | 2582856.4632 | 1103789.252
49 | 2582805.2853 | 1103874.3314
50 | 2582887.782 | 1103877.5357
51 | 2582888.817 | 1103876.551
52 | 2582882.5456 | 1103773.3694
53 | 2582889.8949 | 1103776.1379
54 | 2582842.5611 | 1103768.6744
55 | 2582796.974 | 1103812.9488
56 | 2582930.9647 | 1103886.0381
57 | 2582925.1146 | 1103886.0642
58 | 2582946.7604 | 1103884.2243
59 | 2582920.889 | 1103894.0321
60 | 2582917.2408 | 1103910.9211
61 | 2582924.7873 | 1103911.3367
62 | 2582900.9402 | 1103926.9143
63 | 2582902.8344 | 1103931.5723
64 | 2582927.3291 | 1103911.4767
65 | 2582940.6475 | 1103912.21
66 | 2582947.1756 | 1103912.6319
67 | 2582947.9655 | 1103912.7279
68 | 2582761.0751 | 1103844.2318
69 | 2582738.7902 | 1103873.7271
70 | 2582709.1141 | 1103908.8951
71 | 2582954.1388 | 1103913.4785
72 | 2582890.3276 | 1103828.1779

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1