## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6037-195_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6037-195_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6037-195_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6037-195_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6037-195_0_4_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_6037-195_0_4_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_6037-195_0_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_6037-195_0_4_node_60 | 0.4 | n |  | TRUE
8 | bus_LV_6037-195_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_6037-195_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_6037-195_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6037-195_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6037-195_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6037-195_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6037-195_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6037-195_0_4_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_6037-195_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_6037-195_0_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_6037-195_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6037-195_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_6037-195_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6037-195_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6037-195_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6037-195_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_6037-195_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6037-195_0_4_node_48 | 0.4 | n |  | TRUE
26 | bus_LV_6037-195_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_6037-195_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6037-195_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_6037-195_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6037-195_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6037-195_0_4_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_6037-195_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6037-195_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6037-195_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_6037-195_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_6037-195_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6037-195_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_6037-195_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6037-195_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6037-195_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6037-195_0_4_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_6037-195_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6037-195_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_6037-195_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_6037-195_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_6037-195_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_6037-195_0_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_6037-195_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_6037-195_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6037-195_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6037-195_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6037-195_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6037-195_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6037-195_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_6037-195_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_6037-195_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_6037-195_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_6037-195_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6037-195_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6037-195_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6037-195_0_4_node_53 | 0.4 | n |  | TRUE
62 | bus_MV_101_1_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6037-195_0_4_load_0 | 0 | 0.0077687 | 0.001947 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6037-195_0_4_load_3 | 3 | 0.0065895 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6037-195_0_4_load_61 | 4 | 0.0083656 | 0.0020966 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6037-195_0_4_load_20 | 6 | 0.0025472 | 0.00063839 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6037-195_0_4_load_60 | 7 | 0.0075718 | 0.0018977 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6037-195_0_4_load_18 | 8 | 0.0052414 | 0.0013136 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6037-195_0_4_load_4 | 9 | 0.0050805 | 0.0012733 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6037-195_0_4_load_5 | 10 | 0.0067127 | 0.0016824 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6037-195_0_4_load_7 | 12 | 0.0006471 | 0.00016218 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6037-195_0_4_load_8 | 13 | 0.0025677 | 0.00064354 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6037-195_0_4_load_9 | 14 | 0.0010983 | 0.00027526 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6037-195_0_4_load_44 | 15 | 0.00076074 | 0.00019066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6037-195_0_4_load_46 | 16 | 0.0027331 | 0.00068499 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6037-195_0_4_load_45 | 17 | 0.00057201 | 0.00014336 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6037-195_0_4_load_10 | 19 | 0.0066685 | 0.0016713 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6037-195_0_4_load_12 | 21 | 0.0066117 | 0.001657 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6037-195_0_4_load_36 | 23 | 0.0039183 | 0.00098202 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6037-195_0_4_load_19 | 24 | 0.00515 | 0.0012907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6037-195_0_4_load_48 | 25 | 0.005097 | 0.0012774 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6037-195_0_4_load_38 | 26 | 0.0052327 | 0.0013114 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6037-195_0_4_load_17 | 27 | 0.0052283 | 0.0013103 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6037-195_0_4_load_49 | 28 | 0.00038932 | 9.7572e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6037-195_0_4_load_15 | 29 | 0.0036445 | 0.00091341 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6037-195_0_4_load_16 | 30 | 0.0055868 | 0.0014002 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6037-195_0_4_load_21 | 31 | 0.011378 | 0.0028517 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6037-195_0_4_load_22 | 32 | 0.0058737 | 0.0014721 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6037-195_0_4_load_23 | 33 | 0.0027832 | 0.00069755 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6037-195_0_4_load_28 | 34 | 0.0056462 | 0.0014151 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6037-195_0_4_load_26 | 35 | 0.0084146 | 0.0021089 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6037-195_0_4_load_24 | 36 | 0.007677 | 0.001924 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6037-195_0_4_load_25 | 37 | 0.0053981 | 0.0013529 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6037-195_0_4_load_27 | 38 | 0.0060271 | 0.0015105 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6037-195_0_4_load_29 | 39 | 0.0027293 | 0.00068402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6037-195_0_4_load_30 | 40 | 0.007295 | 0.0018283 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6037-195_0_4_load_57 | 41 | 0.0051565 | 0.0012923 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6037-195_0_4_load_34 | 42 | 0.0057245 | 0.0014347 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6037-195_0_4_load_31 | 43 | 0.0068432 | 0.0017151 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6037-195_0_4_load_32 | 44 | 0.0054336 | 0.0013618 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6037-195_0_4_load_33 | 45 | 0.0062327 | 0.0015621 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6037-195_0_4_load_35 | 46 | 0.007356 | 0.0018436 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6037-195_0_4_load_56 | 47 | 0.0052825 | 0.0013239 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6037-195_0_4_load_42 | 48 | 0.0017263 | 0.00043265 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6037-195_0_4_load_37 | 49 | 0.0072723 | 0.0018226 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6037-195_0_4_load_39 | 50 | 0.0019647 | 0.0004924 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6037-195_0_4_load_40 | 51 | 0.0015294 | 0.00038331 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6037-195_0_4_load_41 | 52 | 0.0026055 | 0.000653 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6037-195_0_4_load_52 | 54 | 0.00076773 | 0.00019241 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6037-195_0_4_load_54 | 55 | 0.0028035 | 0.00070262 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6037-195_0_4_load_55 | 57 | 0.0015026 | 0.00037658 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6037-195_0_4_load_47 | 58 | 0.00046849 | 0.00011741 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6037-195_0_4_load_58 | 59 | 0.00092758 | 0.00023247 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6037-195_0_4_load_51 | 60 | 0.0068773 | 0.0017236 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6037-195_0_4_load_53 | 61 | 0.00086108 | 0.00021581 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6037-195_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6037-195_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.042303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6037-195_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6037-195_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.026304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6037-195_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.021147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6037-195_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.00081179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6037-195_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.017715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6037-195_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.016565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6037-195_0_4_line_8 | NAYY 4x150 SE | 8 | 30 | 0.0023643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6037-195_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.025562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6037-195_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.01298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6037-195_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.024851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6037-195_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.040637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6037-195_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.02675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6037-195_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.032233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6037-195_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0079643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6037-195_0_4_line_16 | NAYY 4x150 SE | 15 | 17 | 0.025316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6037-195_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0078685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6037-195_0_4_line_18 | NAYY 4x150 SE | 17 | 58 | 0.0084235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6037-195_0_4_line_19 | NAYY 4x150 SE | 18 | 25 | 0.012401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_6037-195_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.005966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_6037-195_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.033389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6037-195_0_4_line_22 | NAYY 4x150 SE | 19 | 21 | 0.029336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6037-195_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.019185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_6037-195_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.018523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6037-195_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.012824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6037-195_0_4_line_26 | NAYY 4x150 SE | 23 | 26 | 0.0011305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6037-195_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.019331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6037-195_0_4_line_28 | NAYY 4x150 SE | 25 | 28 | 0.0095632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6037-195_0_4_line_29 | NAYY 4x150 SE | 26 | 49 | 0.013324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6037-195_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.01955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6037-195_0_4_line_31 | NAYY 4x150 SE | 28 | 56 | 0.029347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_6037-195_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.021657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6037-195_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0020449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6037-195_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.00070162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6037-195_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0031602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6037-195_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.019379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6037-195_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.020718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6037-195_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0029255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6037-195_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.017719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6037-195_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0010948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6037-195_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.00044532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6037-195_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.017959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6037-195_0_4_line_43 | NAYY 4x150 SE | 41 | 42 | 0.0010144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6037-195_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.019022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6037-195_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.004726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6037-195_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.01818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6037-195_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0054596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_6037-195_0_4_line_48 | NAYY 4x150 SE | 46 | 47 | 0.024588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
49 | LV_6037-195_0_4_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_6037-195_0_4_line_50 | NAYY 4x150 SE | 48 | 51 | 0.019855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_6037-195_0_4_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0013636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_6037-195_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.018317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_6037-195_0_4_line_53 | NAYY 4x150 SE | 52 | 53 | 0.022745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_6037-195_0_4_line_54 | NAYY 4x150 SE | 53 | 54 | 0.039404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_6037-195_0_4_line_55 | NAYY 4x150 SE | 53 | 55 | 0.098086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6037-195_0_4_line_56 | NAYY 4x150 SE | 54 | 56 | 0.018679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_6037-195_0_4_line_57 | NAYY 4x150 SE | 55 | 57 | 0.019411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6037-195_0_4_line_58 | NAYY 4x150 SE | 56 | 60 | 0.01601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6037-195_0_4_line_59 | NAYY 4x150 SE | 58 | 59 | 0.005603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6037-195_0_4_line_60 | NAYY 4x150 SE | 60 | 61 | 0.016882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6037-195_0_4_trafo_15 | 0.25 MVA 20/0.4 kV | 62 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2579448.0786 | 1104003.6243 | 2579441.6012 | 1103993.6301 | 2579440.6965 | 1103992.3901
1 | 2579448.0786 | 1104003.6243 | 2579441.0386 | 1104007.8614 | 2579412.0626 | 1104025.9803
2 | 2579448.0786 | 1104003.6243 | 2579463.9339 | 1103994.0756
3 | 2579412.0626 | 1104025.9803 | 2579426.5402 | 1104047.9643
4 | 2579394.1322 | 1104037.1915 | 2579406.7059 | 1104029.3335 | 2579412.0626 | 1104025.9803
5 | 2579463.9339 | 1103994.0756 | 2579464.6293 | 1103993.6568
6 | 2579394.1322 | 1104037.1915 | 2579403.4194 | 1104052.2897
7 | 2579478.8195 | 1103985.111 | 2579464.6293 | 1103993.6568
8 | 2579478.8195 | 1103985.111 | 2579480.8449 | 1103983.8913
9 | 2579449.6601 | 1103893.7143 | 2579457.3805 | 1103895.6715 | 2579472.1472 | 1103900.2348 | 2579474.1654 | 1103900.9518
10 | 2579436.7867 | 1103892.6511 | 2579439.316 | 1103892.6314 | 2579446.4334 | 1103892.8962 | 2579449.6601 | 1103893.7143
11 | 2579497.5823 | 1103909.2705 | 2579474.1654 | 1103900.9518
12 | 2579436.7867 | 1103892.6511 | 2579444.4531 | 1103888.334 | 2579474.7276 | 1103878.4783
13 | 2579497.5823 | 1103909.2705 | 2579510.6455 | 1103913.9111 | 2579523.4746 | 1103915.1296
14 | 2579474.7276 | 1103878.4783 | 2579483.62 | 1103875.5834 | 2579506.1118 | 1103871.3804
15 | 2579523.4746 | 1103915.1296 | 2579531.4032 | 1103915.8827
16 | 2579506.1118 | 1103871.3804 | 2579520.2157 | 1103868.7448 | 2579531.139 | 1103867.7516
17 | 2579539.2365 | 1103916.6268 | 2579531.4032 | 1103915.8827
18 | 2579539.5279 | 1103866.9889 | 2579531.139 | 1103867.7516
19 | 2579539.2365 | 1103916.6268 | 2579546.6719 | 1103917.1908 | 2579551.6024 | 1103917.5626
20 | 2579539.2365 | 1103916.6268 | 2579538.9936 | 1103922.5861
21 | 2579538.9936 | 1103922.5861 | 2579532.4433 | 1103923.0085 | 2579527.3645 | 1103923.9595 | 2579522.0786 | 1103925.4226 | 2579512.1308 | 1103927.6241 | 2579506.5819 | 1103929.8662
22 | 2579480.3287 | 1103942.8285 | 2579495.3451 | 1103934.4066 | 2579506.5819 | 1103929.8662
23 | 2579539.7469 | 1103941.7377 | 2579538.8511 | 1103926.1662 | 2579538.9936 | 1103922.5861
24 | 2579539.7469 | 1103941.7377 | 2579546.7903 | 1103947.5946 | 2579554.9783 | 1103944.243 | 2579555.445 | 1103944.0255
25 | 2579539.7469 | 1103941.7377 | 2579536.5263 | 1103947.7739 | 2579532.1495 | 1103951.8522
26 | 2579555.445 | 1103944.0255 | 2579556.4697 | 1103943.548
27 | 2579516.1837 | 1103962.6983 | 2579518.2789 | 1103961.4425 | 2579530.6352 | 1103953.2632 | 2579532.1495 | 1103951.8522
28 | 2579551.6024 | 1103917.5626 | 2579561.1385 | 1103918.2819
29 | 2579568.5466 | 1103937.9197 | 2579556.4697 | 1103943.548
30 | 2579516.1837 | 1103962.6983 | 2579499.4155 | 1103972.7489
31 | 2579590.3878 | 1103920.6559 | 2579584.9015 | 1103920.0741 | 2579561.1385 | 1103918.2819
32 | 2579499.4155 | 1103972.7489 | 2579484.8536 | 1103981.4771 | 2579480.8449 | 1103983.8913
33 | 2579454.2301 | 1104081.2541 | 2579455.9257 | 1104080.111
34 | 2579455.9257 | 1104080.111 | 2579456.5074 | 1104079.7188
35 | 2579459.1277 | 1104077.9523 | 2579456.5074 | 1104079.7188
36 | 2579474.8556 | 1104066.6316 | 2579460.4954 | 1104077.0302 | 2579459.1277 | 1104077.9523
37 | 2579491.6448 | 1104054.4929 | 2579490.835 | 1104055.0605 | 2579474.8556 | 1104066.6316
38 | 2579491.6448 | 1104054.4929 | 2579494.0404 | 1104052.8135
39 | 2579508.5491 | 1104042.6423 | 2579494.0404 | 1104052.8135
40 | 2579508.5491 | 1104042.6423 | 2579509.4455 | 1104042.0139
41 | 2579509.4455 | 1104042.0139 | 2579509.8102 | 1104041.7583
42 | 2579524.5159 | 1104031.449 | 2579509.8102 | 1104041.7583
43 | 2579524.5159 | 1104031.449 | 2579525.3465 | 1104030.8667
44 | 2579540.6133 | 1104019.5219 | 2579527.6439 | 1104029.2561 | 2579525.3465 | 1104030.8667
45 | 2579544.393 | 1104016.685 | 2579540.6133 | 1104019.5219
46 | 2579544.393 | 1104016.685 | 2579558.9334 | 1104005.7716
47 | 2579563.401 | 1104002.6361 | 2579560.4657 | 1104004.6215 | 2579558.9334 | 1104005.7716
48 | 2579563.401 | 1104002.6361 | 2579583.7672 | 1103988.8606
49 | 2579597.3513 | 1103979.6725 | 2579583.7672 | 1103988.8606
50 | 2579613.662 | 1103968.3508 | 2579598.6056 | 1103978.8241 | 2579597.3513 | 1103979.6725
51 | 2579614.7814 | 1103967.5722 | 2579613.662 | 1103968.3508
52 | 2579614.7814 | 1103967.5722 | 2579623.9793 | 1103961.1741 | 2579629 | 1103956.1357
53 | 2579644.3423 | 1103939.4057 | 2579640.207 | 1103944.889 | 2579629 | 1103956.1357
54 | 2579644.3423 | 1103939.4057 | 2579628.5242 | 1103930.3433 | 2579612.2011 | 1103922.9501 | 2579608.9647 | 1103922.6097
55 | 2579644.3423 | 1103939.4057 | 2579734.0652 | 1103979.0363
56 | 2579590.3878 | 1103920.6559 | 2579608.9647 | 1103922.6097
57 | 2579734.0652 | 1103979.0363 | 2579752.3282 | 1103985.6115
58 | 2579590.3878 | 1103920.6559 | 2579591.7745 | 1103912.1358 | 2579593.6968 | 1103905.0128
59 | 2579545.1079 | 1103866.4816 | 2579539.5279 | 1103866.9889
60 | 2579593.6968 | 1103905.0128 | 2579595.0596 | 1103899.963 | 2579601.9216 | 1103890.546

## bus_geodata
| x | y | coords
0 | 2579440.6965 | 1103992.3901
1 | 2579448.0786 | 1104003.6243
2 | 2579412.0626 | 1104025.9803
3 | 2579463.9339 | 1103994.0756
4 | 2579426.5402 | 1104047.9643
5 | 2579394.1322 | 1104037.1915
6 | 2579464.6293 | 1103993.6568
7 | 2579403.4194 | 1104052.2897
8 | 2579478.8195 | 1103985.111
9 | 2579449.6601 | 1103893.7143
10 | 2579474.1654 | 1103900.9518
11 | 2579436.7867 | 1103892.6511
12 | 2579497.5823 | 1103909.2705
13 | 2579474.7276 | 1103878.4783
14 | 2579523.4746 | 1103915.1296
15 | 2579506.1118 | 1103871.3804
16 | 2579531.4032 | 1103915.8827
17 | 2579531.139 | 1103867.7516
18 | 2579539.2365 | 1103916.6268
19 | 2579506.5819 | 1103929.8662
20 | 2579538.9936 | 1103922.5861
21 | 2579480.3287 | 1103942.8285
22 | 2579539.7469 | 1103941.7377
23 | 2579555.445 | 1103944.0255
24 | 2579532.1495 | 1103951.8522
25 | 2579551.6024 | 1103917.5626
26 | 2579556.4697 | 1103943.548
27 | 2579516.1837 | 1103962.6983
28 | 2579561.1385 | 1103918.2819
29 | 2579499.4155 | 1103972.7489
30 | 2579480.8449 | 1103983.8913
31 | 2579454.2301 | 1104081.2541
32 | 2579455.9257 | 1104080.111
33 | 2579456.5074 | 1104079.7188
34 | 2579459.1277 | 1104077.9523
35 | 2579474.8556 | 1104066.6316
36 | 2579491.6448 | 1104054.4929
37 | 2579494.0404 | 1104052.8135
38 | 2579508.5491 | 1104042.6423
39 | 2579509.4455 | 1104042.0139
40 | 2579509.8102 | 1104041.7583
41 | 2579524.5159 | 1104031.449
42 | 2579525.3465 | 1104030.8667
43 | 2579544.393 | 1104016.685
44 | 2579540.6133 | 1104019.5219
45 | 2579558.9334 | 1104005.7716
46 | 2579563.401 | 1104002.6361
47 | 2579583.7672 | 1103988.8606
48 | 2579597.3513 | 1103979.6725
49 | 2579568.5466 | 1103937.9197
50 | 2579614.7814 | 1103967.5722
51 | 2579613.662 | 1103968.3508
52 | 2579629 | 1103956.1357
53 | 2579644.3423 | 1103939.4057
54 | 2579608.9647 | 1103922.6097
55 | 2579734.0652 | 1103979.0363
56 | 2579590.3878 | 1103920.6559
57 | 2579752.3282 | 1103985.6115
58 | 2579539.5279 | 1103866.9889
59 | 2579545.1079 | 1103866.4816
60 | 2579593.6968 | 1103905.0128
61 | 2579601.9216 | 1103890.546
62 | 2579539.7469 | 1103941.7377

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1