## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6037-205_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6037-205_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6037-205_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6037-205_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6037-205_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_6037-205_0_3_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_6037-205_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6037-205_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6037-205_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_6037-205_0_3_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_6037-205_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_6037-205_0_3_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_6037-205_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_6037-205_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_6037-205_0_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_6037-205_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6037-205_0_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_6037-205_0_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6037-205_0_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_6037-205_0_3_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_6037-205_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_6037-205_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6037-205_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_6037-205_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_6037-205_0_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_6037-205_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_6037-205_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_6037-205_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_6037-205_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_6037-205_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_6037-205_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_6037-205_0_3_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_6037-205_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_6037-205_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_6037-205_0_3_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_6037-205_0_3_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_6037-205_0_3_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_6037-205_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_6037-205_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_6037-205_0_3_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_6037-205_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_6037-205_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_6037-205_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_6037-205_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6037-205_0_3_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_6037-205_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_6037-205_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_6037-205_0_3_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_6037-205_0_3_node_115 | 0.4 | n |  | TRUE
49 | bus_LV_6037-205_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_6037-205_0_3_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_6037-205_0_3_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_6037-205_0_3_node_108 | 0.4 | n |  | TRUE
53 | bus_LV_6037-205_0_3_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_6037-205_0_3_node_110 | 0.4 | n |  | TRUE
55 | bus_LV_6037-205_0_3_node_112 | 0.4 | n |  | TRUE
56 | bus_LV_6037-205_0_3_node_114 | 0.4 | n |  | TRUE
57 | bus_MV_197_0_node_305 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6037-205_0_3_load_0 | 0 | 0.0012985 | 0.00032544 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6037-205_0_3_load_4 | 2 | 0.0012574 | 0.00031513 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6037-205_0_3_load_6 | 6 | 0.0016723 | 0.00041912 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6037-205_0_3_load_5 | 7 | 0.00055141 | 0.0001382 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6037-205_0_3_load_12 | 8 | 0.0008764 | 0.00021965 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6037-205_0_3_load_41 | 9 | 0.0013125 | 0.00032895 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6037-205_0_3_load_11 | 10 | 0.0011883 | 0.00029782 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6037-205_0_3_load_20 | 11 | 0.0005921 | 0.00014839 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6037-205_0_3_load_21 | 12 | 0.00061059 | 0.00015303 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6037-205_0_3_load_23 | 14 | 0.0007363 | 0.00018453 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6037-205_0_3_load_24 | 15 | 0.00088889 | 0.00022278 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6037-205_0_3_load_42 | 18 | 0.00085264 | 0.00021369 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6037-205_0_3_load_58 | 19 | 0.00082471 | 0.00020669 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6037-205_0_3_load_40 | 20 | 0.024527 | 0.006147 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6037-205_0_3_load_27 | 21 | 0.013332 | 0.0033413 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6037-205_0_3_load_28 | 22 | 0.0014469 | 0.00036264 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6037-205_0_3_load_30 | 24 | 0.001389 | 0.00034812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6037-205_0_3_load_32 | 26 | 0.0020106 | 0.0005039 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6037-205_0_3_load_33 | 27 | 0.0016618 | 0.00041649 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6037-205_0_3_load_35 | 29 | 0.00077703 | 0.00019474 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6037-205_0_3_load_37 | 30 | 0.00073065 | 0.00018312 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6037-205_0_3_load_43 | 31 | 0.00069282 | 0.00017364 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6037-205_0_3_load_36 | 32 | 0.00066777 | 0.00016736 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6037-205_0_3_load_39 | 33 | 0.0012922 | 0.00032386 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6037-205_0_3_load_49 | 34 | 0.0022121 | 0.00055441 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6037-205_0_3_load_56 | 35 | 0.00059649 | 0.0001495 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6037-205_0_3_load_46 | 38 | 0.011794 | 0.0029559 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6037-205_0_3_load_57 | 39 | 0.0010282 | 0.00025768 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6037-205_0_3_load_47 | 40 | 0.00075733 | 0.0001898 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6037-205_0_3_load_52 | 44 | 0.0013008 | 0.00032601 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6037-205_0_3_load_53 | 45 | 0.0016182 | 0.00040557 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6037-205_0_3_load_117 | 47 | 0.0026786 | 0.00067132 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6037-205_0_3_load_115 | 48 | 0.002336 | 0.00058546 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6037-205_0_3_load_111 | 50 | 0.0013173 | 0.00033014 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6037-205_0_3_load_113 | 51 | 0.0026579 | 0.00066614 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6037-205_0_3_load_108 | 52 | 0.00212 | 0.00053132 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6037-205_0_3_load_109 | 53 | 0.0012991 | 0.00032559 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6037-205_0_3_load_110 | 54 | 0.0030062 | 0.00075342 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6037-205_0_3_load_112 | 55 | 0.0020325 | 0.0005094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6037-205_0_3_load_114 | 56 | 0.001488 | 0.00037292 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6037-205_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.008168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6037-205_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.054623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6037-205_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.03356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6037-205_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.12559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6037-205_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.11225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6037-205_0_3_line_5 | NAYY 4x150 SE | 4 | 10 | 0.17525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6037-205_0_3_line_6 | NAYY 4x150 SE | 4 | 8 | 0.10688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6037-205_0_3_line_7 | NAYY 4x150 SE | 5 | 33 | 0.013044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6037-205_0_3_line_8 | NAYY 4x150 SE | 5 | 32 | 0.32257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6037-205_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.19262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6037-205_0_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.11808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6037-205_0_3_line_11 | NAYY 4x150 SE | 9 | 34 | 0.0059652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6037-205_0_3_line_12 | NAYY 4x150 SE | 9 | 33 | 0.23467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6037-205_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.058974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6037-205_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.019515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6037-205_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.019239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6037-205_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.099954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6037-205_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.046818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6037-205_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.051604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6037-205_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.039191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6037-205_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.042123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6037-205_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.010858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6037-205_0_3_line_22 | NAYY 4x150 SE | 20 | 28 | 0.015536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6037-205_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.28724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6037-205_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0044095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6037-205_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0029019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6037-205_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.051739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_6037-205_0_3_line_27 | NAYY 4x150 SE | 23 | 26 | 0.069434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6037-205_0_3_line_28 | NAYY 4x150 SE | 24 | 27 | 0.063042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6037-205_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.040801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6037-205_0_3_line_30 | NAYY 4x150 SE | 25 | 29 | 0.16814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_6037-205_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.018127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6037-205_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.10284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_6037-205_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.038591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6037-205_0_3_line_34 | NAYY 4x150 SE | 31 | 35 | 0.080839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_6037-205_0_3_line_35 | NAYY 4x150 SE | 35 | 39 | 0.055829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_6037-205_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.061363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6037-205_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.2282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_6037-205_0_3_line_38 | NAYY 4x150 SE | 36 | 39 | 0.08069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_6037-205_0_3_line_39 | NAYY 4x150 SE | 37 | 40 | 0.08382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6037-205_0_3_line_40 | NAYY 4x150 SE | 38 | 41 | 0.035057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_6037-205_0_3_line_41 | NAYY 4x150 SE | 41 | 42 | 0.13999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6037-205_0_3_line_42 | NAYY 4x150 SE | 41 | 43 | 0.11322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_6037-205_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.098013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6037-205_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.059799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6037-205_0_3_line_45 | NAYY 4x150 SE | 43 | 46 | 0.26195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_6037-205_0_3_line_46 | NAYY 4x150 SE | 44 | 47 | 0.06192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6037-205_0_3_line_47 | NAYY 4x150 SE | 45 | 48 | 0.0091962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6037-205_0_3_line_48 | NAYY 4x150 SE | 46 | 49 | 0.16239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6037-205_0_3_line_49 | NAYY 4x150 SE | 46 | 50 | 0.064186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6037-205_0_3_line_50 | NAYY 4x150 SE | 49 | 51 | 0.027718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6037-205_0_3_line_51 | NAYY 4x150 SE | 50 | 53 | 0.10915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6037-205_0_3_line_52 | NAYY 4x150 SE | 51 | 56 | 0.14069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6037-205_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.021391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6037-205_0_3_line_54 | NAYY 4x150 SE | 52 | 54 | 0.144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6037-205_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 0.093153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6037-205_0_3_trafo_32 | 0.25 MVA 20/0.4 kV | 57 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2584401.8726 | 1099748.7203 | 2584409.8925 | 1099747.1713
1 | 2584401.8726 | 1099748.7203 | 2584409.9718 | 1099752.7125 | 2584421.1802 | 1099755.7852 | 2584432.3908 | 1099756.6901 | 2584444.2161 | 1099758.8274 | 2584448.6331 | 1099760.7392 | 2584452.5605 | 1099761.8852 | 2584453.1117 | 1099762.5286 | 2584453.091 | 1099763.4847
2 | 2584421.8375 | 1099774.9276 | 2584424.0303 | 1099774.3984 | 2584437.1907 | 1099769.0062 | 2584447.3977 | 1099764.9556 | 2584451.3912 | 1099764.7119 | 2584452.3263 | 1099764.1092 | 2584453.091 | 1099763.4847 | 2584453.091 | 1099763.4847
3 | 2584217.6085 | 1099890.5259 | 2584114.5814 | 1099818.704
4 | 2584249.2918 | 1099998.2088 | 2584217.6085 | 1099890.5259
5 | 2584114.5814 | 1099818.704 | 2584123.8118 | 1099808.3523 | 2584147.9325 | 1099788.2788 | 2584153.9389 | 1099779.3586 | 2584156.407 | 1099767.1126 | 2584160.5354 | 1099756.3296 | 2584169.8631 | 1099744.6882 | 2584177.1203 | 1099734.5196 | 2584179.3821 | 1099726.2206 | 2584178.119 | 1099719.7984 | 2584170.8359 | 1099717.1162 | 2584159.6055 | 1099717.568 | 2584146.3038 | 1099722.1608 | 2584137.3804 | 1099728.6097 | 2584129.486 | 1099731.9432
6 | 2584114.5814 | 1099818.704 | 2584084.8312 | 1099820.2386 | 2584052.839 | 1099819.8449 | 2584041.0581 | 1099819.8538 | 2584029.1641 | 1099818.0732 | 2584019.5871 | 1099814.3967 | 2584015.8449 | 1099810.1155 | 2584012.029 | 1099806.3687
7 | 2584249.2918 | 1099998.2088 | 2584254.6217 | 1099996.9943 | 2584262.1761 | 1099996.4068
8 | 2584249.2918 | 1099998.2088 | 2584258.0973 | 1100003.0327 | 2584271.6657 | 1100005.9655 | 2584275.2362 | 1100009.8026 | 2584279.5021 | 1100016.1614 | 2584285.8105 | 1100022.1702 | 2584300.3311 | 1100034.0941 | 2584306.8903 | 1100044.2933 | 2584310.5346 | 1100058.6689 | 2584306.2695 | 1100067.5289 | 2584295.8656 | 1100081.9521 | 2584287.9432 | 1100092.1778 | 2584279.2778 | 1100099.493 | 2584261.1584 | 1100108.4446 | 2584242.1955 | 1100114.4749 | 2584233.0844 | 1100119.9903 | 2584220.4777 | 1100129.6059 | 2584187.8558 | 1100151.1798 | 2584172.5817 | 1100167.7504 | 2584166.2852 | 1100186.921 | 2584168.9649 | 1100202.3329 | 2584172.437 | 1100217.2483
9 | 2584488.3137 | 1099955.7168 | 2584421.8375 | 1099774.9276
10 | 2583977.3702 | 1099919.2503 | 2584012.029 | 1099806.3687
11 | 2584488.3137 | 1099955.7168 | 2584493.8948 | 1099953.6108
12 | 2584262.1761 | 1099996.4068 | 2584273.1093 | 1099995.5565 | 2584292.8975 | 1099994.2044 | 2584307.5627 | 1099993.2436 | 2584321.5052 | 1099991.1952 | 2584334.8344 | 1099985.4466 | 2584351.9013 | 1099973.363 | 2584358.7194 | 1099969.9992 | 2584365.2044 | 1099969.4822 | 2584375.3261 | 1099971.4792 | 2584383.5044 | 1099973.2701 | 2584397.617 | 1099971.1103 | 2584407.3128 | 1099967.061 | 2584431.0275 | 1099963.5203 | 2584454.7483 | 1099962.3364 | 2584469.1023 | 1099960.6987 | 2584482.8647 | 1099957.773 | 2584488.3137 | 1099955.7168
13 | 2584004.4944 | 1100282.5064 | 2583999.6193 | 1100282.8751 | 2583996.657 | 1100283.6611 | 2583993.9137 | 1100285.3248 | 2583992.937 | 1100287.6507 | 2583993.1991 | 1100290.1847 | 2583994.7145 | 1100292.5152 | 2583998.6146 | 1100295.1395 | 2584006.0407 | 1100299.4109 | 2584013.0616 | 1100302.6606 | 2584018.8803 | 1100304.9686 | 2584022.9764 | 1100305.6248 | 2584028.7429 | 1100305.7652 | 2584031.521 | 1100305.6305
14 | 2584049.8732 | 1100308.9221 | 2584047.8972 | 1100308.0491 | 2584046.438 | 1100306.4966 | 2584042.7499 | 1100305.0055 | 2584035.5376 | 1100305.4359 | 2584031.521 | 1100305.6305
15 | 2584049.8732 | 1100308.9221 | 2584049.7603 | 1100307.2104 | 2584050.2283 | 1100305.6639 | 2584051.8808 | 1100304.2033 | 2584054.3689 | 1100302.6515 | 2584058.202 | 1100300.418 | 2584061.0533 | 1100298.654 | 2584063.3828 | 1100296.7943
16 | 2584049.8732 | 1100308.9221 | 2584050.5526 | 1100311.1992 | 2584051.5927 | 1100312.3303 | 2584053.4675 | 1100313.0035 | 2584055.5406 | 1100312.5756 | 2584057.4561 | 1100311.0698 | 2584061.0809 | 1100309.1037 | 2584063.5684 | 1100307.3296 | 2584067.5874 | 1100305.1401 | 2584069.5814 | 1100304.0565 | 2584076.8866 | 1100300.68 | 2584082.2286 | 1100298.3314 | 2584085.6522 | 1100296.3547 | 2584090.5214 | 1100293.7628 | 2584093.4722 | 1100291.5317 | 2584096.84 | 1100288.9882 | 2584102.2834 | 1100286.8951 | 2584105.9207 | 1100286.741 | 2584111.5246 | 1100286.8263 | 2584119.675 | 1100286.9605 | 2584126.1064 | 1100286.8324 | 2584130.9809 | 1100286.2082 | 2584136.17 | 1100284.5826 | 2584140.1137 | 1100283.1827
17 | 2584092.3542 | 1100260.8414 | 2584091.4761 | 1100262.4556 | 2584088.7391 | 1100266.4982 | 2584085.1722 | 1100272.8219 | 2584082.0195 | 1100277.6993 | 2584080.3186 | 1100281.3723 | 2584078.452 | 1100283.8118 | 2584074.3133 | 1100287.5468 | 2584070.3297 | 1100291.3815 | 2584066.3903 | 1100294.3934 | 2584063.3828 | 1100296.7943
18 | 2584186.4783 | 1100260.6609 | 2584182.1946 | 1100262.2729 | 2584176.8606 | 1100264.7659 | 2584168.0962 | 1100269.558 | 2584159.2927 | 1100274.2278 | 2584151.409 | 1100278.3951 | 2584140.1137 | 1100283.1827
19 | 2584112.7158 | 1100227.6933 | 2584109.3568 | 1100233.6496 | 2584107.2371 | 1100236.9679 | 2584105.588 | 1100239.707 | 2584103.2584 | 1100242.7146 | 2584100.3113 | 1100246.3464 | 2584097.156 | 1100250.2345 | 2584095.0364 | 1100253.6084 | 2584093.9024 | 1100258.0025 | 2584092.3542 | 1100260.8414
20 | 2584186.4783 | 1100260.6609 | 2584185.5142 | 1100259.007 | 2584183.2779 | 1100259.213 | 2584179.9054 | 1100260 | 2584174.8788 | 1100261.6251 | 2584169.126 | 1100263.8079 | 2584161.9174 | 1100265.6944 | 2584154.2911 | 1100267.671 | 2584146.8207 | 1100270.0696
21 | 2584186.4783 | 1100260.6609 | 2584187.7464 | 1100260.1907 | 2584192.7743 | 1100259.0436 | 2584196.9343 | 1100257.7784
22 | 2584211.1291 | 1100251.5363 | 2584204.2885 | 1100255.0226 | 2584198.6365 | 1100257.2607 | 2584196.9343 | 1100257.7784
23 | 2584290.7668 | 1100203.7878 | 2584293.3643 | 1100200.5296 | 2584300.3402 | 1100192.4296 | 2584325.7647 | 1100171.0861 | 2584389.0031 | 1100115.2498 | 2584420.1247 | 1100078.7733 | 2584432.9876 | 1100069.3243 | 2584440.6625 | 1100065.0357 | 2584451.3726 | 1100061.1617 | 2584476.5205 | 1100058.2622 | 2584489.5105 | 1100056.05 | 2584498.3082 | 1100051.9142 | 2584508.9169 | 1100044.7167 | 2584515.7454 | 1100037.8195
24 | 2584288.018 | 1100207.2358 | 2584290.7668 | 1100203.7878
25 | 2584517.787 | 1100035.7573 | 2584515.7454 | 1100037.8195
26 | 2584288.018 | 1100207.2358 | 2584286.9379 | 1100208.5948 | 2584281.5081 | 1100212.9667 | 2584275.4021 | 1100216.2509 | 2584261.7721 | 1100219.2212 | 2584254.4836 | 1100223.1533 | 2584245.3897 | 1100232.226 | 2584244.8117 | 1100233.1947
27 | 2584348.5885 | 1100182.4772 | 2584344.2277 | 1100181.2545 | 2584340.9543 | 1100181.4631 | 2584338.3087 | 1100182.048 | 2584335.41 | 1100183.5007 | 2584331.8863 | 1100185.7332 | 2584326.1381 | 1100189.6835 | 2584320.3819 | 1100193.5781 | 2584310.4927 | 1100200.4851 | 2584303.4464 | 1100205.3058 | 2584298.934 | 1100208.2746 | 2584295.3619 | 1100209.729 | 2584293.752 | 1100209.7332 | 2584290.7847 | 1100208.607 | 2584288.018 | 1100207.2358
28 | 2584517.787 | 1100035.7573 | 2584518.2737 | 1100035.2657 | 2584549.7341 | 1099997.644 | 2584559.4394 | 1099988.5384
29 | 2584244.8117 | 1100233.1947 | 2584241.5948 | 1100231.3355 | 2584239.7757 | 1100231.2402 | 2584237.3958 | 1100232.7916 | 2584235.4295 | 1100235.5981 | 2584231.4431 | 1100238.4544 | 2584225.8955 | 1100242.1374 | 2584217.814 | 1100247.6391 | 2584211.1291 | 1100251.5363
30 | 2584244.8117 | 1100233.1947 | 2584237.614 | 1100245.2195 | 2584228.3582 | 1100275.27 | 2584223.5288 | 1100284.2538 | 2584217.328 | 1100289.7283 | 2584213.1371 | 1100291.3067 | 2584205.4908 | 1100291.5712 | 2584195.0115 | 1100291.7209 | 2584186.0108 | 1100294.935 | 2584174.9526 | 1100301.634 | 2584155.2297 | 1100315.6705 | 2584139.1007 | 1100327.7634 | 2584127.6331 | 1100337.0437
31 | 2584211.1291 | 1100251.5363 | 2584203.5725 | 1100250.5667 | 2584198.4513 | 1100248.5902 | 2584194.4647 | 1100245.5407
32 | 2584052.451 | 1100406.6696 | 2584055.2499 | 1100404.7563 | 2584065.8156 | 1100396.3241 | 2584071.9075 | 1100387.826 | 2584078.181 | 1100380.6725 | 2584101.0661 | 1100359.5905 | 2584122.4801 | 1100341.2138 | 2584127.6331 | 1100337.0437
33 | 2584172.437 | 1100217.2483 | 2584173.059 | 1100219.9199 | 2584181.64 | 1100236.6726 | 2584185.9457 | 1100243.4647 | 2584192.8751 | 1100244.3248 | 2584194.4647 | 1100245.5407
34 | 2584052.451 | 1100406.6696 | 2584108.0761 | 1100465.3277
35 | 2584136.7856 | 1100421.728 | 2584137.3611 | 1100422.7604 | 2584138.4605 | 1100425.859 | 2584138.1027 | 1100428.1389 | 2584137.4946 | 1100432.3315 | 2584135.9944 | 1100435.7928 | 2584132.1655 | 1100439.5825 | 2584128.7476 | 1100443.6824 | 2584125.2799 | 1100446.4818 | 2584121.1411 | 1100450.1612 | 2584117.148 | 1100453.2844 | 2584113.2176 | 1100456.7521 | 2584110.5809 | 1100460.6387 | 2584108.0761 | 1100465.3277
36 | 2584206.3201 | 1100380.7919 | 2584211.0645 | 1100371.8861 | 2584219.9216 | 1100364.1035 | 2584223.3481 | 1100360.3037 | 2584229.3964 | 1100355.719 | 2584239.048 | 1100349.8242 | 2584247.6452 | 1100346.2444 | 2584253.811 | 1100345.15
37 | 2584206.3201 | 1100380.7919 | 2584229.879 | 1100374.5606 | 2584257.4831 | 1100370.2308 | 2584278.9125 | 1100369.508 | 2584288.4011 | 1100369.3944 | 2584295.7198 | 1100368.197 | 2584300.394 | 1100365.0166 | 2584311.3673 | 1100358.407 | 2584325.9287 | 1100347.6193 | 2584341.7489 | 1100338.7071 | 2584357.4577 | 1100331.6073 | 2584376.9017 | 1100323.2639 | 2584384.6056 | 1100321.3764 | 2584396.4713 | 1100318.5887 | 2584406.3775 | 1100318.3297 | 2584413.7737 | 1100317.1211 | 2584419.9578 | 1100314.1148
38 | 2584206.3201 | 1100380.7919 | 2584136.7856 | 1100421.728
39 | 2584175.3388 | 1100348.6011 | 2584185.0286 | 1100342.5283 | 2584189.973 | 1100339.0691 | 2584193.1652 | 1100337.4377 | 2584195.6785 | 1100336.6308 | 2584198.9443 | 1100336.4666 | 2584205.075 | 1100336.7618 | 2584215.5339 | 1100337.735 | 2584221.8906 | 1100338.6077 | 2584229.8886 | 1100339.6985 | 2584234.0931 | 1100340.3768 | 2584240.0377 | 1100340.5502 | 2584247.4067 | 1100340.8645 | 2584251.6122 | 1100341.9096 | 2584253.1483 | 1100343.3286 | 2584253.811 | 1100345.15
40 | 2584439.063 | 1100285.3844 | 2584431.9076 | 1100298.943 | 2584425.5433 | 1100310.1095 | 2584419.9578 | 1100314.1148
41 | 2584439.063 | 1100285.3844 | 2584434.6812 | 1100281.9828 | 2584436.8811 | 1100276.6856 | 2584444.6111 | 1100269.8289 | 2584455.657 | 1100264.2866 | 2584464.4995 | 1100259.6281 | 2584469.5721 | 1100254.7682 | 2584474.4291 | 1100250.3424 | 2584480.6117 | 1100243.712 | 2584485.4676 | 1100238.8416 | 2584492.5382 | 1100234.4212 | 2584500.2701 | 1100231.3109 | 2584516.6301 | 1100224.4321 | 2584528.1208 | 1100220.2117 | 2584536.304 | 1100217.9896 | 2584547.4643 | 1100214.7261
42 | 2584439.063 | 1100285.3844 | 2584448.6367 | 1100276.1995 | 2584460.2093 | 1100270.7893 | 2584475.5848 | 1100269.3712 | 2584489.1769 | 1100266.7239 | 2584502.559 | 1100266.6895 | 2584526.3481 | 1100268.4295 | 2584547.3081 | 1100268.6204
43 | 2584547.4643 | 1100214.7261 | 2584564.8199 | 1100206.6665 | 2584579.8488 | 1100199.7914 | 2584593.1047 | 1100192.6984 | 2584607.6941 | 1100186.4803 | 2584619.3993 | 1100178.2908 | 2584631.3278 | 1100169.6561 | 2584633.1193 | 1100167.9913
44 | 2584547.3081 | 1100268.6204 | 2584548.199 | 1100262.8707 | 2584553.7494 | 1100260.1996 | 2584561.0956 | 1100260.6255 | 2584572.2143 | 1100259.2631 | 2584581.5527 | 1100254.8037 | 2584591.1049 | 1100249.2321 | 2584593.5417 | 1100245.6796 | 2584593.5326 | 1100242.1334
45 | 2584700.7433 | 1100262.6158 | 2584714.3406 | 1100252.8098 | 2584723.9076 | 1100243.8255 | 2584732.081 | 1100234.6446 | 2584736.0616 | 1100229.4542 | 2584735.4094 | 1100225.565 | 2584734.6235 | 1100220.8535 | 2584726.6485 | 1100219.7175 | 2584718.8701 | 1100225.9069 | 2584711.7049 | 1100235.8857 | 2584703.0006 | 1100246.2685 | 2584694.7328 | 1100251.7477 | 2584684.9746 | 1100255.4743 | 2584659.8804 | 1100264.0423 | 2584638.9808 | 1100269.3203 | 2584619.1967 | 1100271.9609 | 2584595.6945 | 1100273.4326 | 2584580.1107 | 1100272.0716 | 2584561.1163 | 1100268.7407 | 2584547.3081 | 1100268.6204
46 | 2584633.1193 | 1100167.9913 | 2584572.8428 | 1100153.8194
47 | 2584584.8495 | 1100239.4875 | 2584588.8561 | 1100241.4783 | 2584593.5326 | 1100242.1334
48 | 2584700.7433 | 1100262.6158 | 2584714.3406 | 1100252.8098 | 2584723.9076 | 1100243.8255 | 2584732.081 | 1100234.6446 | 2584736.0616 | 1100229.4542 | 2584735.4094 | 1100225.565 | 2584739.0813 | 1100217.6517 | 2584748.5476 | 1100205.5439 | 2584763.035 | 1100192.5786 | 2584769.4627 | 1100187.8266 | 2584775.9052 | 1100182.8301 | 2584785.482 | 1100171.5003 | 2584791.3499 | 1100162.6699 | 2584799.8428 | 1100151.2206 | 2584803.4279 | 1100145.6532 | 2584800.4732 | 1100143.3817
49 | 2584700.7433 | 1100262.6158 | 2584706.4388 | 1100262.19 | 2584719.9196 | 1100258.354 | 2584733.93 | 1100252.7046 | 2584740.2247 | 1100250.4876 | 2584750.1444 | 1100249.3842 | 2584756.5526 | 1100249.2235 | 2584761.8807 | 1100247.3536 | 2584762.4264 | 1100247.0186
50 | 2584800.4732 | 1100143.3817 | 2584796.2162 | 1100143.3924 | 2584791.9773 | 1100150.5845 | 2584785.7799 | 1100160.7163 | 2584783.7387 | 1100163.2264
51 | 2584762.4264 | 1100247.0186 | 2584766.7725 | 1100244.3508 | 2584771.5454 | 1100240.2701 | 2584775.6115 | 1100235.1684 | 2584779.3201 | 1100226.4546 | 2584781.1297 | 1100222.7593 | 2584783.4533 | 1100220.3411 | 2584791.4525 | 1100218.7869 | 2584803.4955 | 1100218.6788 | 2584811.1659 | 1100218.7262 | 2584818.4335 | 1100218.6412 | 2584822.712 | 1100217.9745 | 2584826.4708 | 1100216.8757 | 2584830.2847 | 1100216.1213 | 2584833.3651 | 1100216.0802 | 2584836.5943 | 1100216.7502 | 2584838.8883 | 1100217.9117 | 2584840.8818 | 1100219.6631 | 2584842.2401 | 1100221.1605 | 2584846.151 | 1100228.2209 | 2584846.8857 | 1100233.5186
52 | 2584783.7387 | 1100163.2264 | 2584778.5962 | 1100169.55 | 2584770.8858 | 1100175.1278 | 2584766.0152 | 1100177.33 | 2584759.6194 | 1100179.4028 | 2584747.8312 | 1100182.3673 | 2584739.6556 | 1100187.6129 | 2584732.1469 | 1100196.4474 | 2584727.8983 | 1100199.7265 | 2584718.3945 | 1100200.0729 | 2584707.9188 | 1100201.7336 | 2584689.2601 | 1100205.6939 | 2584678.78 | 1100208.6664 | 2584664.3808 | 1100213.5943 | 2584658.1589 | 1100216.3955
53 | 2584843.0804 | 1100254.1901 | 2584846.4345 | 1100245.5956 | 2584847.3885 | 1100237.1445 | 2584846.8857 | 1100233.5186
54 | 2584843.0804 | 1100254.1901 | 2584838.9825 | 1100264.6906 | 2584834.158 | 1100272.9069 | 2584808.0658 | 1100303.2099 | 2584793.1101 | 1100317.6548 | 2584788.5226 | 1100324.6699 | 2584781.0382 | 1100333.8601 | 2584774.2542 | 1100338.4239 | 2584767.2589 | 1100342.099 | 2584753.2313 | 1100346.959 | 2584742.5829 | 1100350.61 | 2584742.5829 | 1100350.61
55 | 2584826.9727 | 1100358.2823 | 2584819.8457 | 1100358.6194 | 2584814.9415 | 1100356.6418 | 2584807.0832 | 1100355.6611 | 2584795.7948 | 1100354.1443 | 2584788.8641 | 1100352.6943 | 2584773.0982 | 1100352.7007 | 2584761.7264 | 1100354.9083 | 2584747.2051 | 1100357.3572 | 2584742.1195 | 1100357.1255 | 2584740.8952 | 1100353.5046 | 2584742.5829 | 1100350.61

## bus_geodata
| x | y | coords
0 | 2584409.8925 | 1099747.1713
1 | 2584401.8726 | 1099748.7203
2 | 2584453.091 | 1099763.4847
3 | 2584217.6085 | 1099890.5259
4 | 2584114.5814 | 1099818.704
5 | 2584249.2918 | 1099998.2088
6 | 2584421.8375 | 1099774.9276
7 | 2583977.3702 | 1099919.2503
8 | 2584012.029 | 1099806.3687
9 | 2584488.3137 | 1099955.7168
10 | 2584129.486 | 1099731.9432
11 | 2584031.521 | 1100305.6305
12 | 2584004.4944 | 1100282.5064
13 | 2584049.8732 | 1100308.9221
14 | 2584063.3828 | 1100296.7943
15 | 2584140.1137 | 1100283.1827
16 | 2584092.3542 | 1100260.8414
17 | 2584186.4783 | 1100260.6609
18 | 2584112.7158 | 1100227.6933
19 | 2584146.8207 | 1100270.0696
20 | 2584196.9343 | 1100257.7784
21 | 2584290.7668 | 1100203.7878
22 | 2584515.7454 | 1100037.8195
23 | 2584288.018 | 1100207.2358
24 | 2584517.787 | 1100035.7573
25 | 2584244.8117 | 1100233.1947
26 | 2584348.5885 | 1100182.4772
27 | 2584559.4394 | 1099988.5384
28 | 2584211.1291 | 1100251.5363
29 | 2584127.6331 | 1100337.0437
30 | 2584194.4647 | 1100245.5407
31 | 2584052.451 | 1100406.6696
32 | 2584172.437 | 1100217.2483
33 | 2584262.1761 | 1099996.4068
34 | 2584493.8948 | 1099953.6108
35 | 2584108.0761 | 1100465.3277
36 | 2584206.3201 | 1100380.7919
37 | 2584253.811 | 1100345.15
38 | 2584419.9578 | 1100314.1148
39 | 2584136.7856 | 1100421.728
40 | 2584175.3388 | 1100348.6011
41 | 2584439.063 | 1100285.3844
42 | 2584547.4643 | 1100214.7261
43 | 2584547.3081 | 1100268.6204
44 | 2584633.1193 | 1100167.9913
45 | 2584593.5326 | 1100242.1334
46 | 2584700.7433 | 1100262.6158
47 | 2584572.8428 | 1100153.8194
48 | 2584584.8495 | 1100239.4875
49 | 2584800.4732 | 1100143.3817
50 | 2584762.4264 | 1100247.0186
51 | 2584783.7387 | 1100163.2264
52 | 2584843.0804 | 1100254.1901
53 | 2584846.8857 | 1100233.5186
54 | 2584742.5829 | 1100350.61
55 | 2584826.9727 | 1100358.2823
56 | 2584658.1589 | 1100216.3955
57 | 2584288.018 | 1100207.2358

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1