## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6037-277_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6037-277_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6037-277_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6037-277_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6037-277_0_2_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_6037-277_0_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_6037-277_0_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_6037-277_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6037-277_0_2_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_6037-277_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6037-277_0_2_node_70 | 0.4 | n |  | TRUE
11 | bus_LV_6037-277_0_2_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_6037-277_0_2_node_4 | 0.4 | n |  | TRUE
13 | bus_LV_6037-277_0_2_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_6037-277_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6037-277_0_2_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_6037-277_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6037-277_0_2_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6037-277_0_2_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_6037-277_0_2_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_6037-277_0_2_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6037-277_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6037-277_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6037-277_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6037-277_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_6037-277_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6037-277_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6037-277_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_6037-277_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6037-277_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6037-277_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6037-277_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_6037-277_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6037-277_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_6037-277_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_6037-277_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_6037-277_0_2_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_6037-277_0_2_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_6037-277_0_2_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_6037-277_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6037-277_0_2_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6037-277_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_6037-277_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_6037-277_0_2_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_6037-277_0_2_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6037-277_0_2_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_6037-277_0_2_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_6037-277_0_2_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_6037-277_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6037-277_0_2_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6037-277_0_2_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_6037-277_0_2_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6037-277_0_2_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_6037-277_0_2_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_6037-277_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6037-277_0_2_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6037-277_0_2_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6037-277_0_2_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6037-277_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_6037-277_0_2_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_6037-277_0_2_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6037-277_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6037-277_0_2_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_6037-277_0_2_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_6037-277_0_2_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_6037-277_0_2_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6037-277_0_2_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_6037-277_0_2_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_6037-277_0_2_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_6037-277_0_2_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_6037-277_0_2_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_6037-277_0_2_node_65 | 0.4 | n |  | TRUE
72 | bus_MV_198_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6037-277_0_2_load_0 | 0 | 0.0014666 | 0.00036756 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6037-277_0_2_load_1 | 1 | 0.0016815 | 0.00042142 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6037-277_0_2_load_2 | 2 | 0.0040988 | 0.0010273 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6037-277_0_2_load_19 | 4 | 0.0035493 | 0.00088954 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6037-277_0_2_load_20 | 5 | 0.0027501 | 0.00068925 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6037-277_0_2_load_5 | 7 | 0.0011404 | 0.00028582 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6037-277_0_2_load_73 | 8 | 0.0011414 | 0.00028605 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6037-277_0_2_load_70 | 10 | 0.0042345 | 0.0010613 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6037-277_0_2_load_4 | 12 | 0.0013813 | 0.00034619 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6037-277_0_2_load_8 | 14 | 0.0029545 | 0.00074047 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6037-277_0_2_load_10 | 16 | 0.0011449 | 0.00028694 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6037-277_0_2_load_72 | 18 | 0.0032877 | 0.00082397 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6037-277_0_2_load_67 | 19 | 0.00089934 | 0.0002254 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6037-277_0_2_load_11 | 20 | 0.0052494 | 0.0013156 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6037-277_0_2_load_14 | 22 | 0.0050075 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6037-277_0_2_load_24 | 24 | 0.0070372 | 0.0017637 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6037-277_0_2_load_18 | 25 | 0.0037365 | 0.00093646 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6037-277_0_2_load_15 | 26 | 0.0024279 | 0.00060849 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6037-277_0_2_load_16 | 28 | 0.0017831 | 0.00044688 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6037-277_0_2_load_27 | 30 | 0.0072052 | 0.0018058 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6037-277_0_2_load_21 | 32 | 0.0024501 | 0.00061406 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6037-277_0_2_load_22 | 33 | 0.00077722 | 0.00019479 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6037-277_0_2_load_33 | 35 | 0.0046419 | 0.0011634 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6037-277_0_2_load_71 | 36 | 0.0050734 | 0.0012715 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6037-277_0_2_load_37 | 39 | 0.0036886 | 0.00092446 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6037-277_0_2_load_29 | 40 | 0.004165 | 0.0010438 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6037-277_0_2_load_31 | 42 | 0.003782 | 0.00094786 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6037-277_0_2_load_32 | 43 | 0.0028643 | 0.00071785 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6037-277_0_2_load_52 | 45 | 0.0041441 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6037-277_0_2_load_35 | 46 | 0.0040891 | 0.0010248 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6037-277_0_2_load_38 | 48 | 0.0025387 | 0.00063625 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6037-277_0_2_load_40 | 49 | 0.0021667 | 0.00054303 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6037-277_0_2_load_51 | 50 | 0.0014686 | 0.00036807 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6037-277_0_2_load_50 | 51 | 0.0085061 | 0.0021318 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6037-277_0_2_load_47 | 52 | 0.0030946 | 0.00077559 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6037-277_0_2_load_55 | 53 | 0.005285 | 0.0013246 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6037-277_0_2_load_48 | 54 | 0.0022532 | 0.0005647 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6037-277_0_2_load_42 | 55 | 0.0072421 | 0.001815 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6037-277_0_2_load_43 | 56 | 0.0064116 | 0.0016069 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6037-277_0_2_load_45 | 58 | 0.0051627 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6037-277_0_2_load_46 | 59 | 0.0030582 | 0.00076647 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6037-277_0_2_load_57 | 61 | 0.0013877 | 0.00034778 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6037-277_0_2_load_63 | 62 | 0.0033073 | 0.0008289 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6037-277_0_2_load_53 | 65 | 0.0084656 | 0.0021217 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6037-277_0_2_load_62 | 66 | 0.003465 | 0.00086842 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6037-277_0_2_load_59 | 67 | 0.0014444 | 0.00036201 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6037-277_0_2_load_60 | 68 | 0.0017372 | 0.00043538 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6037-277_0_2_load_61 | 69 | 0.0022677 | 0.00056835 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6037-277_0_2_load_65 | 71 | 0.0026603 | 0.00066673 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6037-277_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0092418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6037-277_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0035716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6037-277_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.064036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6037-277_0_2_line_3 | NAYY 4x150 SE | 3 | 7 | 0.060829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6037-277_0_2_line_4 | NAYY 4x150 SE | 3 | 8 | 0.080915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6037-277_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.034226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6037-277_0_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.050659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6037-277_0_2_line_7 | NAYY 4x150 SE | 5 | 32 | 0.034562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6037-277_0_2_line_8 | NAYY 4x150 SE | 6 | 23 | 0.079745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6037-277_0_2_line_9 | NAYY 4x150 SE | 6 | 21 | 0.059159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6037-277_0_2_line_10 | NAYY 4x150 SE | 7 | 12 | 0.020967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6037-277_0_2_line_11 | NAYY 4x150 SE | 8 | 13 | 0.0253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6037-277_0_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.050784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6037-277_0_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.17021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6037-277_0_2_line_14 | NAYY 4x150 SE | 10 | 18 | 0.048061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6037-277_0_2_line_15 | NAYY 4x150 SE | 11 | 19 | 0.02692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6037-277_0_2_line_16 | NAYY 4x150 SE | 13 | 18 | 0.048442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6037-277_0_2_line_17 | NAYY 4x150 SE | 13 | 34 | 0.05238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6037-277_0_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.1076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6037-277_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.10469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6037-277_0_2_line_20 | NAYY 4x150 SE | 15 | 19 | 0.030695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6037-277_0_2_line_21 | NAYY 4x150 SE | 16 | 17 | 0.067169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6037-277_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.034138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6037-277_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.019195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6037-277_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.058708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6037-277_0_2_line_25 | NAYY 4x150 SE | 23 | 25 | 0.060819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_6037-277_0_2_line_26 | NAYY 4x150 SE | 23 | 26 | 0.073504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6037-277_0_2_line_27 | NAYY 4x150 SE | 24 | 27 | 0.026555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6037-277_0_2_line_28 | NAYY 4x150 SE | 25 | 29 | 0.020509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_6037-277_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.02746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6037-277_0_2_line_30 | NAYY 4x150 SE | 27 | 35 | 0.033027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6037-277_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.03404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_6037-277_0_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.048854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6037-277_0_2_line_33 | NAYY 4x150 SE | 31 | 36 | 0.038255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6037-277_0_2_line_34 | NAYY 4x150 SE | 31 | 37 | 0.039397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6037-277_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.031274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6037-277_0_2_line_36 | NAYY 4x150 SE | 33 | 34 | 0.0692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6037-277_0_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.002517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6037-277_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.015296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6037-277_0_2_line_39 | NAYY 4x150 SE | 38 | 51 | 0.043246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6037-277_0_2_line_40 | NAYY 4x150 SE | 38 | 52 | 0.02048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6037-277_0_2_line_41 | NAYY 4x150 SE | 39 | 48 | 0.099906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6037-277_0_2_line_42 | NAYY 4x150 SE | 40 | 41 | 0.021783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6037-277_0_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.01108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6037-277_0_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.0375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6037-277_0_2_line_45 | NAYY 4x150 SE | 42 | 44 | 0.064454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6037-277_0_2_line_46 | NAYY 4x150 SE | 43 | 45 | 0.012787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6037-277_0_2_line_47 | NAYY 4x150 SE | 44 | 46 | 0.020734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6037-277_0_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.018222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6037-277_0_2_line_49 | NAYY 4x150 SE | 47 | 54 | 0.0092547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6037-277_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.018315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6037-277_0_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.015911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_6037-277_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.031292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6037-277_0_2_line_53 | NAYY 4x150 SE | 52 | 54 | 0.022063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6037-277_0_2_line_54 | NAYY 4x150 SE | 53 | 63 | 0.0054367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6037-277_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.026718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6037-277_0_2_line_56 | NAYY 4x150 SE | 55 | 57 | 0.023311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6037-277_0_2_line_57 | NAYY 4x150 SE | 56 | 58 | 0.035352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6037-277_0_2_line_58 | NAYY 4x150 SE | 57 | 59 | 0.066612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6037-277_0_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.02602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6037-277_0_2_line_60 | NAYY 4x150 SE | 59 | 61 | 0.019009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6037-277_0_2_line_61 | NAYY 4x150 SE | 60 | 62 | 0.0095345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6037-277_0_2_line_62 | NAYY 4x150 SE | 60 | 63 | 0.026968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6037-277_0_2_line_63 | NAYY 4x150 SE | 61 | 64 | 0.0099466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6037-277_0_2_line_64 | NAYY 4x150 SE | 62 | 66 | 0.040135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6037-277_0_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.010732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6037-277_0_2_line_66 | NAYY 4x150 SE | 64 | 67 | 0.015343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6037-277_0_2_line_67 | NAYY 4x150 SE | 66 | 70 | 0.056032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6037-277_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.0077259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6037-277_0_2_line_69 | NAYY 4x150 SE | 68 | 69 | 0.013442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6037-277_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.051473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6037-277_0_2_trafo_27 | 0.25 MVA 20/0.4 kV | 72 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2574149.4843 | 1104303.9002 | 2574149.0329 | 1104313.1309
1 | 2574149.6588 | 1104300.3328 | 2574149.4843 | 1104303.9002
2 | 2574191.9597 | 1104291.092 | 2574186.1992 | 1104293.3511 | 2574175.1336 | 1104301.2801 | 2574166.4997 | 1104313.5343 | 2574161.0374 | 1104322.2064 | 2574156.7985 | 1104323.9588 | 2574152.3587 | 1104322.1546 | 2574149.0329 | 1104313.1309 | 2574149.0329 | 1104313.1309
3 | 2574191.9597 | 1104291.092 | 2574186.8378 | 1104298.0062 | 2574184.266 | 1104309.7787 | 2574185.5104 | 1104322.2464 | 2574182.9693 | 1104341.2224 | 2574179.4297 | 1104348.9497
4 | 2574188.7063 | 1104210.2426 | 2574191.9597 | 1104291.092
5 | 2574086.7659 | 1104242.858 | 2574087.1388 | 1104242.6822 | 2574099.3532 | 1104235.693 | 2574104.8514 | 1104231.7674 | 2574108.1267 | 1104228.9631 | 2574114.2021 | 1104222.7732
6 | 2574038.0084 | 1104255.6327 | 2574045.4972 | 1104254.1887 | 2574053.8136 | 1104252.719 | 2574061.4117 | 1104251.4858 | 2574069.7264 | 1104249.6158 | 2574078.4315 | 1104246.7882 | 2574086.7659 | 1104242.858
7 | 2574138.6751 | 1104198.477 | 2574134.478 | 1104201.492 | 2574114.5804 | 1104222.3877 | 2574114.2021 | 1104222.7732
8 | 2574038.0084 | 1104255.6327 | 2574041.3877 | 1104250.0487 | 2574052.4954 | 1104248.3335 | 2574063.5976 | 1104243.539 | 2574070.9269 | 1104235.548 | 2574075.5279 | 1104228.0356 | 2574080.9681 | 1104217.8071 | 2574084.2694 | 1104208.4326 | 2574084.6375 | 1104200.4715 | 2574083.8857 | 1104200.1189
9 | 2574038.0084 | 1104255.6327 | 2574032.868 | 1104256.3996 | 2574018.7163 | 1104258.9283 | 2574008.3251 | 1104261.7633 | 2573992.7348 | 1104264.3093 | 2573985.1375 | 1104265.6982 | 2573979.8292 | 1104266.9995
10 | 2574169.2625 | 1104367.0893 | 2574173.2139 | 1104362.5193 | 2574179.4297 | 1104348.9497
11 | 2574193.5203 | 1104185.5429 | 2574190.1542 | 1104196.0959 | 2574188.7063 | 1104210.2426
12 | 2574293.5775 | 1104221.4351 | 2574281.6526 | 1104220.1741 | 2574267.1324 | 1104223.3708 | 2574243.7588 | 1104229.1176
13 | 2574293.5775 | 1104221.4351 | 2574443.6722 | 1104301.6955
14 | 2574203.6179 | 1104202.6863 | 2574243.7588 | 1104229.1176
15 | 2574443.6722 | 1104301.6955 | 2574449.3633 | 1104317.7685 | 2574453.3514 | 1104326.7962
16 | 2574193.5203 | 1104185.5429 | 2574195.8152 | 1104195.8717 | 2574203.0145 | 1104188.1482 | 2574211.7389 | 1104186.21 | 2574208.6891 | 1104191.1144 | 2574203.6179 | 1104202.6863
17 | 2574226.061 | 1104151.0089 | 2574223.995 | 1104165.3472 | 2574217.3385 | 1104171.5676 | 2574197.314 | 1104179.1346 | 2574193.5203 | 1104185.5429
18 | 2574465.7553 | 1104354.8736 | 2574372.7452 | 1104408.9809
19 | 2574465.7553 | 1104354.8736 | 2574490.5102 | 1104456.5986
20 | 2574465.7553 | 1104354.8736 | 2574453.3514 | 1104326.7962
21 | 2574490.5102 | 1104456.5986 | 2574491.0584 | 1104458.2193 | 2574491.8791 | 1104463.9187 | 2574493.5054 | 1104473.5612 | 2574495.4723 | 1104481.4458 | 2574496.8293 | 1104489.5998 | 2574497.5632 | 1104496.7114 | 2574498.8199 | 1104503.1093 | 2574497.8006 | 1104510.8286 | 2574496.3209 | 1104515.7485 | 2574490.9717 | 1104520.1622
22 | 2573979.8292 | 1104266.9995 | 2573979.5453 | 1104265.7334 | 2573981.01 | 1104264.5821 | 2573982.9375 | 1104263.1509 | 2573987.7077 | 1104260.8403 | 2573992.4313 | 1104258.4855 | 2574001.9806 | 1104254.1311 | 2574004.5018 | 1104252.2415 | 2574005.9165 | 1104250.2678 | 2574005.8619 | 1104248.3448
23 | 2573979.8292 | 1104266.9995 | 2573973.9493 | 1104268.4589 | 2573967.8692 | 1104270.1526 | 2573961.4358 | 1104272.4323
24 | 2573961.4358 | 1104272.4323 | 2573959.6442 | 1104273.0672 | 2573951.4999 | 1104276.7708 | 2573943.4384 | 1104281.7525 | 2573932.3548 | 1104290.8048 | 2573924.0601 | 1104297.2994 | 2573916.9599 | 1104302.755 | 2573913.3267 | 1104305.5514
25 | 2574083.8857 | 1104200.1189 | 2574079.2974 | 1104197.982 | 2574059.4576 | 1104189.0291 | 2574040.8643 | 1104183.973 | 2574026.3601 | 1104186.5028
26 | 2574083.8857 | 1104200.1189 | 2574085.1692 | 1104198.2125 | 2574086.279 | 1104195.4508 | 2574086.3471 | 1104193.3049 | 2574086.3285 | 1104188.9584 | 2574084.9365 | 1104181.8163 | 2574083.0365 | 1104177.0442 | 2574081.6635 | 1104174.3376 | 2574078.8411 | 1104169.1248 | 2574078.1459 | 1104165.7372 | 2574078.2571 | 1104162.7908 | 2574078.8349 | 1104158.6418 | 2574080.2487 | 1104156.4457 | 2574082.592 | 1104154.5458 | 2574086.4581 | 1104152.4171 | 2574090.003 | 1104151.1457 | 2574095.8578 | 1104149.1863 | 2574101.3912 | 1104146.25 | 2574103.9751 | 1104143.8622
27 | 2573889.8275 | 1104317.3906 | 2573891.257 | 1104317.0621 | 2573895.2591 | 1104316.0109 | 2573899.891 | 1104313.9232 | 2573907.3918 | 1104309.8999 | 2573912.5734 | 1104306.1312 | 2573913.3267 | 1104305.5514
28 | 2574006.0886 | 1104189.5362 | 2574013.0934 | 1104188.8169 | 2574026.3601 | 1104186.5028
29 | 2574103.9751 | 1104143.8622 | 2574106.4916 | 1104141.5369 | 2574110.8119 | 1104137.0939 | 2574113.7137 | 1104133.7576 | 2574114.9599 | 1104130.3394 | 2574115.1505 | 1104127.8818 | 2574114.586 | 1104126.1166 | 2574112.1983 | 1104124.8707 | 2574109.4962 | 1104124.2819
30 | 2573889.8275 | 1104317.3906 | 2573887.9807 | 1104317.7988 | 2573881.5087 | 1104320.0612 | 2573876.0056 | 1104322.7975 | 2573870.0953 | 1104326.1691 | 2573863.9589 | 1104330.8981 | 2573861.3048 | 1104333.3041
31 | 2574006.0886 | 1104189.5362 | 2574006.2245 | 1104192.3593 | 2574005.5986 | 1104196.1083 | 2574004.0255 | 1104200.8175 | 2574002.3486 | 1104202.9813 | 2573999.0831 | 1104206.2637 | 2573996.3708 | 1104208.6766 | 2573993.1063 | 1104212.1924 | 2573990.9599 | 1104214.9141 | 2573990.6565 | 1104218.1059
32 | 2573960.2243 | 1104179.6618 | 2573975.0248 | 1104189.4697 | 2573991.0431 | 1104191.0906 | 2574006.0886 | 1104189.5362
33 | 2573993.3742 | 1104162.9885 | 2573986.6791 | 1104169.1537 | 2573977.8916 | 1104172.6155 | 2573966.8653 | 1104175.2976 | 2573962.3073 | 1104176.5957 | 2573960.2243 | 1104179.6618
34 | 2573924.3741 | 1104163.8415 | 2573948.7049 | 1104172.0186 | 2573960.2243 | 1104179.6618
35 | 2574138.6751 | 1104198.477 | 2574164.0751 | 1104180.2309
36 | 2574226.061 | 1104151.0089 | 2574184.8404 | 1104165.3141 | 2574164.0751 | 1104180.2309
37 | 2573924.3741 | 1104163.8415 | 2573923.3631 | 1104166.147
38 | 2573924.3741 | 1104163.8415 | 2573926.4034 | 1104153.6942 | 2573926.9468 | 1104148.7762
39 | 2573923.3631 | 1104166.147 | 2573915.265 | 1104168.0495 | 2573895.6688 | 1104170.8132 | 2573882.1534 | 1104177.63
40 | 2573923.3631 | 1104166.147 | 2573918.024 | 1104178.2539 | 2573915.9671 | 1104183.7656 | 2573915.3922 | 1104185.0037
41 | 2573926.9468 | 1104148.7762 | 2573927.9518 | 1104139.6805 | 2573929.0567 | 1104134.0061 | 2573930.987 | 1104129.6289 | 2573934.5536 | 1104128.0016 | 2573940.56 | 1104128.9429 | 2573954.3765 | 1104132.9299 | 2573968.0026 | 1104132.2264 | 2573975.4653 | 1104131.8719 | 2573980.9719 | 1104129.9028 | 2573982.211 | 1104126.6403 | 2573979.3501 | 1104126.886 | 2573973.2612 | 1104126.5676 | 2573964.2997 | 1104123.7492 | 2573958.3373 | 1104120.0941
42 | 2573860.0932 | 1104266.8711 | 2573861.3747 | 1104268.0996 | 2573862.7529 | 1104268.416 | 2573865.4658 | 1104267.9485 | 2573867.7121 | 1104266.8827 | 2573872.3404 | 1104262.1825 | 2573877.2162 | 1104257.5027
43 | 2573860.0932 | 1104266.8711 | 2573855.7689 | 1104270.3249 | 2573851.0653 | 1104273.2627
44 | 2573860.0932 | 1104266.8711 | 2573864.6257 | 1104263.2608 | 2573873.2306 | 1104255.1751 | 2573879.7597 | 1104248.2101 | 2573885.6802 | 1104239.72
45 | 2573796.5412 | 1104307.3666 | 2573802.6217 | 1104302.2154 | 2573814.822 | 1104293.8695 | 2573828.7113 | 1104286.1499 | 2573842.5239 | 1104278.5975 | 2573851.0653 | 1104273.2627
46 | 2573885.6802 | 1104239.72 | 2573886.5168 | 1104238.5204 | 2573890.5636 | 1104229.8986 | 2573891.3951 | 1104228.3019
47 | 2573815.492 | 1104302.1264 | 2573810.1642 | 1104304.2505 | 2573806.3578 | 1104305.8344 | 2573803.0559 | 1104307.8164 | 2573800.3912 | 1104308.6951 | 2573798.4575 | 1104308.7034 | 2573796.5412 | 1104307.3666
48 | 2573900.1331 | 1104212.315 | 2573894.8518 | 1104221.6648 | 2573891.3951 | 1104228.3019
49 | 2573900.1331 | 1104212.315 | 2573901.676 | 1104209.5848 | 2573904.9227 | 1104204.3986
50 | 2573958.3373 | 1104120.0941 | 2573954.2873 | 1104117.6114 | 2573947.9451 | 1104110.5462 | 2573946.5693 | 1104106.7149
51 | 2573938.7417 | 1104092.9102 | 2573945.753 | 1104104.4414 | 2573946.5693 | 1104106.7149
52 | 2573882.1534 | 1104177.63 | 2573881.1741 | 1104178.1239 | 2573869.3963 | 1104187.6797 | 2573859.8856 | 1104195.5803 | 2573857.2625 | 1104196.045
53 | 2573915.3922 | 1104185.0037 | 2573912.4034 | 1104191.4404 | 2573907.0841 | 1104200.946 | 2573904.9227 | 1104204.3986
54 | 2573851.9092 | 1104196.9933 | 2573857.2625 | 1104196.045
55 | 2573843.4183 | 1104119.2847 | 2573839.0646 | 1104129.7813 | 2573834.0619 | 1104144.2975
56 | 2573837.7481 | 1104099.0159 | 2573843.0962 | 1104103.3283 | 2573845.076 | 1104110.39 | 2573844.2242 | 1104117.3416 | 2573843.4183 | 1104119.2847
57 | 2573825.3709 | 1104178.402 | 2573825.3227 | 1104176.987 | 2573828.1025 | 1104161.5893 | 2573834.0619 | 1104144.2975
58 | 2573837.7481 | 1104099.0159 | 2573831.0619 | 1104098.3 | 2573825.267 | 1104099.7925 | 2573819.5214 | 1104103.7193 | 2573809.4369 | 1104113.1122 | 2573795.6872 | 1104124.5664 | 2573785.098 | 1104135.5645
59 | 2573826.1994 | 1104204.4082 | 2573825.9519 | 1104195.4603 | 2573825.3709 | 1104178.402
60 | 2573773.2822 | 1104150.378 | 2573775.6237 | 1104148.0208 | 2573782.3271 | 1104138.4424 | 2573785.098 | 1104135.5645
61 | 2573826.1994 | 1104204.4082 | 2573826.4673 | 1104213.9389
62 | 2573826.1994 | 1104204.4082 | 2573832.3555 | 1104204.1926 | 2573837.0446 | 1104202.7938 | 2573842.9222 | 1104200.8007 | 2573849.9417 | 1104198.1135 | 2573851.9092 | 1104196.9933
63 | 2573765.559 | 1104156.6021 | 2573771.0876 | 1104152.5872 | 2573773.2822 | 1104150.378
64 | 2573815.7754 | 1104251.6825 | 2573817.8288 | 1104248.7336 | 2573822.1953 | 1104240.7329 | 2573824.5892 | 1104232.674 | 2573826.6159 | 1104225.5616 | 2573826.5834 | 1104218.069 | 2573826.4673 | 1104213.9389
65 | 2573851.9092 | 1104196.9933 | 2573853.8459 | 1104195.8955 | 2573855.8086 | 1104193.6414 | 2573857.043 | 1104191.1125 | 2573858.2715 | 1104188.7054
66 | 2573765.559 | 1104156.6021 | 2573764.3401 | 1104162.6883 | 2573763.7343 | 1104171.8039
67 | 2573774.7914 | 1104289.6407 | 2573785.7193 | 1104280.3776 | 2573803.9367 | 1104264.7463 | 2573812.4248 | 1104256.4942 | 2573815.7754 | 1104251.6825
68 | 2573763.7343 | 1104171.8039 | 2573763.2219 | 1104179.5128 | 2573763.2219 | 1104179.5128
69 | 2573763.2219 | 1104179.5128 | 2573760.2931 | 1104192.6321
70 | 2573819.8487 | 1104268.6461 | 2573811.2759 | 1104273.4078 | 2573805.8162 | 1104277.2334 | 2573795.7738 | 1104283.7802 | 2573789.3965 | 1104286.4647 | 2573781.4523 | 1104289.9009 | 2573777.0036 | 1104291.4321 | 2573774.7914 | 1104289.6407

## bus_geodata
| x | y | coords
0 | 2574149.4843 | 1104303.9002
1 | 2574149.0329 | 1104313.1309
2 | 2574149.6588 | 1104300.3328
3 | 2574191.9597 | 1104291.092
4 | 2574086.7659 | 1104242.858
5 | 2574114.2021 | 1104222.7732
6 | 2574038.0084 | 1104255.6327
7 | 2574179.4297 | 1104348.9497
8 | 2574188.7063 | 1104210.2426
9 | 2574293.5775 | 1104221.4351
10 | 2574243.7588 | 1104229.1176
11 | 2574443.6722 | 1104301.6955
12 | 2574169.2625 | 1104367.0893
13 | 2574193.5203 | 1104185.5429
14 | 2574372.7452 | 1104408.9809
15 | 2574465.7553 | 1104354.8736
16 | 2574490.9717 | 1104520.1622
17 | 2574490.5102 | 1104456.5986
18 | 2574203.6179 | 1104202.6863
19 | 2574453.3514 | 1104326.7962
20 | 2574005.8619 | 1104248.3448
21 | 2573979.8292 | 1104266.9995
22 | 2573961.4358 | 1104272.4323
23 | 2574083.8857 | 1104200.1189
24 | 2573913.3267 | 1104305.5514
25 | 2574026.3601 | 1104186.5028
26 | 2574103.9751 | 1104143.8622
27 | 2573889.8275 | 1104317.3906
28 | 2574109.4962 | 1104124.2819
29 | 2574006.0886 | 1104189.5362
30 | 2573990.6565 | 1104218.1059
31 | 2573960.2243 | 1104179.6618
32 | 2574138.6751 | 1104198.477
33 | 2574164.0751 | 1104180.2309
34 | 2574226.061 | 1104151.0089
35 | 2573861.3048 | 1104333.3041
36 | 2573993.3742 | 1104162.9885
37 | 2573924.3741 | 1104163.8415
38 | 2573923.3631 | 1104166.147
39 | 2573926.9468 | 1104148.7762
40 | 2573877.2162 | 1104257.5027
41 | 2573860.0932 | 1104266.8711
42 | 2573851.0653 | 1104273.2627
43 | 2573885.6802 | 1104239.72
44 | 2573796.5412 | 1104307.3666
45 | 2573891.3951 | 1104228.3019
46 | 2573815.492 | 1104302.1264
47 | 2573900.1331 | 1104212.315
48 | 2573958.3373 | 1104120.0941
49 | 2573946.5693 | 1104106.7149
50 | 2573938.7417 | 1104092.9102
51 | 2573882.1534 | 1104177.63
52 | 2573915.3922 | 1104185.0037
53 | 2573857.2625 | 1104196.045
54 | 2573904.9227 | 1104204.3986
55 | 2573843.4183 | 1104119.2847
56 | 2573834.0619 | 1104144.2975
57 | 2573837.7481 | 1104099.0159
58 | 2573825.3709 | 1104178.402
59 | 2573785.098 | 1104135.5645
60 | 2573826.1994 | 1104204.4082
61 | 2573773.2822 | 1104150.378
62 | 2573826.4673 | 1104213.9389
63 | 2573851.9092 | 1104196.9933
64 | 2573765.559 | 1104156.6021
65 | 2573858.2715 | 1104188.7054
66 | 2573815.7754 | 1104251.6825
67 | 2573763.7343 | 1104171.8039
68 | 2573763.2219 | 1104179.5128
69 | 2573760.2931 | 1104192.6321
70 | 2573774.7914 | 1104289.6407
71 | 2573819.8487 | 1104268.6461
72 | 2574006.0886 | 1104189.5362

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1