## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6037-81_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6037-81_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6037-81_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6037-81_0_6_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_6037-81_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6037-81_0_6_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_6037-81_0_6_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6037-81_0_6_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_6037-81_0_6_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_6037-81_0_6_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_6037-81_0_6_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_6037-81_0_6_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_6037-81_0_6_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_6037-81_0_6_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_6037-81_0_6_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_6037-81_0_6_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_6037-81_0_6_node_55 | 0.4 | n |  | TRUE
17 | bus_LV_6037-81_0_6_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_6037-81_0_6_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_6037-81_0_6_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_6037-81_0_6_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_6037-81_0_6_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_6037-81_0_6_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_6037-81_0_6_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_6037-81_0_6_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_6037-81_0_6_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_6037-81_0_6_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_6037-81_0_6_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_6037-81_0_6_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_6037-81_0_6_node_34 | 0.4 | n |  | TRUE
30 | bus_LV_6037-81_0_6_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_6037-81_0_6_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_6037-81_0_6_node_44 | 0.4 | n |  | TRUE
33 | bus_LV_6037-81_0_6_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_6037-81_0_6_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_6037-81_0_6_node_48 | 0.4 | n |  | TRUE
36 | bus_LV_6037-81_0_6_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_6037-81_0_6_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_6037-81_0_6_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_6037-81_0_6_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_6037-81_0_6_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6037-81_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_6037-81_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_6037-81_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_6037-81_0_6_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6037-81_0_6_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_6037-81_0_6_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_6037-81_0_6_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_6037-81_0_6_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_6037-81_0_6_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_6037-81_0_6_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_6037-81_0_6_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_6037-81_0_6_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_6037-81_0_6_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_6037-81_0_6_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_6037-81_0_6_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_6037-81_0_6_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_6037-81_0_6_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_6037-81_0_6_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_6037-81_0_6_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_6037-81_0_6_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_6037-81_0_6_node_75 | 0.4 | n |  | TRUE
62 | bus_MV_197_1_node_259 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6037-81_0_6_load_0 | 0 | 0.0044063 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6037-81_0_6_load_17 | 6 | 0.013237 | 0.0033175 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6037-81_0_6_load_24 | 7 | 0.0027032 | 0.00067748 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6037-81_0_6_load_56 | 8 | 0.0019984 | 0.00050084 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6037-81_0_6_load_23 | 9 | 0.0020466 | 0.00051292 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6037-81_0_6_load_19 | 11 | 0.0019002 | 0.00047625 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6037-81_0_6_load_22 | 12 | 0.0013249 | 0.00033204 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6037-81_0_6_load_54 | 13 | 0.0019744 | 0.00049484 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6037-81_0_6_load_57 | 14 | 0.0017751 | 0.00044487 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6037-81_0_6_load_69 | 17 | 0.0016407 | 0.0004112 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6037-81_0_6_load_27 | 18 | 0.0018006 | 0.00045127 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6037-81_0_6_load_28 | 19 | 0.0017075 | 0.00042793 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6037-81_0_6_load_29 | 20 | 0.0022223 | 0.00055697 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6037-81_0_6_load_30 | 21 | 0.0019122 | 0.00047925 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6037-81_0_6_load_31 | 22 | 0.0014879 | 0.00037291 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6037-81_0_6_load_61 | 23 | 0.0035125 | 0.00088032 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6037-81_0_6_load_51 | 24 | 0.0071168 | 0.0017836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6037-81_0_6_load_59 | 25 | 0.0078298 | 0.0019623 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6037-81_0_6_load_50 | 26 | 0.0026253 | 0.00065797 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6037-81_0_6_load_32 | 27 | 0.0024014 | 0.00060184 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6037-81_0_6_load_33 | 28 | 0.0018958 | 0.00047514 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6037-81_0_6_load_34 | 29 | 0.0024421 | 0.00061206 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6037-81_0_6_load_35 | 30 | 0.0019553 | 0.00049005 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6037-81_0_6_load_44 | 32 | 0.0019146 | 0.00047985 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6037-81_0_6_load_49 | 33 | 0.0032882 | 0.00082409 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6037-81_0_6_load_48 | 35 | 0.0062354 | 0.0015627 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6037-81_0_6_load_37 | 37 | 0.0048888 | 0.0012252 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6037-81_0_6_load_47 | 38 | 0.0078621 | 0.0019704 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6037-81_0_6_load_39 | 39 | 0.0063599 | 0.0015939 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6037-81_0_6_load_40 | 40 | 0.0014635 | 0.00036679 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6037-81_0_6_load_41 | 41 | 0.0039036 | 0.00097832 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6037-81_0_6_load_42 | 42 | 0.0037321 | 0.00093534 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6037-81_0_6_load_43 | 43 | 0.0033319 | 0.00083505 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6037-81_0_6_load_46 | 44 | 0.0050745 | 0.0012718 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6037-81_0_6_load_66 | 45 | 0.0030392 | 0.00076169 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6037-81_0_6_load_67 | 46 | 0.0040117 | 0.0010054 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6037-81_0_6_load_53 | 47 | 0.0041761 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6037-81_0_6_load_74 | 48 | 0.006882 | 0.0017248 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6037-81_0_6_load_72 | 50 | 0.0075983 | 0.0019043 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6037-81_0_6_load_58 | 51 | 0.0022392 | 0.00056119 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6037-81_0_6_load_60 | 52 | 0.0013963 | 0.00034996 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6037-81_0_6_load_62 | 53 | 0.0011786 | 0.00029537 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6037-81_0_6_load_63 | 54 | 0.0015305 | 0.00038357 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6037-81_0_6_load_64 | 55 | 0.0013239 | 0.0003318 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6037-81_0_6_load_70 | 57 | 0.0014236 | 0.00035679 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6037-81_0_6_load_68 | 58 | 0.0044907 | 0.0011255 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6037-81_0_6_load_71 | 59 | 0.00083778 | 0.00020997 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6037-81_0_6_load_73 | 60 | 0.0044626 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6037-81_0_6_load_75 | 61 | 0.0073303 | 0.0018371 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6037-81_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.075587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6037-81_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.29044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6037-81_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.39761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6037-81_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.1046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6037-81_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.16078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_6037-81_0_6_line_5 | NAYY 4x150 SE | 4 | 6 | 0.035434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6037-81_0_6_line_6 | NAYY 4x150 SE | 5 | 14 | 0.088759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6037-81_0_6_line_7 | NAYY 4x150 SE | 5 | 15 | 0.0299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_6037-81_0_6_line_8 | NAYY 4x150 SE | 6 | 10 | 0.27077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6037-81_0_6_line_9 | NAYY 4x150 SE | 7 | 8 | 0.084289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6037-81_0_6_line_10 | NAYY 4x150 SE | 7 | 9 | 0.037139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6037-81_0_6_line_11 | NAYY 4x150 SE | 8 | 13 | 0.019244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6037-81_0_6_line_12 | NAYY 4x150 SE | 9 | 12 | 0.016187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6037-81_0_6_line_13 | NAYY 4x150 SE | 10 | 11 | 0.19991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6037-81_0_6_line_14 | NAYY 4x150 SE | 13 | 16 | 0.033059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6037-81_0_6_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0043641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6037-81_0_6_line_16 | NAYY 4x150 SE | 15 | 17 | 0.10351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_6037-81_0_6_line_17 | NAYY 4x150 SE | 16 | 51 | 0.073343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6037-81_0_6_line_18 | NAYY 4x150 SE | 17 | 56 | 0.021197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_6037-81_0_6_line_19 | NAYY 4x150 SE | 18 | 19 | 0.058018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_6037-81_0_6_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0043669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_6037-81_0_6_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0096745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_6037-81_0_6_line_22 | NAYY 4x150 SE | 20 | 22 | 0.01465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_6037-81_0_6_line_23 | NAYY 4x150 SE | 21 | 23 | 0.04305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_6037-81_0_6_line_24 | NAYY 4x150 SE | 22 | 24 | 0.011763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_6037-81_0_6_line_25 | NAYY 4x150 SE | 23 | 25 | 0.032588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_6037-81_0_6_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0075059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_6037-81_0_6_line_27 | NAYY 4x150 SE | 25 | 52 | 0.048496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_6037-81_0_6_line_28 | NAYY 4x150 SE | 26 | 49 | 0.04079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_6037-81_0_6_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0088129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6037-81_0_6_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0080421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6037-81_0_6_line_31 | NAYY 4x150 SE | 28 | 30 | 0.007104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6037-81_0_6_line_32 | NAYY 4x150 SE | 29 | 31 | 0.010821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6037-81_0_6_line_33 | NAYY 4x150 SE | 30 | 32 | 0.00074272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6037-81_0_6_line_34 | NAYY 4x150 SE | 31 | 33 | 0.051564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6037-81_0_6_line_35 | NAYY 4x150 SE | 31 | 34 | 0.02072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6037-81_0_6_line_36 | NAYY 4x150 SE | 31 | 35 | 0.018426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6037-81_0_6_line_37 | NAYY 4x150 SE | 32 | 36 | 0.06189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6037-81_0_6_line_38 | NAYY 4x150 SE | 34 | 37 | 0.073059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6037-81_0_6_line_39 | NAYY 4x150 SE | 35 | 38 | 0.019984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6037-81_0_6_line_40 | NAYY 4x150 SE | 36 | 47 | 0.071197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6037-81_0_6_line_41 | NAYY 4x150 SE | 36 | 48 | 0.08037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6037-81_0_6_line_42 | NAYY 4x150 SE | 38 | 44 | 0.008544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6037-81_0_6_line_43 | NAYY 4x150 SE | 39 | 40 | 0.0013951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6037-81_0_6_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0092164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6037-81_0_6_line_45 | NAYY 4x150 SE | 40 | 42 | 0.0092491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6037-81_0_6_line_46 | NAYY 4x150 SE | 41 | 43 | 0.063412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6037-81_0_6_line_47 | NAYY 4x150 SE | 42 | 44 | 0.011377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6037-81_0_6_line_48 | NAYY 4x150 SE | 43 | 45 | 0.057411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6037-81_0_6_line_49 | NAYY 4x150 SE | 45 | 46 | 0.0094013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6037-81_0_6_line_50 | NAYY 4x150 SE | 46 | 58 | 0.011975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6037-81_0_6_line_51 | NAYY 4x150 SE | 47 | 49 | 0.021395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_6037-81_0_6_line_52 | NAYY 4x150 SE | 48 | 50 | 0.038624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_6037-81_0_6_line_53 | NAYY 4x150 SE | 50 | 59 | 0.0145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_6037-81_0_6_line_54 | NAYY 4x150 SE | 52 | 53 | 0.019846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_6037-81_0_6_line_55 | NAYY 4x150 SE | 53 | 54 | 0.016709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_6037-81_0_6_line_56 | NAYY 4x150 SE | 54 | 55 | 0.0055383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_6037-81_0_6_line_57 | NAYY 4x150 SE | 55 | 56 | 0.013591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_6037-81_0_6_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0039938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6037-81_0_6_line_59 | NAYY 4x150 SE | 59 | 60 | 0.0038634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6037-81_0_6_line_60 | NAYY 4x150 SE | 60 | 61 | 0.0093199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6037-81_0_6_trafo_61 | 0.25 MVA 20/0.4 kV | 62 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2582240.7261 | 1106351.2854 | 2582236.3789 | 1106350.6645 | 2582232.3412 | 1106350.1539 | 2582217.0668 | 1106348.9649 | 2582186.3276 | 1106347.6215 | 2582174.5356 | 1106344.8104 | 2582167.0017 | 1106340.0457
1 | 2581936.643 | 1106182.5469 | 2581941.0308 | 1106181.1664 | 2581953.6479 | 1106190.8002 | 2581973.0594 | 1106210.063 | 2581993.7445 | 1106231.2231 | 2582026.8638 | 1106257.8711 | 2582039.2903 | 1106263.3369 | 2582043.2265 | 1106266.1043 | 2582048.1839 | 1106274.2604 | 2582054.1387 | 1106284.9703 | 2582059.2029 | 1106295.2715 | 2582064.644 | 1106302.2811 | 2582070.339 | 1106306.255 | 2582111.7122 | 1106323.9635 | 2582123.7488 | 1106328.3856 | 2582138.5785 | 1106330.8207 | 2582150.8105 | 1106333.3636 | 2582161.134 | 1106336.3346 | 2582167.0017 | 1106340.0457
2 | 2582401.9716 | 1105987.8424 | 2582240.7261 | 1106351.2854
3 | 2581936.643 | 1106182.5469 | 2581936.2914 | 1106186.4833 | 2581938.2354 | 1106190.146 | 2581946.9743 | 1106198.3795 | 2581949.0675 | 1106200.1964 | 2581953.8662 | 1106214.6893 | 2581955.5564 | 1106223.9889 | 2581953.8735 | 1106243.0146 | 2581953.7176 | 1106250.3521 | 2581954.906 | 1106257.3298 | 2581956.6866 | 1106265.8176 | 2581964.8733 | 1106278.166
4 | 2582401.9716 | 1105987.8424 | 2582397.6077 | 1105971.0134 | 2582392.3315 | 1105964.8368 | 2582385.1452 | 1105961.2337 | 2582379.633 | 1105956.3362 | 2582371.9639 | 1105948.9771 | 2582364.7599 | 1105939.3266 | 2582361.7081 | 1105932.2876 | 2582361.2152 | 1105925.0409 | 2582362.3585 | 1105914.0432 | 2582365.2552 | 1105899.7832 | 2582364.7221 | 1105891.9697 | 2582362.984 | 1105887.3057 | 2582356.6694 | 1105872.4501 | 2582346.4941 | 1105856.9053 | 2582344.8206 | 1105847.8724
5 | 2581964.8733 | 1106278.166 | 2581975.3663 | 1106283.4929 | 2581983.4185 | 1106284.4694 | 2581995.9027 | 1106293.748
6 | 2582344.8206 | 1105847.8724 | 2582339.2258 | 1105841.1965 | 2582325.963 | 1105835.5436 | 2582319.0161 | 1105829.2719 | 2582312.8709 | 1105819.5294 | 2582305.7008 | 1105808.3782 | 2582301.6042 | 1105801.0754 | 2582292.8043 | 1105790.5403 | 2582285.2055 | 1105785.0136
7 | 2582371.7843 | 1105860.9557 | 2582344.8206 | 1105847.8724
8 | 2582189.5233 | 1106445.3721 | 2582177.5815 | 1106417.9603 | 2582171.1439 | 1106405.9399 | 2582166.9664 | 1106402.595 | 2582159.6717 | 1106398.8369 | 2582152.5681 | 1106399.5583 | 2582130.3639 | 1106402.9478 | 2582126.459 | 1106402.8593 | 2582123.6023 | 1106401.6561 | 2582118.305 | 1106401.3605 | 2582115.2565 | 1106403.2816 | 2582107.9034 | 1106403.3145 | 2582091.53 | 1106399.1498 | 2582083.7267 | 1106395.9714 | 2582074.2573 | 1106386.3613 | 2582066.8129 | 1106376.4785 | 2582056.2123 | 1106358.3008 | 2582048.5779 | 1106349.5525 | 2582025.4372 | 1106329.2889 | 2581995.9027 | 1106293.748
9 | 2582240.3019 | 1105752.2864 | 2582174.3383 | 1105804.7598
10 | 2582151.9199 | 1105777.4484 | 2582151.9199 | 1105777.4484 | 2582163.3962 | 1105782.9395 | 2582167.7582 | 1105791.0306 | 2582174.3383 | 1105804.7598
11 | 2582240.3019 | 1105752.2864 | 2582245.019 | 1105760.1987 | 2582253.4933 | 1105765.5679
12 | 2582135.7326 | 1105777.4268 | 2582151.9199 | 1105777.4484
13 | 2582189.5233 | 1106445.3721 | 2582188.7272 | 1106448.1092 | 2582189.4813 | 1106457.3449 | 2582193.4859 | 1106478.1324 | 2582194.1186 | 1106496.0284 | 2582196.2226 | 1106509.4512 | 2582197.9234 | 1106525.1095 | 2582194.1698 | 1106536.9821 | 2582189.1612 | 1106566.3894 | 2582187.438 | 1106571.9528 | 2582202.2189 | 1106628.86 | 2582200.9899 | 1106634.2218 | 2582194.491 | 1106636.7518
14 | 2582281.6762 | 1105782.4467 | 2582276.2567 | 1105777.5824 | 2582260.3354 | 1105769.903 | 2582253.4933 | 1105765.5679
15 | 2582281.6762 | 1105782.4467 | 2582285.2055 | 1105785.0136
16 | 2582371.7843 | 1105860.9557 | 2582374.5008 | 1105853.8109 | 2582367.1064 | 1105839.9144 | 2582362.2676 | 1105811.4809 | 2582362.5319 | 1105801.3418 | 2582359.1547 | 1105783.5205 | 2582354.2088 | 1105761.055
17 | 2582246.5237 | 1105719.6517 | 2582253.6749 | 1105724.3108 | 2582259.0017 | 1105731.8101 | 2582268.935 | 1105749.0562 | 2582273.5539 | 1105760.415 | 2582278.3885 | 1105774.1188 | 2582281.6762 | 1105782.4467
18 | 2582366.0509 | 1105745.9593 | 2582355.67 | 1105752.7263 | 2582353.5513 | 1105758.0685 | 2582354.2088 | 1105761.055
19 | 2582208.5506 | 1105558.0602 | 2582224.8554 | 1105572.3193 | 2582229.8397 | 1105576.3845 | 2582236.0672 | 1105579.7901 | 2582242.8976 | 1105585.7619 | 2582250.2852 | 1105597.3642
20 | 2582208.5506 | 1105558.0602 | 2582208.5506 | 1105558.0602 | 2582204.2554 | 1105557.2725
21 | 2582250.2852 | 1105597.3642 | 2582252.9584 | 1105601.5625 | 2582255.6307 | 1105605.4258
22 | 2582190.4066 | 1105560.8604 | 2582201.3317 | 1105556.7363 | 2582204.2554 | 1105557.2725
23 | 2582255.6307 | 1105605.4258 | 2582263.326 | 1105616.5507 | 2582271.7934 | 1105629.5879 | 2582279.8183 | 1105641.0322
24 | 2582179.4014 | 1105565.0146 | 2582190.4066 | 1105560.8604
25 | 2582297.1691 | 1105668.6141 | 2582293.17 | 1105662.0971 | 2582280.6305 | 1105642.1905 | 2582279.8183 | 1105641.0322
26 | 2582172.3792 | 1105567.6654 | 2582179.4014 | 1105565.0146
27 | 2582297.1691 | 1105668.6141 | 2582299.4483 | 1105672.3283 | 2582306.5498 | 1105678.5217 | 2582318.9841 | 1105688.9794 | 2582328.5687 | 1105703.3808 | 2582329.3044 | 1105704.2892
28 | 2582133.1096 | 1105561.8069 | 2582146.3398 | 1105566.648 | 2582156.2688 | 1105569.1644 | 2582160.8473 | 1105569.3176 | 2582167.4056 | 1105569.5428 | 2582172.3792 | 1105567.6654
29 | 2582266.4406 | 1105473.7255 | 2582261.6135 | 1105481.0989 | 2582261.6135 | 1105481.0989
30 | 2582266.4406 | 1105473.7255 | 2582266.4406 | 1105473.7255 | 2582265.1447 | 1105465.7885
31 | 2582254.6172 | 1105482.3307 | 2582261.6135 | 1105481.0989
32 | 2582263.4395 | 1105455.1027 | 2582265.0073 | 1105464.9475 | 2582265.1447 | 1105465.7885
33 | 2582253.8857 | 1105482.4595 | 2582254.6172 | 1105482.3307
34 | 2582263.4395 | 1105455.1027 | 2582252.5192 | 1105457.4248 | 2582245.6616 | 1105460.6466 | 2582240.7893 | 1105463.1622 | 2582233.6494 | 1105465.073 | 2582219.6565 | 1105466.526 | 2582214.3485 | 1105469.0556
35 | 2582263.4395 | 1105455.1027 | 2582244.9985 | 1105445.5521
36 | 2582263.4395 | 1105455.1027 | 2582275.3613 | 1105459.381 | 2582280.6497 | 1105461.6623
37 | 2582203.7286 | 1105514.6415 | 2582223.9032 | 1105501.0753 | 2582230.1547 | 1105494.2201 | 2582234.9197 | 1105486.7802 | 2582246.7811 | 1105483.7104 | 2582253.8857 | 1105482.4595
38 | 2582244.9985 | 1105445.5521 | 2582254.585 | 1105441.9666 | 2582260.1639 | 1105440.4272 | 2582266.2045 | 1105438.1194 | 2582274.1714 | 1105433.3936 | 2582277.5451 | 1105428.8037 | 2582281.1575 | 1105423.8461 | 2582287.7897 | 1105417.5569 | 2582292.2595 | 1105414.898 | 2582300.3487 | 1105412.3397 | 2582306.7644 | 1105410.5844
39 | 2582280.6497 | 1105461.6623 | 2582298.9993 | 1105469.5779
40 | 2582203.7286 | 1105514.6415 | 2582192.8748 | 1105531.582 | 2582181.8185 | 1105542.7758 | 2582172.6132 | 1105549.6619 | 2582162.9149 | 1105554.5819 | 2582150.1484 | 1105552.274
41 | 2582203.7286 | 1105514.6415 | 2582216.5716 | 1105513.9922 | 2582222.17 | 1105513.8646 | 2582226.753 | 1105515.5408 | 2582244.5566 | 1105529.3176 | 2582253.9391 | 1105540.5735 | 2582258.2385 | 1105551.0216 | 2582262.916 | 1105558.2
42 | 2582306.8445 | 1105472.9622 | 2582306.8445 | 1105472.9622 | 2582298.9993 | 1105469.5779
43 | 2582328.0297 | 1105478.9731 | 2582326.6875 | 1105478.5923
44 | 2582328.0297 | 1105478.9731 | 2582336.2784 | 1105481.3135 | 2582336.9112 | 1105481.4218
45 | 2582317.7896 | 1105476.0677 | 2582326.6875 | 1105478.5923
46 | 2582395.8253 | 1105498.5299 | 2582395.6808 | 1105498.4376 | 2582380.6516 | 1105486.5977 | 2582359.2808 | 1105485.2483 | 2582336.9112 | 1105481.4218
47 | 2582317.7896 | 1105476.0677 | 2582306.8445 | 1105472.9622
48 | 2582445.4907 | 1105527.2401 | 2582441.0283 | 1105525.019 | 2582416.5916 | 1105511.7945 | 2582395.8253 | 1105498.5299
49 | 2582445.4907 | 1105527.2401 | 2582453.9072 | 1105531.4292 | 2582453.9072 | 1105531.4292
50 | 2582465.0525 | 1105535.8079 | 2582453.9072 | 1105531.4292
51 | 2582133.1096 | 1105561.8069 | 2582143.3997 | 1105560.8872 | 2582146.8164 | 1105557.8311 | 2582150.1484 | 1105552.274
52 | 2582284.2667 | 1105590.1336 | 2582276.2037 | 1105580.3947 | 2582275.0409 | 1105576.8075 | 2582262.916 | 1105558.2
53 | 2582296.2604 | 1105597.8336 | 2582286.7348 | 1105593.1147 | 2582284.2667 | 1105590.1336
54 | 2582329.3044 | 1105704.2892 | 2582337.1369 | 1105713.961 | 2582342.6136 | 1105718.9381
55 | 2582354.1471 | 1105730.9938 | 2582347.294 | 1105723.1915 | 2582342.6136 | 1105718.9381
56 | 2582354.1471 | 1105730.9938 | 2582356.9846 | 1105734.2243 | 2582357.7418 | 1105735.2044
57 | 2582366.0509 | 1105745.9593 | 2582357.7418 | 1105735.2044
58 | 2582366.0509 | 1105745.9593 | 2582367.6994 | 1105749.597
59 | 2582296.2604 | 1105597.8336 | 2582296.2604 | 1105597.8336 | 2582299.8699 | 1105599.2108
60 | 2582308.5775 | 1105602.5332 | 2582299.8699 | 1105599.2108

## bus_geodata
| x | y | coords
0 | 2582167.0017 | 1106340.0457
1 | 2582240.7261 | 1106351.2854
2 | 2581936.643 | 1106182.5469
3 | 2582401.9716 | 1105987.8424
4 | 2581964.8733 | 1106278.166
5 | 2582344.8206 | 1105847.8724
6 | 2581995.9027 | 1106293.748
7 | 2582174.3383 | 1105804.7598
8 | 2582240.3019 | 1105752.2864
9 | 2582151.9199 | 1105777.4484
10 | 2582189.5233 | 1106445.3721
11 | 2582194.491 | 1106636.7518
12 | 2582135.7326 | 1105777.4268
13 | 2582253.4933 | 1105765.5679
14 | 2582285.2055 | 1105785.0136
15 | 2582371.7843 | 1105860.9557
16 | 2582281.6762 | 1105782.4467
17 | 2582354.2088 | 1105761.055
18 | 2582208.5506 | 1105558.0602
19 | 2582250.2852 | 1105597.3642
20 | 2582204.2554 | 1105557.2725
21 | 2582255.6307 | 1105605.4258
22 | 2582190.4066 | 1105560.8604
23 | 2582279.8183 | 1105641.0322
24 | 2582179.4014 | 1105565.0146
25 | 2582297.1691 | 1105668.6141
26 | 2582172.3792 | 1105567.6654
27 | 2582266.4406 | 1105473.7255
28 | 2582261.6135 | 1105481.0989
29 | 2582265.1447 | 1105465.7885
30 | 2582254.6172 | 1105482.3307
31 | 2582263.4395 | 1105455.1027
32 | 2582253.8857 | 1105482.4595
33 | 2582214.3485 | 1105469.0556
34 | 2582244.9985 | 1105445.5521
35 | 2582280.6497 | 1105461.6623
36 | 2582203.7286 | 1105514.6415
37 | 2582306.7644 | 1105410.5844
38 | 2582298.9993 | 1105469.5779
39 | 2582328.0297 | 1105478.9731
40 | 2582326.6875 | 1105478.5923
41 | 2582336.9112 | 1105481.4218
42 | 2582317.7896 | 1105476.0677
43 | 2582395.8253 | 1105498.5299
44 | 2582306.8445 | 1105472.9622
45 | 2582445.4907 | 1105527.2401
46 | 2582453.9072 | 1105531.4292
47 | 2582150.1484 | 1105552.274
48 | 2582262.916 | 1105558.2
49 | 2582133.1096 | 1105561.8069
50 | 2582284.2667 | 1105590.1336
51 | 2582246.5237 | 1105719.6517
52 | 2582329.3044 | 1105704.2892
53 | 2582342.6136 | 1105718.9381
54 | 2582354.1471 | 1105730.9938
55 | 2582357.7418 | 1105735.2044
56 | 2582366.0509 | 1105745.9593
57 | 2582367.6994 | 1105749.597
58 | 2582465.0525 | 1105535.8079
59 | 2582296.2604 | 1105597.8336
60 | 2582299.8699 | 1105599.2108
61 | 2582308.5775 | 1105602.5332
62 | 2582366.0509 | 1105745.9593

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1