## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6037-8_2_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_6037-8_2_3_node_154 | 0.4 | n |  | TRUE
2 | bus_LV_6037-8_2_3_node_155 | 0.4 | n |  | TRUE
3 | bus_LV_6037-8_2_3_node_131 | 0.4 | n |  | TRUE
4 | bus_LV_6037-8_2_3_node_132 | 0.4 | n |  | TRUE
5 | bus_LV_6037-8_2_3_node_133 | 0.4 | n |  | TRUE
6 | bus_LV_6037-8_2_3_node_110 | 0.4 | n |  | TRUE
7 | bus_LV_6037-8_2_3_node_134 | 0.4 | n |  | TRUE
8 | bus_LV_6037-8_2_3_node_145 | 0.4 | n |  | TRUE
9 | bus_LV_6037-8_2_3_node_148 | 0.4 | n |  | TRUE
10 | bus_LV_6037-8_2_3_node_135 | 0.4 | n |  | TRUE
11 | bus_LV_6037-8_2_3_node_136 | 0.4 | n |  | TRUE
12 | bus_LV_6037-8_2_3_node_137 | 0.4 | n |  | TRUE
13 | bus_LV_6037-8_2_3_node_138 | 0.4 | n |  | TRUE
14 | bus_LV_6037-8_2_3_node_139 | 0.4 | n |  | TRUE
15 | bus_LV_6037-8_2_3_node_141 | 0.4 | n |  | TRUE
16 | bus_LV_6037-8_2_3_node_94 | 0.4 | n |  | TRUE
17 | bus_LV_6037-8_2_3_node_140 | 0.4 | n |  | TRUE
18 | bus_LV_6037-8_2_3_node_149 | 0.4 | n |  | TRUE
19 | bus_LV_6037-8_2_3_node_142 | 0.4 | n |  | TRUE
20 | bus_LV_6037-8_2_3_node_143 | 0.4 | n |  | TRUE
21 | bus_LV_6037-8_2_3_node_144 | 0.4 | n |  | TRUE
22 | bus_LV_6037-8_2_3_node_146 | 0.4 | n |  | TRUE
23 | bus_LV_6037-8_2_3_node_157 | 0.4 | n |  | TRUE
24 | bus_LV_6037-8_2_3_node_147 | 0.4 | n |  | TRUE
25 | bus_LV_6037-8_2_3_node_152 | 0.4 | n |  | TRUE
26 | bus_LV_6037-8_2_3_node_150 | 0.4 | n |  | TRUE
27 | bus_LV_6037-8_2_3_node_151 | 0.4 | n |  | TRUE
28 | bus_LV_6037-8_2_3_node_153 | 0.4 | n |  | TRUE
29 | bus_LV_6037-8_2_3_node_156 | 0.4 | n |  | TRUE
30 | bus_LV_6037-8_2_3_node_162 | 0.4 | n |  | TRUE
31 | bus_LV_6037-8_2_3_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_6037-8_2_3_node_163 | 0.4 | n |  | TRUE
33 | bus_LV_6037-8_2_3_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_6037-8_2_3_node_86 | 0.4 | n |  | TRUE
35 | bus_LV_6037-8_2_3_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_6037-8_2_3_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_6037-8_2_3_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_6037-8_2_3_node_90 | 0.4 | n |  | TRUE
39 | bus_LV_6037-8_2_3_node_101 | 0.4 | n |  | TRUE
40 | bus_LV_6037-8_2_3_node_105 | 0.4 | n |  | TRUE
41 | bus_LV_6037-8_2_3_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_6037-8_2_3_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_6037-8_2_3_node_95 | 0.4 | n |  | TRUE
44 | bus_LV_6037-8_2_3_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_6037-8_2_3_node_98 | 0.4 | n |  | TRUE
46 | bus_LV_6037-8_2_3_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_6037-8_2_3_node_100 | 0.4 | n |  | TRUE
48 | bus_LV_6037-8_2_3_node_102 | 0.4 | n |  | TRUE
49 | bus_LV_6037-8_2_3_node_106 | 0.4 | n |  | TRUE
50 | bus_LV_6037-8_2_3_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_6037-8_2_3_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_6037-8_2_3_node_107 | 0.4 | n |  | TRUE
53 | bus_MV_197_0_node_300 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6037-8_2_3_load_154 | 1 | 0.0018182 | 0.00045567 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6037-8_2_3_load_155 | 2 | 0.0026719 | 0.00066963 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6037-8_2_3_load_131 | 3 | 0.00052038 | 0.00013042 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6037-8_2_3_load_132 | 4 | 0.0004938 | 0.00012376 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6037-8_2_3_load_133 | 5 | 0.00084716 | 0.00021232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6037-8_2_3_load_145 | 8 | 0.00055932 | 0.00014018 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6037-8_2_3_load_148 | 9 | 0.00041909 | 0.00010503 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6037-8_2_3_load_135 | 10 | 0.0012859 | 0.00032229 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6037-8_2_3_load_136 | 11 | 0.0014089 | 0.00035311 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6037-8_2_3_load_137 | 12 | 0.0015729 | 0.0003942 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6037-8_2_3_load_138 | 13 | 0.0012675 | 0.00031767 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6037-8_2_3_load_139 | 14 | 0.0013572 | 0.00034016 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6037-8_2_3_load_141 | 15 | 0.0016812 | 0.00042135 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6037-8_2_3_load_140 | 17 | 0.0012151 | 0.00030453 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6037-8_2_3_load_142 | 19 | 0.00071591 | 0.00017942 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6037-8_2_3_load_143 | 20 | 0.00053471 | 0.00013401 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6037-8_2_3_load_144 | 21 | 0.00088652 | 0.00022218 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6037-8_2_3_load_146 | 22 | 0.00075953 | 0.00019036 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6037-8_2_3_load_157 | 23 | 0.00047147 | 0.00011816 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6037-8_2_3_load_152 | 25 | 0.00062021 | 0.00015544 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6037-8_2_3_load_150 | 26 | 0.00053404 | 0.00013384 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6037-8_2_3_load_151 | 27 | 0.00047727 | 0.00011962 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6037-8_2_3_load_153 | 28 | 0.00068223 | 0.00017098 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6037-8_2_3_load_156 | 29 | 0.00090453 | 0.0002267 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6037-8_2_3_load_162 | 30 | 0.0026106 | 0.00065427 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6037-8_2_3_load_163 | 32 | 0.0016953 | 0.00042489 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6037-8_2_3_load_84 | 33 | 0.0075446 | 0.0018909 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6037-8_2_3_load_90 | 38 | 0.0011622 | 0.00029126 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6037-8_2_3_load_101 | 39 | 0.00098587 | 0.00024708 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6037-8_2_3_load_105 | 40 | 0.0012277 | 0.00030768 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6037-8_2_3_load_92 | 41 | 0.00041343 | 0.00010362 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6037-8_2_3_load_95 | 43 | 0.0012399 | 0.00031075 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6037-8_2_3_load_98 | 45 | 0.0064482 | 0.0016161 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6037-8_2_3_load_99 | 46 | 0.00080053 | 0.00020063 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6037-8_2_3_load_100 | 47 | 0.0028235 | 0.00070765 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6037-8_2_3_load_102 | 48 | 0.0024822 | 0.0006221 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6037-8_2_3_load_106 | 49 | 0.0062983 | 0.0015785 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6037-8_2_3_load_103 | 50 | 0.0090232 | 0.0022614 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6037-8_2_3_load_104 | 51 | 0.0033888 | 0.00084932 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6037-8_2_3_load_107 | 52 | 0.0026923 | 0.00067475 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6037-8_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6037-8_2_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6037-8_2_3_line_2 | NAYY 4x150 SE | 1 | 28 | 0.15741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6037-8_2_3_line_3 | NAYY 4x150 SE | 2 | 29 | 0.035852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6037-8_2_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.077061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6037-8_2_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.0082419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6037-8_2_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.18812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6037-8_2_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.007858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6037-8_2_3_line_8 | NAYY 4x150 SE | 6 | 24 | 0.096375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6037-8_2_3_line_9 | NAYY 4x150 SE | 6 | 37 | 0.34528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6037-8_2_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.31851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6037-8_2_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.039721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6037-8_2_3_line_12 | NAYY 4x150 SE | 8 | 20 | 0.16469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6037-8_2_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.010131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6037-8_2_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.028861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6037-8_2_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.013826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6037-8_2_3_line_16 | NAYY 4x150 SE | 12 | 14 | 0.039319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6037-8_2_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.0046808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_6037-8_2_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6037-8_2_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.060524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6037-8_2_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.074643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6037-8_2_3_line_21 | NAYY 4x150 SE | 16 | 42 | 0.12137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6037-8_2_3_line_22 | NAYY 4x150 SE | 18 | 25 | 0.084072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6037-8_2_3_line_23 | NAYY 4x150 SE | 18 | 26 | 0.054896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6037-8_2_3_line_24 | NAYY 4x150 SE | 19 | 20 | 0.069788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6037-8_2_3_line_25 | NAYY 4x150 SE | 19 | 21 | 0.25528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6037-8_2_3_line_26 | NAYY 4x150 SE | 21 | 22 | 0.12959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6037-8_2_3_line_27 | NAYY 4x150 SE | 22 | 23 | 0.029124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6037-8_2_3_line_28 | NAYY 4x150 SE | 23 | 29 | 0.16512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6037-8_2_3_line_29 | NAYY 4x150 SE | 24 | 25 | 0.042338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6037-8_2_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.05588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6037-8_2_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.022657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6037-8_2_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.037446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6037-8_2_3_line_33 | NAYY 4x150 SE | 31 | 44 | 0.069904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6037-8_2_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.037966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6037-8_2_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.073072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6037-8_2_3_line_36 | NAYY 4x150 SE | 35 | 38 | 0.0082173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6037-8_2_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.3024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6037-8_2_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.12619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6037-8_2_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.022141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6037-8_2_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.037801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6037-8_2_3_line_41 | NAYY 4x150 SE | 39 | 46 | 0.012186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6037-8_2_3_line_42 | NAYY 4x150 SE | 40 | 50 | 0.026008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6037-8_2_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.022568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6037-8_2_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0018694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6037-8_2_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.16663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6037-8_2_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.015192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6037-8_2_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.012652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6037-8_2_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.001233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6037-8_2_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.023208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6037-8_2_3_line_50 | NAYY 4x150 SE | 49 | 52 | 0.080869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6037-8_2_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.051339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6037-8_2_3_trafo_110 | 0.25 MVA 20/0.4 kV | 53 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2584204.2715 | 1102644.9603 | 2584218.0931 | 1102648.8507
1 | 2584204.2715 | 1102644.9603 | 2584190.9038 | 1102642.5719 | 2584174.0994 | 1102639.6144 | 2584171.3196 | 1102641.5418
2 | 2584218.0931 | 1102648.8507 | 2584238.9812 | 1102654.7301 | 2584247.4668 | 1102651.1173 | 2584250.0879 | 1102647.4864 | 2584253.9708 | 1102644.1413 | 2584261.4768 | 1102641.6649 | 2584272.8297 | 1102636.8885 | 2584277.2571 | 1102634.6536 | 2584285.8966 | 1102627.7166 | 2584306.4228 | 1102615.9462 | 2584315.3839 | 1102604.7284 | 2584320.709 | 1102593.6423 | 2584323.0975 | 1102586.8216 | 2584326.6648 | 1102566.1797 | 2584327.2118 | 1102564.1186
3 | 2584171.3196 | 1102641.5418 | 2584169.6896 | 1102642.6719 | 2584164.8828 | 1102650.6663 | 2584159.7726 | 1102649.179 | 2584159.0364 | 1102642.8222 | 2584167.7932 | 1102633.4612
4 | 2584151.5117 | 1102351.2314 | 2584150.7367 | 1102351.7419 | 2584145.6836 | 1102357.3802 | 2584140.4944 | 1102364.1862 | 2584131.4103 | 1102372.7921 | 2584125.9397 | 1102375.5524 | 2584118.6503 | 1102378.1284 | 2584103.9096 | 1102383.492 | 2584088.0637 | 1102391.9145
5 | 2584151.5117 | 1102351.2314 | 2584158.3943 | 1102346.6973
6 | 2584002.4765 | 1102468.5804 | 2584004.0068 | 1102491.3545 | 2584005.8798 | 1102506.1903 | 2584010.9419 | 1102506.9662 | 2584013.9986 | 1102504.2901 | 2584012.5781 | 1102487.9078 | 2584013.3453 | 1102479.6127 | 2584018.6014 | 1102468.9379 | 2584026.4317 | 1102457.3558 | 2584044.2121 | 1102437.1097 | 2584062.7861 | 1102415.5499 | 2584079.0231 | 1102396.7198 | 2584088.0637 | 1102391.9145
7 | 2584165.3139 | 1102342.9882 | 2584159.5805 | 1102345.9158 | 2584158.3943 | 1102346.6973
8 | 2584002.4765 | 1102468.5804 | 2584004.5349 | 1102451.1773 | 2584016.6959 | 1102418.3953 | 2584022.2419 | 1102391.5226 | 2584024.8296 | 1102375.2854
9 | 2583779.7712 | 1102565.8009 | 2583786.6296 | 1102558.4566 | 2583818.5074 | 1102570.6328 | 2583849.7887 | 1102597.0068 | 2583871.657 | 1102609.9994 | 2583898.5757 | 1102613.6961 | 2583903.493 | 1102615.3394 | 2583898.2168 | 1102603.8699 | 2583907.9463 | 1102608.3796 | 2583912.9936 | 1102606.5318 | 2583928.6982 | 1102585.724 | 2583949.52 | 1102577.6424 | 2583951.9199 | 1102552.0231 | 2583963.8223 | 1102518.1634 | 2583971.922 | 1102500.3218 | 2584002.4765 | 1102468.5804
10 | 2584165.3139 | 1102342.9882 | 2584170.7459 | 1102340.2281 | 2584189.0211 | 1102328.3854 | 2584200.7058 | 1102317.1047 | 2584208.7851 | 1102302.9209 | 2584212.8053 | 1102295.8068 | 2584218.9112 | 1102290.3326 | 2584229.8815 | 1102283.9563 | 2584239.7659 | 1102276.549 | 2584252.144 | 1102267.0563 | 2584271.1915 | 1102260.459 | 2584294.2058 | 1102255.8634 | 2584311.5846 | 1102247.2028 | 2584318.5653 | 1102241.8931 | 2584323.3878 | 1102239.7128 | 2584328.8499 | 1102239.5319 | 2584329.7938 | 1102242.4865 | 2584326.2498 | 1102245.3527 | 2584316.1115 | 1102250.4149 | 2584308.8911 | 1102258.7712 | 2584295.02 | 1102271.4025 | 2584267.95 | 1102290.3158 | 2584261.4346 | 1102301.9497 | 2584256.0242 | 1102310.079 | 2584249.3038 | 1102321.8752
11 | 2584165.3139 | 1102342.9882 | 2584165.4396 | 1102340.7979 | 2584168.3626 | 1102337.2106 | 2584173.6582 | 1102332.5722 | 2584179.895 | 1102326.8863 | 2584183.9504 | 1102321.3952 | 2584187.5374 | 1102314.3044 | 2584188.3562 | 1102311.7866
12 | 2584188.8096 | 1102470.2827 | 2584191.7439 | 1102452.2295 | 2584193.4249 | 1102444.1655 | 2584196.0935 | 1102440.9124 | 2584206.3974 | 1102431.314 | 2584210.4076 | 1102426.3343 | 2584214.8266 | 1102420.8422 | 2584216.0485 | 1102417.6374 | 2584215.7484 | 1102412.3467 | 2584215.1802 | 1102402.1764 | 2584219.5861 | 1102388.7247 | 2584228.5374 | 1102370.7145 | 2584240.4971 | 1102337.3332 | 2584249.3038 | 1102321.8752
13 | 2584126.518 | 1102187.7944 | 2584122.0622 | 1102196.893
14 | 2584126.518 | 1102187.7944 | 2584127.2835 | 1102186.2313 | 2584137.3931 | 1102164.4049 | 2584138.8937 | 1102161.7304
15 | 2584122.0622 | 1102196.893 | 2584115.9813 | 1102209.3102
16 | 2584154.6744 | 1102128.367 | 2584156.5711 | 1102130.771 | 2584155.4664 | 1102137.3327 | 2584146.1573 | 1102148.7851 | 2584138.8937 | 1102161.7304
17 | 2584115.9813 | 1102209.3102 | 2584113.9226 | 1102213.514
18 | 2584050.4301 | 1102198.8512 | 2584062.9493 | 1102198.8737 | 2584071.0234 | 1102197.4517 | 2584084.686 | 1102190.9791 | 2584112.9591 | 1102170.6055 | 2584131.9631 | 1102153.258 | 2584145.0558 | 1102133.0023 | 2584148.7216 | 1102129.3686 | 2584154.3741 | 1102127.9864 | 2584154.6744 | 1102128.367
19 | 2584084.411 | 1102265.6841 | 2584098.2331 | 1102249.3061 | 2584109.344 | 1102222.8636 | 2584113.9226 | 1102213.514
20 | 2584095.8291 | 1102141.4915 | 2584091.1585 | 1102148.4518 | 2584082.4156 | 1102160.3586 | 2584077.2754 | 1102168.176 | 2584072.8116 | 1102177.2702 | 2584068.8116 | 1102183.2282 | 2584063.8655 | 1102188.3771 | 2584058.9244 | 1102192.4589 | 2584054.2426 | 1102195.1504 | 2584050.295 | 1102197.4953 | 2584050.4301 | 1102198.8512
21 | 2583943.5628 | 1102251.8276 | 2583944.8493 | 1102252.6246 | 2583950.0369 | 1102251.0878 | 2583960.1823 | 1102245.9138 | 2583988.8539 | 1102227.2839 | 2584018.8767 | 1102207.5056 | 2584031.2401 | 1102201.3142 | 2584049.1844 | 1102198.8434 | 2584050.4301 | 1102198.8512
22 | 2584084.411 | 1102265.6841 | 2584072.2009 | 1102280.1347 | 2584054.5304 | 1102315.8437 | 2584039.2113 | 1102333.6709 | 2584038.5224 | 1102335.3407
23 | 2584084.411 | 1102265.6841 | 2584082.8767 | 1102264.8322 | 2584077.9682 | 1102266.6127 | 2584062.5978 | 1102276.7805 | 2584038.0445 | 1102293.1144
24 | 2584188.8096 | 1102470.2827 | 2584188.4088 | 1102472.7485 | 2584184.7406 | 1102481.2735 | 2584178.5832 | 1102490.6388 | 2584173.2012 | 1102497.6564 | 2584173.922 | 1102501.1119 | 2584175.8796 | 1102501.1512 | 2584180.1006 | 1102499.8617 | 2584190.5361 | 1102487.3948 | 2584196.6912 | 1102477.33
25 | 2584296.6057 | 1102382.7572 | 2584315.6532 | 1102368.8646 | 2584336.4587 | 1102357.0046 | 2584339.271 | 1102352.4728 | 2584332.9354 | 1102349.9213 | 2584328.1492 | 1102351.1343 | 2584312.3567 | 1102356.7559 | 2584297.918 | 1102362.2962 | 2584274.9913 | 1102379.5868 | 2584267.1574 | 1102386.9776 | 2584244.0428 | 1102412.2616 | 2584238.1707 | 1102421.2815 | 2584234.7739 | 1102427.16 | 2584232.3772 | 1102436.7155 | 2584224.2815 | 1102441.5946 | 2584215.7802 | 1102445.2409 | 2584209.5619 | 1102449.0813 | 2584204.781 | 1102464.1014 | 2584196.6912 | 1102477.33
26 | 2584265.4539 | 1102505.2526 | 2584265.4539 | 1102505.2526 | 2584267.4212 | 1102482.2915 | 2584270.6975 | 1102474.7347 | 2584271.931 | 1102464.1484 | 2584270.3949 | 1102450.6456 | 2584272.6749 | 1102431.8858 | 2584277.5198 | 1102417.5993 | 2584282.818 | 1102405.0681 | 2584294.2541 | 1102384.4725 | 2584296.6057 | 1102382.7572
27 | 2584263.6379 | 1102533.1779 | 2584266.9891 | 1102527.2708 | 2584267.8473 | 1102515.1958 | 2584265.4539 | 1102505.2526
28 | 2584263.6379 | 1102533.1779 | 2584253.7886 | 1102550.5391 | 2584249.857 | 1102564.9122 | 2584251.3854 | 1102587.3083 | 2584250.8628 | 1102591.6119 | 2584247.3569 | 1102597.1349 | 2584241.5879 | 1102601.1297 | 2584238.2895 | 1102609.0868 | 2584232.5896 | 1102621.7413 | 2584224.5588 | 1102624.7194 | 2584208.0565 | 1102621.9277 | 2584197.6391 | 1102626.4684 | 2584186.1834 | 1102630.4003 | 2584167.7932 | 1102633.4612 | 2584167.7932 | 1102633.4612
29 | 2584024.8296 | 1102375.2854 | 2584025.5527 | 1102370.7812 | 2584030.6623 | 1102354.3928 | 2584038.5224 | 1102335.3407
30 | 2584014.0296 | 1102293.8508 | 2584008.9799 | 1102303.6691 | 2584005.604 | 1102308.5805 | 2584005.4533 | 1102310.1039 | 2584007.7061 | 1102310.587 | 2584025.7783 | 1102301.0566 | 2584036.2908 | 1102294.281 | 2584038.0445 | 1102293.1144
31 | 2584082.8238 | 1102080.3728 | 2584083.2875 | 1102083.0951 | 2584080.649 | 1102088.9606 | 2584075.9266 | 1102093.8755 | 2584070.2565 | 1102097.3922
32 | 2584113.2536 | 1102059.0375 | 2584102.0876 | 1102064.6364 | 2584093.4819 | 1102069.9506 | 2584086.9688 | 1102076.5711 | 2584082.8238 | 1102080.3728
33 | 2584021.3704 | 1102111.8508 | 2584023.9697 | 1102111.6772 | 2584027.7526 | 1102108.4545 | 2584034.5638 | 1102103.4339 | 2584046.5713 | 1102097.1657 | 2584059.1585 | 1102093.5418 | 2584068.1484 | 1102090.2164 | 2584075.25 | 1102086.707 | 2584081.2955 | 1102081.7775 | 2584082.8238 | 1102080.3728
34 | 2583575.6121 | 1102555.5695 | 2583577.0982 | 1102550.1183 | 2583584.2472 | 1102518.6029
35 | 2583575.6121 | 1102555.5695 | 2583597.745 | 1102554.6422 | 2583648.8672 | 1102553.3586
36 | 2583648.8672 | 1102553.3586 | 2583650.3671 | 1102545.2793
37 | 2583729.9652 | 1102466.9295 | 2583737.3388 | 1102464.1305 | 2583745.7099 | 1102449.6117 | 2583755.7987 | 1102435.0995 | 2583762.5956 | 1102424.965 | 2583763.0101 | 1102392.0918 | 2583765.3889 | 1102378.9899 | 2583770.8604 | 1102385.2339 | 2583772.6701 | 1102393.6 | 2583774.6522 | 1102411.3814 | 2583781.6692 | 1102463.0107 | 2583785.6867 | 1102478.1631 | 2583792.5851 | 1102491.4402 | 2583802.2629 | 1102511.1797 | 2583803.9197 | 1102528.8842 | 2583796.8649 | 1102543.8106 | 2583786.6296 | 1102558.4566 | 2583779.7712 | 1102565.8009
38 | 2583729.9652 | 1102466.9295 | 2583722.1767 | 1102470.808 | 2583712.9645 | 1102471.8 | 2583701.1231 | 1102470.3979 | 2583692.2988 | 1102471.7668 | 2583682.3046 | 1102478.2637 | 2583678.9341 | 1102490.7903 | 2583675.3105 | 1102501.2164 | 2583664.6034 | 1102513.0179 | 2583656.7197 | 1102527.4243 | 2583651.6278 | 1102538.4881 | 2583650.3671 | 1102545.2793
39 | 2583779.7712 | 1102565.8009 | 2583775.1629 | 1102587.0462 | 2583775.0878 | 1102587.4413
40 | 2583779.7712 | 1102565.8009 | 2583760.8873 | 1102566.552 | 2583742.2224 | 1102569.5383
41 | 2583772.8128 | 1102599.4128 | 2583775.0878 | 1102587.4413
42 | 2583717.667 | 1102577.6064 | 2583733.7501 | 1102570.8938 | 2583742.2224 | 1102569.5383
43 | 2583943.5628 | 1102251.8276 | 2583941.8208 | 1102254.3557 | 2583934.6734 | 1102263.7795 | 2583930.526 | 1102270.232
44 | 2583943.5628 | 1102251.8276 | 2583941.974 | 1102250.8424
45 | 2584021.3704 | 1102111.8508 | 2584021.6338 | 1102126.6131 | 2584017.026 | 1102145.5682 | 2584000.5138 | 1102183.342 | 2583990.1273 | 1102202.6904 | 2583975.4067 | 1102215.7471 | 2583958.2696 | 1102230.7668 | 2583943.7663 | 1102244.0009 | 2583941.974 | 1102250.8424
46 | 2583768.6221 | 1102613.8294 | 2583770.7686 | 1102610.1696 | 2583772.8128 | 1102599.4128
47 | 2583768.6221 | 1102613.8294 | 2583763.0824 | 1102623.2746 | 2583762.0434 | 1102624.6226
48 | 2583761.2907 | 1102625.5991 | 2583762.0434 | 1102624.6226
49 | 2583761.2907 | 1102625.5991 | 2583747.1226 | 1102643.9804
50 | 2583704.5187 | 1102712.4359 | 2583709.4153 | 1102704.8824 | 2583730.1534 | 1102665.9958 | 2583747.1226 | 1102643.9804
51 | 2583717.667 | 1102577.6064 | 2583703.5637 | 1102583.4926 | 2583681.9378 | 1102603.0942 | 2583677.4289 | 1102608.2772

## bus_geodata
| x | y | coords
0 | 2584204.2715 | 1102644.9603
1 | 2584218.0931 | 1102648.8507
2 | 2584171.3196 | 1102641.5418
3 | 2584151.5117 | 1102351.2314
4 | 2584088.0637 | 1102391.9145
5 | 2584158.3943 | 1102346.6973
6 | 2584002.4765 | 1102468.5804
7 | 2584165.3139 | 1102342.9882
8 | 2584249.3038 | 1102321.8752
9 | 2584188.3562 | 1102311.7866
10 | 2584126.518 | 1102187.7944
11 | 2584122.0622 | 1102196.893
12 | 2584138.8937 | 1102161.7304
13 | 2584115.9813 | 1102209.3102
14 | 2584154.6744 | 1102128.367
15 | 2584113.9226 | 1102213.514
16 | 2584050.4301 | 1102198.8512
17 | 2584095.8291 | 1102141.4915
18 | 2584084.411 | 1102265.6841
19 | 2584196.6912 | 1102477.33
20 | 2584188.8096 | 1102470.2827
21 | 2584296.6057 | 1102382.7572
22 | 2584265.4539 | 1102505.2526
23 | 2584263.6379 | 1102533.1779
24 | 2584024.8296 | 1102375.2854
25 | 2584038.5224 | 1102335.3407
26 | 2584038.0445 | 1102293.1144
27 | 2584014.0296 | 1102293.8508
28 | 2584327.2118 | 1102564.1186
29 | 2584167.7932 | 1102633.4612
30 | 2584070.2565 | 1102097.3922
31 | 2584082.8238 | 1102080.3728
32 | 2584113.2536 | 1102059.0375
33 | 2583584.2472 | 1102518.6029
34 | 2583575.6121 | 1102555.5695
35 | 2583648.8672 | 1102553.3586
36 | 2583729.9652 | 1102466.9295
37 | 2583779.7712 | 1102565.8009
38 | 2583650.3671 | 1102545.2793
39 | 2583775.0878 | 1102587.4413
40 | 2583742.2224 | 1102569.5383
41 | 2583930.526 | 1102270.232
42 | 2583943.5628 | 1102251.8276
43 | 2583941.974 | 1102250.8424
44 | 2584021.3704 | 1102111.8508
45 | 2583768.6221 | 1102613.8294
46 | 2583772.8128 | 1102599.4128
47 | 2583762.0434 | 1102624.6226
48 | 2583761.2907 | 1102625.5991
49 | 2583747.1226 | 1102643.9804
50 | 2583717.667 | 1102577.6064
51 | 2583677.4289 | 1102608.2772
52 | 2583704.5187 | 1102712.4359
53 | 2584024.8296 | 1102375.2854

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1