## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_605-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_605-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_605-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_605-2_0_2_node_52 | 0.4 | n |  | TRUE
4 | bus_LV_605-2_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_605-2_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_605-2_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_605-2_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_605-2_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_605-2_0_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_605-2_0_2_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_605-2_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_605-2_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_605-2_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_605-2_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_605-2_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_605-2_0_2_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_605-2_0_2_node_47 | 0.4 | n |  | TRUE
18 | bus_LV_605-2_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_605-2_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_605-2_0_2_node_167 | 0.4 | n |  | TRUE
21 | bus_LV_605-2_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_605-2_0_2_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_605-2_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_605-2_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_605-2_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_605-2_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_605-2_0_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_605-2_0_2_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_605-2_0_2_node_95 | 0.4 | n |  | TRUE
30 | bus_LV_605-2_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_605-2_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_605-2_0_2_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_605-2_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_605-2_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_605-2_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_605-2_0_2_node_170 | 0.4 | n |  | TRUE
37 | bus_LV_605-2_0_2_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_605-2_0_2_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_605-2_0_2_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_605-2_0_2_node_165 | 0.4 | n |  | TRUE
41 | bus_LV_605-2_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_605-2_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_605-2_0_2_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_605-2_0_2_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_605-2_0_2_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_605-2_0_2_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_605-2_0_2_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_605-2_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_605-2_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_605-2_0_2_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_605-2_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_605-2_0_2_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_605-2_0_2_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_605-2_0_2_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_605-2_0_2_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_605-2_0_2_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_605-2_0_2_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_605-2_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_605-2_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_605-2_0_2_node_166 | 0.4 | n |  | TRUE
61 | bus_LV_605-2_0_2_node_168 | 0.4 | n |  | TRUE
62 | bus_LV_605-2_0_2_node_169 | 0.4 | n |  | TRUE
63 | bus_LV_605-2_0_2_node_171 | 0.4 | n |  | TRUE
64 | bus_LV_605-2_0_2_node_174 | 0.4 | n |  | TRUE
65 | bus_MV_199_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_605-2_0_2_load_0 | 0 | 0.0056818 | 0.001424 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_605-2_0_2_load_2 | 2 | 0.0048311 | 0.0012108 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_605-2_0_2_load_3 | 4 | 0.0036373 | 0.00091159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_605-2_0_2_load_4 | 5 | 0.0020489 | 0.0005135 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_605-2_0_2_load_5 | 6 | 0.0057957 | 0.0014525 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_605-2_0_2_load_6 | 7 | 0.0020589 | 0.00051602 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_605-2_0_2_load_7 | 8 | 0.0041322 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_605-2_0_2_load_15 | 9 | 0.0027614 | 0.00069208 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_605-2_0_2_load_36 | 10 | 0.0038393 | 0.00096222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_605-2_0_2_load_8 | 11 | 0.0010231 | 0.0002564 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_605-2_0_2_load_9 | 12 | 0.0034269 | 0.00085886 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_605-2_0_2_load_10 | 13 | 0.0040695 | 0.0010199 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_605-2_0_2_load_11 | 14 | 0.00093179 | 0.00023353 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_605-2_0_2_load_12 | 15 | 0.00067813 | 0.00016996 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_605-2_0_2_load_22 | 16 | 0.00057558 | 0.00014425 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_605-2_0_2_load_13 | 18 | 0.00051552 | 0.0001292 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_605-2_0_2_load_14 | 19 | 0.0044606 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_605-2_0_2_load_167 | 20 | 0.0011125 | 0.00027882 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_605-2_0_2_load_16 | 22 | 0.0025062 | 0.00062811 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_605-2_0_2_load_17 | 23 | 0.002655 | 0.00066542 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_605-2_0_2_load_18 | 24 | 0.0035939 | 0.00090071 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_605-2_0_2_load_19 | 25 | 0.0024903 | 0.00062414 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_605-2_0_2_load_20 | 26 | 0.0033171 | 0.00083135 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_605-2_0_2_load_48 | 27 | 0.004761 | 0.0011932 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_605-2_0_2_load_45 | 28 | 0.0029523 | 0.00073992 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_605-2_0_2_load_23 | 30 | 0.0010626 | 0.00026632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_605-2_0_2_load_24 | 31 | 0.00091735 | 0.00022991 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_605-2_0_2_load_51 | 32 | 0.00073867 | 0.00018513 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_605-2_0_2_load_25 | 33 | 0.00069673 | 0.00017462 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_605-2_0_2_load_26 | 34 | 0.0014661 | 0.00036744 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_605-2_0_2_load_170 | 36 | 0.0006714 | 0.00016827 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_605-2_0_2_load_28 | 37 | 0.0032601 | 0.00081706 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_605-2_0_2_load_165 | 40 | 0.0011908 | 0.00029843 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_605-2_0_2_load_30 | 41 | 0.0036679 | 0.00091926 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_605-2_0_2_load_33 | 44 | 0.0054056 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_605-2_0_2_load_34 | 45 | 0.0029876 | 0.00074877 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_605-2_0_2_load_35 | 46 | 0.0031942 | 0.00080053 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_605-2_0_2_load_37 | 47 | 0.005404 | 0.0013544 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_605-2_0_2_load_38 | 48 | 0.003475 | 0.00087091 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_605-2_0_2_load_39 | 49 | 0.0013773 | 0.00034519 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_605-2_0_2_load_43 | 50 | 0.0022403 | 0.00056147 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_605-2_0_2_load_40 | 51 | 0.0027215 | 0.00068208 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_605-2_0_2_load_54 | 53 | 0.016699 | 0.0041853 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_605-2_0_2_load_49 | 54 | 0.0013847 | 0.00034704 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_605-2_0_2_load_46 | 56 | 0.0047185 | 0.0011826 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_605-2_0_2_load_50 | 57 | 0.0006794 | 0.00017027 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_605-2_0_2_load_55 | 59 | 0.0006192 | 0.00015519 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_605-2_0_2_load_166 | 60 | 0.0069906 | 0.001752 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_605-2_0_2_load_168 | 61 | 0.0022374 | 0.00056074 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_605-2_0_2_load_169 | 62 | 0.00077286 | 0.0001937 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_605-2_0_2_load_171 | 63 | 0.00047702 | 0.00011955 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_605-2_0_2_load_174 | 64 | 0.00022596 | 5.663e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_605-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0066816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_605-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.19011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_605-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.16789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_605-2_0_2_line_3 | NAYY 4x150 SE | 3 | 58 | 0.032998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_605-2_0_2_line_4 | NAYY 4x150 SE | 3 | 37 | 0.045187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_605-2_0_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.0084988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_605-2_0_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.017824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_605-2_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.00145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_605-2_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.024198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_605-2_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.13635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_605-2_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.016125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_605-2_0_2_line_11 | NAYY 4x150 SE | 9 | 21 | 0.02284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_605-2_0_2_line_12 | NAYY 4x150 SE | 9 | 19 | 0.068002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_605-2_0_2_line_13 | NAYY 4x150 SE | 10 | 43 | 0.0084865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_605-2_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.011359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_605-2_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.013736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_605-2_0_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.017401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_605-2_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.0090588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_605-2_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.0042721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_605-2_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.011881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_605-2_0_2_line_20 | NAYY 4x150 SE | 16 | 30 | 0.011487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_605-2_0_2_line_21 | NAYY 4x150 SE | 17 | 57 | 0.010524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_605-2_0_2_line_22 | NAYY 4x150 SE | 17 | 45 | 0.024453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_605-2_0_2_line_23 | NAYY 4x150 SE | 18 | 19 | 0.011127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_605-2_0_2_line_24 | NAYY 4x150 SE | 18 | 20 | 0.19775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_605-2_0_2_line_25 | NAYY 4x150 SE | 20 | 60 | 0.001346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_605-2_0_2_line_26 | NAYY 4x150 SE | 21 | 29 | 0.42106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_605-2_0_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.008161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_605-2_0_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.01719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_605-2_0_2_line_29 | NAYY 4x150 SE | 23 | 25 | 0.0011594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_605-2_0_2_line_30 | NAYY 4x150 SE | 24 | 26 | 0.0059178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_605-2_0_2_line_31 | NAYY 4x150 SE | 25 | 27 | 0.016708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_605-2_0_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.01952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_605-2_0_2_line_33 | NAYY 4x150 SE | 27 | 57 | 0.0044033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_605-2_0_2_line_34 | NAYY 4x150 SE | 28 | 55 | 0.010337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_605-2_0_2_line_35 | NAYY 4x150 SE | 29 | 64 | 0.28506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_605-2_0_2_line_36 | NAYY 4x150 SE | 30 | 31 | 0.0075828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_605-2_0_2_line_37 | NAYY 4x150 SE | 31 | 32 | 0.048597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_605-2_0_2_line_38 | NAYY 4x150 SE | 33 | 34 | 0.10325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_605-2_0_2_line_39 | NAYY 4x150 SE | 33 | 35 | 0.014903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_605-2_0_2_line_40 | NAYY 4x150 SE | 34 | 36 | 0.23823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_605-2_0_2_line_41 | NAYY 4x150 SE | 35 | 37 | 0.0047764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_605-2_0_2_line_42 | NAYY 4x150 SE | 36 | 63 | 0.0059382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_605-2_0_2_line_43 | NAYY 4x150 SE | 36 | 62 | 0.024259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_605-2_0_2_line_44 | NAYY 4x150 SE | 38 | 39 | 0.01405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_605-2_0_2_line_45 | NAYY 4x150 SE | 38 | 40 | 0.02709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_605-2_0_2_line_46 | NAYY 4x150 SE | 39 | 53 | 0.0073574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_605-2_0_2_line_47 | NAYY 4x150 SE | 39 | 52 | 0.030794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_605-2_0_2_line_48 | NAYY 4x150 SE | 40 | 56 | 0.025682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_605-2_0_2_line_49 | NAYY 4x150 SE | 41 | 42 | 0.013741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_605-2_0_2_line_50 | NAYY 4x150 SE | 41 | 43 | 0.012091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_605-2_0_2_line_51 | NAYY 4x150 SE | 42 | 44 | 0.016086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_605-2_0_2_line_52 | NAYY 4x150 SE | 42 | 45 | 0.025949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_605-2_0_2_line_53 | NAYY 4x150 SE | 43 | 46 | 0.022797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_605-2_0_2_line_54 | NAYY 4x150 SE | 44 | 47 | 0.015849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_605-2_0_2_line_55 | NAYY 4x150 SE | 47 | 48 | 0.01596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_605-2_0_2_line_56 | NAYY 4x150 SE | 48 | 49 | 0.012182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_605-2_0_2_line_57 | NAYY 4x150 SE | 49 | 50 | 0.022068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_605-2_0_2_line_58 | NAYY 4x150 SE | 50 | 54 | 0.0006234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_605-2_0_2_line_59 | NAYY 4x150 SE | 51 | 52 | 0.023636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_605-2_0_2_line_60 | NAYY 4x150 SE | 53 | 59 | 0.072951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_605-2_0_2_line_61 | NAYY 4x150 SE | 55 | 56 | 0.01879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_605-2_0_2_line_62 | NAYY 4x150 SE | 58 | 59 | 0.021135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_605-2_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0025114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_605-2_0_2_trafo_48 | 0.25 MVA 20/0.4 kV | 65 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2620874.9003 | 1195356.89 | 2620877.1327 | 1195363.1876
1 | 2620877.1327 | 1195363.1876 | 2620968.7608 | 1195529.7546
2 | 2620826.9974 | 1195195.9818 | 2620874.9003 | 1195356.89
3 | 2620816.6226 | 1195164.6624 | 2620819.8531 | 1195173.4227 | 2620826.9974 | 1195195.9818
4 | 2620826.9974 | 1195195.9818 | 2620817.2113 | 1195192.5905 | 2620812.5951 | 1195190.1731 | 2620805.7861 | 1195185.1468 | 2620801.0708 | 1195182.7181 | 2620793.1457 | 1195178.7885 | 2620787.4601 | 1195174.6956
5 | 2620502.3534 | 1195006.3559 | 2620495.484 | 1195001.3516
6 | 2620502.3534 | 1195006.3559 | 2620516.76 | 1195016.8509
7 | 2620494.312 | 1195000.4979 | 2620495.484 | 1195001.3516
8 | 2620516.76 | 1195016.8509 | 2620520.7452 | 1195019.7541 | 2620523.3624 | 1195020.8636 | 2620527.1914 | 1195021.8439 | 2620530.5385 | 1195023.3784 | 2620536.5604 | 1195026.9899 | 2620538.0129 | 1195027.9982
9 | 2620494.312 | 1195000.4979 | 2620466.0241 | 1194867.1125
10 | 2620551.122 | 1195037.3672 | 2620549.7252 | 1195036.1287 | 2620538.0129 | 1195027.9982
11 | 2620483.8452 | 1194852.8276 | 2620466.0241 | 1194867.1125
12 | 2620402.9685 | 1194879.3452 | 2620404.7601 | 1194878.8831 | 2620407.85 | 1194877.6818 | 2620411.5525 | 1194875.5489 | 2620413.9484 | 1194874.5565 | 2620416.3734 | 1194873.92 | 2620422.2878 | 1194873.3842 | 2620424.5068 | 1194872.836 | 2620428.2922 | 1194871.0034 | 2620431.6181 | 1194869.8697 | 2620434.7058 | 1194869.3021 | 2620438.1808 | 1194869.125 | 2620441.2873 | 1194869.747 | 2620444.9166 | 1194871.2268 | 2620450.7684 | 1194873.3924 | 2620453.8672 | 1194874.0589 | 2620456.4964 | 1194873.8677 | 2620458.5868 | 1194873.0744 | 2620460.5198 | 1194871.5247 | 2620466.0241 | 1194867.1125
13 | 2620556.6247 | 1195043.7898 | 2620555.1159 | 1195041.6168 | 2620552.3306 | 1195038.4389 | 2620551.122 | 1195037.3672
14 | 2620543.586 | 1195105.8884 | 2620532.4155 | 1195107.9476
15 | 2620557.0948 | 1195103.3982 | 2620543.586 | 1195105.8884
16 | 2620532.4155 | 1195107.9476 | 2620515.3029 | 1195111.1021
17 | 2620557.0948 | 1195103.3982 | 2620559.7438 | 1195102.9099 | 2620566.0043 | 1195101.7602
18 | 2620515.3029 | 1195111.1021 | 2620511.1016 | 1195111.8766
19 | 2620577.6901 | 1195099.6141 | 2620566.0043 | 1195101.7602
20 | 2620499.8051 | 1195113.9589 | 2620511.1016 | 1195111.8766
21 | 2620577.6901 | 1195099.6141 | 2620588.1225 | 1195098.229
22 | 2620577.6901 | 1195099.6141 | 2620571.7591 | 1195089.5106 | 2620567.1948 | 1195083.0137 | 2620563.9154 | 1195079.5117
23 | 2620402.9685 | 1194879.3452 | 2620400.1235 | 1194880.0791 | 2620392.4691 | 1194882.9903
24 | 2620392.4691 | 1194882.9903 | 2620208.9129 | 1194956.5597
25 | 2620207.7249 | 1194955.927 | 2620208.9129 | 1194956.5597
26 | 2620804.3595 | 1194579.7626 | 2620483.8452 | 1194852.8276
27 | 2620610.2366 | 1195095.6162 | 2620618.3578 | 1195094.811
28 | 2620635.464 | 1195093.115 | 2620618.3578 | 1195094.811
29 | 2620610.2366 | 1195095.6162 | 2620609.0829 | 1195095.7305
30 | 2620641.3529 | 1195092.5311 | 2620635.464 | 1195093.115
31 | 2620609.0829 | 1195095.7305 | 2620600.6259 | 1195096.569 | 2620592.4875 | 1195097.6495
32 | 2620641.3529 | 1195092.5311 | 2620660.7777 | 1195090.6053
33 | 2620588.1225 | 1195098.229 | 2620592.4875 | 1195097.6495
34 | 2620671.0643 | 1195089.5854 | 2620660.7777 | 1195090.6053
35 | 2620804.3595 | 1194579.7626 | 2620635.744 | 1194349.9241
36 | 2620492.411 | 1195115.6131 | 2620495.9178 | 1195114.6755 | 2620499.8051 | 1195113.9589
37 | 2620451.8067 | 1195141.5855 | 2620460.5226 | 1195134.1095 | 2620479.0267 | 1195121.3658 | 2620483.5767 | 1195118.6911 | 2620489.3901 | 1195116.4208 | 2620492.411 | 1195115.6131
38 | 2620684.5295 | 1195203.6595 | 2620688.9722 | 1195196.76 | 2620694.7254 | 1195189.8651 | 2620706.3231 | 1195178.2878 | 2620711.3581 | 1195174.1919 | 2620713.9761 | 1195172.8002 | 2620715.4857 | 1195172.5053 | 2620717.2907 | 1195172.7116 | 2620718.7961 | 1195173.6173 | 2620723.5061 | 1195177.5468 | 2620726.518 | 1195179.058 | 2620729.9281 | 1195179.9703 | 2620733.1435 | 1195179.8813 | 2620735.9656 | 1195178.9906 | 2620738.8811 | 1195177.4999 | 2620746.1359 | 1195172.6113 | 2620751.875 | 1195169.8296 | 2620755.6961 | 1195168.6422 | 2620759.6139 | 1195168.1555 | 2620764.4376 | 1195167.8721 | 2620769.1293 | 1195168.3887
39 | 2620783.4855 | 1195172.0514 | 2620780.3057 | 1195170.6285 | 2620775.1906 | 1195169.2545 | 2620770.0658 | 1195168.4919 | 2620769.1293 | 1195168.3887
40 | 2620684.5295 | 1195203.6595 | 2620568.0292 | 1195411.4629
41 | 2620783.4855 | 1195172.0514 | 2620785.7282 | 1195173.4488 | 2620787.4601 | 1195174.6956
42 | 2620568.0292 | 1195411.4629 | 2620562.7219 | 1195408.7993
43 | 2620568.0292 | 1195411.4629 | 2620578.4149 | 1195416.6752 | 2620586.9467 | 1195421.3736 | 2620589.4344 | 1195422.8624
44 | 2620752.5741 | 1195086.732 | 2620746.7418 | 1195092.2259 | 2620741.6334 | 1195095.4878
45 | 2620741.6334 | 1195095.4878 | 2620739.8702 | 1195096.4377 | 2620736.7373 | 1195096.8716 | 2620733.3628 | 1195096.6709 | 2620720.1017 | 1195093.4456 | 2620715.3173 | 1195092.4068
46 | 2620752.5741 | 1195086.732 | 2620758.0173 | 1195091.682
47 | 2620752.5741 | 1195086.732 | 2620740.9243 | 1195075.8192 | 2620730.1255 | 1195065.5875
48 | 2620689.8477 | 1195089.3433 | 2620693.1519 | 1195089.4837 | 2620699.1386 | 1195090.0047 | 2620705.9702 | 1195090.7731 | 2620713.8056 | 1195092.0786 | 2620715.3173 | 1195092.4068
49 | 2620542.2654 | 1195065.2632 | 2620549.9038 | 1195053.8404
50 | 2620556.6247 | 1195043.7898 | 2620549.9038 | 1195053.8404
51 | 2620542.2654 | 1195065.2632 | 2620528.2938 | 1195057.2913
52 | 2620542.2654 | 1195065.2632 | 2620560.413 | 1195076.6315 | 2620563.9154 | 1195079.5117
53 | 2620556.6247 | 1195043.7898 | 2620559.6247 | 1195044.3337 | 2620561.901 | 1195044.8418 | 2620564.7169 | 1195045.763 | 2620568.4207 | 1195047.6879 | 2620572.9968 | 1195050.7608 | 2620576.9254 | 1195053.4597
54 | 2620528.2938 | 1195057.2913 | 2620517.4303 | 1195051.0928 | 2620514.4634 | 1195049.5544
55 | 2620500.1267 | 1195042.5673 | 2620500.21 | 1195042.585 | 2620505.0638 | 1195044.6805 | 2620514.4634 | 1195049.5544
56 | 2620500.1267 | 1195042.5673 | 2620495.4211 | 1195041.5681 | 2620490.4243 | 1195041.1952 | 2620488.076 | 1195041.4343
57 | 2620488.076 | 1195041.4343 | 2620485.1425 | 1195041.733 | 2620480.8111 | 1195042.8522 | 2620476.461 | 1195044.9718 | 2620473.8538 | 1195047.6532 | 2620472.0137 | 1195051.0265 | 2620471.0882 | 1195053.0486
58 | 2620470.8288 | 1195053.6154 | 2620471.0882 | 1195053.0486
59 | 2620730.1255 | 1195065.5875 | 2620748.2651 | 1195050.4343
60 | 2620805.8063 | 1195146.5129 | 2620801.3258 | 1195139.985 | 2620794.5915 | 1195130.979 | 2620784.6232 | 1195118.6045 | 2620777.0044 | 1195109.7734 | 2620768.478 | 1195101.1948 | 2620758.0173 | 1195091.682
61 | 2620671.0643 | 1195089.5854 | 2620686.8901 | 1195089.2176 | 2620689.8477 | 1195089.3433
62 | 2620816.6226 | 1195164.6624 | 2620811.064 | 1195154.9823 | 2620807.2993 | 1195148.6881 | 2620805.8063 | 1195146.5129
63 | 2620591.5895 | 1195424.152 | 2620589.4344 | 1195422.8624

## bus_geodata
| x | y | coords
0 | 2620877.1327 | 1195363.1876
1 | 2620874.9003 | 1195356.89
2 | 2620968.7608 | 1195529.7546
3 | 2620826.9974 | 1195195.9818
4 | 2620502.3534 | 1195006.3559
5 | 2620495.484 | 1195001.3516
6 | 2620516.76 | 1195016.8509
7 | 2620494.312 | 1195000.4979
8 | 2620538.0129 | 1195027.9982
9 | 2620466.0241 | 1194867.1125
10 | 2620551.122 | 1195037.3672
11 | 2620543.586 | 1195105.8884
12 | 2620532.4155 | 1195107.9476
13 | 2620557.0948 | 1195103.3982
14 | 2620515.3029 | 1195111.1021
15 | 2620566.0043 | 1195101.7602
16 | 2620511.1016 | 1195111.8766
17 | 2620577.6901 | 1195099.6141
18 | 2620392.4691 | 1194882.9903
19 | 2620402.9685 | 1194879.3452
20 | 2620208.9129 | 1194956.5597
21 | 2620483.8452 | 1194852.8276
22 | 2620618.3578 | 1195094.811
23 | 2620610.2366 | 1195095.6162
24 | 2620635.464 | 1195093.115
25 | 2620609.0829 | 1195095.7305
26 | 2620641.3529 | 1195092.5311
27 | 2620592.4875 | 1195097.6495
28 | 2620660.7777 | 1195090.6053
29 | 2620804.3595 | 1194579.7626
30 | 2620499.8051 | 1195113.9589
31 | 2620492.411 | 1195115.6131
32 | 2620451.8067 | 1195141.5855
33 | 2620769.1293 | 1195168.3887
34 | 2620684.5295 | 1195203.6595
35 | 2620783.4855 | 1195172.0514
36 | 2620568.0292 | 1195411.4629
37 | 2620787.4601 | 1195174.6956
38 | 2620741.6334 | 1195095.4878
39 | 2620752.5741 | 1195086.732
40 | 2620715.3173 | 1195092.4068
41 | 2620549.9038 | 1195053.8404
42 | 2620542.2654 | 1195065.2632
43 | 2620556.6247 | 1195043.7898
44 | 2620528.2938 | 1195057.2913
45 | 2620563.9154 | 1195079.5117
46 | 2620576.9254 | 1195053.4597
47 | 2620514.4634 | 1195049.5544
48 | 2620500.1267 | 1195042.5673
49 | 2620488.076 | 1195041.4343
50 | 2620471.0882 | 1195053.0486
51 | 2620748.2651 | 1195050.4343
52 | 2620730.1255 | 1195065.5875
53 | 2620758.0173 | 1195091.682
54 | 2620470.8288 | 1195053.6154
55 | 2620671.0643 | 1195089.5854
56 | 2620689.8477 | 1195089.3433
57 | 2620588.1225 | 1195098.229
58 | 2620816.6226 | 1195164.6624
59 | 2620805.8063 | 1195146.5129
60 | 2620207.7249 | 1194955.927
61 | 2620591.5895 | 1195424.152
62 | 2620589.4344 | 1195422.8624
63 | 2620562.7219 | 1195408.7993
64 | 2620635.744 | 1194349.9241
65 | 2620592.4875 | 1195097.6495

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1