## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6052-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6052-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6052-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6052-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6052-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6052-12_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_6052-12_0_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_6052-12_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6052-12_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6052-12_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6052-12_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_6052-12_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_6052-12_0_4_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_6052-12_0_4_node_59 | 0.4 | n |  | TRUE
14 | bus_LV_6052-12_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6052-12_0_4_node_58 | 0.4 | n |  | TRUE
16 | bus_LV_6052-12_0_4_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_6052-12_0_4_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_6052-12_0_4_node_72 | 0.4 | n |  | TRUE
19 | bus_LV_6052-12_0_4_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_6052-12_0_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_6052-12_0_4_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_6052-12_0_4_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_6052-12_0_4_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_6052-12_0_4_node_70 | 0.4 | n |  | TRUE
25 | bus_LV_6052-12_0_4_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_6052-12_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_6052-12_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_6052-12_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_6052-12_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_6052-12_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_6052-12_0_4_node_9 | 0.4 | n |  | TRUE
32 | bus_LV_6052-12_0_4_node_10 | 0.4 | n |  | TRUE
33 | bus_LV_6052-12_0_4_node_12 | 0.4 | n |  | TRUE
34 | bus_LV_6052-12_0_4_node_11 | 0.4 | n |  | TRUE
35 | bus_LV_6052-12_0_4_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_6052-12_0_4_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_6052-12_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_6052-12_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_6052-12_0_4_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_6052-12_0_4_node_16 | 0.4 | n |  | TRUE
41 | bus_LV_6052-12_0_4_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_6052-12_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6052-12_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6052-12_0_4_node_15 | 0.4 | n |  | TRUE
45 | bus_LV_6052-12_0_4_node_17 | 0.4 | n |  | TRUE
46 | bus_LV_6052-12_0_4_node_18 | 0.4 | n |  | TRUE
47 | bus_LV_6052-12_0_4_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_6052-12_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_6052-12_0_4_node_24 | 0.4 | n |  | TRUE
50 | bus_LV_6052-12_0_4_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_6052-12_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_6052-12_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_6052-12_0_4_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6052-12_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6052-12_0_4_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_6052-12_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_6052-12_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_6052-12_0_4_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_6052-12_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_6052-12_0_4_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_6052-12_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_6052-12_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_6052-12_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_6052-12_0_4_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_6052-12_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_6052-12_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_6052-12_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_6052-12_0_4_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_6052-12_0_4_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_6052-12_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_6052-12_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_MV_200_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6052-12_0_4_load_0 | 0 | 0.010166 | 0.0025478 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6052-12_0_4_load_1 | 1 | 0.0026492 | 0.00066396 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6052-12_0_4_load_2 | 2 | 0.0076651 | 0.0019211 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6052-12_0_4_load_4 | 4 | 0.014301 | 0.0035842 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6052-12_0_4_load_33 | 5 | 0.0019038 | 0.00047713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6052-12_0_4_load_34 | 6 | 0.0011863 | 0.00029731 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6052-12_0_4_load_8 | 7 | 0.0028449 | 0.00071299 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6052-12_0_4_load_5 | 8 | 0.001069 | 0.00026791 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6052-12_0_4_load_6 | 9 | 0.0009841 | 0.00024664 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6052-12_0_4_load_27 | 11 | 0.0039 | 0.00097743 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6052-12_0_4_load_63 | 12 | 0.0063502 | 0.0015915 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6052-12_0_4_load_59 | 13 | 0.01172 | 0.0029374 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6052-12_0_4_load_58 | 15 | 0.029886 | 0.00749 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6052-12_0_4_load_72 | 18 | 0.019455 | 0.004876 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6052-12_0_4_load_75 | 21 | 0.0067447 | 0.0016904 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6052-12_0_4_load_73 | 22 | 0.0073497 | 0.001842 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6052-12_0_4_load_69 | 23 | 0.0091892 | 0.002303 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6052-12_0_4_load_70 | 24 | 0.0068768 | 0.0017235 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6052-12_0_4_load_22 | 26 | 0.00094858 | 0.00023774 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6052-12_0_4_load_23 | 27 | 0.00073164 | 0.00018337 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6052-12_0_4_load_21 | 28 | 0.0010086 | 0.00025278 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6052-12_0_4_load_29 | 29 | 0.00060996 | 0.00015287 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6052-12_0_4_load_26 | 30 | 0.0039925 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6052-12_0_4_load_9 | 31 | 0.00069506 | 0.0001742 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6052-12_0_4_load_10 | 32 | 0.00097597 | 0.0002446 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6052-12_0_4_load_12 | 33 | 0.00074318 | 0.00018626 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6052-12_0_4_load_41 | 37 | 0.0012644 | 0.00031689 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6052-12_0_4_load_50 | 39 | 0.00053905 | 0.0001351 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6052-12_0_4_load_16 | 40 | 0.00093424 | 0.00023414 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6052-12_0_4_load_44 | 42 | 0.00099326 | 0.00024894 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6052-12_0_4_load_15 | 44 | 0.00073515 | 0.00018425 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6052-12_0_4_load_17 | 45 | 0.00092995 | 0.00023307 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6052-12_0_4_load_18 | 46 | 0.0011733 | 0.00029405 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6052-12_0_4_load_28 | 48 | 0.0005463 | 0.00013692 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6052-12_0_4_load_24 | 49 | 0.0023824 | 0.0005971 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6052-12_0_4_load_25 | 50 | 0.0018793 | 0.00047099 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6052-12_0_4_load_30 | 51 | 0.0018484 | 0.00046325 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6052-12_0_4_load_46 | 54 | 0.00053918 | 0.00013513 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6052-12_0_4_load_45 | 55 | 0.00051399 | 0.00012882 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6052-12_0_4_load_35 | 56 | 0.0010602 | 0.00026571 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6052-12_0_4_load_64 | 57 | 0.0099047 | 0.0024823 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6052-12_0_4_load_40 | 59 | 0.0039595 | 0.00099235 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6052-12_0_4_load_37 | 60 | 0.0018076 | 0.00045302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6052-12_0_4_load_38 | 61 | 0.0023946 | 0.00060015 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6052-12_0_4_load_53 | 63 | 0.0026846 | 0.00067283 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6052-12_0_4_load_57 | 64 | 0.0036562 | 0.00091633 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6052-12_0_4_load_47 | 65 | 0.0012923 | 0.00032389 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6052-12_0_4_load_48 | 66 | 0.0067988 | 0.0017039 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6052-12_0_4_load_49 | 67 | 0.0012362 | 0.00030982 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6052-12_0_4_load_55 | 69 | 0.002487 | 0.0006233 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6052-12_0_4_load_56 | 70 | 0.0024931 | 0.00062484 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6052-12_0_4_load_52 | 71 | 0.00114 | 0.00028572 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6052-12_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.068111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_6052-12_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.079717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6052-12_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6052-12_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0099342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6052-12_0_4_line_4 | NAYY 4x150 SE | 3 | 7 | 0.063706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6052-12_0_4_line_5 | NAYY 4x150 SE | 3 | 8 | 0.3268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6052-12_0_4_line_6 | NAYY 4x150 SE | 4 | 10 | 0.020157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6052-12_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.0062968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6052-12_0_4_line_8 | NAYY 4x150 SE | 6 | 56 | 0.00098165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6052-12_0_4_line_9 | NAYY 4x150 SE | 7 | 11 | 0.027686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6052-12_0_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.003927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6052-12_0_4_line_11 | NAYY 4x150 SE | 9 | 14 | 0.0071035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_6052-12_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0031008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6052-12_0_4_line_13 | NAYY 4x150 SE | 10 | 13 | 0.045188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6052-12_0_4_line_14 | NAYY 4x150 SE | 11 | 30 | 0.045211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6052-12_0_4_line_15 | NAYY 4x150 SE | 12 | 57 | 0.0086086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6052-12_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.025714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_6052-12_0_4_line_17 | NAYY 4x150 SE | 14 | 26 | 0.0049117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6052-12_0_4_line_18 | NAYY 4x150 SE | 14 | 27 | 0.11017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6052-12_0_4_line_19 | NAYY 4x150 SE | 15 | 16 | 0.022656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6052-12_0_4_line_20 | NAYY 4x150 SE | 16 | 17 | 0.028419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6052-12_0_4_line_21 | NAYY 4x150 SE | 17 | 18 | 0.034137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6052-12_0_4_line_22 | NAYY 4x150 SE | 18 | 25 | 0.0052097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6052-12_0_4_line_23 | NAYY 4x150 SE | 19 | 20 | 0.015175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6052-12_0_4_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0031934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6052-12_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.0048508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6052-12_0_4_line_26 | NAYY 4x150 SE | 22 | 25 | 0.021057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6052-12_0_4_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0082352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6052-12_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.011128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6052-12_0_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.011393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_6052-12_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.036446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6052-12_0_4_line_31 | NAYY 4x150 SE | 28 | 47 | 0.032721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_6052-12_0_4_line_32 | NAYY 4x150 SE | 29 | 48 | 0.15778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6052-12_0_4_line_33 | NAYY 4x150 SE | 30 | 50 | 0.012311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6052-12_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0011792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6052-12_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.01646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6052-12_0_4_line_36 | NAYY 4x150 SE | 33 | 37 | 0.01995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6052-12_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.11775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_6052-12_0_4_line_38 | NAYY 4x150 SE | 34 | 36 | 0.0534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_6052-12_0_4_line_39 | NAYY 4x150 SE | 35 | 38 | 0.040609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6052-12_0_4_line_40 | NAYY 4x150 SE | 35 | 39 | 0.10587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_6052-12_0_4_line_41 | NAYY 4x150 SE | 36 | 40 | 0.0067905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_6052-12_0_4_line_42 | NAYY 4x150 SE | 37 | 41 | 0.011562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6052-12_0_4_line_43 | NAYY 4x150 SE | 38 | 42 | 0.012679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6052-12_0_4_line_44 | NAYY 4x150 SE | 38 | 41 | 0.031199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6052-12_0_4_line_45 | NAYY 4x150 SE | 39 | 43 | 0.064422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_6052-12_0_4_line_46 | NAYY 4x150 SE | 40 | 44 | 0.0090671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_6052-12_0_4_line_47 | NAYY 4x150 SE | 41 | 52 | 0.12748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6052-12_0_4_line_48 | NAYY 4x150 SE | 42 | 55 | 0.0098001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6052-12_0_4_line_49 | NAYY 4x150 SE | 43 | 71 | 0.011664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6052-12_0_4_line_50 | NAYY 4x150 SE | 43 | 63 | 0.026039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6052-12_0_4_line_51 | NAYY 4x150 SE | 44 | 45 | 0.0088124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_6052-12_0_4_line_52 | NAYY 4x150 SE | 45 | 46 | 0.0033255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_6052-12_0_4_line_53 | NAYY 4x150 SE | 46 | 47 | 0.012201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_6052-12_0_4_line_54 | NAYY 4x150 SE | 49 | 50 | 0.012341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_6052-12_0_4_line_55 | NAYY 4x150 SE | 51 | 52 | 0.051377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_6052-12_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.01137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_6052-12_0_4_line_57 | NAYY 4x150 SE | 53 | 55 | 0.0076568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_6052-12_0_4_line_58 | NAYY 4x150 SE | 54 | 65 | 0.015155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_6052-12_0_4_line_59 | NAYY 4x150 SE | 56 | 58 | 0.0066949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_6052-12_0_4_line_60 | NAYY 4x150 SE | 58 | 59 | 0.11808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_6052-12_0_4_line_61 | NAYY 4x150 SE | 58 | 60 | 0.0081812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_6052-12_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.013462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_6052-12_0_4_line_63 | NAYY 4x150 SE | 61 | 62 | 0.0096594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_6052-12_0_4_line_64 | NAYY 4x150 SE | 62 | 63 | 0.031274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_6052-12_0_4_line_65 | NAYY 4x150 SE | 62 | 64 | 0.016916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_6052-12_0_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.018631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_6052-12_0_4_line_67 | NAYY 4x150 SE | 67 | 68 | 0.0059982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_6052-12_0_4_line_68 | NAYY 4x150 SE | 68 | 69 | 0.0090826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_6052-12_0_4_line_69 | NAYY 4x150 SE | 68 | 70 | 0.015461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_6052-12_0_4_line_70 | NAYY 4x150 SE | 69 | 71 | 0.0044811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6052-12_0_4_trafo_1 | 0.25 MVA 20/0.4 kV | 72 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2655315.9196 | 1141701.2796 | 2655312.3331 | 1141702.5696 | 2655308.5383 | 1141704.7693 | 2655302.0993 | 1141711.1248 | 2655294.8745 | 1141715.9945 | 2655288.7531 | 1141722.931 | 2655277.805 | 1141733.9588 | 2655271.2022 | 1141740.5797 | 2655265.0144 | 1141745.6686
1 | 2655315.9196 | 1141701.2796 | 2655315.9196 | 1141701.2796 | 2655320.7948 | 1141703.6588 | 2655322.4413 | 1141701.8396 | 2655324.0187 | 1141697.4851 | 2655324.9698 | 1141693.5251 | 2655325.9558 | 1141686.6082 | 2655327.3571 | 1141677.9832 | 2655331.4351 | 1141667.5372 | 2655339.3111 | 1141659.5719 | 2655345.8491 | 1141654.1623 | 2655348.7084 | 1141650.0197 | 2655352.881 | 1141639.33 | 2655352.881 | 1141639.33
2 | 2655243.4676 | 1141770.5861 | 2655249.9124 | 1141766.932 | 2655256.0251 | 1141760.9404 | 2655257.8519 | 1141752.8528 | 2655264.1302 | 1141746.3958 | 2655265.0144 | 1141745.6686
3 | 2655362.6196 | 1141641.2918 | 2655352.881 | 1141639.33
4 | 2655243.4676 | 1141770.5861 | 2655242.3531 | 1141763.0052 | 2655235.6262 | 1141707.3667
5 | 2654994.1635 | 1141981.8814 | 2655243.4676 | 1141770.5861
6 | 2655380.6704 | 1141635.305 | 2655373.2543 | 1141635.0368 | 2655367.668 | 1141639.777 | 2655363.5778 | 1141641.4848 | 2655362.6196 | 1141641.2918
7 | 2654897.9821 | 1141762.5009 | 2654893.3077 | 1141766.7199
8 | 2654892.579 | 1141767.3776 | 2654893.3077 | 1141766.7199
9 | 2655235.6262 | 1141707.3667 | 2655233.8774 | 1141692.9018 | 2655234.5423 | 1141679.8024
10 | 2654994.1635 | 1141981.8814 | 2654990.7199 | 1141983.769 | 2654990.7199 | 1141983.769
11 | 2654988.0693 | 1141990.3594 | 2654990.7199 | 1141983.769
12 | 2655380.6704 | 1141635.305 | 2655381.8778 | 1141632.4489
13 | 2655380.6704 | 1141635.305 | 2655376.537 | 1141645.0833 | 2655373.2977 | 1141679.5033
14 | 2655236.6146 | 1141634.6469 | 2655236.6817 | 1141637.6539 | 2655234.5423 | 1141679.8024
15 | 2655385.2298 | 1141624.5197 | 2655381.8778 | 1141632.4489
16 | 2655370.5064 | 1141705.0639 | 2655372.593 | 1141686.9915 | 2655373.2977 | 1141679.5033
17 | 2654988.0693 | 1141990.3594 | 2654983.8794 | 1141992.9226 | 2654983.8794 | 1141992.9226
18 | 2654988.0693 | 1141990.3594 | 2654993.4156 | 1141991.6421 | 2654996.3395 | 1141994.7148 | 2654996.6428 | 1141999.3867 | 2654993.8792 | 1142005.7205 | 2654987.0992 | 1142018.3654 | 2654977.7322 | 1142032.2985 | 2654958.4602 | 1142054.2791 | 2654937.3968 | 1142073.4318
19 | 2655367.9079 | 1141727.57 | 2655370.5064 | 1141705.0639
20 | 2655393.4676 | 1141738.6214 | 2655386.8728 | 1141733.4693 | 2655381.6415 | 1141733.0433 | 2655375.7928 | 1141731.1998 | 2655370.9575 | 1141729.5101 | 2655367.9079 | 1141727.57
21 | 2655393.4676 | 1141738.6214 | 2655394.706 | 1141726.8154 | 2655402.7891 | 1141711.3703 | 2655406.1951 | 1141707.9396
22 | 2655409.8656 | 1141704.2426 | 2655406.1951 | 1141707.9396
23 | 2655432.4823 | 1141716.8235 | 2655432.92 | 1141719.3844 | 2655445.2726 | 1141717.0188
24 | 2655445.2726 | 1141717.0188 | 2655445.8687 | 1141720.1561
25 | 2655432.4823 | 1141716.8235 | 2655428.1877 | 1141714.5681
26 | 2655409.8656 | 1141704.2426 | 2655416.063 | 1141708.3016 | 2655426.859 | 1141713.8703 | 2655428.1877 | 1141714.5681
27 | 2655417.8575 | 1141696.4992 | 2655423.772 | 1141690.7687
28 | 2655409.8656 | 1141704.2426 | 2655417.8575 | 1141696.4992
29 | 2654977.6509 | 1142002.4618 | 2654983.8794 | 1141992.9226
30 | 2654937.3968 | 1142073.4318 | 2654936.3689 | 1142074.3664 | 2654928.2148 | 1142086.821 | 2654925.8397 | 1142097.783 | 2654924.9579 | 1142106.6939
31 | 2654958.3229 | 1142028.8311 | 2654962.9715 | 1142023.1593 | 2654968.962 | 1142015.3319 | 2654973.0196 | 1142009.5547 | 2654977.6509 | 1142002.4618
32 | 2654825.8998 | 1142213.2631 | 2654833.1166 | 1142205.3746 | 2654845.37 | 1142196.0254 | 2654858.6214 | 1142189.3645 | 2654872.3213 | 1142184.0974 | 2654887.313 | 1142176.2629 | 2654897.7856 | 1142168.3428 | 2654908.5014 | 1142160.7251 | 2654916.6807 | 1142153.9293 | 2654919.4536 | 1142148.2515 | 2654921.5437 | 1142139.8883 | 2654923.5056 | 1142127.0327 | 2654924.3581 | 1142112.7552 | 2654924.9579 | 1142106.6939
33 | 2655236.3399 | 1141622.3386 | 2655236.6146 | 1141634.6469
34 | 2654779.4368 | 1142081.9556 | 2654779.4368 | 1142081.9556 | 2654780.1279 | 1142082.911
35 | 2654765.1551 | 1142087.7846 | 2654765.1551 | 1142087.7846 | 2654768.4432 | 1142088.8483 | 2654771.4472 | 1142087.3304 | 2654773.7269 | 1142086.017 | 2654779.4368 | 1142081.9556
36 | 2654765.1551 | 1142087.7846 | 2654762.4874 | 1142086.1151 | 2654758.8035 | 1142083.7693 | 2654754.2267 | 1142078.1693 | 2654750.9115 | 1142074.1594 | 2654750.9115 | 1142074.1594
37 | 2654771.4362 | 1142001.3182 | 2654777.7281 | 1142001.7533 | 2654783.0015 | 1142000.0558 | 2654788.447 | 1141998.0375 | 2654794.1932 | 1141997.6117 | 2654800.0773 | 1141998.9324 | 2654807.8671 | 1142002.027 | 2654813.7415 | 1142005.2598 | 2654823.4448 | 1142007.5714 | 2654832.0441 | 1142009.5616 | 2654838.0593 | 1142014.2187 | 2654844.5355 | 1142021.4369 | 2654849.8953 | 1142028.0002 | 2654855.1041 | 1142034.2508 | 2654862.0839 | 1142037.6493 | 2654866.2086 | 1142040.555 | 2654870.4524 | 1142047.2638
38 | 2654870.4524 | 1142047.2638 | 2654877.169 | 1142044.9458 | 2654884.5313 | 1142042.6226 | 2654890.6028 | 1142041.0881 | 2654893.9295 | 1142043.8198 | 2654897.9 | 1142045.9237 | 2654904.5934 | 1142046.1514 | 2654910.8306 | 1142044.1404 | 2654920.894 | 1142041.5083
39 | 2654755.2165 | 1142038.5574 | 2654771.4362 | 1142001.3182
40 | 2654771.4362 | 1142001.3182 | 2654813.7197 | 1141904.2586
41 | 2654920.894 | 1142041.5083 | 2654926.3427 | 1142037.4557
42 | 2654742.015 | 1142066.8082 | 2654747.7491 | 1142071.1069 | 2654750.9115 | 1142074.1594
43 | 2654755.2165 | 1142038.5574 | 2654752.9883 | 1142031.6669 | 2654749.9064 | 1142029.8936 | 2654748.7146 | 1142028.4374
44 | 2654755.2165 | 1142038.5574 | 2654746.4709 | 1142058.6331 | 2654742.015 | 1142066.8082
45 | 2654839.4492 | 1141845.1978 | 2654813.7197 | 1141904.2586
46 | 2654934.9846 | 1142034.7117 | 2654926.3427 | 1142037.4557
47 | 2654672.865 | 1142170.803 | 2654671.8117 | 1142166.5801 | 2654672.5674 | 1142161.2286 | 2654675.4055 | 1142156.8075 | 2654690.5951 | 1142141.5371 | 2654705.0736 | 1142125.8489 | 2654714.9716 | 1142111.7534 | 2654737.9071 | 1142073.9191 | 2654742.015 | 1142066.8082
48 | 2654748.7146 | 1142028.4374 | 2654747.9905 | 1142027.5528 | 2654748.5089 | 1142022.9439 | 2654745.1617 | 1142020.7194
49 | 2654839.4492 | 1141845.1978 | 2654830.3031 | 1141841.6128 | 2654828.6088 | 1141840.8955
50 | 2654839.4492 | 1141845.1978 | 2654844.9392 | 1141832.3853 | 2654850.0703 | 1141821.4273
51 | 2654934.9846 | 1142034.7117 | 2654935.5323 | 1142034.5378 | 2654943.119 | 1142031.3281
52 | 2654946.1816 | 1142030.0323 | 2654943.119 | 1142031.3281
53 | 2654958.3229 | 1142028.8311 | 2654946.1816 | 1142030.0323 | 2654946.1816 | 1142030.0323
54 | 2655236.0645 | 1141610.0002 | 2655236.3399 | 1141622.3386
55 | 2654672.865 | 1142170.803 | 2654676.3233 | 1142174.2917 | 2654680.6501 | 1142176.0874 | 2654685.5106 | 1142175.8313 | 2654693.1467 | 1142172.9656 | 2654703.4347 | 1142166.7222 | 2654717.3355 | 1142157.427
56 | 2654741.4061 | 1142014.4528 | 2654744.0463 | 1142005.5943 | 2654743.4991 | 1142003.5398
57 | 2654741.4061 | 1142014.4528 | 2654743.099 | 1142019.3485 | 2654745.1617 | 1142020.7194
58 | 2654743.4991 | 1142003.5398 | 2654743.2509 | 1142002.6077 | 2654745.3678 | 1141996.357 | 2654745.8536 | 1141990.2582 | 2654746.1687 | 1141988.8195
59 | 2654887.6091 | 1141771.8634 | 2654892.579 | 1141767.3776
60 | 2654887.6091 | 1141771.8634 | 2654887.4391 | 1141785.4802 | 2654888.8169 | 1141792.8966 | 2654891.2209 | 1141800.7337 | 2654895.5094 | 1141805.0861 | 2654899.1959 | 1141807.9989 | 2654906.2026 | 1141808.474 | 2654911.3359 | 1141810.3661 | 2654914.5964 | 1141815.3317 | 2654916.6097 | 1141820.4861 | 2654916.7686 | 1141825.8348 | 2654916.6751 | 1141836.106 | 2654912.1303 | 1141859.0879 | 2654909.9356 | 1141873.8647
61 | 2654887.6091 | 1141771.8634 | 2654881.8411 | 1141777.6654
62 | 2654881.8411 | 1141777.6654 | 2654876.1964 | 1141783.3435 | 2654872.6679 | 1141787.5046
63 | 2654866.4207 | 1141794.8718 | 2654872.6679 | 1141787.5046
64 | 2654866.4207 | 1141794.8718 | 2654854.088 | 1141812.847 | 2654850.0703 | 1141821.4273
65 | 2654866.4207 | 1141794.8718 | 2654857.3448 | 1141792.8439 | 2654850.7477 | 1141792.984 | 2654849.88 | 1141793.5154
66 | 2654808.7387 | 1141859.2369 | 2654810.6389 | 1141855.9752 | 2654813.7727 | 1141845.2647 | 2654814.6319 | 1141841.6696
67 | 2654816.0262 | 1141835.8357 | 2654814.6319 | 1141841.6696
68 | 2654816.0262 | 1141835.8357 | 2654823.1122 | 1141838.5681 | 2654824.4824 | 1141839.1483
69 | 2654816.0262 | 1141835.8357 | 2654818.2509 | 1141827.885 | 2654821.4313 | 1141821.4197
70 | 2654828.6088 | 1141840.8955 | 2654824.4824 | 1141839.1483

## bus_geodata
| x | y | coords
0 | 2655315.9196 | 1141701.2796
1 | 2655265.0144 | 1141745.6686
2 | 2655352.881 | 1141639.33
3 | 2655243.4676 | 1141770.5861
4 | 2655362.6196 | 1141641.2918
5 | 2654897.9821 | 1141762.5009
6 | 2654893.3077 | 1141766.7199
7 | 2655235.6262 | 1141707.3667
8 | 2654994.1635 | 1141981.8814
9 | 2654990.7199 | 1141983.769
10 | 2655380.6704 | 1141635.305
11 | 2655234.5423 | 1141679.8024
12 | 2655381.8778 | 1141632.4489
13 | 2655373.2977 | 1141679.5033
14 | 2654988.0693 | 1141990.3594
15 | 2655370.5064 | 1141705.0639
16 | 2655367.9079 | 1141727.57
17 | 2655393.4676 | 1141738.6214
18 | 2655406.1951 | 1141707.9396
19 | 2655445.2726 | 1141717.0188
20 | 2655432.4823 | 1141716.8235
21 | 2655445.8687 | 1141720.1561
22 | 2655428.1877 | 1141714.5681
23 | 2655417.8575 | 1141696.4992
24 | 2655423.772 | 1141690.7687
25 | 2655409.8656 | 1141704.2426
26 | 2654983.8794 | 1141992.9226
27 | 2654937.3968 | 1142073.4318
28 | 2654977.6509 | 1142002.4618
29 | 2654924.9579 | 1142106.6939
30 | 2655236.6146 | 1141634.6469
31 | 2654780.1279 | 1142082.911
32 | 2654779.4368 | 1142081.9556
33 | 2654765.1551 | 1142087.7846
34 | 2654870.4524 | 1142047.2638
35 | 2654771.4362 | 1142001.3182
36 | 2654920.894 | 1142041.5083
37 | 2654750.9115 | 1142074.1594
38 | 2654755.2165 | 1142038.5574
39 | 2654813.7197 | 1141904.2586
40 | 2654926.3427 | 1142037.4557
41 | 2654742.015 | 1142066.8082
42 | 2654748.7146 | 1142028.4374
43 | 2654839.4492 | 1141845.1978
44 | 2654934.9846 | 1142034.7117
45 | 2654943.119 | 1142031.3281
46 | 2654946.1816 | 1142030.0323
47 | 2654958.3229 | 1142028.8311
48 | 2654825.8998 | 1142213.2631
49 | 2655236.0645 | 1141610.0002
50 | 2655236.3399 | 1141622.3386
51 | 2654717.3355 | 1142157.427
52 | 2654672.865 | 1142170.803
53 | 2654741.4061 | 1142014.4528
54 | 2654743.4991 | 1142003.5398
55 | 2654745.1617 | 1142020.7194
56 | 2654892.579 | 1141767.3776
57 | 2655385.2298 | 1141624.5197
58 | 2654887.6091 | 1141771.8634
59 | 2654909.9356 | 1141873.8647
60 | 2654881.8411 | 1141777.6654
61 | 2654872.6679 | 1141787.5046
62 | 2654866.4207 | 1141794.8718
63 | 2654850.0703 | 1141821.4273
64 | 2654849.88 | 1141793.5154
65 | 2654746.1687 | 1141988.8195
66 | 2654808.7387 | 1141859.2369
67 | 2654814.6319 | 1141841.6696
68 | 2654816.0262 | 1141835.8357
69 | 2654824.4824 | 1141839.1483
70 | 2654821.4313 | 1141821.4197
71 | 2654828.6088 | 1141840.8955
72 | 2655243.4676 | 1141770.5861

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1