## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6056-5_1_3_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_6056-5_1_3_node_17 | 0.4 | n |  | TRUE
2 | bus_LV_6056-5_1_3_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_6056-5_1_3_node_40 | 0.4 | n |  | TRUE
4 | bus_LV_6056-5_1_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_6056-5_1_3_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_6056-5_1_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_6056-5_1_3_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_6056-5_1_3_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_6056-5_1_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_6056-5_1_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6056-5_1_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_6056-5_1_3_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_6056-5_1_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6056-5_1_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_6056-5_1_3_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_6056-5_1_3_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_6056-5_1_3_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_6056-5_1_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_6056-5_1_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_6056-5_1_3_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_6056-5_1_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_6056-5_1_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_6056-5_1_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_6056-5_1_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_6056-5_1_3_node_65 | 0.4 | n |  | TRUE
26 | bus_LV_6056-5_1_3_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_6056-5_1_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_6056-5_1_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6056-5_1_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6056-5_1_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6056-5_1_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_6056-5_1_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_6056-5_1_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_6056-5_1_3_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_6056-5_1_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_6056-5_1_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_6056-5_1_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_6056-5_1_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_6056-5_1_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6056-5_1_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_6056-5_1_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_6056-5_1_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_6056-5_1_3_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_6056-5_1_3_node_57 | 0.4 | n |  | TRUE
45 | bus_MV_200_1_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6056-5_1_3_load_15 | 0 | 0.002987 | 0.00074862 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6056-5_1_3_load_53 | 5 | 0.02673 | 0.0066993 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6056-5_1_3_load_36 | 6 | 0.0018338 | 0.00045959 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6056-5_1_3_load_55 | 7 | 0.0025071 | 0.00062833 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6056-5_1_3_load_39 | 8 | 0.0028373 | 0.00071111 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6056-5_1_3_load_35 | 9 | 0.0031627 | 0.00079264 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6056-5_1_3_load_20 | 10 | 0.0036631 | 0.00091806 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6056-5_1_3_load_21 | 11 | 0.0057501 | 0.0014411 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6056-5_1_3_load_22 | 12 | 0.0036798 | 0.00092224 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6056-5_1_3_load_23 | 13 | 0.0021964 | 0.00055048 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6056-5_1_3_load_50 | 15 | 0.0021036 | 0.00052721 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6056-5_1_3_load_72 | 16 | 0.0023163 | 0.00058051 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6056-5_1_3_load_51 | 18 | 0.002703 | 0.00067743 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6056-5_1_3_load_33 | 20 | 0.0033426 | 0.00083773 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6056-5_1_3_load_25 | 21 | 0.013533 | 0.0033917 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6056-5_1_3_load_26 | 22 | 0.0053144 | 0.0013319 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6056-5_1_3_load_28 | 23 | 0.0025668 | 0.00064329 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6056-5_1_3_load_29 | 24 | 0.0079449 | 0.0019912 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6056-5_1_3_load_30 | 27 | 0.0035791 | 0.000897 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6056-5_1_3_load_31 | 28 | 0.0024773 | 0.00062087 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6056-5_1_3_load_32 | 29 | 0.0030932 | 0.00077524 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6056-5_1_3_load_34 | 30 | 0.0026517 | 0.00066458 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6056-5_1_3_load_41 | 31 | 0.0083829 | 0.0021009 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6056-5_1_3_load_37 | 33 | 0.0037608 | 0.00094254 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6056-5_1_3_load_56 | 34 | 0.010674 | 0.0026752 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6056-5_1_3_load_73 | 36 | 0.0072887 | 0.0018267 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6056-5_1_3_load_48 | 37 | 0.0030537 | 0.00076533 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6056-5_1_3_load_45 | 38 | 0.0020959 | 0.00052528 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6056-5_1_3_load_43 | 39 | 0.0031603 | 0.00079205 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6056-5_1_3_load_63 | 43 | 0.0028029 | 0.00070247 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6056-5_1_3_load_57 | 44 | 0.0042424 | 0.0010632 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6056-5_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.12412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6056-5_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.30103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_6056-5_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.012885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_6056-5_1_3_line_3 | NAYY 4x150 SE | 3 | 7 | 0.015082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_6056-5_1_3_line_4 | NAYY 4x150 SE | 3 | 8 | 0.0083445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_6056-5_1_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.079428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_6056-5_1_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.15511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_6056-5_1_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.013394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_6056-5_1_3_line_8 | NAYY 4x150 SE | 7 | 34 | 0.017562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_6056-5_1_3_line_9 | NAYY 4x150 SE | 8 | 23 | 0.0043645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_6056-5_1_3_line_10 | NAYY 4x150 SE | 9 | 33 | 0.022881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_6056-5_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.00057138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6056-5_1_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.011369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_6056-5_1_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.016904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_6056-5_1_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.010929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_6056-5_1_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.011472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_6056-5_1_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.022692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6056-5_1_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.10747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6056-5_1_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0015801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6056-5_1_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.01038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6056-5_1_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.020995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_6056-5_1_3_line_21 | NAYY 4x150 SE | 18 | 44 | 0.031231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_6056-5_1_3_line_22 | NAYY 4x150 SE | 19 | 33 | 0.0050314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6056-5_1_3_line_23 | NAYY 4x150 SE | 20 | 28 | 0.027326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6056-5_1_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.026528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6056-5_1_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.009986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6056-5_1_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0046432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6056-5_1_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.13862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6056-5_1_3_line_28 | NAYY 4x150 SE | 26 | 36 | 0.033579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6056-5_1_3_line_29 | NAYY 4x150 SE | 26 | 32 | 0.14014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6056-5_1_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.024991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6056-5_1_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.022002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6056-5_1_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.017121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6056-5_1_3_line_33 | NAYY 4x150 SE | 30 | 31 | 0.15383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6056-5_1_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.018621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6056-5_1_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.061283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6056-5_1_3_line_36 | NAYY 4x150 SE | 34 | 44 | 0.004034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6056-5_1_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.082103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6056-5_1_3_line_38 | NAYY 4x150 SE | 35 | 38 | 0.40495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6056-5_1_3_line_39 | NAYY 4x150 SE | 38 | 41 | 0.10376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6056-5_1_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.034678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6056-5_1_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.57272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6056-5_1_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.14878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6056-5_1_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.29703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6056-5_1_3_trafo_52 | 0.25 MVA 20/0.4 kV | 45 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31
0 | 2654659.9709 | 1136827.9613 | 2654653.5304 | 1136820.399 | 2654648.1497 | 1136814.7474 | 2654642.9482 | 1136805.451 | 2654633.5236 | 1136798.6066 | 2654622.1272 | 1136795.4019 | 2654612.2617 | 1136795.624 | 2654597.6573 | 1136781.3289 | 2654573.5141 | 1136762.5787 | 2654565.6167 | 1136754.3922
1 | 2654659.9709 | 1136827.9613 | 2654672.0472 | 1136852.9392 | 2654665.3821 | 1136860.8386 | 2654642.3106 | 1136847.8565 | 2654635.1532 | 1136845.5461 | 2654619.1812 | 1136833.6065 | 2654614.1213 | 1136837.574 | 2654610.7008 | 1136837.2095 | 2654609.5816 | 1136841.0125 | 2654605.9088 | 1136837.0773 | 2654598.4071 | 1136833.7077 | 2654592.2982 | 1136832.8521 | 2654587.017 | 1136831.5148 | 2654579.5269 | 1136831.9584 | 2654579.2148 | 1136836.7026 | 2654576.8032 | 1136837.081 | 2654572.7122 | 1136835.143 | 2654565.7255 | 1136841.1831 | 2654558.3485 | 1136843.5955 | 2654562.7822 | 1136848.4715 | 2654558.3899 | 1136849.2322 | 2654562.2088 | 1136852.335 | 2654556.0593 | 1136854.2694 | 2654561.1797 | 1136859.7852 | 2654555.4608 | 1136870.2835 | 2654560.4072 | 1136874.6082 | 2654562.1475 | 1136881.2608 | 2654565.681 | 1136892.9433 | 2654565.8195 | 1136903.161 | 2654578.4128 | 1136932.2567 | 2654585.056 | 1136947.1801 | 2654586.1203 | 1136955.4052
2 | 2654586.1203 | 1136955.4052 | 2654573.5526 | 1136958.4044
3 | 2654573.5526 | 1136958.4044 | 2654588.0949 | 1136962.404
4 | 2654573.5526 | 1136958.4044 | 2654565.8115 | 1136961.52
5 | 2654856.7262 | 1137053.93 | 2654819.8166 | 1137044.1788 | 2654779.791 | 1137034.1962
6 | 2654856.7262 | 1137053.93 | 2654831.7271 | 1137055.0926 | 2654809.1808 | 1137059.8016 | 2654774.007 | 1137057.159 | 2654756.3184 | 1137052.1961 | 2654711.8697 | 1137022.8336 | 2654711.7607 | 1137022.7615
7 | 2654699.3881 | 1137018.1254 | 2654707.8623 | 1137020.1848 | 2654711.7607 | 1137022.7615
8 | 2654588.0949 | 1136962.404 | 2654599.7151 | 1136965.6001 | 2654601.8159 | 1136968.9541 | 2654601.7184 | 1136970.5035
9 | 2654561.7626 | 1136963.1496 | 2654565.8115 | 1136961.52
10 | 2654699.3881 | 1137018.1254 | 2654689.5688 | 1137015.739 | 2654676.8363 | 1137016.7882
11 | 2654627.7795 | 1137013.5603 | 2654628.3498 | 1137013.5957
12 | 2654628.3498 | 1137013.5957 | 2654639.6968 | 1137014.2982 | 2654639.6968 | 1137014.2982
13 | 2654610.9083 | 1137012.5158 | 2654627.7795 | 1137013.5603
14 | 2654639.7903 | 1137025.227 | 2654639.6968 | 1137014.2982
15 | 2654610.9083 | 1137012.5158 | 2654605.0029 | 1137012.1501 | 2654604.6767 | 1137006.604
16 | 2654639.7903 | 1137025.227 | 2654661.5818 | 1137018.8986
17 | 2654534.8454 | 1137044.5113 | 2654549.1985 | 1137039.7384 | 2654572.4617 | 1137037.4028 | 2654596.9403 | 1137032.5436 | 2654609.613 | 1137030.6793 | 2654631.6611 | 1137030.0116 | 2654639.7903 | 1137025.227
18 | 2654604.5839 | 1137005.0266 | 2654604.6767 | 1137006.604
19 | 2654671.8219 | 1137017.2014 | 2654661.5818 | 1137018.8986
20 | 2654534.8454 | 1137044.5113 | 2654515.4439 | 1137052.5341
21 | 2654604.5839 | 1137005.0266 | 2654603.8959 | 1136993.3302 | 2654600.7199 | 1136986.3645 | 2654601.465 | 1136974.5295
22 | 2654671.8219 | 1137017.2014 | 2654676.8363 | 1137016.7882
23 | 2654489.4397 | 1137060.8782 | 2654490.333 | 1137060.4626 | 2654513.6399 | 1137053.2801 | 2654515.4439 | 1137052.5341
24 | 2654528.7533 | 1136978.7219 | 2654552.5696 | 1136967.037
25 | 2654561.7626 | 1136963.1496 | 2654554.6962 | 1136965.9936 | 2654552.5696 | 1136967.037
26 | 2654088.7319 | 1137182.5184 | 2654088.7466 | 1137180.8732 | 2654086.0738 | 1137179.5153
27 | 2654088.7319 | 1137182.5184 | 2654093.3297 | 1137187.9847 | 2654092.0515 | 1137190.6858 | 2654097.4268 | 1137202.1066 | 2654100.1763 | 1137203.4875 | 2654105.6725 | 1137203.1365 | 2654112.647 | 1137207.8014 | 2654109.8116 | 1137213.4345 | 2654113.2862 | 1137217.1676 | 2654127.9206 | 1137219.5555 | 2654143.9638 | 1137225.2578 | 2654152.5944 | 1137228.8259 | 2654159.8105 | 1137229.7133 | 2654164.3431 | 1137241.5823 | 2654161.9663 | 1137242.3837 | 2654161.9562 | 1137243.5175 | 2654163.8083 | 1137243.7342 | 2654170.0603 | 1137248.3149 | 2654178.1182 | 1137247.9759 | 2654182.6644 | 1137250.6069
28 | 2654182.6644 | 1137250.6069 | 2654174.583 | 1137251.8462 | 2654149.2182 | 1137253.2483
29 | 2654286.2017 | 1137168.2707 | 2654273.133 | 1137174.0119 | 2654264.8326 | 1137182.4863 | 2654240.9046 | 1137216.0891 | 2654232.0859 | 1137230.8955 | 2654220.6241 | 1137243.6104 | 2654205.075 | 1137247.1617 | 2654182.6644 | 1137250.6069
30 | 2654466.7807 | 1137071.4198 | 2654489.4397 | 1137060.8782
31 | 2654466.7807 | 1137071.4198 | 2654459.3907 | 1137074.8579 | 2654447.2993 | 1137081.6144
32 | 2654432.3529 | 1137089.9662 | 2654447.2993 | 1137081.6144
33 | 2654432.3529 | 1137089.9662 | 2654421.2312 | 1137096.1808 | 2654404.4986 | 1137108.9257 | 2654391.1611 | 1137121.4122 | 2654384.9157 | 1137125.5026 | 2654374.9989 | 1137127.2031 | 2654363.7401 | 1137124.1558 | 2654357.0474 | 1137124.0955 | 2654352.5615 | 1137125.8783 | 2654325.9078 | 1137142.5363 | 2654314.1844 | 1137153.5145 | 2654301.6648 | 1137158.7909
34 | 2654286.2017 | 1137168.2707 | 2654289.804 | 1137163.7896 | 2654301.6648 | 1137158.7909
35 | 2654337.8422 | 1137156.0062 | 2654305.8873 | 1137167.6028 | 2654294.2135 | 1137174.7795 | 2654290.813 | 1137175.6383 | 2654287.6295 | 1137174.6091 | 2654285.9142 | 1137172.0146 | 2654286.2017 | 1137168.2707
36 | 2654601.465 | 1136974.5295 | 2654601.7184 | 1136970.5035
37 | 2654337.8422 | 1137156.0062 | 2654350.4785 | 1137152.1623 | 2654359.9137 | 1137150.1128 | 2654371.566 | 1137151.3183 | 2654382.248 | 1137155.1831 | 2654391.2803 | 1137155.1533 | 2654398.5014 | 1137153.7842 | 2654417.4518 | 1137148.103
38 | 2654337.8422 | 1137156.0062 | 2654354.9432 | 1137157.005 | 2654386.6955 | 1137167.0627 | 2654426.8394 | 1137167.0686 | 2654367.3492 | 1137194.9922 | 2654439.8293 | 1137207.6515 | 2654480.0392 | 1137227.6021 | 2654570.8209 | 1137262.4064 | 2654600.0711 | 1137277.5929
39 | 2654692.1575 | 1137325.4033 | 2654600.0711 | 1137277.5929
40 | 2654828.9696 | 1137881.5473 | 2654858.8613 | 1137899.1274
41 | 2654692.1575 | 1137325.4033 | 2654828.9696 | 1137881.5473
42 | 2654692.1575 | 1137325.4033 | 2654680.5942 | 1137326.2991 | 2654665.3125 | 1137327.4948 | 2654648.8934 | 1137329.4028 | 2654634.4349 | 1137331.4398 | 2654626.9095 | 1137330.7492 | 2654618.0389 | 1137329.9463 | 2654607.2059 | 1137330.0596 | 2654595.3561 | 1137328.6184 | 2654578.8758 | 1137325.3789 | 2654562.3983 | 1137321.8394 | 2654554.1452 | 1137321.6536 | 2654551.0435 | 1137322.6595 | 2654545.8134 | 1137319.1104
43 | 2654545.8134 | 1137319.1104 | 2654534.7094 | 1137324.5241 | 2654551.9809 | 1137333.0067 | 2654525.7488 | 1137331.1245 | 2654502.247 | 1137342.9743 | 2654438.0593 | 1137348.5207 | 2654414.8443 | 1137355.8933 | 2654402.104 | 1137371.32 | 2654372.3787 | 1137380.624 | 2654370.009 | 1137410.5517 | 2654402.0649 | 1137420.0564 | 2654405.2855 | 1137428.9123

## bus_geodata
| x | y | coords
0 | 2654565.6167 | 1136754.3922
1 | 2654659.9709 | 1136827.9613
2 | 2654586.1203 | 1136955.4052
3 | 2654573.5526 | 1136958.4044
4 | 2654856.7262 | 1137053.93
5 | 2654779.791 | 1137034.1962
6 | 2654711.7607 | 1137022.7615
7 | 2654588.0949 | 1136962.404
8 | 2654565.8115 | 1136961.52
9 | 2654699.3881 | 1137018.1254
10 | 2654628.3498 | 1137013.5957
11 | 2654627.7795 | 1137013.5603
12 | 2654639.6968 | 1137014.2982
13 | 2654610.9083 | 1137012.5158
14 | 2654639.7903 | 1137025.227
15 | 2654604.6767 | 1137006.604
16 | 2654661.5818 | 1137018.8986
17 | 2654534.8454 | 1137044.5113
18 | 2654604.5839 | 1137005.0266
19 | 2654671.8219 | 1137017.2014
20 | 2654515.4439 | 1137052.5341
21 | 2654528.7533 | 1136978.7219
22 | 2654552.5696 | 1136967.037
23 | 2654561.7626 | 1136963.1496
24 | 2654086.0738 | 1137179.5153
25 | 2654088.7319 | 1137182.5184
26 | 2654182.6644 | 1137250.6069
27 | 2654466.7807 | 1137071.4198
28 | 2654489.4397 | 1137060.8782
29 | 2654447.2993 | 1137081.6144
30 | 2654432.3529 | 1137089.9662
31 | 2654301.6648 | 1137158.7909
32 | 2654286.2017 | 1137168.2707
33 | 2654676.8363 | 1137016.7882
34 | 2654601.7184 | 1136970.5035
35 | 2654337.8422 | 1137156.0062
36 | 2654149.2182 | 1137253.2483
37 | 2654417.4518 | 1137148.103
38 | 2654600.0711 | 1137277.5929
39 | 2654858.8613 | 1137899.1274
40 | 2654828.9696 | 1137881.5473
41 | 2654692.1575 | 1137325.4033
42 | 2654545.8134 | 1137319.1104
43 | 2654405.2855 | 1137428.9123
44 | 2654601.465 | 1136974.5295
45 | 2654639.7903 | 1137025.227

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1