## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6057-1_1_4_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_6057-1_1_4_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_6057-1_1_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_6057-1_1_4_node_60 | 0.4 | n |  | TRUE
4 | bus_LV_6057-1_1_4_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_6057-1_1_4_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_6057-1_1_4_node_42 | 0.4 | n |  | TRUE
7 | bus_LV_6057-1_1_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_6057-1_1_4_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_6057-1_1_4_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_6057-1_1_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6057-1_1_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_6057-1_1_4_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_6057-1_1_4_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_6057-1_1_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_6057-1_1_4_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_6057-1_1_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6057-1_1_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6057-1_1_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6057-1_1_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6057-1_1_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6057-1_1_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_6057-1_1_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6057-1_1_4_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6057-1_1_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_6057-1_1_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_6057-1_1_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6057-1_1_4_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_6057-1_1_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_6057-1_1_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_6057-1_1_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6057-1_1_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_6057-1_1_4_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_6057-1_1_4_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_6057-1_1_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_6057-1_1_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_6057-1_1_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6057-1_1_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6057-1_1_4_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_6057-1_1_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_6057-1_1_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_6057-1_1_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_6057-1_1_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_6057-1_1_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6057-1_1_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_6057-1_1_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_6057-1_1_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_6057-1_1_4_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6057-1_1_4_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_6057-1_1_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_6057-1_1_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6057-1_1_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_6057-1_1_4_node_59 | 0.4 | n |  | TRUE
53 | bus_MV_200_1_node_200 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6057-1_1_4_load_4 | 0 | 0.0023117 | 0.00057935 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6057-1_1_4_load_5 | 1 | 0.00095906 | 0.00024036 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6057-1_1_4_load_7 | 2 | 0.00184 | 0.00046116 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6057-1_1_4_load_40 | 4 | 0.00415 | 0.0010401 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6057-1_1_4_load_41 | 5 | 0.0047855 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6057-1_1_4_load_42 | 6 | 0.0055999 | 0.0014035 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6057-1_1_4_load_46 | 8 | 0.0073221 | 0.0018351 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6057-1_1_4_load_9 | 10 | 0.0034732 | 0.00087047 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6057-1_1_4_load_47 | 11 | 0.0020206 | 0.00050642 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6057-1_1_4_load_45 | 12 | 0.0046073 | 0.0011547 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6057-1_1_4_load_49 | 14 | 0.0043362 | 0.0010868 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6057-1_1_4_load_10 | 16 | 0.0033272 | 0.00083387 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6057-1_1_4_load_11 | 17 | 0.0018107 | 0.00045381 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6057-1_1_4_load_12 | 18 | 0.0029296 | 0.00073423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6057-1_1_4_load_14 | 19 | 0.003169 | 0.00079422 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6057-1_1_4_load_15 | 20 | 0.0037289 | 0.00093455 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6057-1_1_4_load_23 | 26 | 0.0017287 | 0.00043325 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6057-1_1_4_load_34 | 27 | 0.0064307 | 0.0016117 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6057-1_1_4_load_33 | 28 | 0.0055323 | 0.0013865 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6057-1_1_4_load_36 | 31 | 0.001967 | 0.00049297 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6057-1_1_4_load_63 | 32 | 0.0022092 | 0.00055368 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6057-1_1_4_load_18 | 35 | 0.0017371 | 0.00043536 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6057-1_1_4_load_26 | 36 | 0.0019924 | 0.00049934 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6057-1_1_4_load_27 | 37 | 0.0017381 | 0.00043562 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6057-1_1_4_load_62 | 38 | 0.0019124 | 0.00047929 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6057-1_1_4_load_24 | 39 | 0.0018671 | 0.00046795 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6057-1_1_4_load_32 | 40 | 0.0018277 | 0.00045807 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6057-1_1_4_load_38 | 41 | 0.0021899 | 0.00054885 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6057-1_1_4_load_28 | 42 | 0.0021783 | 0.00054593 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6057-1_1_4_load_30 | 44 | 0.0053012 | 0.0013286 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6057-1_1_4_load_31 | 45 | 0.003765 | 0.00094359 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6057-1_1_4_load_35 | 46 | 0.00375 | 0.00093983 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6057-1_1_4_load_39 | 47 | 0.00038873 | 9.7424e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6057-1_1_4_load_56 | 49 | 0.0034245 | 0.00085826 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6057-1_1_4_load_57 | 50 | 0.0014717 | 0.00036884 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6057-1_1_4_load_58 | 51 | 0.0019113 | 0.00047903 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6057-1_1_4_load_59 | 52 | 0.0020262 | 0.00050781 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6057-1_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_6057-1_1_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.011216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_6057-1_1_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.24045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_6057-1_1_4_line_3 | NAYY 4x150 SE | 2 | 10 | 0.055674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_6057-1_1_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.14357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_6057-1_1_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.0032388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_6057-1_1_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.011522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_6057-1_1_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.32372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_6057-1_1_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0098768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_6057-1_1_4_line_9 | NAYY 4x150 SE | 7 | 12 | 0.32224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_6057-1_1_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.10078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_6057-1_1_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.17513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_6057-1_1_4_line_12 | NAYY 4x150 SE | 10 | 16 | 0.016774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_6057-1_1_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.089811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_6057-1_1_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.040364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_6057-1_1_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.35486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_6057-1_1_4_line_16 | NAYY 4x150 SE | 15 | 48 | 0.42067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_6057-1_1_4_line_17 | NAYY 4x150 SE | 16 | 19 | 0.017359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_6057-1_1_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.092029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_6057-1_1_4_line_19 | NAYY 4x150 SE | 18 | 21 | 0.030137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_6057-1_1_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.014086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_6057-1_1_4_line_21 | NAYY 4x150 SE | 20 | 33 | 0.032882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_6057-1_1_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.02534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_6057-1_1_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.067846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_6057-1_1_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.15171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_6057-1_1_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.021836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_6057-1_1_4_line_26 | NAYY 4x150 SE | 22 | 26 | 0.0019109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_6057-1_1_4_line_27 | NAYY 4x150 SE | 23 | 27 | 0.038513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_6057-1_1_4_line_28 | NAYY 4x150 SE | 23 | 28 | 0.020735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_6057-1_1_4_line_29 | NAYY 4x150 SE | 24 | 29 | 0.026396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_6057-1_1_4_line_30 | NAYY 4x150 SE | 24 | 30 | 0.049629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_6057-1_1_4_line_31 | NAYY 4x150 SE | 24 | 31 | 0.070669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_6057-1_1_4_line_32 | NAYY 4x150 SE | 25 | 38 | 0.012328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_6057-1_1_4_line_33 | NAYY 4x150 SE | 25 | 34 | 0.022121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_6057-1_1_4_line_34 | NAYY 4x150 SE | 26 | 39 | 0.018197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_6057-1_1_4_line_35 | NAYY 4x150 SE | 28 | 40 | 0.018918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_6057-1_1_4_line_36 | NAYY 4x150 SE | 29 | 41 | 0.068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_6057-1_1_4_line_37 | NAYY 4x150 SE | 30 | 32 | 0.070672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_6057-1_1_4_line_38 | NAYY 4x150 SE | 33 | 34 | 0.023424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_6057-1_1_4_line_39 | NAYY 4x150 SE | 33 | 35 | 0.065789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_6057-1_1_4_line_40 | NAYY 4x150 SE | 34 | 36 | 0.0083834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_6057-1_1_4_line_41 | NAYY 4x150 SE | 35 | 37 | 0.0082213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_6057-1_1_4_line_42 | NAYY 4x150 SE | 40 | 44 | 0.0061448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_6057-1_1_4_line_43 | NAYY 4x150 SE | 41 | 47 | 0.020416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_6057-1_1_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.016551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_6057-1_1_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0053771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_6057-1_1_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.025615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_6057-1_1_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0050467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_6057-1_1_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.20327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_6057-1_1_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.089982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_6057-1_1_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.17995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_6057-1_1_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.052377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6057-1_1_4_trafo_60 | 0.25 MVA 20/0.4 kV | 53 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2653638.0568 | 1140030.7721 | 2653649.0987 | 1140043.9457
1 | 2653649.0987 | 1140043.9457 | 2653651.1079 | 1140046.3428 | 2653655.9236 | 1140052.8411
2 | 2653649.0987 | 1140043.9457 | 2653461.7509 | 1140194.6748
3 | 2653655.9236 | 1140052.8411 | 2653665.9857 | 1140066.4188 | 2653679.0949 | 1140088.2245 | 2653684.3408 | 1140100.4807
4 | 2653461.7509 | 1140194.6748 | 2653454.7477 | 1140193.59 | 2653453.7393 | 1140191.1131 | 2653445.3125 | 1140187.5367 | 2653443.0806 | 1140183.4147 | 2653424.9508 | 1140180.5751 | 2653414.2835 | 1140174.7221 | 2653411.6564 | 1140168.3288 | 2653406.3281 | 1140164.791 | 2653396.6416 | 1140163.6714 | 2653393.2975 | 1140168.789 | 2653388.3331 | 1140170.1791 | 2653384.3813 | 1140174.4576 | 2653384.3249 | 1140180.8382 | 2653381.7928 | 1140187.1858 | 2653381.6673 | 1140201.3699 | 2653370.0551 | 1140208.4599 | 2653361.8323 | 1140209.5304
5 | 2653288.1747 | 1140251.0004 | 2653290.0045 | 1140253.6729
6 | 2653288.1747 | 1140251.0004 | 2653281.6653 | 1140241.493
7 | 2653399.3919 | 1140528.1315 | 2653405.399 | 1140525.3053 | 2653416.0913 | 1140516.9733 | 2653421.403 | 1140511.0616 | 2653424.0291 | 1140506.249 | 2653425.7235 | 1140500.7166 | 2653426.2869 | 1140495.2743 | 2653413.8178 | 1140471.5182 | 2653405.3592 | 1140448.12 | 2653377.8176 | 1140381.9307 | 2653290.0045 | 1140253.6729
8 | 2653276.0856 | 1140233.3433 | 2653281.6653 | 1140241.493
9 | 2653399.3919 | 1140528.1315 | 2653393.1766 | 1140529.2882 | 2653383.7374 | 1140526.3477 | 2653376.5488 | 1140522.7934 | 2653363.1374 | 1140511.6801 | 2653334.0263 | 1140485.6093 | 2653310.1119 | 1140456.1493 | 2653261.5816 | 1140416.5337 | 2653239.6641 | 1140397.7306 | 2653221.2835 | 1140372.8222 | 2653196.0354 | 1140338.415 | 2653184.8068 | 1140322.0853 | 2653170.5406 | 1140310.1534
10 | 2653276.0856 | 1140233.3433 | 2653287.6255 | 1140223.9735 | 2653305.2142 | 1140217.5476 | 2653307.3311 | 1140211.1963 | 2653312.7047 | 1140209.5984 | 2653317.4124 | 1140213.7533 | 2653331.1948 | 1140217.7771 | 2653347.9027 | 1140217.9247 | 2653353.7423 | 1140210.5835 | 2653361.8323 | 1140209.5304
11 | 2653276.0856 | 1140233.3433 | 2653268.0162 | 1140226.7353 | 2653236.5275 | 1140216.3188 | 2653233.1805 | 1140204.3497 | 2653241.1567 | 1140178.8178 | 2653241.0898 | 1140131.4812 | 2653223.4657 | 1140096.552 | 2653220.0095 | 1140091.7714
12 | 2653684.3408 | 1140100.4807 | 2653686.4698 | 1140105.4547 | 2653690.2229 | 1140116.1804
13 | 2653085.4346 | 1140288.36 | 2653093.3255 | 1140295.1663 | 2653117.9144 | 1140299.7182 | 2653142.6323 | 1140300.1025 | 2653170.5406 | 1140310.1534
14 | 2653085.4346 | 1140288.36 | 2653081.1049 | 1140281.4294 | 2653076.2128 | 1140253.6385 | 2653073.2926 | 1140250.9425
15 | 2652869.3584 | 1140030.8741 | 2652870.9746 | 1140032.4779 | 2652883.0583 | 1140051.4159 | 2652895.7036 | 1140060.6648 | 2652901.8696 | 1140065.1767 | 2652904.0625 | 1140067.6639 | 2652903.3234 | 1140090.5694 | 2652900.8475 | 1140114.249 | 2652903.7749 | 1140126.7924 | 2652911.9696 | 1140142.8503 | 2652911.0916 | 1140149.1571 | 2652909.9756 | 1140157.1626 | 2652913.0037 | 1140166.116 | 2652919.8763 | 1140176.8486 | 2652926.0209 | 1140182.0385 | 2652931.8753 | 1140186.9812 | 2652947.2947 | 1140189.3843 | 2652965.0278 | 1140184.8708 | 2652993.8724 | 1140180.3437 | 2652998.7469 | 1140185.667 | 2653009.9092 | 1140211.3785 | 2653023.4697 | 1140223.1815 | 2653069.8667 | 1140247.7797 | 2653073.2926 | 1140250.9425
16 | 2652460.1582 | 1140128.457 | 2652869.3584 | 1140030.8741
17 | 2653690.2229 | 1140116.1804 | 2653692.604 | 1140122.9851 | 2653696.8102 | 1140132.2228
18 | 2653749.3168 | 1140112.5016 | 2653733.6143 | 1140099.4597 | 2653723.5896 | 1140090.5325 | 2653697.7062 | 1140055.9731 | 2653690.6495 | 1140042.7194
19 | 2653773.5008 | 1140130.4755 | 2653751.6361 | 1140114.4279 | 2653749.3168 | 1140112.5016
20 | 2653701.6597 | 1140145.3152 | 2653701.3001 | 1140142.0836 | 2653696.8102 | 1140132.2228
21 | 2653705.4022 | 1140177.9834 | 2653703.6213 | 1140162.9485 | 2653701.6597 | 1140145.3152
22 | 2653773.5008 | 1140130.4755 | 2653768.2963 | 1140145.8594 | 2653767.2138 | 1140151.7084 | 2653767.9016 | 1140154.7828
23 | 2653773.5008 | 1140130.4755 | 2653776.0219 | 1140132.3211 | 2653792.9948 | 1140143.3114 | 2653803.706 | 1140150.2549 | 2653819.1969 | 1140160.9985 | 2653830.0775 | 1140167.8991
24 | 2653773.5008 | 1140130.4755 | 2653776.0219 | 1140132.3211 | 2653792.9948 | 1140143.3114 | 2653840.6872 | 1140112.0755 | 2653871.0868 | 1140090.2351 | 2653878.9576 | 1140084.5801 | 2653898.6385 | 1140070.4483
25 | 2653767.9016 | 1140154.7828 | 2653762.538 | 1140156.0913 | 2653747.7878 | 1140163.186
26 | 2653767.9016 | 1140154.7828 | 2653768.3231 | 1140156.6466
27 | 2653830.0775 | 1140167.8991 | 2653851.7125 | 1140182.0661 | 2653862.2289 | 1140189.1009
28 | 2653830.0775 | 1140167.8991 | 2653821.8644 | 1140175.7412 | 2653814.947 | 1140182.0757
29 | 2653920.1151 | 1140055.0208 | 2653898.6385 | 1140070.4483
30 | 2653898.6385 | 1140070.4483 | 2653878.9576 | 1140084.5801 | 2653867.5025 | 1140061.9105
31 | 2653898.6385 | 1140070.4483 | 2653892.9377 | 1140057.8464 | 2653868.199 | 1140006.6747
32 | 2653747.7878 | 1140163.186 | 2653746.9939 | 1140175.4854
33 | 2653728.2569 | 1140172.6394 | 2653732.725 | 1140168.2657 | 2653739.2441 | 1140165.8558 | 2653746.5831 | 1140163.7644 | 2653747.7878 | 1140163.186
34 | 2653768.3231 | 1140156.6466 | 2653768.6044 | 1140157.8907 | 2653771.3072 | 1140166.964 | 2653773.2322 | 1140170.9832 | 2653774.9887 | 1140173.4119
35 | 2653805.0782 | 1140197.3349 | 2653807.3047 | 1140189.074 | 2653814.947 | 1140182.0757
36 | 2653920.1151 | 1140055.0208 | 2653911.3255 | 1140043.0027 | 2653907.7667 | 1140036.801 | 2653902.4222 | 1140023.9132 | 2653894.2449 | 1140003.5851 | 2653890.0347 | 1139994.4079
37 | 2653840.0854 | 1139996.7762 | 2653864.3061 | 1140055.5897 | 2653867.5025 | 1140061.9105
38 | 2653728.2569 | 1140172.6394 | 2653716.5712 | 1140175.826 | 2653705.4022 | 1140177.9834
39 | 2653705.4022 | 1140177.9834 | 2653706.7185 | 1140189.0675 | 2653725.1795 | 1140218.6028 | 2653734.8547 | 1140235.8736
40 | 2653728.2569 | 1140172.6394 | 2653730.2452 | 1140180.7836
41 | 2653734.8547 | 1140235.8736 | 2653738.8728 | 1140243.0462
42 | 2653805.0782 | 1140197.3349 | 2653803.4792 | 1140203.268
43 | 2653881.6048 | 1139975.8132 | 2653889.7946 | 1139993.8847 | 2653890.0347 | 1139994.4079
44 | 2653802.0799 | 1140208.4599 | 2653789.6105 | 1140219.3434
45 | 2653802.0799 | 1140208.4599 | 2653803.4792 | 1140203.268
46 | 2653802.0799 | 1140208.4599 | 2653811.6711 | 1140220.2626 | 2653810.2705 | 1140226.42 | 2653810.3443 | 1140230.2227 | 2653810.5263 | 1140230.447
47 | 2653813.7061 | 1140234.3659 | 2653810.5263 | 1140230.447
48 | 2652460.1582 | 1140128.457 | 2652453.7435 | 1140084.3893 | 2652425.0797 | 1140044.2083 | 2652410.1312 | 1140015.8415 | 2652392.3308 | 1139997.0994 | 2652382.9566 | 1139962.589 | 2652369.8447 | 1139953.9411
49 | 2652369.8447 | 1139953.9411 | 2652343.8089 | 1139936.7694 | 2652346.7127 | 1139920.2637 | 2652383.5003 | 1139899.9276
50 | 2652383.5003 | 1139899.9276 | 2652383.5003 | 1139899.9276 | 2652379.4514 | 1139888.8755 | 2652365.6355 | 1139889.4449 | 2652341.353 | 1139901.6297 | 2652317.083 | 1139898.1843 | 2652329.0686 | 1139884.3142 | 2652342.2224 | 1139880.2927 | 2652351.3766 | 1139860.4061 | 2652373.8598 | 1139817.2118 | 2652373.8598 | 1139817.2118
51 | 2652373.8598 | 1139817.2118 | 2652393.3718 | 1139797.4151 | 2652398.4176 | 1139773.3574

## bus_geodata
| x | y | coords
0 | 2653638.0568 | 1140030.7721
1 | 2653649.0987 | 1140043.9457
2 | 2653655.9236 | 1140052.8411
3 | 2653461.7509 | 1140194.6748
4 | 2653288.1747 | 1140251.0004
5 | 2653290.0045 | 1140253.6729
6 | 2653281.6654 | 1140241.493
7 | 2653399.3919 | 1140528.1315
8 | 2653361.8323 | 1140209.5304
9 | 2653276.0856 | 1140233.3433
10 | 2653684.3408 | 1140100.4807
11 | 2653220.0095 | 1140091.7714
12 | 2653170.5406 | 1140310.1534
13 | 2653085.4346 | 1140288.36
14 | 2653073.2926 | 1140250.9425
15 | 2652869.3584 | 1140030.8741
16 | 2653690.2229 | 1140116.1804
17 | 2653690.6495 | 1140042.7194
18 | 2653749.3168 | 1140112.5016
19 | 2653696.8102 | 1140132.2228
20 | 2653701.6597 | 1140145.3152
21 | 2653773.5008 | 1140130.4755
22 | 2653767.9016 | 1140154.7828
23 | 2653830.0775 | 1140167.8991
24 | 2653898.6385 | 1140070.4483
25 | 2653747.7878 | 1140163.186
26 | 2653768.3231 | 1140156.6466
27 | 2653862.2289 | 1140189.1009
28 | 2653814.947 | 1140182.0757
29 | 2653920.1151 | 1140055.0208
30 | 2653867.5025 | 1140061.9105
31 | 2653868.199 | 1140006.6747
32 | 2653840.0854 | 1139996.7762
33 | 2653705.4022 | 1140177.9834
34 | 2653728.2569 | 1140172.6394
35 | 2653734.8547 | 1140235.8736
36 | 2653730.2452 | 1140180.7836
37 | 2653738.8728 | 1140243.0462
38 | 2653746.9939 | 1140175.4854
39 | 2653774.9887 | 1140173.4119
40 | 2653805.0782 | 1140197.3349
41 | 2653890.0347 | 1139994.4079
42 | 2653789.6105 | 1140219.3434
43 | 2653802.0799 | 1140208.4599
44 | 2653803.4792 | 1140203.268
45 | 2653810.5263 | 1140230.447
46 | 2653813.7061 | 1140234.3659
47 | 2653881.6048 | 1139975.8132
48 | 2652460.1582 | 1140128.457
49 | 2652369.8447 | 1139953.9411
50 | 2652383.5003 | 1139899.9276
51 | 2652373.8598 | 1139817.2118
52 | 2652398.4176 | 1139773.3574
53 | 2653468.1615 | 1140158.4903

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1